## DH BHOPAL
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | DH BHOPAL
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | DOMESTIC REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# | # | DOMESTIC REFRIGERATOR | ELECTROLUX | * | 1 |  | 1 | 15000 | 15000
# | # | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# | # | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# | # | WATER BATH | ALCO | * | 1 |  | 1 | 4500 | 4500
# | # | SEMIAUTO ANALYZER | ERBA | CHEM-5X/1310051 | 1 |  | 1 | 200000 | 200000
# | # | CENTRIFUGE | SIMCO | * | 1 |  | 1 | 6500 | 6500
# | # | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | INCUBATOR | THELCO | * | 1 |  | 1 | 375000 | 375000
# | # | ELISA READER+WESTA | ALLRE | AM2100/451225022FSE | 1 |  | 1 | 200000 | 200000
# | # | WATER BATH | INDIAN | * | 1 |  | 1 | 4500 | 4500
# | # | MICROSCOPE | QUASMA | PZM-20/63641 | 1 |  | 1 | 30000 | 30000
# | # | VDRL SHAKER | TANCO | * | 1 |  | 1 | 4500 | 4500
# | # | DOMESTIC REFRIGERATOR | VIDEOCON | VESTMATIC | 1 |  | 1 | 15000 | 15000
# | # | DEEP FREEZER | JOVE | * | 1 |  | 1 | 250000 | 250000
# | # | FULLY AUTOMATIC ANALYZER | MINDRAY | FIREPART | 1 |  | 1 | 200000 | 200000
# | # | MICROSCOPE | LABOMED | VISION 2000/13962910 | 1 |  | 1 | 30000 | 30000
# | # | CELL COUNTER | MINDRAY | 3 PORT | 1 |  | 1 | 350000 | 350000
# | # | MICROSCOPE | QUASMO | PZM-20/64528 | 1 |  | 1 | 30000 | 30000
# | DENTAL OPD | DENTAL CHAIR | SUZ DENT | SURZY | 1 |  | 1 | 150000 | 150000
# |  | DENTAL CHAIR | SUZ DENT | * | 1 |  | 1 | 150000 | 150000
# |  | DENTAL CHAIR | SUZ DENT | * | 1 |  | 1 | 150000 | 150000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | OMRON | HEM-8712/20140603233VGI | 1 |  | 1 | 650 | 650
# |  | DEFIBRILLATOR | SHCILLER | DIFIGAURD 200 | 1 |  | 1 | 170000 | 170000
# |  | WEIGHING MACHINE | INDIAN | * | 1 |  | 1 | 2500 | 2500
# |  | MONITOR | MAESTRO | IRIS 50 | 1 |  | 1 | 80000 | 80000
# |  | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# |  | DIALYSIS MACHINE | B BRAUN | DIALOG+/1011312 | 1 |  | 1 | 350000 | 350000
# |  | DIALYSIS MACHINE | * | DIALOG+/14070 | 1 |  | 1 | 350000 | 350000
# |  | DIALYSIS MACHINE | * | DIALOG+/14078 | 1 |  | 1 | 350000 | 350000
# |  | DIALYSIS MACHINE | * | DIALOG+/107311 | 1 |  | 1 | 350000 | 350000
# |  | DIALYSIS MACHINE | * | DIALOG+/101385 | 1 |  | 1 | 350000 | 350000
# |  | DIALYSIS MACHINE | * | * | 1 |  | 1 | 350000 | 350000
# | DIALYSIS | DIALYSIS MACHINE | GOMBRO | AK200/10131 | 1 |  | 1 | 350000 | 350000
# |  | DIALYSIS MACHINE | GOMBRO | AK200/8728 | 1 |  | 1 | 350000 | 350000
# |  | DIALYSIS MACHINE | GOMBRO | AK200/0272 | 1 |  | 1 | 350000 | 350000
# |  | DIALYSIS MACHINE | GOMBRO | AK200/8726 | 1 |  | 1 | 350000 | 350000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | DIALYSIS WASHER | ATHELUTH BIOMEDICAL | RENACLEAN/2012-197 | 1 |  | 1 | 350000 | 350000
# |  | DIALYSIS WASHER | ATHELUTH BIOMEDICAL | RENACLEAN/2012-197 | 1 |  | 1 | 350000 | 350000
# |  | NEEDLE CUTTER | MEDIGOLD | * | 1 |  | 1 | 1200 | 1200
# |  | GLUCOMETER | ACCUCHEK | PERFORMA/5S31002B | 1 |  | 1 | 1500 | 1500
# |  | FUMIGATOR | INDIAN | * | 1 |  | 1 | 4500 | 4500
# |  | ECG MACHINE | BPL | CARDIART6208 VIEW/DOTCO72996 | 1 |  | 1 | 52000 | 52000
# |  | DOMESTIC REFRIGERATOR | ELECTROLUX | OXYINSTA | 1 |  | 1 | 15000 | 15000
# |  | DIATHERMY 500W | ORTHOLINE | * | 1 |  | 1 | 650000 | 650000
# |  | LASER MACHINE | TECHNOMED | TLS 046 |  | 1 | 1 | 450000 | 450000
# |  | IFT | ORTHOLINE | IFT-PPL/11/2/1 | 1 |  | 1 | 20000 | 20000
# | EYE OPD | SLIT LAMP | DEEPAKENTERPRISES | RODRSTOCK | 1 |  | 1 | 13000 | 13000
# |  | SLIT LAMP | * | * |  | 1 | 1 | 1300 | 1300
# |  | AUTOREFRACTOMETER | RIGHTER | SPEEDY 1 | 1 |  | 1 | 50000 | 50000
# | X RAY | X RAY MACHINE | BHARAT HEAVY ELECTRICAL | 300 MA | 1 |  | 1 | 450000 | 450000
# |  | X RAY MACHINE | ALLENGER | ALLPOSE/2KK01500 | 1 |  | 1 | 450000 | 450000
# | USG | X RAY MACHINE | GE | WIPRO GE/41610W57 | 1 |  | 1 | 450000 | 450000
# |  | X RAY MACHINE | SONOMED | SONOSCOPE | 1 |  | 1 | 450000 | 450000
# | BLOOD BANK | WATER BATH | HI TECH | * | 1 |  | 1 | 4500 | 4500
# |  | TUBE SEALER | PAWAR ELECTRO | JADTS056/RFK-1310345 | 1 |  | 1 | 4500 | 4500
# |  | MICROSCOPE | COSMOS | PZRM-20/64080 | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | REMI | MC01 | 1 |  | 1 | 6500 | 6500
# |  | MICROSCOPE | MAGNUS | 9507039 | 1 |  | 1 | 30000 | 30000
# |  | BBR | JEWETT | * | 1 |  | 1 | 250000 | 250000
# |  | DOMESTIC REFRIGERATOR | GODREJ | * |  | 1 | 1 | 15000 | 15000
# |  | COLORIMETER | ERMA INC. | AE-IIM | 1 |  | 1 | 1400 | 1400
# |  | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | LAMINAR AIRFLOW | * | * |  | 1 | 1 | 250000 | 250000
# |  | BBR | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | TUBE SEALER | JOVE | * | 1 |  | 1 | 4500 | 4500
# |  | BCM | INCARE | HCM-14/11031710 | 1 |  | 1 | 65000 | 65000
# |  | NEEDLE CUTTER | INDIAN | * |  | 1 | 1 | 1200 | 1200
# |  | BBR | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | BP APPARATUS | OMRON | HEM-7120/20140805655VG7 | 1 |  | 1 | 650 | 650
# |  | APHERESIS | HAEMONETICS | MCS+ | 1 |  | 1 | 65000 | 65000
# |  | PLATELET INCUBATOR | HELHER | * | 1 |  | 1 | 375000 | 375000
# |  | DOMESTIC REFRIGERATOR | LKELVINATOR | * | 1 |  | 1 | 15000 | 15000
# |  | BBR | LABOTECH | * | 1 |  | 1 | 250000 | 250000
# | CHILDREN WARD | NEEDLE CUTTER | RAIMSON | * | 1 |  | 1 | 1200 | 1200
# |  | NEBULIZER | MEDIQUIP INDIA | 11011343 | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | SEWERD | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | PULSE OXIMETER | NEEPATH | * | 1 |  | 1 | 55000 | 55000
# |  | BP APPARATUS | DOCTOR | * | 1 |  | 1 | 650 | 650
# |  | ADULT WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 2500 | 2500
# | MALE SURGICAL WARD | NEEDLE CUTTER | INDIAN | * | 1 |  | 1 | 1200 | 1200
# |  | NEBULIZER | PHILLIPS | RESPIRONIC/1021271315 | 1 |  | 1 | 6500 | 6500
# |  | ECG MACHINE | HAEMODIAZ | HDELG300G | 1 |  | 1 | 52000 | 52000
# |  | BP APPARATUS | DIAMOND | REGULAR | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | NAMATT | * | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | OMRON | HEM-7120/0206VGIO | 1 |  | 1 | 650 | 650
# |  | GLUCOMETER | ACCUCHEK | ACTIVE/GUQ04002280 | 1 |  | 1 | 1500 | 1500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | MULTIPARA MONITOR | NEWLIFE | NL-8000/05AG002171 | 1 |  | 1 | 80000 | 80000
# |  | PULSE OXIMETER | EASYCARE | * | 1 |  | 1 | 55000 | 55000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | OMRON | HEM-7120/20140805655VG7 | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | DIAMOND | REGULAR | 1 |  | 1 | 650 | 650
# |  | GLUCOMETER | ACCUCHEK | ACTIVE/GUQ04000399 |  | 1 | 1 | 1500 | 1500
# |  | PULSE OXIMETER | LIFELINE | * |  | 1 | 1 | 55000 | 55000
# |  | NEEDLE CUTTER | * | * |  | 1 | 1 | 1200 | 1200
# |  | NEBULIZER | INDIAN | * |  | 1 | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | RAIMSON | * | 1 |  | 1 | 1200 | 1200
# |  | NEEDLE CUTTER | RAIMSON | * | 1 |  | 1 | 1200 | 1200
# |  | NEEDLE CUTTER | RAIMSON | * | 1 |  | 1 | 1200 | 1200
# |  | NEEDLE CUTTER | RAIMSON | * | 1 |  | 1 | 1200 | 1200
# |  | DOMESTIC REFRIGERATOR | GODREJ | * | 1 |  | 1 | 15000 | 15000
# |  | DEFIBRILLATOR | BPL | DF-2509/B4MB6B1760 | 1 |  | 1 | 170000 | 170000
# |  | DEFIBRILLATOR | BPL | DF-2509/B4MB6B1769 | 1 |  | 1 | 170000 | 170000
# |  | CARDIAC MONITOR | NEWLIFE | NL-8000/05AG002003 | 1 |  | 1 | 80000 | 80000
# |  | ECG MACHINE | BPL | CARDIART6208/BBT60F2735 | 1 |  | 1 | 52000 | 52000
# |  | BP APPARATUS | OMRON | HEM-7120/20140820209VGI | 1 |  | 1 | 650 | 650
# |  | NEBULIZER | PHILLIPS | RESPIRONIC/1021241847 | 1 |  | 1 | 6500 | 6500
# |  | ECG MACHINE | PHILLIPS | PAGEWRITER | 1 |  | 1 | 52000 | 52000
# |  | PULSE OXIMETER | SMARTCARE | * |  | 1 | 1 | 55000 | 55000
# |  | NEEDLE CUTTER | MEDIGOLD | * | 1 |  | 1 | 1200 | 1200
# |  | NEEDLE CUTTER | MEDIGOLD | * | 1 |  | 1 | 1200 | 1200
# | LABOUR ROOM | RADIANT WARMER | BIRD MEDITECH | INNOVA/BMRW0148/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BMRW0134/0910 | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | BIRD MEDITECH | INNOVA | 1 |  | 1 | 3500 | 3500
# |  | SUCTION MACHINE | DOCBELSEWORD | BRAUN | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFRIGERATOR | PANASONIC | * | 1 |  | 1 | 15000 | 15000
# |  | FUMIGATOR | INDIAN | * | 1 |  | 1 | 4500 | 4500
# |  | FUMIGATOR | INDIAN | * | 1 |  | 1 | 4500 | 4500
# |  | FETAL DOPPLER | BPL | FD9713N/BQEB4H11500 | 1 |  | 1 | 80000 | 80000
# |  | ANESTHESIA | BPL | FB6/016214090007 | 1 |  | 1 | 450000 | 450000
# |  | PATIENT MONITOR | NEWLIFE | NL-8000/05AG002166 | 1 |  | 1 | 80000 | 80000
# |  | CAUTERY MACHINE | SHALCTECH | SS-400/SN4H4B476 | 1 |  | 1 | 160000 | 160000
# |  | CEILING LIGHT | PHILLIPS | PHILLUX/23288 | 1 |  | 1 | 150000 | 150000
# |  | SPOT LIGHT | * | * | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | * | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION APPARATUS | SURGIX | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION APPARATUS | SURGIX | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION APPARATUS | YOGA CARE MAX | * | 1 |  | 1 | 6500 | 6500
# |  | ANESTHESIA | ALLIED | * | 1 |  | 1 | 450000 | 450000
# |  | PATIENT MONITOR | NEWLIFE | NL-8000/05AG002170 | 1 |  | 1 | 80000 | 80000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | PP UNIT | NEEDLE CUTTER | MEDIGOLD | * | 1 |  | 1 | 1200 | 1200
# |  | SUCTION MACHINE | HIVACCUM | * | 1 |  | 1 | 6500 | 6500
# |  | LIGHT SOURCE | STORZ | HALOGEN 250 TWIN/U2175110 | 1 |  | 1 | 45000 | 45000
# |  | LIGHT SOURCE | STORZ | HALOGEN 250 TWIN/U217529 | 1 |  | 1 | 45000 | 45000
# |  | LIGHT SOURCE | STORZ | HALOGEN 250 TWIN/U120366 | 1 |  | 1 | 45000 | 45000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | G.I. | * | 1 |  | 1 | 6500 | 6500
# | LABOUR ROOM | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | RAIMSON | * | 1 |  | 1 | 1200 | 1200
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RN/238/07/1341 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/166/0910 | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | GI | * | 1 |  | 1 | 6500 | 6500
# |  | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | ECG MACHINE | HAEMODIAZ | HBECG-300G | 1 |  | 1 | 52000 | 52000
# |  | NEBULIZER | KELAN | 211 | 1 |  | 1 | 6500 | 6500
# |  | FETAL DOPPLER | BPL | FD9713N/BQT147191504 | 1 |  | 1 | 80000 | 80000
# |  | FETAL DOPPLER | BPL | FD9713N/BQTB245460 | 1 |  | 1 | 80000 | 80000
# |  | BP APPARATUS | DIAMOND | REGULAR | 1 |  | 1 | 650 | 650
# |  | DOMESTIC REFRIGERATOR | WHIRLPOOL | * | 1 |  | 1 | 15000 | 15000
# |  | PATIENT MONITOR | ASPEN DIAGNOSTIC | A3/G3FA6023 | 1 |  | 1 | 80000 | 80000
# |  | PATIENT MONITOR | NEWLIFE | NL-8000/05AG002087 | 1 |  | 1 | 80000 | 80000
# |  | PATIENT MONITOR | ALLENGERS | LIBRA-A-105/1505LFN-520601832 | 1 |  | 1 | 80000 | 80000
# |  | BP APPARATUS | OMRON | HEM-8712 | 1 |  | 1 | 650 | 650
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 163
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 15164450
* | Not Available |  |  |  | Total CMC Value |  |  |  | 1061511.5

## PHC FANDA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC FANDA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | RADIANT WARMER | MEDUTRIN | B.H.N.V | 1 |  | 1 | 38000 | 38000
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | DOMESTIC REFRIGERATOR | GODREJ | AXIS | 1 |  | 1 | 15000 | 15000
# | # | BP APPARATUS | OMRON | 2013070/2679161 | 1 |  | 1 | 650 | 650
# | # | PULSE OXIMETER | SHREEBALAJI | J.P.O./500A | 1 |  | 1 | 55000 | 55000
# | # | FETAL DOPPLER | * | 205FQ323752 | 1 |  | 1 | 80000 | 80000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 7
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 198650
* | Not Available |  |  |  | Total CMC Value |  |  |  | 13905.5

## CH BAIRAGARH
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CH BAIRAGARH
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | NEBULIZER | MEDIQUIP | 10009414 | 1 |  | 1 | 6500 | 6500
# | # | COLORIMETER | BIOCON | * | 1 |  | 1 | 1400 | 1400
# | # | BP APPARATUS | OMRON | 20140816941UGI | 1 |  | 1 | 650 | 650
# | # | GLUCOMETER | DR MOREPAN | BG-03 | 1 |  | 1 | 1500 | 1500
# | # | BP APPARATUS | NAMATT | 63503 |  | 1 | 1 | 650 | 650
# | # | BP APPARATUS | GOLD SUPREME | B8111814 |  | 1 | 1 | 650 | 650
# | OT | SUCTION MACHINE | VACCU | * |  | 1 | 1 | 6500 | 6500
# |  | SUCTION MACHINE | VACCU | * | 1 |  | 1 | 6500 | 6500
# |  | OT LIGHT | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT LIGHT | INDOMEDICAL | MEDILIFE/7/4 | 1 |  | 1 | 45000 | 45000
# |  | SUCTION MACHINE | MONARCH | MS1RG02 | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | LAPROSCOPE | PROMIS | PLH/250X | 1 |  | 1 | 45000 | 45000
# |  | MICROSCOPE |  | NESTOR | 1 |  | 1 | 30000 | 30000
# | LABORATORY | AUTOANALYZER | MINDRAY | RP/32111065 | 1 |  | 1 | 200000 | 200000
# |  | MICROSCOPE | LABOMERD | 8081 | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | ANALYZER | TRANS ASIA | 21219 | 1 |  | 1 | 200000 | 200000
# |  | ANALYZER | QUALI SYSTEM | AR/601AF0210705 | 1 |  | 1 | 200000 | 200000
# |  | COLORIMETER | ERMA | AF-11M | 1 |  | 1 | 1400 | 1400
# |  | INCUBATOR | INDIAN | * | 1 |  | 1 | 375000 | 375000
# |  | NEEDLE CUTTER | SAI CILE | * | 1 |  | 1 | 1200 | 1200
# |  | X RAY MACHINE | ACLONIS | * | 1 |  | 1 | 450000 | 450000
# |  | CAUTERY MACHINE | JOHNSON AND JOHNSON | 552091 | 1 |  | 1 | 160000 | 160000
# |  | ANESTHESIA MACHINE | ALLIED | JUPITER | 1 |  | 1 | 450000 | 450000
# |  | AUTOCLAVE | HORIZONTAL | CASTUB | 1 |  | 1 | 65000 | 65000
# |  | NEEDLE CUTTER | MINA | INDIAN | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS | OMRON | I2014070227GLGI | 1 |  | 1 | 650 | 650
# |  | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# | LABOUR ROOM | RADIANT WARMER | SS TECHNOMED | TIANA/IRW1723 | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | NONCEROCH | MSI/R-G02 | 1 |  | 1 | 6500 | 6500
# |  | MONITOR | TECHNOCARE | 1502C/028 | 1 |  | 1 | 80000 | 80000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | SAILIFE | * | 1 |  | 1 | 1200 | 1200
# |  | DOMESTIC REFRIGERATOR | GODREJ | * | 1 |  | 1 | 15000 | 15000
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | BP APPARATUS | OMRON | 2014070/2272VG.I | 1 |  | 1 | 650 | 650
# |  | FETAL DOPPLER | FETAL | 205FQ23635 | 1 |  | 1 | 80000 | 80000
# | EYE OPD | SLIT LAMP | APHASUG | 206 |  | 1 | 1 | 13000 | 13000
# | DENTAL | DENTAL CHAIR | PARDEEP | * |  | 1 | 1 | 15000 | 15000
# | NRC | BABY WEIGHING MACHINE | RICHLEE | * | 1 |  | 1 | 3500 | 3500
# |  | GLUCOMETER | S.D CACLE FREE | M03RB06EAA/3924 | 1 |  | 1 | 1500 | 1500
# |  | WEIGHING MACHINE | * | ST400A | 1 |  | 1 | 2500 | 2500
# |  | DOMESTIC REFRIGERATOR | 90D205 | * | 1 |  | 1 | 15000 | 15000
# | FEMALE WARD | ECG MACHINE | CARDIOMINE | 9K/3906 | 1 |  | 1 | 52000 | 52000
# |  | PULSE OXIMETER | ELECTROMEDICAL | 2F/133 | 1 |  | 1 | 55000 | 55000
# |  | BP APPARATUS | HARTCRE | 1S/3390 | 1 |  | 1 | 650 | 650
# |  | NEEDLE CUTTER | SAILIFE | * | 1 |  | 1 | 1200 | 1200
# |  | NEBULIZER | * | * | 1 |  | 1 | 6500 | 6500
# | ICU | SUCTION MACHINE | VACCUM | * | 1 |  | 1 | 6500 | 6500
# | MALE WARD | NEEDLE CUTTER | SAILIFE | INDIAN | 1 |  | 1 | 1200 | 1200
# |  | NEBULIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | HARTCRE | * | 1 |  | 1 | 650 | 650
# |  | SUCTION MACHINE | INDIAN | * |  | 1 | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN | * |  | 1 | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN | * |  | 1 | 1 | 6500 | 6500
# |  | DEFIBRILLATOR | STERNUM | * |  | 1 | 1 | 170000 | 170000
# |  | PATIENT MONITOR | MAESTRO | * |  | 1 | 1 | 80000 | 80000
# |  | PULSE OXIMETER | ELECTROMEDICAL | 2F0134 |  | 1 | 1 | 55000 | 55000
# |  | NEEDLE CUTTER | SAILIFE | * |  | 4 | 4 | 1200 | 4800
# | NURSERY | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW1723 | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | INDIAN | * | 3 |  | 3 | 6500 | 19500
# |  | INCUBATOR | MEDITRIAN | * | 1 |  | 1 | 375000 | 375000
# |  | INFUSION PUMP | ASPEN | SP-1 | 1 |  | 1 | 40000 | 40000
# |  | NEEDLE CUTTER | MINI | * | 1 |  | 1 | 1200 | 1200
# |  | GLUCOMETER | SD | MOSRB/0BEAAA0482 | 1 |  | 1 | 1500 | 1500
# |  | PULSE OXIMETER | BEIRIM | MD300/C1 | 1 |  | 1 | 55000 | 55000
# |  | BABY WEIGHING MACHINE | CROWN | * | 3 |  | 3 | 3500 | 10500
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | OT | MICROSCOPE | ARAVIND | AA0M/10 | 1 |  | 1 | 30000 | 30000
# |  | LASER MACHINE | I.C.E. | 60825-1 | 1 |  | 1 | 450000 | 450000
# |  | DEFIBRILLATOR | PHILLIPS | SMART XL | 1 |  | 1 | 170000 | 170000
# |  | PATIENT MONITOR | FDS | A-3G-3FKA0016 | 1 |  | 1 | 80000 | 80000
# | LABORATORY | MICROSCOPE | ALYM PLUS | 93063 | 1 |  | 1 | 30000 | 30000
# |  | DOMESTIC REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# |  | MICROSCOPE | P20 | 9585 |  | 1 | 1 | 30000 | 30000
# |  | WATER BATH | INDIAN | * | 1 |  | 1 | 4500 | 4500
# |  | REFRIGERATOR | HICARE | * | 1 |  | 1 | 15000 | 15000
# |  | DOMESTIC REFRIGERATOR | ELECTRLUX | SMART | 1 |  | 1 | 15000 | 15000
# |  | MICROSCOPE | TENSION | 31105370 | 1 |  | 1 | 30000 | 30000
# | X RAY | X RAY MACHINE | ELPRO INTERNAL | AE100M.A | 1 |  | 1 | 450000 | 450000
# |  | SONOSCOPE | * | A.B/18002553 | 1 |  | 1 | 450000 | 450000
# |  | SONOSCOPE | SAPPHIRE 1ST MEDICAL | 4572 |  | 1 | 1 | 450000 | 450000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 91
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 5927350
* | Not Available |  |  |  | Total CMC Value |  |  |  | 414914.5

## CHC GANDHINAGAR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC GANDHINAGAR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | EYE OPD | SLIT LAMP | * | * | 1 |  | 1 | 13000 | 13000
# | COLD CHAIN | ILR | VESTFRONT | MK304/91207023 | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBL200/BE07GSE0NOOB2A8A0048 | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBD/B04F4FF2600B2 | 1 |  | 1 | 250000 | 250000
# |  | ILR | * | * | 1 |  | 1 | 250000 | 250000
# |  | ILR | VESTFRONT | MF/90309101 | 1 |  | 1 | 250000 | 250000
# | LABORATORY | SEMI AUTOANALYZER | BIOSYSTEM | BTS350801754141 | 1 |  | 1 | 200000 | 200000
# |  | WATERBATH | SIMCO | * | 1 |  | 1 | 4500 | 4500
# |  | ANALYZER | ANALAB SYSTEM | 5458801 | 1 |  | 1 | 200000 | 200000
# |  | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MICROSIL | * | 1 |  | 1 | 1200 | 1200
# |  | DOMESTIC REFRIGERATOR | VOLTAS | * | 1 |  | 1 | 15000 | 15000
# |  | GLUCOMETER | ROCHE | GU04390764 | 1 |  | 1 | 1500 | 1500
# | LABOUR ROOM | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | MISOKI | * | 1 |  | 1 | 3500 | 3500
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | FETAL DOPPLER | * | 205FQ/323754 | 1 |  | 1 | 80000 | 80000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | OMRON | * | 1 |  | 1 | 650 | 650
# | OT | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | ANESTHESIA MACHINE | AZEX | 60 PSI | 1 |  | 1 | 450000 | 450000
# |  | SUCTION MACHINE | MANCHANDA SURGICAL | * | 1 |  | 1 | 6500 | 6500
# |  | OT LIGHT | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | BP APPARATUS | BLUE CROOS | * | 1 |  | 1 | 650 | 650
# |  | MONITOR | CENTEC MEDICAL SYSTEM | * | 1 |  | 1 | 80000 | 80000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 27
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2484000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 173880

## CHC BERASIA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC BERASIA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | PATHOLOGY LAB | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MCP | * | 1 |  | 1 | 1200 | 1200
# |  | WATER BATH | * | * | 1 |  | 1 | 4500 | 4500
# |  | WATER BATH | BIOSYSTEM | BTS-3350 | 1 |  | 1 | 4500 | 4500
# |  | MICROSCOPE | MLM | * | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE | LABOMED | 387771 | 1 |  | 1 | 30000 | 30000
# |  | DOMESTIC REFRIGERATOR | GODREJ | 181 LITRES | 1 |  | 1 | 15000 | 15000
# | X RAY | X RAY MACHINE | ALLENGERS | 2K1013230855NX | 1 |  | 1 | 450000 | 450000
# |  | X RAY MACHINE | INRAYS | * | 1 |  | 1 | 450000 | 450000
# | MCH | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | BP APPARATUS | OMRON | HEM-7120/20140840191VGI | 1 |  | 1 | 650 | 650
# |  | FETAL DOPPLER | BPL | 205FQ3323728 | 1 |  | 1 | 80000 | 80000
# |  | NEEDLE CUTTER | MCP | * | 1 |  | 1 | 1200 | 1200
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | SS TECHNOMED | IRV-1723/SST/IRU/P77/K/215 | 1 |  | 1 | 38000 | 38000
# | MAIN OT | SUCTION MACHINE | MONARCH SURGICAL INC. | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | CAUTERY MACHINE | XCEL LANCE | SHALYA LX | 1 |  | 1 | 160000 | 160000
# |  | RADIANT WARMER | SS TECHNOMED | * | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | MISOKI | * | 1 |  | 1 | 3500 | 3500
# |  | FETAL DOPPLER | MEDIGOLD | * | 1 |  | 1 | 80000 | 80000
# |  | BP APPARATUS | OMRON | HEM-7120/20140820791VGI | 1 |  | 1 | 650 | 650
# |  | ANESTHESIA MACHINE | ALLIED | JUPITER | 1 |  | 1 | 450000 | 450000
# | OT | MONITOR | CONTEC | CMS-8000/AX1307300017 | 1 |  | 1 | 80000 | 80000
# |  | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | CEILING LIGHT | INDO MEDICAL | IMF-SUPREME | 1 |  | 1 | 150000 | 150000
# |  | FUMIGATOR | INDIAN | * | 2 |  | 2 | 4500 | 9000
# |  | ECG MACHINE | MAESTRO | MAGIC-R-050821-074 | 1 |  | 1 | 52000 | 52000
# | NBSU | NEBULIZER | PRONEB | CB48AA0056 | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | SS TECHNOMED | * | 2 |  | 2 | 38000 | 76000
# |  | PHOTO THERAPY | PHOENIXPT-1042813 | * | 1 |  | 1 | 15500 | 15500
# |  | PULSE OXIMETER | MAESTRO | LOTUS-500/110723-195 | 1 |  | 1 | 55000 | 55000
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | SS TECHNOMED | * |  | 1 | 1 | 38000 | 38000
# |  | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# | NRC | BABY WEIGHING MACHINE | INDIAN | * | 1 |  | 1 | 3500 | 3500
# |  | PULSE OXIMETER | EASY CARE | * | 1 |  | 1 | 55000 | 55000
# |  | BP APPARATUS | OMRON | HEM-7620/20140820798VGI | 1 |  | 1 | 650 | 650
# |  | NEBULIZER | MRK HEALTHLAB | HANDYNEK/PCB104333 | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | MRK HEALTHLAB | * | 1 |  | 1 | 6500 | 6500
# | BLOOD BANK | BBR | HICARE | * |  | 1 | 1 | 250000 | 250000
# |  | DOMESTIC REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# |  | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# | GENERAL WARD | BP APPARATUS | OMRON | HEM-712020140815892VGI | 1 |  | 1 | 650 | 650
# |  | NEBULIZER | SMART CARE | 5034 | 1 |  | 1 | 6500 | 6500
# |  | PULSE OXIMETER | OLEX | * | 1 |  | 1 | 55000 | 55000
# | STORE | ILR | VESTFRONT | * | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VESTFRONT | SB-302/64918548 | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBC | 1 |  | 1 | 250000 | 250000
# |  | REFRIGERATOR | KRISPIN COLD | * | 1 |  | 1 | 15000 | 15000
# |  | DEEP FREEZER | VESTFRONT | MF-114/20071022273 | 1 |  | 1 | 250000 | 250000
# |  | ILR | VESTFRONT | * | 2 |  | 2 | 250000 | 500000
# |  | ILR | VESTFRONT | * |  | 1 | 1 | 250000 | 250000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 59
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 4645500
* | Not Available |  |  |  | Total CMC Value |  |  |  | 325185

## PHC DHAMARRA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DHAMARRA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | DEEP FREEZER | HAEIR | HBD-1167R-1434 | 1 |  | 1 | 250000 | 250000
# | # | ILR | VESTFRONT | MK-144/20032300365 | 1 |  | 1 | 250000 | 250000
# | # | DOMESTIC REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# | # | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# | # | FUMIGATOR | INDIAN | * | 1 |  | 1 | 4500 | 4500
# | # | STERLIZER | INDIAN | * | 2 |  | 2 | 6500 | 13000
# | # | SUCTION APPARATUS | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | BABY WEIGHING MACHINE | CROWN | * |  | 1 | 1 | 3500 | 3500
# | # | ILR | HAEIR | * | 1 |  | 1 | 250000 | 250000
# | # | ILR | ELECTROLUX | MRB2000 |  | 1 | 1 | 250000 | 250000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1080500
* | Not Available |  |  |  | Total CMC Value |  |  |  | 75635

## PHC GUNGA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GUNGA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# | # | NEEDLE CUTTER | INDIAN | * | 1 |  | 1 | 1200 | 1200
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | SPOT LIGHT | * | * | 1 |  | 1 | 6500 | 6500
# | # | FETAL DOPPLER | * | 205FQ323742 | 1 |  | 1 | 80000 | 80000
# | # | FUMIGATOR | * | * | 1 |  | 1 | 4500 | 4500
# | # | NEBULIZER | PHILLIPS | RESPIRONICS/1021271318 | 1 |  | 1 | 6500 | 6500
# | # | PULSE OXIMETER PORTABLE | EASY CARE | * | 1 |  | 1 | 55000 | 55000
# | # | BP APPARATUS | OMRON | HEM-7120/201408209393VGI | 1 |  | 1 | 650 | 650
# | # | ADULT WEIGHING MACHINE | AIWA | PRESTIGE | 1 |  | 1 | 2500 | 2500
# | # | DOMESTIC REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# | # | ILR | VESTFRONT | MK-144 |  | 1 | 1 | 250000 | 250000
# | # | DEEP FREEZER | HAIER | NBC-70 | 1 |  | 1 | 250000 | 250000
# | # | DEEP FREEZER | VESTFRONT | HF-144 | 1 |  | 1 | 250000 | 250000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1028350
* | Not Available |  |  |  | Total CMC Value |  |  |  | 71984.5

## PHC RUNAHA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC RUNAHA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# | # | BABY WEIGHING MACHINE | RUSMON SURGICAL | MISOKI | 1 |  | 1 | 3500 | 3500
# | # | DEEP FREEZER | VESTFRONT | 20032 | 1 |  | 1 | 250000 | 250000
# | # | ILR | VESTFRONT | 1109439 | 1 |  | 1 | 250000 | 250000
# | # | DEEP FREEZER & ILR | HAIER | HBD/116 |  | 1 | 1 | 250000 | 250000
# | # | STABLIZER | ZHESING ELECTRIC | FND-1 | 2 |  | 2 | 6500 | 13000
# | # | BP APPARATUS | OMRON | * | 1 |  | 1 | 650 | 650
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 805150
* | Not Available |  |  |  | Total CMC Value |  |  |  | 56360.5

## PHC BERKHADEV
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BERKHADEV
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | OMRON | 201408/20800VGI | 1 |  | 1 | 650 | 650
# | # | BP APPARATUS | BLUE CROSS | DELUX | 1 |  | 1 | 650 | 650
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 2
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 91

## PHC NAZIRABAD
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC NAZIRABAD
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | DEEP FREEZER | HAIER | HBD/286 | 1 |  | 1 | 250000 | 250000
# | # | ILR | VESTFRONT | CFC/R134 | 1 |  | 1 | 250000 | 250000
# | # | DOMESTIC REFRIGERATOR | VESTFRONT | 12/1343 | 1 |  | 1 | 15000 | 15000
# | # | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# | # | BABY WEIGHING MACHINE | OMRON | 20140840058VGI | 1 |  | 1 | 3500 | 3500
# | # | FETAL DOPPLER | * | 205FQ323691 | 1 |  | 1 | 80000 | 80000
# | # | SUCTION MACHINE | VACU | * | 1 |  | 1 | 6500 | 6500
# | # | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | DEEP FREEZER | VESTFRONT | * | 1 |  | 1 | 250000 | 250000
# | # | ILR | HAIER | HBC-70 | 1 |  | 1 | 250000 | 250000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1149500
* | Not Available |  |  |  | Total CMC Value |  |  |  | 80465

## PHC ROTIBADI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC ROTIBADI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | MCP | 12A1717 | 1 |  | 1 | 650 | 650
# | # | BP APPARATUS | OMRON | HEM-7120/20140816949VGI | 1 |  | 1 | 650 | 650
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | FETAL DOPPLER | MEDI GOLD | * | 1 |  | 1 | 80000 | 80000
# | # | WATER BATH | INDIAN | * | 1 |  | 1 | 4500 | 4500
# | # | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# | # | BP APPARATUS | MEDIGOLD | * | 1 |  | 1 | 650 | 650
# | # | GLUCOMETER | ACCU CHEK | G502635827 | 1 |  | 1 | 1500 | 1500
# | # | NEBULIZER | SARA HEALTHCARESMARTNEK/2013010013919 | * | 1 |  | 1 | 6500 | 6500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 200950
* | Not Available |  |  |  | Total CMC Value |  |  |  | 14066.5

## DR K.N.K. HOSPITAL
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | DR KNK Hospital
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | USG | ULTRASOUND MACHINE | SONOSCOPE | A818002090 | 1 |  | 1 | 450000 | 450000
# | COLD CHAIN | ILR | VESTFRONT | 15100185 | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | BE2A5J0095 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VESTFRONT | 20024902856 |  | 1 | 1 | 250000 | 250000
# |  | DEEP FREEZER | VESTFRONT | * | 1 |  | 1 | 250000 | 250000
# | DENTAL OPD | DENTAL CHAIR | SUZY | SUZZYDENT |  | 1 | 1 | 150000 | 150000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | EYE OPD | SLIT LAMP | ZEISS | 160204 | 1 |  | 1 | 13000 | 13000
# | ICTC | CENTRIFUGE | LABOT | * | 1 |  | 1 | 6500 | 6500
# |  | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SEMIAUTO ANALYZER | BIOSYSTEM | BTS-50801754159 | 1 |  | 1 | 200000 | 200000
# |  | NEEDLE CUTTER | LABLINE | * | 1 |  | 1 | 1200 | 1200
# |  | NEEDLE CUTTER | SAI LIFE | * | 1 |  | 1 | 1200 | 1200
# |  | DOMESTIC REFRIGERATOR | GODREJ | AXIS | 1 |  | 1 | 15000 | 15000
# |  | MICROSCOPE BINOCULAR | QUASMO | PZRM-2664078 | 1 |  | 1 | 30000 | 30000
# |  | BP APPARATUS | OMRON | HEM-8712/20140504070VGI | 1 |  | 1 | 650 | 650
# | PHYSIOTHERAPY | BP APPARATUS | MCP | 1046121 |  | 1 | 1 | 650 | 650
# |  | TENS MACHINE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | WAX BATH | NUMISMA ELECTRONIC | * | 1 |  | 1 | 4500 | 4500
# | ICTC | DOMESTIC REFRIGERATOR | SAMSUNG | * | 1 |  | 1 | 15000 | 15000
# | TB | MICROSCOPE | * | * | 1 |  | 1 | 30000 | 30000
# | MATERNITY WARD | NEBULIZER | * | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MICROCARE | * | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS | OMRON | HEM-8712/20140505617VGI | 1 |  | 1 | 650 | 650
# | NBSU | BABY WEIGHING MACHINE | LUCKY GATE | * | 1 |  | 1 | 3500 | 3500
# |  | SUCTION MACHINE | MEDIGOLD | SE 4000 | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | BIRD MEDITECH | * | 4 |  | 4 | 38000 | 152000
# |  | PHOTOTHERAPY | BIRD MEDITECH | CFLSTAND/BMKPT | 1 |  | 1 | 15500 | 15500
# |  | PULSE OXIMETER | CONCEPT INTERGRATION | C11308BM75 | 1 |  | 1 | 55000 | 55000
# |  | PHOTOTHERAPY | * | * | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | BILIPAD | * | 1 |  | 1 | 15500 | 15500
# |  | NEBULIZER | NULIFE GLOBAL | HANDY NOT/NGM812970 | 1 |  | 1 | 6500 | 6500
# | LABOUR ROOM | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | BIRD MEDITECH | * | 1 |  | 1 | 38000 | 38000
# |  | FETAL DOPLLER | MEDIGOLD | * | 1 |  | 1 | 80000 | 80000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | MULTIPARA MONITOR | ALLENGERS | LIBRAA-295/1505LN552060179 | 1 |  | 1 | 80000 | 80000
# |  | AUTOCLAVE(COOKER) | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | DIAMOND | REGULAR | 3 |  | 3 | 650 | 1950
# |  | ADULT WEIGHING MACHINE | SHORT CARE | * | 1 |  | 1 | 2500 | 2500
# | PHARMACY | NEEDLE CUTTER | SAI LIFE | * | 1 |  | 1 | 1200 | 1200
# |  | ILR | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | BP APPARATUS | OMRON | HEM-8712 | 1 |  | 1 | 650 | 650
# | X RAY | X RAY MACHINE | SEIMENS | C65926 | 1 |  | 1 | 450000 | 450000
# | OPD | BP APPARATUS | OMRON | HEM-8712/20140504073VGI | 1 |  | 1 | 650 | 650
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | EGC ROOM | ECG MACHINE | GOTL 2 | GMT2212/12081 | 1 |  | 1 | 52000 | 52000
# |  | X RAY MACHINE | SEIMENS | MMR |  | 1 | 1 | 450000 | 450000
# | OT | ANESTHESIA MACHINE | ALLIED | JUPITER | 1 |  | 1 | 450000 | 450000
# |  | AUTOCLAVE(VERTICAL) | INDIAN | * | 2 |  | 2 | 65000 | 130000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | MASTERCARE | * | 1 |  | 1 | 6500 | 6500
# |  | CEILING LIGHT | INDIAN | * | 2 |  | 2 | 150000 | 300000
# |  | MULTIPARA MONITOR | L & T | PLAXOT 40 | 1 |  | 1 | 80000 | 80000
# |  | CAUTERY MACHINE | EXCEL LANCE | SHALYA LX | 1 |  | 1 | 160000 | 160000
# |  | RADIANT WARMER | MEDI WAVE INC | * | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | LALG | CLASSIC | 1 |  | 1 | 3500 | 3500
# |  | MULTIPARA MONITOR | ALLENGERS | LIBRA A-105/60180 | 1 |  | 1 | 80000 | 80000
# | STORE | USG MACHINE | L & T | SELECTION/N70V6051 |  | 1 | 1 | 450000 | 450000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 69
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 5489500
* | Not Available |  |  |  | Total CMC Value |  |  |  | 384265

## PHC MISROD
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC MISROD
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | SUCTION MACHINE | * | 7E-D00006 | 1 |  | 1 | 6500 | 6500
# | # | ECG MACHINE | BPL | CARDIART 6208 VIEW | 1 |  | 1 | 52000 | 52000
# | # | GLUCOMETER | ACCUCHEK | ACTIVE/GUO355T120 | 1 |  | 1 | 1500 | 1500
# | # | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | AUTOCLAVE(COOKER) | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | NEBULIZER | SARSA HEATHCARE | 3943 | 1 |  | 1 | 6500 | 6500
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | BP APPARATUS | OOMRON | HEM-712020140816943VGI | 1 |  | 1 | 650 | 650
# | # | SUCTION APPARATUS | * | 7E-D00028 | 1 |  | 1 | 6500 | 6500
# | # | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# | # | BP APPARATUS | OMRON | HEM-7113/20130711276VGI | 1 |  | 1 | 650 | 650
# | # | FETAL DOPPLER | MEDITRIN | * | 1 |  | 1 | 80000 | 80000
# | # | BABY WEIGHING MACHINE | BRAUN | DOCBEL | 1 |  | 1 | 3500 | 3500
# | # | DEEP FREEZER | VESTFRONT | MF-144/N-1004.3742641720 | 1 |  | 1 | 250000 | 250000
# | # | ILR | HAIER | HBC-700049 | 1 |  | 1 | 250000 | 250000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 770800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 53956

## PHC TUMDA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TUMDA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | OMRON | HEM-7120/20140816948VGI | 1 |  | 1 | 650 | 650
# | # | RADIANT WARMER | MEDITRIN | RHW-01/MP/11/132 | 1 |  | 1 | 38000 | 38000
# | # | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | NEBULIZER | OMRON | NEL-25-EN2619536 | 1 |  | 1 | 6500 | 6500
# | # | DOMESTIC REFRIGERATOR | LG | * |  | 1 | 1 | 15000 | 15000
# | # | GLUCOMETER | ACCU-CHEK | ACTIVE GU02703698 | 1 |  | 1 | 1500 | 1500
# | # | DEEP FREEZER | VESTFRONT | MK-074/65117206 | 1 |  | 1 | 250000 | 250000
# | # | DEEP FREEZER | HAEIR | * |  | 1 | 1 | 250000 | 250000
# | # | NEEDLE CUTTER | MCP | * | 1 |  | 1 | 1200 | 1200
# | # | BP APPARATUS | DIAMOND | DELUX | 1 |  | 1 | 650 | 650
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 573500
* | Not Available |  |  |  | Total CMC Value |  |  |  | 40145

## CHC KOLAR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC Kolar
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | BMO OFFICE | BP APPARATUS | DIAMOND | REGULAR | 1 |  | 1 | 650 | 650
# |  | DOMESTIC REFRIGERATOR | GODREJ | AXIS | 1 |  | 1 | 15000 | 15000
# |  | NEBULIZER | * | HEM-7120/20140839864VG | 1 |  | 1 | 6500 | 6500
# | ANTI NAL CLINIC | WEIGHING MACHINE | KRUPPS | * | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS | OMRON | HEM-8712/20140701556VGI | 1 |  | 1 | 650 | 650
# | COLD CHAIN | ILR | VESTFRONT | MK-144/A1208816 | 1 |  | 1 | 250000 | 250000
# |  | ILR | VESTFRONT | MK-304 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | R134A | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VESTFRONT | MF-144 | 1 |  | 1 | 250000 | 250000
# | NBSU | NEBULIZER | SMARTCARE | 2013021996 | 1 |  | 1 | 6500 | 6500
# |  | PULSE OXIMETER | MEDITRIN | * | 1 | 1 | 1 | 55000 | 55000
# |  | RADIANT WARMER | * | * |  |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | 1243 | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | BIRD MEDITECH | CFL STAND | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | AUL HEATHCARE | BILIPOD | 1 |  | 1 | 15500 | 15500
# |  | RADIANT WARMER | * | * | 1 | 1 | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | BIRD MEDITECH | CFL-STAND/1314 |  |  | 1 | 15500 | 15500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | LABOUR ROOM | NEEDLE CUTTER | LCP | * | 1 |  | 1 | 1200 | 1200
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | BIRD MEDITECH | * | 1 |  | 1 | 38000 | 38000
# |  | SUCTION APPARATUS | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | FETAL DOPPLER | MEDIGOLD | * | 1 |  | 1 | 80000 | 80000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MCP | * | 1 |  | 1 | 1200 | 1200
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | CHILL MATE | 1 |  | 1 | 15000 | 15000
# |  | CENTRIFUGE | INDIAN | * |  | 1 | 1 | 6500 | 6500
# |  | MICROSCOPE | FINE VISION | P2B-2265647 | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | OT | CEILING LIGHT | INDIAN | * | 1 |  | 1 | 150000 | 150000
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | BIRD MEDITECH | * | 1 |  | 1 | 38000 | 38000
# |  | ANESTHESIA MACHINE | AZEX | * | 1 |  | 1 | 450000 | 450000
# |  | PATIENT MONITOR | CONTEC | CMS-8000 | 1 |  | 1 | 80000 | 80000
# |  | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | AUTOCLAVE | INDIAN | * | 5 |  | 5 | 65000 | 325000
# | OFFICE | NEEDLE CUTTER | MCP | * | 1 |  | 1 | 1200 | 1200
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 43
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2817900
* | Not Available |  |  |  | Total CMC Value |  |  |  | 197253

## JP HOSPITAL
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | JP Hospital
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | ICU | DOMESTIC REFRIGERATOR | KELVINATOR | * | 1 |  | 1 | 15000 | 15000
# |  | NEEDLE CUTTER | MEDIGOLD | * | 1 |  | 1 | 1200 | 1200
# |  | NEBULIZER | MEDIEAST | * | 1 |  | 1 | 6500 | 6500
# |  | MULTIPARA MONITOR | NU LIFE | NL-8000 | 1 |  | 1 | 80000 | 80000
# |  | SUCTION MACHINE | SURGIX | * | 1 |  | 1 | 6500 | 6500
# |  | MULTIPARA MONITOR | NU LIFE | NL-8000 | 6 |  | 6 | 80000 | 480000
# |  | VENTILLATOR | DRAGON | SAVINK/ARYB-0071 | 1 |  | 1 | 600000 | 600000
# |  | ECG MACHINE | GOTIZ | GMT-2212121072 | 1 |  | 1 | 52000 | 52000
# | FEMALE SURGICAL WARD | BP APPARATUS | OMRON | HEM-8712/20140602173VGI | 1 |  | 1 | 650 | 650
# | MEDICAL WARD | NEEDLE CUTTER | MEDIGOLD | * | 1 |  | 1 | 1200 | 1200
# | OT | DOMESTIC REFRIGERATOR | WHIRLPOOL | SUPERCOOL | 1 |  | 1 | 15000 | 15000
# |  | FUMIGATER | CHAMPION | * | 1 |  | 1 | 4500 | 4500
# |  | MICROSCOPE | INDIAN | * | 1 |  | 1 | 30000 | 30000
# |  | OT TABLE | * | * | 4 |  | 4 | 45000 | 180000
# |  | MICROSCOPE | TOP COM | OMS-90/314637 | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE | LEICA | MEL-53/140896013 | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE | H.S MOTOR BOARD | FS112/271 | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE | GAURDIAN | * | 1 |  | 1 | 30000 | 30000
# |  | FACO MACHINE | SOVEREIGN COMPACT | COMPACT/201460373 | 1 |  | 1 | 350000 | 350000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | CAUTERY MACHINE | WET FIELD | MAX 01 | 1 |  | 1 | 160000 | 160000
# |  | CAUTERY MACHINE | MEDIMAX | * | 1 |  | 1 | 160000 | 160000
# |  | FACO MACHINE | NANO | * |  | 1 | 1 | 350000 | 350000
# |  | AUTOCLAVE(VERTICAL) | INDIAN | * |  | 3 | 3 | 65000 | 195000
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | SAI LIFE | * | 1 |  | 1 | 1200 | 1200
# |  | A SCAN MACHINE | OPTICON | MIZAR-2000/257AI |  | 1 | 1 | 450000 | 450000
# |  | A SCAN MACHINE | SONOMED | PAESCAN 300A/03000313A455 | 1 |  | 1 | 450000 | 450000
# |  | BP APPARATUS | OMRON | HEM-8712/201401510700BGIVGI | 1 |  | 1 | 650 | 650
# |  | TONOMETER | INDIAN | * |  | 1 | 1 | 45000 | 45000
# |  | HOT AIR OVRN | BIOTECH Lb | btl/12134 | 2 |  | 2 | 4500 | 9000
# | MAIN OT | CEILING LIGHHT | PHILLIPS MAJOR | PHILLIPS MAJOR/23098 | 1 |  | 1 | 150000 | 150000
# |  | OT TABLE | * | * | 1 |  | 1 | 45000 | 45000
# |  | ANESTHESIA MACHINE | G.I | * | 1 |  | 1 | 450000 | 450000
# |  | PULSE OXIMETER | NULIFE | NL-8000/05AG0022024 | 1 |  | 1 | 55000 | 55000
# |  | ADULT WEIGHING MACHINE | CAMRY | * | 1 |  | 1 | 2500 | 2500
# |  | FUMIGATOR | MAXLIFE | * | 2 |  | 2 | 4500 | 9000
# |  | FUMIGATOR | MAXLIFE | * |  | 1 | 1 | 4500 | 4500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | RAIMSON | * | 1 |  | 1 | 1200 | 1200
# |  | SUCTION MACHINE | INDIAN | * |  | 1 | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MEDIGOLD | * |  | 1 | 1 | 1200 | 1200
# |  | NEEDLE CUTTER | LIFECARE | * | 1 |  | 1 | 1200 | 1200
# |  | SUCTION MACHINE | SEWARD | 9600/77151 | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | DIATHERMY UNIT | JOHNSON NJOHNSON | DIGITAL 400/E0552124 | 1 |  | 1 | 650000 | 650000
# |  | DIATHERMY UNIT | OCTAVE | ICE-1/E15CB1540 | 1 |  | 1 | 650000 | 650000
# |  | OT LIGHT | MEDICRAFT | 103213 |  | 1 | 1 | 45000 | 45000
# |  | CEILING LIGHT | PHILLIPS | PHILILUX M70 | 1 |  | 1 | 150000 | 150000
# |  | OT TABLE | * | * | 1 |  | 1 | 45000 | 45000
# |  | ANESTHESIA MACHINE | MEDICAL ENGINERE | ME-202/5724 | 1 |  | 1 | 450000 | 450000
# |  | MULTIPARA MONITOR | L & T | 200/T06W51029 | 1 |  | 1 | 80000 | 80000
# |  | BP APPARATUS | DIAMOND | REGULAR/12541 | 1 |  | 1 | 650 | 650
# |  | C-ARM | ADONIS | AE60HFS | 1 |  | 1 | 850000 | 850000
# |  | OT TABLE | * | * | 1 |  | 2 | 45000 | 90000
# |  | AUTOCLAVE(VERTICAL) | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | AUTOCLAVE(HORIZONTAL) | INDIAN | * | 2 |  | 2 | 55000 | 110000
# |  | AUTOCLAVE(HORIZONTAL) | INDIAN | * |  | 1 | 1 | 55000 | 55000
# |  | DOMESTIC REFRIGERATOR | KELVINATOR | NUTRICOOL | 1 |  | 1 | 15000 | 15000
# |  | DOMESTIC REFRIGERATOR | JETMATIC | POPULAR | 1 |  | 1 | 15000 | 15000
# |  | CEILING LIGHT | PHILLIPS | PHILLILUX M70/15727 |  | 1 | 1 | 150000 | 150000
# |  | SUCTION MACHINE | SEWARD SURGICAL | 9600/77100 | 1 |  | 1 | 6500 | 6500
# |  | ANESTHESIA MACHINE | ALLIED JUPITER | * | 1 |  | 1 | 450000 | 450000
# |  | VENTILLATOR | MEDITECH | 2100/20604064 | 1 |  | 1 | 600000 | 600000
# |  | MULTIPARA MONITOR | ALLENGERS | HF 49R/2K15060338-BC | 1 |  | 1 | 80000 | 80000
# |  | MULTIPARA MONITOR | L & T | PLANET 50/T08W53037 | 1 |  | 1 | 80000 | 80000
# |  | C-ARM | ALLENGERS | HF 49R/2K15060338-BC | 1 |  | 1 | 850000 | 850000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | DIATHERMY UNIT | OCTAVE | ICC1/E15CD1539 | 1 |  | 1 | 650000 | 650000
# | ENT OT | SUCTION MACHINE | SURGIX | * | 1 |  | 1 | 6500 | 6500
# |  | MICROSCOPE | BHEL | 702 | 1 |  | 1 | 30000 | 30000
# |  | SPOT LIGHT | PIONEER | K11 | 1 |  | 1 | 6500 | 6500
# |  | CAUTERY MACHINE | BASCO | RF | 1 |  | 1 | 160000 | 160000
# |  | CAUTERY MACHINE | MEDIWAVES | EX-250/54162012 | 1 |  | 1 | 160000 | 160000
# |  | SUCTION MACHINE | * | * | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | KALEKAR | * | 1 |  | 1 | 6500 | 6500
# |  | ANESTHESIA MACHINE | ALLIED JU[PITER | JD91TER/2001290 | 1 |  | 1 | 450000 | 450000
# |  | MULTIPARA MONITOR | NECLIFE | NL-800/05AG002180 |  | 1 | 1 | 80000 | 80000
# |  | BP APPARATUS | MEDIGAURD | * | 1 |  | 1 | 650 | 650
# |  | OT TABLE | * | * | 2 |  | 2 | 45000 | 90000
# |  | CEILING LIGHT | PHILLIPS | PHILLILUX M70/17573 | 1 |  | 1 | 150000 | 150000
# |  | NEEDLE CUTTER | SAI LIFE | * | 1 |  | 1 | 1200 | 1200
# |  | AUTOCLAVE(VERTICAL) | * | * | 2 |  | 2 | 65000 | 130000
# |  | FUMIGATOR | * | * | 1 |  | 1 | 4500 | 4500
# |  | STERLIZER | * | * | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFRIGERATOR | KELVINATOR | NUTRICOOL | 1 |  | 1 | 15000 | 15000
# |  | MULTIPARA MONITOR | CONCEPT INTEGNATION | ACCU SIGN/CI 1303BL09 |  | 1 | 1 | 80000 | 80000
# |  | OT TABLE | * | * | 1 |  | 1 | 45000 | 45000
# |  | ADULT WEIGHING MACHINE | SUVARNA | * | 1 |  | 1 | 2500 | 2500
# | SNCU | RADIANT WARMER | CROWN | * | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | * |  | 1 | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INDICAP/RTSE-37-0912 |  | 1 | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | BIRD MEDITECH | BMKM-154-0910 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | BIRD MEDITECH | BM-CPT-245-0910 | 1 |  | 1 | 15500 | 15500
# |  | RADIANT WARMER | ZEAL MEDICAL | NRU23014/NRU2101A91212-12 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | * | 1 |  | 1 | 38000 | 38000
# |  | OXYGEN CONCENTRATOR | BPL | OG-4203/AXTC9L4519 | 1 |  | 1 | 45000 | 45000
# |  | OXYGEN CONCENTRATOR | BPL | OG-4203/AXTC9L4529 | 1 |  | 1 | 45000 | 45000
# |  | OXYGEN CONCENTRATOR | BPL | OG-4203/AXTC9L4524 | 1 |  | 1 | 45000 | 45000
# |  | VENTILLATOR | DRAGER | BABYLOG 8000+/ASC J0021 | 1 |  | 1 | 600000 | 600000
# |  | VENTILLATOR | DRAGER | BABYLOG 8000+/ASCE 0075 | 1 |  | 1 | 600000 | 600000
# |  | VENTILLATOR | DRAGER | BABY LOG8000+/ASCE 0024 | 1 |  | 1 | 600000 | 600000
# |  | C PAP | JOEL | HHD01 | 2 |  | 2 | 55000 | 110000
# |  | SUCTION MACHINE | GI | * | 1 |  | 1 | 6500 | 6500
# |  | PHOTOTHERAPY | PHOENIX | PB100/2938 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PB100/2883 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PI104/2644 | 1 |  | 1 | 15500 | 15500
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW05/061611 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW05/0910911 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW05/09/0911 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW05/46/0911 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW05/95/0912 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW05/90/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW05/41/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW05/236/07/1314 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | PHOENIX | TB100/2875 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PT104/2632 | 1 |  | 1 | 15500 | 15500
# |  | PULSE OXIMETER | EMCO MEDITECH | SAT 2060 | 1 |  | 1 | 55000 | 55000
# |  | INFUSION PUMP | ASPEN | SP-1/09107512 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | ASPEN | sp-1/09107852 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | EMCO | INFUSOR 950/11101021 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | ASPEN | SP-1/1003727Z | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | ASPEN | SP-1 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | EMCO | INFUSOR 950/11101019 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | EMCO | INFUSOR 950/11101024 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | TECHNOCARE | SP 201/BY-14810120168 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | TECHNOCARE | TM 1509/BY-138100900050 | 1 |  | 1 | 40000 | 40000
# |  | MULTIPARA MONITOR | MINDRAY | MEC-100/CC-0A115504 | 1 |  | 1 | 80000 | 80000
# |  | INFUSION PUMP | ASPEN | SP-1/1003736Z | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | ASPEN | SP-1 | 1 |  | 1 | 40000 | 40000
# |  | ABG ANALYZER | NOVA BIOMEDICAL | CRITICAL CARE DEXPRESS/YO4B10040 | 1 |  | 1 | 200000 | 200000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/94/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW00/30/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/32/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/45/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/47/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/43/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/48/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/49/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/42/0910 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDICAL | NRU23014/NRU2101A91212-13 | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | SCURE | 7ED/0019 | 1 |  | 1 | 6500 | 6500
# |  | GLUCOMETER | 5D | CHECK/M01C08EA408922 | 1 |  | 1 | 1500 | 1500
# |  | PULSE OXIMETER | MAESTROS | L500/00772175 | 1 |  | 1 | 55000 | 55000
# |  | INFUSION PUMP | ASPEN | SP-1/100 |  | 1 | 1 | 40000 | 40000
# |  | PULSE OXIMETER | EMCO | SAT-2060 | 2 |  | 2 | 55000 | 110000
# |  | INFUSION PUMP | ASPEN | SP-1/09107823 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | ASPEN | SP-1/10038112 | 1 |  | 1 | 40000 | 40000
# |  | SUCTION MACHINE | GI | * | 1 |  | 1 | 6500 | 6500
# |  | PULSE OXIMETER | MAESTROS | L500/00772123 | 1 |  | 1 | 55000 | 55000
# |  | INFUSION PUMP | ASPEN | SP-1 |  | 1 | 1 | 40000 | 40000
# |  | INFUSION PUMP | EMCO | INFUSOR 950/1101023 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | TECHNOCARE | TM-1509/BY-13810080128 | 1 |  | 1 | 40000 | 40000
# | PICU | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW0/40/0910 |  | 1 | 1 | 38000 | 38000
# |  | SUCTION MACHINE | SURGIX | * |  | 1 | 1 | 6500 | 6500
# |  | VENTILLATOR | DRAGER | BABYLOG 8000+/ASBD0034 |  | 1 | 1 | 600000 | 600000
# |  | PULSE OXIMETER | LIFEGAURD | VS1/51OU215031 |  | 1 | 1 | 55000 | 55000
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | DOMESTIC REFRIGERATOR | KELVINATOR | NUTRICOOL | 1 |  | 1 | 15000 | 15000
# |  | NEBULIZER | INFINITY MEDI EQUI | ICRA66/11011420 | 1 |  | 1 | 6500 | 6500
# |  | MULTIPARA MONITOR | NECLIFE | NL-5100/05BG000283 |  | 1 | 1 | 80000 | 80000
# |  | MULTIPARA MONITOR | NECLIFE | NL-5100/05BG000483 |  | 1 | 1 | 80000 | 80000
# |  | MULTIPARA MONITOR | NECLIFE | NL-5100/05BG000236 | 1 |  | 1 | 80000 | 80000
# |  | NEEDLE CUTTER | MEDIGOLD | * | 1 |  | 1 | 1200 | 1200
# |  | PULSE OXIMETER | LIFEGAURD | VS-1/510U218012 | 1 |  | 1 | 55000 | 55000
# |  | INFUSION PUMP | ASPEN | SP-1/10037502 | 1 |  | 1 | 40000 | 40000
# |  | SUCTION MACHINE | SCURE | 7ED/00020 | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | SURGIX | * |  | 1 | 1 | 6500 | 6500
# |  | PULSE OXIMETER | MAESTROS | L-500 |  | 1 | 1 | 55000 | 55000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 192
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 17636200
* | Not Available |  |  |  | Total CMC Value |  |  |  | 1234534