## Sheet1
MASTER EQUIPMENT BASE
General Hospital ,Ambala city
DEPARTMENT-BLOOD BANK
S.no | Equipment name | ASSET CODE | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT AT TIME OF PURCHASE | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Contact details | Remarks
[13 empty] | Working | Non-Working
1 | ELISA Reader |  | 2 |  | READWELL TOUCH | T0908RBK078 |  |  | 2008-01-01 | 2010-12-01 |  | W | 1
|  |  |  | MEDITEST | MEDILISA | 3181058 | 85520 |  | 1998-04-02 |  |  | W | 1 | 1 |  | shifted to kurukshetra
2 | ELISA Reader & Washer |  | 1 |  | WASHWELL PLATE | AW0908RBK078 |  |  | 2008-01-01 | 2010-12-01 |  | W | 1
3 | Incubator |  | 3 | BUDH SINGH&SONS | [7 empty] | W | 1
|  |  |  | VILCO | [7 empty] | W | 1
[12 empty] | W | 1
4 | Waterbath |  | 3 | YORCO | YSI-413 | 50231 | [5 empty] | W | 1
|  |  |  | YORCO | YSI-413 | 50269 | [5 empty] | W | 1
|  |  |  | LABTRONICS (PKL) | 80 | 200511 | [5 empty] | W | 1
5 | Hot Plate |  | 1 | REMI | [7 empty] | W | 1
6 | Centrifuge |  | 3 |  | P12C | [6 empty] | W | 1
|  |  |  | MICROSIL | T-10 | 531 | 11499 | 16\11\06 |  |  |  | W | 1
|  |  |  | REMI | C854/6 | FDLC-2829 | [5 empty] | W | 1
7 | Boiler |  | 1 | [8 empty] | W | 1
8 | BP Apparatus |  | 26 | [8 empty] | W(16) | 16
[12 empty] | W | 10
9 | Microscope |  | 4 |  | MICROLUX-16 | [6 empty] | W | 1
|  |  |  | LABOTRON |  | 957822 | [5 empty] | W | 1
|  |  |  | LABOTRON |  | 957823 | [5 empty] | W | 1
|  |  |  | LABOPTIC | 90V732 | [6 empty] | W | 1
10 | Needle Destroyer |  | 1 | ECOLINE | [7 empty] | W | 1
11 | Emergency Light |  | 1 | [8 empty] | W | 1
12 | Hb Meter |  | 2 | MAREINLEILD | [7 empty] | W | 1
|  |  |  | MICROSIL (LINCO SCIENTIFIC, Ambala Cantt.) | AMI | [6 empty] | W | 1
13 | Cold Box |  | 5 | ELECTROLUX | [7 empty] | W | 1
|  |  |  | ELECTROLUX | [7 empty] | W | 1
|  |  |  | NA | [7 empty] | W | 1
|  |  |  | NA | [7 empty] | W | 1
|  |  |  | NA | [7 empty] | W | 1
14 | Adult weigh machine |  | 4 | DR.BELTRAM | [7 empty] | W | 1
|  |  |  | DR.BELTRAM | [7 empty] | W | 1
|  |  |  | DR.BELTRAM | [7 empty] | W | 1
|  |  |  | DR.BELTRAM | [7 empty] | W | 1
15 | Autoclave(verticle) |  | 1 | YORCO | [7 empty] | W | 1
16 | Refrigerator |  | 8 | BRITISH INDIA | RJ04 | 1252 | [5 empty] | W | 1
|  |  |  | BRITISH INDIA | RD09 | 1253 | [5 empty] | W | 1
|  |  |  | THERMO FISHER | JEWETT | [6 empty] | W | 1
|  |  |  | DEPEE | DBR303 | 6C015 | [5 empty] | W | 1
|  |  |  | REMI INSTRUMENTS | BR70\12-92 | R/R-260 | [5 empty] | W | 1
|  |  |  | ELECTOLUX | [7 empty] | W | 1
|  |  |  | ELECTOLUX | [7 empty] | W | 1
17 | Tube sealer |  | 1 |  |  |  | 575000 | 24/12/12 | 14/1/2013 | 13/1/2015 |  | W | 1
| TOTAL |  | 67 |  |  |  | 672019 | [5 empty] | 66 | 1