## BHILODA
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Gandhinagar | [8 empty] | Cottage Hospital Bhiloda
Name of Districts :-Sabarkantha | [8 empty] | Date of Visit :- 28.12.2013
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 2 | 1 | 1 |  |  | 1 | [6 empty] | 1 | 1 | 30000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | [9 empty] | 0 | 1 | 0
3 | Semi auto analyzer | 125000 | 2 | 1 | 1 |  |  |  | 1 | [5 empty] | 1 | 1 | 125000
4 | Hot Air oven | 15000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
5 | Lab Incubator | 30000 | 1 | 1 | 0 | [9 empty] | 0 |  | 0
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | 0 | [9 empty] | 0 |  | 0
8 | Haemoglobinometer | 20000 | 2 | 2 | 0 | [9 empty] | 0 |  | 0
9 | Spirit lamp | 1000 | 2 | 2 | 0 | [9 empty] | 0 |  | 0
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
| TOTAL |  | 10 | 8 | 2 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 155000

## DEESA
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- GHANDHINAGAR | [8 empty] | Name of Sub District Hospital:-Deesa.
Name of Districts :-BANASKANTHA | [8 empty] | Date of Visit :-
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 3 | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
2 | Auto analyzer | 350000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
3 | Semi auto analyzer | 125000 | 1 | 1 | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
4 | Hot Air oven | 15000 | 1 | 1 | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
5 | Lab Incubator | 30000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
6 | Distilled water Plant | 20000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
8 | Haemoglobinometer | 20000 | 2 | 2 | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
9 | Spirit lamp | 1000 | 2 | 2 | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
10 | Rotatry Microtome | 300000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
11 | Elisa Reader cum washer | 150000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
12 | Blood gas analyzer | 300000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
13 | Electrolyte Analyser | 100000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
14 | Glycosylated Haemoglobinometer | 30000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
15 | Haematology Analyser with 22 parameters | 250000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
16 | Laboratory Autoclaves | 10000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
17 | Class – I Bio Safety Cabinet | 80000 | - | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0
| TOTAL |  | 10 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## DEVGADHBARIYA
Instrument & Equipments Audit Checklist for Sub District Hospital DEVGADH BARIA
Name of Region :- VADODARA | [8 empty] | J.S.CHAUHAN HOSPITAL DEVGADH BARIA
Name of Districts :- DAHOD | [8 empty] | Date of Visit :- 15.01.2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Auto analyzer | 350000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Semi auto analyzer | 125000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Hot Air oven | 15000 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 15000
5 | Lab Incubator | 30000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Cell Counter Electronic | 250000 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 250000
8 | Haemoglobinometer | 20000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Spirit lamp | 1000 | 4 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL |  | 12 | 7 | 5 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 268000

## DHARAMPUR
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- ..Surat | [8 empty] | State Hospital Dharampur
Name of Districts :- Valsad. | [8 empty] | Date of Visit :-...............................
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 3 | [12 empty] | 90000
2 | Auto analyzer | 350000 | [14 empty] | 0
3 | Semi auto analyzer | 125000 | [14 empty] | 0
4 | Hot Air oven | 15000 | 2 | 2 | [12 empty] | 30000
5 | Lab Incubator | 30000 | 1 | 1 | [12 empty] | 30000
6 | Distilled water Plant | 20000 | [14 empty] | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | [12 empty] | 250000
8 | Haemoglobinometer | 20000 | 1 | 1 | [12 empty] | 20000
9 | Spirit lamp | 1000 | [13 empty] | 1 | 0
10 | Rotatry Microtome | 300000 | [14 empty] | 0
11 | Elisa Reader cum washer | 150000 | [14 empty] | 0
12 | Blood gas analyzer | 300000 | [14 empty] | 0
13 | Electrolyte Analyser | 100000 | [13 empty] | 1 | 0
14 | Glycosylated Haemoglobinometer | 30000 | [14 empty] | 0
15 | Haematology Analyser with 22 parameters | 250000 | [14 empty] | 0
16 | Laboratory Autoclaves | 10000 | [14 empty] | 0
17 | Class – I Bio Safety Cabinet | 80000 | [14 empty] | 0
| TOTAL |  | 8 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 420000

## DHORAJI
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- RAJKOT | [8 empty] | Name of Sub District Hospital:- Govt. Hospital DHORAJI
Name of Districts :- RAJKOT | [8 empty] | Date of Visit :- 17/01/2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Semi auto analyzer | 125000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125000
4 | Hot Air oven | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Lab Incubator | 30000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30000
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Haemoglobinometer | 20000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20000
9 | Spirit lamp | 1000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Laboratory Autoclaves | 10000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10000
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL |  | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246000

## GONDAL
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Rajkot | [8 empty] | Name of Sub District Hospital:- Gondal
Name of Districts :- Rajkot | [8 empty] | Date of Visit :- 22/01/2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 2 | 2 | [12 empty] | 60000
2 | Auto analyzer | 350000 | 0 | [13 empty] | 0
3 | Semi auto analyzer | 125000 | 2 | 2 | [12 empty] | 250000
4 | Hot Air oven | 15000 | 0 | [12 empty] | 1 | 0
5 | Lab Incubator | 30000 | 0 | [12 empty] | 1 | 0
6 | Distilled water Plant | 20000 | 0 | [13 empty] | 0
7 | Cell Counter Electronic | 250000 | 0 | [12 empty] | 1 | 0
8 | Haemoglobinometer | 20000 | 1 | 1 | [12 empty] | 20000
9 | Spirit lamp | 1000 | 1 | 1 | [12 empty] | 1000
10 | Rotatry Microtome | 300000 | 0 | 0 | [12 empty] | 0
11 | Elisa Reader cum washer | 150000 | 0 | [13 empty] | 0
12 | Blood gas analyzer | 300000 | 0 | [13 empty] | 0
13 | Electrolyte Analyser | 100000 | 0 | [13 empty] | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | [13 empty] | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | [13 empty] | 0
16 | Laboratory Autoclaves | 10000 | 1 | 1 | [12 empty] | 10000
17 | Class – I Bio Safety Cabinet | 80000 | 0 | [13 empty] | 0
| TOTAL |  | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 341000

## KHAMBHALIYA
Instrument & Equipments Audit Checklist for District Hospital
Name of Region :- Rajkot | [8 empty] | Name of District Hospital:- General Hospital,Jamkhambhalia
Name of Districts :- Devbhumi Dwarka | [8 empty] | Date of Visit :-...........................................................................
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 2 | 1 | - |  | - | 1 | - | - | - | - | - | 1 | - | 90000
2 | Auto analyzer | 350000 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | 0
3 | Semi auto analyzer | 125000 | 2 | 1 | 1 | - | - | - | 1 | - | - | - | - | - | 1 | - | 250000
4 | Hot Air oven | 15000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
5 | Lab Incubator | 30000 | 1 | 1 | - | - | - | - | - | - | - | - | - | - | - | - | 30000
6 | Distilled water Plant | 20000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | - | - | - | - | - | - | - | - | - | - | - | - | 250000
8 | Haemoglobinometer | 20000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
9 | Spirit lamp | 1000 | 2 | 2 | - | - | - | - | - | - | - | - | - | - | - | - | 2000
10 | Rotatry Microtome | 300000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
11 | Elisa Reader cum washer | 150000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
12 | Blood gas analyzer | 300000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
13 | Electrolyte Analyser | 100000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
14 | Glycosylated Haemoglobinometer | 30000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
15 | Haematology Analyser with 22 parameters | 250000 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | 0
16 | Laboratory Autoclaves | 10000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
17 | Class – I Bio Safety Cabinet | 80000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
| TOTAL |  | 9 | 7 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 622000

## DEVBHUMI DWARKA
Instrument & Equipments Audit Checklist for District Hospital
Name of Region :- Rajkot | [8 empty] | Name of District Hospital:- General Hospital,Jamkhambhalia
Name of Districts :- Devbhumi Dwarka | [8 empty] | Date of Visit :-...........................................................................
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 2 | 1 | - |  | - | 1 | - | - | - | - | - | 1 | - | 90000
2 | Auto analyzer | 350000 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | 0
3 | Semi auto analyzer | 125000 | 2 | 1 | 1 | - | - | - | 1 | - | - | - | - | - | 1 | - | 250000
4 | Hot Air oven | 15000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
5 | Lab Incubator | 30000 | 1 | 1 | - | - | - | - | - | - | - | - | - | - | - | - | 30000
6 | Distilled water Plant | 20000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | - | - | - | - | - | - | - | - | - | - | - | - | 250000
8 | Haemoglobinometer | 20000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
9 | Spirit lamp | 1000 | 2 | 2 | - | - | - | - | - | - | - | - | - | - | - | - | 2000
10 | Rotatry Microtome | 300000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
11 | Elisa Reader cum washer | 150000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
12 | Blood gas analyzer | 300000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
13 | Electrolyte Analyser | 100000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
14 | Glycosylated Haemoglobinometer | 30000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
15 | Haematology Analyser with 22 parameters | 250000 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | 0
16 | Laboratory Autoclaves | 10000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
17 | Class – I Bio Safety Cabinet | 80000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0
| TOTAL |  | 9 | 7 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 622000

## JETPUR
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Rajkot | [8 empty] | Name of SDH :- Govt.Hospital Jetpur
Name of Districts :- Rajkot | [8 empty] | Date of Visit :- 17/01/2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 2 | 1 | 1 |  |  | 1 | [6 empty] | 1 |  | 60000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
3 | Semi auto analyzer | 125000 | 1 | 1 | 0 | [9 empty] | 0 |  | 125000
4 | Hot Air oven | 15000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
5 | Lab Incubator | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
8 | Haemoglobinometer | 20000 | 1 | 1 | 0 | [9 empty] | 0 |  | 20000
9 | Spirit lamp | 1000 | 1 | 1 | 0 | [9 empty] | 0 |  | 1000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
| TOTAL |  | 5 | 4 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 206000

## KHEDA
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- RDD Ahmedabad | [8 empty] | General Hospital Kheda
Name of Districts :- Kheda | [8 empty] | Date of Visit :-..........................................................................................
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 6 | 3 | 3 |  |  | 3 | [6 empty] | 3 |  | 180000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
3 | Semi auto analyzer | 125000 | 3 | 1 | 2 |  |  | 2 | [6 empty] | 2 |  | 375000
4 | Hot Air oven | 15000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
5 | Lab Incubator | 30000 | 1 | 1 | 0 | [9 empty] | 0 |  | 30000
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
8 | Haemoglobinometer | 20000 | 2 | 2 | 0 | [9 empty] | 0 |  | 40000
9 | Spirit lamp | 1000 | 1 | 1 | 0 | [9 empty] | 0 |  | 1000
10 | Rotatry Microtome | 300000 | 1 | 1 | 0 | [9 empty] | 0 |  | 300000
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
| TOTAL |  | 14 | 9 | 5 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 926000

## Khedbrahma
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Gandhinagar | [8 empty] | Sub District Hospital Khedbrahma
Name of Districts :-Sabarkantha | [8 empty] | Date of Visit :- 30.12.2013
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 3 | 0 | [9 empty] | 0 |  | 90000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
3 | Semi auto analyzer | 125000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
4 | Hot Air oven | 15000 | 2 | 1 | 1 |  |  | 1 | [6 empty] | 1 |  | 30000
5 | Lab Incubator | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | 0 | [9 empty] | 0 |  | 250000
8 | Haemoglobinometer | 20000 | 2 | 2 | 0 | [9 empty] | 0 |  | 40000
9 | Spirit lamp | 1000 | 1 | 1 | 0 | [9 empty] | 0 |  | 1000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
| TOTAL |  | 9 | 8 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 411000

## Lathi
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Bhavnagar | [8 empty] | Sub District Hospital Lathi
Name of Districts :- Amreli | [8 empty] | Date of Visit :-..15.01.2014...
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 1 | 2 |  |  |  | 2 | [5 empty] | 2 |  | 90000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
3 | Semi auto analyzer | 125000 | 1 | 1 | 0 | [9 empty] | 0 |  | 125000
4 | Hot Air oven | 15000 | 1 | 1 | 0 | [9 empty] | 0 |  | 15000
5 | Lab Incubator | 30000 | 1 | 0 | 1 |  |  | 1 | [6 empty] | 1 |  | 30000
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
8 | Haemoglobinometer | 20000 | 1 | 1 | 0 | [9 empty] | 0 |  | 20000
9 | Spirit lamp | 1000 | 1 | 1 | 0 | [9 empty] | 0 |  | 1000
10 | Rotatry Microtome | 300000 | 1 | 1 | 0 | [9 empty] | 0 |  | 300000
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 |  | 0 | [9 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | 1 | 0 | 1 |  |  | 1 | [6 empty] | 1 |  | 10000
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
| TOTAL |  | 10 | 6 | 4 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 591000

## Lunawada
Instrument & Equipments Audit Checklist for Sub District Hospital COTTAGE LUNAVADA
Name of Region :- ................................... | [8 empty] | COTTAGE HOSPITAL LUNAVADA
Name of Districts :- MAHISAGAR (PMS)........................ | [8 empty] | Date of Visit :-.................................
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 1 | 1 | 0 | [9 empty] | 0 |  | 30000
2 | Auto analyzer | 350000 | 1 | 0 | 1 |  |  | 1 | [6 empty] | 1 |  | 350000
3 | Semi auto analyzer | 125000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
4 | Hot Air oven | 15000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
5 | Lab Incubator | 30000 | 1 | 1 | 0 | [9 empty] | 0 |  | 30000
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | 0 | [9 empty] | 0 |  | 250000
8 | Haemoglobinometer | 20000 | 3 | 3 | 0 | [9 empty] | 0 |  | 60000
9 | Spirit lamp | 1000 | 1 | 1 | 0 | [9 empty] | 0 |  | 1000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
| TOTAL |  | 8 | 7 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 721000

## MANSA
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- .............MANSA HOSPITAL.................. | [8 empty] | Mansa Sub Dist Hospital
Name of Districts :- .................Gandhinagar...................................... | [8 empty] | Date of Visit :- 9/1/2013
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
3 | Semi auto analyzer | 125000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125000
4 | Hot Air oven | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Lab Incubator | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250000
8 | Haemoglobinometer | 20000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20000
9 | Spirit lamp | 1000 | 15 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL |  | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 470000

## MORBI
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Morbi | [8 empty] | Name of SDH : - General Hospital - Morbi
Name of Districts :- Rajkot | [8 empty] | Date of Visit :- 24/01/2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 4 | 4 | [12 empty] | 120000
2 | Auto analyzer | 350000 | 0 | 0 | [11 empty] | 1 | 0
3 | Semi auto analyzer | 125000 | 3 | 1 | 2 |  |  | 2 | [6 empty] | 2 |  | 375000
4 | Hot Air oven | 15000 | 1 | 1 | [12 empty] | 15000
5 | Lab Incubator | 30000 | 2 | 2 | [12 empty] | 60000
6 | Distilled water Plant | 20000 | 0 | 0 | [12 empty] | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | [12 empty] | 0
8 | Haemoglobinometer | 20000 | 2 | 2 | [12 empty] | 40000
9 | Spirit lamp | 1000 | 0 | 0 | [12 empty] | 0
10 | Rotatry Microtome | 300000 | 1 | 1 | [12 empty] | 300000
11 | Elisa Reader cum washer | 150000 | 4 | 2 | 2 | 1 | [6 empty] | 1 |  | 2 |  | 600000
12 | Blood gas analyzer | 300000 | 1 |  | 1 | 1 | [8 empty] | 1 |  | 300000
13 | Electrolyte Analyser | 100000 | 0 | 0 | [12 empty] | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | [12 empty] | 0
15 | Haematology Analyser with 22 parameters | 250000 | [14 empty] | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | [12 empty] | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | [12 empty] | 0
| TOTAL |  | 18 | 13 | 5 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 5 | 1 | 1810000

## PALITANA
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Palitana | [8 empty] | Sub District Hospital Palitana-Bhavnagar
Name of Districts :- Bhavnagar | [8 empty] | Date of Visit :- February-10-2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 1 | 2 |  |  | 2 | [6 empty] | 2 |  | 90000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
3 | Semi auto analyzer | 125000 | 1 | 1 | 0 | [9 empty] | 0 |  | 125000
4 | Hot Air oven | 15000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
5 | Lab Incubator | 30000 | 1 | 0 | 1 |  |  | 1 | [6 empty] | 1 |  | 30000
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
8 | Haemoglobinometer | 20000 | 2 | 2 | 0 | [9 empty] | 0 |  | 40000
9 | Spirit lamp | 1000 | 1 | 1 | 0 | [9 empty] | 0 |  | 1000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
| TOTAL |  | 8 | 5 | 3 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 286000

## RAJULA
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Bhavnagar | [8 empty] | Sub District Hospital Rajula
Name of Districts :- Amreli | [8 empty] | Date of Visit :- 13.01.2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 3 | 0 | [9 empty] | 0 |  | 90000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
3 | Semi auto analyzer | 125000 | 1 | 1 | 0 | [9 empty] | 0 |  | 125000
4 | Hot Air oven | 15000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
5 | Lab Incubator | 30000 | 1 | 1 | 0 | [9 empty] | 0 |  | 30000
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | 0 | [9 empty] | 0 |  | 250000
8 | Haemoglobinometer | 20000 | 1 | 1 | 0 | [9 empty] | 0 |  | 20000
9 | Spirit lamp | 1000 | 3 | 3 | 0 | [9 empty] | 0 |  | 3000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
| TOTAL |  | 10 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 518000

## SANTARAMPUR
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- VADODARA | [8 empty] | SDH:- STATE HOSPITAL, SANTRAMPUR
Name of Districts :- MAHISAGAR | [8 empty] | Date of Visit :-..........................................................................................
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 3 | [10 empty] | 0 |  | 90000
2 | Auto analyzer | 350000 | [12 empty] | 0 |  | 0
3 | Semi auto analyzer | 125000 | 1 |  | 1 |  |  | 1 | [6 empty] | 1 |  | 125000
4 | Hot Air oven | 15000 | [12 empty] | 0 |  | 0
5 | Lab Incubator | 30000 | [12 empty] | 0 |  | 0
6 | Distilled water Plant | 20000 | [12 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 1 | 1 | [10 empty] | 0 |  | 250000
8 | Haemoglobinometer | 20000 | 1 | 1 | [10 empty] | 0 |  | 20000
9 | Spirit lamp | 1000 | 1 | 1 | [10 empty] | 0 |  | 1000
10 | Rotatry Microtome | 300000 | [12 empty] | 0 |  | 0
11 | Elisa Reader cum washer | 150000 | [12 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | [12 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | [12 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | [12 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | [12 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | [12 empty] | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | [12 empty] | 0 |  | 0
| TOTAL |  | 7 | 6 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 486000

## SAVARKUNDLA
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- ............Bhavnagar | [8 empty] | Sub District Hospital Savarkundla
Name of Districts :- ...............Amreli | [8 empty] | Date of Visit :- 15.01.2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 6 | 3 | 3 |  |  | 1 | 2 | [5 empty] | 3 |  | 180000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
3 | Semi auto analyzer | 125000 | 2 | 2 | 0 | [9 empty] | 0 |  | 250000
4 | Hot Air oven | 15000 | 1 | 0 | 1 |  |  |  | 1 | [5 empty] | 1 |  | 15000
5 | Lab Incubator | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
8 | Haemoglobinometer | 20000 | 3 | 2 | 1 |  |  |  | 1 | [5 empty] | 1 |  | 60000
9 | Spirit lamp | 1000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | [9 empty] | 0 |  | 0
| TOTAL |  | 12 | 7 | 5 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 505000

## SIDHHPUR
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- GANDHINAGAR |  |  |  |  | Name of Sub District Hospital:-GENERAL HOSPITAL SIDDHPUR
Name of Districts :- PATAN | [8 empty] | Date of Visit :-25/01/2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 30000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
3 | Semi auto analyzer | 125000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 250000
4 | Hot Air oven | 15000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 15000
5 | Lab Incubator | 30000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 60000
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
8 | Haemoglobinometer | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
9 | Spirit lamp | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
11 | Elisa Reader cum washer | 150000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 150000
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
15 | Haematology Analyser with 22 parameters | 250000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 250000
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Total |  | 8 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 755000

## UNJHA
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Gandhinagar | [10 empty] | Cotage Hospital Unjha
Name of Districts :- Unjha | [10 empty] | Date of Visit :- 27/12/13
|  | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 0
3 | Semi auto analyzer | 125000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250000
4 | Hot Air oven | 15000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15000
5 | Lab Incubator | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
8 | Haemoglobinometer | 20000 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60000
9 | Spirit lamp | 1000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 10 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 416000

## UPLETA
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- RAJKOT | [8 empty] | Name of SDH : - COTTAGE HOSPITAL UPLETA
Name of Districts :- RAJKOT | [8 empty] | Date of Visit :-10/01/2014
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 2 | 2 | - | [11 empty] | 60000
2 | Auto analyzer | 350000 | - | - | - | [11 empty] | 0
3 | Semi auto analyzer | 125000 | 1 | 1 | - | [11 empty] | 125000
4 | Hot Air oven | 15000 | - | - | - | [11 empty] | 0
5 | Lab Incubator | 30000 | - | - | - | [10 empty] | 1 | 0
6 | Distilled water Plant | 20000 | - | - | - | [11 empty] | 0
7 | Cell Counter Electronic | 250000 | - | - | - | [10 empty] | 1 | 0
8 | Haemoglobinometer | 20000 | 3 | 3 | - | [11 empty] | 60000
9 | Spirit lamp | 1000 | 1 | 1 | - | [11 empty] | 1000
10 | Rotatry Microtome | 300000 | [14 empty] | 0
11 | Elisa Reader cum washer | 150000 | [14 empty] | 0
12 | Blood gas analyzer | 300000 | [14 empty] | 0
13 | Electrolyte Analyser | 100000 | [14 empty] | 0
14 | Glycosylated Haemoglobinometer | 30000 | [14 empty] | 0
15 | Haematology Analyser with 22 parameters | 250000 | [14 empty] | 0
16 | Laboratory Autoclaves | 10000 | [14 empty] | 0
17 | Class – I Bio Safety Cabinet | 80000 | [14 empty] | 0
| Total |  | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 246000

## VADNAGAR
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Gandhinagar | [10 empty] | Sub District Hospital Vadnagar
Name of District :- Mehsana | [10 empty] | Date of Visit :-27/12/13
Sl. | Name of Equipments | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60000
2 | Auto analyzer | 350000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
3 | Semi auto analyzer | 125000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Hot Air oven | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Lab Incubator | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Distilled water Plant | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Haemoglobinometer | 20000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40000
9 | Spirit lamp | 1000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000
10 | Rotatry Microtome | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Blood gas analyzer | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL |  | 5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101000

## VERAWAL
Instrument & Equipments Audit Checklist for Sub District Hospital
Name of Region :- Bhavnagar | [8 empty] | Government Hospital Veraval
Name of Districts :- Junagadh | [8 empty] | Date of Visit :-..........................................................................................
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 3 | 2 | 1 |  |  |  | 1 | [5 empty] | 1 |  | 90000
3 | Auto analyzer | 350000 | [12 empty] | 0 |  | 0
4 | Semi auto analyzer | 125000 | 2 | 1 | 1 |  |  | 1 | [6 empty] | 1 |  | 250000
7 | Hot Air oven | 15000 | [12 empty] | 0 |  | 0
8 | Lab Incubator | 30000 | [12 empty] | 0 |  | 0
9 | Distilled water Plant | 20000 | [12 empty] | 0 |  | 0
11 | Cell Counter Electronic | 250000 | 1 |  | 1 |  |  | 1 | [6 empty] | 1 |  | 250000
18 | Haemoglobinometer | 20000 | 2 | 1 | 1 |  |  |  | 1 | [5 empty] | 1 |  | 40000
23 | Spirit lamp | 1000 | 1 | 1 | [10 empty] | 0 |  | 1000
24 | Rotatry Microtome | 300000 | [12 empty] | 0 |  | 0
29 | Elisa Reader cum washer | 150000 | [12 empty] | 0 |  | 0
30 | Blood gas analyzer | 300000 | [12 empty] | 0 |  | 0
31 | Electrolyte Analyser | 100000 | [12 empty] | 0 |  | 0
32 | Glycosylated Haemoglobinometer | 30000 | [12 empty] | 0 |  | 0
33 | Haematology Analyser with 22 parameters | 250000 | [12 empty] | 0 |  | 0
34 | Laboratory Autoclaves | 10000 | [12 empty] | 0 |  | 0
38 | Class – I Bio Safety Cabinet | 80000 | [12 empty] | 0 |  | 0
| TOTAL |  | 9 | 5 | 4 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 631000

## VISNAGAR
Z
Name of Region :- Gandhinagar | [8 empty] | Sub District Hospital Visnagar
Name of District :- Mehsana | [8 empty] | Date of Visit :-25-12-13
SL. | Name of the Equipment | Expected Cost (Rs.) | Total available (In nos.) | Functional (In nos.) | Not functional (In nos.) | Reasons for non functioning (Give no. 1-9)* | [9 empty] | Extra Requirements (In nos.)
A1 | A2 | B1 | B2 | C | D | D-1 | D-2 | D-3 | D-4 | D-5 | D-6 | D-7 | D-8 | D-9 | Total | E
A. LABORATORY EQUIPMENTS
1 | Binocular Microscope | 30000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60000
3 | Auto analyzer | 350000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Semi auto analyzer | 125000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125000
7 | Hot Air oven | 15000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15000
8 | Lab Incubator | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Distilled water Plant | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Cell Counter Electronic | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Haemoglobinometer | 20000 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40000
23 | Spirit lamp | 1000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000
24 | Rotatry Microtome | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | Elisa Reader cum washer | 150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | Blood gas analyzer | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | Electrolyte Analyser | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Glycosylated Haemoglobinometer | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | Haematology Analyser with 22 parameters | 250000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | Laboratory Autoclaves | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | Class – I Bio Safety Cabinet | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL |  | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 241000