## D.H Dindori
Name of Consultant :- | [5 empty] | Date:- |  | 2015-07-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | D.H DINDORI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | PATHOLOGY | Blood cell counter | Erma inc. | PCE-210 | 1 |  | 1 | 350000 | 350000 | Y | W
# |  | Hot air oven | Expo hitech | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Binocular microscope | olympus | Magnus mlx/11E367 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Semi auto analyzer | Robonik | * | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Centrifuge | Remi | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Calorimeter | * | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Domestic refrigerator | Videocon | * |  | 1 | 1 | 15000 | 15000 | N | NW
# |  | Domestic refrigerator | Samsung | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | Calorimeter | * | * |  | 1 | 1 | 1400 | 1400 | N | NW
# |  | Calorimeter | * | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Monocular Microscope | * | * | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Centrifuge | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Electrolytic analyser | * | * |  | 1 | 1 | 200000 | 200000 | N | NW
# |  | Binocular microscope | MLW | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Semi auto analyzer | Robonik | * | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Semi auto analyzer | Robonik | * |  | 1 | 1 | 200000 | 200000 | N | NW
# | BLOOD BANK | Binocular microscope | Almicro | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Tube sealer | Labtop | * |  | 1 | 1 | 4500 | 4500 | N | NW
# |  | Needle cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Domestic refrigerator | LG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Mercury B.P | Aspen | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | BBR | Haier | * |  | 1 | 1 | 250000 | 250000 | N | NW
# |  | BBR | Remi | * |  | 1 | 1 | 250000 | 250000 | N | NW
# |  | BBR | Haier | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Blood collection monitor | Labtop | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Elisa washer | * | * | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Elisa reader | * | * | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | BBR | Hicare | * |  | 1 | 1 | 250000 | 250000 | N | NW
# |  | Domestic refrigerator | * | * |  | 1 | 1 | 15000 | 15000 | N | NW
# |  | Centrifuge | * | * |  | 3 | 3 | 6500 | 19500 | N | NW
# |  | Vertical Autolave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Water bath | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Rotary Shaker | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# | X-Ray | X-ray machine | GME | * | 1 |  | 1 | 450000 | 450000 | Y | W
# |  | X-ray machine | * | * |  | 1 | 1 | 450000 | 450000 | N | NW
# |  | Digital X-ray | Fujifilm | * | 1 |  | 1 | 450000 | 450000 | Y | W
# | Dressing room | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Mercury B.P | Diamond deluxe | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Glucometer | DR. Morpen | * | 1 |  | 1 | 1500 | 1500 | Y | W
# | SNCU | Radiant warmer | Phoenix | 5890 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant warmer | phoenix | 5888 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant warmer | Phoenix | 5885 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant warmer | Phoenix | 5892 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant warmer | Phoenix | 5891 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Phototherapy | Phoenix | 2763 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | phototherapy | Phoenix | 2759 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | Radiant warmer | Meditrin | MP/4/084 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant warmer | Meditrin | MP/11/099 |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Radiant warmer | Phoenix | 5889 |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Vertical Autolave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Cooker type autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | X-ray machine | Allengers | Mars 3.5 |  | 1 | 1 | 450000 | 450000 | N | NW
# |  | Radiant warmer | * | * |  | 4 | 4 | 38000 | 152000 | N | NW
# |  | Phototherapy | Phoenix | 3040 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | Phototherapy | Phoenix | 2766 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | Phototherapy | Phoenix | 2770 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | Radiant warmer | Phoenix | 5893 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant warmer | Phoenix | 5884 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant warmer | Meditrin | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Suction m/c | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Radiant warmer | Phoenix | 5897 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Phototherapy | Phoenix | PB100/3059 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | Nebulizer | Smart care | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | Smart care | 4116112470013160 | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Pulse oximeter | * | * |  | 1 | 1 | 55000 | 55000 | N | NW
# |  | Glucometer | Caresens | ISP92k01596 | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Pulse oximeter | S.S medical system pvt ltd | 91503033 | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Pulse oximeter | S.S medical system pvt ltd | 91503037 | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Pulse oximeter | S.S medical system pvt ltd | 91503001 | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Digital baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Fumigetor | * | * | 2 |  | 2 | 4500 | 9000 | N | NW
# |  | Syringe Pump | * | * |  | 2 | 2 | 40000 | 80000 | N | NW
# |  | Fumigetor | * | * |  | 3 | 3 | 4500 | 13500 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Suction m/c | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Domestic refrigerator | LG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Pulse oximeter | * | * |  | 4 | 4 | 55000 | 220000 | N | NW
# |  | Nebulizer | * | * |  | 10 | 10 | 6500 | 65000 | N | NW
# |  | Baby weighing m/c | * | * |  | 1 | 1 | 3500 | 3500 | N | NW
# |  | Phototherapy | * | * |  | 1 | 1 | 15500 | 15500 | N | NW
# |  | Phototherapy | * | * |  | 4 | 4 | 15500 | 62000 | N | NW
# |  | Phototherapy | Phoenix | 2771 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant warmer | * | 5886 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Syringe pump | Simtek | * | 3 |  | 3 | 40000 | 120000 | Y | W
# |  | Oxygen concentration | BPL | AXTC(L4565 | 1 |  | 1 | 45000 | 45000 | Y | W
# | Male ward | Mercury B.P | Pagoda | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Nebulizer | Nulife global pvt. Ltd | Handyneb/PCB90340 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | Caresens | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Needle cutter | HL | * |  | 1 | 1 | 1200 | 1200 | N | NW
# |  | Adult weighing m/c | samso | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | Female ward | Mercury B.P | Diamond deluxe | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Mercury B.P | * | * |  | 6 | 6 | 1100 | 6600 | N | NW
# |  | Nebulizer | Nulife global pvt. Ltd | Handyneb/PCB90282 |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Glucometer | Caresens | ISP84k01620 | 1 |  | 1 | 1500 | 1500 | Y | W
# | ICU | Pulse oximeter | BPL | * | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Nebulizer | Smart care | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Syringe Pump | Aitecs | PROSP-125 | 1 |  | 1 | 40000 | 40000 | Y | W
# |  | ECG M/C | Allengers | PISCESA-106 | 1 |  | 1 | 52000 | 52000 | Y | W
# |  | Pulse oximeter | BPL | * | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Syringe Pump | Aitecs | SP-125 | 1 |  | 1 | 40000 | 40000 | Y | W
# |  | ECG M/C | BPL | * | 1 |  | 1 | 52000 | 52000 | Y | W
# |  | Domestic refrigerator | godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Mercury B.P | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# | Casualty | Suction m/c | G.I | * | 2 |  | 2 | 6500 | 13000 | Y | W
# |  | Cooker type autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Nebulizer | Smart care | 16685 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | ECG M/C | Allengers | A-106 | 1 |  | 1 | 52000 | 52000 | Y | W
# |  | Mercury B.P | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | Labour Room | Domestic refrigerator | LG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Spot light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Mercury B.P | Diamond deluxe | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | L.R table | * | * | 4 |  | 4 | 14000 | 56000 | Y | W
# |  | Radiant warmer | Meditrin | * | 2 |  | 2 | 38000 | 76000 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Foot suctiom m/c | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Glucometer | Smart care | 426411119000936f |  | 1 | 1 | 1500 | 1500 | N | NW
# | NRC | Baby weighing m/c | Caseo | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Digital B.P | Extra care | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Glucometer | DR. Morpen | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Mercury B.P | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# | O.T | Horizontal Autoclave | * | * |  | 2 | 2 | 55000 | 110000 | N | NW
# |  | Horizontal Autoclave | * | * | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Vertical Autolave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Boyles Apparatus | Medico | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | O.T table hydraullic | * | * |  | 2 | 2 | 70000 | 140000 | N | NW
# | ICTC | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Centrifuge | Remi | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Needle cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# | O.T | Defibrillator | BPL | DF-2509 | 1 |  | 1 | 170000 | 170000 | Y | W
# |  | Multi para monitor | BPL | Clareo/ECTA1H1084 | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | O.T celling light | * | * | 1 |  | 1 | 150000 | 150000 | Y | W
# |  | O.T table hydraullic | * | * | 1 |  | 1 | 70000 | 70000 | Y | W
# |  | Mercury B.P | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestic refrigerator | samsung | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | Cold chain room | ILR | Haier | BE07F4E0N00B2A8Q0055 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vestfrost | 43219915 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | BE04F0E100B293Q0020 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | BE04610F2600B2A756026 | 1 |  | 1 | 250000 | 250000 | Y | W
# | O.T | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Fumigetor | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Needle cutter | HL haemo safe | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Oxygen concentration | BPL | * | 1 |  | 1 | 45000 | 45000 | Y | W
# | T.B lab | Binocular microscope | Labomed | Vision 2000/0582 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | Cold chain room | Deep Freezer | Haier | BE04F4E2600B2A8M0006 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | HBC-200/BE07GSEONO0B2A5 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | BEO7GSE0N00B2A5 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | HBC-200/BE07GSEONO0B2A5 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | BE04F4E2600B2A | 1 |  | 1 | 250000 | 250000 | Y | W
# | SNCU LAB | Binocular microscope | Labomed | Vision2000/4754 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | Caresens | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Calorimeter | Almicro | * |  | 1 | 1 | 1400 | 1400 | N | NW
# |  | Centrifuge | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | USG M/C | Sonscape co. ltd | 18007439 | 1 |  | 1 | 450000 | 450000 | Y | W
# | T.B lab | Binocular microscope | Labovision | * | 1 |  | 1 | 30000 | 30000 | Y | W
# | ANC O.P.D | Mercury B.P | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | Store | Adult weighing m/c | * | * | 9 |  | 9 | 2500 | 22500 | Y | W
# |  | Cooker type autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Glucometer | * | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Calorimeter | * | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Domestic refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Mercury B.P | Diamond deluxe | * | 2 |  | 2 | 1100 | 2200 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 235
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 12066700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 844669

## phc gadasarai
Name of Consultant :- | [5 empty] | Date:- |  | 2015-08-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GADASARI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.p | Gold supreme | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.p | Easy care | 1307530 33112107 | 1 |  | 1 | 1100 | 1100 | Y | W
# | Cold chain room | ILR | Vestfrost | NMK142/4321998 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Haier | * | 2 |  | 2 | 250000 | 500000 | Y | W
# | Indoor | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | LR | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Cooker type Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Baby weighing m/c | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Foot suctio m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | LR table | * | * | 2 |  | 2 | 14000 | 28000 | Y | W
# |  | Fetal doppler | * | * | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Fumigetor | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# | Lab | Calorimeter | * | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Monocular microscope | Quasmo | * | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Domestic refrigerator | LG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Glucometer | * | * | 1 |  | 1 | 1500 | 1500 | Y | W
# | Store | Mercury B.p | * | * |  | 4 | 4 | 1100 | 4400 | N | NW
# |  | Digital B.p | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Baby weighing m/c | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Dial type B.p | pagoda | * | 2 |  | 2 | 1100 | 2200 | Y | W
# |  | Digital B.p | Easy care | * | 2 |  | 2 | 1100 | 2200 | Y | W
# |  | Adult weighing m/c | * | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Domestic refrigerator | godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Fetal doppler | * | * |  | 1 | 1 | 80000 | 80000 | N | NW
# |  | Strelizer | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Cooker type Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 36
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1222500
* | Not Available |  |  |  | Total CMC Value |  |  |  | 85575

## chc bajag
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-08 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC BAJAG
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | Cold chain room | Deep freezer | Haier | BE04G4E260B2A750110 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Haier | BE04G0E0100BQ81M0245 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | BE07GSE0N00B2A5H0055 | 1 |  | 1 | 250000 | 250000 | Y | W
# | O.T | Vertical Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Fumigetor | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# | Cold chain room | ILR | Vestfrost | * |  | 1 | 1 | 250000 | 250000 | N | NW
# | LR | Radiant warmer | Zoal medical | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Foot suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Suction m/c | Nisoomd | S4-102 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | LR Table | * | * | 2 |  | 2 | 14000 | 28000 | Y | W
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Domestic refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Fetal doppler | safemed | * | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Fetal doppler | Easy care | * | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Vertical Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Radiant warmer | Hicare | HRW-100/H1021 |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Mercury B.P | Diamond deluxe | * | 1 |  | 1 | 1100 | 1100 | Y | W
# | Pathology Lab | Monocular microscope | olympus | * | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Binocular microscope | olympus | Magnus mlx/11D466 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Calorimeter | Lightnin | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Domestic refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Glucometer | caresens | ISP60J01891 | 1 |  | 1 | 1500 | 1500 | Y | W
# | NRC | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Digital weighing m/c | Caseo | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Digital B.p | Aspen | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestic refrigerator | Whirlpool | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Baby weighing m/c | Unitech | * | 1 |  | 1 | 3500 | 3500 | Y | W
# | Store | Nebulizer | * | * | 2 |  | 2 | 6500 | 13000 | Y | W
# |  | Baby weighing m/c | * | * | 2 |  | 2 | 3500 | 7000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 34
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1556100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 108927

## phc gorakhpur
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-08 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GORAKHPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LR | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction m/c | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Mercury B.P | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestic refrigerator | Godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Adult weighing m/c | camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | Pathology | Binocular microscope | Almicro | * | 1 |  | 1 | 18000 | 18000 | Y | W
# |  | Binocular microscope | Olympus | * | 1 |  | 1 | 18000 | 18000 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | Caresens | ISP60J01880 | 1 |  | 1 | 1500 | 1500 | Y | W
# | Store | Adult weighing m/c | * | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Cooker type Autoclave | * | * |  | 3 | 3 | 65000 | 195000 | N | NW
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Fumigetor | * | * |  | 3 | 3 | 4500 | 13500 | N | NW
# | Cold chain room | ILR | Haier | HBC-70/BE047F4E0N00B2A8R0102 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Haier | HBD116/BE04G4E2600B2A5J0216 | 1 |  | 1 | 250000 | 250000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 21
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 893100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 62517

## phc roosa
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-08 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC ROOSA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Adult weighing m/c | Crown | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Digital B.P | Smartcare | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.P | Smartcare | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Mercury B.P | Smartcare | * | 1 |  | 1 | 1100 | 1100 | Y | W
# | STORE | Adult weighing m/c | * | * | 4 |  | 4 | 2500 | 10000 | Y | W
# |  | Mercury B.P | Premier | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Foot suction m/c | * | * | 2 |  | 2 | 6500 | 13000 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Needle cutter | HL Haemosafe | * | 3 |  | 3 | 1200 | 3600 | Y | W
# |  | Foot suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Nebulizer | DR. morpen | proneb | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Nebulizer | Nulife | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult weighing m/c | Crown | * | 2 |  | 2 | 6500 | 13000 | Y | W
# |  | Fumigetor | * | * | 2 |  | 2 | 4500 | 9000 | Y | W
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 23
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 143500
* | Not Available |  |  |  | Total CMC Value |  |  |  | 10045

## chc karanjiya
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-08 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC KARANJIYA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | Pathology | Needle cutter | Maxlife | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Calorimeter | Lightnin | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Binocular Microscope | Olympus | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Domestic refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult weighing m/c | Omron | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Glucometer | Accusure | 425511327001462B | 1 |  | 1 | 1500 | 1500 | Y | W
# | NRC | Baby weighing m/c | Caseo | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant warmer | Hicare | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Spot light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Spot light | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Fetal doppler | BPL | * | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Digital B.P | Aspen | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestic refrigerator | Whirlpool | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | O.T | Cooker type autoclave | * | * | 2 |  | 2 | 65000 | 130000 | Y | W
# |  | Horizontal Autoclave | * | * | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Cooker type autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Oxygen concentration | BPL | * | 1 |  | 1 | 45000 | 45000 | Y | W
# |  | Hydraullic O.T Table | * | * | 1 |  | 1 | 70000 | 70000 | Y | W
# | Cold chain room | ILR | Haier | HBC-200/BE07656N0008219890004 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Haier | HBD-286/BE04F04F260082A850149 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Haier | HBD-116/BE04G4E2260BE0750083 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Vestfrost | Mf-114/200710022513 | 1 |  | 1 | 250000 | 250000 | Y | W
# | X-ray | X-ray m/c | * | * |  | 1 | 1 | 450000 | 450000 | N | NW
# | OPD | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 32
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2085700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 145999

## chc samnapur
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-08 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC SAMNAPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LR | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Digital B.P | Easy care | EC-9000 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Adult weighing m/c | Aiwa | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | O.T | Cooker type Autoclave | * | * | 3 |  | 3 | 65000 | 195000 | Y | W
# |  | sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | LR | Fetal doppler | Aeo Technology | A100H | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Fetal doppler | Aeo Technology | A100H |  | 1 | 1 | 80000 | 80000 | N | NW
# |  | Radiant warmer | * | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Nebulizer | Electrotechnics | MCN-S600B | 1 |  | 1 | 6500 | 6500 | Y | W
# | OPD | Mercury B.P | Relaxe | 9915638 | 1 |  | 1 | 1100 | 1100 | Y | W
# | Pathology Lab | Binocular microscope | Olympus | Magnus MLX-B/2656 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Monocular microscope | Olympus | * | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Binocular microscope | Olympus | Magnus MLX/11D461 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Calorimeter | * | * |  | 1 | 1 | 1400 | 1400 | N | NW
# |  | Centrifuge | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Needle cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Incubator | * | * |  | 1 | 1 | 375000 | 375000 | N | NW
# |  | Glucometer | Accu sure | 422511327 0006760 |  | 1 | 1 | 1500 | 1500 | N | NW
# |  | Glucometer | Accu sure | 422251132 70012000 |  | 1 | 1 | 1500 | 1500 | N | NW
# |  | Glucometer | Caresens | ISP84K01598 | 1 |  | 1 | 1500 | 1500 | Y | W
# | OPD | Nebulizer | MRK Health care | Handyneb/PCB99583 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Digital B.P | Rapid Diagnostics pvt. Ltd | * | 1 |  | 1 | 1100 | 1100 | Y | W
# | Pathology Lab | Binocular microscope | * | * |  | 2 | 2 | 30000 | 60000 | N | NW
# | X-ray | X-ray m/c | * | * |  | 1 | 1 | 450000 | 450000 | N | NW
# |  | ILR | Haier | HBC-70/BE0581E0100B288J1510 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Haier | HBD-116/BE04G4E2600B2A5J0178 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Haier | HBD-286/BE04F4E2600B2A8P0116 | 1 |  | 1 | 250000 | 250000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 36
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2175900
* | Not Available |  |  |  | Total CMC Value |  |  |  | 152313

## phc sarwahi
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-08 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SARWAHI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury B.P | Elite | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Dial type B.P | Doctor | * |  | 2 | 2 | 1100 | 2200 | N | NW
# |  | Dial type B.P | Doctor | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Binocular microscope | * | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Adult weighing m/c | * | * | 3 |  | 3 | 2500 | 7500 | Y | W
# |  | Domestic refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 59400
* | Not Available |  |  |  | Total CMC Value |  |  |  | 4158

## phc baharpur
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-08 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BAHARPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Enbee | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Baby weighing m/c | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Needle cutter | HL Haemosafe | * | 1 |  | 1 | 1200 | 1200 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 6
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 79800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 5586

## phc chanda
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-08 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC CHANDA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Digital B.P | Rapid diagnostics pvt ltd | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Foot suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Cooker type Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Radiant warmer | Zoal medical | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Domestic refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 138100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 9667

## phc kaneri
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KANERI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LR | Mercury B.P | Pagoda | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Needle cutter | HL | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Suctiom m/c | G.I | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Adult weighing m/c | camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Fetal doppler | BPL | * | 1 |  | 1 | 80000 | 80000 | Y | W
# | OPD | Mercury B.P | MCP | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.P | Aspen | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Crown | * | 1 |  | 1 | 2500 | 2500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 171000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 11970

## phc kohani dewari
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KOHANI DEWARI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Smart care | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.P | Nikkei Electromedical co. ltd | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Fetal doppler | * | * | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Foot suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | Pathology lab | Binocular microscope | Olympus | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | Caresens | * | 1 |  | 1 | 1500 | 1500 | Y | W
# | Injection room | Needle cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 16
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 254900
* | Not Available |  |  |  | Total CMC Value |  |  |  | 17843

## phc kasturi pipariya
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KASTURI PIPARIYA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Digital B.P | Aspen | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Digital B.P | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Needle cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Domestic refrigerator | Godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Mercury B.P | Lifex | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Mercury B.P | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Suction m/c | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 29600
* | Not Available |  |  |  | Total CMC Value |  |  |  | 2072

## phc baragaon
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BARAGAON
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Dial type B.P | Doctor | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Domestic refrigarator | Godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 3
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 18600
* | Not Available |  |  |  | Total CMC Value |  |  |  | 1302

## phc rai
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC RAI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Gold supreme | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Nebulizer | MRK Health care | Handyneb/PCB90333 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby weighing m/c | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Spot light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | LR table | * | * | 1 |  | 1 | 14000 | 14000 | Y | W
# |  | Needle cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 144800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 10136

## phc bichhiya
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BICHHIYA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LR | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Foot suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Mercury B.P | smartcare | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Baby weighing | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# | Pathology | Binocular microscope | * | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Calorimeter | * | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | Accusure | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Monocular microscope | * | * |  | 1 | 1 | 18500 | 18500 | N | NW
# | OPD | Mercury B.P | Diamond deluxe | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestic refrigerator | Godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | Store | Mercury B.P | * | * |  | 3 | 3 | 1100 | 3300 | N | NW
# |  | Digital B.P | * | * |  | 2 | 2 | 1100 | 2200 | N | NW
# |  | Digital B.P | Easy care | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Sterilizer | * | * |  | 5 | 5 | 6500 | 32500 | N | NW
# |  | Adult weighing m/c | Camry | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Adult weighing m/c(digital) | * | * |  | 1 | 1 | 2500 | 2500 | N | NW
# | LR | Fetal doppler | BPL | * |  | 1 | 1 | 80000 | 80000 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 27
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 260100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 18207

## chc mehandwani
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC MEHANDWANI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | X-RAY | X-ray m/c | Elpro international ltd | 5F60/G/65959 | 1 |  | 1 | 450000 | 450000 | Y | W
# | Cold chain room | Deep freezer | Haier | HBD-286/BE04F0E0100B2930003 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest frost | 200100705 881 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Vest frost | 20013702861 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest frost | MK-142/4330415 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Domestic refrigerator | Whirlpool | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | Pathology Lab | Monocular microscope | Labo | 885877 | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Binocular microscope | Quasmo | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Domestic refrigerator | LG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Needle cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Water bath | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Glucometer | Caresens | ISPK00062 | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Adult weighing m/c | Deluxe | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Binocular microscope | * | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Monocular microscope | * | * |  | 1 | 1 | 18500 | 18500 | N | NW
# | NRC | Baby weighing m/c | Caseo | * |  | 1 | 1 | 3500 | 3500 | N | NW
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | O.T | Vertical Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# | LR | Needle cutter | MCB | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Spot light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Mercury B.P | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 27
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1730000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 121100

## phc dungariya
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DUNGARIYA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Enbee | * | 2 |  | 2 | 1100 | 2200 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Centrifuge | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Domestic Refrigerator | Godrej | * |  | 1 | 1 | 15000 | 15000 | N | NW
# |  | Needle cutter | HL Haemosafe | * |  | 1 | 1 | 1200 | 1200 | N | NW
# | LR | Baby weighing | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Suction m/c | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Foot suction m/c | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Fetal doppler | Aeon Technology | * |  | 1 | 1 | 80000 | 80000 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# | Pathology lab | Binocular microscope | MLW | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Calorimeter | * | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Glucometer | Ascensia Entrust | * | 1 |  | 1 | 1500 | 1500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 165800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 11606

## phc bamhani
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BAMHANI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Pagoda | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 2
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 3600
* | Not Available |  |  |  | Total CMC Value |  |  |  | 252

## phc gorakanhari
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GORAKANHARI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Diamond | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Crown | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Sterilzer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant warmer | Meditrin | * |  | 1 | 1 | 38000 | 38000 | N | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Nebulizer | Mcp | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | LR table | * | * | 1 |  | 1 | 14000 | 14000 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury B.P | Namatt | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Dial type B.P | Pagoda | * | 1 |  | 1 | 1100 | 1100 | Y | W
# | Pathology Lab | Binocular microscope | * | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Monocular microscope | * | * | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Glucometer | Caresens | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 135800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 9506

## phc kamkom mohaniya
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KAMKOM MOHANIYA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Extra care | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Domestic refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | Store | Sterilizer | * | * | 4 |  | 4 | 6500 | 26000 | Y | W
# |  | Adult weighing m/c | * | * | 3 |  | 3 | 2500 | 7500 | Y | W
# |  | Baby weighing m/c | Crown | * | 3 |  | 3 | 3500 | 10500 | Y | W
# |  | Needle cutter | * | * | 3 |  | 3 | 1200 | 3600 | Y | W
# |  | Nebulizer | Nulife global system | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Suction m/c | * | * | 2 |  | 2 | 6500 | 13000 | Y | W
# |  | Foot suction m/c | * | * | 2 |  | 2 | 6500 | 13000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 21
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 98700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 6909

## phc narayndeeh
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC NARAYANDEEH
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.P | Aspen | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 3
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 4700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 329

## phc sarastal
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SARASTAL
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Relaxe | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Fetal doppler | Safe med | * | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Foot suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Domestic refrigerator | Godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Glucometer | Accusure | * | 1 |  | 1 | 1500 | 1500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 190600
* | Not Available |  |  |  | Total CMC Value |  |  |  | 13342

## phc amanipipariya
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC AMANIPIPARIYA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Dial type B.P | Pagoda | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Foot suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Domestic refrigerator | Godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | Lab | Adult weighing m/c | Deluxe | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Adult weighing m/c | Crown | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Binocular microscope | Quasmo | * | 1 |  | 1 | 30000 | 30000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 9
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 70100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 4907

## phc jamgaon
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC JAMGAON
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LR | LR table | * | * | 1 |  | 1 | 14000 | 14000 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Baby weighing m/c | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# | OPD | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury B.P | Hg check | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.P | Aspen | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Mercury B.P | * | * |  | 2 | 2 | 1100 | 2200 | N | NW
# |  | Adult weighing m/c | * | * | 2 |  | 2 | 2500 | 5000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 12
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 104400
* | Not Available |  |  |  | Total CMC Value |  |  |  | 7308

## chc amarpur
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC AMARPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LR | Mercury B.P | Extra care | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Radiant warmer | Meditech | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Oxygen concentration | BPL | AXTB6E2068 | 1 |  | 1 | 45000 | 45000 | Y | W
# |  | Suction m/c | G.I | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Phototherapy | HLL Lifecare ltd | H-1019 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | LR table | * | * | 2 |  | 2 | 14000 | 28000 | Y | W
# |  | Adult weighing m/c | Prestige | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Fetal doppler | Euro dopp | * |  | 1 | 1 | 80000 | 80000 | N | NW
# |  | Needle cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# | O.T | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Radiant warmer | HLL Lifecare ltd | H-1024 |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Baby weighing m/c | Crown | * |  | 1 | 1 | 3500 | 3500 | N | NW
# |  | O.T table | * | * |  | 1 | 1 | 45000 | 45000 | N | NW
# | Patholgy Lab | Binocular microscope | Olympus | 520035 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | Calorimeter | Lightnin | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Adult weighing m/c | Deluxe | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Glucometer | Caresens | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Needle cutter | Nulife Dots | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Monocular microscope | * | * |  | 1 | 1 | 18500 | 18500 | N | NW
# | Cold chain room | ILR | Haier | HBC-70/BE07F4E0N00B2ABR0098 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Vestfrost | MF-144/91007856 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep freezer | Vestfrost | MF-144/91007862 | 1 |  | 1 | 250000 | 250000 | Y | W
# | Lab | Glucometer | Ascensia Entrust | Ae500756723 |  | 2 | 2 | 1500 | 3000 | N | NW
# |  | Calorimeter | Lightnin | * |  | 1 | 1 | 1400 | 1400 | N | NW
# | X-RAY | x-ray m/c | * | * | 1 |  | 1 | 450000 | 450000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 32
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2085300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 145971

## chc vikrampur
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC VIKRAMPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Diamond | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P | Smartcare | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Suction m/c | G.I | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Nebulizer | MCP | MCN-S600B | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Cooker type Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Baby weighing m/c | Suvarana | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Spot light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Fetal doppler | LCP | * | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Monocular Microscope | Quasmo | 54983 | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | Caresens | * | 1 |  | 1 | 1500 | 1500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 13
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 201700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 14119

## phc kishalpuri
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KISHALPURI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Gold supreme | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P | Hg check | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Needle cutter | MCP | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Foot suction m/c | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Baby weighing m/c | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# | Pathology | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | Calorimeter | Lightnin | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Domestic Refrigerator | Godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Binocular microscope | Olympus | Magnus mlx/11D465 | 1 |  | 1 | 30000 | 30000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 13
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 488300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 34181

## phc manikpur
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-10 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC MANIKPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Mercury B.P | Prolix | * | 1 |  | 1 | 1100 | 1100 | Y | W
# | STORE | Suction m/c | * | * | 2 |  | 2 | 6500 | 13000 | Y | W
# |  | Digital B.P | Aspen | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.P | Aspen | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Mercury B.P | Pagoda | * | 2 |  | 2 | 1100 | 2200 | Y | W
# |  | Mercury B.P | * | * |  | 4 | 4 | 1100 | 4400 | N | NW
# |  | Digital B.P | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Cooker type Autoclave | * | * | 3 |  | 3 | 65000 | 195000 | Y | W
# |  | Sterilizer | * | * | 3 |  | 3 | 6500 | 19500 | Y | W
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# | LR | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Foot suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Adult weighing m/c | Dragon | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Domestic refrigerator | Godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Needle cutter | MCP | * | 1 |  | 1 | 1200 | 1200 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 27
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 289200
* | Not Available |  |  |  | Total CMC Value |  |  |  | 20244

## chc shahpura
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC SAHAPURA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | Pathology Lab | Needle cutter | Nulife global medical | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Calorimeter | Lightnin | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Inubator | * | * |  | 1 | 1 | 375000 | 375000 | N | NW
# |  | Monocular microscope | Quasmo | * | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Binocular microscope | * | * |  | 8 | 8 | 30000 | 240000 | N | NW
# |  | Fumigetor | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Glucometer | Caresens | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Centrifuge | * | * | 2 |  | 2 | 6500 | 13000 | Y | W
# |  | Centrifuge | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Domestic refrigerator | LG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | NBSU | Suction m/c | Easy care | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Needle cutter | Sailife | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Baby weighing m/c | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Radiant warmer | Meditrin | * | 3 |  | 3 | 38000 | 114000 | Y | W
# |  | Phototherapy | Meditrin | * |  | 1 | 1 | 15500 | 15500 | N | NW
# |  | Fumigetor | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Nebulizer | MRK Health care | Handyneb/PCB99585 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | Accucheck | GU04534023 | 1 |  | 1 | 1500 | 1500 | Y | W
# | LR | Radiant warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby weighing m/c | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Spot light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant warmer | * | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Cooker type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Digital B.P | Rapid Diagnostics | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Mercury B.P | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Fetal doppler | BPL | * | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Domestic refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | NRC | Baby weighing m/c | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Adult weighing m/c | Camry | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Glucometer | Accucheck | GU04175094 | 1 |  | 1 | 1500 | 1500 | Y | W
# | GENERAL WARD | Suction m/c | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Digital B.P | Aspen | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P | MCP | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Pulse oxmeter | Bejing choice electronics | 140321300414 | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Needle cutter | MCP | * | 1 |  | 1 | 1200 | 1200 | Y | W
# | T.B CLINIC | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Binocular microscope | Olympus | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Water bath | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Adult weighing m/c | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | X-RAY | X-ray m/c | Siemens | 5305/012982 |  | 1 | 1 | 450000 | 450000 | N | NW
# | O.T | Vertical Autoclave | * | * |  | 2 | 2 | 65000 | 130000 | N | NW
# | Cold chain room | ILR | Haier | HBC-70/BE07F4E0N00B2A8R0048 |  | 1 | 1 | 250000 | 250000 | N | NW
# |  | Deep Freezer | Haier | HBD-286 |  | 1 | 1 | 250000 | 250000 | N | NW
# |  | Deep Freezer | Haier | HBD-116/BE04G4E2600B2A5J0235 |  | 1 | 1 | 250000 | 250000 | N | NW
# | STORE | Adult weighing m/c | * | * | 14 |  | 14 | 2500 | 35000 | Y | W
# |  | Baby weighing m/c | * | * | 6 |  | 6 | 3500 | 21000 | Y | W
# |  | Mercury B.P | * | * |  | 9 | 9 | 1100 | 9900 | N | NW
# |  | ECG m/c | Maestro | * | 2 |  | 2 | 52000 | 104000 | Y | W
# |  | Fumigetor | Maestro | * | 2 |  | 2 | 4500 | 9000 | Y | W
# |  | Suction m/c | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Nebulizer | Nulife global medical | * | 3 |  | 3 | 6500 | 19500 | Y | W
# |  | Cooker type Autoclave | * | * |  | 8 | 8 | 65000 | 520000 | N | NW
# |  | Sterilizer | * | * | 9 |  | 9 | 6500 | 58500 | Y | W
# |  | Digital B.P | Easy care | * | 1 |  | 1 | 1100 | 1100 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 116
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 3334000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 233380