## Sheet1
KANYAKUMARI GH
S.No | Equipment Name | Category | Model | Serial Number | Date of Receipt | Manufacturers Name | Supplier Name | Location | Source of Supply | Purchase Order | Date of Installation | Warranty Valid Upto | Cost of the Item | Working Status
1 | Diathermy Machine | B | Elsy-360M+ | ASG M+1406167 | 24/7/14 | Alan Electronic System Pvt Ltd | JBS MEDITEC INDIA PVT LTD | OT | TNMSC | 17240/TNMSC/ENGG/2014-2 DT 16/5/14 | 24/7/14 | 23/7/17 | 218000 | Working
2 | Shadowless light-1 | B | Hospilite 1001 |  | 6/3/09 | Hospitech Industries |  | OT |  |  | 6/3/09 | 2010-05-03 | 14000 | Working
3 | Shadowless light-2 | B | Hospilite 1001 |  | 6/3/09 | Hospitech Industries |  | OT |  |  | 6/3/09 | 2010-05-03 | 14000 | Working
4 | Baby Incubator | B2 | Nice 3010 | 0607149 | 9/8/06 | Nice Neotech | Madras Surgicals and Chemicals | Neonatal Ward | TNHSP | TNHSP/TNMSC/EBGG/E7/2005 21/11/2005 | 9/8/06 | 2006-08-08 | 69900 | Not Working
5 | Binocular Microscope | B2 | BLS113 | 6044 | 12/3/08 | Blisco |  | Lab |  |  | 2008-12-03 | 2009-11-03 | 18000 | Working
6 | Binocular Microscope-1 | B2 | BDI 13-A |  | 24/1/2014 | BD Instrumentation | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG87C/2013 DT 22/10/2013 | 24/1/2014 | 23/1/2015 | 18600 | Working
7 | Binocular Microscope-2 | B2 | BDI 13-A |  | 24/1/2014 | BD Instrumentation | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG87C/2013 DT 22/10/2013 | 24/1/2014 | 23/1/2015 | 18600 | Working
8 | Boyles Apparatus | B2 |  | 9340/85 |  | IOL |  | OT |  |  |  |  | 130000 | Working
9 | Boyles Apparatus with circle absorber | B2 | Eco Safe | 71108 | 20/2/12 | GS Health Care Products | Rcd from Kayalpatnam GH. Supplier- SOLOKRAFTS INDUSTRIES | OT |  | TNHSP/TNMSC/P3E4/2008 29/8/08 | 20/2/12 | 19/2/13 | 82000 | Working
10 | Cryotherapy Unit | B2 | Super Deluxe ON-OFF 004B |  | 19/1/12 | BASCO India | Solokraft Industries | NCD | TNHSP | TNHSP/TNMSC/AG30A/2011 4/10/11 | 19/1/12 | 18/1/13 | 24331 | Working
11 | CTG Monitor | B2 | BT 300 | 250-DG5043 |  | Biosys Co Ltd |  | Labour Ward | [5 empty] | Condemned
12 | CTG Monitor | B2 | CMS 800 | CADA0650849B | 10/8/06 | Contec Medical Systems |  | Labour Ward | TNHSP | 69/TNHSP/TNMSC/ENGG/2005/DE3 23/05/06 | 10/8/06 | 2007-09-08 | 69500 | Condemned
13 | Defibrillator (AED) | B2 | Heart Start FRx | B12C-06091 | 20/9/12 | Philips Medical Systems | Philips Medical systems | Casualty | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 12/3/12 | 20/9/12 | 19/9/13 | 58690 | Working
14 | Dental Unit | B2 | DEN097 |  | 23/1/2009 | Confident Equipments |  | Dental Room | TNMSC | 19741/TNMSC/EN/2008 | 23/1/09 | 22/1/10 | 150000 | Working
15 | ECG Machine - Computerized | B2 | SE3 | 309035-M11801710025 | 19/10/11 | Eden Instruments | Madras Surgicals and Chemicals | ECG Room | TNHSP | TNHSP/TNMSC/ENGG/AG27/4/7/2011 | 19/10/11 | 18/10/12 | 38469 | Working
16 | ECG Machine - Ordinary | B2 | Alpha 99 |  |  | Trans Health Care |  | ECG Room | TNHSP | 69/TNHSP/TNMSC/ENGG/2006/DE2 7/09/06 |  |  | 13500 | Condemned
17 | Hydraulic OT Table - 1 | B2 |  |  | 17/11/06 |  | Vibash Coimbatore | OT | TNHSP | 69/TNHSP/TNMSC/ENGG/2005/E11 23/05/06 | 17/11/06 | 16/11/07 | 58873 | Working
18 | Hydraulic OT Table - 2 | B2 |  |  | 17/11/06 |  | Vibash Coimbatore | OT | TNHSP | 69/TNHSP/TNMSC/ENGG/2005/E11 23/05/06 | 17/11/06 | 16/11/07 | 33344 | Working
19 | Multiparamonitor | B2 | BPM 700 Guardian | 170-FF5016 | 14/7/2003 | Biosys Co Ltd | Miti Electronics | Labour Ward |  |  | 14/7/2003 | 13/7/2004 | 50000 | Working
20 | Multiparamonitor | B2 | G3D | G3DL63076 | 28/7/14 | General Meditech Inc | TRANS HEALTH CARE INDIA PVT LTD | OT | TNMSC | 17240/TNMSC/ENGG/2014-3 DT 16/5/2014 | 28/7/14 | 27/7/15 | 60000 | Working
21 | Pulse Oximeter | B2 | BPM 200 | 125-FA5183 | 14/7/03 | Biosys Co Ltd | Miti Electronics | Labour Ward |  |  | 14/7/03 | 13/7/04 | 35000 | Working
22 | Pulse Oximeter | B2 | Rad-8 | M71845 | 5/5/14 | Masimo Corporation | GRACE MFG. and TRADING CO. | OT | RCH | RCH-II/TNMSC/ENGG/E67/2014DT5/03/2014 | 5/5/14 | 2019-04-05 | 68968 | Working
23 | Pulse Oximeter | B2 | Rad-8 | M71992 | 5/5/14 | Masimo Corporation | GRACE MFG. and TRADING CO. | OT | RCH | RCH-II/TNMSC/ENGG/E67/2014DT5/03/2014 | 5/5/14 | 2019-04-05 | 68968 | Working
24 | Pulse Oximeter | B2 | Cleo | CMMB6K1474 |  | BPL |  | Store | Via JDHS |  |  |  | 25000 | Not Working
25 | Pulse Oximeter - Adult | B2 | Stellar | S06P23892 | 31/7/06 | L&T | L&T | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/2006/E4 22/06/06 | 31/7/06 | 30/7/07 | 40514 | Working
26 | Pulse Oximeter - Paediatric | B2 | Stellar | S06P23846 | 6/3/07 | L&T | L&T | Store | TNHSP | TNHSP/TNMSC/ENGG/2006/E4 22/06/06 | 6/3/07 | 2008-05-03 | 40514 | Working
27 | Semiautoanalyser | B2 | Prietest Touch |  | 5/4/2014 | Robonik (India) Pvt Ltd | Robonik (India) Pvt Ltd | Lab | TNHSP | TNHSP/TNMSC/AG87H/2013 27/2/2013 | 2014-05-04 | 2013-04-04 | 50343 | Working
28 | Ultra Sound Scan - Mobile | B2 | Sonata | N03S6458 | 2004-10-01 | L&T |  | Scan Room |  |  | 2004-10-01 | 2005-09-01 | 311537 | Working
29 | X-Ray Machine 100 mA | B2 |  | 2k90510099x | 2010-06-05 | Allengers |  | X-ray Room |  |  | 2010-06-05 | 2011-05-05 | 276129 | Working
30 | BP Apparatus | C |  | 0483 |  | Bio Plus |  | NCD Room |  |  |  |  | 1500 | Working
31 | BP Apparatus - Stand Model | C | Regular | 1100005 |  | Diamond |  | OT |  |  |  |  | 1500 | Working
32 | Bp Apparatus -1 | C | [5 empty] | OPD |  |  |  |  | 1500 | Working
33 | Bp Apparatus -2 | C | [5 empty] | OPD |  |  |  |  | 1500 | Working
34 | Bp Apparatus -3 | C | [5 empty] | OPD |  |  |  |  | 1500 | Working
35 | Cardiac monitor | C | Orbit | S06040261 | 10/8/06 | L&T | L&T | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/2006/E4 22/06/06 | 10/8/06 | 2007-09-08 | 32426 | Working
36 | Cardiac monitor | C | Agenta | CLMC6J1740 |  | BPL |  | Store | Via JDHS |  |  |  | 25000 | Not Working
37 | Centrifuge | C | C4S | 17785 |  | Kemi |  | Lab |  |  |  |  | 6000 | Working
38 | Centrifuge | C | BDI 154 |  | 30/7/14 | BD Instrumentation | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/ICB/P3A35/2009 28/1/09 | 30/7/14 | 29/7/15 | 19000 | Working
39 | Domestic Refrigerator | C | GL/91 GPRX | J48F410LP001765IN |  | LG |  | Injection OP |  |  |  |  | 11000 | Working
40 | Domestic Refrigerator | C | Genius New Crystal Inox | INC112101906 |  | Whirlpool |  | Lab |  |  |  |  | 10000 | Working
41 | Electric Calorimeter | C | Prietest Easylab | PELO281213RBK | 2014-05-04 | Robonik (India) Pvt Ltd | Robonik (India) Pvt Ltd | Lab | TNMSC | TNMSC/TNHSP/AG87B/2013-2 | 23/5/14 | 22/5/15 | 20302 | Working
42 | Foot Suction | C | [5 empty] | Labour Ward |  |  |  |  | 4000 | Working
43 | Fumigator | C | [5 empty] | OT |  |  |  |  | 7000 | Working
44 | Haemoglobinometer-1 | C | [5 empty] | Lab |  |  |  |  | 4000 | Working
45 | Haemoglobinometer-2 | C | Sahli |  |  | Marienfeld |  | Lab |  |  |  |  | 4000 | Working
46 | Hot Air Oven | C | KOA-1 | 11818 |  | Kemi |  | Lab |  |  |  |  | 20000 | Working
47 | Infusion Pump | C | Infu 300 | E03070418 | 27/3/07 | Akas Medicals | Akas Medical Equipments | Labour Ward | DMS |  | 27/3/07 | 26/3/08 | 50572 | Working
48 | Magnavision Lamp | C | 8008 |  | 9/5/2011 | Sparx Magnifier | Jupiter Manufacturing Works | Labour Ward | NRHM | 04R/NRHM/TNMSC/ENGG/2011DT.12.02.2011 | 9/5/2011 | 2012-08-05 | 4576 | Working
49 | Magnavision Lamp (Ring Lens System) | C | Magnascope |  | 26/4/12 | Lensel Optics Pvt Ltd | Solokraft Industries | NCD Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 19/10/11 | 26/4/12 | 25/4/13 | 7337 | Working
50 | Manual Colposcope | C | ARI-11 1 D | R20130161 | 26/3/13 | ARI Technology Group Co Ltd China | South India Surgicals | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 21/4/12 | 26/3/13 | 25/3/14 | 136500 | Working
51 | Monocular Microscope | C |  |  | 19/8/01 |  |  | Lab |  |  | 19/8/01 |  | 15000 | Working
52 | Nebuliser | C | EC-500C |  |  | Easy Care |  | Injection OP |  |  |  |  | 1500 | Working
53 | Nebuliser | C |  | 071300 |  | Readymist |  | OPD |  |  |  |  | 1500 | Working
54 | Needle Destroyer | C |  |  |  | Astra |  | Injection OP |  |  |  |  | 1500 | Working
55 | Needle Destroyer | C |  | 9330 |  | Reprospaark |  | Lab |  |  |  |  | 1500 | Working
56 | PH Meter | C | RPA-1GRTIOANPN |  | 2/5/2014 | RLT Instrumentation | RLT Instrumentation | Lab | TNHSP | TNHSP/ TNMSC/AG 87B/2013-1 DATE 20/11/2013 | 2014-02-05 | 2015-01-05 | 57353 | Working
57 | Photo Calorimeter | C | Electro II | 1517 |  | Euro |  | Lab |  |  |  |  | 7600 | Working
58 | Phototherapy Unit | C | Nice 4000PT | 0607264 | 9/8/06 | Nice Neotech | Madras Surgicals and Chemicals | Neonatal Ward | TNHSP | TNHSP/TNMSC/EBGG/E7/2006 5/11/2006 | 9/8/06 | 2007-08-08 | 9900 | Working
59 | Radiant Warmer | C | Nice 2000B | 0607344 | 9/8/06 | Nice Neotech | Madras Surgicals and Chemicals | Labour Ward | TNHSP | TNHSP/TNMSC/EBGG/E7/2006 5/11/2006 | 9/8/06 | 2007-08-08 | 19680 | Working
60 | Rotary Shaker | C | BDI-149 | 2014080898 | 2014-07-06 | BD Instruments | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG87® dt 19/8/14 | 2014-08-11 | 2015-07-11 | 32200 | Working
61 | Silastis Vaccum Extractor | C | K-Flow | 07C01 |  | Kay & Company |  | Labour Ward | TNHSP | 69/TNHSP/TNMSC/ENGG/2006/DE6 7/09/06 |  |  | 4000 | Working
62 | Steriliser (Medium) | C |  |  | 23/9/06 |  | Jupiter Manufacturing Works | OT | TNHSp | TNHSP/TNMSC/ENGG/E10/2006 26/6/06 | 23/9/06 | 22/9/07 | 2200 | Working
63 | Suction Apparatus | C | [5 empty] | Casualty |  |  |  |  | 4500 | Working
64 | Suction apparatus | C | K-Flow | 07C01 |  | Kay & Company |  | ECG Room |  |  |  |  | 4500 | Working
65 | Suction Apparatus | C | [5 empty] | Labour Ward |  |  |  |  | 4500 | Working
66 | Suction Apparatus -1 | C | [5 empty] | OT |  |  |  |  | 4500 | Working
67 | Suction Apparatus -2 | C | [5 empty] | OT |  |  |  |  | 4500 | Working
68 | Vertical Autoclave | C |  | 461 |  |  |  | Labour Ward |  |  |  |  | 33000 | Working
69 | Vertical Autoclave | C | 16*24 |  |  |  |  | Labour Ward |  |  |  |  | 33000 | Working
70 | Weighing Scale - Baby | C |  |  |  | Crown |  | Labour Ward |  |  |  |  | 1500 | Working
71 | Weighing Scale - Adult |  | krups |  |  | Doctor Beli ram Sons Pvt Ltd |  | Male Ward |  |  |  |  | 1500 | Working
2671426