## Sheet1
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
District : VIRUDHUNAGAR
Institution : VIRUDHUNAGAR
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Warranty Valid Upto | Cost of the item | working status
1 | PH meter | C | RPA-IGRTIOANPN | SN1368 | 2014-04-14 | RLT INSTRUMENTATION PLTD~CHENNAI | ICTC | TNMSC | TNHSP/TNMSC/AG87B/2013-1 DT-24/03/2014 | 2015-07-04 | 57353 | working
2 | PH meter | C | RPA-1GRTIOANPN | SN1367 | 2014-04-14 | RLT Instrumentation pvt ltd~ chennai | art 1 | TNMSC | TNHSP/TNMSC/AG87B/2013-1~ DT 24/3/2014 | 2015-07-04 | 57353 | working
3 | Shadowless lamp ceiling type major | B | LED 750/750 |  | 2014-05-31 | Staan Bio-med Engineering PLTD~COIMBATORE | FPOT | TNHSP | TNHSP/TNMSC |  | 614685 | working
4 | Cell Counter Electronic (AUTOMATIC) | B | poch1001 | F2778 | 2012-12-31 | transasia bio medicals ltd~pudducherry | lab | TNMSC | 2630/TNMSC/ENGG/2012~D/T=06/12/2012 | 2014-11-30 | 285120 | working
5 | Cell Counter Electronic (AUTOMATIC) | B | SYSMEX xp100 | A4400 | 2014-10-20 | TRANSASIA BIO MEDICALS LTD~PUDDUCHERY | ICTC | TNMSC | 5859/TNMSC/ENGG/2014-3~D/T=24/09/2014 | 2017-10-19 | 303000 | working
6 | Multi Para Monitor | B2 | G3G ~G3L-ETCO2 | G3GL90064~G3GL90032~G3GL90065 /G3LL90014~G3LL90012~G3LL90011 | 2014-10-30 | TRANS HEALTH CARE INDIA PLTD~CHENNAI | ICU-1~MOT-1 ~STORE-4 | TNHSP | TNHSP/TNMSC/AG88/2013~D/T=123/12/2013 | 2015-10-29 | 643545 | working
7 | X-ray Machine Digital | A | NOVA F.A DIGITAL RADIOGRAPHY SYSTEM (PRORAD 3N) | 12041059 | 2013-09-12 | PROGNOSYS MEDICAL SYSTEMS PVT LTD 249~IV MAIN ROAD ~CHAMARAJPET~BANGALORE | X RAY DEPT | TNHSP | TNHSP/TNMSC/ENGG/AG9/2010~D/T=11/01/2012 | 2016-09-11 | 11010146 | working
8 | Stryker Frame | C | STRYKER USA(POWER SAW AND POWER DRILL) | ACCESARIES S.NO=1418110603~ 14167~ 14170~ 14175~ 14181~ 1419105753~ 1416301683~ 1417201883~ 14175 REF;STOCK BOOK | 2014-09-29 | INDIAN ORTHOCARE SURGICALS~OLD NO -4~NEW NO-7~91st~ASHOK NAGAR~CHENNAI-83 |  | TNHSP | TNHSP/TNMSC/AG906/2014~D/T=01/09/2014 | 2017-09-28 | 934500 | working
9 | Deep Freezer | B2 | LPF450 | 14094552 | 2014-11-28 | HLL LIFE CARE LTD~THIRUVANANTHAPURAM~ KERALA | BLOOD BANK | TNMSC | 5859/TNMSC/ENGG/2014~D/T=25/09/2014 | 2017-11-26 | 381112 | working
10 | Deep Freezer | B2 | LUPF-388 | 14094567 | 2014-11-28 | HLL LIFE CARE LTD~THIRUVANANTHAPURAM ~KERALA | BLOOD BANK | TNMSC | 5859/TNMSC/ENGG/2014~D/T=25/09/2014 | 2017-11-26 | 828703 | working
11 | Cryo Surgery/Cryocautery Unit | B2 | cryo 004B ON-OFF super deluxe |  | 2012-02-17 | solokrafts industries chennai | maty | TNHSP | tnhsp/tnmsc/ag30 a/2011d/t=14/10/2011 | 2014-07-07 | 23172 | working
12 | Ultra Sonogram -POTABLE | B | 600A | 1112021 | 2012-03-30 | M/S.SURYA SURGICAL INDS | MATY WARD | TNMSC | 2684/TNMSC/ENGG/2011~DATE-11.11.2011 | 2012-03-30 | 272950 | working
13 | Weighing Machine-Suspension | C | prestige~ |  | 2012-03-21 | Alan medicalandamp;lab | NCD OP | TNHSP | TNHSP/TNMSC/ENGG/AG24/2011~Date-09.12.2011 |  | 598 | working
14 | Ultra Sound Scanner - Portable | B2 |  |  | 2011-10-02 | WIPRO GE HEALTH CARE ~BANGALORE | MATY WARDE | RCH | RCH-II/TNMSC/ENGG/E44/2010~DATE-05.07.2011 |  | 323800 | working
15 | Auto Clave HP Horizontal-CYLINDRICAL | C | H2512 SPL |  | 2011-07-01 | SOLOKRAFTS INDUSTRIES~CHENNAI | MOT | TNMSC | 2396/TNMSC/ENGG/10/ DT- 23.2.2011 |  | 145000 | working
16 | Micro Centrifuge/Microliter Centrifuge | C |  |  | 2009-12-07 |  | LAB |  |  |  | 0 | working
17 | Micro Drill | C |  |  | 2012-02-13 | VAANSARI MARKETING SERVICES~CHENNAI | MOT | TNMSC | 4748/NRHM/TNMSC/ENGG/12-2~DT-7.2.2012 |  | 87400 | working
18 | Ultra Sound Scanner - Portable | B2 |  |  | 2008-07-08 |  |  | TNMSC | 2394/NRHM/TNMSC/2008~D/T-25/03/2008 |  | 186430 | working
19 | Operating table non-hydraulic field type | B |  |  | 2008-04-09 | ASSOCIATED SURGICAL INDIA LTD ~CHENNAI | FPOT | TNMSC | 2394/NRHM/TNMSC/2008~D/T-11/03/2008 |  | 12948 | working
20 | Semi auto analyser | B2 |  |  | 2012-01-13 |  | LAB |  |  |  | 0 | working
21 | Photo Calorie Meter - Analog / Digital | C |  |  | 2008-04-09 | ASSOCIATED SURGICALS INDIA LTD ~CHENNAI | BLOOD BANK | TNMSC | 2394/NRHM/TNMSC/2008~D/T-11/03/2008 |  | 5630 | working
22 | Photo Calorie Meter - Analog / Digital | C |  |  | 2008-04-09 | ASSOIATED SURGICALS INDIA LTD ~CHENNAI | LAB | TNMSC | 2394/NRHM/TNMSC/2008~D/T-11/03/2008 |  | 5630 | working
23 | Pulse Oximeter | B2 | MASIMO RADICAL-7 | T061681 | 2013-01-31 | GRACE MFG.andamp;TRADING CO ~ NEW DELHI | NICU | RCH | RCH-II/TNMSC/ENGG/E49/2012~DATED-26/12/12 | 2016-01-31 | 86500 | working
24 | Pulse Oximeter | B2 | MASIMO RADICAL.7 | T061644 | 2013-01-31 | GRACE MFG.andamp;TRADING CO. NEW DELHI | NICU | RCH | RCH-II/TNMSC/ENGG/E49/2012 ~26/12/12 | 2016-01-30 | 86500 | working
25 | Pulse Oximeter | B2 | MASIMO RADICAL-7 | T061693 | 2013-01-31 | GRACE MFG.andamp;TRADING CO~NEW DELHI | NICU | RCH | RCH-II/TNMSC/ENGG/E49/2012~26/12/12 | 2016-01-30 | 86500 | working
26 | Pulse Oximeter | B2 | masimo radical-7 | T061513 | 2013-01-31 | GRACE MFG.andamp;TRADING CO~NEW DELHI | NICU | RCH | RCH-II/TNMSC/ENGG/E49/2012~26/12/12 | 2016-01-30 | 86500 | working
27 | Pulse Oximeter | B2 | INNOAVA10CIR | C11302 | 2013-03-05 | CONCEPT INTEGRATIONS PVT LTD ~PUNE | NICU | TNMSC | TNHSP/TNMSC/AG14/2012~D/T-21/11/12 | 2014-03-05 | 0 | working
28 | Pulse Oximeter | B2 | INNOAVA10CIR | C11302BK73~72 | 2013-03-05 | CONCEPT INTEGRATIONSPVT LTD~PUNE | ICU | TNMSC | TNHSP/TNMSC/AG14/2012~D/T-21/11/12 | 2014-03-05 | 0 | working
29 | Pulse Oximeter | B2 | MASIMO RADICAL;7 | T061612 | 2013-01-31 | GRACE MFG andamp;TRADING CO~ NEW DELHI | NICU | RCH | RCH-II/TNMSC/ENGG/E49/2012~D/T-26/12/2012 | 2016-01-30 | 86500 | working
30 | Pulse Oximeter | B2 | MASIMO RADICAL-7 | TN061731 | 2013-01-31 | GRACE M FG andamp;TRADING CO | NICU | RCH | RCH-/TNMSC/ENGG/E49/2012~DATED-20-06-12 | 2016-01-30 | 86500 | working
31 | Laparoscope operating major with accessories | B1 | KARLSTORZ GERMAN | 1205 V D | 2013-04-10 | VISHAL SURGICAL EQUIPMENTS CO PLTD ~CHENNAI.~PH NO-044-28414664~28418530 | MOT | TNMSC | 9907/TNMSC/ENGG/2012;D/T-18/2/2013 | 2016-04-09 | 1457561 | working
32 | Slit Lamp | C | AIAII | 35011211529 | 2012-11-14 | APPASAMY ASSOCIATS~CHENNAI | EYE DEP | TNMSC | 13413(R)TNMSC/ENGG/2012~DT-05/10/2012 | 2015-12-04 | 36632 | working
33 | Video Endoscope system | B1 | M/S PLYMPUS MEDICAL SYSTEM | 7340642 | 2013-04-30 | HEALTH WARE PLTD~HYDERABAD~-PH NO-91(40)23318224 | FPOT | TNMSC | 1549/TNMSC/ENGG/2012 D/T-04/03/2013 | 2016-04-29 | 764041 | working
34 | X-ray Machine 100 mA | B2 | PHILIPS DIAGNOX 100R MOBILE DRIVE | 38 M/C 12046 | 2012-04-11 | M/S PHILIPS ELECTRONICS INDIA LTD | XRAY UNIT | TNMSC | RCHII/TNMSC/ENGG/E55/2011DT14.11.2011 | 2013-05-02 | 153000 | working
35 | Echocardiogram Color | B1 | dc-t6 | PM-19000429 | 2012-01-21 | mindray medical india Pvt Ltd~ unit no B-404 city point ~ andheri Kurla road~ andheri(e) Mumbai -400059 | ICCU | TNMSC | TNHSP/TNMSC/ENGG/AG10andamp;AG22/2011 DT 12/08/2011 | 2012-01-25 | 14494 | working
36 | Impendence audiometer | B2 | AT-235 | S/N .3000982 | 2012-03-23 | ALPS international PVT.LTD | ENT OP | TNMSC | 4748/TNMSC/ENGG/2012-4 | 2015-03-23 | 214000 | working
37 | Audiometer | C | AD-2000 | A0012B003T | 2012-03-23 | Alps International PVT.LTD | ENT OP | TNMSC | 4748/TNMSC/ENGG/2012-4~DATE-07.02.2012 | 2015-03-23 | 44500 | working
38 | Operating Microscope (ENT) | B2 | CRISP-1 | ENT031204 | 2012-03-07 | SANMA MEDINEERS | MOT (ENT) | TNMSC | 4748/TNMSC/ENGG/2012~DATE-07.02.12 | 2015-03-07 | 160000 | working
39 | Defibrillator with Monitor | B2 |  | B12C5910 | 2012-08-08 | madras surgicals | MOT | TNMSC | TNHSP/TNMSC/ICB/AG17/2012~DATE-12.03.2012 | 2012-08-22 | 58696 | working
40 | OAE Analyser | B2 | GSI AUDIO SCREENER | GS44425 | 2012-03-16 | ALLIANCE BIO MEDICAPVTLTD~CHENNAI | ENT /DEPT | TNMSC | 4748/TNMSC/ENGG/2012-5~DT-7.2.2012 | 2015-03-15 | 260000 | working
41 | Defibrillator with Monitor | B2 |  | b12c05893 | 2012-08-08 | madras surgicals chennai | ICU | TNMSC | TNHSP/TNMSC/ICB/AG17/2012~DATE-12.03.2012 | 2012-08-22 | 58696 | working
42 | Defibrillator with Monitor | B2 |  | B12C05606 | 2012-08-08 | madras surgicals~chennai | M M WARD | TNMSC | TNHSP/TNMSC/ICB/AG17/2012~DATE-12.03.2012 | 2012-08-22 | 58696 | working
43 | Defibrillator with Monitor | B2 |  |  | 2012-08-08 | madras surgicals ~chennai | A E WARD | TNMSC |  | 2012-08-22 | 58696 | working
44 | Mannual Colposcope | C | ARI II-ID |  | 2012-09-04 | SOUTH INDIA SURGICAL CO LTD | MATY WARD | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011~DT-21.4.2012 | 2013-09-06 | 130000 | working
45 | Radiant Warmer | C | NICC2007S | 121307000000 | 2012-08-06 | MADRAS SURGICALandamp;CHEMICALS~CHENNAI | NICU | RCH | RCH-II/TNMSC/ENGG/E62/2011~DT-27/07/2012 | 2013-05-04 | 18269 | working
46 | Automated Cell Counter | B2 | poch 1001 | F2778 | 2012-12-31 | transasia bio medicals ltd~pondichary | lab | TNMSC | 2630/TNMSC/ENGG/2012~D/T-06/12/2012 | 2015-01-06 | 290822 | working
47 | Ringlens System | C |  |  | 2012-02-17 | solokrafts industries chennai | ncd op | TNHSP | tnhsp/tnmsc/icb/ag31/2011 | 2013-02-16 | 6987 | working
48 | Needle destroyer / Syringe Destroyer | C |  |  | 2011-10-19 | malli agencies madurai | LAB | JDHS | 5649/S/11 DT 18/10/11 |  | 2300 | working
49 | Ventilators (Paediatrics) | B2 | Neumovent Graphnet Neo | 130911000000 | 2013-10-22 | SCHILLER HEALTHCARE INDIA PLTD~PONDICHERRY | NICU | RCH | RCH-II/TNMSC/ENGG/68/2012 | 2014-11-10 | 708750 | working
50 | Auto analyser | B | AUTORA | RA0262214RBK | 2014-08-18 | ROBONIK[INDDIA]PVT LTD ~MUMBAY | HI TECH OUTSOURCING LAB AS PER REF.NO.11570/TNHSP/OHSS/2014~PD~21/6/14 | TNHSP | TNHSP/TMSC/AG87a/2013~dt.28/2/14 | 2017-08-17 | 496942 | working
51 | Water Bath/Ultrasonic Water Bath | C | SM1-143 |  | 2014-10-31 | S.M SCIETIFIC INSTRUMENTS PVTLTD |  | TNMSC | TNHAP/TNMSC/AG87h(r)/2014 | 2016-10-30 | 8262 | working
52 | Syringe Pump | B | Injectomat Agilia | 21575321 | 2012-03-26 | MITI Electronics.chennai | store | TNMSC | 76970/Sandamp;P/1/2011~DATE-12.03.12 | 2013-03-25 | 38000 | working
53 | Syringe Pump | B | 21575322 | 21575322 | 2012-03-26 | miti electronics pvt~.ltd~chennai | STORE | TNMSC | 76970/S and P DATE-12.03.2012 | 2015-03-26 | 38000 | working
54 | Syringe Pump | B | 21575325 | 21575325 | 2012-03-26 | MIITI ELECTRONICS PVT.LTD | STORE | TNMSC | 76970Sandamp;P/1/2011~DATE-12.03.2012 | 2013-03-25 | 38000 | working
55 | Syringe Pump | B | 21575331 | 21575331 | 2012-03-26 | MIITI ELECTRONICS PVT.LTD | STORE | TNMSC | 76970/Sandamp;P/I/2011DATE.12.03.2012 | 2013-03-25 | 38000 | working
56 | Phototherapy Unit | C |  |  | 2010-03-23 | vishal hospital furniture~chennai | NICU | RCH | RCH-II/TNMSC/ENGG/E29/2009-10~DATE-20.03.2010 |  | 9000 | working
57 | Phototherapy Unit | C |  |  | 2010-03-23 | VISHAL SURGICAL EQUIPMENTandamp;CO ~CHENNAI | NICU | RCH | RCH-II/TNMSC/ENGG/E-29/2009-10~DATE-20.03.2010 |  | 9000 | working
58 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C |  |  | 2009-12-17 | BROWN DOVE HEALCARE PVT~CHENNAI | ICCU | TNMSC | 011/CPC/ANS/TNMSC/2009 |  | 23000 | working
59 | ECG machine computerized | B | cardio touch 3000 | T2L0900109 | 2011-11-15 | JK MEDICVAL SYS.PVT.LTD~CHENNAI-78 | NCD | TNHSP | TNHSP/TNMSC/ENGG/AG21/2010~DATE-22.08.2011 |  | 65000 | working
60 | Radiant Warmer | C |  |  | 2010-04-30 | MADRAS SURGICALandamp;CHEMICALS~CHENNAI | NICU | TNHSP | 4539/TNHSP/08~DATE-02.03.2010 |  | 13760 | working
61 | Phototherapy Unit | C |  |  | 2010-03-23 | VISHAL SURGICAL EQUIPMENT andamp;COPVT~CHENNAI | NICU | RCH | RCH-II/TNMSC/ENGG/E29/2009-10~DATE-20.03.2010 |  | 9000 | working
62 | Semi auto analyser | B2 | RX50 |  | 2010-10-23 | MICROLAB INSTRUMENTS~AHMEDABAD | LAB | RCH | RCH-II/TNMSC/ENGG/E38/2010-2~DATE-19.08.2010 |  | 44400 | working
63 | Defibrillator with Monitor | B2 | TEC-5521K |  | 2007-03-03 | M/S TRIVITRON MEDICAL SYS~PVT~CHENNAI | ICCU | TNHSP | TNHSP/TNMSC/ENGG/CE7/2006~DATE-25.10.2006 |  | 140000 | working
64 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C |  | MPIALH408~409-W/CNO.378~37379 | 2011-10-08 | SCHILLER HEALTHCAR INDIA PVTD | FM~ MM WARD | TNMSC | TNHSP/TNMSC/AG16/2010 | 2014-10-07 | 25900 | working
65 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C |  | MPIALH 408~409 W/CNO.378~37379 | 2011-10-08 | SCHILLER HEALTH CARE INDIA PVTD | FM ~MM WARD | TNMSC | TNHSP/TNMSC/AG16/2010~DATE-01.07.2011 | 2014-10-07 | 25900 | working
66 | Syringe Pump | B | ST670 |  | 2010-11-20 | TRANS HEALTH CARE INDIA PVTD~CHENNAI | NICU | RCH |  |  | 21600 | working
67 | Syringe Pump | B | 15090 | 20889537 | 2010-05-12 | MITI ELECTRONICS PVTD~PONDYCHERRY | NICU | RCH | RCH-II/TNMSC/ENGG/E29-6/2009 ~DATE-31.03.2010 | 2013-05-11 | 38000 | working
68 | Syringe Pump | B | ST6000 |  | 2011-08-18 | TRANS HEALTH CARE INDIA PVTD | NICU | TNHSP | TNHSP/TNMSC/AG15/2011~DATE-01.07.2011 |  | 75600 | working
69 | Syringe Pump | B | ST-6000 |  | 2011-08-18 | TRANS HEALTH CARE INDIA PVTD~ | ICCU | TNHSP | TNHSP/TNMSC/AG15/2011~DATE-01.07.2011 |  | 26460 | working
70 | Syringe Pump | B |  |  | 2011-08-18 | TRANS HEALTH CARE INDIA | STORE | TNHSP | TNHSP/TNMSC/AG15/2011~DATE-01.07.2011 |  | 26460 | working
71 | Syringe Pump | B |  | 20889550 | 2010-05-12 | MITI ELECTRONICS PVTD~PONDICHERRY | NICCU | RCH | RCH-II/TNMSC/ENGG/E29-6/2009 | 2010-05-12 | 38000 | working
72 | Syringe Pump | B |  | 208895533 | 2010-05-12 | MITI ELECTRONICS PVTD | NICU | RCH | RCH-II/TNMSC/ENGG/E29-6/2009 | 2013-05-12 | 38000 | working
73 | Syringe Pump | B | ST670 |  | 2011-08-18 | TRANS HEALTH CARE INDIA PVTD CHENNAI | NICU | RCH | RCH-II/TNMSC/ENGG/E38/2010 |  | 21600 | working
74 | Syringe Pump | B |  | 20889499 | 2010-05-12 | MITI ELECTRONICS PVTD~PONDICHERRY | NICU | RCH | RCH-II/TNMSC/ENGG/E29-6/2009~DATE31.3.10 | 2013-05-12 | 38000 | working
75 | Syringe Pump | B |  | 20889480 | 2010-05-12 | MITI ELECTRONICS PVTD~PONDICHERRY | NICU | RCH | RCH-II/TNMSC/ENGG/E29-6/2009 | 2013-05-12 | 38000 | working
76 | Syringe Pump | B |  | 20889559 | 2010-05-12 | MITI ELECTRONICS PVTD~PONDICHERRY | NICU | RCH | RCH-II/TNMSC/ENGG/E29-6/2009 | 2013-05-12 | 38000 | working
77 | Suction Apparatus - Electrical(Hivacuam) | B2 | 7A-230 |  | 2006-12-13 | JUPITER MFG CO~CBE | AE WARD | TNHSP | TNHSP/TNMSC/ENGG/CELL/2006 DATE 19.9.06 |  | 4400 | working
78 | Suction Apparatus - Electrical(Hivacuam) | B2 | 7A 230 |  | 2006-12-13 | JUPITER MFG CO CBE | ICCU | TNHSP | TNHSP/TNMSC/ENGG/CELL/2006 DATE 19.9.06 |  | 4400 | working
79 | Radiant Warmer | C |  |  | 2007-12-12 | MADRAS SURGICALSandamp;CHEMICALS~CHENNAI | MATY WARD | TNHSP | TNHSP/TNMSC/P2E10/2007~DATE-19.07.2007 |  | 18387 | working
80 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2009-12-07 | from watrap | MATY WARD | JDHS |  |  | 0 | working
81 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2008-05-19 | VISAL HOSPITAL FURNITURE M tS~CHENNAI | FM WARD | TNMSC | TNHSP/TNMSC/P3E8/2008~DATE-10.09.2008 |  | 23400 | working
82 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2010-03-23 | VISHAL HOSPITAL FURNITURE M tS PLTD~CHENNAI | NICU | RCH | RCH-II/TNMSC/ENGG/E29-4/2009~DATE-11.01.2010 |  | 1050 | working
83 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2008-05-19 | VISAL HOSPITAL FURNITURE M tS~CHENNAI | MOT | TNMSC | TNHSP/TNMSC/P3E8~DATE-10.09.2008 |  | 23400 | working
84 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2008-05-19 | VISAL HOSPITAL FURNITURE M tS~CHENNAI | FPOT | TNMSC | TNHSP/TNMSC/P3E8/2008~DATE-10.09.2008 |  | 23400 | working
85 | Suction Apparatus - Electrical(Hivacuam) | B2 | 7A 230 |  | 2006-12-13 | JUPITER MFG WORKS CBE | MATY | TNHSP | TNHSP/TNMSC/ENGG/CELL/2006 DATE 19.09.06 |  | 4400 | working
86 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2008-05-19 | VISAL HOSPITAL FURNITURE MttS PLTD~CHENNAI | FPOT | TNMSC | TNHSP/TNMSC/P3E8/2008~DATE-10.09.2008 |  | 23400 | working
87 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2010-03-23 | vishal hospital furniture mts~chennai | NICU | RCH | rch-ii/tnmsc/engg/e29-4/2009~date-11.01.2010 |  | 1050 | working
88 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2010-01-25 | VISHAL HOSPITAL FURNITURE M tS~CHENNAI | MATY WARD | RCH | RCH-II/TNMSC/ENGG/E29/3/2009~DATE-12.10.2009 |  | 4540 | working
89 | Suction Apparatus - Electrical(Hivacuam) | B2 | 7A 230 |  | 2006-12-13 | JUPITER MFG WORKS ~CBE | OPD WARD | TNHSP | TNHSP/TNMSC/ENGG/CELL /2006 DATE 19.09.06 |  | 4400 | working
90 | Suction Apparatus - Electrical(Hivacuam) | B2 | 7A-23D |  | 2008-02-21 | VIN BIO TECH SYS LTD~CHENNAI | CH WARD | TNHSP | TNHSP/TNMSC/P2E18/2007~DATE-30.10.2007 |  | 4148 | working
91 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2010-01-25 | vishal hospital furniture m ts chennai | FM ward | RCH | RCH-II/TNMSC/ENGG/E29/3/2009~DATE-12.10.2009 |  | 4540 | working
92 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2008-05-19 | VISAL HOSPITAL FURNITURE M tS~CHENNAI | FPOT | TNMSC | TNHSP/TNMSC/P3E8/2008~DATE-10.09.2008 |  | 23400 | working
93 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2008-05-19 | VISAL HOSPITAL FURNITURE M tS~CHENNAI | MOT | TNMSC |  |  | 23400 | working
94 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2008-05-19 | VISAL HOSPITAL FURNITURE M tS~CHENNAI | MATY WARD | TNMSC | TNHSP/TNNSC/ENGG/P3E19/2008~DATE-11.08.2008 |  | 4140 | working
95 | Defibrillator with Monitor | B2 | TEC5521K |  | 2007-02-03 | TRIVITRON MEDICAL SYS~ PLTD CHENNAI | ICCU | TNHSP | TNHSP/TNMSC/ENGG/CET/2006~DATE-25.10.2006 |  | 140000 | working
96 | Weighing machine adult | C |  |  | 2007-08-24 | Jupiter manufacturing works~ coimbatore | OPD | TNHSP | TNHSP/TNMSC/ENGG/PE35/2007/29.06.07 |  | 920 | working
97 | Cardiac Monitor | C | indegra-ie |  | 2009-01-06 | CONCEPTandamp;INTEGRATIONPLTD~PUNE | FM WARD | TNHSP | TNHSP/TNMSC/P3E13/2008~DT-24.11.2008 |  | 49980 | working
98 | Needle destroyer / Syringe Destroyer | C |  |  | 2011-10-19 | malli agencies | icu | JDHS | 5649/s/11/dt 18/10/2011 |  | 2300 | working
99 | Spotlight Operating Lamp | C |  |  | 2007-03-23 | VISHAL HOSPITAL FURNITURE MTDLTD~CHENNAI | NICU | RCH | RCH-II/TNMSC/ENGG/E29/2009-18~DATE-9.1.2010 |  | 4800 | working
100 | Spotlight Operating Lamp | C |  |  | 2007-02-12 | south india surgical ltd~chennai | MATY WARD | TNHSP | TNHSP/TNMSC/ENGG/2006/CE/5~DATE-18.07.2006 |  | 1827 | working
101 | Spotlight Operating Lamp | C |  |  | 2010-03-23 | VISHAL HOSPITAL FURNITURE MTS LTD~CHENNAI | NICU | RCH | RCH-II/TNMSC/ENGG/E29/2009-10~DATE-9.1.2010 |  | 4800 | working
102 | ECG Machine-Multichannel/Page Writer | B2 | VEGA | SE34A02B10742-8062B | 2007-07-26 | LARSEN andamp;TOULRO LTD~CHENNAI | OPD ~CVD | TNHSP | TNHSP/TNMSC/ENGG/P2E34/2007~DATE-29.10.2007 |  | 0 | working
103 | Needle destroyer / Syringe Destroyer | C |  |  | 2011-10-20 | malli agencies madurai | ID | JDHS | 5649/S/11/ DT 19/10/2011 |  | 2300 | working
104 | Anaesthesia Ventilators | B2 | EV500 | EV5-0807-044 | 2007-09-11 | LARSANandamp;TOUBROLTD~MYSORE | MOT | TNMSC | TNHSP/TNMSC/ICB/CEI/07/209616~DT-27.6.2007 |  | 130416 | working
105 | Spotlight Operating Lamp | C |  |  | 2007-02-12 | SUOTH INDIA SURGICALS LTD~CHENNAI | MATY WARD | TNHSP | TNHSP/TNMSC/ENGG/2006/CE/5~DATE-18.7.2006 |  | 1827 | working
106 | Needle destroyer / Syringe Destroyer | C |  |  | 2011-10-19 | malli agencies madurai | CHILDREN WARD | JDHS | 5649/S/20011/DTT 18/10/11 |  | 2300 | working
107 | Needle destroyer / Syringe Destroyer | C |  |  | 2011-10-19 | malli agencies madurai | ms fs | JDHS | 5649/S/20011 |  | 2300 | working
108 | Needle destroyer / Syringe Destroyer | C |  |  | 2011-10-20 | malli agencies madurai | MM WARD | JDHS | 5649/S/11 DT 19/10/2011 |  | 2300 | working
109 | Radiant Warmer | C |  |  | 2010-04-30 | madras surgicalandamp;chemicals ~chennai | NICU | TNHSP | 45439/TNHSP/08~DATE-02.03.2010 |  | 13760 | working
110 | Radiant Warmer | C |  |  | 2010-04-30 | MADRAS SURGICALandamp;CHEMICALS CHENNAI | NICU | TNHSP | 4539/TNHSP/08~DATE-02.03.2010 |  | 13760 | working
111 | Radiant Warmer | C |  |  | 2010-04-30 | MADRAS SURGICALSandamp;CHEMICALS~CHENNAI | NICU | TNHSP | 4539/TNHSP/08~DATE-02.03.2010 |  | 13760 | working
112 | Spotlight Operating Lamp | C |  |  | 2007-02-12 | SOUTH INDIA SURGICALLTD~CHENNAI | MATY WARD | TNHSP | TNHSP/TNMSC/ENGG/2006~DATE-18.07.2006 |  | 1827 | working
113 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-08-05 | glolife care equipments ~chennai | MATY | TNHSP | TNHSP/TNMSC/ENGG/BMWM1/208 DT 8.2.08 |  | 755 | working
114 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-08-05 | Glo life care equipments chennai | MATY | TNHSP | TNHSP/TNMSC/ENGG/BMWM1/2008 DT 8.02.08 |  | 755 | working
115 | Needle destroyer / Syringe Destroyer | C |  |  | 2011-10-20 | malli agencies madurai | MATERNITY WARD | JDHS | 5649/S/11 19/10/11 |  | 2300 | working
116 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-08-05 | Glo life care equipments chennai | MATY | TNHSP | TNHSP/TNMSC/ENGG/BMWM1/2008 DT 8.2.08 |  | 755 | working
117 | Cardiac Monitor | C | INDEGRA-IE |  | 2009-01-06 | CONCEPTandamp;INTEGRATIONPLTD~PUNE | MM WARD | TNHSP | tnhsp/tnmsc/p3e13/2008~dt-10.10.2008 |  | 49980 | working
118 | Blood Bank Refrigerator | B2 | BR-300 | BDIT-1399 | 2010-10-18 | REMI ELECTROTECHNIC LTD |  | OTHERS | NACO/MBBE/23/09/~DT-19.4.2010 |  | 290000 | working
119 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-08-05 | Glo life care equipments chennai | maty | TNHSP | TNHSP/TNMSC/ENGG/BMWM1/2008 DT 8.2.08 |  | 755 | working
120 | Radiant Warmer | C |  |  | 2010-04-30 | MADRAS SURGICALSandamp;CHEMICALS~CHENNAI | NICU | TNHSP | 4539/TNHSP/08~DATE-02.03.2010 |  | 13760 | working
121 | Radiant Warmer | C |  |  | 2010-04-30 | MADRAS SURGICALSandamp;CHEMICALS~CHENNAI | NICU | TNHSP | 4539/TNHSP/08~DATE-02.03.2010 |  | 13760 | working
122 | Phototherapy Unit | C |  |  | 2010-03-23 | VISHAL HOSPITAL FURNITURE MTSPLTD~CHENNAI | NICU | RCH | RCH-II/TNMSC/ENGG/E29/2009-8~DATE-09.01.2010 |  | 9000 | working
123 | Needle destroyer / Syringe Destroyer | C |  |  | 2011-10-21 | malli agencies madurai | OPD | JDHS | 5649/S/11 DT 20/10 /11 |  | 2300 | working
124 | Blood Bank Refrigerator | B2 | BR-300 | BDIT-1400 | 2010-10-18 | REMI ELEKTRATECHNIC LTD |  | OTHERS | NACO/MBBE/23/09/~DT-19.4.2010 |  | 145000 | working
125 | Pulse Oximeter with NIB.P | B2 |  |  | 2009-01-09 | SOUTHERN MEDICAL SYS | C H WARD | TNHSP | TNHSP/TNMSC/P3E13~DATE-10.10.2008 |  | 18450 | working
126 | O2 Concentrator | C |  |  | 2010-05-07 | MADRAS SURGICALSandamp;CHEMICALS~CHENNAI | MM WARD | RCH | RCH-II/TNMSC/ENGG/4539/2010~DT-8.3.2010 | 2013-05-06 | 62970 | working
127 | Ultrasound scanner system B and W | B2 | logia p3 |  | 2009-09-12 | wiproGE health care | MATY WARD | OTHERS | ICB/P3E24/2009~DT-20.5.2009 |  | 674800 | working
128 | Laryngoscope(Adult) | C |  |  | 2008-09-20 | VIBASH COIMBATORE SURGICALS PLTD ~CBE | FPOT | TNHSP | TNHSP/TNMSC/ENGG/P3E18/2008~DT-11.8.2008 |  | 725 | working
129 | Phototherapy Unit | C |  |  | 2010-03-23 | VISHAL HOSPITAL FURNITURE MTS~CHENNAI | NICU | TNHSP | RCH-II/TNMSC/ENGG/E29/09-8~DATE-09.01.2010 |  | 9000 | working
130 | Needle destroyer / Syringe Destroyer | C |  |  | 2011-10-21 | malli agencies madurai | FM WARD | JDHS | 5649/S/1 DT |  | 2300 | working
131 | Auto Clave HP Horizontal-CYLINDRICAL | C |  |  | 2010-01-06 | SOLOKRAFTS INDUSTRIES~CHENNAI | EYE OT | RCH | RCH-II/TNMSC/ENGG/E18/2009~DT-8.6.2009 |  | 132000 | working
132 | Binocular Mircroscope | B2 |  |  | 2009-07-28 | SOLOKRAFT INDUTREIS~CHENNAI | LAB | TNMSC | TNHSP/TNMSC/ICB/P3E2/2009~28.1.2009 |  | 9393 | working
133 | Haemoglobinometer | C |  |  | 2011-09-05 | SOLOKRAFTS INDUTRIES~CHENNAI | ICTC | RCH | RCH-II/TNMSC/ENGG/4538/2010-6 |  | 17200 | working
134 | Photo Calorie Meter - Analog / Digital | C |  |  | 2012-03-28 | JUPITER MTS WORKS CBE | LAB | RCH | RCH-II/TNMSC/ENGG/4538/2010-5~6.10.2010 |  | 5300 | working
135 | Micro Centrifuge/Microliter Centrifuge | C |  |  | 2009-07-28 | SOLAKRAFT INTUSTREIS~CHENNAI | LAB | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009~DT-28.1.2009 |  | 140873 | working
136 | Haemoglobinometer | C |  |  | 2011-09-05 | SLOKRAFTS INDUSTRIES~CHENNAI | LAB | RCH | RCH-II/TNMSC/ENGG/4538/2010-6 |  | 17200 | working
137 | Binocular Mircroscope | B2 |  |  | 2009-07-28 | SOLOKRAFT INDUSTREIS~CHENNAI | LAB | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009~DT-28.1.2009 |  | 9393 | working
138 | Haemoglobinometer | C |  |  | 2011-09-05 | SOLOKRAFTS INDUSTRIES~CHENNAI | BLOOD BANK | RCH | RCH-II/TNMSC/ENGG/4538/2010-6 |  | 17200 | working
139 | Magnavision Lamp | C |  |  | 2011-04-03 | jupiter | maternity ward | DRHM | 04r/nrhm/tnmsc/engg/2011 dt 12/2/2011 |  | 4400 | working
140 | Boyles apparatus with out Ventilator | B |  |  | 2009-04-27 | MADRAS SURGICALSandamp;CHEMICALS~CHENNAI | FPOT | TNMSC | 2397/TNMSC/ENGG/2009-1~DT-12.3.2009 |  | 125000 | working
141 | Suction Apparatus - Foot operated | C |  |  | 2009-05-19 | VISHAL HOSPITAL FURNITURE MTS PLTD | MATY WARD | TNHSP | TNHSP/TNMSC/ENGG/P3E19/2008~11.8.2008 |  | 850 | working
142 | Ventilators (Paediatrics) | B2 | NCPAP | 1087 | 2011-05-11 | PHOENIX MEDICAL SYS ~CHENNAI | NICU | RCH | RCH-II/TNMJSC/ENGG/0439/2010~22.9.2010 |  | 240384 | working
143 | O2 Concentrator | C |  |  | 2010-05-07 | MADRAS SURGICALSandamp;CHEMICALS~CHENNAI | ICU | RCH | RCH-II/TNMSC/ENGG/4539/2010~DT-8.3.2010 | 2013-05-06 | 62970 | working
144 | O2 Concentrator | C |  |  | 2010-05-07 | MADRAS SURGICALSandamp;CHENNAI | FM WARD | RCH | RCH-II/TNMSC/ENGG/4539/2010~DT-8.3.2010 | 2013-05-06 | 62970 | working
145 | Laryngoscope(Adult) | C |  |  | 2010-03-30 | SABERWAL SURGICALS CO~CBE | MATY WARD | RCH | RCH-II/TNMSC/ENGG/E29/2009-12~DT-16.2.2009 |  | 750 | working
146 | Laryngoscope(Adult) | C |  |  | 2010-03-30 | SABERWAL SURGICALS. CO PLTD~CBE | AE WARD | RCH | RCH-II/TNMSC/ENGG/E29/2009-12~DT-16.2.2009 |  | 750 | working
147 | Laryngoscope(Adult) | C |  |  | 2010-03-30 | SABERWAL SURGICALS CO PLTD~CBE | NICU | RCH | RCH-II/TNMSC/ENGG/E29/2009~DT-16.2.2009 |  | 750 | working
148 | Laryngoscope(Adult) | C |  |  | 2010-03-30 | SABERWAL SURGICALS CO PLTD~CBE | NICU | RCH | RCH-II/TNMSC/ENGG/E29/2009-12~DT-16.2.2009 |  | 750 | working
149 | Laryngoscope(Adult) | C |  |  | 2010-03-30 | SABERWAL SURGICALS COPLTD~CBE | NICU | RCH | RCH-II/TNMSC/ENGG/E29/2009-12~DT-16.2.2009 |  | 750 | working
150 | Laryngoscope(Adult) | C |  |  | 2010-03-30 | SABERWAL SUR GICALS CO PLTD~CBE | NICU | RCH | RCH-II/TNMSC/ENGG/E29/2009-12~DT-16.2.2009 |  | 750 | working
151 | Infant Warmer / Neonatal Warmer/Infant Open Care system | B2 |  |  | 2008-11-15 | DATEX OHEMADA~CHENNAI | MATY WARD | TNHSP | TNHSP/TNMSC/P3E9/2008~DT-16.6.2008 |  | 18000 | working
152 | Haemoglobinometer | C |  |  | 2011-09-05 | SOLOKRAFTS INDUSTREIS~CHENNAI | ART | RCH | RCH-II/TNMSC/ENGG/4538/2010-6 |  | 17200 | working
153 | Ventilators (Paediatrics) | B2 | NCPAP | 1086 | 2011-05-11 | PHOENIX MEDICAL SYS PLTD~CHENNAI | NICU | RCH | RCH-II/TNMSC/ENGG/0439/20O10~22.9.2010 |  | 240384 | working
154 | Lab Incubator | C | R118H |  | 2011-04-03 | JUPITOR MTS WORKS ~CBE | BLOOD BANK | RCH | RCH/TNMSC/ENGG/7146/2010-2~DT-6.10.2010 |  | 26500 | working
155 | Mono cular Microscope | C | BLS118 ISI |  | 2011-03-28 | JUPITER MTS WORKS ~CBE | BLOOD BANK | RCH | RCH-II/TNMSC/ENGG/7146/2010-2~ DT-6.10.2010 |  | 12500 | working
156 | Baby Weighing Scale | C |  |  | 2011-02-01 | JUPITER MANUFACTURE WORKS ~CBE | CH WARD | RCH | RCH-II/TNMSC/ENGG/4538/2010-3~DT-6.10.2010 |  | 2300 | working
157 | Baby Weighing Scale | C |  |  | 2011-02-01 | JUPITER MANUFACTURES WORKS ~CBE | NICU | RCH | RCH-II/TNMSC/ENGG/4538/2010-3~DT-6.10.2010 |  | 2300 | working
158 | Focus lamp Ordinary | C |  |  | 2010-12-29 | GENERAL SURGICAL COMPAQNY PLTD | MOT | RCH | RCH-II/TNMSC/ENGG/4538/2010-2~DT-6.10.2010 | 2011-12-28 | 19000 | working
159 | Focus lamp Ordinary | C |  |  | 2010-12-29 | GENERAL SURGICAL COMPANY PLTD | MOT | RCH | RCH-II/TNMSC/ENGG/4538/20O10-2~DT-6.10.2010 | 2011-12-28 | 19000 | working
160 | B.P.apparatus dial model | C |  |  | 2011-02-17 | SOUTH INDIA SURGICALS CO LTD~CHENNAI | CVD | RCH | RCH-II/TNMSC/ENGG/7146/2010-11~DT-6.10.2010 |  | 614 | working
161 | B.P.apparatus dial model | C |  |  | 2011-02-01 | JUPITOR MTS WORKS CBE | STORE | RCH | RCH-II/TNMSC/ENGG/4538/2010-3~DT-6.10.2010 |  | 770 | working
162 | B.P.apparatus dial model | C |  |  | 2011-02-17 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | MATY WARD | RCH | RCH-II/TNMSC/ENGG/7141/2010-11~DT-6.10.2010 |  | 614 | working
163 | Laryngoscope(Adult) | C |  |  | 2011-02-01 | JUPITOR MTS WORKS CBE | AE | RCH | RCH-II/TNMSC/ENGG/4538/2010-3~DT-6.10.2010 |  | 770 | working
164 | Laryngoscope(Paediatric) | C |  |  | 2010-12-20 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | STORE | RCH | RCH-II/TNMSC/ENGG/4538/2010-7~D/T-06/12/2010 |  | 2400 | working
165 | Anesthesia apparatus with circle absorber | B2 |  |  | 2008-05-26 | MADRAS SURGICALS ~CHENNAI | MOT | TNMSC | 2394/NRHM~/TNMSC/2008~D/T-03/03/2008 |  | 130000 | working
166 | Ventilators (Adult) | B2 | SAVINA CAT268 |  | 2008-06-10 | MADRAS SURGICALS~CHENNAI | AE WARD | TNMSC | 2394/NRHM/TNMSC/2008~D/T-10/03/2008 |  | 722800 | working
167 | Multi Channel Pressure Monitor | B2 | ZD 120D |  | 2010-08-04 | MADRAS SURGICALSandamp;CHEMICALS~CHENNAI | NICU | RCH | RCH-II/ENGG/4539/2010-3~D/T-18/03/2010 | 2011-08-03 | 49500 | working
168 | Focus lamp Ordinary | C |  |  | 2010-12-29 | GENERAL SURGICAL COMPANY PLTD~ | FPOT | RCH | RCH-II/TNMSC/ENGG/4538/2010-2~D/T-06/10/2010 | 2011-12-29 | 19000 | working
169 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI |  | JDHS | 1068/s/2011/~JDHS VNR~D/T-27/06/2011 |  | 16500 | working
170 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SOURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS ~VNR ~D/T-27/06/2011 |  | 16500 | working
171 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
172 | Focus lamp Ordinary | C |  |  | 2010-12-29 | GENERAL SURGICAL COMPANY PLTD | FPOT | RCH | RCH-II/TNMSC/ENGG/4538/2010-2~D/T-06/10/2010 | 2011-12-28 | 19000 | working
173 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD ~CHENNAI |  | JDHS | 1068/S/2011 ~JDHS VNR~D/T-27/062011 |  | 16500 | working
174 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
175 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD ~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
176 | Laryngoscope(Paediatric) | C |  |  | 2010-12-20 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | CH WARD | RCH | RCH-II/TNMSC/ENGG/4538/2010-7~D/T-06/09/2010 |  | 2400 | working
177 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
178 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICALS CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
179 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011/JDHS~VNR~~D/T-27/06/2011 |  | 16500 | working
180 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS/VNR~D/T-27/06/2011 |  | 16500 | working
181 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
182 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
183 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL COLTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
184 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
185 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR ~D/T-27/06/2011 |  | 16500 | working
186 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUR WARDS | JDHS | 1068/S/2011/~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
187 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD ~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011 JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
188 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD ~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011 JDHS~VNR~D/T-27/062011 |  | 16500 | working
189 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD ~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011 JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
190 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S2011 JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
191 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD ~CHENNAI | VARIOUS WARDS | JDHS | 1068/S2011~JDHS~VNRD/T-27/06/2011 |  | 16500 | working
192 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
193 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~D/T-27/06/2011 |  | 16500 | working
194 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS/VNR/DT-27/06/2011 |  | 16500 | working
195 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDTS | JDHS | 1068/S/2011~JDHS/VNR~DT-27/06/2011 |  | 16500 | working
196 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS |  | 1068/S/2011~JDHS~VNR~DT27/06/2011 |  | 16500 | working
197 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~DT-27/06/2011 |  | 16500 | working
198 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~DT-27/06/2011 |  | 16500 | working
199 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS/VNR/DT-27/06/2011 |  | 16500 | working
200 | B.P.apparatus table model | C | D5BPDD |  | 2011-07-25 | SOUTH INDIA SURGICAL CO LTD ~CHENNAI | VARIOUS WARDS | JDHS | 1068/S/2011~JDHS~VNR~DT-27/06/2011 |  | 16500 | working
201 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-09-24 | SSK NADARandamp;BROTHERS~VNR | MM WARD | JDHS | 3875/S/12~JDHS~VNR~DT-07/09/2012 |  | 1200 | working
202 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-09-24 | SSK NADARandamp;BROTHERS~VNR | NICU | JDHS | 3875/S/12~JDHS~VNR~DT-07/09/2012 |  | 1200 | working
203 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-09-24 | SSK NADARandamp;BROTHERS~VNR | OP DEPT | JDHS | 3875/S/12~JDHS~VNR~DT-10/09/2012 |  | 1200 | working
204 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-09-24 | SSK NADARandamp;BROTHERS~VNR | FM WARD | JDHS | 3875/S/12~JDHS~VNR~DT-10/09/2012 |  | 1200 | working
205 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-09-24 | SSK NADARandamp;BROTHERS~VNR | FPOT | JDHS | 3875/S/12~JDHS~VNR~DT-10/09/2012 |  | 1200 | working
206 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-09-24 | SSK NADAR7andamp;BROYHERS~VNR | MOT | JDHS | 3875/S/12~JDHS~VNR DT-10/09/2012 |  | 1200 | working
207 | Glucometer | C | ONE TOUCH SELECT |  | 2012-09-24 | SSK NADARandamp;BROTHERS~VNR | MM WARD | JDHS | 3875/S/2012~JDHS~VNR~DT-07/09/2012 |  | 0 | working
208 | Glucometer | C | ONE TOUCH SELECT |  | 2012-09-24 | SSK NADARandamp;BROTHERS~VNR | F Sandamp;M S WARD | JDHS | 3875/S~2012~JDHS~VNR~DT-07/09/2012 |  | 0 | working
209 | Glucometer | C | ONE TOUCH SELECT |  | 2012-09-24 | SSK NADARandamp;BROTHERS~VNR | MATY WARD | JDHS | 3875/S/2012~JDHS~VNR~DT-07/09/2012 |  | 0 | working
27155381