## kariyapatti
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
District : VIRUDHUNAGAR
Institution : KARIAPATTI
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Manufacturer Name | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | working status
1 | Mannual Colposcope | C | ARI-II-1D |  | 2013-03-12 | ARI TECHNOLOGY(GROUP)CO-LTD.;CHINA | SOUTH INDIA SURGICAL CO -LTD | NCD VIA VILI ROOM | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 | 2013-03-12 | 2014-03-11 | 0 | working
2 | Ultra Sound Scanner - Portable | B2 | logiq p3 |  | 2009-09-11 | WIPRO GE HEALTH CARE |  | SCAN ROOM | TNHSP |  | 2009-09-11 |  | 688296 | working
3 | SEMI Auto analyser | B | Pretest touch |  | 2009-04-17 | ROBONIK(INDIA)PVT LTD | ROBONIK (INDIA)PVT LTD | LAB | TNHSP |  | 2009-04-17 |  | 0 | working
4 | Hot Air Oven/Hot Air Oven Digital/Digital Oven | C |  |  | 2009-08-04 |  | SOLOKRAFTS INDUSTRIES | LAB | TNHSP |  | 2009-08-04 |  | 11953 | working
5 | Binocular Mircroscope | B2 |  |  | 2009-08-04 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | LAB | TNHSP |  | 2009-08-04 |  | 18786 | working
6 | Electri centrifuger | C |  |  | 2012-01-14 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | CVD |  | TNHSP/TNMSC/AG29E/2011 | 2012-01-14 |  | 5345 | working
7 | Suction Apparatus - Foot operated | C |  |  | 2009-05-18 | VISHAL HOSPITAL FURNITURE | VISHAL HOSPITAL FURNITURE | WARD | TNHSP |  | 2009-05-18 |  | 36504 | working
8 | Incubator | B2 |  |  | 2009-08-04 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | LAB | TNHSP |  | 2009-08-04 |  | 11953 | working
9 | Auto Clave HP Vertical (2 bin) | C |  |  | 2009-08-05 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | OT | TNMSC | RCH-II/TNMSC/ENGG/E5/2009 | 2009-08-05 |  | 0 | working
10 | Syringe Pump | B |  |  | 2012-03-27 | MITI ELECTRONICS | MITI ELECTRONICS |  | TNHSP |  | 2012-03-27 |  | 39900 | working
11 | B.P.apparatus table model | C |  |  | 2012-02-18 |  | RECEIVED FROM MMC |  | OTHERS |  |  |  | 1275 | working
12 | ECG machine computerized | B |  |  | 2008-01-09 | LARSEN AND TUOBRO | LARSEN AND TOUBRO | WARD | OTHERS |  |  |  | 27810 | working
13 | Nebuliser Adult | C |  |  | 2012-02-18 |  | RECEIVED FROM MMC | WARD | OTHERS |  |  |  | 1185 | working
14 | Weighing machine adult | C |  |  | 2007-08-31 | JUPITER MANUFACTURING | JUPITER MANUFACTURING |  | TNHSP |  |  |  | 920 | working
15 | Nebuliser Adult | C |  |  |  | ASSOCIATED SURGICALS | ASSOCIATED SURGICALS | [5 empty] | 2200 | working
16 | Weighing machine adult | C |  |  | 2008-08-31 | JUPITER MANUFACTURING UNIT | JUPITER MANUFACTURING UNIT | WARD |  |  |  |  | 920 | working
17 | Binocular Mircroscope | B2 | BDI-13A |  | 2014-01-23 | M/S BDI Instrumentation(India) | SOLOKRAFTS INDUSTRIES CHENNAI-118 | MAIN STORE | TNHSP | TNHSP/TNMSC/AG87c/2013 DT 22-10-2013 | 2014-01-23 | 2015-01-17 | 39060 | working
18 | Pulse Oximeter | B2 | RAD8 | M70763 | 2014-04-25 | M/s Masimo Corporation | GRACE MFGandamp;TRADING CO(DELHI) New Delhi |  | TNMSC | RCH II/TNMSC/ENGG/E67/2014 | 2014-04-25 |  | 140695 | working
19 | PH meter | C | RPA-1GRTIOANPN | 1358 | 2014-04-12 | RLT INSTRUMENTATION PVT LTD | RLT INSTRUMENTATION PVT LTD |  | TNHSP | TNHSP/TNMSC/AG87b/2013-1 | 2014-04-12 |  | 57353 | working
20 | Electric Calorimeter | C | Pritest easy lab~Own make | PEL1631213RBK | 2014-03-17 | prietest easylab | M/s ROBONIK(INDIA)pvt Ltd | GENERAL LAB | TNHSP | TNHSP/TNMSC/AG87b/2013-2 DT 28-11-2013 | 2014-03-17 | 2015-03-16 | 20708 | working
21 | Water Bath/Ultrasonic Water Bath | C | SMII-143 |  | 2014-06-04 | JINDAL | SM SCIENTIFIC INSTRUMENTS PVT.LTD | STORE | TNHSP | TNHSP/TNMSC/AG87h(R)/2014 |  |  | 8427 | working
22 | Multi Para Monitor | B2 | G3D | G3DL60080 | 2014-06-27 | GENERAL MEDITECH INC~CHINA | TRANS HEALTH CARE INDIA PVT LTD |  | TNMSC | 17240/TNMSC/ENGG/2014-3 | 2014-06-27 | 2017-06-26 | 63000 | working
23 | Magnavision Lamp | C |  |  | 2011-03-12 | jupiter manufcturing industries coimbatore | jupiter manufcturing industries coimbatore |  | TNHSP |  | 2011-03-12 |  | 0 | working
24 | Electri centrifuger | C | bdi 152 |  | 2012-01-14 | BD instruments India | solografts industries |  | TNHSP | tnhsp/tnmsc/ag 29e | 2012-01-14 | 2015-01-14 | 5090 | working
25 | Cryo Theraphy Unit | B2 | cryo 004b on off super deluxe |  | 2012-01-14 | solokarafts industries~chennai | solokarafts industries~chennai | CVD | TNHSP | TNHSP/TNMS/AG30A/2011 | 2012-01-14 | 2013-01-13 | 23172 | working
26 | Magnavision Lamp | C | magnascope-ringlense |  | 2012-01-14 | solofrafts industries~surgical avenue first floor ~69~ MC Nicholas Road~ chetpet~ chennai | solofrafts industries~surgical avenue first floor ~69~ MC Nicholas Road~ chetpet~ chennai | cvd | TNHSP | tnhsp/tnmsc/icb/ag31/2011 | 2012-01-14 | 2012-01-13 | 6987 | working
27 | Generator | C | KE15 |  | 2013-09-18 | M/S.KOHLER INDIA CORPORATION PVT LTD | BHALIIVARADHA ELECTRO MECK PVT LTD |  | TNMSC | 10073/TNMSC/ENGG/2013-2 DT 02.07.2013 | 2013-09-18 |  | 410865 | working
28 | Blood Mixer/Blood Shaker | B2 | BDI149 |  | 2014-09-18 | B.D Instrumentation (India) | SOLOKRAFTS INDUSTRIES | LAB | TNMSC | TNHSP/TNMSC/AG87f(R)/2014-2 | 2014-09-18 | 2015-08-06 | 33810 | working
29 | radiant warmer | B | [9 empty] | 1950-01-06
30 | radiant warmer | B
31 | diathermy | B
32 | shadowless light | c
33 | shadowless light | c
34 | shadowless light | c
35 | Auto Clave HP Vertical (2 bin) | c
36 | operation table hydraulic | c
37 | operation table hydraulic | c
1656214