## Sheet1
BHOOTHAPANDY GH
S.No | Equipment Name | Category | Model | Serial Number | Date of Receipt | Manufacturer Name | Supplier Name | Location | Source of Supply | Purchase Order | Date of Installation | Warranty Valid Upto | Cost of the Item | Working Status
1 | Boyles Apparatus with Ventilator | B | Compact | AC2-0807-030 | 2007-09-16 | L&T | L&T | OT | TNHSP | TNHSP/TNMSC/ICB/2007/CE1 27/06/07 | 2007-09-16 |  | 280000 | Working
2 | Diathermy Machine | B | Electrosurge 250B | 447 | 2013-02-05 | Technomed Electronics | JMJ Surgicals | OT | Collector Fund |  | 2013-02-05 | 2014-01-05 | 24150 | Working
3 | Diathermy Machine | B | Elsy-360M+ | ASG-IM1406184 | 26/6/2014 | Alan Electronic System Pvt Ltd | JBS MEDITEC INDIA PVT LTD | OT | TNMSC | 17240/TNMSC/ENGG/2014-2 DT 16/5/14 | 26/6/2014 | 25/6/2017 | 218000 | Working
4 | ECG Machine | B | SE300B | SE300B5A0207C2573 | 31/1/08 | Edan Instruments | Madras Surgicals and Chemicals | OPD | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E12 28/11/07 | 31/1/2008 |  | 45750 | Working
5 | ECG Machine (Karungal) | B | SE300B | SE300B5A0207C2571 | 31/1/2008 | Edan Instruments | Madras Surgicals and Chemicals | OPD | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E12 28/11/07 | 31/1/2008 |  | 45750 | Working
6 | Shadowless lamp (blue)-1 | B | [5 empty] | Labour Ward |  |  |  |  | 13000 | Working
7 | Shadowless lamp (blue)-2 | B | [5 empty] | Labour Ward |  |  |  |  | 13000 | Working
8 | Shadowless light - 1 | B | Hospilite 1001 |  | 2008-01-25 | Hospitech Industries | Jupiter Manufacturing Works | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E17 30/10/07 | 2008-01-25 |  | 13220 | Working
9 | Shadowless light - 2 | B | Hospilite 1001 |  | 2008-01-25 | Hospitech Industries | Jupiter Manufacturing Works | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E17 30/10/07 | 2008-01-25 |  | 13220 | Working
10 | Shadowless light - 3 | B | Hospilite 1001 |  | 2008-01-25 | Hospitech Industries | Jupiter Manufacturing Works | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E17 30/10/07 | 2008-01-25 |  | 13220 | Working
11 | Shadowless light (blue) | B | [5 empty] | OT |  |  |  |  | 13000 | Working
12 | Syringe Pump | B | ST6000 | 319927/05 2011 | 21/10/2011 | Samtronic | Trans Health Care India Pvt Ltd | OT | TNHSP | TNHSP/TNMSC/ENGG/AG15/2011 1/7/2011 | 21/10/2011 |  | 43200 | Working
13 | Syringe Pump | B | ST6000 | 32088T/05 2011 | 21/10/2011 | Samtronic | Trans Health Care India Pvt Ltd | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/AG15/2011 1/7/2011 | 21/10/2011 |  | 43200 | Working
14 | Syringe Pump | B | 670 | 27699D/28 2010 | 21/8/2010 | Samtronic | Trans Health Care India Pvt Ltd | PW - NBSU | RCH | RCH-II/TNMSC/ENGG/E38/2010-1 DT 1/8/2010 | 21/8/2010 |  | 22464 | Working
15 | Baby Incubator | B2 | Nice 3010R | 07111092 | 9/12/2007 | Nice Neotech | Madras Surgicals and Chemicals | NBSU | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E3 11/09/07 | 2007-09-12 |  | 47880 | Working
16 | Binocular Microscope | B2 | BDI 13-A | 22124 | 14/1/2014 | BD Instrumentation | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG87C/2013 DT 22/10/2013 | 14/1/2014 | 13/1/2015 | 18600 | Working
17 | Binocular Microscope | B2 |  |  |  | Labotran |  | Lab |  |  |  |  | 18000 | Condemned
18 | Blood Bank Refrigerator | B2 | Haemosafe (TSI-120) |  |  | Thermoscientific |  | Blood Bank | TANSACS |  |  |  | 80000 | Working
19 | Cryotherapy Unit | B2 | Super Deluxe ON-OFF 004B |  | 17/4/2012 | BASCO India | Solokraft Industries | Labour Ward | TNHSP | TNHSP/TNMSC/AG30A/2011 4/10/11 | 17/4/2012 |  | 24331 | Working
20 | Defibrillator | B2 | TEC-5521K | 03085 | 6/2/2007 | Nihon Kohden Corporation | Trivitron | OT | TNHSP | TNHSP/TNMSC/ENGG/2006/CE7 25/10/06 | 2007-06-02 |  | 45880 | Working
21 | Defibrillator (AED) | B2 | Heart Start FRx | B12C-06098 | 2012-06-10 | Philips Medical Systems | Philips Medical systems | OPD | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 12/3/12 | 2012-06-10 | 2015-05-10 | 58690 | Working
22 | Double Puncture Laproscope with accessories | B2 | Endoskope | 821795S | 30/5/2007 | Karl Storz | Vishal Surgicals | OT | TNHSP | TNHSP/TNMSC/ICB/2006/CE2 12/12/06 | 30/5/2007 |  | 226200 | Working
23 | Hydraulic OT Table - 1 | B2 |  |  | 26/1/08 |  | Jupiter Manufacturing Works | OT | TNHSP |  | 26/1/2008 |  | 55120 | Working
24 | Hydraulic OT Table - 2 | B2 |  |  | 26/1/08 |  | Jupiter Manufacturing Works | OT | TNHSP |  | 26/1/2008 |  | 55120 | Working
25 | Manual Colposcope | B2 | ARI 11-ID | R20130120 | 16/2/2013 | ARI Technology Group Co Ltd China | South India Surgicals | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 21/4/12 | 16/2/2013 |  | 136500 | Working
26 | Multiparamonitor | B2 | Innoava 10 CIR | CI1302BJ05 | 2013-08-03 | Concept Integrations Pvt Ltd | Concept Integrations Pvt Ltd | Labour Ward | TNHSP | TNHSP/TNMSC/AG14/2012 21/11/2012 | 2013-08-03 |  | 57120 | Working
27 | Multiparamonitor | B2 | G3D | G3DL60058 | 28/6/2014 | General Meditech Inc | TRANS HEALTH CARE INDIA PVT LTD | Labour Ward | TNMSC | 17240/TNMSC/ENGG/2014-3 DT 16/5/2014 | 2014-03-07 | 2017-02-07 | 60000 | Working
28 | Multiparamonitor | B2 | G3D | G3DL60042 | 28/6/2014 | General Meditech Inc | TRANS HEALTH CARE INDIA PVT LTD | OT | TNMSC | 17240/TNMSC/ENGG/2014-3 DT 16/5/2014 | 2014-03-07 | 2017-02-07 | 60000 | Working
29 | Multiparamonitor | B2 | G3D | G3DL60074 | 28/6/2014 | General Meditech Inc | TRANS HEALTH CARE INDIA PVT LTD | OT | TNMSC | 17240/TNMSC/ENGG/2014-3 DT 16/5/2014 | 2014-03-07 | 2017-02-07 | 60000 | Working
30 | Multiparamonitor | B2 | XLMON | 06033 | 7/2/2007 | Silicon Labs Pvt Ltd | Silicon Labs Pvt Ltd | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/2006/Ce9 25/10/06 | 2007-07-02 |  | 70000 | Working
31 | Pulse Oximeter | B2 | Rad-8 | MF1925 | 2013-08-03 | Masimo Corporation | GRACE MFG. and TRADING CO. | Labour Ward | RCH | RCH-II/TNMSC/ENGG/E67/2014DT5/03/2014 | 30/12/2013 | 29/12/2018 | 68968 | Working
32 | Pulse Oximeter | B2 | Rad-8 | MF1663 | 2013-08-03 | Masimo Corporation | GRACE MFG. and TRADING CO. | Labour Ward | RCH | RCH-II/TNMSC/ENGG/E67/2014DT5/03/2014 | 30/12/2013 | 29/12/2018 | 68968 | Working
33 | Pulse Oximeter | B2 | Nonin 8600 | 104004854 |  | Nonin Medical Inc |  | PW - NBSU |  |  |  |  | 25000 | Working
34 | Pulse Oximeter | B2 | Stellar | S06P23851 | 28/7/06 | L&T | L&T | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/2006/E4 22/06/06 | 28/7/06 |  | 40514 | Working
35 | Pulse Oximeter - Adult | B2 | Futura Pleth | 06084 | 2/7/2007 | Silicon Labs Pvt Ltd | Silicon Labs Pvt Ltd | OPD | TNHSP | TNHSP/TNMSC/ENGG/2006/Ce9 25/10/06 | 2007-02-07 |  | 18500 | Working
36 | Pulse Oximeter - Adult | B2 | Stellar | S07P25164 | 2008-01-08 | L&T | L&T | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E9 dt 11/9/2007 | 2008-01-08 |  | 34762 | Working
37 | Pulse Oximeter - Adult | B2 | Futura Pleth | 06089 | 2/7/2007 | Silicon Labs Pvt Ltd | Silicon Labs Pvt Ltd | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/2006/Ce9 25/10/06 | 2007-02-07 |  | 18500 | Working
38 | Semiautoanalyser | B2 | Prietest Touch | AT0410807RBK | 7/9/2007 | Robonik (India) Pvt Ltd | Robonik (India) Pvt Ltd | Lab | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E4 19/09/07 | 2007-07-09 |  | 69422 | Working
39 | Semiautoanalyser | B2 | RX-50 | TN-10J078 |  | Microlab Instruments |  | Lab | RCH | RCH-11/TNMSC/ENGG/E38/2010-2 19-8-2010 |  |  | 45288 | Working
40 | Ultra Sound Scan - Portable | B2 | Logiq P3 | 56329WS6 | 25/6/09 | GE Health Care | Wipro GE | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/2009/P3E24 DT 5/20/2009 | 25/6/09 | Under AMC | 6,88,296 | Working
41 | Ventilator - Paediatric | B2 | Advent | ADSOX71508 | 21/5/07 | Erkadi Systems | Erkadi Systems | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/2006/CE3 29/12/06 | 21/5/07 |  | 508201 | Not Working
42 | X-Ray Machine (100 mA) | B2 | Nanophos 100 (Model:5348) | 81703 |  | Siemens |  | X-Ray dept |  |  |  |  | 200000 | Working
43 | Alpha Bed with Motor | C | Model G | G-24967 |  | Dynacare | Associated surgicals | Female Ward | DMS |  |  |  | 7760 | Working
44 | Alpha Bed with Motor | C | Model G | G-28283 |  | Dynacare | Associated surgicals | Female Ward | DMS |  |  |  | 7760 | Working
45 | Alpha Bed with Motor | C | 9P-047000 | K.S.P0701-04779 |  | Apex Medical Oasis 2000 | Jupiter Manufacturing Works | Female Ward | TNHSP |  |  |  | 6600 | Working
46 | Alpha Bed with Motor | C | Model G | G-28282 |  | Dynacare | Associated surgicals | Male Ward | DMS |  |  |  | 7760 | Working
47 | Autoclave | C | [5 empty] | Blood Bank |  |  |  |  | 15000 | Working
48 | Autoclave - Vertical | C |  |  |  |  | Jupiter Manufacturing Works | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E11 28/11/07 |  |  | 32000 | Working
49 | Autoclave - Vertical small | C |  |  |  | Yorco Industries | Vishal Hospital and Steel Manufacturing | OT |  |  |  |  | 25000 | Not Working
50 | Binocular Microscope-1 | C |  | BM/01 |  | MC Dalal |  | Blood Bank |  |  |  |  | 15000 | Working
51 | Binocular Microscope-2 | C |  | BM/02 |  | MC Dalal |  | Blood Bank |  |  |  |  | 15000 | Working
52 | BP Apparatus | C |  | RH0106512 |  | Disha |  | Female Ward |  |  |  |  | 350 | Condemned
53 | BP Apparatus | C | Regular | 8325472 |  | Namatt |  | Labour Ward |  |  |  |  | 500
54 | BP Apparatus | C |  | 054687 |  | Swan |  | Male Ward |  |  |  |  | 500 | Condemned
55 | BP Apparatus | C |  | RH0106517 |  | Disha Instruments & Surgical Industries |  | OPD |  |  |  |  | 350
56 | BP Apparatus | C | Deluxe | 1202004020557 |  | Diamond |  | OPD |  |  |  |  | 500
57 | BP Apparatus | C | Regular | 054322 |  | Namatt |  | OPD |  |  |  |  | 500
58 | BP Apparatus | C |  | 054663 |  | Swan |  | OPD |  |  |  |  | 500
59 | BP Apparatus | C |  | 054689 |  | Swan |  | OT |  |  |  |  | 500
60 | BP Apparatus | C | Regular | 054323 |  | Namatt |  | Paediatric Ward |  |  |  |  | 500
61 | BP Apparatus | C |  | 054808 |  | Swan |  | Store |  |  |  |  | 500
62 | BP Apparatus - Dial type | C | Diamond |  |  | Industrial Electronic and Allied Products |  | OT |  |  |  |  | 500
63 | BP Apparatus - Electronic | C | HEM-7120 | 20131014818VGI |  | Omron Health Care | Arockia Surgicals | Labour Ward | Local Purchase |  |  |  | 1300 | Working
64 | BP Apparatus - Electronic | C | HEM-7120 | 20131014814VG1 |  | Omron Health Care | Arockia Surgicals | OPD |  |  |  |  | 1300 | Working
65 | Bp Apparatus - Stand Model | C | [5 empty] | Labour Ward |  |  |  |  | 1000 | Working
66 | Bp Apparatus - Stand Model | C |  | 74407 |  | Namatt |  | Male Ward |  |  |  |  | 1000 | Working
67 | BP Apparatus (Store) | C |  | 054808 |  | Swan |  | OPD | [5 empty] | Condemned
68 | Cardiac Monitor | C | Micromon NxT | X07T0093 | 8/1/2008 | L&T | L&T | Female Ward | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E9 dt 11/9/2007 | 2008-08-01 |  | 27810 | Working
69 | Cardiac Monitor | C | Agenta | CLMC6J1835 |  | BPL |  | Male Ward | Via JDHS, from ambulance |  |  |  | 25000 | Working
70 | Cardiac Monitor | C | Orbit | S05040223 | 28/7/2006 | L&T | L&T | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/2006/E4 22/06/06 | 28/7/06 |  | 32426 | Working
71 | Centrifuge | C | MK-2304 |  |  | Optik |  | Blood Bank |  |  |  |  | 8000 | Working
72 | Centrifuge | C |  | CFC-318 |  | LTEK |  | Blood Bank |  |  |  |  | 8000 | Working
73 | Centrifuge | C | BDI-154 |  | 28/6/2014 | BD Instrumentation | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/ICB/P3A35/2009 28/1/09 | 28/6/2014 | 17/6/2015 | 10873 | Working
74 | Centrifuge (micro centrifuge) | C | RM12 | DELC-1818 |  | Remi Motors |  | Lab |  |  |  |  | 10000 | Working
75 | Centrifuge (multipurpose) | C | C8C | 09419 |  | Rajas Enterprises India |  | Blood Bank |  |  |  |  | 11000 | Working
76 | Domestic Refrigerator | C | ER190 | 71406037 |  | Electrolux |  | Lab | [5 empty] | Working
77 | Domestic Refrigerator | C | GL-225BED GS/2014 | 401PRCM053603 |  | LG |  | Labour Ward | Local Purchase |  |  |  | 12755 | Working
78 | Domestic Refrigerator | C | GL-195 NC5/2009 | 908NL7D001491 |  | LG |  | OPD | Local Purchase |  |  |  | 12755 | Working
79 | Domestic Refrigerator | C | GL-195 NC5/2010 |  |  | LG |  | OT | Local Purchase |  |  |  | 12755 | Working
80 | Electric Caloriemeter | C | NO-1000 |  |  | ALCO |  | Lab |  |  |  |  | 6000 | Working
81 | Foetal Doppler | C | FD9713N | DQTB4G11288 |  | BPL Medical Tech | JMJ Surgicals | Labour Ward |  |  |  |  | 8900 | Working
82 | Foetal Doppler | C | A100H | FD/01 | 15/11/2014 | AEON TECHNOLOGY (PVT) LTD | MEDI WAVES INC | Labour Ward | TNMSC | 17240/TNMSC/ENGG/2014 DT 16/5/2014 | 15/11/2014 | 15/11/2017 | 4650 | Working
83 | Foetal Doppler | C | A100H | FD/02 | 15/11/2014 | AEON TECHNOLOGY (PVT) LTD | MEDI WAVES INC | Labour Ward | TNMSC | 17240/TNMSC/ENGG/2014 DT 16/05/2014 | 15/11/2014 | 15/11/2017 | 4650 | Working
84 | Glucometer | C |  | BFH816ACZ |  | Life Scan Inc |  | Labour Ward |  |  |  |  | 2000 | Working
85 | Haemoglobinometer | C | BDI-E55 |  | 2/10/2011 | BD Instrumentation | Solokraft Industries | Lab | RCH | RCH-11/TNMSC/ENGG/4538/2010-8 /6/10/2010 | 2011-02-10 | 2012-01-10 | 4300 | Working
86 | Haemoglobinometer | C | BDI-56 | 2014014 |  | BD Instrumentation | Solokraft Industries | Lab |  |  | 2014-06-11 | 2015-05-11 | 5000 | Working
87 | Horizontal Autoclave | C | BZ182 | 081 | 2/2/2010 | BD Instrumentation | Solokraft Industries | OT | RCH | RCH/TNMSC/ENGG/18/09/08 | 1/2/2011` |  | 137280 | Working
88 | Ice Lined Refriferator (ILR) | C | MK144 | 90411668 |  | Venfrost Denmark |  | OPD | [5 empty] | Working
89 | Incubator | C |  |  |  | MC Dalal |  | Blood Bank |  |  |  |  | 11000 | Working
90 | Infusion Pump | C | Trifusa | TF00350 | 2007-01-03 | Trivitron Medical Technologies | Trivitron Medical Technologies | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/2006/CE7 25/10/06 | 2007-01-03 |  | 21882 | Working
91 | Infusion Pump | C | Infu400 | E03060379 | 20/3/2007 | Akas Medicals | Akas Medical Equipments | Labour Ward |  |  |  |  | 50572 | Working
92 | Infusion Pump | C | Evadrop MP-1000 | MP1ALH216 | 4/11/2012 | Schiller India Ltd | Schiller India Ltd | PW - NBSU | TNHSP | TNHSP/TNMSC/AG16/2010 1/7/2011 | 2012-04-11 |  | 26418 | Working
93 | Laryngoscope with 2 blades | C | [5 empty] | Female Ward |  |  |  |  | 3000 | Working
94 | Laryngoscope with 2 blades | C | [5 empty] | OT |  |  |  |  | 3000 | Working
95 | Laryngoscope with 2 blades-1 | C | [5 empty] | PW - NBSU |  |  |  |  | 3000 | Working
96 | Laryngoscope with 2 blades-2 | C |  |  |  | SISCO |  | PW - NBSU |  |  |  |  | 3000 | Working
97 | Laryngoscope with 3 blades | C |  |  |  | NIVIA |  | Female Ward |  |  |  |  | 3000 | Working
98 | Laryngoscope with 3 blades | C | [5 empty] | OT |  |  |  |  | 3000 | Working
99 | Laryngoscope with 4 blades | C | [5 empty] | OPD |  |  |  |  | 3000 | Working
100 | Laryngoscope with 4 blades | C | [5 empty] | OT |  |  |  |  | 3000 | Working
101 | Laryngoscope with 4 blades-1 | C | [5 empty] | Male Ward |  |  |  |  | 3000 | Working
102 | Laryngoscope with 4 blades-2 | C | [5 empty] | Male Ward |  |  |  |  | 3000 | Working
103 | Magnavision Lamp (Ring Lens System)-1 | C | 8008 |  |  | Sparx Magnifier | Jupiter Manufacturing Works | Labour Ward | NRHM | 04R/NRHM/TNMSC/ENGG/2011DT.12.02.2011 |  |  | 4576 | Working
104 | Magnavision Lamp (Ring Lens System)-2 | C | Magnascope |  | 17/4/12 | Lensel Optics Pvt Ltd | Solokraft Industries | Labour Ward | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 19/10/11 | 17/4/2012 |  | 7337 | Working
105 | Nebuliser | C | EC-7011 | 0631308 |  | Easy Care |  | CMCHIS ward |  |  |  |  | 2000 | Working
106 | Nebuliser | C | Handy Neb | NGM159061 |  | Nulife Global Medical Devices Pvt Ltd |  | OPD |  |  |  |  | 1500 | Working
107 | Nebuliser | C | Handy Neb | NGM159053 |  | Neulife Global Medical Devices |  | Paediatric Ward |  |  |  |  | 1500 | Working
108 | Needle Destroyer | C |  | 1753 |  | Microsil |  | Blood Bank |  |  |  |  | 1050
109 | Needle Destroyer | C |  |  |  | MSSC |  | Female Ward |  |  |  |  | 1050
110 | Needle Destroyer | C |  |  |  | MSSC |  | Lab |  |  |  |  | 1050
111 | Needle Destroyer | C |  |  |  | MICO |  | Labour Ward |  |  |  |  | 1050
112 | Needle Destroyer | C | [5 empty] | Male Ward |  |  |  |  | 1050
113 | Needle Destroyer | C |  |  |  | MSSC |  | OPD |  |  |  |  | 1050 | Condemned
114 | Opthalmoscope | C |  |  |  | Welch Allyn |  | OPD | TNHSP | 69/TNHSP/TNMSC/ENGG/2005/De8 1/7/06 |  |  | 4584 | Working
115 | Otoscope | C | [5 empty] | OPD | TNHSP | 69/TNHSP/TNMSC/ENGG/2005/E9 25/7/06 |  |  | 398.75 | Working
116 | PH Meter | C | RPA-1GRTIOANPN | 1121 | 7/4/2014 | RLT Instrumentation | RLT Instrumentation | Lab | TNHSP | TNHSP/ TNMSC/AG 87B/2013-1 DATE 20/11/2013 | 2014-07-04 | 2015-06-04 | 57353 | Working
117 | Phototherapy Unit | C | Nice 4000CFL | 0612432 | 26/11/07 | Nice Neotech | Madras Surgicals and Chemicals | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/2006/CE8 25/10/06 | 26/11/07 |  | 12062 | Working
118 | Phototherapy Unit | C | Nice 4000CFL | 0612433 | 26/11/07 | Nice Neotech | Madras Surgicals and Chemicals | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/2006/CE8 25/10/06 | 26/11/07 |  | 12062 | Working
119 | Phototherapy Unit | C | Nice 4000CFL | 0612430 | 26/11/07 | Nice Neotech | Madras Surgicals and Chemicals | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/2006/CE8 25/10/06 | 26/11/07 |  | 12062 | Working
120 | Radiant Warmer | C | Nice 2007S | 0711113 | 12/7/2007 | Nice Neotech | Madras Surgicals and Chemicals | Labour Ward | TNHSP | TNHSP/TNMSC/P2E10/2007 19/9/2007 | 12/7/2007 |  | 17680 | Working
121 | Radiant Warmer | C | Nice 2000B | 0612445 | 1/13/07 | Nice Neotech | Madras Surgicals and Chemicals | OT | TNHSP | TNHSP/TNMSC/ENGG/2006/CE8 25/10/06 | 1/13/07 |  | 19680 | Working
122 | Radiant Warmer | C | Nice 2000B | 0612440 | 1/13/07 | Nice Neotech | Madras Surgicals and Chemicals | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/2006/CE8 25/10/06 | 1/13/07 |  | 19680 | Working
123 | Radiant Warmer | C | Nice 2000B | 0607326 | 1/13/07 | Nice Neotech | Madras Surgicals and Chemicals | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/2006/CE8 25/10/06 | 1/13/07 |  | 19680 | Working
124 | Radiant Warmer | C | Nice 2000B | 0612437 | 1/13/07 | Nice Neotech | Madras Surgicals and Chemicals | PW - NBSU | TNHSP | TNHSP/TNMSC/ENGG/2006/CE8 25/10/06 | 1/13/07 |  | 19680 | Working
125 | Rotary Shaker | C | BDI-149 | 2014080898 | 2014-07-06 | BD Instruments | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG87® dt 19/8/14 | 2014-08-11 | 2015-07-11 | 32200 | Working
126 | Spot Light | C | [5 empty] | OPD |  |  |  |  | 5000 | Working
127 | Spot Light - 1 | C | [5 empty] | Store | [5 empty] | Condemned
128 | Spot Light - 2 | C | [5 empty] | Store | [5 empty] | Condemned
129 | Spot Light - 3 | C | [5 empty] | Store | [5 empty] | Condemned
130 | Staturemeter | C | [5 empty] | OPD
131 | Steriliser - Small | C |  |  | 29/9/06 |  | Jupiter Manufacturing Works | Female Ward | TNHSP | TNHSP/TNMSC/ENGG/E10/06 dt 26/6/06 | 29/9/06 |  | 1700 | Working
132 | Sterilizer - Big | C |  |  | 27/5/08 |  | Jupiter Manufacturing Works | OPD | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E20 30/10/07 | 27/5/08 |  | 1630 | Working
133 | Suction Apparatus | C | YuyuE7A -23D |  | 14/2/08 | JIANGSU YUYUE MEDICAL EQUIPMENT7 supply co ltd | Vin Biotech | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E18 30/10/07 | 14/2/08 |  | 4313 | Working
134 | Suction Apparatus | C | Surgi Craft |  | 14/12/06 |  | Jupiter Manufacturing Works | OPD | TNHSP | TNHSP/TNMSC/ENGG/2006/CE11 19/09/06 | 14/12/06 |  | 4585 | Working
135 | Suction Apparatus | C | Surgi Craft |  | 14/12/06 |  | Jupiter Manufacturing Works | OT | TNHSP | TNHSP/TNMSC/ENGG/2006/CE11 19/09/06 | 14/12/06 |  | 4585 | Working
136 | Suction Apparatus | C |  |  |  | Pilot |  | PO Ward |  |  |  |  | 4500 | Working
137 | Suction Apparatus | C | [5 empty] | PW - NBSU |  |  |  |  | 4500 | Working
138 | Suction Apparatus | C |  |  |  | Pilot |  | PW - NBSU |  |  |  |  | 4500 | Working
139 | Suction apparatus - 1 | C |  |  | 14/12/06 | Surgicraft | Jupiter Manufacturing Works | Female Ward | TNHSP | TNHSP/TNMSC/ENGG/2006/CE11 19/09/06 | 14/12/06 |  | 4585 | Working
140 | Suction apparatus - 2 | C |  |  | 14/12/06 | Surgicraft | Jupiter Manufacturing Works | Female Ward | TNHSP | TNHSP/TNMSC/ENGG/2006/CE11 19/09/06 | 14/12/06 |  | 4585 | Working
141 | Suction Apparatus (Blue) | C | [5 empty] | Store | [5 empty] | Condemned
142 | Suction Apparatus (grey) | C | [5 empty] | Male Ward |  |  |  |  | 4500 | Working
143 | Suction Apparatus-1 | C | [5 empty] | Labour Ward |  |  |  |  | 4500 | Working
144 | Suction Apparatus-1 | C |  |  | 14/2/08 | JIANGSU YUYUE MEDICAL EQUIPMENT7 supply co ltd | Vin Biotech | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E18 30/10/07 | 14/2/08 |  | 4313 | Working
145 | Suction Apparatus-2 | C | [5 empty] | Labour Ward |  |  |  |  | 4500 | Working
146 | Suction Apparatus-2 | C |  |  | 14/2/08 | JIANGSU YUYUE MEDICAL EQUIPMENT7 supply co ltd | Vin Biotech | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E18 30/10/07 | 14/2/08 |  | 4313 | Working
147 | Water Bath | C |  |  |  | yorco |  | Blood Bank |  |  |  |  | 4500 | Working
148 | Weighing Scale - Adult | C | Krups |  |  | Doctor Beli Ram & Sons |  | Labour Ward |  |  |  |  | 1500 | Working
149 | Weighing Scale - Adult | C | Krups |  |  | Doctor Beli Ram & Sons |  | Male Ward |  |  |  |  | 1500 | Working
150 | Weighing Scale - Adult | C | Krups |  |  | Doctor Beli Ram & Sons |  | OPD |  |  |  |  | 1500 | Working
151 | Weighing Scale - Baby | C | Crown |  |  | Ramon Surgical Co |  | OPD |  |  |  |  | 1500 | Working
152 | Weighing Scale - Baby Analog | C | Braun |  |  | Docbel |  | Labour Ward |  |  |  |  | 1500 | Working
153 | Weighing scale - Baby Electronic | C | Nakshatra | 0812206 |  | Rudraksha Technologies |  | Labour Ward |  |  |  |  | 10000 | Working
154 | Weighing Scale - Baby Electronic (White) | C | [5 empty] | PW - NBSU |  |  |  |  | 10000 | Working
3947387.75