## Sheet1
ARUMANAI GH
S.No | Equipment Name | Category | Model | Serial Number | Date Of Receipt | Manufacturer name | Supplier Name | Location | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Boyles Apparatus | B | Basic | 0758/80 | 2008-11-14 | IOL |  | OT | DMS |  | 2008-11-14 |  | 50000 | Working
2 | Diathermy | B | Elsy-360M+ | AGM+1406190 | 2014-06-27 | Alan Electronic System Pvt Ltd | JBS MEDI TECH INDAI PVT | OT | TNMSC | 17240/TNMSC/ENGG/2014-2 DATED 16/05/2014 | 2014-07-25 | 2015-06-25 | 2280000 | Working
3 | ECG Machine Computerised | B | SE3 | 309035-M11801710029 | 2011-10-18 | EDAN INSTRUMENT | MADRAS SURGICALS | MALE WARD | TNHSP | TNHSP/TNMSC/ENGG/AG27/2011 DT4/7/2011 | 2011-10-18 |  | 36637 | Working
4 | Scan Machine | B | Sonata | N03S6544 | 2010-01-04 | L&T | L&T | Scan Room | DMS |  | 2010-01-04 |  | 270000 | Working
5 | Shadowless Light | B |  |  | 2009-03-03 | jupiter | JUPITER MANUFACTURING WORKS | OT | DMS | 47975/Sandamp;P/1/2008 DT 4/2/09 | 2009-03-03 |  | 26000 | Working
6 | Shadowless Light (4 eye) | B |  | SL/02 | 2009-03-03 | jupiter | jupiter manufacturiiiing works | OT | DMS | 47975/Sandamp;P/1/2008 DT 14/2/09 | 2009-03-03 |  | 26000 | Working
7 | Binocular Microscope | B2 | MLW | Batch No: 320008:980715 |  | MLW |  |  | RNTCB |  |  |  | 20000 | Working
8 | Binocular Microscope | B2 | BDI 13A | 22409 | 29/1/14 | BD INSTRUMENTATION (INDIA) | SOLORKRAFTS | LAB | TNMSC | TNHSP/TNMSC/AG87C/2013 DT 22/10/2013 | 29/5/14 | 28/5/15 | 18600 | Working
9 | Cryotherapy Unit | B2 | Super Deluxe ON-OFF 004B |  | 2012-04-21 | BASCO INDIA~ CHENNAI | SOLOKRAFT INDUSTRIES | MAIN STORE | TNHSP | TNHSP/TNMSC/AG30A/2011 DT 14/10/2011 | 2012-04-21 | 2013-04-20 | 23172 | Working
10 | Hydraulic Table | B2 | Vibash | OT/01 | 2006-11-21 |  | Vibash Coimbatore Surgicals | OT | TNHSP | 69/TNHSP/TNMSC/ENGG/2005/E11 | 2006-11-21 |  | 58873 | Working
11 | Hydraulic Table | B2 | Vibash | OT/02 | 2006-11-18 | vibash | vibash | OT | TNHSP | 69/TNHSP/TNMSC/ENGG/2005/E11 | 2006-06-21 |  | 33344 | Working
12 | Manual Colposcope | B2 | ARI 11-1D | R20130228 | 2013-03-04 | ARI TECHNOLOGY (GROUP) CO LTD | SOUTH INDIA SURGICAL CO LTD | LABOUR WARD | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 DT 21/4/2012 | 2013-03-13 | 2014-03-12 | 130000 | Working
13 | Multiparamonitor | B2 | G3D | G3DH60122 | 2014-10-24 | GENERAL MEDITECH INC | TRANS HEALTH CARE INDIA PVT LTD | OT | TNHSP | TNHSP/TNMSC/AG88/2014 DT 21/06/2014 |  | 2015-11-26 | Rs 60,300 | Working
14 | Pulse Oximeter | B2 | Cleo | CMMB6K1365 |  | BPL | via JDHS |  | DMS |  |  |  | 0 | Working
15 | Semiautoanalyser | B2 | Prietest Touch | AT0580314RBK | 3/27/14 | Robonik (India) Pvt Ltd | Robonik (India) Pvt Ltd | Lab | TNMSC | 10072/TNMSC/ENGG/2013 5/3/2014 TNHSP/TNMSC/ENGG/AG/874/2013 27/4/13 | 2014-03-27 | 2017-03-26 | 50343 | Working
16 | Semiautoanalyser | B2 | Prietest Touch | AT1121013RBK | 3/27/14 | Robonik (India) Pvt Ltd | Robonik (India) Pvt Ltd | Lab | TNMSC | 10072/TNMSC/ENGG/2013 5/3/2014 TNHSP/TNMSC/ENGG/AG/874/2013 27/4/13 | 2014-03-27 | 2017-03-26 | 50343 | Working
17 | Alpha bed with motor | C | 9P-047040 Oasis 1000 | K.S.N0701-05325 |  | Apex |  | Ward |  |  |  |  | 6600 | Working
18 | Baby Weighing Scale - Analog | C |  |  |  | Braun |  | Labour Room |  |  |  |  | 1500 | Working
19 | BP Apparatus | C |  | CE 0483 |  | Bio-Plus |  | NCD OPD |  |  |  |  | 1350 | Working
20 | BP Apparatus | C | Deluxe | 1202008082618 |  | Diamond |  | OT |  |  |  |  | 1350 | Working
21 | BP Apparatus | C | MSI | 277343 |  | Elite Surgical Industries |  | Speciality OP |  |  |  |  | 1350 | Working
22 | BP Apparatus | C | Deluxe | 40312 |  | Diamond |  | Ward |  |  |  |  | 1350 | Working
23 | Cardiac Monitor | C | Micromon Nxt | X07T0077 | 2008-01-10 | L&T | L&T | O.T. | TNHSP |  |  |  | Rs 31,200 | Working
24 | Centrifuge | C | BDI-152 | 2011503 | 2012-04-21 | BD INSTRUMENTATION (INDIA) | SOLOKRAFT INDUSTRIES | MAIN STORE | TNHSP | TNHSP/TNMSC/AG29E/2011 DT 04-10-2011 | 2012-04-21 | 2015-04-20 | 5090 | Working
25 | Centrifuge (old) | C | [5 empty] | lab |  |  |  |  | 5000 | Working
26 | Foetal Doppler | C | Neodop |  |  | Reksonic Instruments |  | Labour Room |  |  |  |  | 4500 | Working
27 | Fumigator | C | [5 empty] | OT |  |  |  |  | 5000 | Working
28 | Glucometer | C | Microdot | 00120998 |  | Cambridge Sensors Limited |  | Lab |  |  |  |  | 2000 | Working
29 | Haemocytometer (counting chamber) | C |  |  |  | Naubauer |  | Lab |  |  |  |  | 3000 | Working
30 | Haemoglobinometer | C | Sahli |  |  | Superior Made in W-Germany |  | Lab |  |  |  |  | 4000 | Working
31 | Infusion Pump | C | Infu300 | E03070421 | 2007-03-20 | AKASH | AKASH | WARD | DMS | 103928/S&P/1/2006 dt 28/2/2007 | 2007-03-20 |  | 25376 | Working
32 | Laryngoscope with 3 blades | C | [5 empty] | Ward |  |  |  |  | 3000 | Working
33 | Laryngoscope with 4 blades | C | [5 empty] | ward |  |  |  |  | 3000 | Working
34 | Magnavision Lamp | C | 8008 |  | 2011-05-10 | HARDIK MEDI-TECH | JUPITER MANUFACTURING WORKS | LABOUR WARD | OTHERS | 04R/NRHM/TNMSC/ENGG/2011 DT 12-2-2011 | 2011-05-10 | 2014-05-09 | 4400 | Working
35 | Monocular Microscope | C | XI-14 |  |  | Beck Kassel |  | Lab |  |  |  |  | 15000 | Working
36 | Nebuliser | C | MCN-S600C (MediNorm) | Lot No: 0341210 |  | Shree Balaji Surgical Pvt Ltd |  | Injection Room |  |  |  |  | 1500 | Working
37 | Nebuliser | C | Aero | 1100989 |  | Hemant Surgical Industries |  | Inpatient Admission centre |  |  |  |  | 1500 | Working
38 | Needle Destroyer | C |  | 9266 |  | Reprospaark |  | Injection Room |  |  |  |  | 1500 | Working
39 | Needle Destroyer | C |  | 9265 |  | Reprospaark |  | Lab |  |  |  |  | 1500 | Working
40 | Needle Destroyer | C |  | 9261 |  | Reprospaark |  | Lab |  |  |  |  | 1500 | Working
41 | Otoscope | C | [5 empty] | Ward |  |  |  |  | 374 | Working
42 | PH Meter | C | RPA-1GRTIOANPN | 1120 | 2014-04-05 | RLT INSTRUMENTATION | RLT INSTRUMENTATION | Lab | TNHSP | TNHSP/ TNMSC/AG 87B/2013-1 DATE 20/11/2013 | 2014-04-05 | 2015-04-04 | 57353 | Working
43 | Photocalorimeter | C | 1311 | 0704092 |  | Esico |  | Lab |  |  |  |  | 8000 | Working
44 | Phototherapy Unit | C | Nice 4000PT | 0607268 | 2006-08-08 | Nice Neo Tech | Madras Surgicals andamp; Chemicals | Labour Room | TNHSP |  | 2006-08-08 |  | 9900 | Working
45 | Phototherapy Unit | C | Nice 4000CFL | 0711944 | 2007-12-12 | Nice Neo Tech | Madras Surgicals andamp; Chemicals | Labour Room | TNHSP | TNHSP/TNMSC/P2E10/2007 DT 19/11/07 | 2007-12-12 |  | 10260 | Working
46 | Radiant Warmer | C | Nice 2000B | 0607325 | 2006-08-08 | Nice Neo Tech | Madras Surgicals | Labour Room | TNHSP | TNHSP/TNMSC/ENGG/CE8/2006 26/10/06 |  |  | 19680 | Working
47 | Radiant Warmer | C | Nice 2007S | 07111021 | 2007-12-12 | Nice Neo Tech | Madras Surgicals andamp; Chemicals | Labour Room | TNHSP | TNHSP/TNMSC/P2E10/2007 19/9/2007 | 2007-12-12 |  | 17680 | Working
48 | Refrigerator - Domestic | C | R290 | 0020846 |  | Godrej |  | Injection Room |  |  |  |  | 10000 | Working
49 | Refrigerator - Domestic | C | DC230/5S/2014 Ice magic | INC140211736 |  | Whirlpool |  | Lab |  |  |  |  | 10000 | Working
50 | Refrigerator - Domestic | C | FF23C/2009 Master Mind | INA090403070 |  | Whirlpool |  | Scan Room |  |  |  |  | 10000 | Working
51 | Ring Lens System | C | Magnascope |  |  | Lensel Optics Pvt Ltd | Solokraft Industries | NCD Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 19/10/11 | 21/4/12 | 2013-10-04 | 7337 | Working
52 | Shadowless Light (Blue) | C |  | SL/03 | 2009-06-24 |  | GENERAL SURGICAL COMAPNY | OT | DMS | 51190/Sandamp;P/1/2008 DT 10/11/2008 | 2009-06-26 |  | 5425 | Working
53 | Steriliser Medium | C | [5 empty] | NCD OPD |  |  |  |  | 2250 | Working
54 | Steriliser Medium | C | [5 empty] | OT |  |  |  |  | 2250 | Working
55 | Sterilizer Large | C |  | SL/01 |  |  |  | Inpatient Admission centre |  |  |  |  | 1700 | Working
56 | Sterilizer Large | C |  | Sl/02 |  |  |  | Inpatient Admission centre |  |  |  |  | 1700 | Working
57 | Sterilizer Large | C |  | SL/03 |  |  |  | Inpatient Admission centre |  |  |  |  | 1700 | Working
58 | Sterilizer Medium | C |  | SM/01 |  |  |  | Inpatient Admission centre |  |  |  |  | 2250 | Working
59 | Sterilizer Medium | C | [5 empty] | NCD |  |  |  |  | 2250 | Working
60 | Suction Apparatus | C | [5 empty] | Injection Room |  |  |  |  | 4400 | Working
61 | Suction Apparatus | C | True Vac |  |  | Goley |  | Inpatient Admission centre |  |  |  |  | 4400 | Working
62 | Suction Apparatus | C | [5 empty] | Labour Room |  |  |  |  | 4400 | Working
63 | Suction Apparatus | C |  |  |  | YuyuE7A -23D |  | OT |  |  |  |  | 4400 | Working
64 | Suction Apparatus | C |  |  |  | YuyuE7A -23D |  | OT |  |  |  |  | 4400 | Working
65 | Suction Apparatus (BLUE) | C | [5 empty] | Inpatient Admission centre |  |  |  |  | 4400 | Working
66 | Vertical Autoclave | C | 16*24 |  |  |  |  | OT |  |  |  |  | 33000 | Working
67 | Vertical Autoclave - 2 bins | C | 16*24 (400*600mm) | 611 |  | Solokraft Industries |  | OT |  |  |  |  | 33000 | Working
68 | Vertical Autoclave - 2 bins | C | 16*24 (400*600mm) | 496 |  | Solokraft Industries |  | OT |  |  |  |  | 33000 | Working
69 | Water Bath | C | SMI 143 | WB/01 |  | Jindal |  | Lab |  |  |  |  | 5000 | Working
70 | Weighing Scale Adult | C |  |  |  | Kohinoor |  | NCD OPD |  |  |  |  | 1500 | Working
71 | Weighing Scale Adult | C | Victoria DX |  |  | Ramon Surgical Co |  | OPD |  |  |  |  | 1500 | Working
72 | Weighing Scale Adult | C | Prestige |  |  | Hardik Medi Tech |  | Ward |  |  |  |  | 1500 | Working
73 | Nebuliser |  | MCN-S600C (MediNorm) |  |  | Shree Balaji Surgical Pvt Ltd |  | IP Ward |  |  |  |  | 1500 | Working
3490187