## Sheet1 (2)
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
| Ultrasound scan | B2 | L&T/Sonata | 356507 | 23.3.2009 | Larsen and toubro | Scan room | DMS |  | 13.12.2010 | 22.3.2010 | 277366 | Not working
| ECG Machine | B2 | EDAN SE300 |  | 21.11.2008 | TNHSP | ECG room | TNHSP | Transferred from Kumbakonam | 21.11.2008 | 20.11.2009 | 43860 | working
| Xray machine 100mA | B2 | GE-Genius 100 |  | 15.7.1999 | GE | X-Ray room | DMS |  | 15.7.1999 | 14.7.2000 | 126500 | working
| Cell counter / Hematology Analyzer | B2 | Transasia/ touch65 lite |  | 9.12.2014 | Tranasia | LAB | DMS | 78217/S&P/1/2013 | 9.12.2014 | 8.12.2017 | 395200 | working
| Master Dental Unit | B | Confident |  | 17.12.2007 | Confident | Dental OP | DMS |  | 17.12.2007 | 16.12.2008 | 117000 | working
| Electric Calorimeter | B | Easy lab | 0851213RBK | 16.3.2014 | Robonik | LAB | TNHSP | TNHSP/TNMSC/AG87B/2013 | 26.3.2014 | 25.3.2015 | 20302 | working
| Radiant warmer | B2 | Pheonix/OCW100 |  | 29.3.1996 |  | LW | IPPV |  | 29.3.1996 | 28.3.1997 | 18000 | working
| Feotal Doppler | B | FHR100 |  | 25.8.2003 | Associated surgicals | LW | DMS |  | 25.8.2003 | 24.3.2009 | 20500 | working
| Manual Colposcope | B | ARI II-D |  | 21.9.2013 | South India Surgicals | Colposcopy room | TNHSP / recd from GH-Valayapatti | TNHSP/TNMSC/ENGG/AG30/2011-21.4.2012 | 21.9.2013 | 20.9.2015 | 130000 | working
| Binocular Microscope | B2 | BDI-13A |  | 22.1.2014 | BDI-instrumentation | LAB | TNHSP | TNHSP/TNMSC/AG87c/2013 | 22.1.2014 | 21.1.2015 | 18600 | working
| Ph Meter | B | RPA- | 1209 | 9.6.2014 | RLT Instrumentation | LAB | TNHSP | TNHSP/TNMSC/AG87B/2013-1 | 9.6.2014 | 8.6.2015 | 57353 | working
| Infusion Pump | B | Akas infu300 |  | 21.7.2007 | Akas medical pvt ltd | LW | DMS |  | 21.7.2007 | 20.7.2008 | 47491 | working
| Semi auto analyser | B | PRETEST TOUCH |  | 20.4.2009 | Robonik | LAB | TNHSP |  | 20.4.2009 | 19.4.2010 | 44000 | working
1316172