## GH Cheyyur
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 4.3.2008 to 4.3.2015
District : Kancheepuram
Institution : GH Cheyyur
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Auto Clave HP Vertical (2 bin) | C | Electrical |  | 2008-02-28 | Jupiter Manufacturing Works | Dental OP | TNHSP |  | 2008-02-28 | nil | 33000 | Working
2 | Auto Clave HP Vertical (2 bin) | C | Electrical |  |  | Jupiter Manufacturing Works | Dental OP | DMS |  |  | nil | 33000 | Working
3 | Auto Clave HP Vertical (2 bin) | C | Electrical |  |  | Jupiter Manufacturing Works | Ward | DMS |  |  | nil | 33000 | Working
4 | Boyles apparatus | B |  |  | 1996-03-24 | IOL | GH Kanchee | DMS |  | 1996-03-24 | nil | 10692 | Working
5 | AED | B2 | Philips / Heart Stat FRx |  | 2012-08-30 | Madras Surgicals and Chemicals | Male Ward | TNHSP |  |  | yes | 58696 | Working
6 | Baby Incubator | C | 3010R |  | 2008-01-30 | Madras Surgicals and Chemicals | Ward | TNHSP |  | 2008-01-30 | nil | 47880 | Working
7 | Refrigerator | C | Electrolux |  | 2008-02-22 | Davey Pharma | Store | TNHSP |  | 2008-02-22 | nil | 10000 | Working
8 | Dental Chair | B2 |  |  | 2008-12-12 | S.S. Chemicals | Dental OP | TNHSP |  |  | 2009-12-11 | 0 | Working
9 | Cell Counter | B2 | POCH 100I | F2904 | 2013-02-21 | Transasia Biomedicals | lab | TNMSC | 2630/TNMSC/ENGG/2012 | 2013-02-21 | 2016-02-20 | 285120 | Working
10 | X-ray Machine 100 mA | B2 | 5201 calimak | 17097 |  |  | X-RAY ROOM |  |  | 1996-07-12 | 1997-07-11 | 117000 | Working
11 | Centrifuge | C | BDI-152 | 20111889 | 2012-01-14 | SOLOKRAFTS | LAB | TNHSP | TNHSP/TNMSC/AG29E/2011 | 2012-01-14 | 2015-01-13 | 5344 | Working
12 | IR Lamp | C | Table Model |  | 2012-08-02 | Harish Enterprises | Physiotheraphy Dept | OTHERS |  |  | 2013-08-01 | 800 | Working
13 | Photo Calorie Meter - Analog / Digital | C | Digital | 1521867 | 2012-06-05 | Padmasri Marketing | Lab | PPP |  | 2012-06-05 | 2013-06-04 | 8000 | Working
14 | Magnavision Lamp | C |  |  | 2009-10-13 | SABERWAL SURGICALS | NCD CLINIC | NRHM | 4/NRHM/HSP/TNMSC/2009 |  |  | 3640 | Working
15 | Ultra Sound Scanner - Portable | B2 | Sonata | 356490 | 2012-07-25 | L and T | Scan Room | JDHS |  |  |  | 350000 | Working
16 | Boyles apparatus with circle absorber | B | IOL |  |  | IOL | OT | DMS |  |  | nil | 85000 | Working
17 | Pulse Oximeter | C | Futura pleth |  |  | silicon labs | OT | DMS |  |  | nil | 18500 | Working
18 | Hydraulic Table | B2 |  |  |  | Jupiter Manufacturing Works | OT | DMS |  |  | nil | 51400 | Working
19 | Hydraulic Table | B2 |  |  |  | Jupiter Manufacturing Works | OT | DMS |  |  | nil | 51400 | Working
20 | Cryotheraphy unit | C |  |  |  | SOLOKRAFTS | NCD CLINIC | TNHSP |  |  | nil | 25000 | Working
21 | Radiant Warmer | C | nice neotech |  |  | Madras Surgicals and Chemicals | Labour Ward | TNHSP |  |  | nil | 18269 | Working
22 | Slit Lamp | B |  |  |  |  | Eye OP |  |  |  | nil | 46030 | Working
23 | Semi Auto Analyser | B2 | Prietest touch |  |  | Robonik | lab | TNHSP |  |  | yes | 45288 | Working
24 | Magnavision Lamp | c |  |  |  | Jupiter Manufacturing Works | NCD CLINIC | TNHSP |  |  | nil | 6988 | Working
25 | Weighing Machine-digital | c |  |  |  |  | NCD CLINIC |  |  |  | nil | 10000 | Working
26 | BP Apparatus-Box | c |  |  |  |  | ward |  |  |  | nil | 1850 | Working
27 | Nebuliser | c |  |  |  |  | ward |  |  |  | nil | 1200 | Working
28 | Nebuliser | c |  |  |  |  | ward |  |  |  | nil | 1200 | Working
29 | Nebuliser | c |  |  |  |  | ward |  |  |  | nil | 1200 | Working
30 | Nebuliser | c |  |  |  |  | ward |  |  |  | nil | 1200 | Working
31 | Heavy Duty Washing Machine-10 kg | B2 |  |  |  |  | laundry |  |  |  | nil | 108108 | Working
32 | Shadowless Lamp | c |  |  |  |  | ot |  |  |  | nil | 13000 | Working
33 | Shadowless Lamp | c |  |  |  |  | ot |  |  |  | nil | 13000 | Working
34 | Shadowless Lamp | c |  |  |  |  | ot |  |  |  | nil | 13000 | Working
35 | Suction Apparatus | c |  |  |  |  | ward |  |  |  | nil | 4540 | Working
36 | Suction Apparatus | c |  |  |  |  | ward |  |  |  | nil | 4540 | Working
37 | Suction Apparatus | c |  |  |  |  | ward |  |  |  | nil | 4540 | Working
38 | Suction Apparatus | c |  |  |  |  | ward |  |  |  | nil | 4540 | Working
39 | Suction Apparatus | c |  |  |  |  | ward |  |  |  | nil | 4540 | Working
40 | Formaline Dispensor | c |  |  |  |  | OT |  |  |  | nil | 5000 | Working
41 | BP Apparatus-BOX | c |  |  |  |  | ward |  |  |  | nil | 1850 | Working
42 | BP Apparatus-BOX | c |  |  |  |  | ward |  |  |  | nil | 1850 | Working
43 | BP Apparatus-BOX | c |  |  |  |  | ward |  |  |  | nil | 1850 | Working
44 | BP Apparatus-BOX | c |  |  |  |  | ward |  |  |  | nil | 1850 | Working
45 | ECG Machine | B2 |  |  |  |  | ECG OP |  |  |  | nil | 75000 | Working
46 | water bath | c | [9 empty] | 8262 | Working
[11 empty] | Total | 1617905

## GH Injampakkam
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : no hmis
District : Kancheepuram
Institution : GH Injampakkam
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Auto Clave HP Vertical (2 bin) | C | Electrical |  |  |  | ward |  |  |  | nil | 20000 | Working
2 | Centrifuge | C | BDI-152 |  |  | SOLOKRAFTS | LAB |  |  |  | nil | 5344 | Working
3 | Semi Auto Analyser | B2 | Prietest touch |  |  | Robonik | lab | TNHSP |  |  | nil | 45288 | Working
4 | Magnavision Lamp | c |  |  |  | Jupiter Manufacturing Works | NCD CLINIC | TNHSP |  |  | nil | 6988 | Working
5 | BP Apparatus-Box | c |  |  |  |  | ward |  |  |  | nil | 1850 | Working
6 | Nebuliser | c |  |  |  |  | ward |  |  |  | nil | 1200 | Working
7 | water bath | c |  |  |  |  | NCD CLINIC |  |  |  | nil | 8262 | Working
[11 empty] | Total | 88932

## GH Saidapet
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : no hmis
District : Kancheepuram
Institution : GH saidapet
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Refrigerator | C | Electrolux |  |  | Davey Pharma | Store |  |  |  | nil | 10000 | not working
2 | Refrigerator | C | Electrolux |  |  |  | Store |  |  |  | nil | 10000 | not working
3 | Refrigerator | C | Electrolux |  |  |  | Store |  |  |  | nil | 10000 | not working
4 | X-ray Machine 100 mA | B2 | siemens |  |  | siemens | X-RAY ROOM |  |  |  | nil | 150000 | not working
5 | X-ray machine 60 ma | B2 | GE |  |  | GE | X-RAY ROOM |  |  |  | nil | 100000 | working
6 | Centrifuge | C | BDI-152 |  |  | SOLOKRAFTS | LAB |  |  |  | nil | 5344 | Working
7 | Magnavision Lamp | C |  |  |  | SABERWAL SURGICALS | NCD CLINIC | TNHSP |  |  | nil | 3640 | Working
8 | Semi Auto Analyser | B2 | Prietest touch |  |  | Robonik | lab | TNHSP |  |  | nil | 45288 | Working
9 | BP Apparatus-dial | c |  |  |  | vansari | ward | DMS |  |  | nil | 3500 | Working
10 | BP Apparatus-dial | c |  |  |  | vansari | ward | DMS |  |  | nil | 3500 | Working
11 | BP Apparatus-dial | c |  |  |  | vansari | ward | DMS |  |  | nil | 3500 | Working
12 | Nebuliser | c |  |  |  |  | ward |  |  |  | nil | 1200 | Working
13 | Suction Apparatus | c |  |  |  |  | ward |  |  |  | nil | 4540 | Working
14 | ECG Machine | B2 |  |  |  |  | ECG OP |  |  |  | nil | 25000 | Working
15 | ECG Machine | B2 |  |  |  |  | ECG OP |  |  |  | nil | 25000 | Working
16 | Colposcpe | B2 |  |  |  |  | NCD CLINIC | TNHSP |  |  | nil | 135000 | Working
17 | Incubator-lab | [5 empty] | lab |  |  |  | nil | 20000 | working
18 | microscope | [5 empty] | LAB |  |  |  | nil | 10000 | working
[11 empty] | Total | 565512

## GH Mahabalipuram
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 4.3.2008 to 4.3.2015
District : Kancheepuram
Institution : GH Mahabalipuarm
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Ultra Sonogram -MOBILE | B | sonata |  |  | Larsen and Toubro Limited | Scan room | DMS |  |  | nil | 350000 | working
2 | Auto Clave HP Vertical | C | 1 Bin Vertical |  | 2008-05-03 | Jupitor Manufacturing Works | Ward | TNHSP |  | 2008-05-03 | nil | 10000 | working
3 | Auto Clave HP Vertical (2 bin) | C |  |  | 2003-06-17 | DD Medical | Ward | DMS |  | 2003-06-17 | nil | 35000 | working
4 | Refrigerator | C |  |  | 2005-01-04 | Freez Enginnering-Mamalapuram | Inj. OP |  |  | 2005-01-04 | nil | 10000 | working
5 | Suction Apparatus - Electrical | C | Electrical |  | 2008-12-02 | Vin Bio tech | Ward |  |  | 2008-12-02 | nil | 50000 | working
6 | Suction Apparatus - Electrical | C | Electrical |  |  |  | Ward |  |  |  | nil | 50000 | working
7 | Suction Apparatus - Electrical | C | Electrical |  |  |  | Ward |  |  |  | nil | 50000 | working
8 | B.P.apparatus table model | C | Box Type | [7 empty] | nil | 1200 | working
9 | B.P.apparatus table model | C | Box Type |  | 2007-04-27 | Vishvi Equipments and Surgicals | OP |  |  | 2007-04-27 | nil | 1200 | working
10 | Semi auto analyser | B2 |  |  |  |  | LAB | PPP |  |  | nil | 50000 | working
11 | Magnavision Lamp | C | Frame Holding |  | 2011-03-22 | Jupiter Manufacturing Works | OPD | DRHM | 04R/NRHM/TNMSC/ENGG/2011 | 2011-03-22 | 2012-03-21 | 4576 | working
12 | Weighing machine adult | C | Adult |  | 2012-02-06 | Alan Medical | STORE | TNHSP | TNHSP/TNMSC/ENGG/AG24/2011 | 2012-02-06 | 2013-02-05 | 627 | working
13 | ECG machine computerized | B | SE3 | 309035-M11801710022 | 2011-07-04 | Madras Surgicals | OPD | TNHSP | TNHSP/TNMSC/ENGG/AG27/2011 | 2011-07-04 | 2012-07-03 | 38469 | working
14 | Centrifuge | C | BDI-152 |  | 2012-02-13 | SOLKRAFTS | LAB | TNHSP | TNHSP/TNMSC/AG29E/2011 | 2012-02-13 | 2015-02-12 | 5345 | working
15 | Refrigerator | C |  |  | 2012-07-19 | RYANN SHOPPEE | INJECTION OP | OTHERS |  | 2012-07-19 | 2012-07-18 | 10800 | working
16 | Magnavision Lamp | C | MAGNASCOPE |  | 2012-06-09 | SOLOKRAKT | STORE | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 | 2012-06-09 | 2013-06-08 | 7337 | working
17 | ECG machine computerized | B | SE 1 | SE1012113138642 | 2011-08-29 | MADRAS SURGICALS | OPD | OTHERS |  | 2011-08-29 | 2012-08-28 | 24450 | working
18 | Nebuliser | c | [8 empty] | nil | 1200 | working
19 | Nebuliser | c | [8 empty] | nil | 1200 | not working
20 | Shadowless lamp | c |  |  |  |  | Ward | PPP |  |  | nil | 20000 | working
21 | Semi Auto Analyser | B2 | Prietest touch |  |  | Robonik | lab | TNHSP |  |  | yes | 45288 | Working
22 | Colposcpe | B2 |  |  |  |  | NCD CLINIC | TNHSP |  |  | nil | 135000 | Working
23 | microscope | c |  |  |  |  | LAB |  |  |  | nil | 10000 | working
24 | Cryotheraphy unit | C |  |  |  | SOLOKRAFTS | NCD CLINIC | TNHSP |  |  | nil | 25000 | Working
25 | tread mill | B2 | [8 empty] | nil | 100000 | not working
26 | Multiparamonitor | B2 | General Meditec / G3G |  |  | Trans Health Care | OP | TNHSP |  |  | yes | 60300 | working
[11 empty] | Total | 1096992

## GH Uthiramerur
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 4.3.2008 to 4.3.2015
District : Kancheepuram
Institution : GH Uthiramerur
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | X-ray Machine 100 mA | B | SIEMENS |  |  |  | X/Ray room |  |  |  | nil | 200000 | working
2 | Nebuliser Adult | C |  |  |  |  | OP |  |  |  | nil | 1200 | working
3 | Nebuliser Adult | C |  |  |  |  | OP |  |  |  | nil | 1200 | working
4 | Auto Clave HP Vertical (2 bin) | C |  |  |  |  | OT |  |  |  | nil | 33000 | working
5 | Auto Clave HP Vertical (2 bin) | C |  |  |  |  | OT |  |  |  | nil | 33000 | working
6 | Auto Clave HP Vertical (2 bin) | C |  |  |  |  | Labour ward |  |  |  | nil | 21000 | working
7 | Diathermy Machine (Electric Cautery) | B |  |  | 2007-07-14 | Jupitor M W | Store | DMS |  | 2007-07-14 | nil | 18000 | working
8 | Operation Table Hydraulic Major | B2 |  |  |  |  | OT |  |  |  | nil | 51000 | working
9 | Shadowless Lamp stand model | B |  |  |  |  | OT |  |  |  | nil | 13000 | working
10 | Shadowless Lamp stand model | B |  |  |  |  | OT |  |  |  | nil | 25000 | not working
11 | Baby Incubators | C |  |  | 2008-01-30 | Madras Surgicals and Chemicals | L W | TNHSP |  | 2008-01-30 | nil | 47880 | working
12 | Boyles apparatus with Circle Abosrber | B |  |  | 2008-09-01 | Larsen and Toubro Limited | OT | TNHSP |  | 2008-09-01 | nil | 98000 | working
13 | Pulse Oximeter | B | Steller P |  | 2008-09-01 | Larsen and Toubro Limited | OT | DMS |  | 2008-09-01 | nil | 33750 | working
14 | Operation Table Hydraulic Major | B2 |  |  | 2007-12-30 | Jupiter Manufacturing Works | OT | TNHSP |  | 2007-12-30 | nil | 51000 | working
15 | Refrigerator | C | Electrolux |  | 2007-12-30 | Davey Pharma | OP | TNHSP |  | 2007-12-30 | nil | 10000 | working
16 | Magnavision Lamp | C |  |  | 2012-06-13 |  | Labour Ward | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 | 2012-07-13 | nil | 4400 | working
17 | Centrifuge | C | BDI 152 |  | 2012-02-04 |  | Lab | TNHSP | TNHSP/TNMSC/AG29E/2011 | 2012-02-04 | nil | 19000 | working
18 | Pulse Oximeter | c |  |  |  | Masimo | ot | TNHSP |  |  | yes | 68968 | working
19 | Pulse Oximeter | c |  |  |  | Masimo | ot | TNHSP |  |  | yes | 68968 | working
20 | Semi Auto Analyser | B2 |  |  |  | robonik | lab | TNHSP |  |  | nil | 59000 | not working
21 | Semi Auto Analyser | B2 |  |  |  | robonik | lab | TNHSP |  |  | nil | 59000 | working
22 | Photo Calorimeter | c |  |  |  |  | lab |  |  |  | nil | 15000 | working
23 | Colposcope | B2 |  |  |  | surya surgicals | ncd | TNHSP |  |  | nil | 130000 | working
24 | cryotheraphy | c |  |  |  | solokrafts | ncd | TNHSP |  |  | nil | 25000 | working
25 | Ring lens | c |  |  |  | solokrafts | dental op | TNHSP |  |  | nil | 6988 | working
26 | Dental Chair | B2 |  |  |  | confidental equipments | op | DMS |  |  | nil | 118669 | working
27 | ECG Machine | B2 |  |  |  | madras surgiclas | op | TNHSP |  |  | nil | 45000 | working
28 | ECG Machine | B2 |  |  |  | marks | op | DMS |  |  | nil | 25000 | working
29 | Suction apparatus | c |  |  |  |  | ot | DMS |  |  | nil | 5000 | working
30 | Suction apparatus | c |  |  |  |  | ot | TNHSP |  |  | nil | 5000 | working
31 | Suction apparatus | c |  |  |  |  | labour ward | TNHSP |  |  | nil | 5000 | working
32 | Microscope | c |  |  |  |  | lab | DMS |  |  | nil | 5000 | working
33 | water bath | c |  |  |  | jindal | lab | TNHSP |  |  | nil | 8262 | working
34 | Ultra Sonogram -MOBILE | B | sonata |  |  | Larsen and Toubro Limited | Scan room | DMS |  |  | nil | 350000 | working
[11 empty] | total | 1660285

## GH Tkundram
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 4.3.2008 to 4.3.2015
District : Kancheepuram
Institution : GH Tirukalukundram
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Pulse Oximeter | B | Steller P |  | 2008-10-01 | Larsen andamp; Toubro Limited | OT |  |  | 2008-10-01 |  | 33750 | working
2 | Shadowless Lamp stand model | B |  |  | 2008-04-18 | Jupitor Manufacturing Works | OT |  |  | 2008-04-18 |  | 5000 | working
3 | Suction Apparatus - Electrical | C | Electrical |  | 2008-12-02 | Vin Bio tech | ot |  |  | 2008-12-02 |  | 5000 | working
4 | Suction Apparatus - Electrical | C | Electrical |  | 2008-12-02 | Vin Bio tech | ot |  |  | 2008-12-02 |  | 5000 | not working
5 | Radiant Warmer | C | OCW100 | 2921 | 2008-11-07 | DATEX OHMEDA (I) Pvt. Ltd | LABOUR WARD | TNHSP | TNHSP/TNMSC/P3E9/2008 DT04/11/2008 | 2008-11-25 | 2008-11-13 | 18000 | working
6 | Auto Clave HP Vertical (2 bin) | C | 12*20 HIGH PRESSURE TWO BINS |  | 2000-07-29 | ALAN MEDICAL LABORATORY | OPERATION THEATRE | DMS | 56509/CPII/1/2000 DT.30.6.2000 |  |  | 21492 | working
7 | Operation Table Hydraulic Major | B2 | JUPITER205 |  | 2007-12-31 | JUPITER | OPERATION THEATRE | TNHSP | TNHSP/TNMSC/P2E6/2007 dt.11/09/2007 | 2007-01-26 |  | 53000 | working
8 | Auto Clave HP Vertical (2 bin) | C |  |  | 2008-02-28 | JUPITER | OPERATION THEATRE | TNHSP | TNHSP/TNMSC/P2E11/2007 DT.28/11/2007 | 2008-08-28 | 2009-02-22 | 32000 | working
9 | Operation Table Hydraulic Major | B2 | JUPITER 205 |  | 2008-12-06 | JUPITER | OPERATION THEATRE | TNHSP | TNHSP/TNMSC/P3E3/2008 DT.29/08/2008 | 2008-12-01 | 2009-12-01 | 51400 | working
10 | Diathermy Machine (Electric Cautery) | B | OBS 026 |  | 2007-07-13 | JUPITER | OPERATION THEATRE | DMS |  | 2007-07-13 |  | 6600 | working
11 | Ultra Sound Scanner - Portable | B2 | 3-77-390-0023-57 | NO3S6493 | 2003-12-27 | LARSENandamp; TOUBRO | SCAN ROOM | DMS | 7014/SPS/1/2003-04/16.09.2003 | 2004-01-08 | 2007-07-01 | 277366 | working
12 | Shadowless Lamp stand model | B | HALOGEN BULBS |  | 2009-03-25 | JUPITER | OPERATION THEATRE | DMS | 47975/Sandamp;P/1/2008 DT04.02.2009 |  |  | 40000 | working
13 | Suction Apparatus - Electrical | C |  |  | 2009-02-12 | VISHAL HOSPITAL STEEL FURNITURE MANUFACTURING CO. | LABOUR WARD | TNHSP | TNHSP/TNMSC/P3E8/2008DT.10/09/2008 |  |  | 3900 | working
14 | Suction Apparatus - Electrical | C |  |  | 2009-03-25 | JUPITER | LABOUR WARD | DMS | 47975/Sandamp;P/1/2008 DT.04/02/09 |  |  | 5500 | working
15 | Suction Apparatus - Electrical(Hivacuam) | B2 | ANS152 |  | 2009-06-02 | GENERAL SURGICAL COMPANY (INDIA) PVT. LTD | LABOUR WARD | DMS | 51190/Sandamp;P/1/2008 DT.10.11.2008 | 2009-06-02 |  | 22000 | working
16 | Magnavision Lamp | C | FRAME HOLDING LENS MADE OF METAL |  | 2011-03-22 | JUPITER | LABOUR WARD | DRHM | 04R/NRHM/TNMSC/ENGG/2011 DT.12.02.2011 |  | 2012-02-29 | 4400 | working
17 | Electri centrifuger | C | BDI152 | 20111507 | 2012-01-14 | SOLOKRAFTS | LABORATORY | TNHSP | TNHSP/TNMSC/AG29E/2011 DT.04.10.2011 |  | 2015-01-31 | 5090 | working
18 | Mannual Colposcope | C | ARI II-D |  | 2012-09-04 | SOUTH INDIA SURGICAL CO.LTD |  | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 DT.21.04.2012 |  |  | 130000 | working
19 | Weighing machine adult | C |  |  | 2007-11-22 | MADRAS SURGICALS | LABOUR WARD | TNHSP | TNHSP/TNMSC/P2E28/2007 DT.03/09/07 |  |  | 440 | working
20 | Shadowless Lamp stand model | B |  |  | 2008-12-06 | JUPITER | LABOUR ROOM | DMS | TNHSP/TNMSC/P3E3/2008 DT.29.08.2008 |  |  | 12700 | working
21 | ECG machine computerized | B | EDAN SE3 | 309035-M118Q1710021 | 2011-10-04 | MADRAS SURGICALS | OPD | TNHSP | THHSP/TNMSC/ENGG/AG27/2011 DT.04.07.2011 | 2011-10-04 |  | 36637 | working
22 | Magnavision Lamp | C | MEDITECH |  | 2009-10-14 | SABREWALSURGICALS | LABOUR WARD | DRHM | 04/NRHM/HSP/TNMSC/2009-MV DT.29.06.2009 | 2009-09-22 | 2012-09-30 | 3500 | working
23 | Weighing machine adult | C |  |  | 2012-02-06 | ALAN MEDICALS | NCD CLINIC | TNHSP | TNHSP/TNMSC/ENGG/AG24/2011 DT.09/12/2011 |  |  | 598 | working
24 | Weighing machine infant | C | PAE 026 |  | 2009-02-03 | SURYA SURGICAL INDUSTRIES | LABOUR ROOM | TNHSP | 51190/Sandamp;P/1/2008 DT.10.11.08 |  |  | 10500 | working
25 | Refrigerator | C | 165 Lts |  | 2007-12-30 | Davey Pharma | OP |  |  | 2007-12-30 |  | 10000 | working
26 | Dental Chair(Electric/Hydraulic/Manual) | B2 | DEN 097 |  | 2007-12-21 | CONFIDENT DENTAL EQUIPMENT LTD | DENTAL WING | DMS | 12537/TNMSC/ENGG/2007 DT.27.10.2007 |  |  | 99200 | working
27 | Shadowless Lamp stand model | B | ANS034 |  | 2009-03-28 | JUPITER | OPERATION THEATRE | DMS | 47874/Sandamp;P/1/2008 DT.04.02.2009 |  |  | 26000 | working
28 | Shadowless Lamp stand model | B |  |  | 2008-04-18 | JUPITER | OPERATION THEATRE | TNHSP | TNHSP/TNMSC/P2E17/2007 DT.30.10.2007 | 2008-05-04 |  | 13220 | working
29 | Suction Apparatus - Electrical | C | 7A-23D |  | 2008-02-12 | VIN BIOTECH SYSTEMS | OPERATION THEATRE | TNHSP | TNHSP/TNMSC/P2E18/2007 DT30/10/2007 | 2008-02-11 | 2009-02-11 | 4148 | working
30 | Anaesthesia Machine | B2 | ECOSAFE | 60908 | 2009-11-13 | SOLOKRAFT | OPERATION THEATRE | TNHSP | TNHSP/TNMSC/P3E4/2008 DT.2908/08 | 2008-11-07 | 2009-11-07 | 82000 | working
31 | Compressor-Dental | C | DEN 174 |  | 2007-12-21 | CONFIDENT DENTAL EQUIPMENT | DENTAL WING | DMS | 50000/Sandamp;P/1/2007 DT.21.09.2007 |  |  | 19469 | working
32 | Boyles apparatus with circle absorber | B | IOL |  |  | IOL | OT | DMS |  |  | nil | 85000 | Working
33 | water bath | c |  |  |  | jindal | lab | TNHSP |  |  | nil | 8262 | working
34 | Microscope | c |  |  |  |  | lab | DMS |  |  | nil | 5000 | working
35 | cryotheraphy | c |  |  |  | solokrafts | ncd | TNHSP |  |  | nil | 25000 | working
36 | Semi Auto Analyser | B2 |  |  |  | robonik | lab | TNHSP |  |  | nil | 59000 | working
37 | Nebuliser Adult | C |  |  |  |  | OP |  |  |  | nil | 1200 | working
38 | Nebuliser Adult | C |  |  |  |  | OP |  |  |  | nil | 1200 | working
39 | B.P.apparatus table model | C | Box Type | [7 empty] | nil | 1200 | working
40 | B.P.apparatus table model | C | Box Type | [7 empty] | nil | 1200 | working
41 | X-ray | [10 empty] | 50000 | working
[11 empty] | total | 1274972

## GH Kancheepuram
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 4.3.2008 to 4.3.2015
District : Kancheepuram
Institution : GH Kancheepuram
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Pulse Oximeter-5 | B2 | Radial-7 | Q09618~ Q09616~ Q1152~ Q09549~ Q10351 | 2013-03-01 | M/s Grace Mfg andamp; Trading co~ New Delhi | NICU | RCH | RCH II/TNMSC/ENGG/2011 Dated 10.05.2012 | 2013-03-01 | 2016-02-29 | 432500 | working
2 | Pulse Oximeter with NIB.P-4 | B2 | INNOAVA 10 CIR | CI 1302BK45~ CI 1302BK46~ CI 1302BK47~ CI 1302BK48 | 2013-03-13 | Concept Integration ( I ) Pvt. Ltd~ Pune. | NICU~ ICCU~ CASUALITY~ FW OT | TNHSP | TNHSP/TNMSC/AG14/2012 Dated 21.11.2012 | 2013-03-13 | 2014-03-12 | 224000 | 1-working,3-not working
3 | B.P.apparatus dial model-120 | C | HEINE GERMAN MAKE GAMMA G5 |  | 2013-02-14 | Vaansari Marketing Services~ Chennai-49 | Issued to all wards and Operation theaters | TNHSP | TNHSP/TNMSC/BMWM/UNDP-GEF-MoEF/2012 Dated 31.01.2013 | 2013-02-14 | 2018-02-13 | 442000 | working
4 | Laparoscope operating major with accessories | B1 |  |  | 2013-04-02 | Vishal Surgical Equipment Co. Pvt. Ltd | MOT(MAIN OPERATION tHEATER) | TNMSC | 9907/TNMSC/ENGG/2012 Dated 18.02.2013 | 2013-04-02 | 2016-04-01 | 1388153 | working
5 | Electric Calorimeter | C | Prietest Easy Lab | PEL 0241213RBK | 2013-12-30 | Robonik (India) Pvt Ltd~ | DPH - Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013 dated 28.11.2013 | 2013-12-30 | 2014-12-29 | 20302 | working
6 | Semi auto analyser | B2 | Prietest Touch | AT1081013RBK | 2014-03-10 | Robonik (India) pvt Ltd | DPH LABORATORY | TNHSP | TNHSP-TNMSC/AG87h/2013 dated.31.12.2013 | 2014-03-10 | 2017-03-09 | 49356 | working
7 | Pulse Oximeter-6 | B2 | RAD-8 | M70776~ M71980~ M71812~ M71861~ M71936~ M71920 | 2014-04-01 | M/s.Grace Mfg andamp; Trading co | Cemonc OT- 2 Nos~ Paediatric ward- 2 Nos~ Maternity ward- 1 No~ NICU- 1 No | RCH | RCH-II/TNMSC/ENGG/E67/2014 dated.05.03.2014 | 2014-04-02 | 2019-04-01 | 413808 | working
8 | Audiometer | C | Indigenous Digital Audiometer Model AD-2000 | AA0011G023T | 2012-03-17 | ALPS International pvt Ltd | OPD-ENT Dept | TNMSC | 4748/TNMSC/ENGG/2012-4 dated 07.02.2012 | 2012-03-19 | 2015-03-18 | 44500 | working
9 | Diathermy Machine (Electric Cautery) | B | ELSY360M+ | ASG D+1405071 | 2014-06-09 | JBS Meditec India Pvt Ltd~ Coimbatore-641044 | Genaral OT | TNMSC | 17240/TNMSC/ENGG/2014-2 dated 16.05.2014 | 2014-06-09 | 2017-06-08 | 218000 | working
10 | Multi Para Monitor-4 | B2 | G3G | G3DL80081~ G3GL80088~ G3GL80065~ G3GL80067 | 2014-09-09 | Trans Health care india pvt~ Ltd | Poison treatement centre~FW OT~ MOT~IMCU | TNHSP | TNHSP/TNMSC/AG88/2014 dt.21.06.2014 | 2014-09-09 | 2017-09-08 | 241200 | working
11 | PH meter | C | RPA-1GRTIOANPN | 1113 and 1230 | 2014-07-26 | RLT Insrtumentation Pvt~ Ltd | DPH Laboratory~ Microbiology Dept | TNHSP | TNHSP/TNMSC/AG87b/2013-1 dt.28.11.2013 | 2014-07-26 | 2015-07-25 | 59325 | working
12 | Foetal Doppler | C | A100H |  | 2014-08-30 | MEDI WAVES INC | Labour ward-2~ Store-2 | TNMSC |  | 2014-08-30 | 2015-08-29 | 4650 | working
13 | Operating table Orthopedic | B |  |  | 2013-08-02 | International surgical equipemet co | AE OT and MOT | OTHERS |  | 2013-08-02 |  | 150000 | working
14 | Binocular Mircroscope | B2 | BDI-13A |  | 2014-01-07 | Solokraft Industries | DPH Lab~ Microbilogy Dept~ Blood Bank | TNHSP | TNHSP/TNMSC/AG87c/2013 dt. 22.10.2013 | 2014-01-07 | 2015-01-06 | 18600 | working
15 | Multi Para Monitor-3 | B2 | G3L | G3LL80047~ G3LL80052~ G3LL80051 | 2014-09-09 | Trans Health care india pvt~ Ltd | FWOT~CeMONC OT~ NICU | TNHSP | TNHSP/TNMSC/AG88/2014 dt.21.06.2014 | 2014-09-09 | 2017-09-09 | 144000 | working
16 | Shadowless lamp ceiling type major | B | LED750/750 |  | 2014-06-25 | Stand Biomed Engineering Pvt. Ltd | ceMONC Operation Theater | TNMSC |  | 2014-06-24 | 2017-06-23 | 614685 | working
17 | Auto analyser | B | AUTORA |  | 2014-06-07 | ROBONIC (INDIA)PVT.LTD | DPH LABORATORY | TNHSP | TNHSP/TNMSC/AG87a/2013 dt.28.02.2014 | 2014-06-07 | 2017-06-06 | 487197 | working
18 | Centrifuge | C | BDI-154 |  | 2014-07-04 | Solokraft Industries | DPH Laboratory | TNHSP | TNHSP/TNMSC/AG87f(R)/2014 dt.19.03.2014 | 2014-07-04 | 2015-07-03 | 19000 | working
19 | Cell Counter | B2 | Sysmex XP100 | A4407 | 2014-10-17 | Transasia Bio Medicals Ltd | DPH LAB | TNMSC | 5859/TNMSC/ENGG/2014-3 dt.24.09.2014 | 2014-10-17 | 2015-10-16 | 303000 | working
20 | ECG Machine-Multichannel/Page Writer | B2 | Bionet cardiocare 2000 plus | EO0800562 | 2014-12-08 | JK Medical systems Pvt Ltd~ Chennai-78 | ECG Dept | DMS | 28452/Sandamp;P/1/2014 dt.22.09.2014 | 2014-12-08 | 2017-12-08 | 44800 | working
21 | Deep Freezer | B2 | LPF-450 and LUPF-388 | 14094562 and 14094614 | 2014-12-08 | HLL Life care Ltd~ Thiruvananthapuram~Kerala | Blood Bank (-40C 1 No andamp; -80C 1 No) | TNMSC | 5859/TNMSC/ENGG/2014-2 dt.24.09.2014 | 2014-12-08 | 2017-12-07 | 1209821 | working
22 | Traction Unit/Electronic Traction Unit | C | PHYSIOTRAC-Plus | 7574 | 2014-12-12 | Barath Medical Systems~ Chennai-41 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-1 dt.21.11.2014 | 2014-12-12 | 2017-12-11 | 27990 | working
23 | Electric Stimulator | B2 | PHYSIOSTIM-D | 7467 | 2014-12-12 | Bharath Medical Systems~ Chennai-41 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-1 dt.21.11.2014 | 2014-12-12 | 2017-12-11 | 5568 | working
24 | Short Wave Diathermy | B2 | SWD 350W with Trolley | 7549 | 2014-12-12 | Bharath Medical Systems~ Chennai-41 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-1 dt.21.11.2014 | 2014-12-12 | 2017-12-11 | 31311 | working
25 | Tense Major | C | DIGI TENS-Pro | 7304 | 2014-12-12 | Bharath Medical Systems~ Chennai-41 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-1 dt.21.11.2014 | 2014-12-12 | 2017-12-11 | 6130 | working
26 | Ultrasound Therapy | B2 | Electroson 709 | T-2304 and T-2305 | 2014-12-23 | Technomed Electronics~ Chennai-96 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt.21.11.2014 | 2014-12-23 | 2017-12-22 | 17894 | working
27 | Interferential therapy unit | C | Vectrodyne- 100 | 625 | 2014-12-23 | Technomed Electronics~ Chennai-96 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt.21.11.2014 | 2014-12-23 | 2017-12-22 | 21190 | working
28 | ECG machine computerized | B | Computerised Model SE 300 EDAN |  | 2008-11-19 | Madras Surgicals and Chemicals | Casuality |  |  | 2008-11-19 |  | 35000 | working
29 | Pulse Oximeter | B | Futhura pleth Sl. No. 06023 |  | 2006-08-18 | Silicon Labs | FW OT |  |  | 2006-08-18 |  | 22000 | working
30 | Pulse Oximeter | B |  |  | 2008-04-15 | Larsen and Toubro Limited | MM 1 |  |  | 2008-04-15 |  | 45000 | working
31 | Pulse Oximeter | B |  |  | 2006-06-12 | Silicon Labs | NB Ward |  |  | 2006-06-12 |  | 22000 | working
32 | Pulse Oximeter | B | Futhura pleth Sl. No. 06057 |  | 2006-06-12 | Silicon Labs | FW OT |  |  | 2006-06-12 |  | 25000 | working
33 | Pulse Oximeter | B |  |  | 2007-01-31 | Silicon Labs | M OT |  |  | 2007-01-31 |  | 25000 | working
34 | Pulse Oximeter | B |  |  | 2006-06-12 | Silicon Labs | M OT |  |  | 2006-06-12 |  | 25000 | working
35 | Pulse Oximeter | B | Steller p |  | 2008-08-01 | Larsen and Toubro Limited | M OT |  |  | 2008-08-01 |  | 45000 | working
36 | Pulse Oximeter | B |  |  | 2009-01-20 | Southern Medical Systems | AE OT |  |  | 2009-01-20 |  | 22000 | working
37 | Pulse Oximeter | B |  |  | 2009-01-20 | Southern Medical Systems | FW OT |  |  | 2009-01-20 |  | 22000 | working
38 | Ventilators (Adult) | B |  |  | 2008-05-30 | Madras Surgical and Chemicals | _ |  |  | 2008-05-30 |  | 750000 | working
39 | Coagulation Analyser | C |  |  | 2008-05-08 | Transasai Bio Medical | DPH Lab |  |  | 2008-05-08 |  | 200000 | working
40 | Opthalmoscope Indirect | C |  |  | 2009-07-05 | Suriya Surgicals | Eye OP |  |  | 2009-07-05 |  | 20000 | working
41 | Multi Para Monitor | B |  |  | 2007-01-31 | Silicon Labs | M OT |  |  | 2007-01-31 |  | 100000 | working
42 | Multi Para Monitor | B |  |  | 2004-01-22 | Miti Electronics | MM 1 |  |  | 2004-01-22 |  | 100000 | working
43 | Multi Para Monitor | B |  |  | 2008-03-04 | Larsen and Toubro Limited | FW OT |  |  | 2008-03-04 |  | 150000 | working
44 | Multi Para Monitor | B |  |  | 2003-09-30 | Larsen and Toubro Limited | M OT |  |  | 2003-09-30 |  | 150000 | working
45 | Auto Clave HP Vertical (2 bin) | C | 16X24 |  | 2009-11-02 | Vishal Hospital and Steel Furniture | OPD-ENT Dept |  |  | 2009-11-02 |  | 32000 | working
46 | Auto Clave HP Vertical (2 bin) | C | 16X24 |  | 2009-11-02 | Vishal Hospital and Steel Furniture | labour ward |  |  | 2009-11-02 |  | 32000 | working
47 | Auto Clave HP Vertical (2 bin) | C | 16X24 |  | 2009-11-02 | Vishal Hospital and Steel Furniture | eot |  |  | 2009-11-02 |  | 32000 | working
48 | Auto Clave HP Vertical (2 bin) | C | 16X24 |  | 2009-11-02 | Vishal Hospital and Steel Furniture | MOT(MAIN OPERATION tHEATER) |  |  | 2009-11-02 |  | 32000 | working
49 | Auto Clave HP Vertical (2 bin) | C | 3KW Vertical |  | 2009-02-04 | Solokraft Industries | AE OT |  |  | 2009-02-04 |  | 32000 | working
50 | Auto Clave HP Vertical (2 bin) | C | 16X24 |  | 2009-11-02 | Vishal Hospital and Steel Furniture | cssd |  |  | 2009-11-02 |  | 32000 | working
51 | Boyles apparatus with Ventilator | B | Larsen and toubro ltd. |  | 2007-10-22 | Larsen and Toubro Limited | M OT |  |  | 2007-10-22 |  | 150000 | working
52 | B.P.apparatus table model | C |  |  | 2009-04-03 | M C Dalal and Co | FM W |  |  | 2009-04-03 |  | 0 | working
53 | Shadowless lamp ceiling type major | B |  |  | 2009-04-03 | M C Dalal and Co | eot |  |  | 2009-04-03 |  | 150000 | working
54 | Shadowless lamp ceiling type major | B |  |  | 2009-04-03 | M C Dalal and Co | eot |  |  | 2009-04-03 |  | 150000 | not working
55 | Shadowless lamp ceiling type major | B |  |  | 2009-04-03 | M C Dalal and Co | aeot |  |  | 2009-04-03 |  | 150000 | working
56 | Cardiac Monitor | C |  |  | 2009-05-01 | Concept Integration Pvt. Ltd. | M OT |  |  | 2009-05-01 |  | 50000 | not working
57 | Cardiac Monitor | C |  |  | 2009-05-01 | Concept Integration Pvt. Ltd. | FW OT |  |  | 2009-05-01 |  | 50000 | working
58 | Cardiac Monitor with defibrillator | C | Inst. On 13/02/09 |  | 2009-02-13 | Silicon Labs | FW OT |  |  | 2009-02-13 |  | 150000 | working
59 | Cardiac Monitor with defibrillator | C | Inst. On 13/02/09 |  | 2009-02-13 | Silicon Labs | OPD |  |  | 2009-02-13 |  | 150000 | working
60 | Haemoglobinometer | C |  |  | 2011-09-21 | SOLOCRAFT INDUSTRIES~ CHENNAI-31 | DPH LAB-2~ ICTC LAB-1~ BLOOD BANK-1 | RCH | RCH-II/TNMSC/ENGG/4538/2010-6 Dt.08.10.2010 | 2011-09-21 | 2012-09-20 | 17200 | working
61 | Echocardiogram Color | B1 | DC-T6 | PM-1000435 | 2012-01-20 | Mindray Medical India Pvt Ltd | Out patient Department | TNHSP | TNHSP/TNMSC/ENGG/AG10andamp;AG22/2011 Dt.12.08.2011 | 2012-01-28 | 2013-01-27 | 900000 | working
62 | Refrigerator | C | Whirlpool Genus supreme 230 lit | INC114805643~INC120835375~INC120410123~INC120210339 | 2012-06-25 | Jayashruthi Enterprises~ Thirunintravur | DPH LAB-2~ Blood Bank-1~ Medical Store-1 | JDHS |  | 2012-06-25 | 2013-06-24 | 49956 | working
63 | Refrigerator | C | Fus suprem 180 lit | 114511681~114510687~120301764~114510289~120304788~120306135~114515482~114510704~114515268~114510660 | 2012-03-21 | Jayasruthi Enterprises~ Thiruninravur | FMW-1~MMW-1~OPD-1~LABOUR WARD-1~EOT-1~FWOT-1~DPH LAB-1~Medl store-1~Neonatal ward-1~ CM Isurance ward-1 | JDHS |  | 2012-03-21 | 2013-03-20 | 125000 | working
64 | Air Compressor | C | Compressed Air supply andamp; Central oxygen in NICU |  | 2012-06-14 | V.N.MEDICAL SERVICES~ cHENNAI-81 | Neonatal ward | JDHS | 11732/A2/2011 dt.04.05.2012 | 2012-06-15 | 2013-06-14 | 380320 | working
65 | Ultrasound scanner system B and W | B2 | GE Logiq C2~ B/W | H48122LC~H48212LM~H48102LJ~H48102LD | 2011-10-03 | Wipro GE Healthcare~ Bangalore | USG Department | RCH | RCH-II/TNMSC/ENGG/E44/2010 Dt.05.07.2011 | 2011-11-14 | 2012-11-13 | 323800 | working
66 | CTG Monitor | B2 |  |  | 2007-01-31 | Madras Surgical andamp; Chemicals | L W |  |  | 2007-01-31 |  | 80000 | not working
67 | Phototherapy Unit | C | Model 4000CFL Sl No. 0612507 |  | 2007-02-20 | Madras Surgical andamp; Chemicals | NB Ward |  |  | 2007-02-20 |  | 20000 | working
68 | Phototherapy Unit | C | Model 4000CFL Sl No. 0612506 |  | 2007-02-20 | Madras Surgical andamp; Chemicals | NB Ward |  |  | 2007-02-20 |  | 20000 | working
69 | Phototherapy Unit | C | Model 4000CFL Sl No. 0612508 |  | 2007-02-20 | Madras Surgical andamp; Chemicals | NB Ward |  |  | 2007-02-20 |  | 20000 | working
70 | Phototherapy Unit | C | Model 4000CFL Sl No. 0612505 |  | 2007-02-20 | Madras Surgical andamp; Chemicals | NB Ward |  |  | 2007-02-20 |  | 20000 | working
71 | Phototherapy Unit | C | [9 empty] | 20000 | working
72 | Phototherapy Unit | C | [9 empty] | 20000 | working
73 | Radiant Warmer | C | ModelNICE 2000B Sl. No. 0612533 |  | 2007-02-20 | Madras Surgical andamp; Chemicals | NB Ward |  |  | 2007-02-20 |  | 25000 | working
74 | Radiant Warmer | C | ModelNICE 2000B Sl. No. 0612538 |  | 2007-02-20 | Madras Surgical andamp; Chemicals | NB Ward |  |  | 2007-02-20 |  | 25000 | working
75 | Radiant Warmer | C | ModelNICE 2000B Sl. No. 0612536 |  | 2007-02-20 | Madras Surgical andamp; Chemicals | NB Ward |  |  | 2007-02-20 |  | 25000 | working
76 | Radiant Warmer | C | ModelNICE 2000B Sl. No. |  | 2007-02-20 | Madras Surgical andamp; Chemicals | NB Ward |  |  | 2007-02-20 |  | 25000 | working
77 | Cardiac Monitor with defibrillator | C | Inst. On 13/02/09 |  | 2009-02-13 | Silicon Labs | M OT |  |  | 2009-02-13 |  | 100000 | working
78 | Infusion pump | C | Trivifusa Sl. No. TF00285 |  | 2007-02-15 | Trivitron Medical Systems | NB Ward |  |  | 2007-02-15 |  | 35000 | working
79 | Infusion pump | C | Trivifusa Sl. No. TF00291 |  | 2007-02-15 | Trivitron Medical Systems | NB Ward |  |  | 2007-02-15 |  | 35000 | working
80 | Pulse Oximeter | B |  |  | 2006-06-12 | Silicon Labs | M OT |  |  | 2006-06-12 |  | 45000 | working
81 | Pulse Oximeter | B | Steller P Sl. No. S08P25466 |  | 2008-03-04 | Larsen andamp; Toubro Limited | FW OT |  |  | 2008-03-04 |  | 25000 | working
82 | Laproscope Double Puncture | C | Double Puncher |  | 2006-02-25 | Vishal Surgical Equ | FW OT |  |  | 2006-02-25 |  | 500000 | working
83 | Diathermy Machine (Electric Cautery) | B |  |  | 2007-10-16 | Hiren Pharma | M OT |  |  | 2007-10-16 |  | 80000 | working
84 | Cardiac Monitor with defibrillator | C |  |  | 2007-03-02 | Trivitron Medical Systems | MM 1 |  |  | 2007-03-02 |  | 100000 | not working
85 | Ultra Sound Scanner - Colour | B2 | 600A Chison | 6AP-1112018 | 2012-02-28 | Surya Surgical Industries~ Chennai-31 | Scan Room | TNMSC | 2684/TNMSC/ENGG/2011 Dt.11.11.2011 | 2012-04-20 | 2015-04-19 | 272950 | working
86 | ECG machine computerized | B | Cardio Touch 3000 | T2L0900113 | 2011-11-11 | JK Medical system PVT Ltd~ Chennai-78 | ECG Department | TNHSP | TNHSP/TNMSC/ENGG/AG21/2010 DT.22.08.2011 | 2011-11-12 | 2012-11-10 | 65000 | working
87 | Micro Drill | C | Marathan Micromotor | M-11122099~ HP-OBB70736~PS-B18527 | 2012-02-21 | VAANSARI MARKETING SERVICES~ CHENNAI-49 | GENERAL OPERATION THEATER | TNMSC | 4748/TNMSC/ENGG/2012-2 Dt.07.02.2012 | 2012-02-21 | 2015-02-20 | 87400 | working
88 | Ringlens System | C | MAGNASCOPE |  | 2012-06-17 | Solocraft Industries~ Chennai-31 | NCD Department | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 Dt.19.10.2011 | 2012-06-17 | 2013-06-16 | 6987 | working
89 | Operating Microscope (ENT) | B2 | CRISP-i | ENT 031207 | 2012-03-08 | Sanma Medineers~ Chennai-24 | GENERAL OT | TNMSC | 4748/TNMSC/ENGG/2012-1 Dt.07.02.2012 | 2012-03-12 | 2015-03-07 | 160000 | working
90 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump-2 | C | Evadrop MP-1000 | MP1ALH209~210~211 | 2011-10-10 | SCHILLER hEALTH CARE iNDIA PVT Ltd | MM Ward-1~ Neonatal ward-2 | TNHSP | TNHSP/TNMSC/AG16/2010 Dt.01.07.2011 | 2011-11-10 | 2014-10-09 | 77700 | working
91 | Impendence audiometer | B2 | AT-235 | SN3000980 | 2012-03-17 | ALPS International Pvt Ltd~ New Delhi | ENT OUT PATIENT DEPARTMENT | TNMSC |  | 2012-03-19 | 2015-03-18 | 214000 | working
92 | Mannual Colposcope | C | ARI II-1D | 15ARI II-1D | 2012-09-11 | South India Surgical Co Ltd~ Chennai-2 | Gynac OP | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 Dt. 21.04.2012 | 2012-09-11 | 2013-09-10 | 130000 | working
93 | Defibrillator with Monitor-5 | B2 | Heart start FRx | B12C-05770~ B12C-05765~ B12D-0731~ B12D-00121~ B12D-00396 | 2012-10-30 | Philips Electronics India Ltd | ICU-1~ CMC WARD-1~ CASUALITY-1~ EOT-1~ MATERNITY WARD-1 | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 Dt.12.03.2012 | 2012-10-30 | 2013-10-29 | 58696 | 1- not working
94 | Radiant Warmer | C | nice 2007S | 121309001748 | 2012-10-25 | Madras Surgicals and Chemicals | Neonatal ward- 2 Nos | RCH | RCH/TNMSC/ENGG/E62/2011 dt.27.07.2012 | 2012-10-25 | 2012-10-24 | 18269 | working
95 | Radiant Warmer | C | nice 2007S | 121309001723 | 2012-10-25 | Madras Surgicals and Chemicals | Neonatal ward- 2 Nos | RCH | RCH/TNMSC/ENGG/E62/2011 dt.27.07.2012 | 2012-10-25 | 2012-10-24 | 18269 | working
96 | Cell Counter Electronic (AUTOMATIC) | B | Poch 100i | F2909 | 2013-02-20 | TRANSASIA | DPH LAB | TNMSC | 2630/TNMSC/ENGG/2012 DT. 04/02/2013 | 2013-02-25 | 2016-02-24 | 285120 | working
97 | Video Endoscope system | B1 |  | 1200251~1200337~3101565 | 2013-05-03 | Health Ware~ Hyderabad | Endoscopy Room at AE OT | TNMSC | 1549/TNMSC/ENGG/2012 Dated 04.03.2013 | 2013-05-03 | 2016-05-02 | 727658 | working
98 | Ventilators (Paediatrics) | B2 | Ncpap | 1038 | 2011-01-10 | PHOENIX MEDICAL SYSTEM | NB WARD | RCH | RCH II/TNHSC/ENGG/E37/2010-5 | 2011-03-23 | 2012-03-22 | 124999 | working
99 | Ventilators (Paediatrics) | B2 | NCPAP | 1039 | 2011-01-10 | PHOENIX MEDICAL SYSTEMS | NB WARD | RCH | RCH II/TNMSC/ENGG/E37/2010 | 2011-03-23 | 2012-03-22 | 124999 | working
100 | Binocular Mircroscope | B2 | BLS118 |  | 2011-03-17 | JUPITER MANUFACTURING WORKS | LAB | RCH | RCH II/TNMSC/ENGG/7146/2010-2 | 2011-04-19 | 2012-04-18 | 12500 | working
101 | Auto Clave HP Horizontal-CYLINDRICAL | C | HZ 512 SPL |  | 2011-06-15 | SOLOCRAFT INDUSTRIES | OT | TNMSC | 2396/TNMSC/ENGG/2010 | 2011-06-27 | 2014-06-26 | 145000 | working
102 | Auto Clave HP Horizontal-CYLINDRICAL | C |  |  |  | SOLOCRAFT INDUSTRIES | OT | TNMSC |  |  |  | 145000 | working
103 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump-3 | C | ST6000 | 31693T/05~31668T/05~31731T/05 | 2011-08-24 | TRANS HEALTH CARE IND PVT LTD | MM~ NB WARD | TNHSP | TNHSP/TNMSC/AG15/2011 | 2011-08-24 | 2012-08-23 | 75600 | working
104 | Lab Incubator | C | RL 18H |  | 2011-03-17 | JUPITER MANUFACTURWORKSING | LAB | RCH |  | 2011-03-17 | 2011-03-17 | 26500 | working
105 | Pulse Oximeter | B2 | H5-without wave form | 1203002 | 2012-03-30 | Silicon Lab Pvt Ltd~ Chennai-59 | Labour ward 1No(H5-without waveform) FW OT 1No(H6-with wave form) | JDHS | 16946/A4/2006-4 dt.21.03.2012 | 2012-03-30 | 2013-03-29 | 45000 | working
106 | Pulse Oximeter | B2 | H6 with wave form | 1203007 | 2012-03-30 | Silicon Lab Pvt Ltd~ Chennai-59 | Labour ward 1No(H5-without waveform) FW OT 1No(H6-with wave form) | JDHS | 16946/A4/2006-4 dt.21.03.2012 | 2012-03-30 | 2013-03-29 | 45000 | working
107 | Syringe Pump-10 | B | Injectomat Agilia | 21575278~21575289~21575288~21575289~21575298~21575299~21575309~21575319~21575330~21577349 | 2012-03-26 | MIITI Electronics Pvt Ltd~ Chennai-20 | Labour ward-2~Paediatric ward-2~Male Medical ward-4~Neonatal ward-2 | DMS | 76970/Sandamp;P/1/2011 dt.12.03.2012 | 2012-03-26 | 2014-03-25 | 380000 | working
108 | Ultra Sound Scanner - Colour | B2 | LOGIQ p3 |  | 2009-09-09 | WiproGE Health care~ Bangalore | USG Department | TNHSP |  | 2009-09-29 | 2010-09-28 | 674800 | working
109 | Digital Radiography | A |  |  |  | Prognosys | DOP | TNHSP |  |  |  | 10005000 | working
110 | Semi auto analyser | B2 |  |  |  | microlab | lab | NRHM |  |  |  | 45000 | working
111 | Boyles apparatus with circle absorber | B | IOL |  |  | IOL | eot | DMS |  |  | nil | 85000 | Working
112 | Boyles apparatus with circle absorber | B | IOL |  |  | IOL | eot | DMS |  |  | nil | 85000 | Working
113 | Boyles apparatus with circle absorber | B | IOL |  |  | IOL | aeot | DMS |  |  | nil | 85000 | Working
114 | Boyles apparatus with circle absorber | B | IOL |  |  | IOL | MOT(MAIN OPERATION tHEATER) | DMS |  |  | nil | 85000 | Working
115 | Boyles apparatus with circle absorber | B | IOL |  |  | IOL | MOT(MAIN OPERATION tHEATER) | DMS |  |  | nil | 85000 | Working
116 | Boyles apparatus with circle absorber | B | IOL |  |  | IOL | fot | DMS |  |  | nil | 85000 | Working
117 | Boyles apparatus with circle absorber | B | IOL |  |  | IOL | fot | DMS |  |  | nil | 85000 | Working
118 | ent operating unit | B |  |  |  | Vansarri | OPD-ENT Dept | DMS |  |  | nil | 100000 | working
119 | ECG | c | BPL |  |  | BPL | Casuality | ppp |  |  | yes | 50000 | working
120 | cryotheraphy | C | Solokrafts |  |  | Solokrafts | AN ward | TNHSP |  |  | no | 25000 | working
121 | ventilator | B1 | Dragger |  |  | Madras Surgical andamp; Chemicals | Swine flu ward | DMS |  |  | no | 600000 | not working
122 | Radiant Warmer-6 | C | Nice Neotech |  |  | Madras Surgical andamp; Chemicals | NICU | TNHSP |  |  | yes | 150000 | working
123 | operation table-10 | B2 | Hydraulic |  |  | Solokrafts | OT |  |  |  | no | 1005000 | working
124 | BBR-2 | B | Remi |  |  | Remi | Blood Bank | TNHSP |  |  | no | 200000 | working
125 | Deep Freezer-3 | B1 | Solokrafts |  |  | Solokrafts | Blood Bank | TANSAC |  |  | no | 350000 | working
126 | eliza reader/washer | B1 | Robonik |  |  | Robonik | Blood Bank | TANSAC |  |  | no | 150000 | working
127 | cryofuge | B1 |  |  |  | thermofisher | Blood Bank | TANSAC |  |  | no | 2000000 | working
128 | A scan | C | Appasamy |  |  | Appasamy | eyeop | dbcs |  |  | no | 50000 | working
129 | operating microscope-eye-3 | B1 | Appasamy |  |  | Appasamy | eyeop | dbcs |  |  | no | 450000 | working
130 | Dialysis-2 | b1 | Fresenius |  |  | Fresenius | Dialysis ward | TNHSP |  |  | no | 1400000 | working
131 | heavy duty washing machine-100 kg | B | Ramsons |  |  | Ramsons | Laundry | TNHSP |  |  | no | 200000 | working
132 | Dental chair | B | Confidental |  |  | Confidental | Dental OP | TNHSP |  |  | no | 200000 | working
133 | x ray-300 ma | B1 | Wipro GE |  |  | Wipro GE | Ortho OP | DMS |  |  | no | 450000 | not working
134 | x ray-300 ma | B1 | Siemens |  |  | Siemens | x ray room | DMS |  |  | no | 450000 | working
135 | x ray-100 ma | B1 | philips |  |  | philips | NICU | NRHM |  |  | no | 200000 | working
136 | Suction apparatus-10 | c | electrical |  |  | electrical | ward |  |  |  | no | 150000 | working
137 | shadowless lamp-10 | c | mobile |  |  |  | OT |  |  |  | no | 20000 | working
138 | CT scan | A | toshiba |  |  | toshiba |  |  |  |  | yes | 10000000 | working
[11 empty] | total | 45371703

## GH Tambaram
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 4.3.2008 to 4.3.2015
District : Kancheepuram
Institution : GH Tambaram
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Boyles Apparatus | B |  |  |  | IOL | AEOT | DMS |  |  | nil | 150000 | working
2 | Boyles Apparatus | B |  |  |  | Madras Surgicals | AEOT | TNHSP |  |  | nil | 100000 | working
3 | Boyles Apparatus | B |  |  |  | L & T | COT | TNHSP |  |  | nil | 100000 | working
4 | Boyles Apparatus | B |  |  |  | L & T | COT | dMS |  |  | nil | 100000 | working
5 | Boyles Apparatus | B |  |  |  | Ecoline | GOT | dMS |  |  | nil | 100000 | working
6 | pulse oximeter | B2 |  |  |  | Trans Health Care | POP | DMS |  |  | nil | 45000 | not working
7 | pulse oximeter | B2 |  |  |  | Trans Health Care | COT | DMS |  |  | nil | 45000 | working
8 | pulse oximeter | B2 |  |  |  | Trans Health Care | AN Ward | DMS |  |  | nil | 45000 | working
9 | pulse oximeter | B2 |  |  |  | silicon labs | AEOT | tNHSP |  |  | nil | 45000 | working
10 | pulse oximeter | B2 |  |  |  | concept integration | COT | tNHSP |  |  | nil | 45000 | working
11 | pulse oximeter | B2 |  |  |  | concept integration | got | tNHSP |  |  | nil | 45000 | not working
12 | pulse oximeter | B2 |  |  |  | concept integration | ECC | tNHSP |  |  | nil | 45000 | working
13 | pulse oximeter | B2 |  |  |  | silicon labs | got | DMS |  |  | nil | 45000 | working
14 | pulse oximeter | B2 |  |  |  |  | cot | dms |  |  | nil | 45000 | working
15 | Pulse Oximeter | B2 | Radial-7 |  | 2013-03-01 | M/s Grace Mfg andamp; Trading co~ New Delhi | NICU | RCH | RCH II/TNMSC/ENGG/2011 Dated 10.05.2012 | 2013-03-01 | 2016-02-29 | 22000 | working
16 | Pulse Oximeter | B2 | Radial-7 |  | 2013-03-01 | M/s Grace Mfg andamp; Trading co~ New Delhi | NICU | RCH | RCH II/TNMSC/ENGG/2011 Dated 10.05.2012 | 2013-03-01 | 2016-02-29 | 22000 | working
17 | multiparamonitor | b2 | palnet 50 |  |  | L & T | cot | dms |  |  |  | 150000 | not working
18 | heavy duty washing machine | B2 |  |  |  | Ramsons | Laundry | tNHSP |  |  |  | 200000 | working
19 | freezer rack | B2 |  |  |  | Blue star | Blue star | TNHSP |  |  |  | 200000 | not working
20 | vertical autoclave | C |  |  |  | solokrafts | solokrafts | DMS |  |  |  | 40000 | working
21 | vertical autoclave | C |  |  |  | solokrafts | solokrafts | DMS |  |  |  | 40000 | working
22 | horizontal autoclave | B |  |  |  | Reliance Instruments |  | DMS |  |  |  | 150000 | working
23 | horizontal autoclave | B |  |  |  | Solokrafts |  | DMS |  |  |  | 150000 | working
24 | BBR | B |  |  |  | Remi |  | tNHSP |  |  |  | 150000 | working
25 | BBR | B |  |  |  | Remi |  | TNHSP |  |  |  | 150000 | working
26 | BBR | B |  |  |  | electrilux |  | TANSAC |  |  |  | 50000 | working
27 | defibrilator | B2 |  |  |  | miti electronics |  | TNHSP |  |  |  | 150000 | not working
30 | ceiling light | B2 |  |  |  | shan biotech |  | tnhsp |  |  |  | 500000 | working
31 | OT light-5 | C |  |  |  | jupiter |  | DMS |  |  |  | 100000 | working
32 | OT table-9 | b2 |  |  |  | jupiter |  | DMS |  |  |  | 900000 | working
33 | diathermy-2 | C |  |  |  | jupiter |  | DMS |  |  |  | 40000 | working
34 | diathermy | B2 |  |  |  | Surya surgicals |  | TNHSP |  |  |  | 200000 | not working
35 | suction apparatus-13 | C | [9 empty] | 130000 | working
36 | aed-3 | B2 |  |  |  | Madras Surgicals |  | TNHSP |  |  |  | 150000 | working
38 | cardiac monitor-4 | B2 |  |  |  | Miti electronics |  | TNHSP |  |  |  | 200000 | working
39 | ECG-4 | B2 |  |  |  | Madras Surgicals |  | TNHSP |  |  |  | 200000 | working
| x ray-100 mA | B2 |  |  |  | Adonis |  | TNHSP |  |  |  | 250000 | working
| x ray-200 mA | B2 |  |  |  | Allengers |  | TNMSC |  |  |  | 400000 | working
40 | x ray-100 mA | B2 |  |  |  | philips |  | TNHSP |  |  |  | 250000 | working
41 | x ray-100 mA | B2 |  |  |  | philips |  | TNHSP |  |  |  | 150000 | not working
42 | Traction Unit/Electronic Traction Unit | C | PHYSIOTRAC-Plus |  | 2014-12-12 | Barath Medical Systems~ Chennai-41 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-1 dt.21.11.2014 | 2014-12-12 | 2017-12-11 | 27990 | working
43 | Electric Stimulator | B2 | PHYSIOSTIM-D |  | 2014-12-12 | Bharath Medical Systems~ Chennai-41 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-1 dt.21.11.2014 | 2014-12-12 | 2017-12-11 | 5568 | working
44 | Short Wave Diathermy | B2 | SWD 350W with Trolley |  | 2014-12-12 | Bharath Medical Systems~ Chennai-41 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-1 dt.21.11.2014 | 2014-12-12 | 2017-12-11 | 31311 | working
45 | Tense Major | C | DIGI TENS-Pro |  | 2014-12-12 | Bharath Medical Systems~ Chennai-41 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-1 dt.21.11.2014 | 2014-12-12 | 2017-12-11 | 6130 | working
46 | Ultrasound Therapy | B2 | Electroson 709 |  | 2014-12-23 | Technomed Electronics~ Chennai-96 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt.21.11.2014 | 2014-12-23 | 2017-12-22 | 17894 | working
47 | Interferential therapy unit | C | Vectrodyne- 100 |  | 2014-12-23 | Technomed Electronics~ Chennai-96 | Physiotherapy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt.21.11.2014 | 2014-12-23 | 2017-12-22 | 21190 | working
48 | ventilator | B2 |  |  |  | Trans Health Care |  | TNHSP |  |  |  | 400000 | working
49 | c-arm | B2 |  |  |  | Adonis |  | TNHSP |  |  |  | 500000 | working
50 | ortho drill battery | B2 | [9 empty] | 300000 | not working
51 | radiant warmer-7 | C |  |  |  | Madras Surgicals |  | tnhsp |  |  |  | 140000 | working
52 | phototheraphy-3 | C |  |  |  | Madras Surgicals |  | tnhsp |  |  |  | 60000 | working
53 | dental chair | C |  |  |  | Confidental Equipments |  | DMS |  |  |  | 150000 | working
54 | usg | B2 |  |  |  | Surya surgicals |  | TNHSP |  |  |  | 450000 | not working
55 | usg | B2 |  |  |  | Wipro GE |  | NRHM |  |  |  | 450000 | working
56 | B.P.apparatus dial model-70 | C | HEINE GERMAN MAKE GAMMA G5 |  | 2013-02-14 | Vaansari Marketing Services~ Chennai-49 | Issued to all wards and Operation theaters | TNHSP | TNHSP/TNMSC/BMWM/UNDP-GEF-MoEF/2012 Dated 31.01.2013 | 2013-02-14 | 2018-02-13 | 442000 | working
57 | baby incubator | B2 |  |  |  | Madras Surgicals |  | TNHSP |  |  |  | 125000 | working
58 | cryotheraphy | C |  |  |  | solokrafts |  | TNHSP |  |  |  | 32000 | working
59 | colposcope | B2 |  |  |  | SISCO |  | TNHSP |  |  |  | 125000 | working
60 | Cell Counter | B2 |  |  |  | Transasia |  | DMS |  |  |  | 450000 | not working
61 | Cell Counter | B2 |  |  |  | Transasia |  | DMS |  |  |  | 250000 | working
62 | Eliza Reader/washer | B2 | [5 empty] | DMS |  |  |  | 450000 | working
63 | operating microscope | [10 empty] | 250000 | working
[11 empty] | total | 10583083

## gh spudur
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 4.3.2008 to 4.3.2015
District : Kancheepuram
Institution : GH sriperampudur
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Boyles Apparatus | B |  |  |  | IOL | OT |  |  |  | no | 100000 | working
2 | Boyles Apparatus | B |  |  |  | IOL | OT |  |  |  | no | 100000 | working
3 | pulse oximeter | B2 |  |  |  | Masimo | OT |  |  |  | no | 45000 | working
4 | pulse oximeter | B2 |  |  |  | Masimo | OT |  |  |  | no | 45000 | working
5 | multiparamonitor | B2 |  |  |  | Trans Health Care | OT |  |  |  | no | 150000 | working
6 | freezer rack | B2 |  |  |  | Blue star | Mortuary |  |  |  | no | 200000 | not working
7 | vertical autoclave | C |  |  |  | solokrafts | OT |  |  |  | no | 40000 | working
8 | vertical autoclave | C |  |  |  | Jupiter | Dental OP |  |  |  | no | 40000 | working
9 | BBR | B2 |  |  |  | Remi | Blood bank |  |  |  | no | 75000 | working
10 | OT light | C |  |  |  | Jupiter | OT |  |  |  | no | 20000 | working
11 | OT light | C |  |  |  | Jupiter | OT |  |  |  | no | 20000 | working
12 | OT light | C |  |  |  | Jupiter | OT |  |  |  | no | 20000 | working
13 | OT light | C |  |  |  | Jupiter | OT |  |  |  | no | 20000 | working
14 | OT table | B2 |  |  |  | Jupiter | OT |  |  |  | no | 60000 | working
15 | OT table | B2 |  |  |  | Jupiter | OT |  |  |  | no | 60000 | working
16 | OT table | B2 |  |  |  | Jupiter | OT |  |  |  | no | 60000 | working
17 | OT table | B2 |  |  |  | Jupiter | OT |  |  |  | no | 40000 | working
18 | diathermy | B2 |  |  |  | Hiren pharma | OT |  |  |  | no | 200000 | working
19 | suction apparatus-8 | c |  |  |  | electrical | wards |  |  |  | no | 80000 | working
20 | aed-1 | B2 |  |  |  | Philips | op |  |  |  | yes | 50000 | working
21 | defibrilator | B2 |  |  |  | BPL | ot |  |  |  | no | 150000 | working
22 | ECG-3 | c |  |  |  | Bionet | op |  |  |  | no | 200000 | working
23 | x ray | B2 |  |  |  | Adonis | X ray |  |  |  | no | 250000 | working
24 | x ray | B2 |  |  |  | mascco | X ray |  |  |  | no | 450000 | working
25 | x ray-1 | B2 |  |  |  | allengers | X ray |  |  |  | no | 150000 | not working
26 | Ultrasound Therapy | c |  |  |  |  | physio |  |  |  | no | 17894 | working
27 | Interferential therapy unit | c |  |  |  |  | physio |  |  |  | no | 21190 | working
28 | radiant warmer-5 | c |  |  |  | madras surgicals | new born ward |  |  |  | no | 140000 | working
29 | phototheraphy-1 | c |  |  |  | madras surgicals | new born ward |  |  |  | no | 60000 | working
30 | dental chair | B2 |  |  |  | confidental equipments | dental op |  |  |  | no | 150000 | working
31 | usg | B2 |  |  |  | L & T | scan room |  |  |  | no | 450000 | working
32 | baby incubator | B2 |  |  |  | Madras surgicals | new born ward |  |  |  | no | 125000 | working
33 | cryotheraphy | c |  |  |  | solofrafts | ncd clinic |  |  |  | no | 32000 | working
34 | ring lens | c |  |  |  | solofrafts | ncd clinic |  |  |  | no | 4400 | working
| operating microscope-ent | B2 |  |  |  | Appasamy | ot |  |  |  | no | 250000 | working
[11 empty] | total | 3875484

## gh madu
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 4.3.2008 to 4.3.2015
District : Kancheepuram
Institution : GH madurantakam
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Boyles Apparatus | B |  |  |  | IOl |  |  |  |  | nil | 100000 | working
2 | Boyles Apparatus | B |  |  |  | IOL |  |  |  |  | nil | 100000 | working
3 | pulse oximeter | B2 |  |  |  | masimo |  |  |  |  | nil | 45000 | working
4 | pulse oximeter | B2 |  |  |  | masimo |  |  |  |  | nil | 45000 | working
5 | multiparamonitor-3 | B2 |  |  |  | trans health care |  |  |  |  | nil | 450000 | working
6 | freezer rack | B2 |  |  |  | blue star |  |  |  |  | nil | 200000 | working
7 | vertical autoclave | C |  |  |  | solokrafts |  |  |  |  | nil | 40000 | working
8 | vertical autoclave | C |  |  |  | solokrafts |  |  |  |  | nil | 40000 | working
9 | vertical autoclave | C |  |  |  | solokrafts |  |  |  |  | nil | 40000 | not working
10 | vertical autoclave | C |  |  |  | solokrafts |  |  |  |  | nil | 40000 | not working
11 | BBR-5 | B2 |  |  |  | remi |  |  |  |  | nil | 500000 | working
12 | OT light-4 | B2 |  |  |  | jupiter |  |  |  |  | nil | 80000 | working
13 | OT table-3 | B2 |  |  |  | jupiter |  |  |  |  | nil | 40000 | working
14 | diathermy | B2 |  |  |  | hirenpharma |  |  |  |  | nil | 200000 | working
15 | suction apparatus-8 | c |  |  |  | electrical |  |  |  |  | nil | 80000 | working
16 | aed-1 | B2 |  |  |  | philips |  |  |  |  | nil | 50000 | working
17 | ECG-2 | c |  |  |  | edan |  |  |  |  | nil | 200000 | working
18 | x ray-2 | B2 |  |  |  | medonis |  |  |  |  | nil | 600000 | working
19 | Ultrasound Therapy | c | [8 empty] | nil | 17894 | working
20 | Interferential therapy unit | c | [8 empty] | nil | 21190 | working
21 | radiant warmer-5 | c |  |  |  | madras surgiclas |  |  |  |  | nil | 140000 | working
22 | phototheraphy-2 | c |  |  |  | madras surgiclas |  |  |  |  | nil | 40000 | working
23 | dental chair | B2 |  |  |  | confidental equipments |  |  |  |  | nil | 150000 | working
24 | usg | B2 |  |  |  | L & T |  |  |  |  | nil | 450000 | working
25 | colposcope | B2 |  |  |  | SISCO |  |  |  |  | nil | 125000 | working
26 | baby incubator | B2 |  |  |  | madras surgiclas |  |  |  |  | nil | 125000 | working
27 | cryotheraphy | c |  |  |  | solokrafts |  |  |  |  | nil | 32000 | working
28 | centrifuge | c |  |  |  | solokrafts |  |  |  |  | nil | 25000 | working
29 | bp apparatus | c | [8 empty] | nil | 4000 | working
[11 empty] | total | 3919084