## Sheet1
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 03/03/2009-02/03/2015
District : Villupuram
Institution : Marakkanam GH
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Multi Para Monitor | B2 | G3D |  | 2014-07-15 | TRANS HEALTH CARE INDIA PRIVATE LIMITED | OPERATION THEATOR | TNMSC |  | 2014-07-15 |  | 63000 | yes
2 | Water Bath/Ultrasonic Water Bath | C | SMI - 143 |  | 2014-05-23 | S.M. SCIENTIFIC INSTRUMENTS PVT.LTD | MAIN STORE | TNHSP | TNHSP/TNMSC/AG87H(R)/2014-10/04/2014 | 2014-09-11 |  | 8427 | yes
3 | PH meter | C | RPA -1GRTIOANPN |  | 2014-04-20 | RLT INSTRUMENTATION LTD. | MAIN STORE | TNHSP |  | 2014-04-29 | 2015-04-20 | 60221 | yes
4 | Haemoglobinometer | C |  | 2014015 | 2014-10-14 | SOLOKRAFTS INDUSTRIES | LAB | TNHSP | TNHSP/TNMSC/ENGG/AG87B/2014 | 2014-11-15 | 2015-07-25 | 10185 | yes
5 | Foetal Doppler | C | A100H | 1141 | 2014-11-15 | MEDI WAVES INC. | LABOUR WARD | TNMSC | 17240/TNMSC/ENGG/2014-2015 | 2014-11-15 | 2017-08-07 | 9486 | yes
6 | Electric Calorimeter | C |  | PEL1541213RBK | 2014-02-26 | ROBONIK (INDIA) PVT.LTD. | LAB | TNHSP | TNHSP/TNMSC/AG87B/2013-2 | 2014-03-28 |  | 20708 | yes
7 | Ultra Sonogram -MOBILE | B | SONATA | 336529 | 2003-12-25 | LARSEN andamp; TOUBRO |  | DMS |  |  |  | 311537 | yes
8 | Binocular Mircroscope | B2 | BDI-13A |  | 2014-01-02 | SOLOKRAFTS INDUSTRIES | LAB | TNHSP | TNHSP/TNMSC/AG87C/2013~22.10.13 | 2014-01-24 | 2015-01-02 | 19530 | yes
9 | Electric Calorimeter | C |  |  | 2014-02-26 | ROBONIK INDIA PVT. LTD. | LAB | TNMSC | TNHSP/ TNMSC/ AG 87C/2013 dt 28.11.2013 | 2014-03-28 | 2015-03-28 | 20302 | yes
10 | Boyles apparatus with Circle Abosrber | B |  |  |  | JDHS Villupuram | OT |  |  |  |  | 0 | yes
11 | Suction Apparatus - Electrical | C | Electrical |  |  | Since From PHC | OT |  |  |  |  | 4500 | yes
12 | B.P.apparatus table model | C | Box Model |  |  | Since From PHC | OP |  |  |  |  | 550 | yes
13 | B.P.apparatus stand model | C | Stand Model |  |  | GH Vanur | OT |  |  |  |  | 550 | yes
14 | Suction Apparatus - Electrical | C | Foot Operated |  |  | GH Vanur | OT |  |  |  |  | 1500 | yes
15 | Alpha Bed with motor | C |  |  |  | Associated surgicals | OP |  |  |  |  | 6600 | yes
16 | Glucometer | C |  |  |  | Associated surgicals | OP |  |  |  |  | 1500 | yes
17 | Formaline dispenser | C |  |  |  | South India Surgicals | OT |  |  |  |  | 0 | yes
18 | Infusion pump | C | Akas |  |  | Akas Medicals | OP |  |  |  |  | 0 | condemn
19 | Alpha Bed with motor | C |  |  | 2007-07-13 | Jupitor Manufacturing Works | OP | TNMSC |  |  |  | 6600 | yes
20 | Shadowless Lamp stand model | B |  |  |  |  | OT |  |  |  |  | 13000 | yes
21 | Shadowless Lamp stand model | B |  |  |  |  | OT |  |  |  |  | 13000 | yes
22 | Autoclave Mini | B | 1 Bin |  |  |  | OT |  |  |  |  | 0 | condemn
23 | Auto Clave HP Vertical (2 bin) | C | 2 Bin |  |  |  | OT |  |  |  |  | 31300 | yes
24 | Pulse Oximeter | B | SE300B |  | 2009-01-20 | VIN BIOTECH | OT | TNHSP |  | 2009-01-20 | 2010-01-20 | 750 | yes
25 | Needle destroyer / Syringe Destroyer | C |  |  | 2009-11-24 | GLOLIFE | OT | TNHSP |  | 2009-11-24 | 2010-11-24 | 750 | yes
26 | Suction Apparatus - Electrical | C |  |  | 2010-03-19 | Jupitor Manufacturing Works | OP | DMS |  | 2010-03-19 | 2011-03-19 | 4500 | yes
27 | Shadowless Lamp stand model | B |  |  | 2010-03-19 | Jupitor Manufacturing Works | OT | DMS |  | 2010-03-19 | 2011-03-19 | 4500 | yes
28 | Suction Apparatus - Electrical | C |  |  | 2010-02-23 | Vishal | OT | TNHSP |  | 2010-02-23 | 2011-02-23 | 4500 | yes
29 | Suction Apparatus - Electrical | C |  |  | 2010-02-23 | Vishal | OT | TNHSP |  | 2010-02-23 | 2011-02-23 | 4500 | yes
30 | Suction Apparatus - Electrical | C |  |  | 2010-02-23 | Vishal | OT | DMS |  | 2010-02-23 | 2011-02-23 | 4500 | yes
31 | Auto Clave HP Vertical (2 bin) | C |  |  | 2010-02-23 | Vishal | OT | DMS |  | 2010-02-23 | 2011-02-23 | 13000 | yes
32 | Radiant warmer |  |  |  | 2011-09-21 | Madras surgical company | Labour room | TNHSP |  | 2011-10-06 |  | 13000 | yes
33 | ECG MACHINE |  |  | 309035-M11801710095 | 2011-10-18 | MADRAS SURGICAL COMPANY | NCD ROOM | TNHSP |  | 2011-11-10 |  | 36637 | yes
34 | Semi auto analyser | B2 | ROBONIK | AT03020807RBK | 2011-09-21 | SHAN BIO TECH | LABORATORY | TNHSP |  | 2011-12-21 | 2011-09-21 | 48426 | yes
35 | CENTRIFUGE |  | BDI - 152 |  | 2012-02-10 | SOLOKRAFTS INDUSTRIES | LABORATORY | TNHSP |  | 2012-02-11 |  | 5345 | yes
36 | CRYOTHERAPHY UNIT |  | CRYO004B ON -OFF SUPER DELUX |  | 2012-01-26 | SOLOKRAFTS INDUSTRIES | NCD ROOM | TNHSP |  |  |  | 24331 | yes
37 | RING LENS SYSTEM WITH ILLUINATION |  |  |  | 2012-01-26 | SOLOKRAFTS INDUSTRIES |  | TNHSP |  |  |  | 7337 | yes
38 | ECG Monitor | B | ses 300B | so300B 2a020893826 | 2008-11-20 | Madras Surgicals Chennai | casuality | TNHSP |  | 2008-11-20 |  | 46550 | yes
39 | Pulse Oximeter | B2 | STELLER - P | SO7P25319 | 2008-01-21 | LARSEN andamp; TOUBRO LIMITED~ CHENNAI | CASUALITY | TNHSP | TNHSP/TNMSC/P2E9/2007 | 2008-01-21 | 2009-01-20 | 34762 | yes
40 | Operation Table Hydraulic Major | B2 |  |  | 2008-12-31 | Jupitor Manufacturing Works | OT | TNHSP |  | 2008-12-31 | 2009-12-31 | 0 | yes
41 | Manual Colposcope | B | ARI II-ID |  |  | SISCO | Ncd ROOM | TNHSP | TNMSC/ TNHSP/ AG 21/ 2013 dt 22/08/11 | 31.03.2013 |  | 136500 | yes
992384