## ooty
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | Supplier Name | Location of Equipment | Source of supply | Purchase order. NO | Date of Installation | Warranty Valid Upto | Cost of the item
1 | Blood Cell Counter | BLD_CLCN | 00084/CLCN/1 | B2 | POCH1001 | F2379 | TRANSASIA BIOMEDICAL/PUDUCHERRY | D P H LAB |  |  | 2013-01-09 | 2016-01-07 | 290822
2 | Blood Cell Counter | BLD_CLCN | 00084/CLCN/2 | B2 | Sysmex KX21 | B3161 | TRANSASIA BIOMEDICAL/PUDUCHERRY | D P H LAB |  |  | 11.09.08 | 10.9.09 | 341651
3 | Blood Cell Counter | BLD_CLCN | 00084/CLCN/3 | B2 | Sysmex XP100 | 3247 | TRANSASIA BIOMEDICAL/PUDUCHERRY | D P H LAB | TNMSC | 5859/TNMSC/ENG/14 | 24.10.14 | 23.10.17 | 309060
4 | Shadowless Lamp stand model | OTE_MOLT | 00084/MOLT/15 | B | HOSPITECH | SN-031/01 | JUPITER SURGICALS CBE (G.H.MANJOOR) | HQOT | TNHSP |  | 2009-05-25 |  | 5653
5 | Shadowless Lamp stand model | OTE_MOLT | 00084/MOLT/16 | B | HOSPTECH | SN-031/02 | JUPITER SURGICALS CBE (G.H MANJOOR) | SHOT | TNHSP |  | 2012-08-13 |  | 5653
6 | Pulse Oximeter with NIB.P | CRD_POBP | 00084/POBP/3 | B2 | INNOVA 10 CR | CIB02 BJ10 | CONCEPT INTERGRATED LTD PUNE | ICU | TNHSP |  | 2013-03-18 | 2014-03-17 | 57120
7 | Pulse Oximeter with NIB.P | CRD_POBP | 00084/POBP/3 | B2 | INNOVA 10 CR | CIB02 BJ09 | CONCEPT INTERGRATED LTD PUNE | HQOT | TNHSP |  | 2013-03-18 | 2014-03-17 | 57120
8 | Pulse Oximeter with NIB.P | CRD_POBP | 00084/POBP/3 | B2 | INNOVA 10 CR | CIB02 BJ07 | CONCEPT INTERGRATED LTD PUNE | SHOT | TNHSP |  | 2013-03-18 | 2014-03-17 | 57120
9 | Pulse Oximeter with NIB.P | CRD_POBP | 00084/POBP/3 | B2 | INNOVA 10 CR | CIB02 BJ08 | CONCEPT INTERGRATED LTD PUNE | Insurance ward | TNHSP |  | 2013-03-18 | 2014-03-17 | 57120
10 | UGS doppler | IME_UGSD | 00084/UGSD/1 | B2 | Logiq P3 | 57663WS7 | Transfered from pallipattu GH(Thiruvallur district) | HQ scan room |  |  |  | 2011-12-28 | 674800
11 | C.T. Scan Muilty Slice | IME_CTMS | 00084/CTMS/1 | A | TOSHIBA |  | TOSHIBA | CT Scan room |  |  |  |  | 0
12 | Binocular Mircroscope | LAB_BIMS | 00084/BIMS/1 | B2 | BDI-13A | 22447 | SOLOKRAFT INDUSTRIES CHENNAI | DPH Lab | TNHSP | AG87i/2013 | 10.3.14 | 9.3.15 | 18530
13 | Binocular Mircroscope | LAB_BIMS | 00084/BIMS/1 | B2 | BDI-13A | 22824 | SOLOKRAFT INDUSTRIES CHENNAI | DPH Lab | TNHSP | AG87i/2013 | 10.3.14 | 9.3.15 | 18530
14 | Blood Bank Refrigerator | LAB_BLDR_T | 00084/BLDR/2 | B | JA35 250-300 | D0608TN26 | Jove Automation | Blood Bank | TNHSP | E3/06 | 16.11.05 | 17.11.06 | 53724
15 | Shadowless Lamp stand model | OTE_MOLT | 00084/MOLT/3 | B |  | MOL/001 | Associate surgicals chennai | SHOT |  |  |  |  | 6372
16 | Shadowless lamp ceiling type minor | OTE_CLMI | 00084/CLMI/3 | B |  | MOL/002 | General surgical chennai | AEOT |  |  |  |  | 5653
17 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/5 | B2 | Jupiter Manufacturing Works~ Coimbatore |  | Jupiter Manufacturing Works~ Coimbatore | SHOT |  |  | 1.2.08 |  | 55120
18 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/6 | B2 | Jupiter Manufacturing Works~ Coimbatore |  | Jupiter Manufacturing Works~ Coimbatore | SHOT |  |  | 14.07.08 |  | 55120
19 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/11 | B2 | Jupiter Manufacturing Works~ Coimbatore |  | Jupiter Manufacturing Works~ Coimbatore | HQOT |  |  | 11.02.08 |  | 55120
20 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/12 | B2 | Jupiter Manufacturing Works~ Coimbatore |  | Jupiter Manufacturing Works~ Coimbatore | HQOT |  |  | 11.02.08 |  | 55120
21 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/14 | B2 |  |  | Associate surgicals chennai | HQOT |  |  |  |  | 32073
22 | Boyles Apparatus with Fluotec and circle absorber | ANA_BAWC | 00084/BAWC/4 | B | Meditech | 51007201 | Madras surgicals chennai | EYE OT |  |  | 15.11.07 |  | 135200
23 | Syringe Pump | CRD_SYRP_T | 00084/SYRP/1 | B | [8 empty] | 29845
24 | Dental Unit with motor for dental OP | DEN_DEUN | 00084/DEUN/1 | B2 | Confident | 1923 | Confident | Dental | DMS |  | 10.11.12 |  | 123415
25 | Operating Microscope(Eye) | EYE_OMS_T | 00084/OMS/1 | B | NIKON JAPAN | 1029374 | Appaswamy~Takagi | Eye OT |  |  | 12.07.01 |  | 250000
26 | Operating Microscope(Eye) | EYE_OMS_T | 00084/OMS/2 | B | aravind engineering/ AA-OM-10 | AE1/NB/9812128 | Appaswamy~Takagi | Eye OT |  |  | 9.2.99 |  | 200000
27 | Operating Microscope(Eye) | EYE_OMS_T | 00084/OMS/3 | B | Takagi ceiko japan/OM | 907465 | Appaswamy~Takagi | Eye OT |  |  | 30.10.07 |  | 258544
28 | A-Scan Biometer | EYE_ASB_T | 00084/ASB/1 | B | Innomed hungavy | J-25-017 | INNOMED MEDICAL INC HUGARY | Eye op |  |  | 28.6.99 |  | 122909
29 | Cryo Surgery Unit |  | 00084/CRYU/1 | B2 | CRYO-004B-ON-OFF |  | SOLOKRAFT INDUSTRIES CHENNAI | SHOP |  |  | 20.7.12 |  | 24331
30 | Elisa Reader cum washer | LAB_ELRW | 00084/ELRW/1 | B |  |  |  | Lab |  |  |  |  | 3520900
31 | ECG machine ordinary | CRD_ECGO | 00084/ECGO/5 | B | Cardiotouch 3000 | T2L0900083 | JK Medicals | ECG ROOM |  |  | 18.11.11 |  | 69023
32 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/2 | B | stellar p | S08P25400 | LandT | HQOT |  |  | 19.3.08 |  | 34763
33 | Diathermy Machine (Electric Cautery) | OTE_SDIA | 00084/SDIA/4 | B | Aesculap |  | Aesculap | OT |  |  | 22.1108 |  | 292021
35 | ECG machine computerized | CRD_ECGC | 00084/ECGC/2 | B | EDAN SE300 | 309035M11801710049 | Madras Surgicals and Chemicals | ECG ROOM |  |  | 7.1.11 |  | 38470
36 | Multi Para Monitor | CRD_MPM_T | 00084/MPM/2 | B | SILICON |  | SILICON LAB PVT LTD | NICU |  |  | 2007-12-02 | 2008-11-02 | 70000
37 | Operation table Hydraulic Minor | OTE_TAMI | 00084/TAMI/3 | B2 | hydraulic |  | RELIANCE | OT |  |  | 2007-09-02 | 2007-08-02 | 34665
38 | Operation table Hydraulic Minor | OTE_TAMI | 00084/TAMI/4 | B2 |  |  | Associate surgicals chennai | EYE OT |  |  | 12.5.88 |  | 11570
39 | Operation table Hydraulic Minor |  |  | B2 |  |  | SOUTH INDIA SURGICALS CHENNAI | New OT | TNHSP | AG86i/R/20 | 2015-05-02 | 2017-04-02 | 94500
40 | Operation table Hydraulic Minor |  |  | B2 |  |  | SOUTH INDIA SURGICALS CHENNAI | New OT | TNHSP | AG86i/R/20 | 2015-05-02 | 2017-04-02 | 94500
41 | Operation table Hydraulic Minor | OTE_TAMI | 00084/TAMI/4 | B2 |  |  | Associate surgicals chennai | EYE OT |  |  | 12.5.88 |  | 11570
42 | ECG machine computerized | CRD_ECGC | 00084/ECGC/3 | B | Hp |  | Hp | ECG ROOM |  |  |  |  | 50000
43 | VENTILATOR NEONATEL |  | 00084/undefined/1 |  | BEARCUB750 PSV | AHC01031 | TRANS HEALTH CARE CHENNAI | NICU |  |  | 2007-05-14 | 2009-05-13 | 629200
44 | A-Scan Biometer | EYE_ASB | 00084/ASB/1 | B2 | SM400P | J-25-017 | INNOMED MEDICAL INC HUGARY | EYE OP |  |  | 1999-06-28 | 2000-06-27 | 122909
45 | A-Scan Biometer | EYE_ASB | 00084/ASB/2 | B2 | SM400P | G54-118 | M/S STERALIT LTD CALCUTTA | EYE OP |  |  | 2001-04-03 | 2002-04-02 | 122909
46 | A-Scan Biometer | EYE_ASB | 00084/ASB/3 | B2 | SM400P | 134-079 | M/S STESALITE LTD CALCUTTA | EYE OP |  |  | 2001-06-18 | 2002-07-17 | 122909
47 | ECG machine computerized | CRD_ECGC | 00084/ECGC/7 | B | CARDIO TOUCH 3000 | TZL0900083 | J.K MEDICAL SYSTEM CHENNAI | ECG DEPT |  |  | 2011-11-18 | 2012-11-17 | 69023
48 | Binocular Mircroscope | LAB_BIMS | 00084/BIMS/6 | B2 | AJ-12 | 96D-01415 | SCIENTIFIC INDIA AMBALA HARIYANA | DPH LAB |  |  | 2001-02-25 |  | 10805
49 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/26 | B2 | PLANET 50 | T06W50935 | Landamp;T CHENNAI | HQOT |  |  | 2006-08-22 | 2007-08-21 | 104000
50 | Autoclave Mini | OTE_AUTM | 00084/AUTM/1 | B |  |  | jupiter mfg works | SHOB |  |  | 2008-06-19 | 2009-06-18 | 21840
51 | Baby Incubators | NNE_BINC | 00084/BINC/5 | B2 | NICE 3010R | 7121206 | MADRAS SURGICALS andamp; CHEMICALS CHENNAI | NICU |  |  | 2007-12-24 | 2008-12-23 | 49795
52 | Syringe Pump | CRD_SYRP | 00084/SYRP/6 | B | EVADROP-30 | 10103159 | SCILLER HEALTH~ PONDY | NICU |  |  | 2010-12-31 | 2013-12-30 | 27030
53 | Syringe Pump | CRD_SYRP | 00084/SYRP/1 | B | ST670 | 377310/28 | TRANS HEALTH CARE CHENNAI | NICU |  |  | 2010-10-05 | 2011-10-04 | 22464
54 | Shadowless Lamp stand model | OTE_MOLT | 00084/MOLT/12 | B |  |  | ASSOCIATED SURGICALS CHENNAI | AEOT |  |  | 1999-07-27 |  | 6136
55 | Autoclave Mini | OTE_AUTM | 00084/AUTM/2 | B |  |  | JUPITER MFG WORKS CBE | POSPL |  |  | 2008-06-19 | 2009-06-18 | 21840
56 | Baby Incubators | NNE_BINC | 00084/BINC/6 | B2 | NICE 3010R | 7121246 | (RECEIVED FROM G.H. COONOOR) (MADRAS CHEMICALS andamp; SURGICALS CHENNAI | NICU |  |  |  | 2011-03-23 | 49795
57 | Multi Para Monitor | CRD_MPM | 00084/MPM/4 | B2 | S61 | 10232150096 | TRANS HEALTH ARE LTD CHENNAI | NICU |  |  | 2010-11-05 | 2011-11-04 | 51480
58 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/13 | B2 | STELLER-P | 508P25273 | Landamp;T LTD CHENNAI | SHOT |  |  | 2008-03-19 | 2011-04-23 | 34763
59 | Syringe Pump | CRD_SYRP | 00084/SYRP/2 | B | SAMTRONIC | 37756D/28 | TRANS HEALTH CARE CHENNAI | NICU |  |  | 2010-10-05 | 2011-10-04 | 24464
60 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/14 | B2 | TOP 800 | T080010812066 | SOUTHERN MEDICAL SYSTEM~TRICHY | SHOT |  |  | 2009-01-12 | 2001-01-11 | 18450
61 | Syringe Pump | CRD_SYRP | 00084/SYRP/3 | B | 404(0) | HO9061128 | AKASH MEDICALS CHENNAI | ICCU |  |  | 2007-04-24 | 2008-04-23 | 29848
62 | Syringe Pump | CRD_SYRP | 00084/SYRP/5 | B | EVADROP-30 | 10103158 | SCHILLERS HEALTH CARE~PONDY | NICU |  |  | 2010-12-31 | 2013-12-30 | 27030
63 | Syringe Pump | CRD_SYRP | 00084/SYRP/4 | B | 404(0) | HO8061100 | AKASH MEDICALS~CHENNAI | ICCU |  |  | 2007-04-24 | 2008-04-23 | 29848
64 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/1 | B2 | Hydrallic |  | Reliance Instruments | OT |  |  | 2007-12-12 | 2008-12-11 | 50000
65 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/2 | B2 | Hydrallic |  | Reliance Instruments | OT |  |  | 2007-12-12 | 2008-12-11 | 50000
66 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/3 | B2 | Jupiter 205 |  | Jupiter Manufacturing Works~ Coimbatore | OT |  |  | 2007-10-10 | 2008-10-09 | 45000
67 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/4 | B2 | Jupiter 205 |  | Jupiter Manufacturing Works~ Coimbatore | OT |  |  | 2007-11-12 | 2008-11-11 | 45000
68 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/1 | B | Stellar P |  | Landamp;T | OT |  |  | 2008-01-29 | 2009-01-27 | 50000
69 | Shadowless Lamp stand model | OTE_MOLT | 00084/MOLT/8 | B |  |  | HAMENT SURGICALE CHENNAI | HQOT |  |  | 1980-06-03 |  | 1022
70 | Defibrillator | CRD_DEFI | 00084/DEFI/6 | B2 | HEART STAT FRX | B12C 05581 | PHILIPS I LTD PONDY | HQOT | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 | 2012-09-14 | 2013-08-15 | 58696
71 | Defibrillator | CRD_DEFI | 00084/DEFI/10 | B2 | HEART STAT FRX | B12C 06047 | PHILIPS I LTD PONDY | CASUALTY | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 | 2012-09-14 | 2013-09-13 | 58696
72 | Defibrillator | CRD_DEFI | 00084/DEFI/7 | B2 | HEART STAT FRX | B12C 00372 | PHILIP I LTD PONDY | SHOT | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 | 2012-09-14 | 2013-09-13 | 58696
73 | Defibrillator | CRD_DEFI | 00084/DEFI/8 | B2 | HEART STAT FRX | B12C 05553 | PHILIPS I LTD PONDY | ICU | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 | 2012-09-14 | 2013-09-13 | 58696
74 | Defibrillator | CRD_DEFI | 00084/DEFI/9 | B2 | HEART STAT FRX | B12C 05634 | PHILIPS I LTD PONDY | POandamp;SPL | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 | 2012-09-14 | 2013-09-13 | 58696
75 | Ultrasound Therapy | PHY_ULT | 00084/ULT/1 | B2 |  |  | HARISH ENTERPRISES CHENNAI | PHYSIOTHERAPY UNIT |  |  | 2012-12-20 |  | 8500
76 | Phototherapy - Whole Body | DER_PWB | 00084/PWB/1 | B2 |  | PHOT001 | BET MEDICALS CHENNAI | NICU |  |  | 1996-03-19 | 1997-03-18 | 8750
77 | Phototherapy - Whole Body | DER_PWB | 00084/PWB/7 | B2 | NICE4000PT | 708333 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2008-02-13 | 2009-03-12 | 9360
78 | Phototherapy - Whole Body | DER_PWB | 00084/PWB/2 | B2 | NICE4000CFL | 612388 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-01-24 | 2008-01-23 | 12208
79 | Phototherapy - Whole Body | DER_PWB | 00084/PWB/5 | B2 | NICE4000CFL | 612391 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-01-24 | 2008-01-23 | 12208
80 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/27 | B2 | MASIMO RADICAL-7 | T061704 | GRACE MFG CO DELHI | NICU |  |  | 2013-02-04 | 2014-02-03 | 88230
81 | Phototherapy - Whole Body | DER_PWB | 00084/PWB/3 | B2 | NICE4000CFL | 612389 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-01-24 | 2008-01-23 | 12208
82 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/28 | B2 | MASIMO RADICAL-7 | T060271 | GRACE MFG CO DELHI | NICU |  |  | 2013-02-04 | 2016-02-03 | 88230
83 | Phototherapy - Whole Body | DER_PWB | 00084/PWB/4 | B2 | NICE4000CFL | 612390 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-01-24 | 2008-01-24 | 12208
84 | Phototherapy - Whole Body | DER_PWB | 00084/PWB/6 | B2 | NICE4000CT | 605252 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-03-13 | 2008-01-23 | 9090
85 | Suction Apparatus - Electrical(Hivacuam) | OTE_SAHV | 00084/SAHV/1 | B2 |  |  | JUPITER MFG WORKS CBE | WARD-500 |  |  | 2012-11-27 | 2013-11-26 | 14175
86 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/19 | B2 | NICE2000 | 707335 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2008-02-13 | 2009-02-12 | 17898
87 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/20 | B2 | NICE2000 | 707330 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2008-02-13 | 2009-02-12 | 17898
88 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/21 | B2 | NICE2000 | 707334 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2008-02-13 | 2009-02-12 | 17898
89 | Phototherapy - Whole Body | DER_PWB | 00084/PWB/8 | B2 | NICE4000PT | 708332 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2008-02-13 | 2009-03-12 | 9360
90 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/22 | B2 | NICE2000 | 707329 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2008-02-13 | 2009-02-12 | 17898
91 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/6 | B2 | NICE 2000B | 612497 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-01-24 | 2008-01-23 | 20721
92 | Phototherapy - Whole Body | DER_PWB | 00084/PWB/9 | B2 | PT104 | 322 | J.S.S. COLLEGE OF PHARMACY OOTY | NICU |  |  | 2006-04-17 | 2007-04-16 | 11934
93 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/7 | B2 | NICE 2000B | 612496 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-01-24 | 2008-01-23 | 20721
94 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/15 | B2 | NICE2007S | 7121314 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-12-24 | 2008-12-23 | 18387
95 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/8 | B2 | NICE 2000B | 612501 | MADRAS SURGICAL CHENNAI | NICU |  |  | 2007-01-24 | 2008-01-23 | 20721
96 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/10 | B2 | NICE2007S | 7121292 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-12-24 | 2008-12-23 | 18387
97 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/14 | B2 | NICE2007S | 7121269 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-12-24 | 2008-12-23 | 18387
98 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/23 | B2 | NICE2007S | 101102000000 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2011-03-23 | 2012-02-14 | 18171
99 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/9 | B2 | NICE2007S | 711874 | MADRAS SURGICAL CHENNAI | NICU |  |  | 2007-12-24 | 2008-12-23 | 18387
100 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/24 | B2 | NICE2007S | 101102000000 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2011-03-23 | 2012-03-22 | 18171
101 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/25 | B2 | NICE2007S | 101102000000 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2011-03-23 | 2012-03-22 | 18171
102 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/32 | B2 | RESUSCITATION | 2 | SURIYA SURGICALS CHENNAI | NICU |  |  | 2007-06-05 | 2008-06-04 | 32240
103 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/26 | B2 | NICE2007S | 101102000000 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2011-03-23 | 2012-03-22 | 18171
104 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/11 | B2 | NICE2007S | 7121271 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-12-24 | 2008-12-23 | 18387
105 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/12 | B2 | NICE2007S | 7121293 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-12-24 | 2008-12-23 | 18387
106 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/16 | B2 | NICE2007S | 711851 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2007-12-24 | 2008-12-23 | 18387
107 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/27 | B2 | NICE2007S | 101102000000 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2011-03-23 | 2012-03-22 | 18171
108 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/28 | B2 | NICE2007S | 101102000000 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2011-03-23 | 2012-03-22 | 18171
109 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/29 | B2 | NICE2007S | 101102000000 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2011-03-23 | 2012-03-22 | 18171
110 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00084/IFW/30 | B2 | NICE2007S | 101102000000 | MADRAS SURGICALS CHENNAI | NICU |  |  | 2011-03-23 | 2012-03-22 | 18171
111 | Pulse Oximeter with NIB.P | CRD_POBP | 00084/POBP/1 | B2 | MASIMO RADICAL-7 | T061704~T060271 | GRACE MFG ~NEW DELHI | NICU |  |  | 2013-02-04 | 2016-02-03 | 86500
112 | Short Wave Diathermy | PHY_SWDI | 00084/SWDI/1 | B2 |  |  | HARISH ENTERPRISES CHENNAI | PHYSIOTHERAPH UNIT |  |  | 2012-12-20 |  | 28000
113 | I.F.T-Interferential Therapy Equipment | PHY_IFT | 00084/IFT/1 | B2 |  |  | HARISH ENTERPRISES CHENNAI | PHYSIOTHERAPY UNIT |  |  | 2012-12-20 |  | 30000
114 | Operating table Orthopedic | OTE_TAOR | 00084/TAOR/1 | B | WASTON JONES |  | THE SOUTH INDIA SURGICALS CHENNAI | CASUALTY |  |  | 1979-06-02 | 1982-06-01 | 3591
115 | Short Wave Diathermy | PHY_SWDI | 00084/SWDI/2 | B2 | GALVOTOM |  | SCIENTIFIC andamp; SURGICALS CHENNAI | PHYSIOTHERAPHY DEPT |  |  | 1979-07-20 | 1982-07-19 | 7051
116 | Ultrasound Therapy | PHY_ULT | 00084/ULT/2 | B2 | UT400 |  | VISHAL SURGICAL andamp; EQUIPMENT CHENNAI | PHYSIO DEPT |  |  | 1979-09-29 | 1982-09-28 | 8318
117 | ECT Machine | OTE_ECT | 00084/ECT/1 | B2 | TECHNO |  | SURGICAL SYNDICATE CHENNAI | OP |  |  | 1981-08-30 | 1984-08-29 | 4800
118 | Shadowless lamp ceiling type major | OTE_CLMA | 00084/CLMA/5 | B | AIM LED DOUBLE DOME TYPE | SN6789756 andamp; SN6789768 | PRANAV INSTRUMENTS COIMBATORE | NEW OT |  |  | 2014-01-26 | 2019-01-25 | 480000
119 | Shadowless lamp ceiling type major | OTE_CLMA | 00084/CLMA/4 | B | AIM LED DOUBLE DOME | SN6789776 andamp;SN6789759 | PRANAV INSTRUMENTS COIMBATORE | NEW OT |  |  | 2014-01-28 | 2019-01-27 | 480000
120 | Shadowless lamp ceiling type major | OTE_CLMA | 00084/CLMA/5 | B | AIMLED DOUBLEDOME | SN6789761 andamp;SN6789767 | PRANAV INTRUMENTS COIMBATORE | NEW OT |  |  | 2014-01-28 | 2019-01-27 | 480000
121 | Diagnostic Audiometer | ENT_DAMT | 00084/DAMT/1 | B2 | 700MKIV | MO64 | ARPHI ELECTRONICCHENNAI | ENT OP |  |  | 1995-12-08 | 1996-12-07 | 44044
122 | Short Wave Diathermy | PHY_SWDI | 00084/SWDI/3 | B2 |  |  | ASSOCIATED SURGICALS CHENNAI | PHSIOTHERAPHY DEPT |  |  | 1999-11-29 | 2000-11-28 | 34992
123 | Defibrillator with Monitor | CRD_DEFI | 00084/DEFI/4 | B2 | G CARE | 6006 | SILICON LABS P LID |  |  |  |  | 2007-06-12 | 70856
124 | Ultrasound Therapy | PHY_ULT | 00084/ULT/3 | B2 | LIFESONIC | 100435299 | REMEDI SYSTEM CHENNAI | PHYSIOTHERAPHY DEPT |  |  | 1999-02-13 | 2000-02-12 | 7080
125 | Halogen Light Source | END_LSH | 00084/LSH/1 | B2 | HALOGEN |  | ASSOCIATED SURGICAL CHENNAI | HQOT |  |  | 2003-08-04 | 2004-08-03 | 6930
126 | Halogen Light Source | END_LSH | 00084/LSH/2 | B2 | D/594 | 4517 | VAANASARI MARKETING CHENNAI | HQOT |  |  | 2013-11-20 | 2016-11-19 | 8400
127 | Endoscope with video processer | END_EVP | 00084/EVP/1 | B1 | GIFLVI | 1200283 | HEALTHWARE (P) LTD HYDERABAD | HQOT |  |  | 2013-04-17 | 2016-04-16 | 764041
128 | Operating table non-hydraulic field type | OTE_TANH | 00084/TANH/2 | B | SINGLE FOLD |  | ASSOCIATED SURGICALS | CASUALTY |  |  | 2008-04-05 | 2008-04-04 | 12948
129 | Electronic Tornicate | OTE_ELT | 00084/ELT/1 | B2 |  | 7954 | TETRAMED EQUIPMENT CHENNAI | HQOT |  |  | 2013-09-05 | 2014-09-04 | 36750
130 | Shadowless lamp ceiling type major | OTE_CLMA | 00084/CLMA/7 | B | LED/750/7/50 TWIN DOME MODEL | 140030 | SATANN BIOMEDICAL CBE | SHOT |  |  | 2014-06-27 | 2017-06-26 | 645419
131 | Deep Freezer | LAB_DFRZR | 00084/DFRZR/1 | B2 | JA35/250-300 | D0608TN26 | PAWAR ELECTRO SYSTEM NASIK | BLOOD BANK |  |  | 2006-09-22 | 2007-09-21 | 0
132 | Operation Theatre Table - Electrical - All Type | OTE_OTTEL | 00084/OTTEL/1 | B2 | WARRIOR (C ARM TABLE) | 8083 | STAAN BIOMEDICALS CBE | NEW OT |  |  | 2014-04-04 | 2015-04-03 | 275000
133 | Auto analyser | LAB_ATAL | 00084/ATAL/1 | B | AUTORA | RA0180214RBK | ROBONIK (1) PVT LTD MUMBAI | DPH LAB |  |  | 2014-07-28 | 2017-07-27 | 496942
134 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/30 | B2 | MANUAL TYPE HYDRAULIC |  | STAAN BIOMEDICAL ENGG CBE | NEW OT |  |  | 2014-04-12 | 2014-04-11 | 90090
135 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/31 | B2 | MANUAL MODE (HYDRULIC) |  | STAAM BIOMEDICAL CBE | NEW OT |  |  | 2014-04-12 | 2015-04-11 | 90090
136 | Laproscope Double Puncture | END_LDP | 00084/LDP/1 | B2 |  |  | VISHALSURGICALS EQUIPMENT CHENNAI | SHOT |  |  | 2007-07-05 | 2007-05-21 | 241127
137 | Electrolyte Analyser | LAB_ELEA | 00084/ELEA/1 | B2 | EASYLYTE NA/K | 31394NK | TRANSASIA BIOMEDICALS MUMBAI | DPH LAB |  |  | 2009-07-04 | 2011-07-03 | 145600
138 | Baby Incubators | NNE_BINC | 00084/BINC/7 | B2 | 3010R | 7121252 | MADRAS SUGICLAS CHENNAI | NICU |  |  | 2012-10-10 | 2008-11-18 | 49795
139 | Cryo Surgery/Cryocautery Unit | EYE_CRYU | 00084/CRYU/2 | B2 | CRYO-004B-ON-OFF |  | SOLOKRAFT INDUSTRIES CHENNAI | NCD SH |  |  | 2012-07-20 | 2013-07-20 | 24331
140 | Laparoscope operating major with accessories | END_LAPO | 00084/LAPO/1 | B1 |  |  | VISHAL SURGICALS CHENNAI | HQOT |  |  | 2013-04-17 | 2016-04-16 | 1457561
141 | I.F.T-Interferential Therapy Equipment | PHY_IFT | 00084/IFT/2 | B2 | DIGII IFT -PRO | 2634/12/2012 | HARISH ENTERPRISES CHENNAI | PHYSIO THERAPHY DEPT |  |  | 2012-12-19 | 2013-12-18 | 30000
142 | Short Wave Diathermy | PHY_SWDI | 00084/SWDI/4 | B2 | 300W | 3116/12/2012 | HARISH ENTERPRISES CHENNAI | PHYSIOTHERAPHY DEPT |  |  | 2012-12-19 | 2013-12-19 | 28000
143 | Diagnostic Audiometer | ENT_DAMT | 00084/DAMT/2 | B2 | 2001 | 339 | ARPHI ELECTRONICS LTD CHENNAI | ENT OP |  |  | 2010-03-23 | 2013-03-22 | 62400
144 | Impendence audiometer | ENT_IMPA | 00084/IMPA/1 | B2 | GSI39 | AY101628 | ALLIANCE BIOMEDICALS CHENNAI | ENT OP |  |  | 2010-04-15 | 2013-04-15 | 223600
145 | Semi auto analyser | LAB_SEAA | 00084/SEAA/6 | B2 | PRIETEST TOUCH |  | ROBONIK I PVT LTD MUMBAI | DPH LAB | THNSP | TNHSP/TNMSC/AG87a/13 | 2014-03-25 | 2017-03-24 | 55500
146 | Ultrasound Therapy | PHY_ULT | 00084/ULT/4 | B2 |  | 3374/12/2012 | HARISH ENTERPRISES | PHYSIOTHERPHY DEPT |  |  | 2012-12-19 | 2013-12-20 | 8500
147 | 100 M.A. X-ray machine Mobile | IME_100M | 00084/100M/1 | B2 | PHILIPS DIAGNOX 100R | 12B037 | PHILIPS ELECTRONIC (I) LTD CHENNAI | X-RAY DEPT |  |  | 2012-04-25 | 2013-04-09 | 156060
148 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/30 | B2 | RAD-8 | M70874 | GRACE MFG CO DELHI | HQOT |  |  | 2014-04-10 | 2015-04-09 | 70348
149 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/31 | B2 | RAD-8 | M70780 | GRACE MFG AND TRADING CO | SHOT |  |  | 2014-04-10 | 2015-04-09 | 70348
150 | Multi Para Monitor | CRD_MPM | 00084/MPM/8 | B2 | G3L | G3LL80099 | TRANS HEALTH CARE (P0 LTD CHENNAI | HQOT |  |  | 2014-10-29 | 2015-10-28 | 151200
151 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/32 | B2 | RAD-8 | M70806 | GRACE MFG andamp; TRADING CO | POSPL |  |  | 2014-04-10 | 2015-04-09 | 70348
152 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/33 | B2 | RAD-8 | M 71719 | GRACE MFGandamp;TRADING CO | SHOT |  |  | 2014-04-10 | 2015-04-09 | 70348
153 | Multi Para Monitor | CRD_MPM | 00084/MPM/7 | B2 | G3L | G3LL80078 | TRANS HEALTH CARE LTD CHENNAI | NICU |  |  | 2014-10-29 | 2015-10-26 | 151200
154 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/34 | B2 | RAD-8 | M 71627 | GRACE MFG*andamp; TRADING CO | SHOB |  |  | 2014-04-10 | 2015-04-09 | 70348
155 | Pulse Oximeter | CRD_SPO2 | 00084/SPO2/35 | B2 | RAD -8 | M 71898 | GRACE MFG andamp;TRADING CO | SHOB |  |  | 2014-04-10 | 2015-04-09 | 70348
156 | Boyles apparatus with Circle Abosrber | ANA_BACA | 00084/BAWC/1 | B2 | LLB | 51007199 | MADRAS SURGICAL andamp; CHEMICALS CHENNAI | SHOT |  |  | 2007-11-15 | 2008-11-14 | 135200
157 | Boyles apparatus with Circle Abosrber | ANA_BACA | 00084/BAWC/2 | B2 | LLB | 51007201 | MADRAS SURGICALS andamp; CHEMICALS CHENNAI | EYE OT |  |  | 2007-11-15 | 2008-11-14 | 135200
158 | Boyles apparatus with Circle Abosrber | ANA_BACA | 00084/BAWC/3 | B2 | COMPACT AC 20 | AC2-1207-057 | Landamp;T MYSORE | SHOT |  |  | 2008-01-29 | 2009-01-28 | 100940
159 | Anesthesia apparatus with circle absorber | ANA_AACB | 00084/BACA/1 | B2 | Compact AC20 | AC2-1207-057 | Landamp;T MYSORE | SHOT |  |  | 2008-01-29 | 2009-01-28 | 100940
160 | Boyles apparatus with Ventilator | ANA_VEN_T | 00084/VEN/1 | B | CompacT AC20 | AC2-0707-005 | Landamp;T CHENNAI | SHOT |  |  | 2007-10-29 | 2008-10-28 | 256047
161 | Defibrillator with Monitor | CRD_DEFI | 00084/DEFI/5 | B2 | G CARE | 7008 | SILICAN LABS LTD CHENNAI | ICU andamp; AE |  |  | 2007-06-22 | 2008-06-21 | 70720
162 | Operating Microscope (ENT) | ENT_OPMS | 00084/OPMS/1 | B2 | LWXCO YSX-107-11 |  | VANSARI MARKETING CHENNAI | HQOT |  |  | 2007-06-01 | 2007-05-31 | 161200
163 | Echocardiogram Color | IME_IECGM | 00084/IECGM/1 | B1 | DC-TC | PM-19000450 | SHENZHEN MINDRAY BIO MEDICAL ELCETRONIC CO CHAINA | ECHO ROOM |  |  | 2012-02-04 | 2013-02-03 | 745746
164 | OAE Analyser | LAB_OAEA | 00084/OAEA/1 | B2 | BIOLOGIC | 11J17810E | PIKA MEDICAL PVT LTD BAGALURU | ENT OP |  |  | 2011-12-30 | 2014-12-29 | 267385
165 | Auto Clave HP Horizontal-CYLINDRICAL | OTE_ACHC | 00084/ACHC/17 | C |  |  | PIKAY MEDICAL SURGICAL CHENNAI | HQOT |  |  | 1985-06-25 |  | 9480
166 | Binocular Mircroscope | LAB_BIMS | 00084/BIMS/8 | B2 | DLSN81S1 | 4283 | JUPITER MFG WORKS CBE | BLOOD BANK |  |  | 2011-03-23 | 2012-03-22 | 13000
167 | Shadowless lamp ceiling type major | OTE_CLMA | 00084/CLMA/1 | B |  |  | vishal surgical equipment co chennai | shot |  |  | 1982-08-13 |  | 4950
168 | Multi Para Monitor | CRD_MPM | 00084/MPM/1 | B2 | PLANET 50 | T08W60218 | Landamp;T LTD CHENNAI | ICU |  |  | 2008-03-19 | 2009-03-18 | 103000
169 | Binocular Mircroscope | LAB_BIMS | 00084/BIMS/2 | B2 | MKOW401 |  | ASSOCITED SURGICALS CHENNAI | DPH LAB |  |  | 2001-03-08 |  | 5335
170 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/22 | B2 |  |  | JUPITER MNFT.WORKS~CBE | SHOT |  |  | 2007-12-10 |  | 55120
171 | Syringe Pump | CRD_SYRP | 00084/SYRP/11 | B | ST6000 | 320257/05 | TRANS HEALTH CARE LTD CHENNAI | NICU |  |  | 2011-09-12 | 2012-09-11 | 26460
172 | Shadowless Lamp stand model | OTE_MOLT | 00084/MOLT/10 | B |  |  | ASSOCIATED SURGICALS CHENNAI | HQOT |  |  | 1999-07-27 |  | 6136
173 | Multi Para Monitor | CRD_MPM | 00084/MPM/2 | B2 | XLMON | 6041 | SILICON LABS PVT LTD | SHOT |  |  | 2007-02-12 | 2008-02-11 | 70000
174 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/24 | B2 | JUPITER 25 | 14 | JUPITER MFG ~CBE | CASUALTY |  |  | 2008-05-14 | 2009-05-13 | 55120
175 | Operation Table Hydraulic Major | OTE_TAMA | 00084/TAMA/29 | B2 |  |  | ASSOCIATED SURG~CHENNAI | EYE OT |  |  | 1988-08-19 |  | 14825
176 | Autoclave Mini | OTE_AUTM | 00084/AUTM/3 | B |  |  | ALAN MEDICALS LAB PRODUCT CHENNAI | EYE OT |  |  | 1999-11-18 |  | 21492
177 | Syringe Pump | CRD_SYRP | 00084/SYRP/7 | B | EVADROP-30 | 10103160 | SCHILLER HEALTHCARE LTD PONDY | NICU |  |  | 2010-12-31 | 2013-12-30 | 27030
178 | Syringe Pump | CRD_SYRP | 00084/SYRP/8 | B | EVADROP-30 | 10103161 | SCHILLER HEALTH CARE LTD PONDY | NICU |  |  | 2010-12-31 | 2013-12-30 | 27030
179 | Syringe Pump | CRD_SYRP | 00084/SYRP/10 | B | ST6000 | 31734T/05 | TRANS HEALTH CARE LTD CHENNAI | NICU |  |  | 2011-09-12 | 2012-09-11 | 26460
180 | Syringe Pump | CRD_SYRP | 00084/SYRP/9 | B | EVADROP-30 | 10103162 | SCHILLER HEALTHCARE LTD PONDY | NICU |  |  | 2010-12-31 | 2013-12-30 | 27030
181 | Syringe Pump | CRD_SYRP | 00084/SYRP/12 | B | ST6000 | 31667T/05 | TRANS ASIA HEALTH CARE LTD CHENNAI | NICU |  |  | 2011-09-12 | 2012-09-11 | 26460
182 | Blood Donor Couch | BLD_BDCH | 00084/BDCH/1 | B2 | HICARE | 9068 | HINDUSTAN LATEX TIRUVANABDAPURAM | BLOOD BANK |  |  | 2008-09-11 | 2009-09-10 | 67600
183 | Blood Donor Couch | BLD_BDCH | 00084/BDCH/3 | B2 |  |  | MODERN ENGG WORKS CHENNAI | BLOOD BANK |  |  | 1997-03-18 |  | 2995
184 | Ultrasound scanner system B and W | IME_USBW | 00084/USBW/2 | B2 | SONATA/MFT | N0356515 | Landamp;T MYSORE | SCANROOM |  |  | 2003-10-20 |  | 311537
185 | Ultrasound scanner system B and W | IME_USBW | 00084/USBW/3 | B2 | SELECTRA LX | N0815478 | Landamp;T CHENNAI | SCANROOM |  |  | 2008-08-18 | 2009-07-17 | 186430
186 | Ultrasound scanner system B and W | IME_USBW | 00084/USBW/4 | B2 | CHISON600A | 6AP1112039 | SURYA SURGICALS CHENNAI | SHOB WARD |  |  | 2012-04-21 | 2015-04-20 | 286598
187 | Boyles apparatus with Circle Abosrber | ANA_BACA | 00084/BACA/4 | B2 | ECO-SAFE |  | GOVT.HOSPITAL MANJOOR | SHOT |  |  | 2010-01-04 | 2011-01-03 | 85280
188 | Boyles Apparatus with Fluotec and circle absorber | ANA_BAWC | 00084/BAWC/3 | B | ORION | 441270 | MADRAS SURGICALS andamp; CHEMICALS CHENNAI | HQOT |  |  | 2008-08-22 | 2011-08-21 | 135200
189 | Infant Warmer / | NPE_IFW | 00084/IFW/2 | B2 | OCW100 | 2380 | DONATED BY JSSCOLLAGE OF PHARMACY OOTY | SHOB |  |  | 2006-04-17 |  | 33813
190 | Ultra Sound Scanner - Colour | IME_USGC | 00084/USGC/1 | B2 | LOGIQ P3 | 56548WS1 | WIPRO GE HEALTHCARE BANGALURU | SHOB WARD |  |  | 2010-05-28 | 2011-05-27 | 688296
191 | Ultra Sound Scanner - Colour | IME_USGC | 00084/USGC/2 | B2 | LOGIQC2 | 206499WX6 | WIPRO GE HEALTHCARE BANGALURU | SCAN ROOM |  |  | 2011-12-09 | 2012-12-08 | 323800
192 | Infusion Pump/ | CRD_INPM | 00084/INPM/18 | C | TRIVIFUSA | 7F00255 | TRIVITRON MEDICALSYSTEM CHENNAI | ICCU |  |  | 2006-06-14 | 2007-06-13 | 24240
193 | Infant Warmer / | NPE_IFW | 00084/IFW/3 | B2 |  |  | PHOENIX I LTD CHENNAI | SHOB |  |  | 1996-03-21 |  | 14208
194 | Infant Warmer | NPE_IFW | 00084/IFW/4 | B2 |  |  | PHOENIX I LTD CHENNAI | SHOB |  |  | 1996-03-21 |  | 14208
195 | Infant Warmer / | NPE_IFW | 00084/IFW/5 | B2 | NICE 200B | 612488 | MADRAS SURGICAL CHENNAI | NICU |  |  | 2007-01-24 | 2008-01-23 | 20721
196 | Haemodialysis machine |  |  | B | 4008S |  | Fresenius medical care | Dialysis room |  |  |  |  | 1512000 (2 nos)
197 | Blood Bank Refrigerator |  |  | B2 | BR-300 | BDH1117 | Remi electrotech | Blood Bank |  |  | 21.09.10 |  | 163125
198 | Blood Bank Refrigerator |  |  | B2 | BR-300 | BDH1186 | Remi electrotech | Blood Bank |  |  | 21.09.10 |  | 163125
199 | X-ray Machine Digital | IME_XRYD | 00084/XRYD/1 | A | NOVAFA-DIGITAL RADIOGRAPHY | G40158 | SEDECAL S.A MADRID SPAIN | X RAY DEPT | TNHSP | TNHSP/TNMSC/ENGG/AG9/2010 DT 11/01/2012 | 2013-02-28 | 2016-02-27 | 1101014 | 0
24058580

## coonoor
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | Supplier Name | Location of Equipment | Source of supply | Purchase order. NO | Date of Installation | Warranty Valid Upto | Cost of the item
1 | Ultra Sonogram -MOBILE | IME_IUSM | 00079/IUSM/1 | B | UF4500N |  | ELCOT Chennai | Scan room |  |  |  |  | 53100
2 | Binocular Mircroscope | LAB_BIMS | 00079/BIMS/1 | B2 | BDI-13A |  | SOLOKRAFT INDUSTRIES CHENNAI | Lab | TNHSP | AG87i/2013 | 10.3.14 | 9.3.15 | 18530
3 | Binocular Mircroscope | LAB_BIMS | 00079/BIMS/2 | B2 | BDI-13A |  | SOLOKRAFT INDUSTRIES CHENNAI | Lab | TNHSP | AG87i/2013 | 10.3.14 | 9.3.15 | 18530
4 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/1 | B |  |  | Associate surgicals chennai | OT |  |  |  |  | 6372
5 | Shadowless lamp ceiling type minor | OTE_CLMI | 00079/CLMI/2 | B |  |  | Associate surgicals chennai | OT |  |  |  |  | 6372
6 | Operation Table Hydraulic Major | OTE_TAMA | 00079/TAMA/1 | B2 |  |  | Jupiter Manufacturing Works~ Coimbatore | OT |  |  | 14.07.08 |  | 55120
7 | Operation Table Hydraulic Major | OTE_TAMA | 00079/TAMA/2 | B2 |  |  | Jupiter Manufacturing Works~ Coimbatore | OT |  |  | 14.07.08 |  | 55120
8 | Operation Table Hydraulic Major | OTE_TAMA | 00079/TAMA/3 | B2 |  |  | Jupiter Manufacturing Works~ Coimbatore | OT |  |  | 14.07.08 |  | 55120
9 | Operation table Hydraulic Minor | OTE_TAMI | 00079/TAMI/1 | B2 |  |  | Jupiter Manufacturing Works~ Coimbatore | OT |  |  | 14.07.08 |  | 55120
10 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00079/BACA/1 | B |  |  | Madras surgicals chennai | OT |  |  | 15.11.07 |  | 135200
11 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00079/BACA/2 | B |  |  | L and T | OT |  |  | 2008-11-27 | 2009-11-26 | 100940
12 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00079/BACA/3 | B |  |  | L and T | OT |  |  | 2008-11-27 | 2009-11-26 | 100940
13 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00079/BACA/4 | B | L and T |  |  | OT |  |  | 2008-11-27 | 2009-11-26 | 100940
14 | Multi Para Monitor | CRD_MPM_T | 00079/MPM/1 | B | Biosys |  | MITIE electronics | ICCU |  |  |  |  | 87914
15 | Diathermy Machine (Electric Cautery) | OTE_SDIA | 00079/SDIA/1 | B |  |  |  | OT |  |  |  |  | 292021
16 | Diathermy Machine (Electric Cautery) | OTE_SDIA | 00079/SDIA/2 | B |  |  | SOLOKRAFTS | OT |  |  | 16.4.07 |  | 20280
17 | Operating Microscope (ENT) | ENT_OPMS | 00079/OPMS/1 | B | zent |  | ALAN MEDICAL andamp; LABORATORY PRODUCT CHENNAI | Eye |  |  | 21.09.10 |  | 139325
18 | Semi auto analyser | LAB_SEAA | 00079/SEAA/3 | B2 | PRIETEST TOUCH |  | SHAN BIO TECH | LAB | TNHSP | TNHSP/TNMSC/AG87A/13 |  |  | 55500
19 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/5 | B | MOBILE |  | JUPITER MANUFACTURING WORKS | Labour ward |  |  |  |  | 6372
20 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/6 | B | MOBILE |  | JUPITER MANUFACTURING WORKS | OPD |  |  |  |  | 6372
21 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/7 | B | MOBILE |  | JUPITER MANUFACTURING WORKS | FOT |  |  |  |  | 6372
22 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/8 | B | MOBILE |  | JUPITER MANUFACTURING WORKS | MOT |  |  |  |  | 6372
23 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/9 | B | MOBILE |  | JUPITER MANUFACTURING WORKS | MOT |  |  |  |  | 6372
24 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00079/BACA/5 | B |  |  | LandT | MOT |  |  | 2008-11-27 | 2009-11-26 | 100940
25 | Semi auto analyser | LAB_SEAA | 00079/SEAA/4 | B2 | Robonik |  | Robonik | LAB |  |  |  |  | 68000
26 | Ultra Sonogram -MOBILE | IME_IUSM | 00079/IUSM/3 | B | Wipro |  | WIPRO | Scan room |  |  |  |  | 674800
27 | Boyles apparatus with Ventilator | ANA_VEN_T | 00079/VEN/1 | B | Compact |  | Landamp;T | OT |  |  | 2008-01-23 | 2009-01-22 | 292520
28 | Pulse Oximeter | CRD_SPO2 | 00079/SPO2/2 | B | Stellar p | SO7P25167 | LARSEN andamp; TOUBRO LTD CHENNAI | MOT |  |  | 2008-01-21 | 2009-01-20 | 34762
29 | Semi auto analyser | LAB_SEAA | 00079/SEAA/5 | B2 | Pretest Touch |  | Robonik | LAB |  |  | 2007-10-19 | 2008-10-18 | 69422
30 | Deep Freezer | LAB_DFRZR | 00079/DFRZR/1 | B2 | BD INSTRUMENTS | 2009/01/BDI/88 | SOLOKRAFTS INDUSTRIES CHENNAI | BLOOD BANK |  |  | 2009-12-31 | 2010-12-30 | 113880
31 | Blood Mixer/Blood Shaker | LAB_BMIX | 00079/BMIX/1 | B2 | BDI149 |  | SOLOKRAFTS INDUSTRIES CHENNAI. | BLOOD BANK |  |  | 2014-08-13 | 2015-08-08 | 33810
32 | Color Doppler | IME_CDOP | 00079/CDOP/1 | B1 | 5308619 | 204978WX1 | m/S Wipro GE Healthcare | Scan Room |  |  | 2012-01-18 | 2013-01-17 | 323800
33 | Cryo Surgery/Cryocautery Unit | EYE_CRYU | 00079/CRYU/1 | B2 | CRYO 004B ON-OFF SUPER DELUX |  | SOLOKRAFTS INDUSTRIES CHENNAI | MAIN OPERATION THEATER |  |  |  |  | 24331
34 | Pulse Oximeter with NIB.P | CRD_POBP | 00079/POBP/3 | B2 | INNOAVA 10 CIR | CIPL1302BJ11 | CONCEPT INTEGRATIONS (I) PVT. LTD PUNE | MOT |  |  | 2013-03-14 | 2014-03-13 | 57120
35 | Binocular Mircroscope | LAB_BIMS | 00079/BIMS/12 | B2 |  |  | ASSOCIATED SURGICALS CHENNAI | LABORATORY |  |  |  | 2007-10-11 | 13286
36 | Pulse Oximeter | CRD_SPO2 | 00079/SPO2/3 | B2 | RAD-8 | M73892-1~M73893-1 | GRACE MFG. andamp; TRADING CO. NEW DELHI | NICU-2 |  |  | 2014-07-09 | 2019-07-08 | 140695
37 | Hematology analyser | LAB_HEMA | 00079/HEMA/1 | B1 | SYSMEX KX21 | B8189 | TRANSASIA BIO MEDICALS PVT LTD. | LABORATORY |  |  | 2011-11-11 | 2013-11-11 | 393025
38 | Ceiling Suspended Shadowless Lamp | OTE_CSSL | 00079/CLMI/1 | B2 |  |  | GENERAL SURGICAL CORPORATION MADRAS | FOT |  |  | 1988-07-02 |  | 5612
39 | Pulse Oximeter | CRD_SPO2 | 00079/SPO2/1 | B |  |  | BOC INDIA LTD MADRAS | MOT |  |  | 1996-03-28 |  | 46620
40 | ECG machine computerized | CRD_ECGC | 00079/ECGC/1 | B | Edan SE3 | 309035-M11801710045 | Madras Surgicals andamp; Chemicals | ECG Room |  |  | 2011-11-03 | 2012-11-02 | 36637
41 | ECG machine computerized | CRD_ECGC | 00079/ECGC/2 | B | Cardio Touch 300 | T2L0900062 | J.K.Medicals Pvt Ltd | ECG Room |  |  | 2011-11-18 | 2014-11-17 | 69023
42 | Auto analyser | LAB_ATAL | 00079/ATAL/1 | B | Sysmex KX21 | B8189 | Transasia Biomedicals Ltd | OP LAB |  |  | 2011-11-11 | 2013-11-10 | 385319
43 | Syringe Pump | CRD_SYRP | 00079/SYRP/1 | B | INJECTOMAT AGILIA | 21575294 | MITI ELECTRONICS | MAIN OT |  |  | 2012-03-29 | 2013-03-28 | 24356
44 | ECG machine computerized | CRD_ECGC | 00079/ECGC/3 | B | TRIM 1 | 50714539 | MADRAS SURGICALS AND CHEMICALS | ECG ROOM |  |  | 2007-08-08 | 2008-08-07 | 88400
45 | Semi auto analyser | LAB_SEAA | 00079/SEAA/6 | B2 |  | AT0180807RBK | Robonik India Pvt Ltd Mumbai | Lab |  |  | 2007-11-01 | 2008-10-31 | 69422
46 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/12 | B |  |  |  | MAIN OPERATION THEATER |  |  | 1999-04-28 |  | 6136
47 | Ceiling Suspended Shadowless Lamp | OTE_CSSL | 00079/MOLT/10 | B2 |  |  | General surgical corporation chennai | Family Welfare OT |  |  | 1988-07-02 |  | 5375
48 | Ceiling Suspended Shadowless Lamp | OTE_CSSL | 00079/MOLT/11 | B2 |  |  | GENERAL SURGICAL CORPORATION CHENNAI | FOT |  |  | 1990-02-08 |  | 5375
49 | Operation Table Hydraulic Major | OTE_TAMA | 00079/TAMA/4 | B2 |  |  | GENERAL SURGICALS CORPORATION CHENNAI | MOT |  |  | 1997-01-10 |  | 23660
50 | Operation Table Hydraulic Major | OTE_TAMA | 00079/TAMA/5 | B2 |  |  | SUPER CARDIAC BREATHS PVT LTD DELHI | MOT |  |  | 1999-01-20 | 2000-01-20 | 6537
51 | Ultrasound scanner system B and W | IME_USBW | 00079/USBW/1 | B2 | SONATA MFT3-77 | 386336 390-0023-57 | LARSEN andamp; TOUBRO LTD MYSORE | SCAN ROOM |  |  | 2003-03-17 | 2004-03-17 | 299999
52 | Operation Table Hydraulic Major | OTE_TAMA | 00079/TAMA/6 | B2 | JUPITER 205 |  | JUPITER MANUFACTURING WORK COIMBATORE | MOT |  |  | 2007-12-07 | 2008-12-07 | 55120
53 | Boyles Apparatus with Fluotec and circle absorber | ANA_BAWC | 00079/BAWC/2 | B | ECOSAFE |  | SOLOKRAFTS INDUSTRIES CHENNAI | MOT |  |  | 2008-11-27 | 2009-11-26 | 85280
54 | Operation Table Hydraulic Major | OTE_TAMA | 00079/TAMA/7 | B2 | JUPITER |  | JUPITER MANUFACTURING WORKS PVT LTD COIMBATORE | FOT |  |  | 2008-12-10 | 2009-12-10 | 53456
55 | Operation Lamp -Mobile | OTE_OTLM | 00079/OTLM/1 | B2 |  |  | ASSOCIATED SURGICALS CHENNAI | MOT |  |  | 1999-04-28 | 2000-04-27 | 6136
56 | Pulse Oximeter with NIB.P | CRD_POBP | 00079/POBP/1 | B2 | STELLER-P | SO7P25167 | LARSENandamp;TOUBRO PTV LTD MYSORE | MOT |  |  | 2008-01-21 | 2009-01-20 | 34763
57 | Boyles apparatus with Ventilator | ANA_VEN | 00079/VEN/1 | B | compact ac20 | AC2-1207-055 | LARSENandamp;TOUBRO LTD MYSORE | MOT |  |  | 2008-01-21 | 2009-01-20 | 292520
58 | Defibrillator with Monitor | CRD_DEFI | 00079/DEFI/4 | B2 | HEART START XL | US00459963 | MADRAS SURGICALS AND CHEMICALS CHENNAI | ICU |  |  | 2008-01-30 | 2009-01-30 | 176634
59 | Bed Side Monitor/Cardiac Monitor/ECG Monitor | CRD_CM | 00079/CM/1 | B2 | BIOSYS BPM300 |  | MITI ELECTRONICS PVT LTD PONDICHERRY | MOT |  |  | 2003-06-30 | 2004-06-29 | 86190
60 | Boyles Apparatus with Fluotec and circle absorber | ANA_BAWC | 00079/BAWC/1 | B |  | 1136 | BOC INDIA LTD CHENNAI | MOT |  |  | 1996-03-24 | 1997-03-23 | 73000
61 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/13 | B |  |  | ASSOCIATED SURGICALS CHENNAI | DENTAL OP |  |  | 1999-07-04 | 2000-07-03 | 4260
62 | 300 M.A. X-ray machine Intensifer | IME_300I | 00079/300I/1 | B2 | DX300 |  | WIPRO GE MEDICAL SYSTEM LTD | XRAY DEPT |  |  | 1996-03-26 | 1997-03-25 | 424850
63 | Foetal Monitor | NNE_FAMON | 00079/FAMON/1 | B | BISTO 300CTG | 250-DG5074 | MITI ELECTRONICS PVT~ LTD PONDICHERRY | LABOUR WARD |  |  | 2003-06-30 | 2004-06-30 | 85170
64 | Semi auto analyser | LAB_SEAA | 00079/SEAA/7 | B2 | PRIETEST TOUCH | AT0350209RBK~ATO360209RBK | ROBONICK INDIA THANNI | LABORATORY |  |  | 2009-05-15 | 2010-05-14 | 121380
65 | A-Scan Biometer | EYE_ASB | 00079/ASB/1 | B2 | SM400P |  | STESALITLTD CALCUTTA | EYE DEPT |  |  | 2002-04-26 | 2003-04-26 | 95316
66 | Pulse Oximeter with NIB.P | CRD_POBP | 00079/POBP/2 | B2 | BIOX-3700 |  | BOC INDIA PVT LTD | MOT |  |  | 1996-03-28 | 1997-03-27 | 46620
67 | Defibrillator with Monitor | CRD_DEFI | 00079/DEFI/3 | B2 | GCARE | 7001 | SILICON LABORATORY PVT. LTD CHENNAI | MOT |  |  | 2007-06-22 | 2008-06-21 | 70720
68 | Semi auto analyser | LAB_SEAA | 00079/SEAA/8 | B2 | RX-50 | TN10J081 | MICROLAB INSTRUMENTS AHAMADHABAD | LABORATORY |  |  | 2010-11-19 | 2011-11-18 | 45288
69 | Diathermy Machine (Electric Cautery) | OTE_SDIA | 00079/SDIA/3 | B | GODREJ | 3219867 | SOLOKRAFTS INDUSTRIES CHENNAI | MOT |  |  | 2007-03-20 | 2008-03-19 | 20250
70 | Ultrasound scanner system B and W | IME_USBW | 00079/USBW/2 | B2 | UF4500N | 120B1249 | KODY ELCOT CHENNAI | SCAN ROOM |  |  | 1996-06-24 | 1997-06-23 | 318049
71 | ECG machine computerized | CRD_ECGC | 00079/ECGC/4 | B | HEWLETT | 01-M1772A | PINNACLE PRODUCTS CHENNAI | ECG DEPT |  |  | 1997-03-24 | 1998-03-23 | 0
72 | Baby Incubators | NNE_BINC | 00079/BINC/5 | B2 | NICE3010R |  | MADRAS SURGICALS AND CHEMICALS CHENNAI | LABOUR WARD |  |  | 2007-12-23 | 2008-12-23 | 49795
73 | ECG Monitor | CRD_ECGM | 00079/ECGM/1 | B | MICROMON NXT | X06W11989 | LARSEN AND TOUBRO LTD CHENNAI | ICU |  |  | 2006-08-22 | 2007-08-22 | 31220
74 | Syringe Pump | CRD_SYRP | 00079/SYRP/2 | B | ST670 |  | TRANS HEALTH CARE INDIA PVT CHENNAI | LABOUR WARD |  |  | 2010-10-06 | 2011-10-05 | 44928
75 | Dental Chair(Electric/Hydraulic/Manual) | DEN_DECH | 00079/DECH/1 | B2 |  |  | assocoated surgicals chennai | DENTAL OP |  |  | 2003-01-13 | 2004-01-12 | 195271
76 | Binocular Mircroscope | LAB_BIMS | 00079/BIMS/10 | B2 |  |  | JDHS OOTY | [5 empty] | 37272
77 | Binocular Mircroscope | LAB_BIMS | 00079/BIMS/9 | B2 | CXL |  | SCIENTIFIC INDIA LTD AMBALA | BLOOD BANK |  |  | 1998-06-27 | 1999-06-26 | 37272
78 | Binocular Mircroscope | LAB_BIMS | 00079/BIMS/11 | B2 | BD13 | 22181~22128 | SOLOKRAFTS INDUSTRIES CHENNAI | LABORATORY-3~BLOOD BANK-1 |  |  | 2009-10-09 | 2012-10-08 | 37272
79 | Blood Bank Refrigerator | LAB_BLDR | 00079/BLDR/1 | B2 | BR40 | BDI1297 | REMI INSTRUMENT MUMBAI | BLOOD BANK |  |  | 1998-11-11 | 1999-11-10 | 72696
80 | Blood Bank Refrigerator | LAB_BLDR | 00079/BLDR/2 | B2 | BR300 | RDIT-1050-1~ RDIT-1076-1 | REMI ELECTROTECNIC LTD THANE | BLOOD BANK |  |  | 2010-09-18 | 2011-09-17 | 326250
81 | Autoclave Mini | OTE_AUTM | 00079/AUTM/1 | B |  |  | SEBERWAL SURGICALS COIMBATORE | BLOOD BANK |  |  | 2002-06-27 | 2003-06-26 | 4992
82 | Autoclave Mini | OTE_AUTM | 00079/AUTM/2 | B |  |  | MC DALALandamp;CO CHENNAI | LABORATORY |  |  | 2002-12-26 | 2003-12-25 | 2330
83 | Autoclave Mini | OTE_AUTM | 00079/AUTM/4 | B |  |  | ASSOCIATED SURGICALS CHENNAI | FEMALE WARD |  |  | 2004-02-05 | 2005-02-04 | 2189
84 | Autoclave Mini | OTE_AUTM | 00079/AUTM/5 | B |  |  | MS DALALandamp;CO CHENNAI | OPD |  |  | 2007-03-06 | 2008-03-05 | 3674
85 | Defibrillator with Monitor | CRD_DEFI | 00079/DEFI/5 | B2 | HEART START FRx-PHILIPS | B12C-05539-1~B12C-05529-1 ~B12D-00685-1 | PHILIPS ELECTRONICS INDIA PVT. LTD PONDICHERRY | MOT-1~ OPD-1~ CASUALTY-1 |  |  | 2012-09-15 | 2013-09-14 | 176088
86 | Laproscope Double Puncture | END_LDP | 00079/LDP/1 | B2 |  |  | DD MEDICAL COIMBATORE | FOT |  |  | 2003-03-07 |  | 0
87 | Laproscope Single Puncture | END_LSP | 00079/LSP/1 | B2 |  |  | TRANSFER IN FROM DD HEALTH OOTY | FOT |  |  |  |  | 0
88 | Ultra Sound Scanner - Portable | IME_USGP | 00079/USGP/1 | B2 |  |  | WIPRO G.E. HEALTH CARE |  |  |  | 2009-08-07 | 2010-08-06 | 688296
89 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/13 | B |  |  | JUPITER MANUFACTURING WORKS COIMBATORE | OPD-2~FOT-1~MOT-1~L-1 |  |  | 2008-03-29 | 2009-03-28 | 68744
91 | Shadowless Lamp stand model | OTE_MOLT | 00079/MOLT/15 | B |  |  | GENERAL SURGICALS COMPANY PVT LTD | MOT-1~OPD-2~F/WD-1 |  |  | 2011-03-09 | 2012-03-08 | 19760
92 | Suction Apparatus - Electrical(Hivacuam) | OTE_SAHV | 00079/SAHV/1 | B2 |  |  | ALAN MEDICAL andamp; LABORATORY PRODUCT CHENNAI | MOT |  |  | 1999-02-26 |  | 8528
93 | Suction Apparatus - Electrical(Hivacuam) | OTE_SAHV | 00079/SAHV/2 | B2 | CABINET |  | MTHU MEENAS SURGICALS CHEMNNAI | FOT |  |  | 1993-05-17 |  | 5188
8707933

## gudalur
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | Supplier Name | Location of Equipment | Source of supply | Purchase order. NO | Date of Installation | Warranty Valid Upto | Cost of the item
1 | Pulse Oximeter | CRD_SPO2 | 00080/SPO2/7 | B2 | INNOAVA 10 CIR |  | CONCEPT INTEGGRATION (I)PVT LTD~PUNE | OT | TNHSP |  | 2013-03-15 |  | 56000
2 | Binocular Mircroscope | LAB_BIMS | 00080/BIMS/2 | B2 | BDI-13A |  | SOLOKRAFT INDUSTRIES~CHENNAI | BLOOD BANK | TNHSP |  | 2014-02-01 | 2015-03-10 | 37200
5 | Semi auto analyser | LAB_SEAA | 00080/SEAA/3 | B2 | PRIETEST TOUCH | AT1331013RBK | ROBONIK INDIA PVT LTD~MUMBAI | LAB | TNHSP |  | 2014-03-26 | 2017-03-25 | 49356
8 | Pulse Oximeter | CRD_SPO2 | 00080/SPO2/8 | B2 | RAD-8 | M73894 ~M73895 | GRACE MFD andamp;TRADING CO~NEW DELHI | AE ~OT | TNHSP |  | 2014-07-08 | 2019-07-07 | 137936
16 | Boyles apparatus with out Ventilator | ANA_OVEN | 00080/OVEN/1 | B | COMPACT ACZO PLUS |  | Landamp;T ~MYSORE | OT |  |  | 2007-08-08 |  | 256047
22 | Baby Incubators | NNE_BINC | 00080/BINC/3 | B2 | NICE 3010R |  | MADRAS SURGICALSandamp;CHEMICALS~CHENNAI | F1 |  |  | 2008-01-03 |  | 47880
23 | Anaesthesia Machine | ANA_MCHN | 00080/MCHN/2 | B2 |  |  | SOLOKRAF INUSTRIES~CHENNAI | OT |  |  | 2008-11-14 |  | 82000
24 | Defibrillator with Monitor | CRD_DEFI | 00080/DEFI/4 | B2 | MIITI |  | MITI ELECTRONICS~PONDICHARY | PTC |  |  | 2011-09-29 |  | 200000
28 | Anaesthesia Machine | ANA_MCHN | 00080/MCHN/1 | B2 | COMPACT AC20 |  | Landamp;T~MYSORE | OT |  |  | 2008-01-23 |  | 98000
32 | Pulse Oximeter | CRD_SPO2 | 00080/SPO2/6 | B2 |  |  | TRANS HEALTH CARE INDIA~CHENNAI | AE |  |  | 2011-04-29 |  | 55800
36 | ECG machine ordinary | CRD_ECGO | 00080/ECGO/4 | B2 |  |  | MITI ELECTRONICS~PONDICHARY | AE |  |  | 2011-09-29 |  | 4000
39 | Colpo Histromicroscope | GYN_COLHM | 00080/COLHM/1 | B2 |  |  | MADRAS SURGICALS~CHENNAI | F1 |  |  | 2009-08-22 |  | 4450
41 | Ultra Sound Scanner - Colour | IME_USGC | 00080/USGC/2 | B2 | Logiq C2 |  | WIPRO GE HEALTH ~BANGALORE | MW |  |  | 2011-10-10 |  | 323800
44 | ECG machine computerized | CRD_ECGC | 00080/ECGC/3 | B |  |  | J.K.MEDICAL SYSTEM~CHENNAI | AE |  |  | 2011-11-21 |  | 69023
49 | Hematology analyser | LAB_HEMA | 00080/HEMA/1 | B1 |  |  | TRANS ASIA~PUDUCHERY | LAB |  |  | 2012-03-19 |  | 385319
78 | 100 M.A. X-ray machine Portable | IME_100P | 00080/100P/1 | B |  |  | Medford medical | X-ray room |  |  |  |  | 150000
81 | ECG machine ordinary | CRD_ECGO | 00080/ECGO/1 | B |  |  | Philips | ECG Room |  |  |  |  | 88400
86 | Ultra Sonogram -MOBILE | IME_IUSM | 00080/IUSM/2 | B | Sonata |  | L and T | Scan room |  |  |  |  | 311537
87 | Semi auto analyser | LAB_SEAA | 00080/SEAA/1 | B2 | LandT |  | Pointe 180 | Lab |  |  |  |  | 65000
91 | Binocular Mircroscope | LAB_BIMS | 00080/BIMS/1 | B2 |  |  |  | Lab |  |  |  | 2004-05-08 | 10805
94 | Blood Bank Refrigerator | LAB_BLDR_T | 00080/BLDR/1 | B |  |  | Jewett | Blood Bank |  |  |  |  | 160000
95 | Blood Bank Refrigerator | LAB_BLDR_T | 00080/BLDR/2 | B |  |  | Zenith | Blood Bank |  |  |  |  | 150000
112 | Shadowless Lamp stand model | OTE_MOLT | 00080/MOLT/1 | B |  |  |  | OT |  |  |  |  | 4950
113 | Shadowless Lamp stand model | OTE_MOLT | 00080/MOLT/2 | B |  |  |  | OT |  |  | 1982-08-13 |  | 4950
114 | Shadowless Lamp stand model | OTE_MOLT | 00080/MOLT/3 | B |  |  |  | OT |  |  |  |  | 4950
123 | Operation Table Hydraulic Major | OTE_TAMA | 00080/TAMA/7 | B2 |  |  | Jupiter | OT |  |  |  |  | 55120
144 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00080/BACA/1 | B |  |  | IOL | OT |  |  |  |  | 256047
145 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00080/BACA/2 | B |  |  | L and T | OT |  |  |  |  | 256047
146 | Multi Para Monitor | CRD_MPM_T | 00080/MPM/1 | B |  |  | Xl mon | AE ward |  |  |  |  | 70000
157 | Syringe Pump | CRD_SYRP_T | 00080/SYRP/1 | B |  |  |  | AE ward |  |  |  |  | 298480
160 | Dental Unit with motor for dental OP | DEN_DEUN | 00080/DEUN/1 | B2 |  |  |  | Dental op |  |  |  |  | DONATED
174 | Pulse Oximeter | CRD_SPO2 | 00080/SPO2/3 | B | Stellar p |  |  | AE |  |  | 2007-02-13 | 2008-12-02 | 34763
176 | Multi Para Monitor | CRD_MPM_T | 00080/MPM/2 | B | SILICON |  | SILICON LAB PVT LTD | NICU |  |  | 2007-12-02 | 2008-11-02 | 70000
197 | Ventilators (Adult) | CRD_VENA | 00080/VENA/1 | B2 |  |  | TRANSHEALTH CARE | POISON WARD |  |  | 2011-06-17 | 2012-06-16 | 420377
198 | Shadowless Lamp stand model | OTE_MOLT | 00080/MOLT/7 | B |  |  | GENERAL SURGICALS | OT |  |  | 2011-03-10 | 2012-03-09 | 4750
199 | Semi auto analyser | LAB_SEAA | 00080/SEAA/2 | B2 | RX 50 |  | MICRO LAB | LAB |  |  | 2010-11-18 | 2011-11-17 | 44400
203 | Defibrillator with Monitor | CRD_DEFI | 00080/DEFI/3 | B2 |  | B12C05964 B12D00148 B12D00690 | PHILPS ELECTRONIC INDIA | AE2~ PTC 1 |  |  | 2012-11-01 | 2014-08-01 | 17608800
204 | Infant Warmer / Neonatal Warmer/Infant Open Care system | NPE_IFW | 00080/IFW/1 | B2 | NICE NEOTECH~ NICE 2007S |  | MADRAS SURGICALS~ CHENNAI | SNCU |  |  | 2014-01-04 |  | 122550
217 | Operation Table Hydraulic Major | OTE_TAMA | 00080/TAMA/1 | B2 | Hydrallic |  | Reliance Instruments | OT |  |  | 2008-11-04 | 2009-11-03 | 50000
218 | Operation Table Hydraulic Major | OTE_TAMA | 00080/TAMA/2 | B2 | Jupiter 205 |  | Jupiter Manufacturers | OT |  |  | 2008-03-31 | 2009-03-30 | 50000
221 | Pulse Oximeter | CRD_SPO2 | 00080/SPO2/2 | B | Futura Pleth |  | Silicon Labs | OT |  |  | 2007-02-12 | 2008-02-11 | 43000
222 | Boyles apparatus with Ventilator | ANA_VEN_T | 00080/BACA/3 | B | Compact |  | L andamp; T | OT |  |  | 2008-01-23 | 2009-01-22 | 250000
227 | Boyles apparatus with out Ventilator | ANA_OVEN_T | 00080/VEN/1 | B | Compact |  | Landamp;T | Female Ward |  |  | 2007-08-08 | 2008-08-07 | 100000
228 | Pulse Oximeter | CRD_SPO2 | 00080/SPO2/4 | B2 | MD200A |  | TRANSHEALTH CARE | POISON WARD |  |  | 2011-04-29 | 2012-04-28 | 13950
229 | CTG Monitor | NNE_CTGM | 00080/CTGM/3 | B2 |  |  | VINBIOTECH | F1 |  |  | 2007-02-21 |  | 120000
230 | Shadowless Lamp stand model | OTE_MOLT | 00080/MOLT/8 | B | MOBILE |  | JUPITER | OT |  |  | 2008-11-04 |  | 12700
237 | Operation Table Hydraulic Major | OTE_TAMA | 00080/TAMA/8 | B2 | HYDRAULIC |  | JUPITER | OT |  |  | 2008-11-04 |  | 51400
239 | Pulse Oximeter with NIB.P | CRD_POBP | 00080/POBP/1 | B2 | FUTURA PLETH |  | SILICON LAB | OT |  |  | 2007-02-13 |  | 37000
240 | ECG machine computerized | CRD_ECGC | 00080/ECGC/2 | B | PHILIPS | US51724541 | MADRAS SURGICALS CHENNAI | AE |  |  | 2007-06-23 |  | 85000
242 | Multi Para Monitor | CRD_MPM | 00080/MPM/1 | B2 | NEOTECH |  | SILICON LAB | AE |  |  | 2007-02-10 |  | 7000
22818787

## kothagiri
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | Supplier Name | Location of Equipment | Source of supply | Purchase order. NO | Date of Installation | Warranty Valid Upto | Cost of the item
1 | Binocular Mircroscope | LAB_BIMS | 00081/BIMS/1 | B2 | Solocraft |  | Solocraft | LAB | TNHSP |  | 2009-12-29 | 2010-12-29 | 37200
2 | ECG machine computerized | CRD_ECGC | 00081/ECGC/1 | B | SE 300 Edan |  | Madras Surgicals | Scan Room |  |  | 2009-07-01 | 2009-07-01 | 38470
3 | Dental Chair(Electric/Hydraulic/Manual) | DEN_DECH | 00081/DECH/1 | B2 | confident |  | associated surgical | dental op |  |  |  |  | 195270
4 | Ultra Sonogram -POTABLE | IME_IUSP | 00081/IUSP/3 | B | SONTA MFT | NO356437~3021 | TRANSFERRED FROM GHQH OOTY | SCAN ROOM |  |  |  |  | 311537
5 | Ultra Sonogram -POTABLE | IME_IUSP | 00081/IUSP/2 | B | 12151485~UF4500N | 12151485 | KODY ELCOT LTD CHENNAI | SCAN ROOM |  |  | 1996-06-14 |  | 531000
6 | Semi auto analyser | LAB_SEAA | 00081/SEAA/2 | B2 | portable |  | RANBOXY LAB (P) LTD~ ANNASALAI | LABORATORY |  |  | 1998-12-23 | 1999-12-22 | 88000
7 | Deep Freezer | LAB_DFRZR | 00081/DFRZR/1 | B2 |  | 2009103 | solocraft industries surgical avenue(1 stfloor)69~Mcnicholes road~chetpet chennai | BLOOD STOREAGE CENTRE |  |  | 2012-01-26 | 2015-01-25 | 109500
8 | ECG machine computerized | CRD_ECGC | 00081/ECGC/2 | B | SE-800 | 300B2A020893842 | MADRAS SURGICAL~3.MADAVAMANI AVENUE~VELACHERY CHENNAI | OPD |  |  | 2009-01-07 | 2010-01-06 | 46550
9 | ECG machine computerized | CRD_ECGC | 00081/ECGC/3 | B | EDAN SE3 | 309035M11801710046 | MADRAS SURGICAL NO.9A VGP SELVA NAGER~ 1st MAIN ROAD VELACHERY CHENNAI | CASUALTY |  |  | 2011-11-03 | 2012-11-02 | 38469
10 | ECG Machine-Multichannel/Page Writer | CRD_ECGMUL | 00081/ECGMUL/1 | B2 | TRIM-1(PHILIPS)CAR-050 | 30713596~PIM.NO.50724154 | MADRAS SURGICALSandamp;CHEMICALS~3.MADAVAMANI AVENUE~VELACHERRY CHENNAI | MEN WARD |  |  | 2007-08-10 | 2008-08-09 | 85000
11 | Syringe Pump | CRD_SYRP | 00081/SYRP/1 | B | ST6000 | 316739/05 | TRANS HEALTH CARE INDIA PVT LTD~A.P | FEMALE WARD |  |  | 2011-09-14 | 2011-09-14 | 25200
12 | Dental Chair(Electric/Hydraulic/Manual) | DEN_DECH | 00081/DECH/2 | B2 | CONFIDENT |  | ASSOCIATED SURGICAL MOUNT ROAD CHENNAI | DENTAL OP |  |  | 2003-03-10 | 2004-02-01 | 195271
13 | Blood Donor Couch | BLD_BDCH | 00081/BDCH/1 | B2 |  |  | SABERWAL SURGICAL CO(P) LTD~564 Candamp;DMS COMPLEX DB ROAD RS PURAM COIMBATORE | BLOOD STORAGE UNIT |  |  | 2009-09-22 | 2012-09-21 | 0
14 | Operation Table Hydraulic Major | OTE_TAMA | 00081/TAMA/1 | B2 | Jupiter 205 |  | Jupiter Manufacturers | OT |  |  | 2007-12-08 | 2008-12-07 | 53000
15 | Pulse Oximeter | CRD_SPO2 | 00081/SPO2/1 | B | Stellar P | S07P25230 | Landamp;T | OT |  |  | 2008-01-22 | 2009-01-21 | 34726
16 | Semi auto analyser | LAB_SEAA | 00081/SEAA/1 | B2 | Pretest Touch |  | Robonik | LAB |  |  | 2007-10-18 | 2008-10-17 | 69422
17 | Boyles apparatus with Ventilator | ANA_VEN_T | 00081/VEN/1 | B | Compact with ventilator | AC-2-1207-043 EVS-1107-005 | Landamp;T | OT |  |  | 2008-01-22 | 2009-01-21 | 292520
19 | Auto analyser | LAB_ATAL | 00081/ATAL/1 | B | PRETOUCH AT0190807RBK | ATO190807RBK | ROBONIK INDIA PVT LTD~MAHAPE NAVI MUMBAI | LABORATORY |  |  | 2007-10-18 | 2008-10-18 | 67400
21 | Cryo Surgery/Cryocautery Unit | EYE_CRYU | 00081/CRYU/1 | B2 | CRYO004B |  | SOLOCRAFT INDUSTRIES~CHETPET CHENNAI | OT |  |  |  | 2013-07-19 | 24331
22 | Operation Table Hydraulic Major | OTE_TAMA | 00081/TAMA/2 | B2 | HYDRAULIC |  | JUPITER MANUFACTURING WORKS | OT |  |  | 2007-12-08 | 2007-12-08 | 55120
24 | Baby Incubators | NNE_BINC | 00081/BINC/3 | B2 | NICE-3010R | 07121198~07121248 | MADRAS SURGICAL andamp; CHEMICALS~ NO.3 MADAVAMANI AVENUE VELLACHERRY CHENNAI | LABOUR WARD |  |  | 2008-01-05 | 2009-01-04 | 47880
25 | Shadowless Lamp stand model | OTE_MOLT | 00081/MOLT/1 | B | stand model 18 |  | jupiter manufacturing works~m.s complex d.b road coimbatore | OT-4 |  |  | 2008-03-28 | 2009-03-27 | 6136
26 | Shadowless Lamp stand model | OTE_MOLT | 00081/MOLT/2 | B | STAND MODEL |  | JUPITER MANUFACTURING WORKS M.S COMPLEX D.B ROAD COIMBATORE | CASUALITY |  |  | 2008-03-28 | 2009-03-27 | 6136
27 | Shadowless Lamp stand model | OTE_MOLT | 00081/MOLT/3 | B | STAND MODEL 18 |  | JUPITER MANUFACTURING WORKS D.B ROAD R.S PURAM COIMBATORE | FEMALE WARD |  |  | 2008-03-28 | 2009-03-27 | 6136
2364274

## pandalur
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | Supplier Name | Location of Equipment | Source of supply | Purchase order. NO | Date of Installation | Warranty Valid Upto | Cost of the item
1 | Ultra Sound Scanner - Portable | IME_USGP | 00083/USGP/1 | B2 | CE0459 | CISPRII/EN55011 | TR FROM GH~GUDALUR/ Wipro GE | SCAN ROOM |  |  | 2012-08-20 |  | 674800
2 | Defibrilator | CRD_FI | 00083/FI/1 | B2 | HEART STAT FRX |  | philips electricals india phuducheery |  | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 | 2012-09-14 | 2013-08-15 | 58696
3 | Diathermy Machine (Electric Cautery) | OTE_SDIA | 00083/SDIA/1 | B | ELSY 360M+ |  | JBS MEDITECK INDIA LTD | OPERATION THEATRE |  |  | 2014-06-13 | 2015-06-12 | 228900
4 | Multiparamonitor | CRD_SPO2 | 00083/SPO2/1 | B2 | RAD8 |  | GRACE MFGandamp;TRADING CO | Casualty |  |  | 2014-07-08 | 2015-04-09 | 140695
5 | 100 M.A. X-ray machine Portable | IME_100P | 00083/100P/1 | B | 100ma |  | GE | Xray room |  |  | Transfered from Kothagiri GH |  | 0
6 | ECG machine computerized | CRD_ECGC | 00083/ECGC/1 | B | EDAN SE300 |  | Madras Surgicals and Chemicals | Casualty |  |  | 7.1.11 |  | 38470
7 | Dental Unit with motor for dental OP | DEN_DEUN | 00083/DEUN/2 | B2 | S S Chemicals | ALPHA MAKE | SS CHEMICAL | DENTAL OP |  |  | 2009-01-07 |  | 117000
8 | Shadowless Lamp stand model | OTE_MOLT | 00083/MOLT/1 | B | Mobile | [5 empty] | 1999-02-19 |  | 6136
9 | Operation Table Hydraulic Major | OTE_TAMA | 00083/TAMA/1 | B2 | Jupiter 205 | JUPITER205 | Jupiter Manufacturers | OT |  |  | 2008-09-10 | 2009-09-09 | 53000
10 | ECG machine ordinary | CRD_ECGO | 00083/ECGO/1 | B2 | philips trim 1 |  | madras surgicals | op |  |  | 2007-08-08 | 2008-08-07 | 88400
11 | Operation Table Hydraulic Major |  |  | B2 | Jupiter Manufacturing Works~ Coimbatore |  | Jupiter Manufacturing Works~ Coimbatore | OT |  |  | TR FROM GUDALUR GH |  | 45000
12 | ECG Machine |  |  | B2 | Cardiotouch |  | JK medicals | AE ward |  |  |  |  | 44000
13 | Boyles apparatus with Circle Abosrber |  |  | B |  |  | LandT | OT |  |  | 2008-11-27 | 2009-11-28 | 100940
14 | Boyles apparatus with Circle Abosrber |  |  | B |  |  |  | OT |  |  |  | 2009-11-26 | 100940
1696977

## manjoor
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | Supplier Name | Location of Equipment | Source of supply | Purchase order. NO | Date of Installation | Warranty Valid Upto | Cost of the item
1 | Binocular Mircroscope | LAB_BIMS | 00082/BIMS/1 | B2 | BDI-13A |  | SOLOKRAFTS INDUSTRIES | MAIN STORE |  |  | 18.08.14 | 2015-08-19 | 18600
2 | Multi Para Monitor | CRD_MPM | 00082/MPM/2 | B2 | G3D |  | TRANS HEALTH CARE INDIA PRIVATE LIMITED | MAIN STORE |  |  | 2014-07-08 | 2015-04-09 | 63000
3 | Pulse Oximeter | CRD_SPO2 | 00082/SPO2/3 | B2 | RAD-8 |  | GRACE MFG.andamp; TRADING | [5 empty] | 68968
4 | ECG machine ordinary | CRD_ECGO | 00082/ECGO/1 | B | Edan |  | Madras surgicals | Ward |  |  |  |  | 38470
5 | Operation Table Hydraulic Major | OTE_TAMA | 00082/TAMA/1 | B2 |  |  | Jupiter Manufacturing Works | OT |  |  | 2008-12-19 | 2009-12-18 | 53000
6 | Boyles apparatus with Ventilator | ANA_VEN_T | 00082/VEN/1 | B |  |  | L and T | OT |  |  | 2008-11-27 | 2009-11-26 | 100940
7 | Operation table Hydraulic Minor | OTE_TAMI | 00082/TAMI/1 | B2 |  |  | JUPITER MFG | MAIN STORE |  |  |  |  | 53456
8 | Suction Apparatus - Electrical(Hivacuam) | OTE_SAHV | 00082/SAHV/1 | B2 |  |  | VISHAL HSP STEEL FURNITURE MFG. | OP |  |  | 2008-04-10 |  | 4410
9 | Pulse Oximeter | CRD_SPO2 | 00082/SPO2/1 | B | Stellar P |  | Landamp;T | OT |  |  | 2008-01-07 | 2009-01-06 | 50000
10 | Ultra Sound Scanner - Portable | IME_USGP | 00082/USGP/1 | B2 | Seletra |  | LARSEN andamp; TURBO LTD | SCAN ROOM |  |  | 2009-06-04 |  | 311537
11 | Semi auto analyser | LAB_SEAA | 00082/SEAA/1 | B2 | PRIETEST TOUH | AT0740314RBK | ROBONIK(INDIA)PVT.LTD | LAB |  |  | 2014-04-04 | 2017-04-04 | 48426
12 | Pulse Oximeter | CRD_SPO2 | 00082/SPO2/2 | B2 | RAD-8 |  | GRACE MFG.andamp; TRADING CO. | MAIN STORE |  |  |  |  | 140695
13 | Multi Para Monitor | CRD_MPM | 00082/MPM/1 | B2 | G3D |  | TRANS HEALTH CARE INDIA PVT.LTD. | MAIN STORE |  |  | 2014-07-31 | 2017-07-30 | 63000
14 | Ceiling Suspended Shadowless Lamp | OTE_CSSL | 00082/CSSL/1 | B2 |  |  | JUPITER MFG CBE | LABOUR WARD |  |  | 2009-04-06 |  | 52832
1067334