## Sheet1
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD :
District : Cuddalore
Institution : Kattumannarkoil GH
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Radiant Warmer | C |  |  |  |  | LAB | TNMSC |  |  |  | 23500 | Working
2 | Phototherapy Unit | C |  |  |  |  | OP | TNMSC |  |  |  | 10200 | Working
3 | Needle destroyer | C |  |  |  |  | OP | DMS |  |  |  |  | Condemned
4 | Baby Incubators | C |  |  |  | Madras Surgicals and Chemicals | LW | TNHSP | PO.NO.TNHSP/TNMSC/P2E3/2007 DT.11.9.2007 |  |  | 47880 | Working
5 | Weighing machine paed | C |  |  | 2008-10-15 | Jupiter Manufaturing works, Coimbatore | LW | TNHSP |  | 2008-10-15 |  | 710 | Working
6 | Weighing machine paed | C |  |  | 2008-10-15 | Jupiter Manufaturing works, Coimbatore | LW | TNHSP |  | 2008-10-15 |  | 710 | Working
7 | Electri centrifuger | C |  |  |  |  | OP | DMS |  |  |  | 9000 | Working
8 | Binocular Mircroscope | B2 |  |  |  |  | OP | DMS |  |  |  | 18600 | Working
9 | Refrigerator | C |  |  |  |  | OP | DMS |  |  |  | 15000 | Working
10 | Hot Air oven | C |  |  |  |  | OP | DMS |  |  |  | 12000 | Working
11 | Nebuliser Adult | C |  |  |  |  | OP | DMS |  |  |  | 2000 | Working
12 | Autoclave Mini | B |  |  |  |  | OT | DMS |  |  |  | 21000 | Working
13 | Refrigerator | C |  |  |  |  | OT | DMS |  |  |  | 15000 | Working
14 | Operation Table Hydraulic Major | B2 |  |  |  |  | OT | DMS |  |  |  | 33400 | Working
15 | Diathermy Machine (Electric Cautery) | B |  |  |  |  | OT | DMS |  |  |  | 218000 | Working
16 | Operation Table Hydraulic Major | B2 |  |  | 2008-12-18 | Vibas surgical | OT | DMS |  | 2008-12-18 |  | 157950 | Working
17 | Suction Apparatus - Electrical | C |  |  | 2009-02-28 | Vishal | LW | TNHSP |  | 2009-02-28 |  | 4920 | Working
18 | Suction Apparatus - Electrical | C |  |  | 2009-02-28 | Vishal | LW | TNHSP |  | 2009-02-28 |  | 4920 | Working
19 | Suction Apparatus - Electrical | C |  |  | 2009-02-28 | Vishal | LW | TNHSP |  | 2009-02-28 |  | 4920 | Working
20 | Urine Analyser | C |  |  | 2009-03-04 | Solo kraft | Lab | DMS |  | 2009-03-04 |  | 112000 | Condemned
21 | Suction Apparatus - Electrical | C |  |  | 2009-03-04 | Solo kraft | LW | DMS |  | 2009-03-04 |  | 5000 | Working
22 | Suction Apparatus - Electrical | C |  |  | 2009-04-22 | General Surgicals | OT | DMS |  | 2009-04-22 |  | 5000 | Working
23 | Nebuliser Adult | C |  |  | 2009-06-03 | Sabarwal | lw | TNHSP |  | 2009-06-03 |  | 2000 | Working
24 | Suction Apparatus - Electrical | C |  |  | 2009-06-03 | Sabarwal | lw | TNHSP |  | 2009-06-03 |  | 5000 | Working
25 | ECG machine computerized | B |  |  |  | GH-Chidambaram | x ray | TNHSP |  |  |  | 27000 | Working
26 | Laryngoscope(Adult) | C |  |  | 2009-07-21 | vishal | store | TNHSP |  | 2009-07-21 |  | 3500 | Working
27 | Color Doppler | A |  |  |  | wipro |  | TNHSP |  |  |  | 674800 | Working
28 | B.P.apparatus table model | C | MICO |  | 2011-12-19 | VISHAL HOSPITAL FURNITURE |  | TNHSP | TNHSP/TNMSC/ENGG73E/2010 |  |  | 810 | Working
29 | B.P.apparatus table model | C | MICO |  | 2011-12-19 | VISHAL HOSPITAL FURNITURE | OP | TNHSP | TNHSP/TNMSC/ENGG/AG73E/2010 |  |  | 810 | Working
30 | Pulse Oximeter | B2 | RAD-8 | 73834 | 2014-07-04 | GRACE MFGandamp;TRADING CO | OT | RCH | RCH-II/TNMSC/ENGG/E67/2014dt05.03.2014 | 2014-07-04 |  | 68968 | Working
31 | B.P.apparatus table model | C | MICO |  | 2011-12-19 | Jupiter Manufaturing works, Coimbatore |  | TNHSP |  |  |  | 810 | Working
32 | Ultra Sonogram -MOBILE | B | H47042LD Lagic p3 |  | 2009-08-08 | Wipro Ge Health Care | OG | TNMSC |  |  |  | 674800 | Working
33 | Dental Chair(Electric/Hydraulic/Manual) | B2 | DEN097 |  | 2007-09-21 | Confidental Dental equipment Ltd | Dental OP | TNMSC |  |  |  | 103487 | Working
34 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-04-18 | HITECH BIO MEDICAL | OP | OTHERS |  |  |  | 0 | Working
35 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-04-18 | HITECH BIOMEDICAL |  | OTHERS |  |  |  | 0 | Working
36 | Nebuliser Adult | C | C8015 |  | 2012-12-01 | BB RAMAN INFOTEC | OP | OTHERS |  |  |  | 2000 | Working
37 | Shadowless Lamp stand model | B |  |  | 2008-12-27 | Jupiter Manufaturing works, Coimbatore | OT | TNHSP |  |  |  | 12700 | Working
38 | Shadowless Lamp stand model | B |  |  |  | Jupiter Manufaturing works, Coimbatore | OT | DMS |  |  |  | 40000 | Working
39 | Weighing machine paed | C |  |  | 2009-06-03 | Saberwal Surgical |  | TNHSP |  |  |  | 673 | Working
40 | Nebuliser Adult | C |  |  | 2011-12-19 | VISHAL HOSPITAL | OP | TNHSP | AG73E/2010 |  |  | 1300 | Working
41 | B.P.apparatus table model | C |  |  | 2011-12-19 | VISHAL HOSPITAL | OP | TNHSP | AG73E/2010 |  |  | 810 | Working
42 | Electri centrifuger | C | BD1152 |  | 2012-01-12 | SOLOKRAFDS | LAB | TNHSP | AG29E/2011 |  |  | 5090 | Working
43 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C | LP50BW |  | 2009-08-01 |  | OT | TNMSC | 02/NRHM/HSP/TNMSC/2009 |  |  | 59000 | Working
44 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C | EVA drop mp-1000 | MP1ALH193 | 2011-09-29 | Schiller Health Care | OT | TNHSP | AG16/2010 | 2012-06-11 |  | 25900 | Working
45 | Opthalmoscope - Direct | C |  |  | 2010-09-22 |  |  | OTHERS |  |  |  | 0 | Working
46 | Opthalmoscope Indirect | C |  |  | 2009-01-27 | SURIYA SURGICAL |  | OTHERS |  |  |  | 84300 | Working
47 | Multi Para Monitor | B2 | G3D | G3DL60243 | 2014-07-17 | TRANS HEAITH | OT | TNMSC | 17240/TNMSC/ENGG/2014-3dt16/05/2014 | 2014-07-26 |  | 60000 | Working
48 | Multi Para Monitor | B2 | G3D | G3DL60179 | 2014-07-17 | TRANS HEAITH | 0T | OTHERS | 17240/TNMSC/ENGG/2014-3 | 2014-07-26 |  | 60000 | Working
49 | Multi Para Monitor | B2 | G3D | G3DL60251 | 2014-07-17 | TRANS HEAITH CARE | 0T | TNMSC | 17240/TNMSC/ENGG/2014--3 dt16/05/2014 | 2014-07-26 |  | 60000 | Working
50 | Operation Table Hydraulic Major | B2 | Jupiter 205 |  | 2008-01-04 | Jupiter Manufaturing works~ Coimbatore | OT | TNHSP |  | 2008-01-04 |  | 51400 | Working
51 | Pulse Oximeter | B2 | MD200A | 111011600138 | 2011-04-07 | TRANS HEALTH CARE INDIA | OT | TNHSP | TNHSP/TNMSC/ENGG/AG73d/2010 | 2011-04-07 |  | 13950 | Working
52 | Pulse Oximeter | B2 | MD200A | 111011600347 | 2011-04-07 | TRANS HEALTH CARE INDIA LTD | OT | TNHSP | TNHSP/TNMSC/ENGG/AG73d/2010 | 2011-04-07 |  | 13950 | Working
53 | Ventilators (Adult) | B2 | LTV1000 | A48805 | 2011-06-02 | TRANS HEALTH CARE INDIA LTD | TRANSFER TO CUDDALORE GH | TNHSP | TNHSP/TNMSC/ENGG/AG73a/2010 | 2011-06-22 |  | 420300 | Working
54 | Centrifuge | C | BDI152 |  | 2012-02-02 | SOLOKRAFT INDUSTRIES | LAB | TNHSP | TNHSP/TNMSC/AG87F(R)/2014dt19.03.2014 | 2012-02-02 |  | 5090 | Working
55 | Pulse Oximeter | B2 | MD200A | 111011366207 | 2011-04-07 | TRANS HEALTH CARE INDIA LTD | OT | TNHSP | TNHSP/TNMSC/ENGG/AG73d/2010 | 2011-04-07 |  | 13950 | Working
56 | Pulse Oximeter | B2 | MD200A | 11101160009 | 2011-04-07 | TRANS HEALTH CARE INDIA LTD | OT | TNHSP | TNHSP/TNMSC~ENGG/AG73d/2010 | 2011-04-07 |  | 13950 | Working
57 | Defibrillator with Monitor | B2 | LIFEPAK 20 | 39772895 | 2011-09-27 | METI ELECTRONICS | TRANSFER TO CUDDALORE GH | TNHSP | TNHSP/TNMSC/ENGG/AG73d/2010 | 2011-08-27 |  | 200000 | Working
58 | Defibrillator with Monitor | B2 | HEART STAT FRx~ OF PHILIPS | B12C-05812. | 2011-10-08 | PHILIPS ELECTRONICS | OP | TNHSP | TNHSP/TNMSC/ENGG/AG73d/2010 | 2012-10-09 |  | 58696 | Working
59 | Ringlens System | C | MAGNASCOPE | NOT GIVEN | 2012-02-02 | SOLOKRAFT INDUSTRIES | NCD | TNHSP | TNHSP/TNMSC/ICB/AG31/2011TNHSP/TNMSC/ICB/AG31/2011 | 2012-02-02 |  | 6987 | Working
60 | Cardiac Monitor | C | G3H | G3HKA0081 | 2013-11-13 | TRANS HEALTH CARE INDIA | IP | TNHSP | TNHSP/TNMSC/AG73B(R)/2013 | 2013-11-14 |  | 45000 | Working
61 | Cardiac Monitor | C | G3H | G3HKA0073 | 2013-11-13 | TRANS HEALTH CARE INDIA | 0P | TNHSP | TNHSP/TNMSC/AG73B(R)/2013 | 2013-11-14 |  | 45000 | Working
62 | Cardiac Monitor | C | PLANET10 | 1109010 | 2011-09-27 | MITI ELECTRONIC | TRANSFER TO CUDDALORE GH |  | TNHSP/TNMSC/ENGG/AG73b/2010 | 2011-09-27 |  | 30000 | Working
63 | ECG machine computerized | B | CARDIPIA 400H | C400111207 | 2011-09-27 | MITI ELECTRONICS | X-RAY | TNHSP | TNHSP/TNMSC/ENGG/AG73b/2010 | 2011-09-27 |  | 40000 | Working
64 | Cardiac Monitor | C | PLANET10 | 1109009 | 2011-09-21 | MITI ELECTRONIC | TRANSFER TO CUDDALORE GH | TNHSP | TNHSP/TNMSC/ENGG/AG73B/2010 | 2011-09-27 |  | 30000 | Working
65 | Suction Apparatus - Electrical | C | VISHAL035 |  | 2011-12-19 | VISHAL HOSPITALFURNITURE | OT | TNHSP | TNHSP/TNMSC/ENGG/AG73E/2010 |  |  | 4920 | Working
66 | Suction Apparatus - Electrical | C | VISHAL035 |  | 2011-12-19 | VISHAL HOSPITAL FURNITURE | OT | TNHSP | TNHSP/TNMSC/ENGG/AG73E/2010 |  |  | 4920 | Working
67 | Water Bath/Ultrasonic Water Bath | C | SIM-143 | SMI143 | 2014-06-06 | S.M SCIENTIFIC INSTRUMENTS PVT.LTD | LAB | TNHSP |  | 2014-06-06 |  | 8262 | Working
68 | B.P.apparatus table model | C |  |  | 2014-02-27 | MADHUSUDHANAN | NCD | TNHSP | TNHSP/TNMSC/ENGG/AG25/2011 |  |  | 1192 | Working
69 | Blood Bank Refrigerator | B2 | BD11410 | BD11410 | 2010-05-26 | Remi Electrotechnik | Lab | TNMSC | 186/NRHM/HSP/TNMSC/2010 |  |  | 69246 | Working
70 | Defibrillator with Monitor | B2 | FRx PHILIPS | B12C-05812 | 2012-10-08 | PHILIPS ELECTORONIC | OP | TNHSP |  |  |  | 58696 | Working
71 | Mannual Colposcope | C | ARI II-ID |  | 2012-09-26 | SOUTH INDIA SURGICAL | OT | TNHSP |  | 2012-09-26 |  | 130000 | Working
72 | PH meter | C | RPA-1GRTIOANPN | SN1082 | 2014-03-29 | RLT INSTRUMENTATION | LAB | TNHSP | TNHSP/TNMSC/AG87b/2013-1 | 2014-06-13 |  | 57353 | Working
73 | Shadowless Lamp stand model | B | size 14" |  |  |  | OT | JDHS | 12158/S1/2007 dt - 28/08/2007 |  |  | 26000 | Working
74 | Shadowless Lamp stand model | B | Stand Model |  | 2008-02-05 |  | OT | JDHS | 380/S1/2008 dt - 05.02.2008 | 2008-02-05 |  | 26000 | Working
75 | Shadowless Lamp stand model | B | Stand Model |  | 2008-02-05 |  | OT | JDHS | 380/S1/2008 dt - 05/02/2008 | 2008-02-05 |  | 26000 | Working
76 | Shadowless Lamp stand model | B | Stand Model |  | 2008-12-27 | Jupiter Manufaturing works, Coimbatore | OT | TNHSP | TNHSP / TNMSC / P3E3 / 2008 dt - 29/08/2008 | 2008-12-27 |  | 12700 | Working
77 | Shadowless Lamp stand model | B | Mobile |  | 2008-12-27 | Jupiter Manufaturing works, Coimbatore | OT | TNHSP | TNHSP / TNMSC / P3E3 / 2008 dt- 29/08/2008 | 2008-12-27 |  | 12700 | Working
78 | Boyles Apparatus with Fluotec and circle absorber | B | IOL |  |  |  | OT | DMS |  | 2011-09-05 |  | 160000 | Working
79 | Auto Clave HP Vertical (2 bin) | C | Vertical 2 bin |  | 2007-02-09 |  | OT | DMS |  | 2007-02-09 |  | 33000 | Working
80 | Auto Clave HP Vertical (2 bin) | C | Vertical 2 bin |  | 2008-04-24 | Jupiter Manufaturing works, Coimbatore | OT | TNHSP | TNHSP/TNMSC/P2E11/2007 dt - 28/11/2007 | 2008-04-24 |  | 33000 | Working
81 | Auto Clave HP Vertical (2 bin) | C |  |  | 2009-02-28 | Jupiter Manufaturing works, Coimbatore | OT | TNMSC | 51190 / Sandamp;P / 1/ 2008 dt - 10.11.2008 | 2009-02-28 |  | 33000 | Working
82 | Auto Clave HP Vertical (2 bin) | C |  |  | 2009-04-04 | Solografts Industries Chennai. | OT | DMS | 51190 / Sandamp;P / 1 / 2008 dt - 10 / 11 / 2008 | 2009-04-04 |  | 33000 | Working
83 | Auto Clave HP Vertical (2 bin) | C | Vertical 2 bin type |  | 2009-12-10 | JDHS cuddalore. | OT | JDHS | JDHS | 2009-12-10 |  | 33000 | Working
84 | Auto Clave HP Vertical (2 bin) | C | Vertical 2 bin type |  | 2009-12-10 | Solo kraft | OT | JDHS |  | 2009-12-10 |  | 33000 | Working
85 | Centrifuge | C | BDI154 | BDI154 | 2014-06-30 | SOLOKRAFTS INDUSTRIES | LAB | TNMSC |  | 2014-07-09 |  | 19000 | Working
86 | Pulse Oximeter | B2 |  | M73833 | 2014-07-04 | GRACE MFG and TRADING CO. | OT | RCH | RCH-II/TNMSC/ENGG/E67/2014dt05.03.2014 | 2014-07-04 |  | 68968 | Working
87 | Pulse Oximeter with NIBP | B2 | INNOVA 10 CIR | CIPL13024J25 | 2013-03-07 | Concept Integeration | OT | TNHSP | TNHSP/TNMSC/AG14/2012 dt- 21/11/2012 | 2013-03-12 |  | 56000 | Working
4623698