## status_report (4)
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 01/01/2004-02/03/2015
District : COIMBATORE
Institution : PERIYANICKENPALAYAM
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | CPC Code | Date of Receipt | Manufacturer Name | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | If AMC available | AMC valid upto | AMC agency name | Working status
1 | Centrifuge | LAB_COMC | 00092/COMC/1 | C |  |  |  | 2012-03-20 |  | SOLOCRAFTS INDUSTRIES |  |  |  | 2012-03-20 | 2015-03-19 | 5345 |  |  |  | 31-10-2014
1 | ECG machine ordinary | CRD_ECGO | 00092/ECGO/2 | B2 | EDAN SE3 | 309035M11801710003 |  | 2011-03-20 | MADRAS SURGICALS andamp;CHEMICALS | MADRAS SURGICALS andamp;CHEMICALS | OPD | TNHSP | NA | 19/04/2011 | 18/04/2012 | 36638 |  |  |  | WORKING
3 | Ringlens System | END_RLS | 00092/RLS/1 | C | [5 empty] | JUPITER MANUFACTURING WORKS | NCD CORNER |  | 04R/NRHM/TNMSC/ENGG/2011 | 2011-03-25 | 2014-03-24 | 4400 |  |  |  | WORKING
2 | Colposcope | END_CALS | 00092/CALS/1 | B2 | ARI II-1D | R20130142 |  | 2013-04-05 | ARI TECHNOLOGY | SISCO | VIAVILI ROOM | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 | 2013-04-24 | 2013-04-05 | 130000 |  |  |  | WORKING
5 | Weighing machine infant | NNE_WTMB | 00092/WTMB/1 | C |  |  |  | 1999-01-10 |  |  | Labour ward | DMS |  |  |  | 0 |  |  |  | WORKING
6 | Phototherapy Unit | NNE_PHTU | 00092/PHTU/1 | C |  |  |  |  | Trans Health care | Trans Health care | Store | DMS |  |  |  | 0 |  |  |  | WORKING
3 | Ultra Sound Scanner - Portable | IME_USGP | 00092/USGP/1 | B2 | SONATA | 3S6428 |  | 20/01/2007 | Landamp;T MEDICAL | Landamp;T Medical | SCAN ROOM | NA | NA | 29/01/2007 | 28/01/2008 | 298565 | NO AMC |  |  | WORKING
8 | Sterilizer Medium (Instrument) | OTE_STMD | 00092/STMD/1 | C |  |  |  | 1999-01-10 |  |  | Labour ward | DMS |  |  |  | 0 |  |  |  | WORKING
9 | B.P.apparatus table model | CRD_BPAT | 00092/BPAT/1 | C | [6 empty] | Labour ward | DMS |  |  |  | 0 |  |  |  | WORKING
10 | B.P.apparatus table model | CRD_BPAT | 00092/BPAT/2 | C |  |  |  | 1999-01-10 |  |  | General Ward |  |  |  |  | 0 |  |  |  | WORKING
11 | B.P.apparatus table model | CRD_BPAT | 00092/BPAT/3 | C |  |  |  | 1999-01-10 |  |  | General Ward |  |  |  |  | 0 |  |  |  | WORKING
4 | Ultra Sonogram -MOBILE | IME_IUSM | 00092/IUSM/1 | B |  |  |  | 1999-01-10 |  |  | General Ward |  |  |  |  | 0 |  |  |  | WORKING
5 | ECG machine ordinary | CRD_ECGO | 00092/ECGO/1 | B2 | CARDIART | AVMLOK16480 |  | 2008-05-01 | BPL MEDICAL DEVICES | BPL MEDICAL DEVICES | Scan room | TNHSP | NA | 17/01/2008 | 16/01/2009 | 31200 |  |  |  | WORKING
14 | Shadowless Lamp stand model | OTE_MOLT | 00092/MOLT/1 | B |  |  |  | 1999-01-10 |  |  | Store |  |  |  |  | 0 |  |  |  | WORKING
15 | Suction Apparatus - Electrical | OTE_SAEL | 00092/SAEL/2 | C |  |  |  | 1999-01-10 |  |  | Store |  |  |  |  | 0 |  |  |  | WORKING
6 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00092/ACV2/1 | C | NA | NA |  | 13/04/2005 | JUPITER MANUFACTURING WORKS | JUPITER MANUFACTURING WORKS | OT | NA | NA | 20/04/2005 | 19/04/2006 | 25000 |  |  |  | WORKING
17 | Sterilizer Medium (Instrument) | OTE_STMD | 00092/STMD/2 | C |  |  |  | 1999-01-10 |  |  | Store |  |  |  |  | 0 |  |  |  | WORKING
18 | Sterilizer Medium (Instrument) | OTE_STMD | 00092/STMD/3 | C |  |  |  | 1999-01-10 |  |  | Store |  |  |  |  | 0 |  |  |  | WORKING
19 | Sterilizer Medium (Instrument) | OTE_STMD | 00092/STMD/4 | C |  |  |  | 1999-01-10 |  |  | Store |  |  |  |  | 0 |  |  |  | WORKING
7 | Suction Apparatus - Electrical | OTE_SAEL | 00092/SAEL/1 | C | YUYUE | NA |  | 27/03/2008 | NA | NA | OT | DMS | NA | 27/03/2008 | 26/03/2009 | 9875 |  |  |  | WORKING
8 | Operation Table Hydraulic Major | OTE_TAMA | 00092/TAMA/1 | B2 | GESCO | NA |  | 15/07/2005 | GESCO | GESCO | OT | NA | NA | 15/07/2005 | 2006-04-07 | 51400 |  |  |  | WORKING
9 | Operation Table Hydraulic Major | OTE_TAMA | 00092/TAMA/2 | B2 | JUPITER | NA |  | 2000-11-13 | JUPITER MANUFACTURING WORKS | JUPITER MANUFACTURING WORKS | OT | NA | NA | 13/3/2000 | 2001-12-03 | 45025 |  |  |  | WORKING
10 | Shadowless Lamp stand model | OTE_MOLT | 00092/MOLT/2 | B | HOSPILITE | NA |  | 19/07/2004 | NA | NA | OT | NA | NA | 19/07/2004 | 18/07/2003 | 5895 |  |  |  | WORKING
11 | Shadowless Lamp stand model | OTE_MOLT | 00092/MOLT/3 | B | HOSPILITE | NA |  | 19/07/2004 | NA | NA | OT | NA | NA | 19/07/2004 | 18/07/2003 | 5895 |  |  |  | WORKING
25 | Formaline dispenser | SUR_FORD | 00092/FORD/1 | C |  |  |  | 1999-01-10 |  |  | OT |  |  |  |  | 0 |  |  |  | WORKING
26 | B.P.apparatus table model | CRD_BPAT | 00092/BPAT/4 | C | [6 empty] | OT |  |  |  |  | 0 |  |  |  | WORKING
27 | Sterilizer Medium (Instrument) | OTE_STMD | 00092/STMD/5 | C |  |  |  | 1999-01-10 |  |  | OT |  |  |  |  | 0 |  |  |  | WORKING
28 | Magnavision Lamp | NNE_MAGL | 00092/MAGL/1 | C | MAGNAVISION |  |  | 2011-03-24 | JUPITER MANUFACTURING WORKS | TNMSC | LABOURWARD | TNMSC | 04R/NRHM/TNMSC/ENGG/2011 | 2011-03-24 | 2012-03-24 | 4576 |  |  |  | WORKING
29 | Weighing machine adult | NNE_WTMA | 00092/WTMA/1 | C | AN ISO 9001 |  |  | 2012-02-15 | PRESTIGE | TNMSC |  |  |  | 2012-02-16 | 2013-02-15 | 0 |  |  |  | WORKING
12 | Cardiac Monitor | CRD_EBSM | 00092/EBSM/1 | C | Microman NXT | NA |  | 2008-01-12 | Landamp;T | Landamp;T | OT | TNHSP | TNHSP/TNMSC/P2E9/2007 Dt-- 11.09.2007 | 2008-01-12 | 2009-01-11 | 35000 | AMC | 2011-02-28 | Landamp;T | WORKING
13 | Baby Incubators | NNE_BINC | 00092/BINC/1 | C | 3010R | NA |  | 2007-12-24 | Madras Surgicals | Madras Surgicals | Labour Ward | TNHSP | TNHSP/TNMSC/P2E3/2007 Dt-- 11.09.2007 | 2007-12-24 | 2008-12-23 | 75000 | AMC | 2011-02-28 | Madras Surgicals | WORKING
14 | Boyles apparatus with out Ventilator | ANA_OVEN_T | 00092/BACA/1 | B | Compact | NA |  | 2008-01-12 | Landamp;T | Landamp;T | OT | TNHSP | TNHSP/TNMSC/P2E2/2007 DT-- 13.06.2007 | 2008-01-12 | 2009-01-11 | 100000 | AMC | 2011-02-28 | Landamp;T | WORKING
15 | Semiauto analyzer |  |  | B2 | PRIETEST | AT0040209RBK |  | 2003-05-03 | ROBONIK | ROBONIK | LAB | TNHSP | NA | 13/03/2009 | 2010-12-03 | 48426 |  |  |  | WORKING
16 | Cryotheraphy unit |  |  | B2 | CRYO-0004B | NA |  | 2012-07-02 | Solokrafts | Solokrafts | OT | TNHSP | TNHSP/TNMSC/AG30A/2011 | 2012-07-02 | 2013-06-02 | 23172 |  |  |  | WORKING
17 | Radiant Warmer |  |  | B | NEO-04 | NA |  | NA | NICENEOTECH | NICENEOTECH | LABOUR WARD | DONATED | DONATED | NA | NA | NA |  |  |  | WORKING
935412