## Sheet1
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD :
District :
Institution :
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Phototherapy Unit | C |  |  |  |  | LABOUR WARD | DMS |  |  |  | 10200 | Not Working
2 | Radiant Warmer | C |  |  |  |  | LABOUR WARD | OTHERS |  |  |  | 23500 | Working
3 | Foetal Doppler | C | [5 empty] | DMS |  |  |  |  | Working
4 | Phototherapy Unit | C |  |  |  | MEDITRIN | LW | DMS |  |  |  | 10200 | Not Working
5 | Radiant Warmer | C |  |  |  | PHOENIX | LW | DMS |  |  |  | 23500 | Working
6 | Foetal Doppler | C | Sonotrax |  | 2008-05-13 | Vibash Surgicals~ Coimbatore | Female OP | TNHSP |  | 2008-05-13 |  | 8000 | Working
7 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C | LPM-50 |  | 2010-05-20 | Jupiter Manufacturing Company | Operation Theatre-2~ Female Ward-2. | TNHSP | 02/NRHM/HSP/TNMSC/2009 | 2010-06-04 |  | 30680 | Not Working
8 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C | EVADROP MP 1000 | MPIALH191 | 2011-06-07 | Schiller | Postnatal Ward | TNHSP | TNHSP/TNMSC/AG16/2010 | 2013-03-08 |  | 25900 | Not Working
9 | Nebuliser Adult | C |  |  | 2011-02-10 | Jupiter Manufacturing Company | Out-Patient Department-1 | OTHERS |  |  |  | 1225 | Working
10 | Nebuliser Adult | C |  |  | 2011-02-10 | Jupiter Manufacturing Works | Injection OP-1 | OTHERS |  |  |  | 1225 | Working
11 | Shadowless Lamp stand model | B |  |  |  |  | LABOUR WARD | OTHERS |  |  |  | 26000 | Working
12 | Shadowless Lamp stand model | B |  |  |  |  | OT | OTHERS |  |  |  | 26000 | Working
13 | Shadowless Lamp stand model | B |  |  |  |  | OT | OTHERS |  |  |  | 26000 | Working
14 | Shadowless Lamp stand model | B |  |  |  |  | OT | OTHERS |  |  |  | 5500 | Working
15 | Suction Apparatus - Electrical | C |  |  |  |  | OT | OTHERS |  |  |  | 5000 | Working
16 | Suction Apparatus - Electrical | C |  |  |  |  | OT | OTHERS |  |  |  | 5000 | Working
17 | Boyles apparatus with Circle Abosrber | B |  |  |  |  | OT | DMS |  |  |  | 110000 | Working
18 | Operation Table Hydraulic Major | B2 |  |  |  |  | OT | DMS |  |  |  | 53000 | Working
19 | Pulse Oximeter | B |  |  |  |  | OT | DMS |  |  |  | 23700 | Working
20 | Color Doppler | A |  |  |  | Wipro GE | Scan Room | TNHSP |  |  |  | 674800 | Working
21 | Water bath | C |  |  |  |  | Lab | DMS |  |  |  | 8262 | Working
22 | 100 M.A. X-ray machine Portable | B | [5 empty] | DMS |  |  |  | 126500 | Working
23 | Suction Apparatus - Electrical | C | [5 empty] | DMS |  |  |  | 5000 | Working
24 | Suction Apparatus - Electrical | C | [5 empty] | OTHERS |  |  |  | 5000 | Working
25 | Refrigerator | C |  |  |  |  | Lab | DMS |  |  |  | 10400 | Working
26 | Water bath | C |  |  |  |  | Lab | DMS |  |  |  | 8262 | Working
27 | Electri centrifuger | C |  |  |  |  | Lab | DMS |  |  |  | 9000 | Working
28 | Electri centrifuger | C |  |  |  |  | Lab | DMS |  |  |  | 9000 | Working
29 | Binocular Mircroscope | B2 |  |  |  |  | Lab | DMS |  |  |  | 18600 | Working
30 | Lab Incubator | C |  |  |  |  | Lab | DMS |  |  |  |  | Working
31 | Boyles apparatus with Circle Abosrber | B | IOL |  |  |  | OT | DMS |  |  |  | 110000 | Working
32 | Suction Apparatus - Electrical | C | 7A23D |  | 2008-02-14 | Vin - Biotech Systems | OPD | TNHSP |  | 2008-02-14 |  | 11500 | Working
33 | Suction Apparatus - Electrical | C | 7A23D |  | 2008-02-14 | Vin - Biotech Systems | Female OP | TNHSP |  | 2008-02-14 |  | 11500 | Working
34 | Dental Chair | B2 | Technodent |  |  | SS Chemicals | Dental OP | TNHSP |  |  |  | 185500 | Working
35 | ECG machine computerized | B |  |  | 2009-01-09 | SOLOKRAFT | X-RAY | DMS |  | 2009-01-09 |  | 27000 | Working
36 | Operation Table Hydraulic Major | B2 |  |  | 2008-01-19 | Vibash Surgicals~ Coimbatore | OT | DMS |  | 2008-01-19 |  | 53000 | Working
37 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-12-18 | GLOLIFE | OPD | TNHSP |  | 2008-12-18 |  |  | Condemned
38 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-12-18 | GLOLIFE | Male ward | TNHSP |  | 2008-12-18 |  |  | Condemned
39 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-12-18 | GLOLIFE | Female OP | TNHSP |  | 2008-12-18 |  |  | Condemned
40 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-12-18 | GLOLIFE | OT | TNHSP |  | 2008-12-18 |  |  | Condemned
41 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-12-18 | GLOLIFE | Ward | TNHSP |  | 2008-12-18 |  |  | Condemned
42 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-12-18 | GLOLIFE | Ward | TNHSP |  | 2008-12-18 |  |  | Condemned
43 | Auto Clave HP Vertical (2 bin) | C |  |  | 2009-02-26 | Vishal | OT | DMS |  | 2009-02-26 |  | 33000 | Working
44 | Auto Clave HP Vertical (2 bin) | C |  |  | 2009-02-26 | Vishal | OT | DMS |  | 2009-02-26 |  | 33000 | Working
45 | Suction Apparatus - Electrical | C |  |  | 2009-02-26 | Vishal | Ward | DMS |  | 2009-02-26 |  | 4920 | Working
46 | Retino scope | C |  |  | 2009-02-18 |  | Store | DMS |  | 2009-02-18 |  |  | Working
47 | Shadowless Lamp stand model | B |  |  | 2009-03-22 | Jupiter | Store | DMS |  | 2009-03-22 |  | 13300 | Working
48 | Shadowless Lamp stand model | B |  |  | 2009-03-26 | Jupiter | Store | DMS |  | 2009-03-26 |  | 13300 | Working
49 | Auto Clave HP Vertical (2 bin) | C |  |  | 2009-04-03 | Solokraft | Store | DMS |  | 2009-04-03 |  | 33000 | Working
50 | Nebuliser Adult | C |  |  | 2011-02-10 | Jupiter manufacturing works~ Coimbatore. | Injection OP - 1 | DMS |  |  |  | 1225 | Working
51 | Nebuliser Adult | C |  |  | 2011-02-10 | Jupiter manufacturing works~ Coimbatore. | OPD | DMS |  | 2011-02-10 |  | 1225 | Working
52 | Pulse Oximeter | B2 | Innova-10ciR |  | 2013-03-04 | Concept integration ( I ) Pvt Ltd Medical Equipment and Health Care solutions~ NDA~ Pashan road~ Bawdha ~ Pune -411 021~ India. | Operation Theatre | TNHSP | TNHSP/TNMSC/AG14/2012 | 2013-03-08 |  | 56000 | Working
53 | Refrigerator | C | Electrolux |  | 2007-12-18 | Davey Pharma | OPD | TNHSP |  | 2007-12-18 |  | 10400 | Working
54 | Pulse Oximeter | B2 | RAD-8 | M 73831~ and M 73832 | 2014-07-04 | Grace MFG.andamp; Trading Co. ( Delhi ) | NBSU-1~ and Casualty-1 | RCH | RCH-II/TNMSC/ENGG/E67/2014 | 2014-07-04 |  | 68968 | Working
55 | Multi Para Monitor | B2 | G3D | G3DL60280 / 2014 | 2014-07-19 | Trans Health Care India Private Limited~ 95 th street ~ Chennai-600 078 | Operation theatre | TNMSC | 17240/TNMSC/ENGG/2014-3 | 2014-07-28 |  | 60000 | Working
56 | Multi Para Monitor | B2 | G3D |  | 2014-07-19 | Transa Health Care India Private Limited~ 95 th Street~ K.K. Nagar Chennai-600 078 | NICCU | TNMSC | 17240/TNMSC/ENGG/2014-3 | 2014-07-28 |  | 60000 | Working
57 | Multi Para Monitor | B2 | G3D | G3DL60146 / 2014 | 2014-07-19 | Trans Health Care India Private Limited~ 95 th Street~ K.K. Nagar~ Chennai-600 078 | Casualty | TNMSC | 17240/TNMSC/ENGG/2014-3 | 2014-07-28 |  | 60000 | Working
58 | Semi auto analyser | B2 | PRIETEST TOUCH MODEL | ATT1140209RBK | 2009-05-22 | ROBONIK INDIA PVT LTD | LABORATORY | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dATED 28/01/2009 | 2009-05-22 |  | 59500 | Working
59 | Washing Machine | B2 | Ramsons |  | 2011-11-26 | Solookrofts Industries | Cemoncenter | TNHSP | 01/NRHM/HSP/TNMSC/2009/WM - 25/8/2000 | 2011-11-26 |  | 108108 | Working
60 | Cell Counter | B | Sysmex Kx21 | B8751 | 2012-03-19 | TRANSASIA BIO MEDICALS LTD NAINAR MANDAPAM~PUDUCHEERY | LABOURATORY DEPARTMENT | TNHSP |  | 2012-03-19 |  | 385319 | Working
61 | Operating Microscope(Eye) | B1 | ASM 930 TG (COPTICS TAKAGI Japan ) | 903262 | 2010-03-18 | Ascon Medical instruments PVT LTD. | Operation Theatre | TNMSC |  | 2010-05-31 |  | 280000 | Working
62 | Radiant Warmer | C | NICE2007S |  | 2009-09-19 | Madras surgical and chemicals~ 3~ Madhavaram Avenue~ Velacherry Chennai. | Female Ward | TNHSP |  | 2009-10-24 |  | 15700 | Working
63 | Radiant Warmer | C | NICE2007S |  | 2009-09-19 | Madras surgicals and chemicals Ltd.~ Chennai. | Female ward | TNHSP | 02/NRHM/HSP/TNMSC/09 | 2009-10-24 |  | 15700 | Working
64 | Weighing Machine-Suspension | C | Hardik Meditech |  | 2012-02-04 | Alan Medical ~ Chennai | NCD | TNHSP |  |  |  | 1100 | Working
65 | AED Defibrillator with Monitor | B2 | AED / Heart stat Frx |  | 2012-08-18 | Philips Electronics India Pvt Ltd | OPD | TNHSP |  | 2012-08-18 |  | 58696 | Working
66 | Mannual Colposcope | C | ARI - 11/ 10 |  | 2012-09-11 | South India Surgicals | NCD OP | TNHSP |  | 2012-09-15 |  | 130000 | Working
67 | Binocular Mircroscope | B2 | BDI 3A |  | 2014-01-11 | Solografts Indutries | Lab | TNHSP | TNHSP/TNMSC/AG87C/2013 dt - 22/10/2013 | 2014-01-11 |  | 19530 | Working
68 | ECG machine computerized | B | cardio touch | t2c 0900050 | 2011-11-18 | JK Medical Systems | NCD | OTHERS | TNHSP/TNMSC/ENGG/AG 21/2010 | 2011-11-18 |  | 65736 | Working
3275681