## Sheet1
KULASEKARAM GH
S.No | Equipment Name | Category | Model | Serial Number | Date of Receipt | Manufacturer Name | Supplier Name | Location | Source of Supply | Purchase Order | Date of Installation | Warranty Valid Upto | Cost of the Item | Working Status
1 | Diathermy Machine | B | ELSY-360M+ | ASG-M+1406192 | 27/6/14 | Alan Electronic India Pvt Ltd | JBS MEDITEC INDIA PVT LTD | OT | TNMSC | 17240/TNMSC/ENGG/2014-2 DT 16/5/14 | 27/6/14 | 26/6/2017 | 218000 | Working
2 | ECG Machine Computerized | B | SE300B | SE300B5A0207C2566 | 30/1/08 | Eden Instruments | Madras Surgicals and Chemicals | OPD | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E12 28/11/07 | 30/1/08 | 29/1/09 | 47580 | Working
3 | ECG Machine Computerized | B | SE3 | 309035-M11801710028 | 7/10/11 | Eden Instruments | Madras Surgicals and Chemicals | OPD | TNHSP | TNHSP/TNMSC/ENGG/AG27/4/7/2011 | 7/10/11 | 2012-06-10 | 47580 | Working
4 | Scan Machine - Mobile | B | Logiq C2 | 203142WX5 |  | GE Health care | Wipro GE | Scan Room | RCH(transferred from GH Bhoothapandy | RCH/11/TNMSC/ENGG/E44/2010 | 23/11/12 | 22/11/13 | 344000 | Working
5 | Shadowless Lamp-1 | B |  |  |  | Hospitech Industries | Jupiter Manufacturing Works | OT |  |  |  |  | 13220 | Working
6 | Shadowless Lamp-2 | B |  |  |  | Hospitech Industries | Jupiter Manufacturing Works | OT |  |  |  |  | 13220 | Working
7 | Binocular Microscope | B2 | BD 13-A | 22152 | 24/1/14 | BD Instrumentation | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG87C/2013 22/10/2013 | 24/1/14 | 23/1/15 | 18600 | Working
8 | Binocular Microscope | B2 | BD 13-A | 22105 | 24/1/14 | BD Instrumentation | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG87C/2013 22/10/2013 | 24/1/14 | 23/1/15 | 18600 | Working
9 | Boyles Apparatus | B2 |  |  |  | Medi-Tech |  | OT | From Gh Bhoothapandy |  |  |  | 130000 | Working
10 | Cryotherapy Unit | B2 | Super Deluxe Cryo 004B ON-OFF |  | 16/5/12 | BASCO India | Solokraft Industries | OT | TNHSP | TNHSP/TNMSC/AG30A/2011 4/10/11 | 16/5/12 | 15/5/13 | 24331 | Working
11 | Dental Unit With motor | B2 |  |  | 31/3/2010 | Confident Dental Equipments | Confident Dental Equipments | OPD | TNMSC | 9214/TNMSC/ENGG/2009/10/03/2010 | 31/3/2010 | 30/3/2011 | 189210 | Working
12 | Dental Xray | B2 |  |  |  | Confident Dental Equipments |  | OPD |  |  |  |  | 45000 | Working
13 | Hydraulic Table | B2 | [5 empty] | OT |  |  |  |  | 35000 | Working
14 | Hydraulic table - Minor | B2 |  |  | 17/10/06 |  | Vibash Coimbatore Surgicals | OT | TNHSP | 69/TNHSP/TNMSC/ENGG/2005/E11 23/05/06 | 17/10/06 | 16/10/07 | 33344 | Working
15 | Laproscope - Double Puncture | B2 |  |  |  | Karl Storz |  | OT |  |  |  |  | 220000 | Working
16 | Manual colposcope | B2 | ARI-111D | R20130255 | 6/3/2013 | ARI Technology Group Co Ltd China | South India Surgicals | OPD | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 21/4/12 | 6/3/2013 | 2014-05-03 | 136500 | Working
17 | Multiparamonitor | B2 | G3D | G3DL60132 | 2/7/14 | General Meditech Inc | TRANS HEALTH CARE INDIA PVT LTD | OT | TNMSC | 17240/TNMSC/ENGG/2014-3 DT 16/5/2014 | 2/7/14 | 2017-01-07 | 60000 | Working
18 | Pulse Oximeter | B2 | Futura Pleth |  |  | Silicon Labs India Pvt Ltd | Silicon Labs India Pvt Ltd | OT |  |  |  |  | 18500 | Working
19 | Pulse Oximeter | B2 | Stellar | S06P23902 | 8/8/06 | L&T | Madras Surgicals and Chemicals | OT | TNHSP | TNHSP/TNMSC/ENGG/2006/E4 22/06/06 | 8/8/06 | 2007-07-08 | 40514 | Working
20 | Semiautoanalyser | B2 | Prietest Touch | AT0570314RBK | 22/4/14 | Robonik India Pvt Ltd | Robonik India Pvt Ltd | Lab | TNHSP | TNHSP/TNMSC/AG87H/2013 27/2/2013 | 22/4/14 | 21/4/15 | 50343 | Working
21 | Semiautoanalyser | B2 | Prietest Touch | AT1141013RBK | 22/4/14 | Robonik India Pvt Ltd | Robonik India Pvt Ltd | Lab | TNMSC | 10072/TNMSC/ENGG/2013 DT 5/3/14 | 22/4/14 | 21/4/15 | 48426 | Working
22 | X-Ray Machine | B2 | Allengers horizon |  | 20/7/2009 | Allengers | Allengers | X-ray Room | TNHSP |  | 20/7/2009 | 19/7/2010 | 276129 | Working
23 | Autoclave Vertical | C |  |  | 8/4/08 |  | Jupiter Manufacturing Works | Male Ward | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E11 28/11/07 | 8/4/08 | 2009-07-04 | 21840 | Working
24 | Autoclave Vertical | C | [5 empty] | OPD |  |  |  |  | 20000 | Working
25 | Autoclave Vertical-1 | C |  | A09020570 | 15/3/08 |  | Jupiter Manufacturing Works | OT |  |  | 15/3/08 | 14/3/09 | 33280 | Condemned
26 | Autoclave Vertical-2 | C | [5 empty] | OT |  |  |  |  | 22000 | Condemned
27 | Baby Weighing Scale | C | Braun |  |  | Docbel Beli ram industries |  | Labour Ward |  |  |  |  | 1500 | Working
28 | Binocular Microscope | C | Unilab |  |  | JP-MIA |  | Lab |  |  |  |  | 18000 | Working
29 | BP Apparatus | C | Elkometer | 340662 |  | Anita Industries |  | Children Ward |  |  |  |  | 1500 | Working
30 | BP Apparatus | C | Deluxe | 16541 |  | Diamond |  | Female Ward |  |  |  |  | 1500 | Working
31 | BP Apparatus | C | Deluxe | 16540 |  | Diamond |  | Male Ward |  |  |  |  | 1500 | Working
32 | BP Apparatus | C | Namatt | 154324 |  | Shri Vinayak |  | OPD |  |  |  |  | 1500 | Working
33 | BP Apparatus | C | Elkometer | 340675 |  | Anita Industries |  | OPD |  |  |  |  | 1500 | Working
34 | BP Apparatus | C | Deluxe | 16534 |  | Diamond |  | OPD |  |  |  |  | 1500 | Working
35 | BP Apparatus | C | [5 empty] | OT |  |  |  |  | 1500 | Working
36 | BP Apparatus | C |  | RF0105603 |  | Disha |  | Labour Ward |  |  |  |  | 1500 | Working
37 | BP Apparatus Stand Model | C | Deluxe |  |  | Diamond |  | OT |  |  |  |  | 1500 | Working
38 | Cardiac Monitor | C | Micromon NxT | X07T0062 | 8/1/08 | L&T | L&T | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E9 dt 11/9/2007 | 2008-08-01 | 2009-07-01 | 27810 | Working
39 | Centrifuge | C | [5 empty] | Lab |  |  |  |  | 6000 | Working
40 | Centrifuge | C | BDI 152 | 18/6/12 |  | BD Instrumentation | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG29/E/11 4/10/11 | 18/6/12 | 17/6/13 | 5345 | Working
41 | Digital PH Meter | C | RPA-1GRTIOANPN | 1125 | 5/4/2014 | RLT Instrumentation | RLT INSTRUMENTATION PVTLTD | Lab | TNHSP | TNHSP/ TNMSC/AG 87B/2013-1 DATE 20/11/2013 | 5/4/2014 | 2015-04-04 | 57353 | Working
42 | Domestic Refrigerator | C | Super cool | 00987/2000RB |  | Kelvinator |  | OPD |  |  |  |  | 9000 | Working
43 | Domestic Refrigerator | C |  |  |  | Kelvinator |  | OT |  |  |  |  | 9000 | Working
44 | Domestic Refrigerator | C | KFL18407 | 27201299 | 23/11/10 | Godrej | SELVEN FURNITURE LAND KULASEKARAM | Store | Local Purchase |  | 23/11/10 | 22/11/11 | 9375 | Working
45 | Focus Light | C | [5 empty] | OPD |  |  |  |  | 5000 | Working
46 | Foetal Doppler | C | DX02 | FD/01 | 25/6/11 | MICO | Scientific Instruments | Labour Ward | Local Purchase |  | 25/6/11 | 24/6/12 | 4680 | Working
47 | Foetal Doppler | C | A100H | FD/02 | 17/11/2014 | AEON TECHNOLOGY (PVT) LTD | MEDI WAVES INC | Labour Ward | TNMSC | 17240/TNMSC/ENGG/2014 DT 16/5/2014 | 17/11/2014 | 16/11/2017 | 4650 | Working
48 | Fumigator | C | [5 empty] | OT |  |  |  |  | 5000 | Working
49 | Laryngoscope | C | [5 empty] | OPD |  |  |  |  | 3000 | Working
50 | Laryngoscope with 2 blades | C | [5 empty] | Labour Ward |  |  |  |  | 3000 | Working
51 | Laryngoscope with blade | C | [5 empty] | OT |  |  |  |  | 3000 | Working
52 | Magnavision Lamp | C | Magnascope |  | 16/5/12 | Lensel Optics Pvt Ltd | Solokraft Industries | NCD Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 19/10/11 | 16/5/12 | 15/5/13 | 7337 | Working
53 | Magnavision Lamp | C | 8008 |  | 5/5/11 | Sparx Magnifier | Jupiter Manufacturing Works | NCD OP | NRHM | 04R/NRHM/TNMSC/ENGG/2011DT.12.02.2011 | 5/5/11 | 2012-04-05 | 6987 | Working
54 | Monocular Microscope | C |  | 09-600 |  | Made in Poland |  | Lab |  |  |  |  | 15000 | Working
55 | Nebuliser | C |  |  |  | Ready Mist |  | Children Ward |  |  |  |  | 2000 | Working
56 | Nebuliser | C |  | 134719 |  | ReadyMist |  | Female Ward |  |  |  |  | 2000 | Working
57 | Nebuliser | C |  | 151209 |  | Ready Mist |  | OPD |  |  |  |  | 2000 | Working
58 | Needle Destroyer | C | MICO |  |  |  |  | Children Ward |  |  |  |  | 1500 | Working
59 | Needle Destroyer | C |  |  |  | MICO |  | Female Ward |  |  |  |  | 1500 | Working
60 | Needle Destroyer | C | Jayna |  |  |  |  | Lab |  |  |  |  | 1500 | Working
61 | Needle Destroyer | C |  |  |  | MICO |  | Labour Ward |  |  |  |  | 1500 | Working
62 | Needle Destroyer | C | MICO |  |  |  |  | Male Ward |  |  |  |  | 1500 | Working
63 | Needle Destroyer | C | [5 empty] | OT |  |  |  |  | 1500 | Working
64 | Needle Destroyer-1 | C |  |  |  | MICO |  | OPD |  |  |  |  | 1500 | Working
65 | Needle Destroyer-2 | C |  |  |  | Jayna |  | OPD |  |  |  |  | 1500 | Working
66 | Ophthalmoscope | C |  |  |  | welch Allyn |  | OPD |  |  |  |  | 4400 | Working
67 | Otoscope | C |  | REF13010 |  | welch Allyn |  | OPD |  |  |  |  | 374 | Working
68 | Photocalorimeter | C | Electra | 0616 | 29/4/09 | Euro Diagnostics Systems |  | Lab |  |  | 29/4/09 | 28/4/10 | 7600 | Working
69 | Phototherapy Unit | C | Nice 4000PT | 0607270 | 5/12/07 | Nice Neotech | Madras Surgicals and Chemicals | Children Ward | TNHSP | TNHSP/TNMSC/P2E10/2007 19/9/2007 | 5/12/07 | 2008-04-12 | 10260 | Working
70 | Phototherapy Unit | C | Nice 4000CFL | 0711939 | 7/8/06 | Nice Neotech | Madras Surgicals and Chemicals | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/E7/06 11/5/06 | 7/8/06 | 2007-06-08 | 9900 | Working
71 | Radiant Warmer | C | Nice 2000B | 0607343 | 7/8/06 | Nice Neotech | Madras Surgicals and Chemicals | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/2006/CE8 25/10/06 | 2006-07-08 | 2007-06-08 | 19680 | Working
72 | Radiant Warmer | C | Nice 2007S | 0711116 | 5/12/07 | Nice Neotech | Madras Surgicals and Chemicals | Labour Ward | TNHSP | TNHSP/TNMSC/P2E10/2007 19/9/2007 | 5/12/07 | 2008-04-12 | 17680 | Working
73 | Ring Lens System | C | Magnascope |  | 16/5/12 | Lensel Optics Pvt Ltd | Solokraft Industries | OPD | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 19/10/11 | 16/5/12 | 15/5/13 | 7337 | Working
74 | Rotary Shaker | C | BDI-149 |  | 2014-07-06 | BD Instruments | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG87® dt 19/8/14 | 2014-08-11 | 2015-07-11 | 32200 | Working
75 | Shadowless Lamp-3 | C | [5 empty] | OT |  |  |  |  | 10000 | Working
76 | Steriliser | C | [5 empty] | OT |  |  |  |  | 1700 | Working
77 | Suction Apparatus | C |  |  |  | K-flow |  | Female Ward |  |  |  |  | 4400 | Working
78 | Suction Apparatus | C | [5 empty] | Labour Ward |  |  |  |  | 4400 | Working
79 | Suction Apparatus | C |  |  |  | YuyuE7A -23D |  | Male Ward |  |  |  |  | 4400 | Working
80 | Suction Apparatus | C | [5 empty] | OT |  |  |  |  | 4400 | Working
81 | Volume Infusion Pump | C | Infu 300 | E-03060363 | 30/3/2007 | Akas Medical Equipment |  | Children Ward |  |  | 30/3/2007 | 29/3/08 | 50572 | Working
82 | Water Bath | C | SMI 143 |  |  | Jindal | S.M Scientific Instruments Pvt. Ltd | Lab | TNHSP | TNHSP/TNMSC/AG87H(R)/2014 DT 29/4/14 |  |  | 8262 | Working
83 | Weighing Machine - Adult | C |  |  |  | Prestige |  | OPD |  |  |  |  | 600 | Condemned
84 | Weighing Machine - Adult | C | Krups |  |  | Docbel Beli ram Sons |  | OPD |  |  |  |  | 1500 | Working
85 | Weighing Machine - Baby | C | Braun |  |  |  |  | OT |  |  |  |  | 1500 | Working
86 | Weighing Scale - Baby | C |  |  |  | Braun |  | OPD |  |  |  |  | 1500 | Working
2560419