## Sheet1
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 03/03/2009-02/03/2015
District : Villupuram
Institution : Gingee GH
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | ECG Machine-Multichannel/Page Writer | B2 | BIONET CARDIO CARE 2000 PLUS | EO0800165 | 2014-12-24 | JK MEDICAL SYSTEMS PVT LTD.WEST KK NAGAR~CHENNAI. | CASULTY OP | JDHS | 6158/S1/2014 DT.18/12/2014 | 2015-01-05 | 2018-01-05 | 44800 | yes
2 | Electric Calorimeter | C | PRIEST EASYLAB | PEL1521213RBK | 2014-03-21 | ROBONIK (INDIA) PVT.LTD. NAVI MUMBAI 400710 | LAB-DEPT. | TNMSC | TNHSP/TNMSC/AG87B/2013-2 DT.28/11/2013 | 2014-03-21 | 2015-03-21 | 20302 | yes
3 | Semi auto analyser | B2 | PRITEST TOUCH | AT0950314RBK | 2014-03-21 | ROBONIK(INDIA) PVT LTD. NAVI MUMBAI | LAB DEPT. | TNMSC | TNHSP/TNMSC/AG87b/2013 DT.28/11/2013 | 2014-03-21 | 2015-03-21 | 48426 | yes
4 | Nebuliser Adult | C | ARROW - NEP |  | 2009-06-02 | SABERWAL SURGICAL~ COIMBATORE. | OP | TNMSC |  | 2009-06-02 |  | 1486 | no
5 | Ringlens System | C | MAGNASCOPE |  | 2012-01-26 | SOLOKRAFTS INDUSTRIES~CHENNAI. | NCD DEPT | TNHSP |  | 2012-07-14 | 2015-01-26 | 7337 | yes
6 | Defibrillator with Monitor | B2 | heartstart |  | 2012-08-20 | PHILIPSAELECTROICS~PONDY | CASULTY | TNHSP |  | 2012-10-16 | 2013-10-15 | 58696 | yes
7 | Multi Para Monitor | B2 | G3D | G3DL 60276 | 2014-07-22 | TRANS HEALTH CARE INDIA PRIVATE LIMITED~CHENNAI 600 078. | CASULTY OP | TNMSC | 17240TNMSCENGG??4-3 DT.16-05-2014 | 2014-07-22 | 2017-07-21 | 60000 | yes
8 | Needle destroyer / Syringe Destroyer | C | NIL SHARPS |  | 2014-09-30 | SOLOKRAFTS INDUSTRIES~CHENNAI | OP2-MATW1-LAB1 FW1 | TNMSC | 20533/ICWN/TNMSC/ENGG/2014-1---DATED 23/05/2014 | 2014-09-30 | 2015-09-30 | 16260 | yes
9 | Foetal Doppler | C | A100H | H1105 | 2014-11-14 | MEDI WAVES INC. | MATERNITY WARD 1~ FAMILY WELFARE 1 | TNMSC | 17240/TNMSC/ENGG/2014-15 DATED16/05/2014 | 2014-11-14 | 2017-08-07 | 9300 | yes
10 | Radiant Warmer | C |  |  | 1996-03-22 | Phoenix Medical Systems | L W | DMS |  | 1996-03-22 |  | 20500 | yes
11 | 100 M.A. X-ray machine Portable | B | 100 mA ELPRO -GE |  | 1987-11-22 | IGE-India ltd. | X-Ray Room | OTHERS |  | 1987-11-22 |  | 0 | yes
12 | Boyles apparatus with Circle Abosrber | B |  |  |  | BOC India Ltd. | OT | DMS |  |  |  | 0 | yes
13 | Operation Table Hydraulic Major | B2 |  |  | 1996-03-05 | General Surgicals | OT | DMS |  | 1997-12-30 |  | 10850 | yes
14 | Operation Table Hydraulic Major | B2 |  |  | 1987-12-30 | General Surgicals | OT | DMS |  | 1987-12-30 |  | 10850 | yes
15 | Pulse Oximeter | B | NONIN Model 8600 |  | 1999-01-12 | Trans Health Care India | OT | DMS |  | 1999-12-01 |  | 31300 | yes
16 | Pulse Oximeter | B |  |  | 2003-05-28 | Miti Electronics | OT | DMS |  | 2003-05-28 |  | 33660 | yes
17 | Binocular Mircroscope | B2 |  |  | 2000-05-04 | Associated Surgicals | Lab | DMS |  | 2000-04-05 |  | 11400 | yes
18 | Semi auto analyser | B2 | ERBA Chem 5+ |  | 1998-12-24 | Transasia Bio Ltd | Lab condemed by action on 18/01/2012 | DMS |  |  |  | 169000 | yes
19 | ECG machine ordinary | B | Bionet EKG 2000 |  | 1986-12-29 |  | X-Ray Room | DMS |  | 2003-07-16 |  | 65736 | yes
20 | Suction Apparatus - Electrical | C |  |  | 2008-02-18 | Vin Bio tech | OT |  |  | 2008-02-18 |  | 4500 | yes
21 | Autoclave vertical single bin | C |  |  | 2008-03-24 | JUPITER | OT |  |  | 2008-03-24 |  | 13000 | yes
22 | Suction Apparatus - Electrical | C |  |  | 2008-02-18 | VIN BIOTECH | OT |  |  | 2008-02-18 |  | 4500 | yes
23 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-11-21 | GLOLIFE | OP |  |  | 2008-11-21 |  | 750 | yes
24 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-11-21 | GLOLIFE | OP |  |  | 2008-11-21 |  | 750 | yes
25 | Operation Table Hydraulic Major | B2 |  |  | 2007-10-30 | jupitor manufacturing | OT | DMS |  | 2007-12-30 |  | 55120 | yes
26 | Weighing Machine Electronic | C |  |  |  | Surya | LW |  |  |  |  | 750 | yes
27 | Shadowless Lamp stand model | B |  |  |  | JUPITER | OT |  |  |  |  | 0 | yes
28 | Suction Apparatus - Electrical | C |  |  |  | JUPITER | LW |  |  |  |  | 0 | yes
29 | Dental Chair | B2 |  |  | 1995-06-30 | Associated Surgicals | Dental OP | DMS |  | 1995-06-30 |  | 0 | yes
30 | Needle destroyer / Syringe Destroyer | C | REPROSPAARK |  | 2008-11-21 | GIO LIFE CARE EQUIPMENTS~ CHENNAI | LAB~ OP~ FAMILY WELFARE~ MALE WARD~ | TNHSP |  |  |  | 785 | yes
31 | Weighing Machine Electronic | C | PAE026 |  | 2009-01-23 | SURIYA SIRGICALS INDUSTRIES | MATERNITY WARD | DMS |  |  |  | 10920 | yes
32 | Shadowless Lamp stand model | B |  |  | 2009-03-17 | JUPITER MANUFACTURING~ COIMBATORE | OT | DMS |  |  |  | 40000 | yes
33 | Shadowless Lamp stand model | B |  |  | 2009-03-30 | JUPITER MANUFACTURING~ COIMBATORE | OT | DMS |  |  |  | 27640 | yes
34 | Auto Clave HP Horizontal-CYLINDRICAL | C |  |  | 2009-02-23 | VISHAL HOSPITAL | OP | TNHSP |  |  |  | 16300 | yes
35 | Pulse Oximeter | B2 | M900-MEDITECH |  | 2009-08-05 | MADRAS SURGICALS | OT | TNHSP |  |  |  | 24640 | yes
36 | Weighing Machine-Suspension | C |  |  | 2008-07-20 | JUPITER MANUFACTURING | OP | TNHSP |  |  |  | 563 | yes
37 | Operating table Orthopedic | B |  |  | 2009-03-12 | VIBASH SURGICAL~ COIMBATORE | OT | DMS |  |  |  | 164268 | yes
38 | Suction Apparatus - Electrical | C |  |  | 2009-02-23 | VISHAL HOSPITAL~ CHENNAI |  | TNHSP |  |  |  | 4410 | yes
39 | Suction Apparatus - Electrical | C |  |  | 2009-03-17 | JUPITER MANUFACTURING~ COIMBATORE | MALE WARD | DMS |  |  |  | 5500 | yes
40 | Suction Apparatus - Electrical | C | SUPREME ISI |  | 2009-06-02 | SABERWAL SURGICLS~ COIMBATORE | MATERNITY WARD | TNHSP |  |  |  | 5273 | yes
41 | Focus lamp Ordinary | C | HOSPITECH |  | 2009-08-20 | JUPITER MANUFACTURING~ COIMBATORE | OT | TNHSP |  |  |  | 12450 | yes
42 | Radiant Warmer | C | NICE 2007S |  | 2009-09-15 | MADRAS SURGICAL .CHENNAI | MATERNITY WARD | TNHSP |  |  |  | 15700 | yes
43 | Phototherapy Unit | C | SUN SHINE |  | 2009-09-21 | JUPITAR MANUFACTURING ~COIMBATORE | MATERNITY WARD | TNHSP |  |  |  | 10200 | yes
44 | Ultra Sonogram -MOBILE | B | LOGIQP3 |  | 2009-09-17 | WIPRO GE HEALTHCARE~ BANGALOR | MATERNITY WARD | TNHSP |  |  |  | 688296 | no
45 | Weighing machine infant | C |  |  | 2009-10-15 | SOLOKRAFTS INDUSTRIES~ CHENNAI |  | TNHSP |  |  |  | 4200 | yes
46 | X-ray Machine 100 mA | B2 | MXD-1000R |  | 2009-11-11 | MEDFORD MEDICAL SYSTEM ~JAIPUR | IDEAL | TNHSP |  |  |  | 228633 | yes
47 | Washing Machine | B2 | RAMSONS |  | 2010-02-20 | SOLOKRAFTS INDUSTRIES~CHENNAI | MATERNITY WARD-1~ TRANFER TO VALATHY PHC-1 | TNHSP |  |  |  | 108108 | no
48 | SYRINGE INFUSION PUMP | A | LP-50 BW |  | 2010-02-10 | JUPITER MANUFACTURING ~COIMBATORE | STORE | TNHSP |  |  |  | 61600 | yes
49 | INFUSION PUMP | A | LP50 BW |  | 2010-05-19 | JUPITOR MANUFACTURING~CIOMBATORE | OP1 FW1-TRANSFER TO MEDICAL COLLEGE 2 | TNHSP |  |  |  | 30800 | no
50 | Magnavision Lamp | C |  |  | 2011-03-23 | JUPITOR MANUFACTURING ~COIMBATORE | MATERNITY WARD | TNHSP |  |  |  | 4576 | yes
51 | ECG machine ordinary | B2 | EDAN SE3 |  | 2011-10-06 | MADRAS SURGICAL~CHENNAI | OP | TNHSP |  |  |  | 38470 | yes
52 | ECG machine computerized | B | cardio touch 3000 |  | 2011-11-18 | JK MEDICAL SYSTEM .CHENNAI | X RAY DEPT. | TNHSP |  |  |  | 69023 | yes
53 | Radiant Warmer | C | PHOENIX |  | 1996-03-22 | PHOENIX MEDICAL SYSTEM | MATERNITY WARD | IPPV |  | 1996-03-21 |  | 14208 | yes
54 | Suction Apparatus - Electrical | C |  |  | 2008-02-18 | VINBIOTECT SYSTEM~ CHENNAI | OT | DMS |  | 2008-02-18 |  | 4148 | yes
55 | Suction Apparatus - Electrical | C |  |  | 2009-03-17 | JUPITOR MANUFACTURING ~COIMBATORE |  | DMS |  |  |  | 22000 | yes
56 | Mannual Colposcope | C | ARI-TECHNOLOGY CO.LTD~ CHINA/MAKE.ARI II-ID |  | 2012-09-06 | SOUTH INDIA SURGICAL~CHENNAI | NCD STAFF | TNHSP |  | 2012-09-24 | 2013-08-30 | 130000 | yes
57 | Suction Apparatus - Electrical | C |  |  | 2009-04-02 | GENERAL SURGICAL COMPANY~ CHENNAI |  | DMS |  |  |  | 22000 | yes
58 | Semi auto analyser | B2 | PRIETEST TOUCH ----ROBONEK |  | 2012-08-30 | RD FROM MO GH.GUDIYATTHAM | LAB | TNHSP |  | 2012-09-07 |  | 0 | yes
59 | Generator | C | (40 kva generator) make-GREAVES |  | 2012-06-21 | SPAIN ELECTRONICS CORPORATION~ DELHI | NEAR ICTC BLOCK | TNHSP |  | 2012-06-21 |  | 439321 | yes
60 | Binocular Mircroscope | B2 | BDI-13A | S.L.NO.22500 | 2014-01-10 | SOLOKRAFTS INDUSTRIES~KODUNGAIYUR~ CHENNAI 600031. | LAB-DEPT. | TNHSP | TNHSP/TNMSC/AG87c/2013 DATED 22/10/2013 | 2014-01-18 | 2015-01-10 | 18600 | yes
61 | Pulse Oximeter | B2 | RAD-8 |  | 2014-04-04 | GRACE MFG.andamp;TRADING CO. DELHI | LAB DEPT. | RCH |  | 2014-04-04 | 2019-04-04 | 137936 | yes
62 | Operation Table Hydraulic Major | B2 |  |  | 2008-12-30 | JUPITER | OT | TNHSP |  | 2008-12-30 |  | 0 | yes
63 | Diathermy Machine (Electric Cautery) | B | ELSY 360M+ | 1406107 | 2014-06-12 | JBS MEDIITEC INDIA PVT LTD~COIMBATORE | OPERATION THETRE (OT) | TNMSC | 17240/TNMSC/ENGG/2014-2 | 2014-06-12 | 2017-06-12 | 218000 | yes
64 | PH meter | C | RPA-1GRTIONPN | 1343 | 2014-05-30 | RLT INSTRUMENTATION PVT.LTD | LAB DEPT. | TNHSP | TNHSP/TNMSC/AG87b/2013-1 dt28nov2013 | 2014-05-30 | 2015-05-30 | 57353 | yes
65 | Pulse Oximeter | B2 | RAD 8 | M81723 | 2014-12-23 | INDIAN MEDICAL SYSTEMS AND TECHNOLOGIES~ANNANAGAR~CHENNAI 37. | NBSU | TNMSC | 114/TNMSC/ENGG/2013 DT6/3/2013 | 2014-12-23 | 2019-12-22 | 68950 | yes
66 | Refrigerator | C | ELECTROLUX |  | 2008-04-09 | DEVA PHARMA SURGERY | MAIN STORE |  |  | 2008-04-09 |  | 10816 | yes
3414960