## Sheet1 (2)
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
| Suction Apparatus (Electrical) | B2 |  |  | 1.5.2011 | Vishal Hospital steel furniture | OT | TNHSP | TNHSP/TNMSC/P3E8/08-10.9.2008 | 7.3.2009 | 6.3.2010 | 7800 | working
| Suction Apparatus (Electrical) | B2 |  |  | 1.5.2011 | Vishal Hospital steel furniture | LW | TNHSP | TNHSP/TNMSC/P3E8/08-10.9.2008 | 7.3.2009 | 6.3.2010 | 7800 | working
| Suction Apparatus (Electrical) | B2 |  |  | 1.5.2011 | Vishal Hospital steel furniture | LW | TNHSP | TNHSP/TNMSC/P3E8/08-10.9.2008 | 7.3.2009 | 6.3.2010 | 7800 | working
| Suction Apparatus (Electrical) | B2 |  |  | 1.5.2011 | Vishal Hospital steel furniture | Ward | TNHSP | TNHSP/TNMSC/P3E8/08-10.9.2008 | 7.3.2009 | 6.3.2010 | 7800 | working
| Needle and Syringe Destroyer | C |  |  | 1.5.2011 | bf | OP | [5 empty] | working
| Needle and Syringe Destroyer | C |  |  | 1.5.2011 |  | WARD | [5 empty] | working
| Needle and Syringe Destroyer | C |  |  | 1.5.2011 |  | OP | [5 empty] | working
| Nebulizer | C |  |  | 1.5.2011 |  | OP | [5 empty] | working
| Nebulizer | C |  |  | 1.5.2011 |  | OP | [5 empty] | working
| Nebulizer | C |  |  | 25.2.2012 | Ultra Surgicals | Ward | PWS |  | 25.2.2012 | 24.2.2013 |  | working
| Foetal Monitor | C |  |  | 1.5.2011 |  | LW | [5 empty] | working
| Electronic weighing machine (baby) | C |  |  | 1.5.2011 |  | LW | [5 empty] | working
| Weighing Machine (baby) | C |  |  | 1.5.2011 |  | OP | [5 empty] | working
| BP Apparatus (Box type) | C |  |  | 1.5.2011 |  | NCD | [5 empty] | working
| BP Apparatus (Box type) | C |  |  | 7.3.2014 | Madhusudhanan & co | OP | TNHSP | TNHSP/TNMSC/ENGG/AG26/2011 | 7.3.2014 | 6.3.2015 |  | working
| Hot Air Oven | C |  |  | 1.5.2011 |  | LAB |  | TNHSP/TNMSC/ICB/P3E2/2009-20.9.2009 |  |  |  | working
| Lab Incubator | B |  |  | 1.5.2011 |  | LAB |  | TNHSP/TNMSC/ICB/P3E2/2009-20.9.2009 |  |  |  | working
| Electronic Weighing Machine(Adult) | C |  |  | 1.5.2011 | [7 empty] | working
| Autoclave Vertical | B2 |  |  | 1.5.2011 | [7 empty] | working
| Microscope Binocular | B2 |  |  | 1.5.2011 |  | LAB | [5 empty] | Not working
| Weighiing Machine (adult) | C |  |  | 18.2.2012 | Alan Medical | OP | TNHSP |  | 18.2.2012 | 17.2.2013 |  | working
2 | Magnavision | C |  |  | 14.2.2012 | Solokrafts Industries | NCD | TNHSP | TNHSP/TNMSC/ICB/AG31/2011-19.10.2011 | 14.2.2012 | 13.2.2013 | 7337 | working
| Cryotherapy Unit | C |  |  | 14.3.2012 | Solokrafts Industries | NCD | TNHSP | TNHSP/TNMSC/AG30A/2011-14.10.2011 | 14.3.2012 | 13.2.2013 | 24331 | working
| Deep Freezer | B |  |  | 1.5.2011 |  | LAB |  |  | 1.5.2011 |  |  | working
| Ice Lined Refrigirator | C |  |  | 1.5.2011 |  | LAB |  |  | 1.5.2011 |  |  | working
| Pulse Oximeter | B2 | RAD 8 |  | 10.4.2014 | Grace Mfg | LW | RCH-II |  | 10.4.2014 | 9.4.2015 | 70347.5 | working
| Pulse Oximeter | B2 | RAD 8 |  | 10.4.2014 | Grace Mfg | CASUALTY | RCH-II |  | 10.4.2014 | 9.4.2015 | 70347 | working
| Electric calorimeter/BioChemistry Analyzer | B | Easy Lab | PEL0861213RBK | 10.3.2014 | Robonik | LAB | TNHSP | TNHSP/TNMSC/AG87B/2013-28.11.2013 | 10.3.2014 | 9.3.2015 | 20708 | working
| Colposcope | B |  |  | 23.9.2013 | SISCO | NCD | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011-21.4.2012 | 23.9.2013 | 22.9.2014 | 136500 | working
| Water Bath | C |  |  | 25.5.2014 | SM Scientific Instruments | LAB | TNHSP |  | 25.5.2014 | 24.5.2015 | 8427 | working
| Digital PH meter | B | RPA-1 |  | 9.6.2014 | RLT Instrumentation | LAB | TNHSP | TNHSP/TNMSC/AG87B/2013-28.11.2013 | 9.6.2014 | 8.6.2015 | 60221 | working
| Multipara Monitor | B2 |  |  | 17.7.2014 | Trans Healthcare | LW | TNMSC |  | 17.7.2014 | 16.6.2015 | 63000 | working
| Semi Auto Analyzer | B | Priestest | AT1311013RBK | 25.7.2014 |  | LAB | GH-Natchiyarkovil | TNHSP/TNMSC/ENGG/AG87H/2013-27.4.2013 | 25.7.2014 | 24.7.2015 | 44000 | working
| Rotary Shaker | B |  |  | 13.10.2014 | Solokrafts Industries | LAB | TNHSP | TNHSP/TNMSC/AG87F/2014-19.5.2014 | 13.10.2014 | 12.10.2015 | 33810 | working
| Foetal doppler | C | A100h |  | 18.11.2014 | Medi Waves inc | LW |  | 17240/TNMSC/ENGG/2014-15-16.5.2014 | 18.11.2014 | 17.11.2015 | 4650 | working
| Foetal doppler | C | A100h |  | 18.11.2014 | Medi Waves inc | LW |  | 17240/TNMSC/ENGG/2014-15-16.5.2014 | 18.11.2014 | 17.11.2015 | 4650 | working
| Cell Counter / Hematology Analyzer | B2 | Touch 65 lite | A4550 | 9.12.2014 | Transasia | LAB | DMS | 78217/S&P/1/2013-29.9.2014 | 10.12.2014 | 9.12.2017 | 407056 | working
| Xray machine 100mA | b2 | Allengers 100 |  | 3.2.2010 | Allengers | X-Ray room | TNHSP | TNHSP/TNMSC/CBP361/2009-10.2.2009 | 25.3.2010 | 24.3.2011 | 270710 | Not working