## OMALUR
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD :
District : SALEM
Institution : OMALUR
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Radiant Warmer | C | nice2007s |  | 2015-02-06 | madras surgicals and chemicals | labour ward | TNMSC |  | 2015-02-19 | 2018-02-20 | 28300 | WORKING
2 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C | AKAS INFU 510 |  | 2015-01-12 | AKAS MEDICAL | OPD~ NEW BORN | TNMSC |  | 2015-01-12 | 2018-01-11 | 19750 | WORKING
3 | Foetal Doppler | C | A100H |  | 2015-01-13 | MEDI WAVES INC. | MATY | TNMSC | 17240/TNMSC/ENGG/2014-15 16.05.2014 | 2015-01-13 | 2016-01-12 | 4650 | WORKING
4 | Pulse Oximeter | B2 | innoava10cir | ci1302bk01 | 2013-03-06 | TNMSC | operation theatre | TNMSC | TNHSP/TNMSC/AG14/2012 | 2013-03-06 | 2014-03-06 | 56000 | WORKING
5 | Mannual Colposcope | C | ARIIID | R20130286 | 2013-02-28 | SOUTHINDIASURGICALCOLTD |  | TNMSC | TNHSP | 2013-03-13 | 2014-03-13 | 130000 | WORKING
6 | Needle destroyer / Syringe Destroyer | C | nil sharps |  | 2014-09-03 | SOLOKRAFTS INDUSTRIES | OPD~ FEMALE WARD~ MALE WARD GOT~ AE OT~ NCD~ LAB | TNMSC | 20533/icwm/tnmsc/engg/2014-1 20.05.2014 | 2014-10-13 | 2015-09-03 | 16260 | WORKING
7 | Hematology analyser | B1 | XP100 ADVANCE VERSION OF KX21 | A3106 | 2014-02-04 | TRANSASIA~ PODDUCHERRY | LAB | TNMSC | 78217/Sandamp;P/1/2013-1 |  |  | 385319 | WORKING
8 | Binocular Mircroscope | B2 | BDI-13A | 22695 | 2014-02-03 | SOLOKRAFTS INDUSTRIES | LAB | TNMSC | TNHSP/TNMSC/AG87c/2013 |  |  | 18600 | WORKING
9 | Rotary Microtome | C | BDI 149 |  | 2014-10-15 | SOLOKRAFTS INDUSTRIES | LAB | TNHSP | TNHSP/TNMSC/AG87f(R)/2014 19.05.2014 |  |  | 32200 | WORKING
10 | Electronic Tornicate | B2 |  |  | 2014-07-31 | STAAN BIO-MED ENGINEERING PUT LTD.~ CBE | AE OT | OTHERS | SPL/E/2014 | 2014-07-31 | 2015-07-30 | 95000 | WORKING
11 | Electric Calorimeter | C |  |  | 2014-02-28 |  | LAB | TNMSC |  |  |  | 20708 | WORKING
12 | Electric Calorimeter | C | [7 empty] | 2014-02-28 |  | 20708 | WORKING
13 | Pulse Oximeter | B2 |  |  | 2014-04-11 |  | AE WARD | TNMSC |  | 2014-04-11 |  | 68968 | WORKING
14 | Ultra Sonogram -MOBILE | B |  |  | 1996-06-27 | Kody Elcot~ chennai | Scan Room |  |  |  |  | 0 | CONDEMN
15 | Ultra Sonogram -MOBILE | B1 |  |  | 2011-09-23 | WIPRO GE HEALTHCARE | LABOUR WARD | TNMSC | 5501/TNMSC RCH-11/TNMSC/ENGG/E44/2010 |  |  | 323800 | WORKING
16 | 100 M.A. X-ray machine Mobile | B |  |  |  | Siemens | AE Dept. |  |  |  |  | 192000 | WORKING
17 | 100 M.A. X-ray machine Portable | B |  |  |  | Allengers Medical Systems | AE Dept. |  |  |  |  | 192000 | WORKING
18 | 100 M.A. X-ray machine Portable | B |  |  | 2001-09-14 | Shimadzu Medical Private Ltd. | X-Ray Room |  |  |  |  | 192000 | WORKING
19 | C arm with accessories High Frequency | B |  |  | 2007-01-09 | Siemens | AE Dept. |  |  |  |  | 850000 | WORKING
20 | Ventilators (Adult) | B |  |  | 2009-06-11 | Transferred from GH - Mettur | Labour Ward |  |  |  |  | 775700 | WORKING
21 | Cardiac Monitor with defibrillator | C |  |  | 2006-11-11 | Madras Surgicals and Chemicals | AE OT |  |  |  |  | 200000 | WORKING
22 | Pulse Oximeter | B |  |  | 2009-08-08 | Madras Surgicals and Chemicals | AE OT |  |  |  |  | 23700 | WORKING
23 | Pulse Oximeter | B |  |  | 2006-01-21 | Trans Health Care | GOT |  |  |  |  | 23700 | WORKING
24 | Pulse Oximeter | B |  |  | 2006-01-31 | L and T~ Chennai | GOT |  |  |  |  | 23700 | WORKING
25 | Focus lamp Ordinary | C |  |  |  |  | GOT |  |  |  |  | 4750 | WORKING
26 | Focus lamp Ordinary | C |  |  |  |  | GOT |  |  |  |  | 4750 | WORKING
27 | Operation table Hydraulic Minor | B2 | Ortho |  | 2006-08-24 | Vibash Surgicals~ Coimbatore | AE Dept. |  |  |  |  | 33000 | WORKING
28 | Operation table Hydraulic Minor | B2 | Ortho |  | 2006-08-17 | Associated Surgicals | AE Dept. |  |  |  |  | 33000 | WORKING
29 | Operation table Hydraulic Minor | B2 | Ortho |  | 2006-08-17 | Associated Surgicals | AE Dept. |  |  |  |  | 33000 | WORKING
30 | Operation table Hydraulic Minor | B2 | General |  | 1996-05-12 | General Surgicals | GOT |  |  |  |  | 0 | CONDEMN
31 | ECG machine ordinary | B |  |  | 1997-09-09 | Solokrafts Industries | Ward |  |  |  |  | 0 | CONDEMN
32 | ECG machine ordinary | B |  |  | 2006-02-08 | BPL ltd. | AE OT |  |  |  |  | 11100 | WORKING
33 | Dental Unit with motor for dental OP | B2 |  |  | 2008-02-29 | Confident Dental Equipments | Dental OPD |  |  |  |  | 118669 | WORKING
34 | Washing Machine | B |  |  | 2009-10-31 | Solokrafts Industries | Main Store |  |  |  |  | 108108 | WORKING
35 | Suction Apparatus - Foot operated | B |  |  | 1996-02-28 | Saberwall Brothers | GOT |  |  |  |  | 1050 | WORKING
36 | Suction Apparatus - Electrical | C |  |  | 2001-01-08 | Jupiter Manufacturing Works | AE OT |  |  |  |  | 4400 | WORKING
37 | Suction Apparatus - Electrical | C |  |  | 2001-01-08 | Jupiter Manufacturing Works | AE OT |  |  |  |  | 0 | CONDEMN
38 | Suction Apparatus - Electrical | C |  |  | 1976-02-20 | Leading India Surgicals | GOT |  |  |  |  | 0 | CONDEMN
39 | Electri centrifuger | C |  |  | 2009-03-09 | Rajendra electricals | Lab |  |  |  |  | 19000 | WORKING
40 | Diathermy Machine (Electric Cautery) | B |  |  | 2007-09-25 | Lifeline Systems | OT |  |  |  |  | 100000 | WORKING
41 | Diathermy Machine (Electric Cautery) | B |  |  | 2002-03-22 |  | OT |  |  |  |  | 100000 | WORKING
42 | Shadowless Lamp stand model | B |  |  | 2007-08-18 |  | OT |  |  |  |  | 13000 | WORKING
43 | Shadowless Lamp stand model | B |  |  |  |  | OT |  |  |  |  | 13000 | WORKING
44 | Shadowless Lamp stand model | B |  |  |  |  | OT |  |  |  |  | 13000 | WORKING
45 | Shadowless Lamp stand model | B |  |  |  |  | OT |  |  |  |  | 13000 | WORKING
46 | Shadowless Lamp stand model | B |  |  |  |  | OT |  |  |  |  | 13000 | WORKING
47 | Needle destroyer / Syringe Destroyer | C | Reprospark |  | 2009-01-03 | Glo Life Care~ Chennai | OP | TNHSP |  | 2009-01-03 | 2010-01-03 | 2100 | WORKING
48 | Needle destroyer / Syringe Destroyer | C | Reprospark |  | 2009-01-03 | Glo Life Care~ Chennai | OP | TNHSP |  | 2009-01-03 | 2010-01-03 | 2100 | WORKING
49 | Needle destroyer / Syringe Destroyer | C | Reprospark |  | 2009-01-03 | Glo Life Care~ Chennai | OP | TNHSP |  | 2009-01-03 | 2010-01-03 | 2100 | WORKING
50 | Needle destroyer / Syringe Destroyer | C | Reprospark |  | 2009-01-03 | Glo Life Care~ Chennai | OP | TNHSP |  | 2009-01-03 | 2010-01-03 | 2100 | WORKING
51 | Defibrillator with Monitor | B2 | Heart stat FRx | B12C-05542 | 2012-08-16 | Philips | OPD | TNHSP | TNHSP/TMMSC/ICB/AG17/2012 | 2012-09-24 | 2013-09-23 | 58696 | WORKING
4395986