## Major Equip Audit
MAJOR EQUIPMENTS AUDIT-GOVERNMENT DISTRICT HEADQUARTERS HOSPITAL-MANNARGUDI
S.NO | Name of the Equipments | Category | Model No | Serial No | Date of receipt | Supplier Name | Location | Source of supply | Purchase Order | Installation Date | Warranty/AMC | Cost | Working/Not Working
1 | Digital PH Meter | C | RPA-1GRTIOANPN | 1274 | 05.04.2014 | RLT Instrumentation, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-1 dt 28.11.2013 | 23.12.2014 | 22.12.2015 | 57353 | Working
2 | Digital PH Meter | C | RPA-1GRTIOANPN | 1275 | 05.04.2014 | RLT Instrumentation, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-1 dt 28.11.2014 | 23.12.2014 | 22.12.2015 | 57353 | Working
3 | Water Bath | C | SMI-143 | - | 07.05.2014 | S.M.Scientific Instruments Pvt Ltd, Delhi | Laboratory | TNHSP | TNHSP/TNMSC/AG87h(R)/2014 dt 10.04.2014 | 21.10.2014 | 20.10.2015 | 8262 | Working
4 | Water Bath | C | SMI-143 | - | 07.05.2014 | S.M.Scientific Instruments Pvt Ltd, Delhi | Blood Bank | TNHSP | TNHSP/TNMSC/AG87h(R)/2014 dt 10.04.2014 | 21.10.2014 | 20.10.2015 | 8262 | Working
5 | Power Saw and Power Drill | B2 | - | - | 26.09.2014 | Indian Orthocare Surgicals, Chennai | Operation Theatre | TNHSP | TNHSP/TNMSC/AG90h/2014 dt 01.09.2014 | 26.09.2014 | 25.09.2015 | 890000 | Working
6 | HemoDialysis Machine | B1 | 4008S | 4SXAAJ89 | 01.08.2014 | Fresenius Medical Care India Pvt Ltd | Dialysis Room | TNHSP | TNHSP/TNMSC/ICB/AG20/2012 dt 12.04.2012 | 30.01.2015 | 29.01.2016 | 720000 | Working
7 | HemoDialysis Machine | B1 | 4008S | 4SXAAJ92 | 01.08.2014 | Fresenius Medical Care India Pvt Ltd | Dialysis Room | TNHSP | TNHSP/TNMSC/ICB/AG20/2012 dt 12.04.2012 | 30.01.2015 | 29.01.2016 | 720001 | Working
8 | Multiparamonitor with ETCO2 | B2 | G3L | G3LL80034 | 10.09.2014 | Transhealth Care, Chennai | MM-I | TNHSP | TNHSP/TNMSC/AG88/2014 dt 21.06.2014 | 10.09.2014 | 09.09.2017 | 144000 | Working
9 | Multiparamonitor with ETCO2 | B2 | G3L | G3LL80035 | 10.09.2014 | Transhealth Care, Chennai | Operation Theatre | TNHSP | TNHSP/TNMSC/AG88/2014 dt 21.06.2014 | 10.09.2014 | 09.09.2017 | 144000 | Working
10 | Multiparamonitor with ETCO2 | B2 | G3L | G3LL80041 | 10.09.2014 | Transhealth Care, Chennai | NICU | TNHSP | TNHSP/TNMSC/AG88/2014 dt 21.06.2014 | 10.09.2014 | 09.09.2017 | 144000 | Not Working/SMPS Defective.Informed supplier waiting for spares
11 | Ceiling Shadowless Lamp | B2 | LED 750/750 | 140045 | 23.07.2014 | Staan BioMed Engineering Pvt Ltd, Coimbatore | Operation Theatre | TNHSP | TNHSP/TNMSC/AG86b/2013 dt 10.02.2014 | 23.07.2014 | 22.07.2017 | 645419 | Working
12 | Surgical Operating Microscope | B2 | AA0M250 | 1460514012 | 21.06.2014 | Appaswamy Associates | Old Operation Theatre | Local Purchase | CMCHIS Fund | 21.06.2014 | 20.06.2015 | 251000 | Working
13 | Mobile Examination Light | C | FL0803 | - | 17.06.2014 | Jupiter Mfg Works, Coimbatore | Labour Ward | TNMSC | 10177-4/TNMSC/ENGG/2013-2 dt 10.04.2014 | 17.06.2014 | 16.06.2015 | 5400 | Working
14 | Electric Colorimeter | C | Prietest Easylab | PEL1091213RBK | 25.03.2014 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-2/dt 28.11.2013 | 25.03.2014 | 24.03.2015 | 20302 | Working
15 | Elisa Reader and Washer | B2 | Readwell/Washwell | SR0081013RBK | 25.11.2013 | Vee Jay Medpoint Pvt Ltd | Laboratory | Local Purchase | CMCHIS Fund | 25.11.2013 | - | 168000 | Working
16 | X-Ray Machine | B2 | 300ma | 40230056 | 20.02.2004 | Allengers Medical Systems Ltd, Chandigarh | X-ray Room | TNMSC | 1016/S&P/1/2003-2 dt 06.11.2003 | 20.02.2004 | - | 413000 | Working
17 | X-Ray Machine | B2 | ERGOPHOS100ma | - | - | Siemens | X-ray Room | TNMSC |  | - | - | - | Working
18 | Radiant warmer | C | 2000B | 612430 | 07.03.2007 | Madras Surgicals & Chemicals | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/CE8/2006 dt 25.10.2006 | 07.03.2007 | - | 20473 | Working
19 | Radiant warmer | C | 2000B | 612421 | 07.03.2007 | Madras Surgicals & Chemicals | NICU | TNHSP | TNHSP/TNMSC/ENGG/CE8/2006 dt 25.10.2006 | 07.03.2007 | - | 20473 | Working
20 | Radiant warmer | C | 2000B | 612400 | 07.03.2007 | Madras Surgicals & Chemicals | NICU | TNHSP | TNHSP/TNMSC/ENGG/CE8/2006 dt 25.10.2006 | 07.03.2007 | - | 20473 | Working
22 | Radiant warmer | C | 2000B | 612419 | 07.03.2007 | Madras Surgicals & Chemicals | Operation Theatre | TNHSP | TNHSP/TNMSC/ENGG/CE8/2006 dt 25.10.2006 | 07.03.2007 | - | 20473 | Working
23 | Radiant warmer | C | 2007s | 7121449 | 31.03.2008 | Madras Surgicals & Chemicals | NICU | TNHSP | TNHSP/TNMSC/P2E10/2007 dt 19.09.2007 | 31.03.2008 | - | 18387 | Working
24 | Video Endoscopy Machine | B1 | GIF-LV1,CV-V1,LMD-1530 | 1200258; 1300353;3101513 | 03.05.2013 | Healthware Pvt Ltd, Hyderabad | Old Operation Theatre | TNMSC | 1549/TNMSC/ENGG/2012 dt 04.03.2013 | 03.05.2013 | 02.05.2016 | 764041 | Working
25 | Ventilator(Paediatric) | B | Advent | ADSOX71549 | 18.05.2007 | Erkadi Systems, bangalore | NICU | TNHSP | TNHSP/TNMSC/ICB/CE3/2006 dt 29.12.2006 | 18.05.2007 | - | 514123 | Not Working
26 | Ventilator(Adult) | B | LTV 1000 | A48796 | 15.11.2011 | Transhealth Care, Chennai | MM-I | - | Received from Govt. Hospital-Thiruthuraipoondi | 15.11.2011 | - |  | Working
27 | Under Water Cutting Electro surgical Generator | B | MX250 | - | 19.12.2008 | Surya Surgical Industries | Operation Theatre | TNMSC | 51190/S&P/1/2008/dt 10.11.2008 | 19.12.2008 | - | 184000 | Working
28 | Ultrasonogram | B2 | Logiq P3 | S63323WS9 | 08.08.2009 | Wipro GE Healthcare pvt Ltd | Scan Room | TNHSP | TNHSP/TNMSC/ICB/P3E24/2009 dt 20.05.2009 | 08.08.2009 | Under AMC | 688296 | Not Working/probe Defective.Received quotation from supplier, No Fund for placing work order
29 | Ultrasonogram | B2 | Logiq C2 | 207074WX6 | 25.10.2011 | Wipro GE Healthcare pvt Ltd | Labour Ward | TNHSP | RCH-II/TNMSC/ENGG/E44 | 25.10.2011 | - | 323800 | Working
30 | Ultrasonogram | B2 | Chison 600A | 6AP 111 2036 | 27.03.2012 | Surya Surgical Industries | Labour Ward | TNMSC | 2684/TNMSC/ENGG/2011 dt 11.11.2011 | 27.03.2012 | 26.03.2015 | 286598 | Working
31 | Ultrasound Theraphy Unit | C | Electroson 408 | 2261 | 08.03.2002 | Physiomed Electronic Pvt Ltd, Chennai | Phsiotheraphy Dept | TNMSC | 44166/CPII/I/2001 dt 21.01.2002 | 08.03.2002 | - | 8046 | Working
32 | Traction Table | C | - | - | 08.03.2002 | Technomed Electronics, Perungudi | Phsiotheraphy Dept | TNMSC | 49166/CPII/I/2001 dt 21.01.2002 | 08.03.2002 | - | 9900 | Working
33 | Syringe Infusion Pump | C | ST-6000 | 32085T/05 | 18.08.2011 | Transhealth Care, Chennai | NICU | TNHSP | TNHSP/TNMSC/AG15/2011 dt 01.07.2011 | 18.08.2011 | - | 26460 | Working
34 | Syringe Infusion Pump | C | ST-6000 | - | 18.08.2011 | Transhealth Care, Chennai | MM-I | TNHSP | TNHSP/TNMSC/AG15/2011 dt 01.07.2011 | 18.08.2011 | - | 26460 | Working
35 | Syringe Infusion Pump | C | Infusion Pump 670 | 3726 3D/28 | 17.11.2010 | Transhealth Care, Chennai | NICU | RCH | RCH-II/TNMSC/ENGG/E38/2010-1 dt 19.08.2010 | 17.11.2010 | - | 21600 | Working
36 | Syringe Infusion Pump | C | Infusion Pump 670 | 3775 8D/28 | 17.11.2010 | Transhealth Care, Chennai | NICU | RCH | RCH-II/TNMSC/ENGG/E38/2010-1 dt 19.08.2010 | 17.11.2010 | - | 21600 | Working
37 | Slit Lamp | C | A/A-112s | 1501130082 | 13.02.2013 | Appaswamy Associates | Eye Op | TNMSC | 13413(R)/TNMSC/ENGG/2012 dt 05.10.2012 | 13.02.2013 | - | 38464 | Working
38 | Shortwave Diathermy | C | - | - | 23.02.1999 | Associated Surgicals | Phsiotheraphy Dept | TNMSC | 118769/CPII/I/1998 Dt 26.01.1999 | 23.02.1999 | - | 32400 | Condemed
39 | Semi Auto Analyser | B2 | RX-50 | TN-10J090 | 24.11.2010 | Microlab Instruments, Ahmedabad | Laboratory | - | - | 24.11.2010 | - | 45288 | Working
40 | Semi Auto Analyser | B2 | Prietest touch | AT1411013RBK | 25.03.2014 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/AG87h/2013 dt 31.12.2013 | 25.03.2014 | 24.03.2015 | 49356 | Working
41 | Rotary Shaker | C | BDI-149 | 2014080815 | 21.08.2014 | Solokrafts Industries, Chennai | Blood Bank | TNHSP | TNHSP/TNMSC/AG87f(R)/2014-2 dt 19.05.2014 | 21.08.2014 | 20.08.2015 | 32200 | Working
42 | Rotary Shaker | C | BDI-149 | 2014080816 | 21.08.2014 | Solokrafts Industries, Chennai | Blood Bank | TNHSP | TNHSP/TNMSC/AG87f(R)/2014-2 dt 19.05.2014 | 21.08.2014 | 20.08.2015 | 32200 | Working
43 | Shadowless lamp | B | MP-19" | 4564 | 01.02.2014 | Mugadi Medical systems | Operation Theatre | Local Purchase | 3353/A3/2013 dt 11.12.2013 | 01.02.2014 | 31.01.2015 | 26000 | Working
44 | Shadowless lamp | B | MP-19" | 4556 | 01.02.2014 | Mugadi Medical systems | Operation Theatre | Local Purchase | 3353/A3/2013 dt 11.12.2013 | 01.02.2014 | 31.01.2015 | 26000 | Working
45 | Shadowless lamp | B | MP-19" | - | 22.02.2014 | Mugadi Medical systems | Operation Theatre | Local Purchase | 3353/A3/2013 dt 11.12.2013 | 22.02.2014 | 31.01.2015 | 26000 | Working
46 | Shadowless lamp | B | - | - | 04.12.2008 | Jupiter Mfg Works, Coimbatore | Operation Theatre | TNHSP | TNHSP/TNMSC/P3E3/2008 dt 29.08.2008 | 04.12.2008 | - | 20000 | Working
47 | Pulse Oximeter | B2 | Futura Pleth | 60109 | 12.02.2007 | Silicons Lab | Operation Theatre | TNHSP | TNHSP/TNMSC/ENGG/CE9/2006 dt 25.10.2006 | 12.02.2007 | - | 18500 | Working
48 | Pulse Oximeter | B2 | Stellar P | S07P25252 | 29.01.2008 | L & T | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E9/2007 dt 11.09.2007 | 29.01.2008 | Under AMC | 34763 | Working
49 | Pulse Oximeter | B2 | Top-800 | T80010812061 | 21.01.2009 | Southern Medical Systems, trichy | Operation Theatre | TNHSP | TNHSP/TNMSC/P3E13/2008 dt 10.10.2008 | 21.01.2009 | - | 18450 | Working
50 | Pulse Oximeter | B2 | Cleo | CMMD6M1673 | 24.12.2009 | - | MOP | - | received from Tamil Nadu Health Systems Project Ambulance | 24.12.2009 | - | 24000 | Working
51 | Pulse Oximeter | B2 | Accuro-JMW128 | 0A112A0217 | 29.03.2012 | Madras Surgicals & Chemicals | Operation Theatre | TNMSC | 1562/II/P&D dt 16.12.2011 | 29.03.2012 | - | 24885 | Working
52 | Pulse Oximeter | B2 | Q100A | MBC00008043 | 19.03.2013 | Madras Surgicals & Chemicals | Operation Theatre | TNMSC | 1832/A3/INS/2012 dt 01.08.2013 | 19.03.2013 | - | 25890 | Working
53 | Pulse Oximeter | B2 | Rad-8 | M71847 | 17.04.2014 | Grace Mfg Trading Co | NICU | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 17.04.2014 | 16.04.2017 | 68968 | Working
54 | Pulse Oximeter | B2 | Rad-8 | M71870 | 17.04.2014 | Grace Mfg Trading Co | NICU | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 17.04.2014 | 16.04.2017 | 68968 | Working
55 | Pulse Oximeter | B2 | Rad-8 | M72015 | 17.04.2014 | Grace Mfg Trading Co | NICU | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 17.04.2014 | 16.04.2017 | 68968 | Working
56 | Pulse Oximeter | B2 | Rad-8 | M70877 | 17.04.2014 | Grace Mfg Trading Co | Operation Theatre | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 17.04.2014 | 16.04.2017 | 68968 | Working
57 | Pulse Oximeter | B2 | Rad-8 | M71901 | 17.04.2014 | Grace Mfg Trading Co | Operation Theatre | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 17.04.2014 | 16.04.2017 | 68968 | Working
58 | Pulse Oximeter | B2 | Rad-8 | M71753 | 17.04.2014 | Grace Mfg Trading Co | Operation Theatre | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 17.04.2014 | 16.04.2017 | 68968 | Working
59 | Multiparamonitor | B2 | Innoava 10CIR | C11302 BK16 | 06.02.2013 | Concept integration | Casuality | TNHSP | TNHSP/TNMSC/AG14/2012 dt 21.11.2012 | 06.02.2013 | - | 56000 | Working
60 | Multiparamonitor | B2 | Innoava 10CIR | C11302 BK15 | 06.02.2013 | Concept integration | NICU | TNHSP | TNHSP/TNMSC/AG14/2012 dt 21.11.2012 | 06.02.2013 | - | 56000 | Working
61 | Photo Colorimeter | C | 1000 | - | 11.12.2010 | Jupiter Mfg Works, Coimbatore | Laboratory | RCH | RCH-II/TNMSC/ENGG/4538/2010-5 dt 16.10.2010 | 11.12.2010 | - | 5300 | Working
62 | PhotoTheraphy | C | 4000CFL | 612394 | 07.03.2007 | Madras Surgicals & Chemicals | NICU | TNHSP | TNHSP/TNMSC/ENGG/CE8/2006 dt 25.10.2006 | 07.03.2007 | - | 12062 | Working
63 | PhotoTheraphy | C | 4000CFL | 612395 | 07.03.2007 | Madras Surgicals & Chemicals | NICU | TNHSP | TNHSP/TNMSC/ENGG/CE8/2006 dt 25.10.2006 | 07.03.2007 | - | 12062 | Working
64 | PhotoTheraphy | C | 4000CFL | - | 07.03.2007 | Madras Surgicals & Chemicals | NICU | TNHSP | TNHSP/TNMSC/ENGG/CE8/2006 dt 25.10.2006 | 07.03.2007 | - | 12062 | Working
65 | PhotoTheraphy | C | 4000CFL | 612376 | 07.03.2007 | Madras Surgicals & Chemicals | NICU | TNHSP | TNHSP/TNMSC/ENGG/CE8/2006 dt 25.10.2006 | 07.03.2007 | - | 12062 | Working
66 | Opthalmascope Indirect | C | - | - | 12.05.2009 | Surya Surgical Industries | Eye Op | TNMSC | 2397/TNMSC/ENGG/2009-3 dt 12.03.2009 | 12.05.2009 | - | 80672 | Working
67 | Nerve Stimulator with mapper and locator | C | NM-20 | 465 | 15.03.2013 | Mugadi Medical systems | Operation Theatre | Local Purchase | 35/A2/2013 dt 04.03.2013 | 15.03.2013 | - | 35500 | Working
68 | Nerve Muscle Stimulator | C | - | - | 31.05.2011 | Hi Tech Surgicals, Thanjavur | Phsiotheraphy Dept | Local Purchase | Local Purchase | 31.05.2011 | - | 4160 | Working
69 | Multiparamonitor | B2 | BPM-700 | 170-CD5414 | 23.12.2003 | Miti Electronics | OP | TNMSC | 32569/S&P/1/2003-2 dt 12.06.2003 | 23.12.2003 | - | 115000 | Working
70 | Multiparamonitor | B2 | BPM-700 | 170-FG5087 | 23.12.2003 | Miti Electronics | Operation Theatre | TNMSC | 32569/S&P/1/2003-2 dt 12.06.2003 | 23.12.2003 | - | 140000 | Not Working
71 | Multiparamonitor | B2 | Xl-mon | 6049 | 12.02.2004 | Silicons Lab | Operation Theatre | TNHSP | TNHSP/TNMSC/ENGG/CE9/2006 dt 25.12.2006 | 12.02.2004 | - | 70000 | Not Working
72 | Multiparamonitor | B2 | CMS8000 | AX1309100005 | 01.02.2014 | Mugadi Medical systems | MM-I | Local Purchase | 3353/A3/ins/2013 dt 11.12.2013 | 01.02.2014 | 31.01.2015 | 65000 | Working
73 | Multiparamonitor | B2 | G3G | G3GL80040 | 10.09.2014 | Transhealth Care, Chennai | Casuality | TNHSP | TNHSP/TNMSC/AG88/2014 dt 21.06.2014 | 10.09.2014 | 09.09.2017 | 60300 | Working
74 | Multiparamonitor | B2 | G3G | G3GL80083 | 10.09.2014 | Transhealth Care, Chennai | NICU | TNHSP | TNHSP/TNMSC/AG88/2014 dt 21.06.2014 | 10.09.2014 | 09.09.2017 | 60300 | Working
75 | Multiparamonitor | B2 | G3G | G3GL80080 | 10.09.2014 | Transhealth Care, Chennai | Operation Theatre | TNHSP | TNHSP/TNMSC/AG88/2014 dt 21.06.2014 | 10.09.2014 | 09.09.2017 | 60300 | Working
76 | Multiparamonitor | B2 | G3G | G3GL80041 | 10.09.2014 | Transhealth Care, Chennai | MM-I | TNHSP | TNHSP/TNMSC/AG88/2014 dt 21.06.2014 | 10.09.2014 | 09.09.2017 | 60300 | Working
77 | Binocular Microscope | B2 | BDI-13A | 20817 | 23.01.2014 | Solokrafts Industries, Chennai | Blood Bank | TNHSP | TNHSP/TNMSC/AG87/2013/DT 22.10.2014 | 23.01.2014 | 22.01.2017 | 18600 | Working
78 | Binocular Microscope | B2 | BDI-13A | 22696 | 23.01.2014 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87/2013/DT 22.10.2014 | 23.01.2014 | 22.01.2017 | 18600 | Working
79 | Binocular Microscope | B2 | BDI-13A | - | 23.01.2014 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87/2013/DT 22.10.2014 | 23.01.2014 | 22.01.2017 | 18600 | Working
80 | Maganvision lamp | C | - | - | 29.03.2011 | Jupiter Mfg Works, Coimbatore | Labour Ward | NRHM | 04R/NRHM/TNMSC/ENGG/2011 dt 12.02.2011 | 29.03.2011 | - | 4400 | Not Working
81 | Maganvision lamp | C | Magnascope | - | 06.02.2012 | solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 dt 19.10.2011 | 06.02.2012 | - | 7337 | Working
82 | Interferential Theraphy | C | - | - | 30.06.2011 | Hi Tech Surgicals, Thanjavur | Phsiotheraphy Dept | Local Purchase | Local Purchase | 30.06.2011 | - | 17680 | Working
83 | Infusion Pump | C | infu 300 | E05070644 | 26.06.2007 | Akas medical equipments | NICU | - | - | 26.06.2007 | - | 25376 | Working
84 | Incubator | C | - | - | 22.12.1998 | M.C.Dalal | Laboratory | TNMSC | 21448/CPII/I/98(7)dt 19.3.1998 | 22.12.1998 | - | 10625 | Working
85 | Hot Air Oven | C | - | - | 03.12.2002 | Associated Surgicals | Laboratory | TNMSC | 9850/CPII/I/2002 dt 12.01.2002 | 03.12.2002 | - | 5200 | Working
86 | Hydralic Operation table with c arm Compatabile | B2 | Tyco-8004A | - | 24.08.2012 | Jupiter Mfg Works, Coimbatore | Operation Theatre | TNMSC | 17785/TNMSC/ENGG/2011dt 38.04.2012 | 24.08.2012 | - | 180750 | Working
87 | Hydralic Operation table | B2 | - | - | 31.01.2007 | Reliance Instruments Company | Operation Theatre | TNHSP | TNHSP/TNMSC/ENGG/Ce6/2006 dt 7.9.2006 | 31.01.2007 | - | 33268 | Working
88 | Hydralic Operation table | B2 | - | - | 22.12.2007 | Jupiter Mfg Works, Coimbatore | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E6/2007 dt 11.9.2007 | 22.12.2007 | - | 55120 | Working
89 | Hydralic Operation table | B2 | - | - | 04.12.2007 | Jupiter Mfg Works, Coimbatore | Operation Theatre | TNHSP | TNHSP/TNMSC/P3E3/2008 dt 29.8.2008 | 04.12.2007 | - | 51400 | Working
90 | Hydralic Operation table | B2 | - | - | 13.11.2014 | Palakkad Surgicals | Operation Theatre | Local Purchase | Local Purchase | 13.11.2014 | 12.11.2015 | 439505 | Working
91 | Horizontal autoclave | C | - | - | 19.11.2009 | Solokrafts Industries, Chennai | Operation Theatre | RCH | RCH-II/TNMSC/ENGG/S2/E18/2009 dt 08.06.2009 | 19.11.2009 | - | 137280 | Working
92 | Horizontal autoclave | C | - | - | 19.11.2009 | Solokrafts Industries, Chennai | Operation Theatre | RCH | RCH-II/TNMSC/ENGG/S2/E18/2009 dt 08.06.2009 | 19.11.2009 | - | 137280 | Working
93 | Horizontal autoclave | C | - | - | 25.06.2011 | Solokrafts Industries, Chennai | Old Operation Theatre | TNMSC | 2396/TNMSC/ENGG/2010 dt 23.02.2011 | 25.06.2011 | - | 150800 | Working
94 | Haematology Analyser | B2 | KX-21 | F-9545 | 15.09.2012 | Transasia Biomed | Laboratory | TNMSC | 52360/S&P/1/2011 dt 13.09.2012 | 15.09.2012 | 14.09.2015 | 404584 | Working
95 | Haematology Analyser | B2 | poch-100i | F-2911 | 27.02.2013 | Transasia Biomed | Laboratory | TNMSC | 2630/TNMSC/ENGG/2012 dt 20.2.2013 | 27.02.2013 | 26.02.2016 | 285120 | Working
96 | Focus Lamp | C | - | - | 12.01.2011 | General Surgical Company | Dressing Room | TNMSC | RCH-II/TNMSC/ENGG/4538/2010-2 dt 06.10.2010 | 12.01.2011 | - | 4750 | Working
97 | Focus Lamp | C | - | - | 12.01.2011 | General Surgical Company | Labour Ward | TNMSC | RCH-II/TNMSC/ENGG/4538/2010-2 dt 06.10.2010 | 12.01.2011 | - | 4750 | Working
98 | Focus Lamp | C | - | - | 12.01.2011 | General Surgical Company | Eclampsia Room | TNMSC | RCH-II/TNMSC/ENGG/4538/2010-2 dt 06.10.2010 | 12.01.2011 | - | 4750 | Working
99 | Foetal Doppler | C | CMS 500++ | BF23486 | 01.03.2007 | Madras Surgicals & Chemicals | NICU | TNHSP | TNHSP/TNMSC/ENGG/CE10/2006 | 01.03.2007 | - | 7858 | Working
100 | Foetal Doppler | C | A100H | - | 27.08.2014 | Mediwaves Inc, Delhi | Labour Ward | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 27.08.2014 | 26.08.2017 | 4650 | Working
101 | Foetal Doppler | C | A100H | - | 27.08.2014 | Mediwaves Inc, Delhi | Operation Theatre | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 27.08.2014 | 26.08.2017 | 4650 | Working
102 | Foetal Doppler | C | A100H | - | 27.08.2014 | Mediwaves Inc, Delhi | Stores | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 27.08.2014 | 26.08.2017 | 4650 | Working
103 | Foetal Doppler | C | A100H | - | 27.08.2014 | Mediwaves Inc, Delhi | Stores | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 27.08.2014 | 26.08.2017 | 4650 | Working
104 | Electric Centrifuge | C | EB8 | - | 01.05.2005 | - | Blood Bank | - | - | 01.05.2005 | - | 2330 | Working
105 | Electric Centrifuge | C | - | - | 01.05.2005 | - | Laboratory | - | - | 01.05.2005 | - | 1300 | Working
106 | ECG Machine | B | Micro-R | - | 08.06.2006 | Solokrafts Industries, Chennai | MM-I | TNMSC | 10820/S&P/1/06-3 dt 13.04.2006 | 08.06.2006 | - | 24852 | Working
107 | ECG Machine | B | ECG701 | ECG7011104228 | 05.08.2011 | Rashi Medical Equipments, Trichy | MM-I | Local Purchase | 1160/2011/GHMannargudi | 05.08.2011 | - | 34500 | Working
108 | ECG Machine | B | Cardiotouch 3000 | T2L0900069 | 11.11.2011 | JK Medical systems | X-ray Room | TNHSP | TNHSP/TNMSC/ENGG/AG21/2010 dt 22.08.2011 | 11.11.2011 | Under AMC | 69923 | Working
109 | Double Puncture Laproscope | B2 | Hopkins II | - | 29.05.2007 | Vishal surgicals | Operation Theatre | TNHSP | TNHSP/TNMSC/ICB/CE2/2006 dt 12.12.06 | 29.05.2007 | - | 241127 | Working
110 | Double Puncture Laproscope | B2 | Hopkins II | - | 22.11.2007 | Vishal surgicals | Operation Theatre | Received from Govt. Hospital-Tiruvarur | 1178/A1/2007 dt 5.11.2007 | 22.11.2007 | - | 256000 | Working
111 | Diathermy | B | ELSY 360M+ | ASG-M+1406180 | 28.06.2014 | JBS Mediitec india pvt ltd | Operation Theatre | TNMSC | 17240/TNMSC/ENGG/2014-2 dt 16.05.2014 | 28.06.2014 | 27.06.2017 | 218000 | Working
112 | Dental Chair | B2 | Alpha | - | 19.09.2008 | S.S Chemicals | Dental room | TNHSP | TNHSP/TNMSC/P2E30/2007 dt 28.11.2007 | 19.09.2008 | - | 121680 | Working
113 | Dental Chair | B2 | - | - | 04.05.2003 | Associated Surgicals | Dental room | TNMSC | 30901/S&P/01/02 dt 31.12.2002 | 04.05.2003 | - | 195271 | Working
114 | Deep Freezer | C | JADF20 | DF11121276 | 22.03.2012 | Pawar Electronics | Blood Bank | RCH | RCH-II/TNMSC/ENGG/7146/2010 dt 10.02.2011 | 22.03.2012 | 21.02.2015 | 136000 | Working
115 | CTG Monitor | B2 | BT-300 | BDI00CA-057 | 23.12.2003 | Miti Electronics | Labour Ward | TNMSC | 32069/S&P/I/2003-2 dt 12.06.2003 | 23.12.2003 | - | 85170 | Not Working
116 | CTG Monitor | B2 | CMS 2000+ | 2602257 | 01.03.2007 | Madras Surgicals & Chemicals | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/CE10/2006 dt 25.10.2006 | 01.03.2007 | - | 83936 | Working
117 | Cryotheraphy | C | CRYO-004B | - | 06.02.2012 | Solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/AG30A/2011 dt 14.10.2011 | 06.02.2012 | - | 24331 | Working
118 | Manual Colposcope | C | ARI-II-ID | - | 21.09.2012 | South India Surgicals | Via/Vili Room | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 dt 21.4.2012 | 21.09.2012 | - | 130000 | Working
119 | Cardiac Monitor | C | Micro Nxt | X07T0107 | 29.01.2008 | Larsen & Tourbro | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E9/2007 dt 11.9.2007 | 29.01.2008 | Under AMC | 27800 | Not Working
120 | Cardiac Monitor | C | Integra 1E | CI0812AM45 | 21.01.2009 | Concept integration | MM-I | TNHSP | TNHSP/TNMSC/P3E11/2008 dt 10.10.2008 | 21.01.2009 | - | 24500 | Working
121 | Cardiac Monitor | C | Integra 1E | CI0812AM46 | 21.01.2009 | Concept integration | MM-I | TNHSP | TNHSP/TNMSC/P3E11/2008 dt 10.10.2008 | 21.01.2009 | - | 24500 | Working
122 | Cardiac Monitor | C | Argenta | CLMC6J1713 | 24.12.2009 | - | Operation Theatre | - | Received from Tamil Nadu Health Systems Project Ambulance | 24.12.2009 | - | 25000 | Not Working
123 | Cardiac Defibrillator | B2 | CardioLife Tec 532K | 3111 | 09.02.2007 | Trivitron Medical Systems | Casuality | TNHSP | TNHSP/TNMSC/ENGG/CE7/2006 dt 25.10.2006 | 09.02.2007 | - | 145880 | Working
124 | Cardiac Defibrillator | B2 | Cardio-Aid 100-1 | - | 01.05.2005 | - | MM-I | - | - | 01.05.2005 | - | 87451 | Working
125 | Boyles Apparatus Complete | B2 | Ecosafe | - | 21.01.2009 | Solokrafts Industries, Chennai | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E4/2008 dt 29.08.2008 | 21.01.2009 | - | 85280 | Working
126 | Boyles Apparatus Complete | B2 | Compact AC20 | - | 09.01.2009 | Larsen & Tourbro | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E2/2007 dt 13.06.2007 | 09.01.2009 | - | 100940 | Working
127 | Boyles Apparatus Complete | B2 | Compact AC20 Plus | - | 19.10.2007 | Larsen & Tourbro | Operation Theatre | TNHSP | TNHSP/TNMSC/ICB/ICE/2007 | 19.10.2007 | - | 279444 | Working
128 | Boyles Apparatus Complete | B2 | - | - | - | - | Operation Theatre | - | - | - | - | 65000 | Working
129 | Boyles Apparatus with circle absorber | B2 | Lifeline | - | 01.04.2009 | Madras Surgicals & Chemicals | Operation Theatre | TNMSC | 2397/TNMSC/ENGG/2009-1 dt 12.03.2009 | 01.04.2009 | - | 130000 | Working
130 | Blood Bank refrigerator | B2 | BBR-300 | RDIT-1066 | 18.09.2010 | Remi | Blood Bank | - | received from Govt. Hospital-Mayiladuthurai | 18.09.2010 | - | 186000 | Working
131 | Baby Incubator | B2 | Nice 3010R | - | 31.01.2008 | Madras Surgicals & Chemicals | NICU | TNHSP | TNHSP/TNMSC/P2E3/2007 dt 11.9.2007 | 31.01.2008 | - | 40795 | Working
132 | Baby Incubator | B2 | infant care unit | S010001 | 21.08.2014 | Solokrafts Industries, Chennai | NICU | TNMSC | 10177-2/TNMSC/ENGG/2013 dt 02.04.2014 | 21.08.2014 | 20.08.2017 | 54600 | Working
133 | Auto Analyser | B | Autora | RA0100214RBK | 07.07.2014 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/AG87a/2013 dt 28.02.2014 | 07.07.2014 | 06.07.2017 | 487197 | Working
134 | Automated External Defibrillator | B2 | Heart start FRx | B10C-53260 | 18.08.2012 | Philips Electronics India | Casuality | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 dt 12.3.12 | 18.08.2012 | 17.08.2015 | 58696 | Working
135 | Automated External Defibrillator | B2 | Heart start FRx | B12C-06045 | 18.08.2012 | Philips Electronics India | Operation Theatre | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 dt 12.3.12 | 18.08.2012 | 17.08.2015 | 58696 | Working
136 | Automated External Defibrillator | B2 | Heart start FRx | B12C-06085 | 18.08.2012 | Philips Electronics India | MM-I | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 dt 12.3.12 | 18.08.2012 | 17.08.2015 | 58697 | Not Working/Battery ordered from Philips yet to receive spare.
137 | Autoclave electrically operated | C | 1 Bin Type | - | 20.06.2008 | Jupiter Mfg Works, Coimbatore | Labour Ward | TNHSP | TNHSP/TNMSC/P2E11/2007/ dt 28.1.2007 | 20.06.2008 | - | 20000 | Working
138 | Autoclave electrically operated | C | 2 Bin Type | - | 20.06.2008 | Jupiter Mfg Works, Coimbatore | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E11/2007/ dt 28.1.2007 | 20.06.2008 | - | 33280 | Working
139 | Autoclave electrically operated | C | 2 Bin Type | - | 18.03.2009 | Solokrafts Industries, Chennai | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E10/2008/ dt 10.9.2008 | 18.03.2009 | - | 30200 | Working
140 | BPApparatus(Standing) | C | - | - | - | - | Operation Theatre | - | - | - | - | 2120 | Working
141 | BPApparatus(Standing) | C | - | - | - | - | Operation Theatre | - | - | - | - | 2120 | Working
142 | Echo Cardiogram | B | DC-T6 | - | 12.8.2009 | Mindray | Scan Room | TNHSP | TNHSP/TNMSC/ENGG/AG10&AG22/2011 dt 12.08.2011 | 12.8.2009 | - | 644573.9726 | Working
15516261.9726
644573.9726

## Minor Equip Audit
Minor Equipments
Government District Headquarters Hospital -Mannargudi
S.no | Equipment Name | Oty | Cost of each item(Rs) | Total Cost(Rs) | Working/ Not working
1 | Suction Apparatus | 14 | 6000 | 84000 | working
2 | Nebuliser | 15 | 2000 | 30000 | working
3 | Hub Cutter | 15 | 1000 | 15000 | working
4 | Baby weighing scale(electronic) | 2 | 10000 | 20000 | working
5 | Bp Apparatus | 29 | 2300 | 66700 | working
6 | Weighing Machine(Adult) | 10 | 2000 | 20000 | working
7 | BabyWeighing Machine | 5 | 750 | 3750 | working | s
8 | Electric Sterilizer | 3 | 1400 | 4200 | working
9 | Standing BP Apparatus | 2 | 2500 | 5000 | working