## Sheet1
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 03/03/2009-02/03/2015
District : Villupuram
Institution : Vanur GH
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Mannual Colposcope | C | ARI II-D |  | 2012-09-01 | SOUTH INDIA SURGICAL CO.LTD | NCD | TNMSC | TNMSC/ TNHSP/ AG 21/ 2013 dt 22/08/11 | 2012-09-06 |  | 130000 | yes
2 | Diathermy Machine (Electric Cautery) | B | ELSY 360 MT | ASGMT 1406106 | 2014-06-09 | JBS MEDI TECH | OT | TNMSC |  | 2014-06-12 |  | 218000 | yes
3 | Water De-Ionising Equipment | C | SM1-143 |  | 2014-05-19 | S.M.SCIENTIFIC INSTRUMENT | LAB | TNMSC |  | 2014-05-19 |  | 0 | yes
4 | PH meter | C | 1355 |  |  | RLT INSTRUMENATION | LAB | TNMSC | TNHSP/TNMSC/AG87B/2013 Dt.28.11.2013 | 24.03.2014 |  | 60221 | yes
5 | Binocular Mircroscope | B2 | BDI-13A |  | 2014-01-02 | SOLOKARAFT INDUSTRIES | LAB | TNMSC | TNHSP/TNMSC/AG87C/2013 Dt (02.01.2014) | 2014-01-03 | 2014-01-02 | 19530 | yes
6 | OT light |  |  |  | 2003-12-29 | general surgical | OT | OTHERS |  | 2003-12-29 |  | 33000 | no
7 | Infusio pump | [10 empty] | 0 | yes
8 | Electric Calorimeter | C | PRRIETEST EAST LAB | PEL1601213RBK | 2014-02-26 | ROBONIK INDIA PVT LTD | LAB | TNMSC | TNHSP/TNMSC/AG87B/2013 Dt (11.03.2014) | 2014-03-18 | 2015-03-18 | 20302 | yes
9 | Semi auto analyser | B2 | prie test touch | AT0960314RBK | 2014-03-11 | ROBONIK INDIA PVT LTD | LAB | TNMSC | TNHSP/TNMSC/ENGG/BMWM8/2007 Dt (24.03.2014) | 2014-03-18 | 2015-03-18 | 48426 | yes
10 | Weighing machine adult | C | Adult |  | 1997-03-19 | Associated surgicals | OP | DMS |  | 1997-03-19 | 1998-03-19 | 550 | no
11 | Weighing machine adult | C | Adult |  | 1997-03-19 | Associated surgicals | OP | DMS |  | 1997-03-19 | 1998-03-19 | 550 | no
12 | Phototherapy Unit | C | Meditrain Instruments |  | 1996-03-27 | Bet Medicals | L W | DMS |  | 1996-03-27 | 1997-03-27 | 9000
13 | Radiant Warmer | C | Phoenix |  | 1996-04-26 | Phoenix Medicals | L W | DMS |  | 1996-04-26 | 1997-04-26 | 13000 | yes
14 | Foetal Doppler | C |  |  | 2003-12-23 | MEDI WAVES INC | OP | TNMSC |  | 2014-10-07 | 2015-04-07 | 9486 | yes
15 | Ultra Sonogram -POTABLE | B | L andamp; T Sonata |  | 2003-12-29 | L andamp;T | Scan Room | DMS |  | 2003-12-29 | 2004-12-29 | 277366 | yes
16 | Auto Clave HP Vertical (2 bin) | C | Big |  | 1996-04-29 |  | OT | DMS |  | 1996-04-29 | 1997-04-29 | 15000 | yes
17 | Autoclave vertical single bin | C | Small |  | 2003-07-15 |  | Injection Room | DMS |  | 2003-07-15 | 2004-07-15 | 15000 | yes
18 | Autoclave vertical single bin | C | Small |  | 2003-07-15 | DDHS and FW | Injection Room | DMS |  | 2003-07-15 | 2004-07-15 | 15000 | yes
19 | ECG machine ordinary | B | BPL 108K |  | 2003-12-29 | JDHS Villupuram | X- ray room | JDHS |  | 2003-12-29 | 2004-12-29 | 10500 | no
20 | Focus lamp Ordinary | C |  |  | 1997-09-09 | Eagle Surgicals | L W | DMS |  | 1997-09-09 | 1998-09-09 | 4800 | no
21 | Pulse Oximeter | B | RD-8 |  | 2003-05-27 | GRACE MFG andamp; TRADING CO | OT | TNMSC |  | 2014-04-10 | 2004-05-27 | 0 | yes
22 | Generator | C | kohler grneerators |  | 2013-08-19 | Bhalivaradha elictor meck pvt.~lt | general | TNMSC |  | 2013-09-05 | 2013-08-19 | 0 | yes
23 | Laryngoscope(Paediatric) | C |  |  | 1996-03-06 | ASSOCIATEDT SURGICAL | [5 empty] | 450 | no
24 | Magnavision Lamp | C |  |  | 2011-03-25 | JUPITER | LABOUR WARD | TNHSP | TNMSC/ TNHSP/ ICB/ AG 31/2011 dt 17.10.2011 |  |  | 7337 | yes
25 | Boyles apparatus with out Ventilator | B | AC20 |  | 2008-01-08 | LNT LTD | PS OT | DMS |  |  |  | 100940 | yes
26 | Autoclave Mini | B |  |  | 2003-07-15 | DPHS FAMILY WELFARE VPM |  | OTHERS |  | 2012-07-11 |  | 7500 | yes
27 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2009-03-20 | JUPITER MANUFACTURING |  | TNHSP |  | 2012-07-11 |  | 4500 | yes
28 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 1996-04-04 | INDIRA SURGICAL |  | OTHERS |  | 2012-07-11 |  | 4500 | yes
29 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 1998-08-11 | INDIRA SURGICAL | [5 empty] | 4500 | yes
30 | Suction Apparatus - Electrical(Hivacuam) | B2 |  |  | 2009-04-03 | GENERAL SURGICAL |  | TNHSP |  |  |  | 4500 | yes
31 | O2 Cylinder- B type | C |  |  |  | SOLO GRAFT |  | TNMSC |  |  |  | 0 | yes
32 | N2O Cylinder - A type | C |  |  |  | SOLO GRAFT |  | TNMSC |  |  |  | 0 | yes
33 | N2O Cylinder - A type | C |  |  | 2008-03-18 | SOLO GRAFT |  | TNMSC |  |  |  | 0 | yes
34 | O2 Cylinder- A type | C |  |  | 2008-03-18 | SOLO GRAFT |  | TNMSC |  |  |  | 0 | yes
35 | O2 Cylinder- A type | C |  |  | 2008-03-18 | SOLO GRAFT |  | TNMSC |  |  |  | 0 | yes
36 | Dental Chair(Electric/Hydraulic/Manual) | B2 |  |  | 1997-12-14 | CONFIDENT DENTAL LTD | DENTAL ROOM | TNMSC |  |  |  | 0 | yes
37 | Electric Calorimeter | C | 1601213RBK |  | 2014-03-11 | RONONIK | LAB | TNMSC | TNHSP/TNMSC/AG29E/2011 Dt (10.03.2011) | 2014-03-11 |  | 0 | yes
38 | ECG machine ordinary | B2 | Bionet Resting ECG Cardio Care 2000 | E00800594 | 2014-12-22 | JK Medical Systems Pvt Ltd |  | TNMSC | REF NO.6158/SI/2014 | 2014-12-23 |  | 44800 | yes
39 | Refrigerator | C | Electrolux |  |  | Davey pharma | Pharmacy | TNHSP |  |  |  | 7500 | yes
40 | Semi auto analyser | B2 | AT0960314RBK | AT0960314RBK | 2014-03-05 | ROBONIK | Lab | TNMSC |  | 2014-03-11 | 2005-10-01 | 59000 | yes
41 | BP Apparatus |  | Stand Model |  | 1997-02-26 | South india Surgicals |  | OTHERS |  | 1997-02-26 |  | 0 | yes
42 | pulse oximeter |  |  |  | 1999-01-14 | trans health center | ot | OTHERS |  |  |  | 34000 | yes
43 | OT light |  |  |  | 2009-03-20 | jupiter manufacturer | OT | OTHERS |  | 2009-03-20 |  | 13000 | yes
44 | OT light |  |  |  | 2009-03-30 | juipter manufacturer | OT | TNMSC |  | 2009-03-30 |  | 40000 | yes
45 | OT table |  |  | 68 | 2008-12-29 | general surgical | OT | OTHERS |  | 2008-12-29 |  | 40600 | yes
46 | Denal chair |  |  | 327-07-12 | 2008-01-02 | cerfident | Dental OP | TNMSC |  | 2008-11-12 |  | 103168 | yes
47 | Refrigerator |  | 105 | 3381198 | 1999-08-16 | Godrej | OT | OTHERS |  |  |  | 16400 | yes
48 | Refrigerator |  | Godrej 165 ltrs |  | 1996-04-19 | Godrej | OP | OTHERS |  |  |  | 16400 | no
49 | Room warmer |  | phoniex |  | 1996-03-26 | phoniex | LW | OTHERS |  | 1996-03-26 |  | 0 | yes
50 | Phototherapy unit |  | BET material |  | 1996-03-27 | BET material | LW | OTHERS |  | 1996-03-27 |  | 0 | yes
51 | Needle Destroyer |  |  |  | 2008-11-23 | Glo Life care | RV | TNHSP |  | 2009-03-23 |  | 750 | yes
52 | Needle Destroyer |  |  |  | 2008-11-23 | Glo life care | RV | TNHSP |  | 2009-03-23 |  | 750 | yes
53 | needle destroyer |  |  |  | 2008-11-23 | Glo life care | RV |  |  | 2009-03-23 |  | 750 | yes
54 | Auto clave |  | Verticle 2 bin |  | 2008-03-24 | Jupiter | OT | TNHSP |  | 2008-03-24 |  | 43680 | yes
55 | Auto clave |  | Verticle 2 bin |  | 2008-03-24 | Jupiter |  | TNHSP |  | 2008-03-24 |  | 43680 | yes
56 | Auto clave |  | verticle 2 bin |  | 2009-08-24 | Jupiter | OT | TNHSP |  | 2009-08-14 |  | 20300 | yes
57 | Auto clave |  | verticle 2 bin |  | 2008-02-29 | Jupiter | OT | TNHSP |  | 2008-02-27 |  | 15000 | yes
58 | Auto clave |  | vertical 2 bin |  | 2008-11-10 | Jupiter | OP | TNHSP |  | 2008-11-10 |  | 15000 | yes
59 | Auto clave |  | verticle 2 bin |  | 2009-03-17 | Solegrafte | OT | TNHSP |  | 2009-03-17 |  | 18600 | yes
60 | Suction Apparatus |  | Eletronic |  | 2008-11-10 | Jupiter generalSurgical | OT |  |  | 2008-11-10 |  | 4500 | yes
61 | Suction apparatus |  | eletronic |  | 2009-03-20 | Jupiter general surgical | OT | OTHERS |  | 2009-03-20 |  | 4500 | yes
62 | Suction atusapar |  | Electronic |  | 2009-04-03 | Jupiter general surgical | OT | OTHERS |  | 2009-04-03 |  | 4500 | yes
63 | Weighing Machine-Suspension | C | Manual |  | 2012-02-21 | Alan Medicals | NCD | TNHSP | TNHSP/TNMSC/ENGG/AG 24/2011 | 2012-02-21 | 2013-02-23 | 598 | yes
64 | Electri centrifuger | C | BDI 152 |  | 2012-01-26 | Solokrafts Industries | Lab | TNHSP | TNHSP/TNMSC/AG29E/2011 | 2012-01-26 | 2015-01-25 | 5090 | yes
65 | Laryngoscope(Paediatric) | C |  |  | 1996-03-06 | ASSOCIATED SURGICAL | PS OT | TNHSP |  |  |  | 0 | yes
66 | RING LENS SYSTEM | C | Magnascope |  |  | Solokrafts Industries | ncd | TNHSP | TNMSC/ TNHSP/ ICB/ AG 31/2011 dt 17.10.2011 |  |  | 6600 | yes
67 | Cryotherapy Unit | [7 empty] | TNHSP/TNMSC/ENGG/AG30A/2011 Dt (14.10.2011) |  |  | 23172 | yes
1616296