## watrap
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
District : VIRUDHUNAGAR
Institution : WATRAP
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Manufacturer Name | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Cost of the item | working status
working
1 | Multi Para Monitor | B2 | G3D |  | 2014-06-26 | GENERAL MEDITECH INC~CHINA | TRANS HEALTH CARE INDIA PVT.LTD | MALE WARD-1~ FEMALE WARD-1 | TNMSC | 17240/TNMSC/ENGG/2014-3 | 2014-06-27 | 60000 | working
2 | Syringe Pump | B | lp50 BW |  | 2010-02-09 | jupiter manufacturing works~ coimbatore | jupiter manufacturing works~ coimbatore | female ward | DRHM | 02/nrhm/hsp/tnmsc/2009 dt 25/6/09 | 2010-02-09 | 59000 | working
3 | Infusion Pump | C | LPM 50 |  |  | jupiter manufacturing ~ coimbatore | jupiter manufacturing ~ coimbatore |  | DRHM | 02/nrhm/hsp/tnmsc/2009 - date 25/8/09 |  | 30680 | working
4 | Syringe Pump | B | lp 50 bw |  | 2010-02-09 | jupiter manufacturing works~ coimbatore | jupiter manufacturing works~ coimbatore | female ward | DRHM | 02/nrhm/hsp/nmsc/2009 dt 25/6/09 |  | 59000 | working
5 | Anaesthesia Machine | B2 |  |  | 2009-01-06 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | OT | TNHSP | TNHSP/TNMSC/P2E4/08 DT.16.06.08 |  | 82000 | working
6 | Dental Master Unit | B2 | excel 9 |  | 2010-04-12 | confident dental equipment bangalorei | confident dental equipment bangalore | DENTAL OP | TNMSC | 9214/tnmsc/engg/2009 dt 10/3/10 | 2010-04-12 | 185500 | working
7 | Baby Warmer | C |  |  | 2008-11-29 | DATEX OHMEDA | DATEX OHMEDA | FEMALE WARD | TNHSP | TNHSP/TNMSC/P3E9/08 DT.29.08.08 |  | 18000 | working
8 | Suction Apparatus - Foot operated | C | FOOT OPERATED |  | 2000-12-28 | ASSOCIATED SURGICALS | ASSOCIATES SURGICALS | OPD |  |  |  | 1250 | working
9 | Operation Table Hydraulic Major | B2 |  |  | 2008-11-03 |  | JUPITER MANUFACTURING WORKS | OT | TNHSP | TNHSP/TNMSC/P3E3/08 DT.29.08.08 |  | 51400 | working
10 | suction apparatus(HI VACU) | C | Electricaly operated(VENKY MODEL) |  | 2000-08-08 |  | ALAN MEDICAL LAB~CHENNAI | OT |  |  |  | 8200 | service in process
11 | Electri centrifuger | C | R 81-B | HCLC 4491 | 2009-12-18 | REMII INSTRUMENTS | RAJENDRA ELECTRICAL INDUSTRIES MUMBAI | LAB | DRHM | 05/NRHM/HSP/TNMSC/2009-TTC | 2009-12-18 | 9000 | working
12 | Electri centrifuger | C |  |  | 2012-02-16 | solokrafts industries chennai | solokrafts industries chennai |  | TNHSP | tnhsp/tnmsc/ag29e/2011 dt 4/10/11 |  | 5090 | working
13 | Hot Air Oven/Hot Air Oven Digital/Digital Oven | C |  |  | 2009-07-28 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES |  |  |  |  | 11953 | working
14 | Cryotheraphy unit | A | CRV0004B ON-OFF SUPER DELUX |  | 2012-02-16 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | OT | TNHSP | TNHSP/TNMSC/AG30A/2011 DT-14.10.2011 | 2012-02-16 | 23172 | working
15 | RINGLENS SYSTEM WITH ILLUMINATION | B2 |  |  | 2012-02-16 |  | SOLOKRAFTS INDUSTRIES | OT | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 DT-19.10.2011 | 2012-02-16 | 6987 | working
16 | B.P.apparatus stand model | C | [9 empty] | 550 | working
17 | B.P.apparatus stand model | C | STAND MODEL |  | 2008-11-03 |  | JUPITER MANUFACTURING | OPD | TNHSP | TNHSP/TNMSC/P3E16/2008 DT.29.08.5008 |  | 550 | working
18 | Dehumidifier | C | [5 empty] | OT |  |  |  | 0 | working
19 | Blood Donor Couch | B2 |  |  | 2009-09-04 | SABERWAL SURGICALS COIMBATORE | SABERWAL SURGICALS |  | DRHM | 05/NRHM/TNMSC/2009/ 15.07.09 |  | 64000 | working
20 | Photo Calorie Meter - Analog / Digital | C | WITH 8 FILTERS |  | 2009-12-30 | ALAN MEDICALS | ALAN MEDICALS CHENNAI | LAB |  |  |  | 10260 | working
21 | Dehumidifier | C | with complete set |  |  |  |  | OT | JDHS |  |  | 0 | working
22 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-03-26 | golden surgicals |  | MALEWARD | OTHERS |  |  | 2345 | working
23 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-03-26 | golden surgicals |  | FEMALE WARD | OTHERS |  |  | 2345 | working
24 | Needle destroyer / Syringe Destroyer | C |  |  | 2012-03-26 | golden surgicals |  | OPD | OTHERS |  |  | 2345 | working
25 | Suction Apparatus | B2 | Electrical | 2015-02-04 | 2009-05-19 |  | Vishal hospital furniture | OPD | TNHSP | TNHSP/TNMSC/P3E8/2008 DT-10.09.2008 |  | 3900 | working
26 | Suction Apparatus - Electrical(Hivacuam) | B2 | ELECTRICAL | 2015-03-04 | 2009-05-19 |  | VISHAL HOSPITAL FURNITURE | OT | TNHSP | TNHSP/TNMSC/P3E8/2008 DT-10.09.08 |  | 3900 | working
27 | Suction Apparatus - Electrical(Hivacuam) | B2 | Electrical | 2015-04-04 | 2009-05-19 |  | Vishal hospital furniture | VNR -GH |  | TNHSP/TNMSC/P3E8/2008 DT-10.09.08 |  | 3900 | working
28 | Binocular Mircroscope | B2 | BDI-13A |  | 2014-01-25 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | LAB | TNHSP | TNHSP/TNMSC/AG87C/2013~22.10.13 | 2014-02-19 | 18600 | working
29 | Electric Calorimeter | C | PEL1681213RBK (PRIETESTEASY LAB) | PEL1681213RBK | 2014-03-07 | ROBONIK (INDIA) PVT.LTD | ROBONIK (INDIA) PVT.LTD | LAB | TNHSP | TNHSP/TNMSC/AG87B/2013-2~ 26.11.13 | 2014-03-14 | 20302 | working
30 | Washing Machine | B2 | heavy duty |  | 2010-02-05 | SOLOKRAFTS | SOLOKRAFTS INDUSTRIES | MALE WARD (LAUNDRY ROOM) | DRHM | 01/NRHM/HSP/TNMSC/2009-25.8.09 | 2011-12-26 | 216216 | working
31 | Magnavision Lamp | C | 8008 |  | 2011-03-12 | Hardik medi tech.jupiter manufacturing works~coimbatore | jupiter manufacturing works~coimbatore | female ward | TNMSC | 04r/nrhm/tnmsc/engg/2011 | 2011-03-12 | 4400 | working
32 | Sterilizer big (Instrument) | C |  | 1a/2 | 2008-10-17 | JUPITER MANUFACTURING | JUPITER MANUFACTURING | F.W-1~OPD-1 | TNHSP | TNHSP/TNMSC/ENGG/P3E17/2008-11.8.2008 | 2008-10-17 | 2800 | working
33 | Blood Bank Refrigerator | B2 | BR-70SR | BDI-1393 | 2010-03-30 | RAJENDRA ELECTRICAL INDUSTRIES | REMII ELEKTROTECHNIK LTD |  | DRHM | 18R/NRHM/HSP/TNMSC/10-BBR DT.05.03.01 |  | 67888 | working
34 | Focus lamp Ordinary | C | HOSPITECH |  | 2009-07-28 | JUPITER MANUFACTURING | JUPITER MANUFACTURING | OT | DRHM | 03/NRHM/HSP/TNMSC/09-FL DT.29.06.09 | 2009-07-28 | 24900 | working
35 | Diathermy Machine (Electric Cautery) | B | ELSY 360M+ | ASG-M+1406196 | 2014-07-02 | ALAN ELECTRONICS SYSTEMS PVT.LTD | JBS MEDIITECH INDIA PVT.LTD | OPERATION THEATER | TNMSC | 17240/TNMSC/ENGG/2014-2~16.05.14 | 2014-07-02 | 218000 | working
36 | ECG machine computerized | B | edan se3 | 309035 -M11801710156 | 2011-10-03 | edan instruments inc | madras surgicalsandamp;chemicals~chennai | OPD | TNHSP | TNHSP /TNMSC/AG27/2011 | 2011-10-13 | 36637 | working
37 | Water Bath/Ultrasonic Water Bath | C | SM I-143 |  | 2014-06-04 | JINDAL | S.M.SCIENTIFIC INSTRUMENTS PVT.LTD | LAB | TNHSP | TNHSP/TNMSC/AG87H(R)/2014 ~ 10.04.2014 |  | 8262 | working
38 | VDRL Rotator/Shaker | C | bdI140 |  | 2014-09-22 | B.D Instruments pvt limited | solokrafts industries | lab | TNHSP | tnhsp/tnmsc/ag87f(R)/2014-13 dt 19/5/14 | 2014-09-22 | 32200 | working
39 | Weighing Machine-Suspension | C | prestige |  | 2012-02-06 | alan medicalandamp; laboratory product | alan medical andamp;laboratory product | opd | TNHSP | tnhsp/tnmsc/ag24/2011 dt.24.10.2011 | 2012-02-06 | 598 | working
40 | Ultra Sonogram -POTABLE | B | CMS600A | U32020970 491DHE1 | 2009-09-03 | VIN BIOTECH SYSTEMS LIMITED~ CHENNAI | VIN BIOTECH SYSTEMS LIMITED~ CHENNAI | SCAN ROOM | DMS | 39060/Sandamp;P/1/2009 29/6/09 | 2009-09-03 | 240000 | not working
41 | Nebuliser Adult | C | arrow neb |  | 2009-05-25 | saberwal surgicals~ coimabatore | saberwal surgicals ~ coimbatore | male ward | DRHM | 08/nrhm/hsp/tnmsc/engg/2009 dt 31/3/09 | 2009-05-25 | 1400 | working
| radiant warmer | C | pheonix |  |  |  | phoenix medical systems | female ward |  |  |  | 20500 | working
| radiant warmer | c | nice /neotech |  |  | neotech | madras surgicalsand and ;chemicals~chennai | female ward | rch |  |  | 20500 | working
42 | ultra Sonogram | B2 | chison | 600a | 2014-08-12 | chision ultrasound scanner | surya surgicals | SCAN ROOM | nrhm |  |  | 286598 | working
1925128