## Major Equip
MAJOR EQUIPMENTS -GOVERNMENT HOSPITAL-Needamangalam
S.NO | Name of the Equipments | category | Model | Serial No | Date of receipt | Supplier Name | Location | Source of supply | Purchase Order | Installation Date | Warranty/AMC | Cost | Working/Not Working
1 | Radiant warmer | C | 100WS | - | 02.04.1996 | Phoenix Medical Systems | Labour ward | - | 40/S2/LLB/I/95 dt 08.1201995 | 02.04.1996 | - | 14208 | working
2 | Radiant warmer | C | OCW-100 | 3001 | 22.11.2008 | Datex Ohmeda | Labour ward | TNHSP | TNHSP/TNMSC/P3E9/2008 dt 29.08.2008 | 22.11.2008 | - | 18720 | working
3 | Ultrasonogram | B2 | 600A | U32020970490DHE1 | 22.08.2009 | vin Biotech Systems | Scan Room | DMS | 39060/S&P/1/2009 dt 29.06.2009 | 22.08.2009 | - | 274800 | working
4 | Shadowless Lamp | B | Hospilite | - | 05.12.2008 | Jupiter Mfg Works | Operation Theatre | TNHSP | TNHSP/TNMSC/P3E3/2008 dt 29.08.2008 | 05.12.2008 | - | 12700 | working
5 | Shadowless Lamp | B | Hospilite | - | 05.12.2008 | Jupiter Mfg Works | Operation Theatre | TNHSP | TNHSP/TNMSC/P3E3/2008 dt 29.08.2008 | 05.12.2008 | - | 12700 | working
6 | OT Table | B2 | - | - | 05.12.2008 | Jupiter Mfg Works | Operation Theatre | TNHSP | TNHSP/TNMSC/P3E3/2008 dt 29.08.2008 | 05.12.2008 | - | 51400 | working
7 | Boyles Apparatus Complete | B2 | Ecosafe | - | 29.12.2008 | Solokrafts Industries, Chennai | Operation Theatre | TNHSP | TNHSP/TNMSC/P3E4/2008 dt 29.08.2008 | 29.12.2008 | - | 85280 | Working
8 | Boyles Apparatus Complete | B2 | - | - | - | - | Operation Theatre | - | Received fromGH-Koothanallur | - | - | - | Condem
9 | Electric Colorimeter | C | Prietest Easylab |  | 26.03.2014 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-2/dt 28.11.2013 | 26.03.2014 | 25.03.2015 | 20302 | Working
10 | Pulse Oximeter | B2 | Rad-8 | M71778 | 07.04.2014 | Grace Mfg Trading Co | Stores | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 07.04.2014 | 06.04.2017 | 68968 | Working
11 | Pulse Oximeter | B2 | Rad-8 | M71930 | 07.04.2014 | Grace Mfg Trading Co | Stores | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 07.04.2014 | 06.04.2017 | 68968 | Working
12 | Pulse Oximeter | B2 | Cleo | CMMD6M1706 | 27.04.2009 | - | Operation Theatre | - | Received from Tamil Nadu Health Systems Project Ambulance | 27.04.2009 | - | 25000 | Working
13 | ECG Machine | B | Se300B | SE300B2A020893820 | 25.11.2008 | Madras Surgicals | Scan Room | TNHSP | TNHSP/TNMSC/P3E8/2008 dt 29.08.2008 | 25.11.2008 | - | 46550 | Not working/ Machine taken by the supplier for service
14 | ECG Machine | B | SEB | 309035-M11801710085 | 19.10.2011 | Madras Surgicals | Scan Room | TNHSP | TNHSP/TNMSC/ENGG/AG327/2011 dt 14.02.2011 | 19.10.2011 | - | 38469 | Working
15 | Vertical Autocalve | C | - | - | 10.04.2008 | Jupiter Mfg Works | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E11/2007 dt 28.11.2007 | 10.04.2008 | - | 33280 | Working
16 | Vertical Autocalve | C | - | - | 22.01.2009 | SOLOKRAFTS Industries | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E10/2008 dt 10.9.2008 | 22.01.2009 | - | 29800 | Working
17 | Vertical Autocalve | C | - | - | 31.07.2009 | - | Operation Theatre | - | Received from Govt Dist Headquarters Hospital, mannargudi | 31.07.2009 | - | 30214 | Working
18 | Semi Auto Analyser | B2 | Prietest Touch | AT0830209RBK | 13.04.2009 | Robonik India Pvt Ltd | laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 28.1.2009 | 13.04.2009 | - | 59500 | working
19 | Centrifuge with 6 buckets | C | BDI-152 | 2011441 | 05.02.2012 | Solokrafts Industries | Laboratory | TNHSP | TNHSP/TNMSC/AG29E/2011 dt 4.10.2011 | 05.02.2012 | - | 5345 | Working
20 | Centrifuge | C | BD-153 | - | 06.06.2009 | Solokrafts Industries | laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 28.1.2009 | 06.06.2009 | - | 10873 | working
21 | Centrifuge | C | C8C | 913 | - | - | laboratory | IPPV | IPPV | - | - | 3600 | working
22 | Hot Air Oven | C | BDI-50 | 76269 | 11.06.2009 | Solokrafts Industries | laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 29.1.2009 | 11.06.2009 | - | 11953 | working
23 | Incubator | C | - | - | 11.06.2009 | Solokrafts Industries | laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 29.1.2009 | 11.06.2009 | - | 11953 | working
24 | X-Ray Machine | B2 | 100ma | - | 16.07.2009 | Allengers | X ray Room | TNHSP | TNHSP/TNMSC/ICB/P3E1/2009 dt 10.02.2009 | 16.07.2009 | - | 273417 | working
27 | Binocular Microscope | B2 | BDI-13A | 22804 | 22.01.2014 | Solokrafts Industries | Laboratory | TNHSP | TNHSP/TNMSC/AG87c/2013 dt 22.10.2013 | 22.01.2014 | 21.01.2017 | 18600 | Working
28 | Foetal Doppler | C | - | - | - | - | Labour ward | - | - | - | - | 12500 | working
29 | Foetal Doppler | C | A100H | - | 29.08.2014 | Mediwaves Inc, Delhi | G.Ward | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 29.08.2014 | 28.08.2017 | 4650 | Working
30 | Foetal Doppler | C | A100H | - | 29.08.2014 | Mediwaves Inc, Delhi | Stores | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 29.08.2014 | 28.08.2017 | 4650 | Working
31 | Maganvision lamp | C | Magnascope | - | 04..02.2012 | solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 dt 19.10.2011 | 04..02.2012 | - | 7337 | Working
32 | Cryotheraphy | C | CRYO-004B | - | 04.02.2012 | Solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/AG30A/2011 dt 14.10.2011 | 04.02.2012 | - | 24331 | Working
33 | Manual Colposcope | C | ARI-II-ID | - | 12.09.2012 | South India Surgicals | Via/Vili Room | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 dt 21.4.2012 | 12.09.2012 | - | 130000 | Working
34 | Digital PH Meter | C | RPA-1GRTIOANPN | 1277 | 19.04.2014 | RLT Instrumentation, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-1 dt 28.11.2013 | 19.04.2014 | 18.04.2015 | 57353 | Working
35 | Water Bath | C | SMI-143 | - | 27.05.2014 | S.M.Scientific Instruments Pvt Ltd, Delhi | Stores | TNHSP | TNHSP/TNMSC/AG87h(R)/2014 dt 10.04.2014 | 27.05.2014 | 26.05.2015 | 8262 | Working
36 | Multiparamonitor | B2 | G3D | G3DL60244 | 24.07.2014 | Transhealth Care, Chennai | Stores | TNMSC | 17240/TNMSC/ENGG/2014-3 dt 16.05.2014 | 24.07.2014 | 23.07.2017 | 189000 | Working
37 | Rotary Shaker | C | BDI-149 | 2014080830 | 21.08.2014 | Solokrafts Industries, Chennai | Stores | TNHSP | TNHSP/TNMSC/AG87f(R)/2014-2 dt 19.05.2014 | 21.08.2014 | 20.08.2017 | 32200 | Working
38 | Akas Infusion Pump | C | infu 300 | - | 21.2.2007 | Akas Infusion Systems | G.Ward | DMS | 103928/S&P/1/2006 dt 07.03.2007 | 21.2.2007 | - | 24000 | Condem
39 | Dental Chair | B2 | - | - | 24.12.2007 | Confident Dental Systems | Dental Room | - | - | 24.12.2007 | - | 103168 | Working
40 | Ultrasound theraphy | C | Electroson 709 | 2292 | 20.12.2014 | Technomed Electronics | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 17894 | Working
41 | Ultrasound theraphy | C | Electroson 709 | 2293 | 20.12.2014 | Technomed Electronics | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 17894 | Working
42 | Interfrential Theraphy | C | vechodyne-100 | 619 | 20.12.2014 | Technomed Electronics | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 21190 | Working
43 | Micro Laser | C | Digi Laser Pro | - | 20.12.2014 | Barat Medical Systems | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 67016 | Working
44 | Traction Device | C | physio track Plus | - | 20.12.2014 | Barat Medical Systems | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 27990 | Working
45 | Electrical Nerve muscle Stimulator | C | Physiostim-D | - | 20.12.2014 | Barat Medical Systems | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 5568 | Working
46 | Shortwave Diathermy | C | SWD 350W | - | 20.12.2014 | Barat Medical Systems | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 31311 | Working
47 | Tens Unit | C | Digi Tens Pro | - | 20.12.2014 | Barat Medical Systems | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 6130 | Working
48 | Woable Board | C | - | - | 20.12.2014 | Barat Medical Systems | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 2755 | Working
49 | Parallel Bar | C | - | - | 20.12.2014 | Barat Medical Systems | Physiotheraphy Dept | TNMSC | 1526/TNMSC/ENGG/2014-2 dt 21.11.2014 | 20.12.2014 | 19.12.2017 | 24619 | Working
2046418

## Minor Equip
Minor Equipments
Government District Headquarters Hospital -Needamangalam
S.no | Equipment Name | Oty | Cost of each item(Rs) | Total Cost(Rs) | Working/ Not working
1 | BP Apparatus | 6 | 2300 | 13800 | working
2 | Nebuliser | 1 | 2500 | 2500 | working
3 | Baby Weighing machine | 3 | 750 | 2250 | working
4 | Suction Apparatus | 7 | 6000 | 42000 | working
5 | Adult Weighing machine | 3 | 2000 | 6000 | working
6 | Hub Cutter | 6 | 1000 | 6000 | working