## EDAPPADI
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD :
District : SALEM
Institution : EDAPPADI
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Rotary Microtome | C |  |  | 2014-10-17 |  |  | TNHSP | TNHSP/TNMSC/AG87/CR/2014-219 |  |  | 32200 | WORKING
2 | Computer | C |  |  | 2008-04-07 | HCL Info Systems Ltd | Office |  |  |  |  | 0 | WORKING
3 | Phototherapy Unit | C |  |  | 1999-03-09 | JDHS~ Salem | Labour Ward |  |  |  |  | 12000 | WORKING
4 | Radiant Warmer | C |  |  | 1999-03-09 | JDHS~ Salem | Labour Ward |  |  |  |  | 20500 | WORKING
5 | Radiant Warmer | C |  |  | 2002-09-26 | DDHS~ Salem | Labour Ward |  |  |  |  | 0 | CONDEMN
6 | Operation table Hydraulic Minor | B2 |  |  | 1989-10-27 | Associated Surgical | OT |  |  |  |  | 33000 | WORKING
7 | Operation table Hydraulic Minor | B2 |  |  | 1996-06-12 | General Surgicals Co. India | OT |  |  |  |  | 33000 | WORKING
8 | Shadowless Lamp stand model | B |  |  | 1989-12-14 | Pkays Medical Surgicals | OT |  |  |  |  | 0 | CONDEMN
9 | Shadowless Lamp stand model | B |  |  |  | Associated Surgical | OT |  |  |  |  | 13000 | WORKING
10 | 100 M.A. X-ray machine Portable | B | Mas/1221 |  | 1990-01-10 | I.G.E. India Ltd. | X-Ray Room |  |  |  |  | 270710 | WORKING
11 | Boyles apparatus with Circle Abosrber | B | Eco Safe |  | 1992-07-25 | Solokrafts~ Chennai | OT |  |  |  |  | 82000 | WORKING
12 | Generator | C |  |  | 1996-04-09 | Birla Yamaha | OT | IPP5 |  |  |  | 0 | WORKING
13 | Autoclave vertical single bin | C |  |  | 2000-08-25 | MediHealth lab | OT |  |  |  |  | 21000 | WORKING
14 | Autoclave vertical single bin | C |  |  | 2009-03-13 | Jupiter Manufacturing Works | OT |  |  |  |  | 21000 | WORKING
15 | Refrigerator | C | 165 Lts |  | 1996-03-15 | Standard Electricals | Dispensory |  |  |  |  | 0 | CONDEMN
16 | Ultra Sonogram -POTABLE | B | UF 450N | 12151519 | 1996-06-26 | Kody Elcot ltd | Labour Ward | IPP5 |  |  |  | 0 | CONDEMN
17 | Focus lamp Ordinary | C |  |  | 1997-05-25 | General Surgicals Co. India | OT |  |  |  |  | 4750 | WORKING
18 | Electric Calorimeter | C |  |  | 1998-01-27 | Alan Medicals Lab | Lab |  |  |  |  | 4750 | WORKING
19 | ECG machine ordinary | B | BPL 108T |  | 1993-03-26 | RPL Unit | ECG Room |  |  |  |  | 0 | CONDEMN
20 | Pulse Oximeter | B |  | Sl. No. 104004781 | 1998-12-21 | TNMSC~ Chennai | Labour Ward |  |  |  |  | 33700 | WORKING
21 | Ultra Sonogram -MOBILE | B |  | L and T~ Sonata | 2003-03-17 | L and T~ Chennai | Labour Ward |  |  |  |  | 0 | CONDEMN
22 | Semi auto analyser | B2 |  | Erba Chem 5 Plus | 2004-01-29 | Transasia Biomedicals | Lab |  |  |  |  | 0 | CONDEMN
23 | ECG machine ordinary | B |  | Micro R~ Mark S | 2006-06-15 | Solokrafts~ Chennai | X-Ray Room |  |  |  |  | 25000 | WORKING
24 | Infusion pump | C |  |  | 2007-04-27 | Akas Medical Equipments | Ward |  |  |  |  | 34900 | WORKING
25 | Air Rotor | C |  |  | 2007-05-10 | Confident Dental Equipments~ Chennai | DEntal OP |  |  |  |  | 6000 | WORKING
26 | Dental Unit with motor for dental OP | B2 |  |  | 2007-05-10 | Confident Dental Equipments~ Chennai | DEntal OP |  |  |  |  | 118669 | WORKING
27 | Diathermy Machine (Electric Cautery) | B |  |  | 2007-07-16 | Jupiter Manufacturing Works | DEntal OP |  |  |  |  | 18000 | WORKING
28 | Printer | C |  |  | 2008-04-07 | HCL Info Systems Ltd | Office |  |  |  |  | 0 | WORKING
29 | Cardiac Monitor | C |  |  | 2008-12-26 | From Ambulance Kit | Casuality | TNHSP |  |  |  | 0 | WORKING
30 | Cardiac Monitor | C |  |  | 2008-12-26 | From Ambulance Kit | Casuality | TNHSP |  |  |  | 0 | WORKING
31 | Printer | C |  |  | 2009-03-04 | LIPI Data Systems | Office | TNHSP |  |  |  | 0 | WORKING
32 | Computer | C |  |  | 2009-03-28 | Broadline Computer Systems | OPD |  |  |  |  | 0 | WORKING
33 | Binocular Mircroscope | B2 |  |  | 2009-06-12 | Solokrafts~ Chennai | Lab |  |  |  |  | 12500 | WORKING
34 | Hot Air oven | C |  |  | 2009-06-12 | Solokrafts~ Chennai | Lab |  |  |  |  | 11950 | WORKING
35 | Lab Incubator | C |  |  | 2009-06-12 | Solokrafts~ Chennai | Lab |  |  |  |  | 12000 | WORKIMG
36 | Electri centrifuger | C |  |  | 2009-06-12 | Solokrafts~ Chennai | Lab |  |  |  |  | 19000 | WORKING
37 | Semi auto analyser | B2 |  |  | 2009-06-16 | Robonik India Private Ltd | Lab |  |  |  |  | 59000 | WORKING
38 | Ultra Sonogram -MOBILE | B |  |  | 2009-07-14 | GE Wipro Health Care | Scan Room |  |  |  |  | 674800 | WORKING
39 | Autoclave vertical single bin | C |  |  | 2000-08-25 | Alan Medicals Lab | OT |  |  |  |  | 0 | CONDEMN
40 | Auto Clave HP Vertical (2 bin) | C |  |  | 2008-03-13 | Jupiter Manufacturing Works | OT | TNHSP |  |  |  | 0 | CONDEMN
41 | Autoclave vertical single bin | C |  |  | 1996-06-03 | Associated Surgical | OT |  |  |  |  | 0 | CONDEMN
42 | Auto Clave HP Vertical (2 bin) | C |  |  | 2009-10-16 | Solokrafts~ Chennai | OT | TNHSP |  |  |  | 0 | CONDEMN
43 | Refrigerator | C | Oxyinsta Premium 170 Lts |  | 2009-12-10 | Davey Pharma andamp; Surgicals | Dispensory | TNHSP |  |  | 2010-12-10 | 10400 | WORKING
1583829