## status_report (7)
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 01/01/2004-02/03/2015
District : COIMBATORE
Institution : VALPARAI
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | CPC Code | Date of Receipt | Manufacturer Name | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | If AMC available | AMC valid upto | AMC agency name | Working status
1 | Generator | OTH_GEN_T | 00098/GEN/2 | C | Diesel 40KV |  |  | 2010-06-08 | Mahindra | Bhaliivaradha Electromech | Generator Room | TNHSP | TNHSP/TNMSC/P3G24/2009 DT-- 07.12.2009 | 2010-06-09 | 2011-06-08 | 350000 |  |  |  | 22-12-2010
2 | Anaesthesia Ventilators | ANA_VENT | 00098/VENT/1 | B2 |  |  |  | 2007-08-07 | Solocrafts | lasantoubroitd |  |  | 210382 |  |  | 0 |  |  |  | 17-9-2014
1 | CRYOTHERAPHY |  |  | B2 | CRYO-0004B | NA |  | 15/2/2012 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | OT | TNHSP | TNHSP/TNMSC/AG30A/2011 | 15/2/2012 | 14/2/2013 | 23172 |  |  |  | WORKING
4 | O2 Cylinder- A type | ANA_OCA | 00098/OCA/1 | C | [5 empty] | soiokraft industries chennai | [5 empty] | 0 |  |  |  | WORKING
5 | O2 Cylinder- B type | ANA_OCB | 00098/OCB/1 | C |  |  |  | 1997-06-18 |  | saberwal | [5 empty] | 0 |  |  |  | WORKING
6 | O2 Cylinder- C type | ANA_OCC | 00098/OCC/1 | C |  |  |  | 1997-05-14 |  | associated p ltd |  |  |  | 1997-05-14 |  | 0 |  |  |  | WORKING
7 | Tongue depressors | ANA_TNDP | 00098/TNDP/1 | C |  |  |  | 1998-11-12 |  | vinayaga pharma | [5 empty] | 0 |  |  |  | WORKING
2 | Binocular Mircroscope | LAB_BIMS | 00098/BIMS/2 | B2 | BD13A | 22788 |  | 2014-01-24 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | LAB | TNMSC | TNHSP/TNMSC/AG87C/2013 | 2014-01-18 | 2015-01-17 | 18600 |  |  |  | WORKING
9 | Blood Donor Couch | BLD_BDCH | 00098/BDCH/1 | B2 | NA | NA |  | 2009-09-19 | m\s saberwal surgicals p ltd | m\s saberwal surgicals p ltd | lab | TANSACS | NA | 19/9/2009 | 18/9/2010 | 0 |  |  |  | WORKING
10 | Weighing machine adult | NNE_WTMA | 00098/WTMA/1 | C |  |  |  |  | Blaun |  | OT |  |  |  |  | 0 |  |  |  | WORKING
11 | Nebulizer baby | NNE_NEBB | 00098/NEBB/1 | C |  |  |  |  | Newspeedneb 063009686 |  | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
3 | Radiant Warmer | NNE_RAWR | 00098/RAWR/1 | C | Nice 2007S | NA |  | 2007-12-24 | Neo Tech | Madras Surgicals | Labour Ward | TNHSP | TNHSP/TNMSC/P2E10/2007 Dt-- 19.09.2007 | 2007-12-24 | 2008-12-23 | 20000 | AMC | 2011-02-28 | Madras Surgicals | WORKING
4 | Phototherapy Unit | NNE_PHTU | 00098/PHTU/1 | C | Nice 4000CF1 | NA |  | 2007-12-24 | Neo Tech | Madras Surgicals | Labour Ward | TNHSP | TNHSP/TNMSC/P2E10/2007 Dt-- 19.09.2007 | 2007-12-24 | 2008-12-23 | 10000 | AMC | 2011-02-28 | Madras Surgicals | WORKING
5 | USG - Color Doppler | IME_CDOP_T | 00098/CDOP/1 | A | GE | NA |  | 2009-10-09 | Wipro | Wipro | Scan Room | TNHSP | TNHSP/TNMSC/ICB/P3E24/2009 DT-- 02.01.2009 | 2009-10-09 | 2010-10-09 | 482308 |  |  |  | WORKING
15 | Weighing machine infant | NNE_WTMB | 00098/WTMB/1 | C |  |  |  |  | Brawn |  | Labour Ward |  |  |  |  | 0 |  |  |  | WORKING
16 | Weighing machine adult | NNE_WTMA | 00098/WTMA/2 | C | [6 empty] | Male Ward |  |  |  |  | 0 |  |  |  | WORKING
6 | Phototherapy Unit | NNE_PHTU | 00098/PHTU/2 | C | PT 104 | NA |  | 2008-12-24 | PHOENIX | PHOENIX MEDICAL SYSTEM | CH.WD | TNHSP | NA | 2008-12-24 | 2009-12-24 | 12000 |  |  |  | WORKING
7 | Mannual Colposcope | NNE_PHTU | 00098/PHTU/3 | C | ARI-11D | R20130191 |  | 2013-04-03 | SISCO | SISCO | NCD | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 | 2013-04-03 | 2014-03-03 | 136500 |  |  |  | WORKING
19 | Magnavision Lamp | NNE_MAGL_T | 00098/MAGL/1 | C | Saberwall |  |  | 2009-08-21 | Saberwall | Saberwall | OT | TNHSP |  | 2009-08-21 | 2010-08-21 | 0 |  |  |  | WORKING
8 | Semi auto analyser | LAB_SEAA | 00098/SEAA/2 | B2 | Pretest Touch | AT0080807RBK |  | 2007-12-24 | Robonik | Robonik | LAB | TNHSP | TNHSP/TNMSC/P2E4/2007 Dt-- 19.09.2007 | 2007-12-24 | 2008-12-23 | 52985 | AMC | 2011-02-28 | Robonik | WORKING
21 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00098/ACV2/2 | C |  |  |  | 1995-05-22 |  | 2) Multimeena surgicals | OT | DMS |  |  |  | 0 |  |  |  | WORKING
9 | Pulse Oximeter | CRD_SPO2 | 00098/SPO2/2 | B | Stellar p | NA |  | 2008-01-07 | Landamp;T | Landamp;T | OT | TNHSP | TNHSP/TNMSC/P2E9/2007 Dt-- 11.09.2007 | 2008-01-07 | 2009-01-06 | 50000 | AMC | 2011-02-28 | Landamp;T | WORKING
10 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00098/ACV2/4 | C | NA | NA |  | 2008-09-09 | 1) Alan Medical 2) Multimeena surgicals | 1) Alan Medical 2) Multimeena surgicals | OT | DMS | NA | 15/9/2008 | 14/9/2009 | 19800 |  |  |  | WORKING
24 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00098/ACV2/5 | C |  |  |  | 2008-09-09 |  | 1) Alan Medical 2) Multimeena surgicals | OT | DMS |  |  |  | 0 |  |  |  | WORKING
25 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00098/ACV2/6 | C |  |  |  | 2008-09-09 |  | 1) Alan Medical 2) Multimeena surgicals | OT | DMS |  |  |  | 0 |  |  |  | WORKING
11 | Cardiac Monitor with defibrillator | CRD_DEFI | 00098/DEFI/1 | C | Philips Heart StartXL | HB456982-1 |  | 2008-01-24 | Philips | Madras Surgicals | OT | TNHSP | TNHSP/TNMSC/P2E12/2007 DT-- 28.01.2007 | 2008-01-24 | 2009-01-23 | 200000 | AMC | 2011-02-28 | Madras Surgicals | WORKING
27 | Shadowless Lamp stand model | OTE_MOLT | 00098/MOLT/2 | B |  |  |  | 1989-04-18 |  | Medicine | OT |  |  |  |  | 0 |  |  |  | WORKING
28 | Shadowless Lamp stand model | OTE_MOLT | 00098/MOLT/3 | B |  |  |  | 1989-04-18 |  | Medicine | OT |  |  |  |  | 0 |  |  |  | WORKING
12 | Deep Freezer | LAB_DFRZR_T | 00098/DFRZR/1 | C | Labotech | NA |  | 2009-12-16 | BD Instrumentation | BD Instrumentation | BLOOD BANK | NACO | NA | 2009-12-16 | 2010-12-16 | 59800 |  |  |  | WORKING
13 | Baby Incubators | NNE_BINC | 00098/BINC/1 | C | 3010R | NA |  | 2007-12-24 | Madras Surgicals | Madras Surgicals | Labour Ward | TNHSP | TNHSP/TNMSC/P2E3/2007 Dt-- 11.09.2007 | 2007-12-24 | 2008-12-23 | 75000 | AMC | 2011-02-28 | Madras Surgicals | WORKING
31 | Operation Table Hydraulic Major | OTE_TAMA | 00098/TAMA/2 | B2 |  |  |  | 1995-09-08 |  | 1)Associated surgicals 2)line surgicals | OT |  |  |  |  | 0 |  |  |  | WORKING
14 | Operation Table Hydraulic Major | OTE_TAMA | 00098/TAMA/3 | B2 | NA | NA |  | 1995-09-08 | NA | 1)Associated surgicals 2)line surgicals | OT | NA | NA | 1995-09-08 | 1996-08-08 | 27850 |  |  |  | WORKING
15 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00098/ACV2/4 | C | NA | NA |  | 2008-09-09 | 1) Alan Medical 2) Multimeena surgicals | 1) Alan Medical 2) Multimeena surgicals | OT | DMS | NA | 15/9/2008 | 14/9/2009 | 19800 |  |  |  | WORKING
34 | Sterilizer Medium (Instrument) | OTE_STMD | 00098/STMD/1 | C |  |  |  | 1971-11-16 |  |  | OT | DMS |  |  |  | 0 |  |  |  | WORKING
35 | Bowl steriliser - Medium | OTE_BSMD | 00098/BSMD/1 | C | [6 empty] | OT |  |  |  |  | 0 |  |  |  | WORKING
36 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00098/BACA/1 | B |  |  |  | 1986-09-17 |  | IOC | OT |  |  |  |  | 0 |  |  |  | WORKING
16 | Suction Apparatus - Electrical | OTE_SAEL | 00098/SAEL/1 | C | NA | NA |  | 15/7/2004 | JUPITER | JUPITER | OT | NA | NA | 15/7/2004 | 14/7/2005 | 6800 |  |  |  | WORKING
17 | Suction Apparatus - Electrical | OTE_SAEL | 00098/SAEL/1 | C | NA | NA |  | 15/7/2004 | JUPITER | JUPITER | OT | NA | NA | 15/7/2004 | 14/7/2005 | 6800 |  |  |  | WORKING
18 | Suction Apparatus - Electrical | OTE_SAEL | 00098/SAEL/1 | C | NA | NA |  | 1998-09-22 | Pilot | NA | NA | NA | NA | 22/9/1998 | 21/2/1999 | 3800 |  |  |  | WORKING
19 | Pulse Oximeter | CRD_SPO2 | 00098/SPO2/1 | B | NA | NA |  | 1998-12-30 | Nonin 104004801 | TNMSC | OT | DMS | NA | 1998-12-30 | 1999-12-29 | 11580 |  |  |  | WORKING
39 | Suction Apparatus - Electrical | OTE_SAEL | 00098/SAEL/2 | C | [6 empty] | OT |  |  |  |  | 0 |  |  |  | WORKING
40 | Sterilizer Medium (Instrument) | OTE_STMD | 00098/STMD/2 | C |  |  |  | 1989-06-03 |  | Associated Surgicals~ chennai | OT |  |  |  |  | 0 |  |  |  | WORKING
41 | Nebuliser Adult | OTH_NEBA_T | 00098/NEBA/1 | C |  |  |  | 1997-05-23 | Flowneb 112069/2002 | Associated surgicals | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
42 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00098/ACV2/7 | C | [6 empty] | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
43 | Sterilizer Medium (Instrument) | OTE_STMD | 00098/STMD/3 | C |  |  |  | 1986-05-15 |  | Associated surgicals | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
44 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/1 | C |  |  |  | 2003-05-08 | Microril | Limoscientific Inst. and Chem. | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
45 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/2 | C |  |  |  | 2003-05-08 | Microril | Limoscientific Inst. and Chem. | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
46 | Refrigerator | LAB_REFR_T | 00098/REFR/1 | C |  |  |  | 1994-01-20 |  | DDHSCBE | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
47 | B.P.apparatus table model | CRD_BPAT | 00098/BPAT/1 | C |  |  |  | 2000-08-31 |  | Allen Medical system | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
48 | B.P.apparatus table model | CRD_BPAT | 00098/BPAT/2 | C |  |  |  | 2000-08-31 |  | Allen Medical system | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
49 | B.P.apparatus table model | CRD_BPAT | 00098/BPAT/3 | C |  |  |  | 2000-08-31 |  | Allen Medical system | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
50 | B.P.apparatus table model | CRD_BPAT | 00098/BPAT/4 | C |  |  |  | 2000-08-31 |  | Allen Medical system | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
51 | B.P.apparatus table model | CRD_BPAT | 00098/BPAT/5 | C |  |  |  | 2000-08-31 |  | Allen Medical system | FM Ward |  |  |  |  | 0 |  |  |  | WORKING
52 | Alpha Bed with motor | OTH_ABM_T | 00098/ABM/1 | C |  |  |  | 2003-09-08 | Iynocare | Associated surgicals | Lab ward |  |  |  |  | 0 |  |  |  | WORKING
53 | Alpha Bed with motor | OTH_ABM_T | 00098/ABM/2 | C |  |  |  | 2003-09-08 | Iynocare | Associated surgicals | Lab ward |  |  |  |  | 0 |  |  |  | WORKING
54 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/3 | C |  |  |  | 2003-08-08 |  |  | Male Ward |  |  |  |  | 0 |  |  |  | WORKING
55 | IR Lamp | PHY_IRLMP_T | 00098/IRLMP/1 | C | [6 empty] | Male Ward |  |  |  |  | 0 |  |  |  | WORKING
56 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00098/ACV2/8 | C | [6 empty] | OP |  |  |  |  | 0 |  |  |  | WORKING
57 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00098/ACV2/9 | C | [6 empty] | OP |  |  |  |  | 0 |  |  |  | WORKING
58 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00098/ACV2/10 | C | [6 empty] | op |  |  |  |  | 0 |  |  |  | WORKING
59 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/4 | C |  |  |  | 2003-05-08 | Microsil | Lingoscientific Inst and Chem. | OP |  |  |  |  | 0 |  |  |  | WORKING
60 | Sterilizer Medium (Instrument) | OTE_STMD | 00098/STMD/4 | C | [6 empty] | OP |  |  |  |  | 0 |  |  |  | WORKING
61 | Nebuliser Adult | OTH_NEBA_T | 00098/NEBA/2 | C |  |  |  | 1996-03-20 | Phoenix medical system |  | Female ward |  |  |  |  | 0 |  |  |  | WORKING
20 | Infusion pump | CRD_INPM | 00098/INPM/1 | C | AKAS | NA |  | 2007-02-28 | AKASH | AKASH | WARD | TNHSP | NA | 2007-02-28 | 2008-02-28 | 24400 |  |  |  | WORKING
63 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/5 | C | REPROSPAARK |  |  | 2008-10-25 | Glo Life Care | Glo Life Care | ALL WARDS | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
64 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/6 | C | REPROSPAARK |  |  | 2008-10-25 | Glo Life Care | Glo Life Care | ALL WARDS | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
65 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/7 | C | REPROSPAARK |  |  | 2008-10-25 | Glo Life Care | Glo Life Care | ALL WARDS | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
66 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/8 | C | REPROSPAARK |  |  | 2008-10-25 | Glo Life Care | Glo Life Care | ALL WARDS | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
67 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/9 | C | REPROSPAARK |  |  | 2008-10-25 | Glo Life Care | Glo Life Care | ALL WARDS | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
68 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00098/NEED/10 | C | REPROSPAARK |  |  | 2008-10-25 | Glo Life Care | Glo Life Care | ALL WARDS | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
69 | Boyles apparatus with Ventilator | ANA_VEN_T | 00098/VEN/1 | B | LandT |  |  | 2007-09-27 | L andT | LandT | A.OT | TNHSP |  | 2007-09-27 | 2008-09-26 | 0 |  |  |  | WORKING
70 | Semi auto analyser | LAB_SEAA | 00098/SEAA/1 | B2 | PRIETEST TOUCH |  |  | 2007-10-19 | ROBONIK INDIA | SHAN BIO TECH | LAB | TNHSP |  | 2007-10-19 | 2008-10-18 | 0 |  |  |  | WORKING
71 | Lab Incubator | LAB_INCU | 00098/INCU/1 | C | Solocraft |  |  | 2009-12-16 | Solocraft | Solocraft | LAB | TNHSP |  | 2009-12-16 | 2010-12-16 | 0 |  |  |  | WORKING
21 | Binocular Mircroscope | LAB_BIMS | 00098/BIMS/1 | B2 | Solocraft | NA |  | 2009-12-16 | Solocraft | Solocraft | LAB | TNHSP | NA | 2009-12-16 | 2010-12-16 | 15890 |  |  |  | WORKING
73 | [19 empty] | WORKING
74 | [19 empty] | WORKING
75 | Dielectric Tube Sealer | LAB_DIES_T | 00098/DIES/1 | C | Teurmo Penpol |  |  | 2009-09-03 | Teurmo Penpol | Teurmo Penpol | BLOOD BANK | NRHM |  | 2009-09-03 | 2010-09-03 | 0 |  |  |  | WORKING
76 | Refrigerator | LAB_REFR_T | 00098/REFR/2 | C | Electrolux 165 Litres |  |  | 2007-12-24 | Electrolux | Davey Pharma | OP | TNHSP | TNHSP/TNMSC/P2G5/2007 Dt-- 17.09.2007 | 2007-12-24 | 2008-12-23 | 10000 | AMC | 2011-02-28 | Davey Pharma | WORKING
22 | Infusion pump | CRD_INPM | 00098/INPM/2 | C | JMS OT701 | NA |  | 2007-09-08 | JMS | South Indian Surgicals | Children Ward | TNHSP | TNHSP/TNMSC/ENGG/CE7/2006 DT-- 25.10.2006 | 2007-09-08 | 2008-09-07 | 50000 | AMC | 2011-06-30 | South Indian Surgicals | WORKING
78 | Infusion pump | CRD_INPM | 00098/INPM/3 | C | JMS OT701 | NA |  | 2007-09-08 | JMS | South Indian Surgicals | Children Ward | TNHSP | TNHSP/TNMSC/ENGG/CE7/2006 DT-- 25.10.2007 | 2007-09-08 | 2008-09-07 | 50000 | AMC | 2011-06-30 | South Indian Surgicals | WORKING
79 | [19 empty] | WORKING
23 | Operation Table Hydraulic Major | OTE_TAMA | 00098/TAMA/5 | B2 | Jupiter 205 |  |  | 2007-11-29 | Jupiter Manufacturers | Jupiter Manufacturers | OT | TNHSP | TNHSP/TNMSC/P2E6/2007 Dt-- 11.09.2007 | 2007-11-29 | 2008-11-28 | 45000 | AMC | 2011-02-28 | Jupiter Manufacturers | WORKING
24 | Cardiac Monitor | CRD_EBSM | 00098/EBSM/1 | C | Microman NXT | NA |  | 2008-01-21 | Landamp;T | Landamp;T | OT | TNHSP | TNHSP/TNMSC/P2E9/2007 Dt-- 11.09.2007 | 2008-01-21 | 2009-01-20 | 35000 | AMC | 2011-02-28 | Landamp;T | WORKING
25 | Boyles apparatus with Ventilator | ANA_VEN_T | 00098/VEN/2 | B | Compact with ventilator | NA |  | 2008-01-28 | Landamp;T | Landamp;T | OT | TNHSP | TNHSP/TNMSC/P2E2/2007~ Dt-- 05.10.2007 | 2008-01-28 | 2009-01-27 | 350000 | AMC | 2011-02-28 | Landamp;T | WORKING
83 | [19 empty] | WORKING
84 | Radiant Warmer | NNE_RAWR | 00098/RAWR/2 | C | Nice 2007S |  |  | 2007-12-24 | Neo Tech | Madras Surgicals | Children Ward | TNHSP | TNHSP/TNMSC/P2E10/2007 Dt-- 19.09.2007 | 2007-12-24 | 2008-12-23 | 20000 | AMC | 2011-02-28 | Madras Surgicals | WORKING
85 | [19 empty] | WORKING
86 | Phototherapy Unit | NNE_PHTU | 00098/PHTU/2 | C | Nice 4000CF1 |  |  | 2007-12-24 | Madras Surgicals | Madras Surgicals | Labour Ward | TNHSP | TNHSP/TNMSC/P2E10/2007 Dt-- 19.09.2007 | 2007-12-24 | 2008-12-23 | 10000 | AMC | 2011-02-28 | Madras Surgicals | WORKING
87 | [19 empty] | WORKING
88 | [19 empty] | WORKING
89 | Pulse Oximeter | CRD_SPO2 | 00098/SPO2/3 | B | Stellar p |  |  | 2008-01-07 | Landamp;T | Landamp;T | OT | TNHSP | TNHSP/TNMSC/P2E9/2007 Dt-- 11.09.2007 | 2008-01-07 | 2009-01-06 | 50000 | AMC | 2011-02-28 | Landamp;T | WORKING
90 | [19 empty] | WORKING
91 | Generator | OTH_GEN_T | 00098/GEN/1 | C | EXK2800 |  |  | 2007-08-13 | HONDA | Fermier Engineers | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/P2G6/2007 Dt-- 18.07.2007 | 2007-08-13 | 2008-08-12 | 28000 | AMC | 2011-02-28 | Fermier Engineers | WORKING
26 | ECG Machine |  |  | B2 | BPL | NA |  | NA | BPL Medical Devices | BPL Medical Devices | OP | Donated | NA | NA | NA | 35400 |  |  |  | WORKING
1960485