## Sheet1 (2)
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
| Ultrasound scan | B2 | L&T/ Sonata | 456456 | 24.3.2003 | Larsen and Toubro | Scan room | DMS |  | 24.3.2003 | 23.3.2004 | 277366 | working
| Autoclave | B2 | vertical |  | 5.3.2008 | jupiter manufacturing |  | TNHSP |  | 5.3.2008 | 4.3.2009 |  | working
| Colposcope | B | ARI-II |  | 22.9.2013 | SISCO | NCD room | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011-21.4.2012 | 22.9.2013 | 21.9.2014 | 130000 | working
| ECG Machine | B2 | BPL Cardiart |  | 14.6.2013 | Madras surgicals | ECG room | PWS |  | 14.6.2013 | 13.6.2014 | 28000 | working
| Suction Apparatus | B2 |  |  | 16.2.2008 | Vinbiotech | ward | TNHSP |  | 16.2.2008 | 15.2.2009 | 7500 | working
| Suction Apparatus | B2 |  |  | 6.3.2009 | vishal hospital; steel and furniture | op | DMS |  | 6.3.2009 | 5.3.2010. | 5500 | Not working
| Suction Apparatus | B2 |  |  | 6.3.2009 | vishal hospital; steel and furniture | Casualty | DMS |  | 6.3.2009 | 5.3.2010 | 5500 | working
| Microscope | B2 |  |  | 9.6.2009 | Solokrafts | lab | TNHSP |  | 9.6.2009 | 8.6.2010 |  | working
| Microscope | B2 |  |  | 9.6.2009 | Solokrafts | lab | TNHSP |  | 9.6.2009 | 8.6.2010 |  | working
| Ph Meter | B | RPA- | 1209 | 12.6.2014 | RLT Instrumentation | LAB | TNHSP | TNHSP/TNMSC/AG87B/2013-1 | 12.6.2014 | 11.6.2015 | 57353 | working
| Electric Calorimeter | B | Easy lab | 0851113RBK | 17.3.2014 | Robonik | LAB | TNHSP | TNHSP/TNMSC/AG87B/2013 | 17.3.2014 | 16.3.2015 | 20302 | working
| Infusion Pump | B | Akas infu300 |  | 21.7.2007 | Akas medical pvt ltd | LW | DMS |  | 21.7.2007 | 20.7.2008 |  | working
| Semi auto analyser | B | PRETEST TOUCH |  | 20.4.2009 | Robonik | LAB | TNHSP |  | 20.4.2009 | 19.4.2010 | 44000 | working
| Radiant warmer | B | Pheonix/OCW100 |  | 29.3.1996 |  | LW | IPPV |  | 29.3.1996 | 28.3.1997 | 20500 | working
| Lab incubator | C | BDI |  | 9.6.2009 | Solokrafts | lab | TNHSP |  | 9.6.2009 | 8.6.2010 | 11953 | working
607974