## status_report-5
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 01/03/2003-01/03/2015
District : KARUR
Aravakurichi
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | working status
1 | Water Bath/Ultrasonic Water Bath | C | SMI-143 |  | 2014-07-23 | SM SCIENTIFIC INSTRUMENTS | LAB | TNHSP |  | 2014-08-19 | 2015-10-31 | 8427 | Working
2 | Mannual Colposcope | C |  |  | 2013-04-11 | SOUTH INDIA SURGICALS | NCD | TNHSP |  |  | 2013-04-11 | 136500 | Working
3 | PH meter | C | RPA-1GRTIONANPN | SN1129 | 2014-04-08 | RLTINSTRUMENTATION PVT LTD | LAB ROOM | TNHSP |  | 2014-04-11 | 2016-06-30 | 60221 | Working
4 | Pulse Oximeter | B2 | RAD8 | M71892 M71755 | 2014-04-10 | M/SGracemfg .and t-Trading andamp;co Delhi | OPERATION THETER | TNHSP | RCH-//TNMSC/ENGG/E67/2014 DT 05/03/14 | 2014-04-22 | 2019-03-14 | 140695 | Working
5 | Diathermy Machine (Electric Cautery) | B | ELSY360M | ASG-M+1406149 | 2014-06-20 | JBSMEDIITCC | OT | TNHSP | 17240/TNMSC/ENGG/2014-2 | 2014-06-20 | 2017-06-19 | 218000 | Working
6 | Multi Para Monitor | B2 | CM362 MULTIPARA MONITER | G3DL60252 | 2014-07-22 | TRANS HEALTH CARE INDIA PVT LTD | OT | TNHSP | 17240/TNMSCENGG/20143 | 2014-07-22 | 2017-07-21 | 60000 | Working
7 | Binocular Mircroscope | B2 | BDI | 22262~22263 | 2009-06-09 | S0LAR KRAFT | LAB | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009~28/01/09 | 2011-06-09 | 2010-09-09 | 18786 | Working
8 | Centrifuge | C | BDI154 | BDI73861 | 2009-06-30 | SOLOKRAFT | LAB | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009/28.01.09 | 2010-09-09 |  | 10873 | Working
9 | Weighing machine adult | C |  |  |  |  | Labour ward |  |  |  |  | 0 | Excess
10 | Alpha Bed with motor | C |  |  |  | Associated surgical | Store |  |  |  |  | 0 | Excess
11 | Alpha Bed with motor | C |  |  |  | Associated surgical | Store |  |  |  |  | 0 | Excess
12 | Alpha Bed with motor | C |  |  |  | Associated surgical | Store |  |  |  |  | 0 | Excess
13 | Alpha Bed with motor | C |  |  |  | Associated surgical | Store |  |  |  |  | 0 | Excess
14 | Ultra Sonogram -MOBILE | B |  |  |  | LandT | Scanroom |  |  |  |  | 311537 | Working
15 | Ultra Sonogram -MOBILE | B |  |  |  |  | Scanroom |  |  |  |  | 0 | Excess
16 | Lab Incubator | C |  |  |  |  | Store |  |  |  |  | 11963 | Working
17 | Semi auto analyser | B2 | Priestest |  | 2009-04-22 | Robonik | lab |  |  | 2009-04-22 | 2010-04-22 | 60960 | Working
18 | Nebuliser Adult | C |  |  |  |  | Store |  |  |  |  | 0 | Excess
19 | Needle destroyer / Syringe Destroyer | C |  |  |  |  | Store |  |  |  |  | 0 | Excess
20 | Auto Clave HP Vertical (2 bin) | C |  |  | 2008-12-17 | Jupiter | Store |  |  | 2008-12-17 | 2009-12-17 | 25200 | Working
21 | Auto Clave HP Vertical (2 bin) | C |  |  | 2008-12-17 | Jupiter | Store |  |  | 2008-12-17 | 2009-12-17 | 0 | Excess
22 | Formaline dispenser | C |  |  |  |  | Store |  |  |  |  | 0 | Excess
23 | Suction Apparatus - Electrical | C |  |  |  |  | Labour ward |  |  |  |  | 0 | Excess
24 | Suction Apparatus - Electrical | C |  |  | 2009-04-17 | Vishal surgicals | Wards |  |  | 2009-04-17 | 2010-04-17 | 3500 | Working
25 | Suction Apparatus - Electrical | C |  |  | 2009-04-17 | Vishal surgicals | Wards |  |  | 2009-04-17 | 2010-04-17 | 3500 | Working
26 | Suction Apparatus - Electrical | C |  |  | 2009-04-17 | Vishal surgicals | Wards |  |  | 2009-04-17 | 2010-04-17 | 3500 | Working
27 | Suction Apparatus - Electrical | C |  |  | 2009-04-17 | Vishal surgicals | Wards |  |  | 2009-04-17 | 2010-04-17 | 3500 | Working
28 | Suction Apparatus - Electrical | C |  |  | 2009-04-17 | Vishal surgicals | Wards |  |  | 2009-04-17 | 2010-04-17 | 3500 | Working
29 | Suction Apparatus - Electrical | C |  |  | 2009-04-17 | Vishal surgicals | Wards |  |  | 2009-04-17 | 2010-04-17 | 3500 | Working
30 | Suction Apparatus - Electrical | C |  |  | 2009-04-17 | Vishal surgicals | Wards |  |  | 2009-04-17 | 2010-04-17 | 0 | Excess
31 | ECG machine ordinary | B |  |  |  |  | Store |  |  |  |  | 0 | Excess
32 | Alpha Bed with motor | C |  |  |  | Associated surgical | Store |  |  |  |  | 0 | Excess
33 | ECG machine ordinary | B |  |  |  |  | Store |  |  |  |  | 32840 | Working
34 | Alpha Bed with motor | C |  |  |  | Associated surgical | Store |  |  |  |  | 0 | Excess
35 | Operation table Hydraulic Minor | B2 |  |  | 2008-12-20 | jupiter | O.T | TNHSP |  |  |  | 102800 | Working
36 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-09-18 | GLO LITE | CASULITY | TNHSP |  |  |  | 0 | Condemned
37 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-09-18 | GLO LIT | WARD | TNHSP |  |  |  |  | Condemned
38 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-09-18 | GLOLITE CARE | O.P | TNHSP |  |  |  | 0 | Condemned
39 | Needle destroyer / Syringe Destroyer | C |  |  | 2008-09-18 | GLO LITE | WARD | TNHSP |  |  |  | 0 | Excess
40 | Centrifuge | C |  |  | 2009-06-30 | SOLAR KRAFTS | STORE | TNHSP |  |  |  | 10873 | Working
41 | Hot Air Oven/Hot Air Oven Digital/Digital Oven | C |  |  | 2009-06-30 | SOLARKRAFTS | LAB | TNHSP |  |  |  | 11963 | Working
42 | Radiant Warmer | C |  |  | 2008-11-17 | PHOENIX | L.W | TNHSP |  |  |  | 37440 | Working
43 | X-ray Machine 100 mA | B2 |  |  | 2009-08-21 | ALLENGERS | X RAY ROOM | TNHSP |  |  |  | 273417 | Working
44 | Pulse Oximeter | B2 |  |  | 2010-04-30 |  | OT | JDHS |  |  |  | 0 | Excess
45 | Boyles Apparatus with Fluotec and circle absorber | B |  |  | 2008-11-17 | SOLAR KRAFTS | OT | TNHSP |  |  |  | 85250 | Working
46 | Shadowless Lamp stand model | B |  |  | 2008-12-20 | JUPITER | OT | TNHSP |  |  |  | 38100 | Working
47 | Operation table Hydraulic Minor | B2 |  |  | 2010-04-30 |  | OT | JDHS |  |  |  | 0 | Excess
48 | Radiant Warmer | C |  |  | 2008-11-17 | PHOENIX | OT | TNHSP |  |  |  | 0 | Excess
49 | Electric Calorimeter | C | prietest | PEL0301213RBK | 2014-03-05 | robonick | LABORATORY | TNMSC | TNHSP/TNMSC/AG87b/2013-2 28/11/2013 | 2014-03-11 | 2015-03-10 | 0 | Excess
50 | Ringlens System | C | magnascope |  | 2012-03-28 | solokraft | NCD ROOM | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 | 2012-06-30 | 2015-01-23 | 24331 | Working
51 | Phototherapy Unit | C | CFL- 101 | 6565 | 2014-12-17 | PHOENIX MEDICAL SYSTEM | NEW BORN WARD | TNHSP | 5334/S1/2014 17/11/2014 | 2015-01-02 | 2016-01-02 | 13125 | Working
52 | Electric Shaker | C | BDI149 |  | 2014-10-17 | SOLOKRAFT | LAB ROOM | TNMSC | TNHSP/TNMSC/AG87f(R)/2014 | 2015-01-08 | 2016-06-19 | 32200 | Working
1746501