## Major Equip
MAJOR EQUIPMENTS -GOVERNMENT HOSPITAL-Nannilam
S.NO | Name of the Equipments | Category | Model | Serial No | Date of receipt | Supplier Name | Location | Source of supply | Purchase Order | Installation Date | Warranty/AMC | Cost | Working/Not Working
1 | Boyles Apparatus Complete | B2 | IOL | - | - | - | Operation Theatre | - | - | - | - | 85200 | Working
2 | Boyles Apparatus Complete | B2 | IOL | - | - | - | Operation Theatre | - | - | - | - | 85200 | Working
3 | Radiant warmer | C | OCW-100 | 3004 | 21.11.2008 | Datex Ohmeda | NBSU | TNHSP | TNHSP/TNMSC/P3E9/2008 dt 29.08.2008 | 21.11.2008 | - | 18720 | working
4 | Baby Incubator | B2 | Nice 3010R | 8010950 | 08.01.2008 | Madras Surgicals & Chemicals | NBSU | TNHSP | TNHSP/TNMSC/P2E3/2007 dt 11.9.2007 | 08.01.2008 | - | 40795 | Working
5 | Pulse Oximeter | B2 | Stellar P | S07P25300 | 08.01.2008 | L & T | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E9/2007 dt 11.09.2007 | 08.01.2008 | - | 34763 | Working
6 | Pulse Oximeter | B2 | 900 | EE07F01184 | 28.07.2009 | Madras Surgicals & Chemicals | cASUALITY | NRHM | 02/NRHM/HSP/TNMSC dt 25.06.2004 | 28.07.2009 | - | 24648 | Working
7 | Pulse Oximeter | B2 | 8600 Pulse Oximeter | 104004850 | 29.08.2007 | Joint Director of Health Services Tiruvarur | LABOUR Ward | - | 14262/TNMSC/EQUP/98 DT 14.11.1998 | 29.08.2007 | - | 34000 | working
8 | Pulse Oximeter | B2 | Rad-8 | M71628 | 22.04.2014 | Grace Mfg Trading Co | Casuality | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 22.04.2014 | 21.04.2017 | 68968 | Working
9 | Pulse Oximeter | B2 | Rad-8 | M71614 | 22.04.2014 | Grace Mfg Trading Co | Operation Theatre | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 22.04.2014 | 21.04.2017 | 68968 | Working
10 | Foetal Doppler | C | fetotrax C | - | 29.05.2008 | Vibash surgicals, coimbatore | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E14/2008 dt 31.01.2008 | 29.05.2008 | - | 6000 | Working
11 | Foetal Doppler | C | A100H | - | 29.08.2014 | Mediwaves Inc, Delhi | Labour Ward | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 29.08.2014 | 28.08.2017 | 4650 | Working
12 | Foetal Doppler | C | A100H | - | 29.08.2014 | Mediwaves Inc, Delhi | Labour Ward | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 29.08.2014 | 28.08.2017 | 4650 | Working
13 | Semi Auto Analyser | B2 | Prietest Touch | AT0860209RBK | 13.04.2009 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 28.01.2009 | 13.04.2009 | - | 60690 | Working
14 | Binocular Microscope | B2 | BDI-13A | 22709 | 25.01.2014 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87/2013/DT 22.10.2014 | 25.01.2014 | 24.01.2017 | 18600 | Working
15 | Binocular Microscope | B2 | BDI-13A | 22820 | 25.01.2014 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87/2013/DT 22.10.2014 | 25.01.2014 | 24.01.2017 | 18600 | Working
16 | Binocular Microscope | B2 | BDI-13 | 22356 | 11.06.2009 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 29.1.2009 | 11.06.2009 | - | 9393 | Condem
17 | Binocular Microscope | B2 | BDI-13B | 21876 | 09.06.2009 | Solokrafts Industries, Chennai | Laboratory | - | - | 09.06.2009 | - | 9393 | Working
18 | Hot Air Oven | C | BDI-50 | - | 09.06.2009 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2008 dt 18.08.2008 | 09.06.2009 | - | 11953 | Working
19 | Incubator | C | - | - | 09.06.2009 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2008 dt 18.08.2008 | 09.06.2009 | - | 11953 | Working
20 | Centrifuge with 8 Buckets | C | BDI-154 | 79826 | 09.06.2009 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 28.01.2009 | 09.06.2009 | - | 10873 | Working
21 | Ultrasonogram | B2 | Logiq P3 | 56637WS2 | 24.12.2009 | Wipro GE Healthcare pvt Ltd | Scan Room | TNHSP | TNHSP/TNMSC/ICB/P3E24/2009 dt 20.05.2009 | 24.12.2009 | - | 688296 | Working
22 | Ultrasonogram | B2 | 600A | U32020970477DHE1 | 22.08.2009 | vin Biotech Systems | Scan Room | DMS | 39060/S&P/1/2009 dt 29.06.2009 | 22.08.2009 | - | 270000 | working
23 | ECG Machine | B | Cardiotouch 3000 | T2L0900091 | 16.11.2011 | JK Medical systems | Casuality | TNHSP | TNHSP/TNMSC/ENGG/AG21/2010 dt 22.08.2011 | 16.11.2011 | - | 69923 | Working
24 | ECG Machine | B | SE-1 | - | - | Madras Surgicals & Chemicals | NCD Room | - | - | - | - | 38000 | Working
25 | ECG Machine | B | SE-3 | 309035-M11801710088 | 08.08.2012 | Madras Surgicals & Chemicals | Casuality | - | Received from Govt. Hospital-Mannargudi | 08.08.2012 | - | 38469 | Working
26 | Cryotheraphy | C | CRYO-004B | - | 18.01.2012 | Solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/AG30A/2011 dt 14.10.2011 | 18.01.2012 | - | 24331 | Working
27 | Maganvision lamp | C | Magnascope | - | 18.01.2012 | solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 dt 19.10.2011 | 18.01.2012 | - | 7337 | Working
28 | Manual Colposcope | C | ARI-II-ID | - | 10.09.2012 | South India Surgicals | Via/Vili Room | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 dt 21.4.2012 | 10.09.2012 | - | 136500 | Working
29 | Radiant warmer | C | 2007s | - | 07.10.2009 | Madras Surgicals & Chemicals | NBSU | TNHSP | 02/NRHM/HSP/TNMSC/09 dt 01.09.2009 | 07.10.2009 | - | 18387 | Working
30 | Radiant warmer | C | 2007s | - | 07.10.2009 | Madras Surgicals & Chemicals | Labour Ward | TNHSP | 02/NRHM/HSP/TNMSC/09 dt 01.09.2009 | 07.10.2009 | - | 18387 | Working
31 | Radiant warmer | C | 2007s | - | 07.10.2009 | Madras Surgicals & Chemicals | Operation Theatre | TNHSP | 02/NRHM/HSP/TNMSC/09 dt 01.09.2009 | 07.10.2009 | - | 18387 | Working
32 | Rotary Shaker | C | BDI-149 | - | 21.08.2014 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87f(R)/2014-2 dt 19.05.2014 | 21.08.2014 | 20.08.2017 | 32200 | Working
33 | Digital PH Meter | C | RPA-1GRTIOANPN | - | - | RLT Instrumentation, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-1 dt 28.11.2013 | - | - | 57353 | Working
34 | Water Bath | C | SMI-143 | - | 21.10.2014 | S.M.Scientific Instruments Pvt Ltd, Delhi | Laboratory | TNHSP | TNHSP/TNMSC/AG87h(R)/2014 dt 10.04.2014 | 21.10.2014 | 20.10.2015 | 8262 | Working
35 | Multiparamonitor | B2 | G3D | G3DL60102 | 26.07.2014 | Transhealth Care, Chennai | Operation Theatre | TNMSC | 17240/TNMSC/ENGG/2014-3 dt 16.05.2014 | 26.07.2014 | 25.07.2017 | 189000 | Working
36 | Multiparamonitor | B2 | Innoava 10CIR | C11302BJ38 | 09.03.2013 | Concept integration | Operation Theatre | TNHSP | TNHSP/TNMSC/AG14/2012 dt 21.11.2012 | 09.03.2013 | - | 56000 | Working
37 | Diathermy | B2 | ELSY 360M+ | ASG-M+1406179 | 28.06.2014 | JBS Mediitec india pvt ltd | Operation Theatre | TNMSC | 17240/TNMSC/ENGG/2014-2 dt 16.05.2014 | 28.06.2014 | 27.06.2017 | 218000 | Working
38 | Diathermy | B2 | MX-250 | - | - | - | Operation Theatre | - | - | - | - | 18000 | Working
39 | Haemoglobinometer | C | BDI-56 | 201469 | 12.02.2015 | Solokrafts Industries, Chennai | LABORATORY | TNHSP | TNHSP/TNMSC/ENGG/AG87b/2014 dt 25.07.2014 | 12.02.2015 | 11.02.2015 | 10185 | Working
40 | Phototheraphy | C | sunshine | - | 05.09.2009 | Jupiter Mfg works | NBSU | NRHM | 02/NRHM/HSP/TNMSC/09 dt 25.06.2009 | 05.09.2009 | - | 21216 | Working
41 | Phototheraphy | C | sunshine | - | 05.09.2009 | Jupiter Mfg works | Transferred to GH- Koothanallur | NRHM | 02/NRHM/HSP/TNMSC/09 dt 25.06.2009 | 05.09.2009 | - | 21216 | Working
42 | Dental Chair | B2 | - | - | - | Confident | Dental room | - | - | - | - | 147000 | Working
43 | Dental Autoclave | C | - | - | - | Confident | Dental room | - | - | - | - | 25000 | Working
44 | Automated External Defibrillator | B2 | Heart start FRx | B12D-00165 | 10.10.2012 | Philips Electronics India | Operation Theatre | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 dt 12.3.12 | 10.10.2012 | 09.10.2015 | 58696 | Working
45 | Shadowless lamp | B | Hospitech | - | - | - | Operation Theatre | - | - | - | - | 26000 | Working
46 | Shadowless lamp | B | Hospitech | - | - | - | Operation Theatre | - | - | - | - | 26000 | Working
47 | Shadowless lamp | B | Hospitech | - | - | - | Operation Theatre | - | - | - | - | 26000 | Working
48 | Shadowless lamp | B | Hospitech | - | - | - | Operation Theatre | - | - | - | - | 26000 | Working
49 | Shadowless lamp | B | Arko | - | - | - | Labour Ward | - | - | - | - | 12000 | Working
50 | Focus Lamp | C | - | - | 30.01.2015 | General surgicals Company | Labour ward | TNMSC | 114/TNMSC/ENGG/2013 dt 08.12.2014 | 30.01.2015 | 29.01.2018 | 24937 | Working
51 | Focus Lamp | C | - | - | 30.01.2015 | General surgicals Company | Labour ward | TNMSC | 114/TNMSC/ENGG/2013 dt 08.12.2014 | 30.01.2015 | 29.01.2018 | 24937 | Working
52 | Focus Lamp | C | - | - | 30.01.2015 | General surgicals Company | Labour ward | TNMSC | 114/TNMSC/ENGG/2013 dt 08.12.2014 | 30.01.2015 | 29.01.2018 | 24937 | Working
53 | Vertical autoclave | C | - | - | 03.08.2009 | - | Operation Theatre | - | Received from Govt. Hospital-Mannargudi | 03.08.2009 | - | 31200 | Working
54 | Vertical autoclave | C | - | - | 03.08.2009 | - | Operation Theatre | - | Received from Govt. Hospital-Mannargudi | 03.08.2009 | - | 31200 | Working
55 | Vertical autoclave | C | - | - | 03.08.2009 | - | Operation Theatre | - | Received from Govt. Hospital-Mannargudi | 03.08.2009 | - | 31200 | Working
56 | Operation table | B2 | - | - | 18.08.2003 | - | Operation Theatre | - | - | 18.08.2003 | - | 35600 | Working
57 | Operation table | B2 | - | - | 18.08.2003 | - | Operation Theatre | - | - | 18.08.2003 | - | 35600 | Working
58 | Heavy duty Washing Machine | C | - | - | 22.01.2010 | Solokrafts Industries, Chennai | Washing room | NRHM | 01/NRHM/HSP/TNMSC/2009 WM dt 25.08.2009 | 22.01.2010 | - | 224865 | Working
59 | 15 KVA Generator | C | BEW-15 |  | 11.11.2009 | Eakcom systems | Generator room | NRHM | 01/NRHM/HSP/TNMSC/2009 WM dt 25.08.2009 | 11.11.2009 | - | 260624 | Working
60 | Infusion Pump | C | LPM-50 | 122009316 | 31.03.2010 | Jupiter Mfg works | Operation Theatre | NRHM | 02/NRHM/HSP/TNMSC/2009 dt 25.08.2009 | 31.03.2010 | - | 30680 | Working
61 | Infusion Pump | C | LPM-50 | 122009373 | 31.03.2010 | Jupiter Mfg works | Female ward | NRHM | 02/NRHM/HSP/TNMSC/2009 dt 25.08.2009 | 31.03.2010 | - | 30680 | Working
62 | Infusion Pump | C | Evadrop MP-1000 | mp1alh385 | 05.09.2012 | Schiller | Casuality | TNHSP | TNHSP/TNMSC/AG16/2010 dt 01.07.2011 | 05.09.2012 | - | 26418 | Working
63 | Electric Colorimeter | C | Prietest Easylab | PEL1101213RBK | 27.03.2014 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-2/dt 28.11.2013 | 27.03.2014 | 26.03.2015 | 20302 | Working
64 | Foetal Doppler | C | Neodop | - | 03.04.1998 | - | ANC Room | - | Received from GH-Thiruvarur | 03.04.1998 | - | 6000 | Working
65 | Foetal Doppler | C | MWI-99 | - | 27.08.2003 | Associated Surgicals | Labour ward | DMS | 25036/S&P/1/2003 dt 12.06.2003 | 27.08.2003 | - | 5150 | Working
3778492

## Minor Equip
Minor Equipments
Government District Headquarters Hospital -Nannilam
S.no | Equipment Name | Oty | Cost of each item(Rs) | Total Cost(Rs) | Working/ Not working
1 | BP Apparatus | 15 | 2300 | 34500 | working
2 | Nebuliser | 2 | 2000 | 5000 | working
3 | Baby Weighing machine | 3 | 750 | 2250 | working
4 | BP Apparatus Standing Model | 3 | 2500 | 7500 | working
5 | Suction Apparatus | 10 | 6000 | 60000 | working
6 | Baby Weighing machine(Electronics) | 2 | 10000 | 20000 | working
7 | Adult Weighing machine | 4 | 2000 | 8000 | working
8 | Hub Cutter | 10 | 1000 | 10000 | working
9 | Electric Sterilizer | 2 | 1400 | 2800 | working