## status_report (5)
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 01/01/2004-02/03/2015
District : COIMBATORE
Institution : SULUR
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | CPC Code | Date of Receipt | Manufacturer Name | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | If AMC available | AMC valid upto | AMC agency name | Working Status
1 | Water Bath/Ultrasonic Water Bath | LAB_WBAT | 00094/WBAT/1 | C | SMI-143 |  |  | 2014-05-23 | S.M.SCIENTIFIC INSTRUMENTS | S.M.SCIENTIFIC INSTRUMENTS PVT.LTD |  | TNHSP | TNHSP/TNMSC/AG87HR2014/ |  |  | 8262
1 | Binocular Mircroscope | LAB_BIMS | 00094/BIMS/1 | B2 | BD13A | 22775 |  | 2014-01-22 | SOLOKRAFTS INDUSTRIES | SOLOKRAFTS INDUSTRIES | LAB | TNHSP | TNHSP/TNMSC/AG87C/2013 | 2014-01-19 | 2015-01-18 | 18600 |  |  |  | WORKING
3 | PH meter | LAB_PHMT | 00094/PHMT/1 | C | RPA-1GRTIOANPN | 1076T |  | 2014-04-17 | RLT INSTRUMETATION | RLT INSTRUMENTATION-PVT LTD |  | TNHSP | TNHSP/TNMSC/AG87B/2013-1 |  |  | 57353 |  |  |  | WORKING
4 | Electric Calorimeter | LAB_CALO | 00094/CALO/1 | C | PEL0061213RBK | PEL0061213RBK |  | 2014-04-24 | ROBONIK | ROBONIK-INDIA-P-LTD |  | TNMSC | TNHSP/TNMSC/AG87B/2013-2 |  |  | 20302 |  |  |  | WORKING
2 | Mannual Colposcope | GYN_CALPM | 00094/CALPM/1 | C | ARI11-ID | R20130127 |  | 2013-02-16 | SOUTH INDIA SURGICAL | SOUTH INDIA SURGICAL | NCD ROOM | TNHSP | I/DCM/12-13 | 2013-02-20 | 2014-04-06 | 130000 | NO AMC |  |  | WORKING
6 | Weighing machine adult | NNE_WTMA | 00094/WTMA/1 | C | [6 empty] | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
7 | Radiant Warmer | NNE_RAWR | 00094/RAWR/1 | C | hydraulic |  |  | 2007-02-09 | Reico | Reliance Instruments Corpoiration | BOT | TNHSP |  | 2007-02-09 | 2008-02-09 | 0 |  |  |  | WORKING
3 | Radiant Warmer | NNE_RAWR | 00094/RAWR/6 | C | Nice 2007S | NA |  | 2008-12-24 | Madras Surgicals | Madras Surgicals | Children Ward | TNHSP | TNHSP/TNMSC/P2E10/2007 Dt-- 19.09.2007 | 2008-12-24 | 2009-12-24 | 20000 |  |  |  | WORKING
9 | Radiant Warmer | NNE_RAWR | 00094/RAWR/3 | C | [5 empty] | Neotech | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
10 | Radiant Warmer | NNE_RAWR | 00094/RAWR/4 | C | 1 |  |  |  |  | Neotech | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
11 | Phototherapy Unit | NNE_PHTU | 00094/PHTU/1 | C | [6 empty] | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
4 | Foetal Doppler | NNE_FDOP | 00094/FDOP/1 | C |  |  |  | 2008-04-11 | VIBASH CBE |  | LABOURWARD | TNHSP |  | 2008-04-11 | 2009-04-11 | 0 |  |  |  | WORKING
13 | Weighing machine adult | NNE_WTMA | 00094/WTMA/2 | C |  |  |  | 2008-06-10 | JUPITER |  | OP | TNHSP |  | 2008-06-10 | 2009-06-10 | 0 |  |  |  | WORKING
5 | Radiant Warmer | NNE_RAWR | 00094/RAWR/5 | C |  |  |  | 2007-12-24 |  | Phoenix | WARD | TNHSP |  | 2007-12-24 | 2008-12-23 | 0 |  |  |  | WORKING
4 | Baby Incubators | NNE_BINC | 00094/BINC/2 | C |  |  |  | 2008-12-24 |  | NEOTECG | CH.WD | TNHSP |  | 2008-12-24 | 2009-12-24 | 0 |  |  |  | WORKING
16 | Baby Incubators | NNE_BINC | 00094/BINC/3 | C |  |  |  | 2009-12-24 |  | PHOENIX | NB-3~AN | TNHSP |  | 2009-12-24 | 2010-12-24 | 0 |  |  |  | WORKING
7 | Phototherapy Unit | NNE_PHTU | 00094/PHTU/2 | C |  |  |  | 2009-12-24 |  | PHOENIX | NB-3~AN | TNHSP |  | 2009-12-24 | 2010-12-24 | 0 |  |  |  | WORKING
8 | Phototherapy Unit | NNE_PHTU | 00094/PHTU/3 | C |  |  |  | 2009-04-17 | 7A 23D |  | AN-2.NB-2 | TNHSP |  | 2009-04-17 | 2010-04-17 | 0 |  |  |  | WORKING
19 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/7 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
20 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/8 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
21 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/9 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
9 | Suction Apparatus - Electrical | OTE_SAEL | 00094/SAEL/1 | C | [6 empty] | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
10 | Autoclave vertical single bin | OTE_ACV1 | 00094/ACV1/1 | C | [6 empty] | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
24 | Cardiac Monitor | CRD_EBSM | 00094/EBSM/1 | C |  |  |  | 2008-01-09 | NEOTECG | Madras Surgicals and Chemicals | AN-2.NB-2 | TNHSP |  | 2008-01-09 | 2009-01-08 | 0 |  |  |  | WORKING
25 | Operation Table Hydraulic Major | OTE_TAMA | 00094/TAMA/1 | B2 | LandT |  |  | 2008-01-08 |  | LandT | MOT | TNHSP |  | 2008-01-08 | 2009-01-07 | 0 |  |  |  | WORKING
5 | Suction Apparatus - Electrical | OTE_SAEL | 00094/SAEL/2 | C | NA | NA |  | 2008-12-24 | Jupiter Manufacturing Works | Jupiter Manufacturing Works | New Born Ward | TNHSP | NA | 2008-12-24 | 2009-12-24 | 7500 |  |  |  | WORKING
6 | Suction Apparatus - Electrical | OTE_SAEL | 00094/SAEL/3 | C | NA | NA |  | 2007-01-11 | Jupiter Manufacturing Works | Jupiter Manufacturing Works | NICU | TNHSP | NA | 2007-01-11 | 2008-01-11 | 5875 |  |  |  | WORKING
28 | Suction Apparatus - Foot operated | OTE_SAFO | 00094/SAFO/1 | B |  |  |  | 2008-03-07 |  | VINBIOTECH | NICU | TNHSP |  | 2008-03-07 | 2009-03-07 | 0 |  |  |  | WORKING
29 | Suction Apparatus - Foot operated | OTE_SAFO | 00094/SAFO/2 | B | [5 empty] | Neotech | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
30 | Suction Apparatus - Foot operated | OTE_SAFO | 00094/SAFO/3 | B | [5 empty] | Neotech | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
31 | Lab Incubator | LAB_INCU | 00094/INCU/1 | C | 1 |  |  |  |  | Neotech | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
32 | Lab Incubator | LAB_INCU | 00094/INCU/2 | C | [6 empty] | Labour ward |  |  |  |  | 0 |  |  |  | WORKING
33 | Nebuliser Adult | OTH_NEBA_T | 00094/NEBA/1 | C | [6 empty] | Male ward |  |  |  |  | 0 |  |  |  | WORKING
34 | B.P.apparatus table model | CRD_BPAT | 00094/BPAT/1 | C | [6 empty] | FSWard |  |  |  |  | 0 |  |  |  | WORKING
7 | Cryotheraphy unit |  |  | B2 | CRYO-0004B | NA |  | 24/3/2012 | SOLOKRAFTS | SOLOKRAFTS | OT | TNHSP |  | 24/03/2013 | 24/03/2014 | 24331 |  |  |  | WORKING
14 | Boyles apparatus with Ventilator | ANA_VEN_T | 00094/VEN/1 | B | LandT |  |  |  |  | LandT | Eye OT |  |  |  |  | 0 |  |  |  | WORKING
37 | Operating Microscope(Eye) | EYE_OMS_T | 00094/OMS/1 | B | Aravind Pondy |  |  |  |  | Aravind Pondy | Eye OT |  |  |  |  | 0 |  |  |  | WORKING
8 | ECG MACHINE | OTE_TAMA | 00094/TAMA/2 | B2 | CARDIART | 6108T |  | 24/05/2009 | BPL MEDICAL | BPL MEDICAL | OPD | TNHSP | NA | 28/05/2009 | 27/05/2010 | 31200 |  |  |  | WORKING
39 | Cardiac Monitor with defibrillator | CRD_DEFI | 00094/DEFI/1 | C | [6 empty] | AE Ward |  |  |  |  | 0 |  |  |  | WORKING
40 | Sterilizer Medium (Instrument) | OTE_STMD | 00094/STMD/1 | C | Philips |  |  | 2008-04-25 | Madras surgicals | Philips | OP | TNHSP |  | 2008-04-25 | 2009-04-25 | 0 |  |  |  | WORKING
41 | Sterilizer Medium (Instrument) | OTE_STMD | 00094/STMD/2 | C |  |  |  | 2008-04-25 | suryssurgical |  | OP | TNHSP |  | 2008-04-25 | 2009-04-25 | 0 |  |  |  | WORKING
42 | Sterilizer Medium (Instrument) | OTE_STMD | 00094/STMD/3 | C |  |  |  | 2009-04-25 | suryssurgical |  | WARD | TNHSP |  | 2009-04-25 | 2010-04-25 | 0 |  |  |  | WORKING
43 | Sterilizer Medium (Instrument) | OTE_STMD | 00094/STMD/4 | C |  |  |  | 2009-04-25 | suryssurgical |  | WARD | TNHSP |  | 2009-04-25 | 2010-04-25 | 0 |  |  |  | WORKING
44 | Sterilizer Medium (Instrument) | OTE_STMD | 00094/STMD/5 | C |  |  |  | 2009-04-25 | suryssurgical |  | WARD | TNHSP |  | 2009-04-25 | 2010-04-25 | 0 |  |  |  | WORKING
45 | Sterilizer Medium (Instrument) | OTE_STMD | 00094/STMD/6 | C |  |  |  | 2009-04-25 | suryssurgical |  | WARD | TNHSP |  | 2009-04-25 | 2010-04-25 | 0 |  |  |  | WORKING
46 | Sterilizer Medium (Instrument) | OTE_STMD | 00094/STMD/7 | C |  |  |  | 2010-04-25 | JUPITER |  | OT | TNHSP |  | 2010-04-25 | 2011-04-25 | 0 |  |  |  | WORKING
47 | Sterilizer Medium (Instrument) | OTE_STMD | 00094/STMD/8 | C |  |  |  | 2010-04-25 | JUPITER |  | OT | TNHSP |  | 2010-04-25 | 2011-04-25 | 0 |  |  |  | WORKING
9 | Auto Clave HP Vertical (2 bin) | OTE_ACV2 | 00094/ACV2/1 | C | NA | NA |  | 2010-04-25 | JUPITER | JUPITER | OT | TNHSP | NA | 2010-04-25 | 2011-04-25 | 28500 |  |  |  | WORKING
49 | Dental Unit with motor for dental OP | DEN_DEUN | 00094/DEUN/1 | B2 |  |  |  | 2008-06-21 | SS CHEMICAL |  | STORE | TNHSP |  | 2008-06-21 | 2009-06-21 | 0 |  |  |  | WORKING
50 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/1 | C |  |  |  | 2008-11-05 |  |  |  | TNHSP |  | 2008-11-05 | 2009-11-05 | 0 |  |  |  | WORKING
51 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/2 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
52 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/3 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
53 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/4 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
54 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/5 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
55 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/6 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
56 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/10 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
57 | Needle destroyer / Syringe Destroyer | OTH_NEED_T | 00094/NEED/11 | C |  |  |  | 2008-10-25 | RSPROSPARK |  |  | TNHSP |  | 2008-10-25 | 2009-10-25 | 0 |  |  |  | WORKING
58 | Cardiac Monitor with defibrillator | CRD_DEFI | 00094/DEFI/2 | C |  |  |  | 2008-02-20 | RSPROSPARK |  |  | TNHSP |  | 2008-02-20 | 2009-02-19 | 0 |  |  |  | WORKING
59 | Suction Apparatus - Electrical | OTE_SAEL | 00094/SAEL/4 | C |  |  |  | 2008-02-12 | PHILLIPS |  |  | TNHSP |  | 2008-02-12 | 2009-02-11 | 0 |  |  |  | WORKING
60 | Suction Apparatus - Electrical | OTE_SAEL | 00094/SAEL/5 | C |  |  |  | 2008-01-08 |  |  |  | TNHSP |  | 2008-01-08 | 2009-01-07 | 0 |  |  |  | WORKING
61 | Cardiac Monitor | CRD_EBSM | 00094/EBSM/2 | C |  |  |  | 2008-01-08 |  |  |  | TNHSP |  | 2008-01-08 | 2009-01-07 | 0 |  |  |  | WORKING
10 | Pulse Oximeter | CRD_SPO2 | 00094/SPO2/1 | B | STELLAR | NA |  | 2008-01-08 | L&T MEDICAL SYS | L&T MEDICAL SYS | OT | TNHSP | NA | 2008-01-08 | 2009-01-07 | 15800 |  |  |  | WORKING
11 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00094/BACA/2 | B | LIFELINE | NA |  | 2008-01-08 | Madras Surgicals | Madras Surgicals | OT | TNHSP | NA | 2008-01-08 | 2009-01-07 | 82000 |  |  |  | WORKING
12 | Operation Table Hydraulic Major | OTE_TAMA | 00094/TAMA/3 | B2 | NA | NA |  | 2007-11-27 | JUPITER | JUPITER | OT | TNHSP | NA | 2007-11-27 | 2008-11-26 | 55000 |  |  |  | WORKING
65 | Refrigerator | LAB_REFR_T | 00094/REFR/1 | C |  |  |  | 2007-12-24 | DAWNVORA | DAWNVORA |  | TNHSP |  | 2007-12-24 | 2008-12-23 | 0 |  |  |  | WORKING
66 | Refrigerator | LAB_REFR_T | 00094/REFR/2 | C |  |  |  | 2007-12-24 |  | Phoenix | WARD | TNHSP |  | 2007-12-24 | 2008-12-23 | 0 |  |  |  | WORKING
67 | Refrigerator | LAB_REFR_T | 00094/REFR/3 | C |  |  |  | 2007-12-24 |  | Phoenix | WARD | TNHSP |  | 2007-12-24 | 2008-12-23 | 0 |  |  |  | WORKING
13 | Suction Apparatus - Electrical | OTE_SAEL | 00094/SAEL/6 | C | 7A 23D | NA |  | 2009-04-17 | YUYUE | JUPITER | AN-2.NB-2 | TNHSP | NA | 2009-04-17 | 2010-04-17 | 4500 |  |  |  | WORKING
14 | Operation Table Hydraulic Major | OTE_TAMA | 00094/TAMA/4 | B2 | HYDRALIC |  |  | 2007-11-30 |  | JUPITER |  | TNHSP |  | 2007-11-30 | 2008-11-29 | 0 |  |  |  | WORKING
15 | Semi auto analyser | LAB_SEAA | 00094/SEAA/1 | B2 | PRIETEST | AT0390314RBK |  | 2007-11-26 | PRETOUCH | ROBONIK INDIA |  | TNHSP | NA | 2007-11-26 | 2008-11-25 | 48426 |  |  |  | WORKING
71 | Semi auto analyser | LAB_SEAA | 00094/SEAA/2 | B2 |  |  |  | 2007-10-17 |  | SOUTH INDIA |  | TNHSP |  | 2007-10-17 | 2008-10-16 | 0 |  |  |  | WORKING
72 | Infusion pump | CRD_INPM | 00094/INPM/1 | C |  |  |  | 2007-10-17 |  | SOUTH INDIA |  | TNHSP |  | 2007-10-17 | 2008-10-16 | 0 |  |  |  | WORKING
73 | Infusion pump | CRD_INPM | 00094/INPM/2 | C |  |  |  | 2007-03-28 |  | AKASH |  | TNHSP |  | 2007-03-28 | 2008-03-27 | 0 |  |  |  | WORKING
74 | Nebuliser Adult | OTH_NEBA_T | 00094/NEBA/2 | C |  |  |  | 2007-08-22 |  | JUPITER |  | TNHSP |  | 2007-08-22 | 2008-08-21 | 0 |  |  |  | WORKING
75 | Generator | OTH_GEN_T | 00094/GEN/1 | C |  |  |  | 2007-08-16 |  | HONDA |  | TNHSP |  | 2007-08-16 | 2008-08-15 | 0 |  |  |  | WORKING
76 | Infusion pump | CRD_INPM | 00094/INPM/3 | C |  |  |  | 2007-03-28 |  | AKASH |  | TNHSP |  | 2007-03-28 | 2008-03-27 | 0 |  |  |  | WORKING
16 | Pulse Oximeter | CRD_SPO2 | 00094/SPO2/2 | B | FUTURA | NA |  | 2009-03-17 | SILICON LAB | SILICON LAB | OT | TNHSP | NA | 2009-03-17 | 2010-03-17 | 18500 |  |  |  | WORKING
78 | Electri centrifuger | LAB_CENT | 00094/CENT/1 | C | BDI.152 | BDI152 |  | 2012-05-11 | SOLOKRAFTS | SOLOKRAFTS | LAB | TNMSC | TNHSP/TNMSC/AG29E/2011-04/10/2011 | 2013-09-17 | 2014-10-04 | 5090 | AMC |  |  | WORKING
17 | Ultra Sound Scanner - Portable | IME_USGP | 00094/USGP/1 | B2 | SONATA | 386537 |  | 2003-12-19 | LARSEN andamp;TOUBRO LTD | LARSEN AND TOUBRO LIMITED | ULTRASONOGRAM ROOM | DMS |  | 2005-01-15 | 2006-01-14 | 299550 | AMC |  |  | WORKING
18 | Baby Incubators | NNE_BINC | 00094/BINC/1 | C | 3010R | NA |  | 2008-12-24 | Neo Tech | Madras Surgicals | Labour Ward | TNHSP | TNHSP/TNMSC/P2E3/2007 Dt-- 11.09.2007 | 2008-12-24 | 2009-12-24 | 75000 | AMC | 2011-02-28 | Madras Surgicals | WORKING
26 | [16 empty] | AMC | 2011-02-28 | Madras Surgicals | WORKING
19 | Boyles apparatus with out Ventilator | ANA_OVEN_T | 00094/BACA/1 | B | Compact | NA |  | 2008-01-12 | Landamp;T | Landamp;T | OT | TNHSP | TNHSP/TNMSC/P2E2/2007~ Dt-- 05.10.2007 | 2008-01-12 | 2009-01-11 | 100000 | AMC | 2011-02-28 | Landamp;T | WORKING
83 | [19 empty] | WORKING
20 | Centrifuge | LAB_COMC | 00094/COMC/1 | C | BD1154 | NA |  | 2014-06-30 | SOLOGRAFT | SOLOGRAFT | LAB | TNMSC | TNHSP/TNMSC/AG87F(R)2014~ 19.03.2014 | 2014-07-01 | 2015-06-30 | 19950 | NO AMC |  |  | WORKING
1067477