## Sheet1
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD :
District :
Institution : THOTTIYAM
S.No. | Equipment Name | Category | Model No | Serial No | Date of Receipt | Supplier Name | Location | Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
1 | Defibrillator with Monitor | B2 | HEART START FRX |  | 2012-08-11 | PHLIPS ELECTRONICS | INJ.OP | TNHSP | TNHSP/TNMSC/ICB/AG17/2012 | 2012-10-04 | 2015-08-11 | 58696 | Working
2 | Electric Calorimeter | C | PRITEST EASYLAB | PEL1421213RBK | 2014-03-08 | ROBONIK | LAB | TNHSP | TNHSP/TNMSC/AG87b/2013-2 | 2014-03-08 | 2014-03-08 | 20302 | Working
3 | Pulse Oximeter | B2 | RAD-8 | M71602 | 2014-04-12 | GRACE | CASUALITY | TNMSC | RCH-II/TNMSC/ENGG/E67/2014 | 2014-04-12 | 2015-04-12 | 68968 | Working
4 | Binocular Mircroscope | B2 | BDI 13A | 22719 | 2014-01-06 | SOLOCRAFT | LAB | TNHSP | TNHSP/TNMSC/AG87C/2013 | 2014-01-06 | 2015-01-06 | 18600 | Working
5 | Pulse Oximeter | B2 | RAD-8 | M71786 | 2014-04-12 | GRACE | OT | TNMSC | RCH-II/TNMSC/ENGG/E672014 | 2014-04-12 | 2015-04-12 | 68968 | Working
6 | B.P.apparatus table model | C |  |  | 2003-04-24 |  | OP |  |  | 2003-04-24 | 2004-04-24 | 1200 | Working
7 | B.P.apparatus table model | C |  |  | 2005-08-15 |  | OP |  |  | 2005-08-15 | 2006-08-15 | 1200 | Working
8 | Auto Clave HP Vertical (2 bin) | C |  | NOT AVAILABLE | 1999-12-01 |  | OT |  |  | 1999-12-01 | 1999-12-01 | 33600 | Working
9 | Glucometer | C |  |  | 2003-08-19 | Associated Surgicals | Lab |  |  | 2003-08-19 | 2004-08-19 | 2560 | Working
10 | Formaline dispenser | C | Otisafe |  | 2003-08-25 | Sisco | OT | DMS |  | 2003-08-25 | 2004-08-25 | 6200 | Working
11 | Suction Apparatus - Electrical(Hivacuam) | B | Anand's |  | 1999-12-01 |  | OT |  |  | 1999-12-01 | 1999-12-01 | 6300 | Working
12 | Ice Lined Refrigerator | C | Vestfrost |  | 1999-12-01 |  | Store | Unicef |  | 1999-12-01 | 1999-12-01 | 23500 | Working
13 | Sterilizer Medium (Instrument) | C | Automatic Safety Device Systems |  |  |  | OT |  |  |  |  | 2500 | Working
14 | Laryngoscope(Paediatric) | C | Associated Surgicals |  | 2005-02-14 |  | OP |  |  | 2005-02-14 | 2005-02-14 | 1200 | Working
15 | Laryngoscope(Adult) | C | Associated Surgicals |  | 2005-02-14 |  | OP |  |  | 2005-02-14 | 2005-02-14 | 1200 | Working
16 | Needle destroyer / Syringe Destroyer | C | Glo Life Care - Reprospaark | NOT AVAILABLE | 2008-08-01 | Glo Life Care | Store | TNHSP | TNHSP/TNMSC/ENGG/BMWM1/2008 | 2008-08-01 | 2009-07-31 | 755 | Working
17 | Glucometer | C | GM3 |  | 2009-02-27 | Co-Operative Sup.Market | Lab | Pat.Welf |  | 2009-02-27 | 2010-02-26 | 2300 | Working
18 | Refrigerator | C | Godrej - Pentasoft ( V2 ) |  | 2008-12-27 | Subbu Electricals | OP |  |  | 2008-12-27 | 2009-12-26 | 10637 | Working
19 | Autoclave Mini | B | Associated Surgicals |  | 2001-04-04 | Associated Surgicals | OT | DMS |  | 2001-04-04 |  | 18500 | Working
20 | Needle destroyer / Syringe Destroyer | C | Microsil | NOTAVAILABLE | 2003-06-20 | Linco Scientific | OP | DMS | NOT AVAILABLE | 2003-06-20 | 2004-06-19 | 2350 | Working
21 | Needle destroyer / Syringe Destroyer | C | Microsil | NOT AVAILABLE | 2003-06-20 | Linco Scientific | Store | DMS | NOTAVAILABLE | 2003-06-20 |  | 2350 | Working
23 | Auto Clave HP Vertical (2 bin) | C | Solokrafts |  |  | Solokrafts | OP | RCH |  |  |  | 31350 | Working
24 | Pulse Oximeter | B | Landamp;T - Stellar P | S07P25201 | 2008-01-08 | L andamp; T | OP | TNHSP | TNHSP/TNMSC/P2E9/2007 | 2008-01-08 | 2009-01-07 | 33750 | Working
25 | Foetal Doppler | C | MWI-99 | F.D.1 | 2003-08-19 | Associated Surgicals | Labour Ward | DMS | 45036/SPS/1/2003 | 2003-08-19 | 2004-08-18 | 5150 | Working
26 | Nebulizer baby | C | Norditalia | 121861/2002 | 2003-08-19 | Associated Surgicals | OP |  | 45036/SPS/1/2003 | 2003-08-19 |  | 2200 | Working
27 | Weighing machine adult | C |  | NOT AVAILABLE | 1999-12-01 |  | Labour Ward |  | NOT AVAILABLE | 1999-12-01 |  | 672 | Working
28 | Weighing machine infant | C | Jupiter | NOTAVAILABLE | 2008-10-08 | Jupiter | Store | TNHSP | TNHSP/TNMSC/ENGG/P3E17/2008 | 2008-10-08 | 2009-10-07 | 673 | Working
29 | Ultra Sonogram -MOBILE | B | Landamp;T-Sonata | N0356541 | 2003-12-23 | Landamp;T | scan room | DMS |  | 2003-12-23 |  | 277366 | Working
30 | Shadowless Lamp stand model | B | MOBILE |  | 2010-11-12 | G.H.MUSIRI | OT | OTHERS |  | 2010-11-12 |  | 13289 | Working
31 | Auto Clave HP Vertical (2 bin) | C | AUTOCLAVE ELECTRICAL | NOTAVAILABLE | 2001-03-21 | ALAN MEDICAL SYSTEMS | OP |  | NOTAVAILABLE | 2001-03-21 | 2004-03-20 | 42984 | Not working
32 | Auto Clave HP Vertical (2 bin) | C | AUTOCLAVE ELECTRICAL | NOT AVAILABLE | 2001-03-21 | ALAN MEDICAL SYSTEM | OP |  | NOT AVAILABLE | 2001-03-21 | 2004-03-20 | 42984 | Working
33 | Operation Table Hydraulic Major | B2 | HYDRALIC |  | 2001-03-15 | GESCO | OT | DMS |  | 2001-03-15 | 2004-03-15 | 29700 | Working
34 | Binocular Mircroscope | B2 | MLW. |  | 2000-09-27 |  | Lab | DTC |  | 2000-09-27 | 2003-09-26 | 12389 | Working
35 | Glucometer | C | PAE-019 | NOT AVAILABLE | 2003-08-19 | Associated Surgicals | Lab | DMS | 45036/SPS/1/2003 | 2003-08-19 | 2004-08-18 | 3200 | Working
36 | Alpha Bed with motor | C | Apex-Oasis1000 | NOT AVAILABLE | 2007-07-23 | Jupiter | Store | DMS | NOT AVAILABLE | 2007-07-23 |  | 6600 | Working
37 | Diathermy Machine (Electric Cautery) | B | MHS Medicare-Mx250 | DIA.1 | 2007-07-23 | Jupiter | Store | TNHSP |  | 2007-07-23 |  | 18000 | Working
38 | Dental Unit with motor for dental OP | B2 | LA314110-1110034A | M-0709219 | 2007-12-11 | CONFIDENT DENTAL EQUIPMENTS | Dental OP | DMS | 12537/TNMSC/ENGG/dt27-10-07 | 2007-12-11 | 2010-12-10 | 99200 | Working
39 | Needle destroyer / Syringe Destroyer | C | Glo Life Care - Reprospaark | NOTAVAILABLE | 2008-08-01 | Glo Life Care | Store | TNHSP | TNHSP/TNMSC/ENGG/BMWM1/2008 | 2008-08-01 | 2009-07-31 | 755 | Working
40 | Needle destroyer / Syringe Destroyer | C | Glo Life Care - Reprospaark | NOTAVAILABLE | 2008-08-01 | Glo Life Care | Store | TNHSP | TNHSP/TNMSC/ENGG/BMWM1/2008 | 2008-08-01 | 2009-07-31 | 755 | Working
41 | Needle destroyer / Syringe Destroyer | C | Glo Life Care - Reprospaark | NOT AVAILABLE | 2008-08-01 | Glo Life Care | OP | TNHSP | TNHSP/TNMSC/ENGG/BMWM1/2008 | 2008-08-01 | 2009-07-31 | 755 | Working
42 | Sterilizer Medium (Instrument) | C | Jupiter | NOT AVAILABLE | 2008-10-08 | Jupiter | Store | TNHSP | TNHSP/TNMSC/ENGG/P3E17/2008 | 2008-10-08 | 2009-10-07 | 1400 | Working
43 | Infusion pump | C | AKAS - infu300 | NOT AVAILABLE | 2007-05-23 | AKAS | Ward | DMS | 103928/S2P/1/2006 | 2007-05-23 | 2008-05-23 | 24400 | Not working
44 | ECG machine computerized | B | EDAN - SE 300 | SE300B2A020893880 | 2008-11-21 | Madras Surgicals | Ward | TNHSP | TNHSP/TNMSC/P3E5/2008 | 2008-11-21 | 2009-11-20 | 44760 | Working
45 | Suction Apparatus - Electrical | C | Vishal Hospital Surgical | S.A1 | 2009-04-03 | Vishal Hospital Surgical | WARD | TNHSP | TNHSP/TNMSC/P3E8/2008 | 2009-04-03 | 2010-04-02 | 3900 | Working
46 | Suction Apparatus - Electrical | C | Vishal Hospital Surgical | S.A.2 | 2009-04-03 | Vishal Hospital Surgical | WARD | TNHSP | TNHSP/TNMSC/P3E8/2008 | 2009-04-03 | 2010-04-02 | 3900 | Working
47 | Semi auto analyser | B2 | Robonik - Prietest | AT0920209RBK | 2009-04-15 | Robonik | Lab | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 | 2009-04-15 | 2010-04-14 | 59500 | Working
48 | Needle destroyer / Syringe Destroyer | C | Microsil | NOTAVAILABLE | 2003-06-20 | Linco Scientific | Store | DMS | NOTAVAILABLE | 2003-06-20 | 2004-06-19 | 2350 | Working
49 | Binocular Mircroscope | B2 | BDI-13 | 22350 | 2009-07-02 | Solokrafts | Lab | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 | 2009-07-02 | 2010-07-01 | 9393 | Working
50 | Binocular Mircroscope | B2 | BDI-13 | 22306 | 2009-07-02 | Solokrafts | Lab | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 | 2009-07-02 | 2010-07-01 | 9393 | Working
51 | Hot Air oven | C | BDI-50 | 73931 | 2009-07-02 | Solokrafts | Lab | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 | 2009-07-02 | 2010-07-01 | 11963 | Working
52 | Lab Incubator | C |  | 76117 | 2009-07-02 | Solokrafts | Lab | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 | 2009-07-02 | 2010-07-01 | 11953 | Working
53 | Electri centrifuger | C | BDI-154 | 73832 | 2009-07-02 | Solokrafts | Lab | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 | 2009-07-02 | 2010-07-01 | 10873 | Working
54 | Magnavision Lamp | C | NOT AVAILABLE | NOT AVAILABLE | 2012-03-15 | SOLOKRAFTS | STORE | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 | 2012-03-15 | 2013-03-14 | 6987 | Working
55 | X-ray Machine 100 mA | B2 | AMS-100R | 2K100610035 | 2010-07-13 | ALLENGERS MEDI SYSTEM | X-RAY ROOM | TNHSP | TNHSP/TNMSC/ICB/P3E1/2009 |  |  | 270710 | Working
56 | Washing Machine | B2 | RMWE10 | NOT AVAILABLE | 2012-05-12 | RAMSONS |  | TNMSC | 4100R/TNMSC/ENGG/2010 | 2012-06-19 | 2015-06-18 | 104891 | Working
57 | Electri centrifuger | C | BDI-152 | 20111066 | 2012-03-15 | SOLOKRAFTS | NCD | TNHSP | TNHSP/TNMSC/AG29E/2011 | 2012-03-15 | 2012-03-15 | 5090 | Working
58 | ECG machine ordinary | B2 | EDAN SE3 | 309035-M11801710089 | 2011-10-12 | MADRAS SURGICALS | O.P | TNHSP | TNHSP/TNMSC/ENGG/AUG27/2011 | 2011-10-12 | 2012-10-12 | 36637 | Not working
59 | Rotory Shaker | B2 | BDI |  | 2014-11-27 | SOLOCRAFT | LAB | TNHSP | TNHSP/TNMSC/ENGG/AG87B/2014 | 2014-11-27 | 2015-11-27 | 33310 | Working
60 | Foetal Doppler | C | A100H |  | 2014-09-09 |  |  | DMS |  | 2014-09-09 | 2015-09-09 | 4350 | Working
61 | Foetal Doppler | C | A100H |  | 2014-09-09 |  |  | DMS |  | 2014-09-09 | 2015-09-09 | 4350 | Working
1633768