## Sheet1 (2)
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status
| Microscope Binocular | B2 |  |  | 11.6.2009 | Solokrafts Industries |  | TNHSP |  | 11.6.2009 | 10.6.2010 | 9393 | working
| Microscope Binocular | B2 |  |  | 11.6.2009 | Solokrafts Industries |  | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009-20.1.2009 | 11.6.2009 | 10.6.2011 | 9393 | working
| Microscope Binocular | B2 |  |  | 18.1.2014 | Solokrafts Industries |  | TNHSP | TNHSP/TNMSC/AG87C/20-22.10.2013 | 18.1.2014 | 17.1.2015 | 18600 | working
| Hot Air Oven | B |  |  | 11.6.2009 | Solokrafts Industries |  | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009-20.9.2009 | 11.6.2009 | 10.6.2010 | 11953 | working
| Lab Incubator | B |  |  | 11.6.2009 | Solokrafts Industries |  | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009-20.9.2009 | 11.6.2009 | 10.6.2010 | 11953 | working
| Centrifuge | B2 | 8 bucket |  | 11.6.2009 | Solokrafts Industries |  | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009-20.9.2009 | 11.6.2009 | 10.6.2010 | 10873 | working
| Centrifuge | B2 | BDI-152 |  | 13.3.2012 | Solokrafts Industries |  | TNHSP | TNHSP/TNMSC/AG29E/2011-4.10.2011 | 13.3.2012 | 12.3.2013 | 5090 | working
| Operation Table |  |  |  | 18.1.2010 |  |  | JDHS | 9312/S1/2009-24.12.2009 | 18.1.2010 |  |  | working
| Autoclave Vertical | B2 |  |  | 18.1.2010 |  |  | JDHS | 9312/S1/ DT24.12.2009 | 18.1.2010 | 17.1.2011 |  | working
| Phototherapy Unit | C |  |  | 30.2.2011 | Meditech Services |  |  |  | 30.2.2011 | 29.2.2012 | 35000 | working
| BP Apparatus (LCD) | C |  |  | 20.8.2013 | Vishnupriya Surgicals |  | PWS |  | 20.8.2013 | 19.8.2014 | 2900 | working
| BP Apparatus (LCD) | C |  |  | 20.8.2013 | Vishnupriya Surgicals |  | PWS |  | 20.8.2013 | 19.8.2014 | 2900 | working
| Colposcope | B2 |  |  | 23.9.2013 | SISCO |  | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011-21.4.2012 | 23.9.2013 | 22.9.2014 | 136500 | working
| Semi Auto Analyzer |  | Prietest | AT1301313RBK | 10.3.2014 | Robonik |  | TNHSP | TNHSP/TNMSC/ENGG/AG87H/2013-27.4.2013 | 10.3.2014 | 9.3.2015 | 48426 | working
| Semi Auto Analyzer |  | Prietest | AT1301313RBK | 10.3.2014 | Robonik |  | NRHM |  | 10.3.2014 | 9.3.2017 | 48426 | working
| Calorimeter | C |  |  | 17.10.2013 | Sri Surya Lab services |  | PWS |  | 17.10.2013 | 16.10.2014 | 10271 | working
| Digital Calorimeter |  | EASYLAB | PEL0791213RBK | 8.3.2014 | Robonik |  | TNHSP | TNHSP/TNMSC/AG87B/2013-2 28.11.2013 | 10.3.2014 | 9.3.2015 | 20302 | working
| Digital PH meter |  |  |  | 9.6.2014 | RLT Instrumentation |  | TNHSP |  | 9.6.2014 | 8.6.2015 | 57353 | working
| Rotary Shaker | C |  |  | 13.10.2014 | Solokrafts Industries |  | TNHSP |  | 13.10.2014 | 12.10.2015 | 32200 | working
| Ice Lined Refrigirator | C |  |  | 1.4.2004 |  |  |  |  | 1.4.2004 |  |  | to be condemned
| weighing machine (adult) | C |  |  | 1.4.2004 |  |  |  |  | 1.4.2004 |  |  | to be condemned
| weighing machine (adult) | C |  |  | 1.4.2004 |  |  |  |  | 1.4.2004 |  |  | working
| weighing machine (adult) | C |  |  | 13.3.2012 | Alan Medical |  | TNHSP |  | 13.3.2012 | 12.3.2013 | 598 | working
| Sterilizer | C |  |  | 9.3.2000 |  |  | JDHS |  | 9.3.2000 | 8.3.2001 |  | to be condemned
| Sterilizer | C |  |  | 8.10.2008 | Jupiter manufacturing Works |  | TNHSP |  | 8.10.2008 | 7.10.2009 | 1400 | to be condemned
| BP Apparatus (Box type) | C |  |  | 1.4.2004 |  |  |  |  | 1.4.2004 |  |  | working
| BP Apparatus (Box type) | C |  |  | 5.5.2004 |  |  | JDHS |  | 5.5.2004 | 4.5.2005 |  | working
| BP Apparatus (Box type) | C |  |  | 4.5.2011 | Meditech Services |  | PWS |  | 4.5.2011 | 3.5.2012 | 1420 | working
| BP Apparatus (Box type) | C |  |  | 4.5.2011 | Meditech Services |  | PWS |  | 4.5.2011 | 3.5.2012 | 1420 | working
| BP Apparatus (Box type) | C |  |  | 4.5.2011 | Meditech Services |  | PWS |  | 4.5.2011 | 3.5.2012 | 1420 | working
| BP Apparatus (Box type) | C |  |  | 4.5.2011 | Meditech Services |  | PWS |  | 4.5.2011 | 3.5.2012 | 1420 | working
| BP Apparatus (Box type) | C |  |  | 27.3.2012 | Meditech Services |  | PWS |  | 27.3.2012 |  | 1420 | working
| BP Apparatus (Box type) | C |  |  | 7.3.2014 | Madhusudhanan & co |  | TNHSP | TNHSP/TNMSC/ENGG/AG26/2011 | 7.3.2014 |  | 1192 | working
| Weighing Machine (baby) | C |  |  | 8.10.2008 | Jupiter manufacturing Works |  | TNHSP | TNHSP/TNMSC/ENGG/P3E17/2008-11.8.2008 | 8.10.2008 |  | 673 | working
| Needle and Syringe Destroyer | C |  |  | 28.6.2003 | Linco Scientific Instruments |  | DMS | 42149/S&P/1/2003-26.5.2003 | 28.6.2003 |  | 2350
| Needle and Syringe Destroyer | C |  |  | 18.6.2008 | Glo lifecare |  | TNHSP | TNHSP/TNMSC/ENGG/BMWM/2008-8.2.2008 | 18.6.2008 |  | 755
| Needle and Syringe Destroyer | C |  |  | 18.6.2008 | Glo lifecare |  | TNHSP | TNHSP/TNMSC/ENGG/BMWM/2008-8.2.2008 | 18.6.2008 |  | 755
| Needle and Syringe Destroyer | C |  |  | 18.6.2008 | Glo lifecare |  | TNHSP | TNHSP/TNMSC/ENGG/BMWM/2008-8.2.2008 | 18.6.2008 |  | 755
| Needle and Syringe Destroyer | C |  |  | 18.6.2008 | Glo lifecare |  | TNHSP | TNHSP/TNMSC/ENGG/BMWM/2008-8.2.2008 | 18.6.2008 |  | 755
| Needle and Syringe Destroyer | C |  |  | 18.6.2008 | Glo lifecare |  | TNHSP | TNHSP/TNMSC/ENGG/BMWM/2008-8.2.2008 | 18.6.2008 |  | 755
| Needle and Syringe Destroyer | C |  |  | 18.6.2008 | Glo lifecare |  | TNHSP | TNHSP/TNMSC/ENGG/BMWM/2008-8.2.2008 | 18.6.2008 |  | 755
| Glucometer | C |  |  | 25.8.2003 | Associated Surgicals |  | DMS | 45036/S&P/1/03-12.6.2003 | 25.8.2003 |  | 3200 | working
| Ultrasound scan | B2 | Sonata | 356533 | 27.12.2003 | Larsen and Toubro |  | DMS | 7014/S&P/1/2003-04-16.9.2003 | 27.12.2003 |  | 299555 | working
| Autoclave Baby | B |  |  | 3.6.2004 |  |  | JDHS |  | 3.6.2004 |  |  | working
| Magnavision | C |  |  | 26.10.2006 | Madras surgicals |  | TNHSP |  | 26.10.2006 |  | 7200 | working
| Magnavision | C |  |  | 13.3.2012 | Solokrafts Industries |  | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 | 13.3.2012 |  | 6987 | working
| Alpha Bed | C |  |  | 13.7.2007 | Jupiter manufacturing Works |  | DMS | 35047/S&P/1/2007-27.4.2007 | 13.7.2007 |  | 6600 | working
| Infusion Pump | B2 | ANS075 |  | 12.7.2007 | Akas Medical Equipment |  | DMS | 103928/S&P/1/2006-7.3.2007 | 12.7.2007 | 11.7.2008 | 25376 | working
| Weighing Machine(BMW) | C |  |  | 24.6.2008 | Jupiter manufacturing Works |  | TNHSP | TNHSP/TNMSC/ENGG/BMWM/08-28.4.2008 | 24.6.2008 |  | 541 | working
| BP Apparatus (Digital) | C |  |  | 17.3.2011 | Meditech Services |  | PWS |  | 17.3.2011 |  | 3600 | working
| BP Apparatus (Digital) | C |  |  | 17.3.2011 | Meditech Services |  | PWS |  | 17.3.2011 |  | 3600 | working
| BP Apparatus (Digital) | C |  |  | 4.5.2011 | Meditech Services |  | PWS |  | 4.5.2011 |  | 3600 | working
| BP Apparatus (Digital) | C |  |  | 4.5.2011 | Meditech Services |  | PWS |  | 4.5.2011 |  | 3600 | working
| BP Apparatus (Digital) | C |  |  | 4.5.2011 | Meditech Services |  | PWS |  | 4.5.2011 |  | 3600 | working
| BP Apparatus (Digital) | C |  |  | 4.5.2011 | Meditech Services |  | PWS |  | 4.5.2011 |  | 3600 | working
| Suction Apparatus (Electrical) | B2 |  |  | 13.10.2008 | Rasi medical Equipments |  |  |  | 13.10.2008 | 12.10.2009 | 12500 | working
| Suction Apparatus (Electrical) | B2 |  |  | 7.3.2009 | Vishal Hospital Steel furniture Manufacturing |  | TNHSP | TNHSP/TNMSC/P3E8/08-10.9.2008 | 7.3.2009 | 6.3.2010 | 7800 | working
| Suction Apparatus (Electrical) | B2 |  |  | 7.3.2009 | Vishal Hospital Steel furniture Manufacturing |  | TNHSP | TNHSP/TNMSC/P3E8/08-10.9.2008 | 7.3.2009 | 6.3.2010 | 7800 | working
| Suction Apparatus (Electrical) | B2 |  |  | 7.3.2009 | Vishal Hospital Steel furniture Manufacturing |  | DMS | 51190/S&P/1/2008-2 10.11.2008 | 7.3.2009 | 6.3.2010 | 4410 | working
| Suction Apparatus (Electrical) | B2 |  |  | 19.3.2009 | Jupiter manufacturing Works |  | DMS | 47945/S&P/1/2008-4.2.2009 | 19.3.2009 | 18.3.2010 | 5500 | working
| Feotal Doppler |  | FHR801 |  | 13.10.2008 | Rasi medical Equipments |  | PWS |  | 13.10.2008 | 12.10.2009 | 16000 | working
| Feotal Doppler |  | A100H |  | 18.11.2014 | Mediwaves ic |  | NRHM | 17240/TNMSC/ENGG/2014-15 | 18.11.2014 | 19.11.2015 | 9300 | working
| Nebulizer | C | Nidek-Usa |  | 13.10.2008 | Rasi medical Equipments |  | PWS |  | 13.10.2008 |  | 4200 | working
| BP Apparatus (Stand) | C |  |  | 15.10.2008 | Jupiter manufacturing Works |  | TNHSP | TNHSP/TNMSC/P3E/6/08-2.9.2008 | 15.10.2008 |  | 1090 | working
| ECG Machine | B2 | SE 300 | A20893871 | 17.11.2008 | Madras surgicals |  | TNHSP | TNHSP/TNMSC/P3E5/08-29.8.2008 | 17.11.2008 | 16.11.2009 | 44760 | working
| ECG Machine | B2 | SE3 |  | 4.10.2011 | Madras surgicals |  | TNHSP | TNHSP/TNMSC/ENGG/AG27/2011 | 4.10.2011 | 3.10.2012 | 36637 | working
| Baby Warmer | B2 |  |  | 17.11.2008 | Datex Ohmeda |  | TNHSP | TNHSP/TNMSC/P3E9/08-29.8.2008 | 17.11.2008 | 16.11.2009 | 18000 | working
| Weighing Machine (Electronic) | C |  |  | 23.1.2009 | Surya Surgicals |  | DMS | 51190/S&P/1/2008-10.11.2008 | 23.1.2009 |  | 10500 | working
1038932