## Major Equip
MAJOR EQUIPMENTS -GOVERNMENT HOSPITAL-Koothanallur
S.NO | Name of the Equipments | category | Model No | Serial No | Date of receipt | Supplier Name | Location | Source of supply | Purchase Order | Installation Date | Warranty/AMC | Cost | Working/Not Working
1 | Digital PH Meter | C | RPA-1GRTIOANPN | 1273 | 18.04.2014 | RLT Instrumentation, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-1 dt 28.11.2013 | 18.04.2014 | 17.04.2015 | 57353 | Working
2 | Water Bath | C | SMI-143 | - | 25.09.2014 | S.M.Scientific Instruments Pvt Ltd, Delhi | Laboratory | TNHSP | TNHSP/TNMSC/AG87h(R)/2014 dt 10.04.2014 | 25.09.2014 | 24.09.2015 | 8262 | Working
3 | Diathermy | B2 | ELSY 360M+ | ASG-M+1406177 | 27.06.2014 | JBS Mediitec india pvt ltd | Operation Theatre | TNMSC | 17240/TNMSC/ENGG/2014-2 dt 16.05.2014 | 27.06.2014 | 26.06.2017 | 218000 | Working
4 | Vertical Autoclave | C | - | - | 14.10.2009 | - | Operation Theatre | - | Received from Govt. Hospital Mannargudi | 14.10.2009 | - | 32552 | Working
5 | Vertical Autoclave | C | - | - | 20.12.2008 | - | Operation Theatre | - | - | 20.12.2008 | - | 31200 | Working
6 | Vertical Autoclave | C | - | - | 22.02.2008 | - | Operation Theatre | - | - | 22.02.2008 | - | 43600 | Working
7 | Anesthesia Machine | B2 | Ecosafe | - | 29.12.2008 | Solokrafts Industries | Operation Theatre | TNHSP | TNHSP/TNMSC/P3E4/2008 dt 16.06.2008 | 29.12.2008 | - | 85280 | Working
8 | Baby Warmer | C | OCW-100 | 3000 | 21.11.2008 | Datex Ohmeda | LABOUR WARD | TNHSP | TNHSP/TNMSC/P3E9/2008 | 21.11.2008 | - | 18720 | Working
9 | Cryotheraphy | C | CRYO-004B | - | 07.02.2012 | Solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/AG30A/2011 dt 14.10.2011 | 07.02.2012 | - | 24331 | Working
10 | ECG Machine | B | SE-3 | 309035-M11801710086 | 21.09.2011 | Madras Surgicals & Chemicals | ECG Room | TNHSP | TNHSP/TNMSC/ENGG/AG27/2011 | 21.09.2011 | - | 38469 | Working
11 | Electric Colorimeter | C | Prietest Easylab | PEL1081213RBK | 27.03.2014 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-2/dt 28.11.2013 | 27.03.2014 | 26.03.2015 | 20302 | Working
12 | Laboratory Centrifuge | C | BDI-152 | - | 06.02.2012 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG29E/2011 Dt 04.10.2011 | 06.02.2012 | - | 5345 | Working
13 | Laboratory Centrifuge | C | - | - | 31.01.2008 | Solokrafts Industries, Chennai | Laboratory | TANSACS | TANSACS/GFATM-II/TNMSC/2008 dt 25.01.2008 | 31.01.2008 | - | 2257 | Working
14 | Manual Colposcope | C | ARI-II-ID | - | 24.02.2013 | South India Surgicals | Transferred to Govt. Hospital-Vijayapuram | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 dt 21.4.2012 | 24.02.2013 | - | 136500 | Working
15 | Multiparamonitor | B2 | G3D | G3DL60244 | 25.07.2014 | Transhealth Care, Chennai | Operation Theatre | TNMSC | 17240/TNMSC/ENGG/2014-3 dt 16.05.2014 | 25.07.2014 | 24.07.2017 | 189000 | Working
16 | Binocular Microscope | B2 | BDI-13A | 22757 | 22.01.2014 | Solokrafts Industries | Laboratory | TNHSP | TNHSP/TNMSC/AG87c/2013 dt 22.10.2013 | 22.01.2014 | 21.01.2017 | 18600 | Working
17 | OT Table | B2 | - | - | 05.12.2008 | Jupiter Mfg works | Operation Theatre | TNHSP | TNHSP/TNMSC/P3E3/2008 | 05.12.2008 | - | 51400 | Working
18 | Pulse Oximeter | B2 | Rad-8 | M71661 | 25.04.2014 | Grace Mfg Trading Co | Injection OP | RCH | Received from Govt. Hospital-Kudavasal | 25.04.2014 | 24.04.2017 | 68968 | Working
19 | Maganvision lamp | C | Magnascope | - | 06.02.2012 | solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 dt 19.10.2011 | 06.02.2012 | - | 7337 | Working
20 | Semi Auto Analyser | B2 | Prietest Touch | AT0820314RBK | 27.03.2014 | Robonik India | LABORATOTY | TNMSC | 10072/TNMSC/ENGG/2013 dt 05.03.2014 | 27.03.2014 | 26.03.2017 | 55500 | Working
21 | Semi Auto Analyser | B2 | Prietest Touch | AT084020912RBK | - | - | LABORATOTY | - | Received from Govt. Hospital-Mannargudi | - | - | 51500 | Working
22 | Shadowless Lamp | B | - | - | 13.10.2008 | Jupiter Mfg works | Operation Theatre | TNMSC | 47975/S&P/1/2008 dt 30.10.2007 | 13.10.2008 | - | 26000 | Working
23 | Shadowless Lamp | B | - | - | 05.12.2008 | Jupiter Mfg works | LABOUR WARD | TNHSP | TNHSP/TNMSC/P3E3/2008 dt 29.08.2008 | 05.12.2008 | - | 12700 | Working
24 | Ultrasonogram | B2 | Sonata | N03S6532 | 08.09.2008 | L&T | Scan room | - | - | 08.09.2008 | - | 311537 | Working
25 | x-Ray Machine | B2 | 100ma | - | 05.01.2010 | - | X-rayroom | - | Received from Govt. Hospital-Needamangalam | 05.01.2010 | - | 287400 | Working
1802113

## Minor Equip
Minor Equipments
Government District Headquarters Hospital -Koothanallur
S.no | Equipment Name | Oty | Cost of each item(Rs) | Total Cost(Rs) | Working/ Not working
1 | BP Apparatus | 6 | 2300 | 13800 | working
2 | Nebuliser | 1 | 2500 | 2500 | working
3 | Baby Weighing machine | 3 | 750 | 2250 | working
4 | Suction Apparatus | 5 | 6000 | 30000 | working
5 | Adult Weighing machine | 3 | 2000 | 6000 | working
6 | Hub Cutter | 6 | 1000 | 6000 | working