## Major Equip
MAJOR EQUIPMENTS -GOVERNMENT HOSPITAL-Vijayapuram
S.NO | Name of the Equipments | Equipment Category | Model no | Serial No | Date of receipt | Supplier Name | Location | Source of supply | Purchase Order | Installation Date | Warranty/AMC | Cost | Working/Not Working
1 | Radiant warmer | C | 2007s | 7121456 | 04.01.2008 | Madras Surgicals & Chemicals | Warmer Room | TNHSP | TNHSP/TNMSC/P2E10/2007 dt 19.09.2007 | 31.03.2008 | - | 18387 | Working
2 | Radiant warmer | C | - | - | 04.01.2008 | - | Operation Theatre | - | Received from Govt. Hospital Nannilam | 24.07.2012 | - | 18387 | Working
3 | Boyles Apparatus Complete | B2 | Compact AC20 | AC-2-1207-011 | 09.01.2008 | Larsen & Tourbro | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E2/2007 dt 13.06.2007 | 09.01.2008 | - | 100940 | Working
4 | Boyles Apparatus Complete | B2 | IOL | - |  | - | Operation Theatre | - | Received from Gh-Thiruvarur | - | - | 85000 | Working
5 | Pulse Oximeter | B2 | Stellar P | S07P25283 | 09.01.2008 | L & T | Operation Theatre | TNHSP | TNHSP/TNMSC/P2E9/2007 dt 11.09.2007 | 9.01.2008 | AMC from 01.02.2015 to 31.01.2016 | 34762 | Working
6 | Infusion Pump | C | Evadrop MP-1000 | mp1alh383 | 21.10.2011 | Schiller | Warmer Room | TNHSP | TNHSP/TNMSC/AG16/2010 dt 01.07.2011 | 21.10.2011 | - | 26418 | Working
7 | ECG Machine | B | SE-3 | 309035-M11801710087 | 21.10.2011 | Madras Surgicals & Chemicals | SCAN ROOM | TNHSP | TNHSP/TNMSC/ENGG/AG27/2011 | 21.10.2011 | - | 38469 | Working
8 | Semi Auto Analyser | B2 | Prietest Touch | AT0220807RBK | 10.10.2012 | - | LABORATOTY | - | Received from Govt. Hospital Thiruthuraipoondi | 10.10.2012 | - | 59500 | Working
9 | Semi Auto Analyser | B2 | Prietest Touch | AT1421013RBK | 27.03.2014 | Robonik India | LABORATOTY | TNHSP | TNHSP/TNMSC/AG87b/2013 dt 31.12.2013 | 27.03.2014 | 26.03.2015 | 50343 | Working
10 | Semi Auto Analyser | B2 | Prietest Touch | AT0830314RBK | 27.03.2014 | Robonik India | LABORATOTY | TNMSC | 10072/TNMSC/ENGG/2013 dt 05.03.2014 | 27.03.2014 | 26.03.2017 | 55500 | Working
11 | Multiparamonitor | B2 | Innoava 10CIR | C11302BJ37 | 07.03.2013 | Concept integration | Operation Theatre | TNHSP | TNHSP/TNMSC/AG14/2012 dt 21.11.2012 | 09.03.2013 | - | 56000 | Working
13 | Binocular Microscope | B2 | BDI-13A | 22822 | 22.01.2014 | Solokrafts Industries, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87/2013/DT 22.10.2014 | 22.01.2014 | 21.01.2015 | 18600 | Working
14 | Digital PH Meter | C | RPA-1GRTIOANPN | - | 19.04.2014 | RLT Instrumentation, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-1 dt 28.11.2013 | 19.04.2014 | 18.04.2015 | 57353 | Working
15 | Water Bath | C | SMI-143 | - | 26.05.2014 | S.M.Scientific Instruments Pvt Ltd, Delhi | Laboratory | TNHSP | TNHSP/TNMSC/AG87h(R)/2014 dt 10.04.2014 | 26.05.2014 | 25.05.2015 | 8262 | Working
16 | Electric Colorimeter | C | Prietest Easylab | PEL1151213RBK | 27.03.2014 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-2/dt 28.11.2013 | 27.03.2014 | 26.03.2015 | 20302 | Working
17 | Shadowless Lamp | B | - | - | 16.07.2003 | - | Operation Thaetre | - | Received from Gh-Thiruvarur | 16.07.2003 | - | 26000 | Working
18 | Shadowless Lamp | B | - | - | 2009-07-03 | Jupiter Mfg works | Operation Thaetre | TNMSC | 47975/S&P/11/2008 dt 04.02.2009 | 2009-07-03 | - | 40000 | Working
19 | Shadowless Lamp | B | - | - | 16.03.2009 | Jupiter Mfg works | Operation Thaetre | TNMSC | 47975/S&P/12/2008 dt 04.02.2009 | 16.03.2009 | - | 26000 | Working
20 | Hyadralic Operation Table | B2 | - | - | 16.07.2003 | - | Operation Thaetre | - | Received from Gh-Thiruvarur | 16.07.2003 | - | 40000 | Working
21 | Hyadralic Operation Table | B2 | - | - | 10.02.2009 | Vibash | Operation Thaetre | TNMSC | 51190/S&P/1/2008 | 10.02.2009 | - | 57950 | Working
22 | Multiparamonitor | B2 | G3D | G3DL60242 | 24.07.2014 | Transhealth Care, Chennai | Stores | TNMSC | 17240/TNMSC/ENGG/2014-3 dt 16.05.2014 | 24.07.2014 | 23.07.2017 | 189000 | Working
23 | Ultrasonogram | B2 | Sonata | N03S6463 | 22.12.2003 | L&T | Scan room | - | - | 22.12.2003 | AMC from 01.02.2015 to 31.01.2016 | 311537 | Working
24 | Magnavision | C | Magnascope | - | - | - | Via/Vili Room | - | Received from Tanjore Dist | - | - | 7337 | Working
25 | Autoclave(Vertical) | C | - | - | 11.03.2008 | - | Operation Theatre | - | Received from Govt Dist Headquarters Hsopital-mannargudi | 11.03.2008 | - | 30000 | Working
26 | Autoclave(Vertical) | C | - | - | 11.03.2008 | - | Operation Theatre | - | Received from Govt Dist Headquarters Hsopital-mannargudi | 11.03.2008 | - | 30000 | Working
27 | Phototheraphy Unit | C | Matura-C-4020 | - | 24.07.2014 | Microcare | Ward | Local Purchase | Local Purchase | 24.07.2014 | 23.07.2015 | 19500 | Working
28 | Phototheraphy Unit | C | Matura-C-4020 | - | 24.07.2014 | Microcare | Ward | Local Purchase | Local Purchase | 24.07.2014 | 23.07.2015 | 19500 | Working
29 | Infusion Pump | C | MCI | 1007001S | 24.07.2014 | Microcare | Ward | Local Purchase | Local Purchase | 24.07.2014 | 23.07.2015 | 34500 | Working
30 | Infusion Pump | C | Infu 300 |  | 25.07.2007 | Akas medical Systems | Ward | - | - | E05070636 | - | 24400 | Working
31 | CTG Machine | B2 | - | - |  | - | Labour ward | Donation | Donation | - | - | 102300 | Working
32 | CTG Machine | B2 | - | - |  | - | Labour ward | Donation | Donation | - | - | 102300 | Working
33 | CTG Machine | B2 | - | - |  | - | Labour ward | Donation | Donation | - | - | 102300 | Working
34 | Diathermy | B | MX-250 | - |  | - | Operation Theatre | - | - | - | - | 18000 | Working
35 | Manual Colposcope | C | - | 24.06.2013 |  | - | Via/Vili Room | - | Transferred from Govt. Hospital-Koothanallur | - | - | 136000 | Working
1964847

## Minor Equip
Minor Equipments
Government District Headquarters Hospital -Vijayapuram
S.no | Equipment Name | Oty | Cost of each item(Rs) | Total Cost(Rs) | Working/ Not working
1 | BP Apparatus | 4 | 2300 | 9200 | working
2 | Nebuliser | 2 | 2500 | 5000 | working
3 | Baby Weighing machine | 3 | 750 | 2250 | working
4 | Suction Apparatus | 7 | 6000 | 42000 | working
5 | Adult Weighing machine | 2 | 2000 | 4000 | working
6 | Hub Cutter | 6 | 1000 | 6000 | working