## rajapalayam
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
District : VIRUDHUNAGAR
Institution : RAJAPALAYAM
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Manufacturer Name | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Reported Date | working status
1 | Syringe Pump | B | AKAS SYRU 410 |  | 2015-03-09 | AKAS | AKAS MEDICALS CHENNAI |  | TNMSC | 114/TNMSC/ENGG/2013-4 | 2015-02-09 |  | 20850 | 2015-09-02 | working
2 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C | akas infu 510 |  | 2015-02-09 | akas medical system | akas medical |  | TNMSC | 114/tnmsc/engg/2013-4 | 2015-02-09 |  | 19750 | 2015-03-03 | working
3 | Photo Calorie Meter - Analog / Digital | C |  |  | 2011-03-28 | jupiter | jupiter | lab | RCH | rch II /tnmsc/engg/jra/1193 |  |  | 0 | 22-8-2012 | working
4 | Weighing machine adult | C |  |  | 2008-06-21 |  |  | mot |  |  |  |  | 0 | 29-8-2012 | working
5 | B.P.apparatus stand model | C | [10 empty] | 0 | 20-9-2012 | working
6 | Laryngoscope(Adult) | C |  |  |  | JUPITER MANUFACTURING COMPANY | JUPITER MANUFACTURING COMPANY | MOT |  | RCHII/TNMSC/ENGG/4538/2010 DT 6/10/10 |  | 2012-01-01 | 0 | 20-9-2012 | working
7 | Laryngoscope(Paediatric) | C |  |  | 2010-12-20 | SOUTH INDIA SURGICALS | SOUTH INDIA SURGICALS | MOT | RCH |  |  |  | 0 | 20-9-2012 | working
8 | Operating Microscope(Eye) | B1 | 120m I2 |  |  | nescomal technologies pvt ltd | nescomal technologies pvt ltd |  |  | hll/prol/del/npcb/011/02.03/4672/ dt 9 /12/02 |  |  | 0 | 2012-02-08 | working
9 | Auto Clave HP Vertical (2 bin) | C |  |  |  | solokrafts |  | mot |  | tnhsp/tnmsc/engg/e5/2009/ 29/4/2009 |  |  | 0 | 14-8-2012 | working
10 | Infusion Pump | C |  |  | 2011-10-07 | SCHILLER HEALTH CARE |  |  | TNHSP |  |  |  | 0 | 2012-08-08 | working
11 | Semi auto analyser | B2 |  |  | 2010-10-23 |  | MICRO LABS | LAB PACR | RCH |  |  |  | 0 | 2012-07-08 | working
12 | Laryngoscope(Paediatric) | C |  |  | 2010-12-20 | south india surgicals | south india surgiccals | maleward | RCH |  |  |  | 0 | 20-9-2012 | working
13 | Weighing machine adult | C | [10 empty] | 0 | 13-8-2012 | working
14 | Cardiac Monitor | C | [10 empty] | 0 | 13-8-2012 | working
15 | Defibrillator with Monitor | B2 |  |  | 2012-08-08 | philips health care | madras surgicals | pacr op | TNHSP | tnhsp/tnmsc/igb/ag171 |  |  | 0 | 22-8-2012 | working
16 | Infusion Syringe Pump/Insulin Syringe Pump | C | [6 empty] | JDHS |  |  |  | 0 | 2012-07-08 | working
17 | Auto Clave HP Horizontal-CYLINDRICAL | C |  |  |  |  | SOLOKRAFTS INDIUSTRIES | PACR OT |  |  |  |  | 0 | 2012-09-08 | working
18 | Weighing machine paed | C | [10 empty] | 0 | 16-8-2012 | working
19 | Hematology analyser | B1 |  |  | 2012-03-19 | TRANSASIA | TRANSASIA LTD CHENNAI | LAB | TNHSP | 52360/SAND P/1/2011-12 DT 12/3/12 |  |  | 385319 | 23-8-2012 | working
20 | Refrigerator | C | br 300 | bdit -1389 | 2012-10-20 | Remi | remi | blood bank | TNHSP |  | 2012-10-25 | 2012-10-12 | 0 | 27-8-2012 | working
21 | Weighing machine adult | C | [10 empty] | 0 | 27-8-2012 | working
22 | Needle destroyer / Syringe Destroyer | C |  |  | 2003-07-26 | lmco scientific instru~ents and chemicals | limco scientific instruments and chemical | lab pacr | TNHSP | 42147/sep/1/03 ~ 26/5/03 |  |  | 0 | 2012-04-09 | working
23 | Multi Para Monitor | B2 | G3 D |  | 2014-06-26 | General Meditech China | Transhealth care private limited | IN pacr OT- 500 WARD | TNMSC | 17240/TNMSC/ENGG/2014-3 DT 16/05/2014 | 2014-06-28 | 2017-06-27 | 60000 | 2014-05-07 | working
24 | Magnavision Lamp | C | 8008 |  | 2011-05-13 | hardik medi tech | JUPITER MANUFACTURING WORKS | store | TNHSP | 04R/NRHM/TNMSC/ENGG/2011 DT 12/2/11 |  | 2014-05-13 | 4400 | 23-8-2012 | working
25 | ECG machine computerized | B | edan se3 | 309035 m11801710099 | 2011-10-04 | EDAN instruments | madras surgicals and chemicals | cvd | TNHSP | tnhsp/tnmsc/engg/ag27/2011 dt 4/7/11 | 2011-10-10 | 2012-10-10 | 36637 | 2012-09-08 | working
26 | Mannual Colposcope | C | ARI II-11D |  | 2012-09-04 | ARI TECHNOLOGY ~CHINA | SOUTH IINDIIA SURGICAL~ CHHENNAI | MATTY OP | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 | 2012-09-07 | 2013-09-07 | 130000 | 2012-04-09 | working
27 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C | infu510 |  | 2015-02-09 | akas | akas medical | children ward | TNMSC | 114/tnmsc/engg/2013-4 | 2015-02-09 |  | 63367 | 2015-09-02 | working
28 | Pulse Oximeter | B2 | RAD 8 | 9190/m81861 | 2015-01-09 | masimo pulse oximeter | INDIAN MEDICAL SYSTEM AND TECHNOLOGIES~ Anna nagar wecst extension ~ Chennai | children ward | TNMSC | 114/tnmsc/engg/2013-2 | 2014-12-25 |  | 68950 | 2015-09-01 | working
29 | Transport Ventilator | B2 | VELA |  | 2015-01-10 | TRANSHREALTH CARE INDIA PVT LTD | TRANSHEALTH CARE | 500 WARD | DMS | REF NO 405/Sandamp;p/1/2015-3 | 2015-01-09 |  | 666000 | 2015-10-01 | working
30 | Transport Ventilator | B2 | VELA |  | 2015-01-10 | TRANS HEALTH CARE | TRANS HEALTH CARE NEW DELHI | MATERNITY OT | DMS | Sandamp;P/1/2015 | 2015-01-12 |  | 666000 | 2015-03-03 | working
31 | Anaesthesia Ventilators | B2 | VELA COMP | 1 | 2015-01-10 | TRANS HEALTH CARE | TRANS HEALTH CARE | CHILDREN WARD | DMS | REF405/Sandamp;p/1/2015-3 | 2015-01-10 |  | 241 | 2015-10-01 | working
32 | O2 Concentrator | C | neumolite | THC/NEUMO/2000/415 | 2015-02-16 | taurus health care pvt ltd~ hgo b-6 sathya mansion. a-1 a-2~ ranjit nagar comm.complex. new Delhi - 110008 PH-11 45087820~ MOB-09711203625 | Taurus health care pvt ltd~ New delhi | 500 WARD MATERNITY | TNMSC | 114/TNMSC/ENGG/2013-5 | 2015-02-16 |  | 23970 | 16-2-2015 | working
33 | Pulse Oximeter with NIB.P | B2 | innova 10 cir | CIPL 1302BK28 | 2013-03-07 | concept intergrations | concept intergrations | MATY OT | TNHSP | TNHSP/TNMSC/AG14 2012 DT 21/11/12 | 2013-03-27 |  | 56000 | 2013-04-07 | working
34 | VDRL Rotator/Shaker | C | BDI149 |  | 2014-09-22 | BD INSTRUMENTS | SOLOKRAFTS INDUSTRIES~CHENNAI | BLOOD BANK | DMS | TNHSP/TNMSC/AG87(R) 2014 |  | 2015-09-21 | 32200 | 22-9-2014 | working
35 | Nebuliser Adult | C |  |  | 2014-07-08 | EXCEL CARE | EXCEL CARE | MATY LABOUR WARD | OTHERS |  |  |  | 476 | 14-8-2014 | working
36 | Nebuliser Adult | C |  |  | 2014-08-01 | EXCEL CARE | EXCEL CARE ENGINEERING | MATERNITY WARD | OTHERS |  |  |  | 476 | 2014-01-08 | working
37 | Multi Para Monitor | B2 |  | G3DL60077 | 2014-06-27 | GENERAL MEDITECH CHINA | transhealth care pvt ltd | ward 500 | TNMSC | 17240/TNMSC/ENGG/2014 DT 16/5/14 | 2014-06-27 | 2015-06-26 | 60000 | 18-7-2014 | working
38 | Multi Para Monitor | B2 |  |  | 2014-06-27 | GENERAL MEDITECH CHINA | TRANS HEATH CARE OPVT LTD | MOT | TNMSC | 17240/TNMSC/ENGG/2014 | 2014-06-27 | 2015-06-26 | 0 | 18-7-2014 | working
39 | Nebuliser Adult | C |  |  | 2014-07-08 | EXCEL CARE ENGINEERING | EXCEL CARE ENGINEERING~ MADURAI |  | OTHERS |  |  |  | 476 | 14-8-2014 | working
40 | Elisa Washer | B2 | merilyzer Eia Wash | 101604 | 2014-11-12 | Meril Diognostics~ Pvt Ltd ~ survey no 135/2/B Muktanand Marg~ Chala~ Vapi - 396191~ Gujarat ~ India | M.R Enterprises ap-44. 9th street~ Anna nagar west ext~ chennai - 600101 | lab | DMS | 63162/sandamp;p/114-15/ dt 21/10/2014 |  |  | 130000 | 2014-12-11 | working
41 | Elisa Reader | B2 | Elisa reader 004 - Merilyser EIAQUANT |  | 2014-12-01 | Meril Diagnostics Pvt Ltd~ survey no 135/2/b ~ Muktanand Marg~ chala ~ vapi -396191~Gujarat~ India | M.R Enterprises~ AP- 44~ 9 TH Street ~ anna nagar west EXTN. CHENNAI - 600101 | Lab | DMS |  |  |  | 0 | 2014-01-12 | working
42 | Weighing machine adult | C |  |  |  | jupiter manufacturing works | jupiter manufacturing works | mot |  |  |  |  | 0 | 23-8-2012 | working
43 | Deep Freezer | B2 |  |  | 2012-03-28 | pawar electronics | pawar electronics | store |  |  |  |  | 51250 | 15-8-2012 | working
44 | Refrigerator | C |  | BDIT 1390 | 2012-10-20 | REMI |  | BLOOD BANK | TNHSP |  | 2012-10-25 | 2012-10-25 | 0 | 27-8-2012 | working
45 | Laryngoscope(Adult) | C |  |  | 2011-01-29 | JUPITER MANUFACTURING | JUPITER MANUFACTURING | MOT | RCH | RCH11/TNMSC/4538/2010 DT 6/10/10 |  |  | 0 | 15-8-2012 | working
46 | B.P.apparatus stand model | C | stand type |  | 2011-04-28 | jayam enterprises | jayam enterprises | opd | TNHSP | tnhsp/tnmsc/p3e16/2008 dt 29.08.2008 |  |  | 0 | 2012-12-08 | working
47 | B.P.apparatus stand model | C |  |  | 2012-04-28 | jayam enterprises | jayam enterprises | mot | TNHSP | tnhsp/tnmsc/p3e16/2008 dt 29.08.2008 |  |  | 0 | 13-8-2012 | working
48 | B.P.apparatus stand model | C |  |  |  | jayam enterprises | jayam enterprises | female ward | TNHSP | tnhsp/tnmsc/p3e16/2008 dt 29.08.2008 |  |  | 0 | 13-8-2012 | working
49 | B.P.apparatus stand model | C |  |  | 2011-04-28 | jayam enterprises | jayam enterprises | maty | TNHSP | tnhsp/tnmsc/p3e16/2008 dt 29.08.2008 |  |  | 0 | 13-8-2012 | working
50 | Ultra Sonogram -MOBILE | B | logiq p3 |  | 2011-09-27 | wipro GE health care | wipro GE health care | maternity ward | TNHSP | rch 2/tnmsc/engg /e24/2010 |  |  | 0 | 22-8-2012 | working
51 | Needle destroyer / Syringe Destroyer | C |  |  | 2003-07-26 | lmco scientific instru~ents and chemicals | lmco scientific instru~ents and chemicals | pacr op | TNHSP | 4242147/sep/1/03.~ 26/5/2003 |  |  | 0 | 2012-04-09 | working
52 | Auto Clave HP Vertical (2 bin) | C |  |  | 2009-08-07 | solokrafts | solokrafts | pacr mot | TNHSP | tnhsp/tnmsc/engg/e5/2009 dt 29/4/2009 |  |  | 0 | 22-8-2012 | working
53 | Haemoglobinometer | C |  |  | 2011-09-14 | solokrafts | solokrafts | lab | RCH | rch II tnmsc/engg/4538/2010 dft 6/10/10 | 2011-09-22 | 2012-09-14 | 4300 | 30-8-2012 | working
54 | Haemoglobinometer | C |  |  | 2011-09-14 | solokrafts | solokrafts industries chennai ~ mob 09566155508.. tel- 044 25322006 | maty lab | TNHSP | tnhsp/tnmsc/engg/4538/2010 dt 6/10/10 | 2011-09-16 |  | 4300 | 30-8-2012 | working
55 | Haemoglobinometer | C |  |  | 2011-09-14 | solokrafts | solokrafts | store | RCH | tnhsp/tnmsc/engg/4538 dt 6/10/10 |  | 2011-09-14 | 4300 | 30-8-2012 | working
56 | Auto Clave HP Horizontal-CYLINDRICAL | C |  |  | 2009-12-23 | solokrafts industries | solokrafts industries | ot | RCH | rchII/tnmsc/engg/e18/2009 |  |  | 0 | 21-8-2012 | working
57 | Needle destroyer / Syringe Destroyer | C |  | op |  | lmco scientific instru~ents and chemicals | lmco scientific instru~ents and chemicals |  |  | 41247/sep/1/03 ~ 26/3/2003 |  |  | 0 | 2012-04-09 | working
58 | Haemoglobinometer | C |  |  | 2011-09-14 | solokrafts | solokrafts | lab | TNHSP | stnhsp/tnmsc/engg /4538/2010 dt 6/10/10 | 2011-09-16 | 2012-09-14 | 4300 | 30-8-2012 | working
59 | Operating Microscope(Eye) | B1 |  |  | 2009-03-18 |  | JDHS VIRUDHUNAGAR |  | OTHERS | 3093/TNMSC/ENGG/2009 DT 01/03/2010 |  |  | 0 | 2012-05-09 | working
2493562