## Major Equip
MAJOR EQUIPMENTS -GOVERNMENT HOSPITAL-Kudavasal
S.NO | Name of the Equipments | Category | Model No | Serial No | Date of receipt | Supplier Name | Location | Source of supply | Purchase Order | Installation Date | Warranty/AMC | Cost | Working/Not Working
1 | Radiant warmer | C | 100WS | - | 05.04.1996 | Phoenix Medical Systems | Labour ward | - | 40/S2/LLB/I/95 dt 08.1201995 | 05.04.1996 | - | 14208 | working
2 | Radiant warmer | C | OCW-100 | 2999 | 17.11.2008 | Datex Ohmeda | Labour ward | TNHSP | TNHSP/TNMSC/P3E9/2008 dt 29.08.2008 | 17.11.2008 | - | 18720 | working
3 | Ultrasonogram | B2 | 600A | U32020970470DHE1 | 22.08.2009 | vin Biotech Systems | Scan Room | DMS | 39060/S&P/1/2009 dt 29.06.2009 | 22.08.2009 | - | 274800 | working
4 | Shadowless Lamp | B2 | - | - | 05.12.2003 | Associated Surgicals | Operation Theatre | DMS | 4852/03/S1 dt 12.11.2003 | 05.12.2003 | - | 5700 | working
5 | Shadowless Lamp | B2 | - | - | 07.02.2003 | Associated Surgicals | Operation Theatre | DMS | 4852/03/S1 dt 12.11.2003 | 07.02.2003 | - | 5700 | working
6 | Shadowless Lamp | B2 | - | - | 07.03.2009 | Jupiter Mfg Works | Operation Theatre | DMS | 47975/S&P/1/2008 dt 04.02.2009 | 07.03.2009 | - | 40000 | working
7 | Phototheraphy Unit | C | - | - | 27.03.1996 | Bet Medicals | Labour ward | - | - | 27.03.1996 | - | 5300 | working
8 | Pulse Oximeter | B2 | 8600 Pulse Oximeter | 10400H890 | 29.08.2007 | Joint Director of Health Services Tiruvarur | G.Ward | - | TNMSC/EQUP/98 DT 14.11.1998 | 29.08.2007 | - | 34000 | working
9 | Pulse Oximeter | B2 | Futura Pleth | 8107 | 16.03.2009 | Silicons labs Pvt Ltd | Operation Theatre | DMS | 8623/S&P/1/2009 dt 24.02.2009 | 16.03.2009 | - | 26698.88 | working
10 | OT Table | B2 | - | - | 21.04.2008 | - | Operation Theatre | - | Received from Govt. Hospital Thiruthuraipoondi | 21.04.2008 | - | 35000 | working
11 | OT Table | B2 | - | - | 16.02.2009 | Vibash Surgicals, coimbatore | Operation Theatre | DMS | 51190/S&P/1/2008 | 16.02.2009 | - | 51400 | working
12 | Boyles Apparatus | B2 | - | - | 21.04.2008 | - | Operation Theatre | - | Received from Govt. Hospital Thiruthuraipoondi | 21.04.2008 | - | 84700 | working
13 | Semi Auto Analyser | B2 | Prietest Touch | AT0820209RBK | 15.02.2010 | Robonik India Pvt Ltd | laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 28.1.2009 | 15.02.2010 | - | 59500 | working
14 | Centrifuge | C | BD-A54 | 73806 | 08.02.2008 | Solokrafts Industries | laboratory | TANSACS | TANSACS/GFATM-111/TNMSC/2000 | 08.02.2008 | - | 2257 | working
15 | Centrifuge | C | BD-153 | 76587 | 06.06.2009 | Solokrafts Industries | laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 28.1.2009 | 06.06.2009 | - | 10873 | working
16 | Hot Air Oven | C | BDI-50 | 76290 | 06.06.2009 | Solokrafts Industries | laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 29.1.2009 | 06.06.2009 | - | 11953 | working
17 | Incubator | C | - | - | 06.06.2009 | Solokrafts Industries | laboratory | TNHSP | TNHSP/TNMSC/ICB/P3E2/2009 dt 29.1.2009 | 06.06.2009 | - | 11953 | working
18 | X-Ray Machine | B2 | 100ma | - | 19.08.2009 | Allengers | X ray Room | TNHSP | TNHSP/TNMSC/ICB/P3E1/2009 dt 10.02.2009 | 19.08.2009 | - | 273417 | working
19 | ECG Machine | B2 | Se300B | SE300B2A020893878 | 20.11.2008 | Madras Surgicals | G.Ward | TNHSP | TNHSP/TNMSC/P3E8/2008 dt 29.08.2008 | 20.11.2008 | - | 46550 | working
20 | Electric Sterilizer | C | - | - | 13.10.2008 | Jupiter Mfg Works | Operation Theatre | TNHSP | TNHSP/TNMSC/ENGG/P3E17/2008 dt 11.8.2008 | 13.10.2008 | - | 1400 | working
21 | Nebuliser | C | NE-C-25 | 755923 | 21.11.2013 | Logic Bio Medical, Trichy | G.Ward | Local Purchase | Local Purchase | 21.11.2013 | - | 2250 | working
22 | Nebuliser | C | NE-C-25 | 755922 | 21.11.2013 | Logic Bio Medical, Trichy | G.Ward | Local Purchase | Local Purchase | 21.11.2013 | - | 2250 | working
23 | Foetal Doppler | C | FD-9713 | DQTA1G2615 | 11.01.2012 | Sri Vignesh Engineering, Trichy | Labour ward | Local Purchase | Local Purchase | 11.01.2012 | - | 12500 | working
24 | Foetal Doppler | C | A100H | - | 29.08.2014 | Mediwaves Inc, Delhi | Transferred to Govt. Hospital Valangaiman | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 29.08.2014 | 28.08.2017 | 4650 | Working
25 | Foetal Doppler | C | A100H | - | 29.08.2014 | Mediwaves Inc, Delhi | Labour Ward | TNMSC | 17240/TNMSC/ENGG/2014-15 dt 16.05.2014 | 29.08.2014 | 28.08.2017 | 4650 | Working
26 | Binocular Microscope | B2 | BDI-13A | 22793 | 22.01.2014 | Solokrafts Industries | Laboratory | TNHSP | TNHSP/TNMSC/AG87c/2013 dt 22.10.2013 | 22.01.2014 | 21.01.2017 | 18600 | Working
27 | Binocular Microscope | B2 | BDI-13A | 22818 | 22.01.2014 | Solokrafts Industries | RNTCP | TNHSP | TNHSP/TNMSC/AG87c/2013 dt 22.10.2013 | 22.01.2014 | 21.01.2017 | 18600 | Working
28 | Binocular Microscope | B2 | BDI-13B | 22813 | 27.01.2012 | - | RNTCP | - | Received from Deputy Director of Medical services(TB) | 27.01.2012 | - | 18786 | Working
29 | Centrifuge with 6 buckets | C | BDI-152 | 20111640 | 05.02.2012 | Solokrafts Industries | Laboratory | TNHSP | TNHSP/TNMSC/AG29E/2011 dt 4.10.2011 | 05.02.2012 | - | 5345 | Working
30 | Maganvision lamp | C | Magnascope | - | 05.02.2012 | solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 dt 19.10.2011 | 05.02.2012 | - | 7337 | Working
31 | Cryotheraphy | C | CRYO-004B | - | 05.02.2012 | Solokrafts Industries, Chennai | Via/Vili Room | TNHSP | TNHSP/TNMSC/AG30A/2011 dt 14.10.2011 | 05.02.2012 | - | 24331 | Working
32 | Manual Colposcope | C | ARI-II-ID | - | 08.09.2012 | South India Surgicals | Via/Vili Room | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 dt 21.4.2012 | 08.09.2012 | - | 130000 | Working
33 | Electric Colorimeter | C | Prietest Easylab | PEL1061213RBK | 07.03.2014 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-2/dt 28.11.2013 | 07.03.2014 | 06.03.2015 | 20302 | Working
34 | Electric Colorimeter | C | Prietest Easylab | PEL1071213RBK | 07.03.2014 | Robonik India Pvt Ltd | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-2/dt 28.11.2013 | 07.03.2014 | 06.03.2015 | 20302 | Working
35 | Pulse Oximeter | B2 | Rad-8 | M71637 | 25.04.2014 | Grace Mfg Trading Co | Transferred to Govt. Hospital Thiruthuraipoondi | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 25.04.2014 | 24.04.2017 | 68968 | Working
36 | Pulse Oximeter | B2 | Rad-8 | M71661 | 25.04.2014 | Grace Mfg Trading Co | Transferred to Govt. Hospital Koothanallur | RCH | RCH-II/TNMSC/ENGG/E67/2014 dt 05.03.2014 | 25.04.2014 | 24.04.2017 | 68968 | Working
37 | Digital PH Meter | C | RPA-1GRTIOANPN | - | 20.01.2014 | RLT Instrumentation, Chennai | Laboratory | TNHSP | TNHSP/TNMSC/AG87b/2013-1 dt 28.11.2013 | 20.01.2014 | 19.01.2015 | 57353 | Working
38 | Water Bath | C | SMI-143 | - | 25.05.2014 | S.M.Scientific Instruments Pvt Ltd, Delhi | Laboratory | TNHSP | TNHSP/TNMSC/AG87h(R)/2014 dt 10.04.2014 | 25.05.2014 | 24.05.2015 | 8262 | Working
39 | Diathermy | B2 | ELSY 360M+ | ASG-M+1406178 | 27.06.2014 | JBS Mediitec india pvt ltd | Operation Theatre | TNMSC | 17240/TNMSC/ENGG/2014-2 dt 16.05.2014 | 27.06.2014 | 26.06.2017 | 218000 | Working
40 | Multiparamonitor | B2 | G3D | G3DL60266 | 24.07.2014 | Transhealth Care, Chennai | Operation Theatre | TNMSC | 17240/TNMSC/ENGG/2014-3 dt 16.05.2014 | 24.07.2014 | 23.07.2017 | 189000 | Working
41 | Rotary Shaker | C | BDI-149 | 2014080845 | 21.08.2014 | Solokrafts Industries, Chennai | Stores | TNHSP | TNHSP/TNMSC/AG87f(R)/2014-2 dt 19.05.2014 | 21.08.2014 | 20.08.2017 | 32200 | Working
42 | Autoclave(Portable) | C | - | - | - | - | Dressing room | - | - | - | - | 12000 | Working
43 | Autoclave(Portable) | C | - | - | - | - | Operation Theatre | - | - | - | - | 12000 | Working
44 | Vertical Autocalve | C | - | - | - | Solokrafts Industries | Operation Theatre | DMS | 51190/S&P/1/2008 dt 10.11.2008 | - | - | 33000 | Working
45 | Vertical Autocalve | C | - | - | - | Vishal Surgicals | Operation Theatre | DMS | 51190/S&P/1/2008 dt 10.11.2008 | - | - | 33000 | Working
46 | Vertical Autocalve | C | - | - | - | - | Operation Theatre | - | Received from Govt Dist Headquarters Hospital, mannargudi | - | - | 33000 | Working
47 | Akas Infusion Pump | C | infu 300 | - | 21.2.2007 | Akas Infusion Systems | G.Ward | DMS | 103928/S&P/1/2006 dt 07.03.2007 | 21.2.2007 | - | 24000 | Condem
2093783.88

## Minor Equip
Minor Equipments
Government District Headquarters Hospital -Kudavasal
S.no | Equipment Name | Oty | Cost of each item(Rs) | Total Cost(Rs) | Working/ Not working
1 | BP Apparatus | 4 | 2300 | 9200 | working
2 | Nebuliser | 2 | 2500 | 5000 | working
3 | Baby Weighing machine | 3 | 750 | 2250 | working
4 | Suction Apparatus | 5 | 6000 | 30000 | working
5 | Adult Weighing machine | 3 | 2000 | 6000 | working
6 | Hub Cutter | 6 | 1000 | 6000 | working