## status_report (2)
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 01/01/2004-02/03/2015
District : COIMBATORE
Institution : ANNUR
S.No. | Equipment Name | Equipment Code | Equipment Code(Institution) | Equipment Category | Equipment Model No | Equipment Serial No | CPC Code | Date of Receipt | Manufacturer Name | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | If AMC available | AMC valid upto | AMC agency name | Working status
1 | Ringlens System | END_RLS | 00085/RLS/2 | C | 8008 |  |  | 2011-03-19 | JUPITER | JUPITER | NCD | TNMSC | 04R/NRHM/TNMSC/ENGG/2011 | 2011-04-26 | 2014-02-21 | 4576 |  |  |  | 23-9-2014
2 | Ringlens System | END_RLS | 00085/RLS/3 | C | MEDITECH |  |  | 2009-10-13 | SABERWAL SURGICALS | SABERWAL SURGICALS | LABOUR WARD | TNMSC | 04/NRHM/HSP/TNMSC/2009 | 2009-09-24 | 2012-10-13 | 3640 |  |  |  | 23-9-2014
1 | Ultra Sonogram -POTABLE | IME_IUSP | 00085/IUSP/1 | B | CHISON 600A | 356430 |  | 2012-04-19 | CHISON | SURIYUA SURGICAL INDUSTRIES CHENNAI TRANSER FROM VALPARAI GOVT.HOSPITAL V | Scan room | TNHSP | TNHSP/2684/TNMSC/ENGG/2011DT11.11.2011 | 2012-04-19 | 2015-04-18 | 286598 |  |  |  | Working
4 | Ringlens System | END_RLS | 00085/RLS/1 | C |  |  |  | 2012-08-25 | SOLOKRAFTS | SOLOKRAFTS | NCD | TNMSC | TNHSP/TNMSC/ICB/AG31/2011 | 2012-08-25 | 2014-10-18 | 7337 |  |  |  | 23-9-2014
5 | Electri centrifuger | LAB_CENT | 00085/CENT/1 | C | BD INSTRUMENTS |  |  | 2009-06-26 | SOLOKRAFT | SOLOKRAFTS | LABORATORY | TNMSC | TNHSP/TNMSC/1B/P3E2/2009 | 2009-06-26 | 2012-06-06 | 10873 |  |  |  | 23-9-2014
2 | Cryo Surgery/Cryocautery Unit | EYE_CRYU | 00085/CRYU/1 | B2 | CRYO0048 | NA |  | 2012-01-19 | SOLOKRAFTS | SOLOKRAFTS | OT | TNMSC | TNHSP/TNMSC/AG30A/2011 | 2012-01-18 | 2013-01-19 | 24331 |  |  |  | Working
3 | 60 MA X-ray Unit | DEN_XRY60 | 00085/XRY60/1 | B2 | DENTAX | NA |  | 2010-03-29 | CONFIDENT DENTAL EQUIPMENT | CONFIDENT DENTAL EQUIPMENT | DENTAL O.P | TNMSC | 9214/TNMSC/ENGG/2009 | 2010-03-29 | 2013-03-29 | 72000 |  |  |  | Working
4 | Suction Apparatus - Electrical | OTE_SAEL | 00085/SAEL/2 | B2 | VACCUTECH | NA |  | 2009-03-28 | VISHAL MANUFACTURING CO | VISHAL HOSPITAL STEEL FURNITURE MANUFACTURING CO | OT | TNMSC | NA | 2009-03-27 | 2010-03-28 | 16224 |  |  |  | Working
9 | PH meter | LAB_PHMT | 00085/PHMT/1 | C |  |  |  | 2014-03-24 | RLT INSTRUMENTATION PVT LTD | RLT INSTRUMENTATION PVT LTD |  | TNMSC |  | 2014-03-24 |  | 60221 |  |  |  | Working
5 | Semi auto analyser | OTE_ACV1 | 00085/ACV1/1 | B2 | PRIETEST | AT001020RBK |  | 24/03/09 | Robonik | ROBONIK Ltd | LAB | TNMSC | TNHSP/TNMSC/ENGG/AG/2011 | 30/03/09 | 29/03/2012 | 55500 |  |  |  | Working
11 | Weighing machine infant | NNE_WTMB | 00085/WTMB/1 | C |  |  |  |  | Brawn | Brawn | Labour ward |  |  |  |  | 0 |  |  |  | Working
12 | Ultra Sonogram -MOBILE | IME_IUSM | 00085/IUSM/1 | B |  |  |  | 2003-12-22 | LandT Sonata No 3 S 6430 | LandT Sonata No 3 S 6430 | Scan room |  |  | 2003-12-22 | 2004-12-21 | 0 |  |  |  | Working
6 | Operation Table Hydraulic Major | OTE_TAMA | 00085/TAMA/1 | B2 | NA | NA |  | 20/01/1986 | GESCO |  | OT | NA | NA | 20/01/1986 | 19/01/1998 | 33000 |  |  |  | Working
7 | Operation Table Hydraulic Major | OTE_TAMA | 00085/TAMA/2 | B2 | NA | NA |  | 20/01/1986 | GESCO |  | OT | NA | NA | 20/01/1986 | 19/01/1998 | 33000 |  |  |  | Working
8 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00085/BACA/1 | B | NA | NA |  | 1985-12-06 | IOL India Ltd |  | OT | NA | NA | 1985-12-06 | 1986-11-06 | 98000 |  |  |  | Working
9 | Boyles apparatus with Circle Abosrber | ANA_BACA_T | 00085/BACA/2 | B | NA | NA |  | 13/7/1986 | IOL India Ltd |  | OT | NA | NA | 13/7/1986 | 1987-12-07 | 98000 |  |  |  | Working
17 | Shadowless Lamp stand model | OTE_MOLT | 00085/MOLT/1 | B |  |  |  | 1985-11-25 |  |  | OT |  |  | 1985-11-25 | 1986-11-25 | 0 |  |  |  | 17-12-2010
18 | Shadowless Lamp stand model | OTE_MOLT | 00085/MOLT/2 | B |  |  |  | 1985-11-25 |  |  | OT |  |  | 1985-11-25 | 1986-11-25 | 0 |  |  |  | 17-12-2010
19 | Shadowless Lamp stand model | OTE_MOLT | 00085/MOLT/3 | B | [6 empty] | OT |  |  |  |  | 0 |  |  |  | 17-12-2010
20 | Shadowless Lamp stand model | OTE_MOLT | 00085/MOLT/4 | B | [6 empty] | OT |  |  |  |  | 0 |  |  |  | 17-12-2010
21 | Bowl steriliser - Medium | OTE_BSMD | 00085/BSMD/1 | C |  |  |  |  | ARRO 16 | ARRO 16 | OT |  |  |  |  | 0 |  |  |  | 17-12-2010
10 | Dental Unit with motor for dental OP | DEN_DEUN | 00085/DEUN/1 | B2 | EXCEL9 | NA |  | 2010-02-04 | CONFIDENT DENTAL EQUIPMENT | CONFIDENT DENTAL EQUIPMENT | Dental unit | TNMSC | NA | 2010-05-04 | 2013-04-04 | 189210 |  |  |  | Working
11 | Autoclave vertical single bin | OTE_ACV1 | 00085/ACV1/2 | C | NA | NA |  | 25/10/2008 | Yorco Instruments | Yorco Instruments | OT | NA | NA | 25/10/2008 | 27/10/2009 | 15000 |  |  |  | Working
12 | ECG machine ordinary | CRD_ECGO | 00085/ECGO/1 | B | MAGICRXA | NA |  | 2010-01-01 | MAESTROS | MAESTROS | ECG ROOM | NA | NA | 2010-01-01 | 31/1/2013 | 20800 |  |  |  | Working
13 | Diathermy Machine (Electric Cautery) | OTE_SDIA | 00085/SDIA/1 | B | EBS026 | 5968325 |  | 2007-01-06 | MHS medicare MX-250 | MHS medicare MX-250 | OT | NA | NA | 2007-01-06 | 2008-01-06 | 135000 |  |  |  | Working
14 | X-ray Machine 100 mA | IME_XRY100_T | 00085/XRY100/1 | B | STALLION 100 | NA |  | NA | IGE India Ltd.~ ST 100 0/95424 | IGE India Ltd.~ ST 100 0/95424 | X-Ray Room | NA | NA | 14/05/1986 | 13/05/1987 | NA |  |  |  | Working
27 | X.ray lobby single | XRA_XRLS | 00085/XRLS/1 | C |  |  |  |  | Medico sugrical engineering | Medico sugrical engineering | X-Ray Room |  |  |  |  | 0 |  |  |  | Working
28 | X.ray lobby Multiple | XRA_XRLM | 00085/XRLM/1 | C |  |  |  |  | Medico sugrical engineering | Medico sugrical engineering | X-Ray Room |  |  |  |  | 0 |  |  |  | Working
29 | X-ray Machine 30 mA(Mobile) | IME_XRY30_T | 00085/XRY30/1 | B | [6 empty] | X-Ray Room |  |  |  |  | 0 |  |  |  | Working
30 | Semi auto analyser | LAB_SEAA | 00085/SEAA/1 | B2 |  |  |  | 2004-08-01 | ERBA Chemical plus transation | ERBA Chemical plus transation | Scan room |  |  | 2004-08-01 | 2005-08-01 | 0 |  |  |  | Working
31 | Refrigerator | LAB_REFR_T | 00085/REFR/1 | C | Electrolux 165Litres |  |  | 2007-12-24 | Robonik | Davey Pharma | Lab | TNHSP | TNHSP/TNMSC/P2G5/2007 Dt-- 17.09.2007 | 2007-12-24 | 2008-12-23 | 10000 | AMC | 2011-02-28 | Davey Pharma | Working
15 | Colposcope | END_CALS | 00085/CALS/1 | B2 | ARI 11-1D | R20130104 |  | 2013-03-30 | SISCO | SISCO | NCD | TNMSC | TNHSC/TNMSC/ENGG/AG30/2011 | 2013-04-10 | 2014-04-09 | 136500 | NO AMC |  |  | Working
33 | Electri centrifuger | LAB_CENT | 00085/CENT/2 | C | BDI152 |  |  | 2012-08-25 | SOLOKRAFTS | SOLOKRAFTS | LAB | TNHSP | TNHSP/TNMSC/AG29E/2011 |  | 2014-10-03 | 5345 | NO AMC |  |  | Working
16 | Radiant Warmer |  |  | B2 | NICE400 | NA |  | NA | NICE NEOTECH |  | LABOUR WARD | TNHSP | NA | NA | NA | 18387 |  |  |  | Working
1325326