## Sheet1
KARUNGAL GH
S.No | Equipment Name | Category | Model | Serial Number | Date of Receipt | Manufacturer Name | Supplier Name | Location | Source of Supply | Purchase Order | Date of Installation | Warranty Valid Upto | Cost of the Item | Working Status
1 | Diathermy Unit | B | ELSY-360M+ | ASGM+1406176 | 25/7/14 | ALAN ELECTRONICS SYSTEMS PVT LTD MUMBAI | JBS MEDIITEC INDIA PVT LTD | OT | TNHSP | 17240/TNMSC/ENGG/2014 16/05/2014 | 25/7/14 | 24/7/17 | 218000 | Working
2 | Shadowless Lamp | B | Hospilite 1001 |  | 26/1/08 | Hospitech Industries | Jupiter Manufacturing Works | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E17 30/10/07 | 26/1/08 | 25/1/09 | 13749 | Working
3 | Shadowless lamp - Portable | B | Xenon/Coolex |  | 3/3/07 | Appollo Surgical Instruments | Appollo Surgical Instruments | Labour Ward | TNHSP | 69/TNHSP/TNMSC/ENGG/2005/DE9 23/05/06 | 2007-03-03 | 2008-02-03 | 11250 | Working
4 | Binocular Microscope | B2 | CH20iBIMF | 13C1321 | 5/8/13 | Olympus Opts Systems India Pvt Ltd | ARTEC SCIENTIFIC CORPERATION | LAB | TNHSP | 301/JA/2013 | 2013-08-08 | 2014-07-08 | 29967 | Working
5 | Binocular Microscope | B2 | BDI 13-A | 20119 | 24/1/14 | SOLOKRFTS INDUSTRIES | SOLOKRFTS INDUSTRIES | LAB | TNHSP | TNHSP/TNMSC/SG87C/2013/22/10/2013 | 22/2/2014 | 21/2/2015 | 19530 | Working
6 | Boyles Apparatus | B2 | Boyle Basic | 1132M1/96 | 2010-03-12 | IOL LIMITED | RECEVIED FROM GH PADMANATHAPURAM | OT | TNHSP | TNHSP/TNMSC/ENGG/P3A50/2009 |  |  | 91520 | Working
7 | Cryotherapy Unit | B2 | Super Deluxe Cryo 004B ON-OFF |  | 21/7/12 | BASCO India | SOLOKRAFT INDUSTRIES | NCD OPD | TNHSP | TNHSP/TNMSC/AG30A/2011 DT 14/10/2011 | 21/7/12 | 20/7/13 | 24331 | Working
8 | ECG Machine Computerized | B2 | SE300B | SE309035-M11801710027 | 26/9/11 | EDAN INSTRUMENTS INC | MADRAS SURGICALS andamp; CHEMICALS | GENERAL WARD | TNHSP | TNHSP/TNMSC/ENGG/AG27/2011 DT 4-7-2011 | 26/9/11 | 25/9/12 | 36637 | Working
9 | Hydraulic OT Table | B2 |  |  | 26/1/08 | Jupiter Manufacturing Works | Jupiter Manufacturing Works |  | TNHSP | tnhsp/tnmsc/pze6/2007/11/9/2007 | 26/1/08 | 25/1/08 | 53000 | Working
10 | Manual colposcope | B2 | ARI-111D | R20130126 | 2013-04-03 | ARI TECHNOLOGY (GROUP) CO LTD CHINA | SOUTH INDIAN SURGICAL | OT | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 21/4/2012 | 29/3/13 | 28/3/14 | 136500 | Working
11 | Multiparamonitor | B2 | G3D |  | 28/7/14 | General Meditech Inc | TRANS HEALTH CARE INDIA PVT LTD | OT | TNMSC | 17240/TNMSC/ENGG/2014-3 DT 16/5/2014 | 28/7/14 | 27/7/15 | 60000 | Working
12 | Pulse Oximeter | B2 | Rad-8 | M71833 | 2014-10-04 | MACIMO CORPERATION | GRACE MFG TRADING | OT | RCH | RCH-H/TNMSC/ENGG/E67/2014 05/3/2014 | 16/4/2014 | 15/4/2019 | 68968 | Working
13 | Pulse Oximeter | B2 | Rad-8 | M71864 | 2014-10-04 | MACIMO CORPORATION | GRACE MFGandamp;TRADING CO | OT | RCH | RCH-II/TNMSC/ENGG/E67/2014 05/03/2014 | 16/4/2014 | 15/4/2019 | 68968 | Working
14 | Pulse Oximeter | B2 | Futura Pleth | 08100 | 2009-12-03 | SILICON LABS PVT LTD | SILICON LABS PVT LTD | OT | S&P | 8623/S&P/1/2009 DT 24/2/2009 | 2009-12-03 | 2010-11-03 | 25672 | Working
15 | Scan Machine | B2 | Sonata | N03S6542 | 2004-12-01 | L&T | L&T (RD FROM GH PADMANABHAPURAM) | SCAN ROOM |  |  | 2004-12-01 |  | 311537 | Working
16 | Semi auto analyser | B2 | Pretest Touch |  | 2014-05-04 | Robonik | Robonik |  | TNMSC (from Kanyakumari GH) | 10072/TNMSC/ENGG/2013 DT 5/3/14 | 2014-05-04 | 2015-04-04 | 48426 | Working
17 | Semiautoanalyser | B2 | Prietest Touch | AT0430807RBK | 17/10/07 | Robonik India Pvt Ltd | Robonik India Pvt Ltd | Lab | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E4 19/09/07 | 17/10/07 | 16/10/08 | 69422 | Not Working
18 | X-Ray Unit - 100 mA | B2 | AMS 100R | 2K90510066-X | 22/9/2009 | Allenger | Allenger | OT | TNHSP | TNHSP/TNMSC/ICB/P3E1/2009 | 22/9/09 | 21/9/10 | 270710 | Working
19 | Alpha Bed with Motor | C | 9P-047000 (Oasis 2000) | 0701-04623 | 24/6/07 | Apex Medical Corp | Jupiter Manufacturing Works | ward | S&P | 35047/S&P/1/07/24/4/2007 | 24/6/07 | 23/6/08 | 6600 | Working
20 | Autoclave Vertical (2 bin) | C | 16*24 |  | 25/3/08 |  | Jupiter Manufacturing Works | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E11 28/11/07 | 25/3/08 | 24/3/09 | 33280 | Working
21 | Autoclave Vertical (2 bin) | C | 16*24 | 423 | 25/3/08 |  | Jupiter Manufacturing Works | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E11 28/11/07 | 25/3/08 | 24/3/09 | 33280 | Working
22 | Autoclave Vertical Small (1 bin) | C |  |  | 3/4/08 |  | Jupiter Manufacturing Works | OT |  | TNHSP/TNMSC/ENGG/2007/P2E11 28/11/07 | 2008-03-04 | 2009-02-04 | 21000 | Working
23 | BP Apparatus | C | Swam |  |  | Royal Rubber Works |  | ECG Room |  |  |  |  | 1500 | Working
24 | BP Apparatus | C | Deluxe | 04114 | 30/10/07 | DIAMOND | APOLLO |  | TNHSP | TNHSP/TNMSC/ENGG/2005/DES | 30/10/07 | 29/10/08 | 530 | Working
25 | BP Apparatus | C | Deluxe | 13790 |  | Diamond |  | NCD |  |  |  |  | 1500 | Working
26 | BP Apparatus | C | Deluxe | 03418 |  | Diamond |  | NCD |  |  |  |  | 1500 | Working
27 | BP Apparatus - Stand Model | C | Novaphon | 144793 |  | Bhasin Sons Pvt Ltd |  | OT |  |  |  |  | 1500 | Working
28 | Cardiac Monitor | C | Micromon NxT | X07T0125 | 2008-11-01 | L&T | L&T | OT | TNHSP | TNHSP/TNMSC/ENGG/2007/P2E9 dt 11/9/2007 | 2008-11-01 | 2009-10-01 | 27810 | Working
29 | Centrifuge | C | BDI-152 | 20111164 | 21/4/12 | BD INSTRUMENTATION (INDIA) | SOLOKRAFT INDUSTRIES | LAB | TNHSP | TNHSP/TNMSC/AG29E/2011 | 21/4/12 | 20/4/13 | 5090 | Working
30 | Ice Lined Refrigerator | C |  |  |  | Haier |  | ECG Room |  |  |  |  | 20000 | Working
31 | Infusion Pump | C | Infu 300 | E03070413 | 4/3/07 | Akas Medicals | Akas Medical Equipments | Labour Ward | DMS |  | 2007-04-03 | 2008-03-03 | 50572 | Working
32 | Laryngoscope with 4 blades | C | [5 empty] | OT |  |  |  |  | 3000 | Working
33 | Magnavision Lamp | C | 8008 |  | 2011-09-05 | JUPITER MANUFACTURING WORKS | JUPITER MANUFACTURING WORKS | OT | OTHERS | 04R/NRHM/TNMSC/ENGG/2011 DT 12-2-2011 | 2011-09-05 | 2014-08-05 | 4400 | Working
34 | Magnavision Lamp (Ring Lens System) | C | Magnascope |  | 21/4/12 | Lensel Optics Pvt Ltd | Solokraft Industries | NCD Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 19/10/11 | 21/4/12 | 2013-10-04 | 7337 | Working
35 | Nebuliser | C |  | 092120 |  | Ready Mist |  | Injection Room |  |  |  |  | 1500 | Working
36 | Needle Destroyer | C |  | 9336 |  | Reprosparrk |  | General ward |  |  |  |  | 780 | Working
37 | Needle Destroyer | C |  |  |  | Bio Plus |  | Injection Room |  |  |  |  | 1500 | Working
38 | Needle Destroyer | C |  |  |  | MICO |  | Lab |  |  |  |  | 1500 | Working
39 | PH Meter | C | RPA-1GRTIOANPN | 1124 | 27/5/14 | RLT INSTRUMENTATION | RLT INSRUMENTATION | LAB | TNHSP | TNHSP/TNMSC/AG87B/2013-1 28/11/2013 | 28/5/14 | 17/5/15 | 60221 | Working
40 | Photoelectric Caloriemeter | C | SET100 | 7582 |  | Systronic |  | Lab |  |  |  |  | 8000 | Working
41 | Phototherapy Unit | C | Nice 4000PT | 0607266 | 6/11/06 | Nice Neotech | MADRAS SURGICALS and CHEMICALS | Labour Ward | TNHSP | TNHSP/TNMSC/ENGG/E7/06 11/5/06 | 6/11/06 | 2007-05-11 | 9900 | Working
42 | Phototherapy Unit | C | Nice 4000CFL | 0711954 | 2007-06-12 | NiceNeoTech | MADRAS SURGICALS and CHEMICALS | Labour Ward | TNHSP | TNHSP/TNMSC/P2E10/2007/19/09/2007 | 2007-06-12 | 2008-05-12 | 10260 | Working
43 | Radiant Warmer | C | Nice 2007S | 0711838 | 19/11/07 | Nice Neotech | MADRAS SURGICALS and CHEMICALS | Labour Ward | TNHSP | TNHSP/TNMSC/P2E10/2007 19/9/2007 | 19/11/07 | 18/11/08 | 17680 | Working
44 | Refrigerator | C | Genius | INC052705314 |  | Whirlpool |  | ECG Room |  |  |  |  | 10000 | Working
45 | Refrigerator | C | [5 empty] | Lab |  |  |  |  | 10000 | Working
46 | Rotary Shaker | C | BDI-149 |  | 2014-07-06 | BD Instruments | Solokraft Industries | Lab | TNHSP | TNHSP/TNMSC/AG87® dt 19/8/14 | 2014-08-11 | 2015-07-11 | 32200 | Working
47 | Sterilizer Big - 1 | C |  |  | 2008-06-05 | SURYA SURGICAL INDUSTRIES | SURYA SURGICAL INDUSTRIES | OT | TNHSP | TNHSP/TNMSC/P2E20/2007 | 2008-06-05 | 2009-05-05 | 1630 | Working
48 | Sterilizer Big - 2 | C |  |  | 2008-06-05 | SURYA SURGICAL INDUSTRIES | SURYA SURGICAL INDUSTRIES | OT | TNHSP | TNHSP/TNMSC/P2E20/2007 | 2008-06-05 | 2009-05-05 | 1630 | Working
49 | Sterilizer Medium - 1 | C |  |  | 23/9/06 | JUPITER MANUFACTURING WORKS | JUPITER MANUFACTURING WORKS | OT | TNHSP | THMSC/TNMSC/ENGG/E10/06 DT 26-6-2006 | 23/9/06 | 22/9/06 | 2200 | Working
50 | Sterilizer Medium - 2 | C |  |  | 23/9/06 | JUPITER MANUFACTURING WORKS | JUPITER MANUFACTURING WORKS | OT | TNHSP | THMSC/TNMSC/ENGG/E10/06 DT 26-6-2006 | 23/9/06 | 22/9/06 | 2200 | Working
51 | Sterilizer small - 1 | C | [5 empty] | Labour Ward |  |  |  |  | 1700 | Working
52 | Suction Apparatus | C | [5 empty] | ECG Room |  |  |  |  | 4000 | Working
53 | Suction Apparatus | C | [5 empty] | ECG Room |  |  |  |  | 4400 | Working
54 | Suction Apparatus | C |  |  |  | YuyuE7A -23D |  | Labour Ward |  |  |  |  | 4400 | Working
55 | Suction Apparatus | C |  |  |  | YuyuE7A -23D |  | OT |  |  |  |  | 4400 | Working
56 | Suction Apparatus | C | [5 empty] | OT |  |  |  |  | 4400 | Working
57 | Weighing Scale | C | Prestige |  |  |  |  | ECG Room |  |  |  |  | 640 | Condemned
58 | Weighing Scale - Adult | C | [5 empty] | NCD |  |  |  |  | 1500 | Working
59 | Weighing Scale - Electrpnic Baby | C | 15RB15 | 0710263 | 19/2/09 | Rudraksha Technologies | SURYA SURGICAL INDUSTRIES | LABOUR WARD | OTHERS | 51190/Sandamp;P/1/2008 DT 10-11-2008 | 19/2/09 | 18/2/10 | 10000 | Working
60 | Autoclave Small (1 bin) | [6 empty] | OT |  |  |  |  | 20000 | Working
2003727