## status_report
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 01/03/2003-04/03/2015
District : NAMAKKAL
Institution : VENNANDUR
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Manufacturer Name | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working status
1 | Electric Shaker | C | BPI149 |  | 2014-10-18 | B.D.Instrumentation | SOLOKRAFTS INDUSTRIES |  | TNHSP |  |  | 2015-12-11 | 33810 | Working
2 | Foetal Doppler | C | Neodopd FF Sonic |  |  |  |  | OP |  |  |  |  | 6000 | Working
3 | Nebulizer baby | C | Microlux |  |  |  |  | OP |  |  |  |  | 2400 | Working
4 | Weighing machine adult | C | [5 empty] | Ward |  |  |  |  | 882 | Working
5 | ECG machine ordinary | B | [5 empty] | Scan Room |  |  |  |  | 23850 | Working
6 | Pulse Oximeter | B | Nonin |  |  |  |  | OT |  |  |  |  | 36900 | Working
7 | B.P.apparatus table model | C | [5 empty] | OP |  |  |  |  | 740 | Working
8 | B.P.apparatus table model | C | [5 empty] | OP |  |  |  |  | 740 | Working
9 | B.P.apparatus table model | C | [5 empty] | OP |  |  |  |  | 0 | Excess
10 | B.P.apparatus table model | C | [5 empty] | OP |  |  |  |  | 0 | Excess
11 | B.P.apparatus table model | C | [5 empty] | Scan Room |  |  |  |  | 0 | Excess
12 | B.P.apparatus table model | C | [5 empty] | OP |  |  |  |  | 0 | Excess
13 | B.P.apparatus table model | C | [5 empty] | OP |  |  |  |  | 0 | Excess
14 | Infusion pump | C | [5 empty] | OP |  |  |  |  | 24400 | Working
15 | Formaline dispenser | C | [5 empty] | OT |  |  |  |  | 5629 | Working
16 | Focus lamp Ordinary | C | [5 empty] | Female Ward |  |  |  |  | 4800 | Working
17 | Focus lamp Ordinary | C | [5 empty] | Female Ward |  |  |  |  | 0 | Excess
18 | Generator | C | [5 empty] | OP |  |  |  |  | 101532 | Excess
19 | Ultra Sonogram -MOBILE | B | Fukuda Denshi |  |  |  |  | Scan Room |  |  |  |  | 0 | Excess
20 | Binocular Mircroscope | B2 | [5 empty] | Lab |  |  |  |  | 18876 | Working
21 | Electri centrifuger | C | [5 empty] | Lab |  |  |  |  | 12000 | Working
22 | Mono cular Microscope | C | [5 empty] | Lab |  |  |  |  | 0 | Excess
23 | Mono cular Microscope | C | [5 empty] | Lab |  |  |  |  | 0 | Excess
24 | Needle destroyer / Syringe Destroyer | C | [5 empty] | Lab |  |  |  |  | 1500 | Working
25 | Bowl steriliser - Medium | C | [5 empty] | L/Room |  |  |  |  | 0 | Excess
26 | Operation Table Hydraulic Major | B2 | [5 empty] | OT |  |  |  |  | 55120 | Working
27 | Operation Table Hydraulic Major | B2 | [5 empty] | OT |  |  |  |  | 0 | Excess
28 | Refrigerator | C | Electrolux |  |  |  |  | Stores |  |  |  |  | 13750 | Excess
29 | Refrigerator | C | [5 empty] | Lab |  |  |  |  | 0 | Excess
30 | Refrigerator | C | [5 empty] | Stores |  |  |  |  | 0 | Excess
31 | Refrigerator | C | [5 empty] | OP |  |  |  |  | 0 | Excess
32 | Shadowless Lamp stand model | B | [5 empty] | OT |  |  |  |  | 13300 | Working
33 | Shadowless Lamp stand model | B | [5 empty] | OT |  |  |  |  | 0 | Excess
34 | Suction Apparatus - Electrical | C | [5 empty] | OT |  |  |  |  | 4500 | Excess
35 | Auto Clave HP Vertical (2 bin) | C | [5 empty] | OP |  |  |  |  | 25200 | Working
36 | UPS | C | NI-UL-BTI-749T0751~SMF BATTURY~ROCK |  | 2011-03-15 | RK-TEC HARD WARE andamp;SYSTERM | UNILINEENERGY SYSTERM | UPS CBIN | TNHSP |  | 2011-07-25 |  |  | Excess
37 | [12 empty] | 0 | Excess
38 | Refrigerator | C | Electrolux |  | 2007-12-08 | Davey Pharma | Davey Pharma | lab | TNHSP |  | 2007-12-08 | 2008-12-08 | 0 | Excess
39 | Electri centrifuger | C | BDI 152 |  | 2012-06-30 | B.D.INSTRUMENTATION | SOLOKRAFTS INDUSTRIES | LAB | TNHSP | TNHSP/TNMSC/AG29E/2011 |  | 2015-01-14 | 5345 | Working
40 | Magnavision Lamp | C | Devicesandamp;implants~ Such As-Ring Lens System with illumination |  | 2012-07-01 |  | SOLOKRAFTS INDUSTRIES | Labour Room | TNHSP | TNHSP/TNMSC/ICB/AG31/2011~DT19-10-2011 |  | 2015-07-01 | 6987 | Working
41 | Cryo Surgery/Cryocautery Unit | B2 | CRYO 004B ON-OFF SUPER DELUX |  | 2012-07-01 |  | SOLOKRAFTS INDUSTRIES | OT | TNHSP | TNHSP/TNMSC/AG30A/2011.14.10.2011 |  | 2013-07-01 | 23172 | Working
42 | Mannual Colposcope | C | 15ARI II-ID | R20130139 | 2013-03-01 | SOUTH INDIA SURGICAL CO LTD | SOUTH INDIA SURGICAL CO LTD | NCD ROOM | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 | 2013-04-16 | 2014-04-16 | 130000 | Working
43 | PH meter | C | RPA-TGRTIOANPN | 1147 | 2014-04-10 | RLT | RLT INSTRUMENTATION PVT LTD | LADORATORY | TNHSP | TNHSP/TNMSC/AG87B/2013-1 | 2014-05-27 | 2014-05-27 | 57353 | Working
44 | Electric Calorimeter | C | PEL0411212RBK Prletest easylab | PEL0411213RBK | 2014-02-25 | PRIEEST EASYLAB | ROBONIK(INDIA).PVT.LTD | LAB | TNHSP | TNHSP/TNMSC/AG87b/2013-2 | 2014-03-28 | 2015-03-28 | 20302 | Working
45 | Needle destroyer / Syringe Destroyer | C | NILSharps |  | 2014-09-26 | ARVS Equipments Pvt Ltd | SOLOKRAFTS INDUSTRIES |  | TNMSC | 20533/ICWM/TNMSC/ENGG/2013~DT06.03.2013 |  |  | 9756 | Working
46 | Printer | C | TVS E HD 250GOLD | BW3FE002334~2340~2366~2252~2261~2272~1617~1687~1968 | 2010-12-28 | T V S | HCL | OP~PH~MS~LAB~OFFICE | TNHSP | TNHSP/ELCOT/ICP/COMPUTER/P2H1/10-11DATED 07-12-2012 | 2011-07-25 | 2014-01-25 |  | Excess
47 | Computer | C | C101AA543194 | C101AA543194 TO C101AA543454 | 2010-12-28 | HCL | HCL | DR~OP~OP~PH~OPD~WRD~LAroom~USGMS~LAB~MAIISER | TNHSP | TNHSP/ELCOT/ICP/COMPUTER/P2H1/10-11DATED 07.12.2010 | 2011-07-28 | 2014-01-25 |  | Excess
48 | Cell Counter | B2 |  |  | 2011-03-21 | ROHEM | SRI DIAMOUND DIGNOSTIC DISTRIBUTOR | LAB | OTHERS |  |  |  |  | Excess
49 | Micro pipettes | C | PANTOZYME |  | 2011-03-21 |  | SIR DIAMOUNDDIAGNOTIC DIST |  | OTHERS |  |  |  | 2000 | Working
50 | Alpha Bed with motor | C | ORT 123 |  | 2007-07-13 |  | JUPITER | OPD | DMS | 35043/Sandamp;P/1/2007/30.04.2007 |  |  | 6600 | Working
51 | ESR tubes | C | QUALIGENS |  | 2011-03-21 |  | SRI DIAMOUND DIAGNOSTIC DISTRI | LAB | OTHERS |  |  |  | 1150 | Working
52 | Weighing Machine-Suspension | C |  |  | 2012-01-28 | prestige | Alan medical | opd | TNHSP | Tnhsp/Tnmsc/Engg/AG24/2011 |  |  | 627 | Working
53 | Haemoglobinometer | C | MARIENFELD |  | 2011-03-21 |  | SRI DIAMOUND DITRIBUTORS |  | OTHERS |  |  |  | 600 | Working
54 | Micro pipettes | C | 100-1000UL | 51204049 | 2012-12-03 | RVInstruments pv ltd | THE MEDESYSTEMS | lab | OTHERS |  | 2012-12-03 |  | 2860 | Working
55 | Nebuliser Adult | C | NE-C25 | 716588 | 2012-12-21 | OMRON | SRI SHANMUGA TRDERS | OPD | OTHERS |  | 2012-12-21 |  | 2000 | Working
56 | B.P.apparatus table model | C | 196043 | 41669~41671 | 2012-12-21 | DIAMOND DELUX | SRI SHANMUGA TRADERS | OP | OTHERS |  | 2012-12-21 |  | 2014 | Working
57 | Stethoscope | C | NORMAL | 152005 | 2012-12-21 | PACIFIC~DIAMOUND | SRI SHANMUGA TRADERS | OPD | OTHERS |  | 2012-12-21 |  | 275 | Working
58 | Stethoscope | C | NORMAL | 1978-02-01 | 2012-01-17 | MALHOTRA SURGICAL INDUS | SRI SHANMUGATRADERS | OP | OTHERS |  | 2012-01-17 |  | 250 | Working
59 | Weighing Machine-Suspension | C |  |  | 2013-01-02 | KRUPUS | SRI SHANMUGA TRADERS | OP | OTHERS |  | 2012-12-20 |  | 786 | Working
658006