## Sheet1
DIRECTORATE OF MEDICAL AND RURAL HEALTH SERVICES
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-INSTITUTION WISE
PERIOD : 01/01/2000-04/03/2015
District : TIRUPUR
Institution : JALLIPATTI
S.No. | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Manufacturer Name | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Reported Date | Working Status
1 | Non-Invasive BP Apparatus ( NIBP ) | C |  |  | 2013-02-20 | INFI GERMAN | SABARI HEALTH CARE | SIDDHA OP | OTHERS |  | 2013-02-20 | 2014-02-19 | 2350 | 1-8-2013 | Working
2 | Suction Apparatus - Electrical | C | [5 empty] | LABOUR ROOM |  |  |  |  | 4400 | 17-1-2013 | Working
3 | Cryo Surgery/Cryocautery Unit | B2 | CRYO 004 DELUXE |  | 2012-04-06 | SOLO KRAFTS INDUSTRIES | SOLO KRAFTS INDUSTRIES |  | TNHSP | TNHSP/TNMSC/AG30A/2011 DT 14.10.2011 |  | 2013-04-05 | 6987 | 17-1-2013 | Working
4 | Magnavision Lamp | C | 8008 |  | 2011-03-11 | JUPITER MANUFACTURING WORKS |  | LABOUR ROOM | OTHERS | 04R/NRHM/TNMSC/ENGG/2011 DT.12.02~2011 | 2011-03-19 | 2012-03-18 | 4400 | 17-1-2013 | Working
5 | Infusion Pump/Infusion Syringe Pump/Insulin Syringe Pump | C | INFU300 | E 04070550 | 2007-04-28 | AKAS MEDICAL EQUIPMENTS | AKAS MEDICAL EQUIPMENTS | WARD | DMS | TNMSC 105 DT 13.04.2005 | 2007-04-28 |  | 24400 | 17-1-2013 | Working
6 | Nebulizer baby | C |  |  | 1999-05-22 |  | ASSOCIATE SURGICALS | OP | DMS | 29550/CP II /1/99 DT 7.5.99 |  |  | 4250 | 17-12-2010 | Working
7 | Weighing machine adult | C | [5 empty] | OP | DMS |  |  |  | 0 | 17-12-2010 | Condem
8 | Weighing machine infant | C |  |  | 1997-03-15 | ASSOCIATED SURGICALS | ASSOCIATED SURGICALS | OP | DMS | 679901/CP II /1.1.96 |  |  | 570 | 17-12-2010 | Condem
9 | Weighing machine adult | C | [5 empty] | OP | DMS |  |  |  | 0 | 17-12-2010 | Condem
10 | Ultra Sonogram -MOBILE | B |  |  |  | LandT | LandT | Scan Room | OTHERS |  |  |  | 277366 | 17-12-2010 | Working
11 | B.P.apparatus table model | C | [5 empty] | OP | DMS |  |  |  | 1850 | 17-12-2010 | Working
12 | Shadowless Lamp stand model | B | [5 empty] | OT | DMS |  |  |  | 13500 | 17-12-2010 | Working
13 | Autoclave Mini | B | [5 empty] | OT | DMS |  |  |  | 2500 | 17-12-2010 | Working
14 | Operation Table Hydraulic Major | B2 | [5 empty] | OT | DMS |  |  |  | 0 | 17-12-2010 | Excess Entry
15 | Auto Clave HP Vertical (2 bin) | C | [5 empty] | OT | DMS |  |  |  | 0 | 17-12-2010 | Excess Entry
16 | Shadowless Lamp stand model | B | [5 empty] | OT | DMS |  |  |  | 13500 | 17-12-2010 | Working
17 | Glucometer | C | OPTIUM XCEED | XCN307-3230 | 2003-08-16 | ABBOTT | ASSOCIATED SURGICALS | Lab | DMS | 45036/SPS/1/2003 DT 12.06.2003 | 2003-08-23 |  | 3200 | 17-12-2010 | Working
18 | Refrigerator | C | COLD GOLD |  | 1996-04-04 | GODREJ | KUMAR AGENCIES ~ POLLACHI | Lab | DMS |  |  |  | 10500 | 17-12-2010 | Working
19 | Refrigerator | C | [5 empty] | Lab | DMS |  |  |  | 10500 | 17-12-2010 | Working
20 | Electri centrifuger | C |  |  | 1996-02-10 | ASSOCIATE SURGICALS | ASSOCIATE SURGICALS | Lab | DMS | 17103/S3/95 DT 6.2.96JDHS COIMBATORE | 1996-02-23 |  | 2240 | 17-12-2010 | Working
21 | Needle destroyer / Syringe Destroyer | C | [5 empty] | OP | TNHSP |  |  |  |  | 17-12-2010 | Condem
22 | B.P.apparatus table model | C | [5 empty] | Ward | DMS |  |  |  | 1850 | 17-12-2010 | Working
23 | Needle destroyer / Syringe Destroyer | C | [5 empty] | Ward |  |  |  |  | 0 | 17-12-2010 | Condem
24 | Needle destroyer / Syringe Destroyer | C | [5 empty] | Ward |  |  |  |  | 0 | 17-12-2010 | Condem
25 | Needle destroyer / Syringe Destroyer | C | [5 empty] | Ward |  |  |  |  | 0 | 17-12-2010 | Condem
26 | Needle destroyer / Syringe Destroyer | C | [5 empty] | OP |  |  |  |  | 0 | 17-12-2010 | Condem
27 | Needle destroyer / Syringe Destroyer | C | [5 empty] | Ward |  |  |  |  | 0 | 17-12-2010 | Condem
28 | Crammer wire splints | C | [10 empty] | 0 | 14-12-2011 | Excess Entry
29 | Ringlens System | C |  |  | 2012-04-06 | SOLO KRAFTS INDUSTRIES | SOLO KRAFTS INDUSTRIES |  | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 DT.19.10.2011 |  | 2015-04-05 | 6987 | 17-1-2013 | Working
30 | Weighing machine adult | C |  |  | 2012-02-23 | HARDIK MEDITECH ~ DELHI | ALAN MEDICAL LABORATORY | OP | TNHSP |  | 2012-02-23 |  | 598 | 17-1-2013 | Working
31 | Refrigerator | C | GL 245 FEDG5/2010 |  | 2011-01-01 | LG | KALIAMMAN AGENCIES ~ UDUMALPET | STORES | OTHERS |  | 2011-01-01 | 2012-01-01 | 15400 | 17-1-2013 | Working
32 | Glucometer | C | ONE TOUCH | SACWVBGJ | 2012-03-19 | JOHNSON andamp; JOHNSON | VIBASH SURGICALS | INJECTION OP | OTHERS |  | 2012-03-19 | 2012-03-19 | 1100 | 17-1-2013 | Working
33 | Non-Invasive BP Apparatus ( NIBP ) | C | HEM-7203 | 20110104125VG | 2011-07-13 | OMRON | SABERWAL SURGICALS | INJECTION OP | OTHERS |  | 2011-07-13 | 2011-07-13 | 2500 | 17-1-2013 | Working
34 | Nebuliser Adult | C | PRIMO NEB F400 | 11A628 0689 | 2012-03-19 | FLAEM NUOVA S.P.A | VIBASH COIMBATORE SURGICALS | INJECTION OP | OTHERS |  | 2012-03-19 | 2013-03-18 | 1900 | 17-1-2013 | Working
35 | Mannual Colposcope | C | ARII-1D | R20130229 | 2013-02-22 | SISCO LTD CHENNAI | SISCO LTD CHENNAI | NCD ROOM | TNHSP | TNHSP/TNMSC/ENGG/AG30/2011 | 2013-04-04 | 2014-04-04 | 130000 | 1-8-2013 | TF To Chennai
36 | ECG machine computerized | B | EDAN SE -3 | 309035-M11801710002 | 2011-07-04 | EDAN INSTRUMENTS | MADRAS SURGICAL andamp; CHEMICALS | INJECTION OP | TNHSP | TNHSP/TNMSC/AG27/2011 DT 14.02.2011 | 2011-10-11 | 2012-10-10 | 36637 | 17-1-2013 | Working
37 | Semi auto analyser | B2 | PRIETEST TOUCH | AT0070807RBK |  | ROBONIK |  | OP |  |  |  |  | 59000 | 17-1-2013 | Working
38 | Electri centrifuger | C | BDI152 |  | 2012-04-06 | SOLOCRAFT INDUSTRIES | SOLOCRAFT INDUSTRIES |  | TNHSP | TNHSP/TNMSC/AG29E/2011 |  | 2015-04-05 | 5090 | 31-7-2012 | Working
643575