## CHC PETLAWAD
Name of Consultant :- | [6 empty] | Date:- |  | 19/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC PETLAWAD(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OT ROOM | SUCTION M/C | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | SUCTION M/C | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | AUTOCLAVE(VERTICAL) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | BOYLES APPARATUS | G.I | * |  | 1 |  | 1 | 65000 | 65000
# |  | SPOT LIGHT | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | OT TABLE | * | * |  |  | 1 | 1 | 45000 | 45000
# |  | FOETAL DOPPLER | SAFE-MED | * |  | 1 |  | 1 | 80000 | 80000
# |  | ELECTO SURGICAL UNIT | SHAIL TECH | * |  | 1 |  | 1 | 150000 | 150000
# |  | SUCTION M/C | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | BOYLES APPARATUS | ALLIED JUPITER | * |  | 1 |  | 1 | 65000 | 65000
# |  | MULTI PARA MONITOR | BPL | CLAREO/ECTAZM1419 |  | 1 |  | 1 | 80000 | 80000
# |  | RADIANT WARMER | NEO TECH | NICE-2000/0612292 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY W/M | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | DUAL LIGHT INSURFLATOR | KLI | U.I/SF1711 |  | 1 |  | 1 |  | 0
# |  | AUTOCLAVE(VERTICAL) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | FUMIGATOR | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | O2 CONCENTRATOR | BPL | OG4203/AXTCOB4767 |  |  | 1 | 1 | 45000 | 45000
# |  | OT CEILLING LIGHT | INDO MEDICO | * |  | 1 |  | 1 | 150000 | 150000
# |  | PHOTOTHERAPY | BIRD MEDITECH | * |  | 1 |  | 1 | 15500 | 15500
# |  | BABY W/M(DIG) | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | PHOTOTHERAPY | BIRD MEDITECH | * |  | 1 |  | 1 | 15500 | 15500
# |  | RADIANT WARMER | PHOENIX | OCW-100/6004 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/180/07/1112 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/478/01/1213 |  | 1 |  | 1 | 38000 | 38000
# | LABOUR ROOM | BABY W/M (DIG) | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | DOMESTIC REFREGERETOR | GODREJ | * |  | 1 |  | 1 | 15000 | 15000
# |  | DOPPLER | SAFE-MED | * |  | 1 |  | 1 | 80000 | 80000
# |  | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | MICROSCOPE | MLW | 23339 |  | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | REMI R-8CBL | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# | PATHOLOGY | CENTRIFUGE 8-TUBE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFREGERETOR | SAMSUNG | RR1914ASBRR/2012 |  | 1 |  | 1 | 15000 | 15000
# |  | GLUCO METER | ACCU CHEK | ACTIVE/S9109094601 |  | 1 |  | 1 | 1500 | 1500
# |  | WATER BATH | * | * |  |  | 1 | 1 | 4500 | 4500
# |  | BINOCULAR MICROSCOPE | * | * |  |  | 1 | 1 | 30000 | 30000
# |  | BIO CHEMISTRY ANALYZER | ROBONIK | PEL0080214RBK |  |  | 1 | 1 | 200000 | 200000
# |  | BP APPARATUS(MER) | NAMMAT | 73681 |  | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | SMART CARE | 2013022229 |  |  | 1 | 1 | 6500 | 6500
# | WARD | NEBULIZER | SMART CARE | * |  | 1 |  | 1 | 6500 | 6500
# | OPD | ADULT W/M(DIG) | * | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS(MER) | * | * |  | 1 |  | 1 | 1100 | 1100
# |  | B.B. REFRIGERETOR | HICARE | * |  |  | 1 | 1 | 250000 | 250000
# | BLOOD BANK | HOT AIR OVEN | EXPOMI-TECH | * |  |  | 1 | 1 | 4500 | 4500
# |  | ILR | ELECTROLUX | MRB2000/920681120 |  | 1 |  | 1 | 250000 | 250000
# |  | MICROSCOPE | AJAY OPTIC | 12-J-11918 |  |  | 1 | 1 | 30000 | 30000
# |  | CENTRIFUGE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | WATER BATH | * | * |  |  | 1 | 1 | 4500 | 4500
# |  | MICROSCOPE | EDUVAL 30 | * |  |  | 1 | 1 | 30000 | 30000
# | NRC | BABY W/M(DIG) | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | W/M(DIG) | POWER TECH | * |  | 1 |  | 1 | 2500 | 2500
# |  | GLUCO METER | ROCHE | ACCU -CHEK/S9109039026 |  | 1 |  | 1 | 1500 | 1500
# |  | DOMESTIC REFREGERETOR | GODREJ | * |  | 1 |  | 1 | 15000 | 15000
# |  | ADULT W/M(DIG) | STROB | * |  | 1 |  | 1 | 2500 | 2500
# | COLD CHAIN ROOM | ILR | HAIER | BE07G530N00B2ASK0092 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | VEST FROST/44720938 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | VEST FROST/90300095 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | VEST FROST/20013904048 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | VEST FROST |  | 1 |  | 1 | 250000 | 250000
# | SONOGRAPHY | ULTRASOUND M/C | SONOSCOPE | A8/180001097 |  |  | 1 | 1 | 450000 | 450000
# | X-RAY ROOM | X RAY M/C 60 MA | CARDIAT 6208/AFIM 0037 | * |  | 1 |  | 1 | 450000 | 450000
# |  | ECG M/C | BPL | * |  | 1 |  | 1 | 52000 | 52000
# |  | DOMESTIC REFREGERETOR | WHIRLPOOL | * |  | 1 |  | 1 | 15000 | 15000
# | STORE | ADULT W/M(DIG) | VENUS | EPS2003 |  | 1 |  | 1 | 2500 | 2500
# |  | GLUCO METER | ROCHE | ACCU-CHEK |  | 1 |  | 1 | 1500 | 1500
# |  | BP APPARATUS(MER) | * | * |  | 1 |  | 1 | 1100 | 1100
# |  | GLUCO METER | SD | SD CODEFREE/MO3B04EAA1983 |  | 1 |  | 1 | 1500 | 1500
# |  | GLUCO METER | SD | SD CODEFREE/MO3B04EAA1979 |  | 1 |  | 1 | 1500 | 1500
# |  | BP APPARATUS(DIG) | EASY CARE | EC-9000/1412480405072108 |  | 1 |  | 1 | 1100 | 1100
# |  | CENTRIFUGE 4-TUBE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS(DIG) | EASY CARE | * |  | 1 |  | 1 | 1100 | 1100
# | WARD | BP APPARATUS(DIG) | MEDISURE | * |  | 1 |  | 1 | 1100 | 1100
# |  | NEEDLE DESTROYER | MRK | NULIFE |  | 1 |  | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 77
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 4393900
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 307573

## CHC THANDLA
T
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC THANDLA(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | X-RAY | X-RAY M/C | ELPRO | 57-60/55776 |  | 1 |  | 1 | 450000 | 450000
# | LABOUR ROOM | RADIANT WARMER | PHOENIX | OCW-100/6021 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHOENIX | OCW700/6008 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHOENIX | OCW100/6028 |  | 1 |  | 1 | 38000 | 38000
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/17/01/1213 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY W/M | H&M | * |  | 1 |  | 1 | 3500 | 3500
# |  | PEDAL SUCTION | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | NEBULIZER | TRUE CHEK | KQW-417 |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS(MER) | * | REGULAR/40215 |  | 1 |  | 1 | 1100 | 1100
# |  | PHOTOTHERAPY | BIRD MEDITECH | BM/OPI/62/10 |  | 1 |  | 1 | 15500 | 15500
# | NRC | BABY W/M(DIG) | ROSSMAX | 11011MACPOD |  | 1 |  | 1 | 3500 | 3500
# |  | NEBULIZER | SMARTCARE | ST/2013021518 |  | 1 |  | 1 | 6500 | 6500
# | STORE | ECG | BPL | CARDIAT-108T |  |  | 1 | 1 | 52000 | 52000
# |  | FOETAL HEART MONITOR | NEAME | DELUXE-01 |  |  | 1 | 1 | 80000 | 80000
# |  | ADULT W/M(DIG) | * | * |  | 1 |  | 1 | 2500 | 2500
# | MCH | DEEP FREEZER | VEST FROST | MF304/20024902790 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VEST FROST | MF144/41007747 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBC-/BE07GSCON052A |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | VEST FROST | MF-144/91208265 |  |  | 1 | 1 | 250000 | 250000
# |  | ILR | ELECTROLUX | MRB-2000/N/A |  |  | 1 | 1 | 250000 | 250000
# |  | DOMESTIC REFREGERETOR | SAMSUNG | RR/19/4A |  | 1 |  | 1 | 15000 | 15000
# |  | BINOCULAR MICROSCOPE | MLW | * |  | 1 |  | 1 | 30000 | 30000
# |  | BINOCULAR MICROSCOPE | * | * |  | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | REMI | R-8CBL/ZBCN-DB503 |  | 1 |  | 1 | 6500 | 6500
# |  | CENTRIFUGE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | AIDS | * |  | 1 |  | 1 | 1200 | 1200
# |  | WATER BATH | INDIAN | * |  | 1 |  | 1 | 4500 | 4500
# |  | HOT AIR OVEN | TECHMIK | * |  | 1 |  | 1 | 4500 | 4500
# |  | BIOCHEM ANALYZER | ROBONIC | PRIEST EASYLAB/PELO670114RBK |  | 1 |  | 1 | 200000 | 200000
# |  | GLUCOMETER | ABBOTT | PLATTINUM |  | 1 |  | 1 | 1500 | 1500
# |  | COLORIMETER | E.I | * |  | 1 |  | 1 | 1400 | 1400
# | BLOOD BANK | BLOOD REFREGERETOR | HAIER | DHJ/BB/R/4 |  | 1 |  | 1 | 250000 | 250000
# |  | INCUBATOR | UNIVERSAL | * |  |  | 1 | 1 | 375000 | 375000
# | DRESSING ROOM | HYDROLIC TABLE | * | * |  |  | 1 | 1 | 70000 | 70000
# |  | AUTOCLAVE(VER) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | SUCTION M/C DOUBLE JAR | * | * |  | 1 |  | 1 | 6500 | 6500
# | MINOR OT | HYDROULIC TABLE | * | * |  |  | 1 | 1 | 70000 | 70000
# |  | HYDROULIC TABLE | * | * |  | 1 |  | 1 | 70000 | 70000
# |  | AUTOCLAVE(VER) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | BOYLES APP | ALLIED JUPITER | * |  | 1 |  | 1 | 65000 | 65000
# |  | SPOT LIGHT | * | * |  |  | 1 | 1 | 6500 | 6500
# | OT | MULTI PARA MONITOR | BPL | CLAREO/ECTA2M1418 |  | 1 |  | 1 | 80000 | 80000
# |  | BP APPARATUS(MER) | MCP | 10CI524 |  | 1 |  | 1 | 1100 | 1100
# |  | CEILLING OT LIGHT SINGLE DOOM | * | * |  | 1 |  | 1 | 150000 | 150000
# |  | SPOT LIGHT | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | SUCTION M/C DOUBLE JAR | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | COAGULATION M/C | MEDIWAVES | EX-250/S4162012/22 |  | 1 |  | 1 |  | 0
# |  | RADIANT WARMER | PHOENIX | OCW-100/6007 |  | 1 |  | 1 | 38000 | 38000
# |  | SPOT LIGHT | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | NEBULIZER | TRUCHEK | KQW-4A |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | * | * |  | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS(MER) | DIAMOND | * |  |  | 1 | 1 | 1100 | 1100
# |  | PHOTOTHERAPY | BIRD MEDITECH | BM/UPT/62/10/1011 |  | 1 |  | 1 | 15500 | 15500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 56
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3759600
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 263172

## PHC SAMA
Name of Consultant :- | [6 empty] | Date:- |  | 17/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SAMA(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | MCH | ILR | HAIER | HBD-116/BE04G4E250B0118 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VEST FROST | MK-144/65116163 |  | 1 |  | 1 | 250000 | 250000
# | OPD | BP APPARATUS(MER) | DISHA | JG1300041 |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS(DIG) | PERFEC | LS-802 |  | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | TRUE CHEK | KQW-4A |  | 1 |  | 1 | 6500 | 6500
# |  | ADULT W/M | SMART CARE | * |  | 1 |  | 1 | 2500 | 2500
# |  | ADULT W/M(DIG) | SMART CARE | * |  | 1 |  | 1 | 2500 | 2500
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY W/M | BRAUN | * |  | 1 |  | 1 | 3500 | 3500
# |  | AUTOCLAVE(VER) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | CENTRIFUGE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | BINOCULAR MICROSCOPE | AJAY | MICROPLUS/12-J-11925 |  | 1 |  | 1 | 30000 | 30000
# |  | GLUCO METER | ACCU-CHEK | PERFORMA NANO/5910908301 |  | 1 |  | 1 | 1500 | 1500
# |  | BABY W/M (DIG) | INDIAN | * |  |  | 1 | 1 | 3500 | 3500
# |  | AUTOCLAVE(VER) | INDIAN | * |  |  | 1 | 1 | 65000 | 65000
# |  | DOMESTIC REFREGERETOR | GODREJ | * |  | 1 |  | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 17
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 724200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 50694

## CHC MEGHNAGAR
Name of Consultant :- | [6 empty] | Date:- |  | 19/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC MEGHNAGAR(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | X-RAY ROOM | X-RAY M/C 50MA | SIEMENS | 12011375 |  | 1 |  | 1 | 450000 | 450000
# | PATHOLAB | MICROSCOPE | MLW | 23391 |  | 1 |  | 1 | 30000 | 30000
# |  | INCUBATOR | BIOKON |  |  | 1 |  | 1 | 375000 | 375000
# |  | MICROSCOPE | OLYMPUS | CH20L/7F11011 |  | 1 |  | 1 | 30000 | 30000
# |  | WATERBATH | * | * |  | 1 |  | 1 | 4500 | 4500
# |  | MICROSCOPE | * | * |  | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE | QUASMO | 3137 |  | 1 |  | 1 | 30000 | 30000
# |  | BIOCHEMISTRY ANALYSER | ROBONIK | EASYLAB/PELO680114RBK |  | 1 |  | 1 | 200000 | 200000
# |  | CENTRIFUGE | REMI | R-8CBL/2BCN-06506 |  | 1 |  | 1 | 6500 | 6500
# |  | CENTRIFUGE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFREGERETOR | WHIRLPOOL | DC195S12010 |  | 1 |  | 1 | 15000 | 15000
# |  | PHOTOCOLORIMETR | SI | * |  | 1 |  | 1 | 1400 | 1400
# |  | GLUCO METER | ROCHE | ACCU-CHEK/S9108110494 |  | 1 |  | 1 | 1500 | 1500
# | EYE OPD | SLIT LAMP | * | * |  |  | 1 | 1 | 13000 | 13000
# |  | BP APPARATUS (DIG) | EASY CARE | EC-9000/141248007262108 |  | 1 |  | 1 | 1100 | 1100
# |  | DOMESTIC REFREGERETOR | SAMSUNG | RR1914ASBRR12012 |  | 1 |  | 1 | 15000 | 15000
# | LABOUR ROOM | MULTI PARAMONITOR | BPL | CLAREO/ECTA3L1699 |  |  | 1 | 1 | 80000 | 80000
# |  | SPOT LIGHT | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY W/M(DIG) | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | SUCTION M/C | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | RADIANT WARMER | BIRD MEDITECH | INOVA/BM/RW/281/09/1112 |  | 1 |  | 1 | 38000 | 38000
# |  | FOETAL DOPPLER | * | * |  |  | 1 | 1 | 80000 | 80000
# |  | AUTOCLAVE | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# | OT ROOM | O TABLE HYDROULIC | * | * |  | 1 |  | 1 | 70000 | 70000
# |  | SPOT LIGHT | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS (MER) | * | * |  |  | 1 | 1 | 1100 | 1100
# |  | FUMIGATOR | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | BOILER | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | AUTOCLAVE(VERTICAL) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | RADIANT WARMER | PHOENIX | OCW100/6002 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHOENIX | OCW100/6005 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHOENIX | OCW100/6012 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHOENIX | OCW100/6018 |  | 1 |  | 1 | 38000 | 38000
# |  | NEBULIZER | RAXON | RN-07/RB 0415731 |  | 1 |  | 1 | 6500 | 6500
# |  | EXAMINATION TABLE | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | SPOT LIGHT | * | * |  | 1 |  | 1 | 6500 | 6500
# | OPD | BP APPARATUS(MER) | SMARTCARE | 59357 |  | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | * | * |  |  |  | 0 | 6500 | 0
# |  | NEBULIZER | TRUCHEK | * |  | 1 |  | 1 | 6500 | 6500
# |  | ADULT W/C | * | * |  | 1 |  | 1 | 2500 | 2500
# |  | FOETAL HEART METER | CROWN | * |  | 1 |  | 1 | 80000 | 80000
# |  | GLUCO METER | ROCHE | ACCU-CHEK |  | 1 |  | 1 | 1500 | 1500
# |  | BP APPARATUS(MER) | NAMMAT | * |  | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | ADULT W/C | * | * |  | 1 |  | 1 | 2500 | 2500
# |  | ADULT W/C | * | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS(MER) | * | * |  | 1 |  | 1 | 1100 | 1100
# | WARD | BP APPARATUS(DIG) | EASY CARE | EC-9000/14124305002 |  | 1 |  | 1 | 1100 | 1100
# |  | DEEP FEEZER | PREMETER | N/A/7011 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | VEST FROST | MK-142/40101045 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBC-200/BE0745E0N00B248L0014 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FEEZER | VEST FROST | ME-142/65114936 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FEEZER | VEST FROST | ME-144/91004634 |  | 1 |  | 1 | 250000 | 250000
# |  | ADULT W/C | * | QF-2003D |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS(DIG) | SMART CARE | SC-535/201307 |  | 1 |  | 1 | 1100 | 1100
# | OPD | BP APPARATUS(DIG) | * | EC-9000/141248025762108 |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT W/M (DIG) | * | QF-2003D |  |  | 1 | 1 | 2500 | 2500
# |  | ADULT W/M (DIG) | * | QF-2003D |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS(DIG) | EASY CARE | EC-9000/141248030872108 |  | 1 |  | 1 | 1100 | 1100
# |  | NEEDLE DESTROYER | * | * |  |  | 1 | 1 | 1200 | 1200
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | ADULT W/M(DIG) | * | * |  | 1 |  | 1 | 2500 | 2500
# |  | NEBULIZER | SMART CARE | * |  | 1 |  | 1 | 6500 | 6500
# | WARD | BP APPARATUS(MER) | TOP | * |  |  | 1 | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS(DIG) | SMART CARE | SC-535/201307 |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT W/M | CAMRY | * |  |  | 1 | 1 | 2500 | 2500
# |  | BABY W/M(DIG) | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/281/09/1112 |  | 1 |  | 1 | 38000 | 38000
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# | STORE | CENTRIFUGE - 8TUBE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | GLUCO METER | ROCHE | ACCU CHEK |  | 1 |  | 1 | 1500 | 1500
# |  | BP APPARATUS(DIAL) | MEDICATE DX | * |  | 1 |  | 1 | 650 | 650
# |  | O2 CONCENTRATOR | BPL | OG4203/AXTCOB4768 |  | 1 |  | 1 | 45000 | 45000
# |  | GLUCO METER | ROCHE | ACCU CHEK |  | 1 |  | 1 | 1500 | 1500
# |  | GLUCO METER | ROCHE | ACCU CHEK |  | 1 |  | 1 | 1500 | 1500
# |  | BP APPARATUS(DIAL) | MEDICATE DX | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS(DIAL) | MEDICATE DX | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS(DIAL) | MEDICATE DX | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS(DIAL) | MEDICATE DX | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS(DIAL) | MEDICATE DX | * |  | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 88
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3670200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 256914

## CHC RANAPUR
Name of Consultant :- | [6 empty] | Date:- |  | 17/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC RANAPUR(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP APPARATUS | BLUE CROSS | REGULAR |  | 1 |  | 1 | 650 | 650
# |  | X -RAY M/C | ALLENGER | MARS-30/2KI40630250 |  | 1 |  | 1 | 450000 | 450000
# |  | CENTRIFUGE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | COLORIMETER | BIOCON | DIGI |  | 1 |  | 1 | 1400 | 1400
# |  | ELISHA ANALYZER | ROBONIK | EASYLAB/PEL01000214RBK |  | 1 |  | 1 | 200000 | 200000
# |  | MONOCULAR MICROSCOPE | MAGNUS | * |  | 1 |  | 1 | 18500 | 18500
# |  | BINOCULAR MICROSCOPE | MLW | 320009980716 |  |  | 1 | 1 | 30000 | 30000
# |  | GLUCO METER | ACCU CHEK | PERFORMA NANO/59109081937 |  | 1 |  | 1 | 1500 | 1500
# |  | ADULT W/M | EAGLE | * |  | 1 |  | 1 | 2500 | 2500
# | MCH | DEEP FREEZER | HAIER | HBD-286/BE04F4E2600B2A640074 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBD-200/BE07G530N00B2A5Z0098 |  | 1 |  | 1 | 250000 | 250000
# |  | NEEDLE CUTTER | SAI LIFE | * |  | 1 |  | 1 | 1200 | 1200
# | ANC | BP APPARATUS(MER) | SMART CARE | SCH 108 |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT W/M(DIG) | SMART CARE | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS9DIG) | OMRON | HEM-8712/20150313315VGI |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | NAMMAT | 79689 |  | 1 |  | 1 | 1100 | 1100
# | OT MINOR | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | SPOT LIGHT | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | FUMIGATOR | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | FUMIGATOR | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/236/07/1314 |  | 1 |  | 1 | 38000 | 38000
# |  | SUCTION M/C | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# | F.M WARD | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | NEEDLE CUTTER | NU LIFE TOP | * |  | 1 |  | 1 | 1200 | 1200
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | HOETAL HEART MONITOR | NEO CARE | LP |  | 1 |  | 1 | 80000 | 80000
# |  | RADIANT WARMER | PHOENIX | NAW-100/TU 1142 |  | 1 |  | 1 | 38000 | 38000
# |  | SPOT LIGHT | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | BABY W/M(DIG) | INDIAN | * |  | 1 |  | 1 | 3500 | 3500
# |  | PEDAL SUCTION | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS(MER) | TOP | * |  |  | 1 | 1 | 1100 | 1100
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BP APPARATUS(MER) | NAMMAT | 796337 |  |  | 1 | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | SMART CARE | 250M/4688 |  | 1 |  | 1 | 6500 | 6500
# | STORE | DOMESTIC REFREGERETOR | GODREJ | SUPER STAR |  | 1 |  | 1 | 15000 | 15000
# |  | RADIANT WARMER | PHOENIX | OCW-100/6006 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHOENIX | OCN-100/6010 |  |  | 1 | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHOENIX | OCN-100/6017 |  |  | 1 | 1 | 38000 | 38000
# |  | O2 CONCENTRATOR | BPL | OG-4203 |  |  | 1 | 1 | 45000 | 45000
# | PATHO LAB | INCUBATOR | BIOCON | * |  | 1 |  | 1 | 375000 | 375000
# |  | HOT AIR OVEN | * | * |  |  | 1 | 1 | 4500 | 4500
# |  | DOMESTIC REFREGERETOR | GODREJ | SUPER EDGE ZX |  | 1 |  | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 50
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 2298850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 160919.5

## PHV UMORKOT
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC UMORKOT(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BOILER | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | BABY W/M(DIG) | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/181/07/1112 |  | 1 |  | 1 | 38000 | 38000
# |  | ADULT W/M | EAGLE | * |  | 1 |  | 1 | 2500 | 2500
# | STORE | DOMESTIC REFREGERETOR | GODREJ | EON |  | 1 |  | 1 | 15000 | 15000
# |  | BP APPARATUS(DIG) | SMART CARE | SCE-332/4295ST |  |  | 1 | 1 | 1100 | 1100
# | COLD CHAIN ROOM | ILR | VEST FROST | * |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VEST FROST | * |  | 1 |  | 1 | 250000 | 250000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 9
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 580600
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 40642

## PHC MADRANI
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC MADRANI(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | COLD CHAIN | ILR | VEST FROST | MK144/65116181 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VEST FROST | MKP114/20071022466 |  | 1 |  | 1 | 250000 | 250000
# | OPD | BP APPARATUS(MER) | SMART CARE | * |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT W/M | SMART CARE | * |  |  | 1 | 1 | 2500 | 2500
# |  | ADULT W/M | CAMRY | * |  | 1 |  | 1 | 2500 | 2500
# |  | BABY W/M | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | MEDITRIN | * |  |  | 1 | 1 | 38000 | 38000
# |  | BP APPARATUS(MER) | SMART CARE | SCH 108 |  | 1 |  | 1 | 1100 | 1100
# |  | LABOUR TABLE(FOULDING) | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | SPOT LIGHT | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 75700
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 5299
Note on J2: Author:

## PHC KAKANWANI
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KAKANWANI(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY W/M | INDIAN | * |  | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/233/07/1315 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/233/07/1314 |  |  | 1 | 1 | 38000 | 38000
# | STORE | STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | O2 CONCENTRATOR | BPL | OG 4203/AXTCI6141 |  | 1 |  | 1 | 45000 | 45000
# |  | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | FETAL HEART BEAT M/C | CROWN | SWPL |  | 1 |  | 1 | 80000 | 80000
# |  | FETAL HEART BEAT M/C | NEO CARE | DELUXE 01 |  | 1 |  | 1 | 80000 | 80000
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  |  | 1 | 1 | 65000 | 65000
# | COLD CHAIN ROOM | ILR | VEST FROST | MK-142/S0217393 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VEST FROST | MK-142/S0217433 |  | 1 |  | 1 | 250000 | 250000
# | PATHO LAB | DOMESTIC REFREGERETOR | SAMSUNG | * |  | 1 |  | 1 | 15000 | 15000
# |  | MICROSCOPE | M2O | 23343 |  | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE 8-TUBE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | DIG COLORIMETER | BIOCON | * |  | 1 |  | 1 | 1400 | 1400
# |  | NEEDLE CUTTER | * | * |  | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS(MER) | FORTUNE | 50818 |  | 1 |  | 1 | 1100 | 1100
# | PHARMAQCY | BP APPARATUS(MER) | NAMMAT | 79713 |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | NAMMAT | * |  |  | 1 | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | NAMMAT | * |  | 1 |  | 1 | 1100 | 1100
# | LABOUR ROOM | BP APPARATUS(DIG) | SMART CARE | * |  | 1 |  | 1 | 1100 | 1100
# | OPD | BP APPARATUS(DIG) | SMART CARE | * |  | 1 |  | 1 | 1100 | 1100
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 27
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 952400
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 66668

## PHC PITHANPUR
Name of Consultant :- | [6 empty] | Date:- |  | 21/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC PITHANPUR(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP APPARATUS(MER) | SMART CARE | SCH108 |  | 1 |  | 1 | 1100 | 1100
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY W/M(DIG) | LAICA | * |  | 1 |  | 1 | 3500 | 3500
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | PHOENIX | OCW-100/6016 |  | 1 |  | 1 | 38000 | 38000
# |  | ADULT W/M | SMART CARE | * |  | 1 |  | 1 | 2500 | 2500
# | LAB | GLUCO METER | ACCU CHEK | ACTIVE/GC15698609 |  | 1 |  | 1 | 1500 | 1500
# |  | WATER BATH | INDIAN | * |  | 1 |  | 1 | 4500 | 4500
# |  | NEBULIZER | TRUECHEK | KQW-4A |  | 1 |  | 1 | 6500 | 6500
# |  | BINOCULAR MICROSCOPE | MLW | 980716 |  |  | 1 | 1 | 30000 | 30000
# |  | BP APPARATUS(MER) | MCP | 10C1538 |  |  | 1 | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | MCP | * |  | 1 |  | 1 | 1100 | 1100
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 12
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 110300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 7721

## PHC RAMBAPUR
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC RAMBAPUR(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP APPARATUS(MER) | BLUE CROSS | * |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT W/M | CAMRY | * |  | 1 |  | 1 | 2500 | 2500
# | LABOUR ROOM | DOMESTIC REFREGERETOR | SAMSUNG | RR-1914BC |  | 1 |  | 1 | 15000 | 15000
# |  | BABY W/M | LAICA | * |  |  | 1 | 1 | 3500 | 3500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | RADIANT WARMER | BIRD MEDITECH | * |  | 1 |  | 1 | 38000 | 38000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 7
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 75200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 5264

## PHC KARWAD
t
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KARWAD(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | EXAMINATION TABLE | * | * |  | 1 |  | 1 | 3500 | 3500
# | MCH | DEEP FREEZER | VEST FROST | MF-142/65113723 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | VEST FROST | MK-144/20013902620 |  | 1 |  | 1 | 250000 | 250000
# | LABOUR ROOM | BP APPARATUS(STAND TYPE) | NAMMAT | 79712 |  | 1 |  | 1 | 1100 | 1100
# |  | RADIANT WARMER | PHOENIX | OCW-100/6024 |  | 1 |  | 1 | 38000 | 38000
# |  | LABOUT TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY W/M | DOCBEL BRAUN | * |  | 1 |  | 1 | 3500 | 3500
# |  | ADULT W/M | VENUS | * |  | 1 |  | 1 | 2500 | 2500
# | STORE | NEBULIZER | SMART CARE | * |  | 1 |  | 1 | 6500 | 6500
# |  | PULSE OXIMETER | SHANGHAI | MD 300/10030700083 |  | 1 |  | 1 | 55000 | 55000
# |  | NEBULIZER | TRUCHEK | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS(STAND TYPE) | BLUE CROSS | * |  |  | 1 | 1 | 1100 | 1100
# | OPD | NEBULIZER | TRU CHEK | KQW-4A |  | 1 |  | 1 | 6500 | 6500
# | KITCHEN | DOMESTIC REFREGERETOR | GODREJ | RD EDGE 185CH S.1/2013 |  | 1 |  | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 653200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 45724

## PHC KARDAWAD
Name of Consultant :- | [6 empty] | Date:- |  | 19/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KARDAWAD(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | STORE | BP APPARATUS(MER) | NAMMAT | * |  |  | 1 | 1 | 1100 | 1100
# |  | PULSE OXIMETER | SHANGHAI | MD-300A/10030700119 |  | 1 |  | 1 | 55000 | 55000
# |  | COLORIMETER(DIG) | * | * |  | 1 |  | 1 | 1400 | 1400
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# | GENERAL WARD | DOMESTIC REFREGERETOR | WHIRLPOOL | * |  |  | 1 | 1 | 15000 | 15000
# |  | DOMESTIC REFREGERETOR | LG | GL-185/2014 |  | 1 |  | 1 | 15000 | 15000
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY W/M | DOCBEL BRAUN | * |  |  | 1 | 1 | 3500 | 3500
# |  | BP APPARATUS(MER) | NAMMAT | * |  |  | 1 | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | NAMMAT | * |  |  | 1 | 1 | 1100 | 1100
# | STORE | SPOT LIGHT | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS(STAND TYPE) | NAMMAT | 79669 |  | 1 |  | 1 | 1100 | 1100
# |  | BOILER(SMALL) | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | BOILER(MEDIUM) | * | * |  | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 134300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 9401

## PHC SARANGI
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SARANGI(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# | MCH | DEEP FREEZER | HAIER | HBD-116/BE04G4E2600B2A8C0051 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBC-70/BE07F4E0N00B2A960049 |  | 1 |  | 1 | 250000 | 250000
# | X-RAY ROOM | X-RAY M/C | SIEMENS | S305/012906S24 |  | 1 |  | 1 | 450000 | 450000
# | LABOUR ROOM | RADIANT WARMER | MEDITRIN | * |  |  | 1 | 1 | 38000 | 38000
# |  | PULSE OXIMETER | HANDHELD | * |  | 1 |  | 1 | 55000 | 55000
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY W/M | SUVARNA | * |  | 1 |  | 1 | 3500 | 3500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | HEART BEAT MONITOR | CROWN | * |  | 1 |  | 1 | 80000 | 80000
# |  | SPOT LGHT | * | * |  |  | 1 | 1 | 6500 | 6500
# | OT | AUTOCLAVE(COOKER TYPE | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | ADULT W/M | CAMRY | * |  | 1 |  | 1 | 2500 | 2500
# | STORE | BABY W/M (DIG) | * | * |  |  | 1 | 1 | 3500 | 3500
# |  | SPOT LIGHT | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | O2 CONCENTRATOR | BPL | OG-4203/AXTC106140 |  |  | 1 | 1 | 45000 | 45000
# | PATHO LAB | DOMESTIC REFREGERETOR | KELVINATOR | KWP 184/2013 |  | 1 |  | 1 | 15000 | 15000
# |  | MICROSCOPE | MLW | 17975 |  | 1 |  | 1 | 30000 | 30000
# |  | BIOCHEMISTRY ANALYSER | ROBONIK | EASYLAB/PEL0070214RBK |  | 1 |  | 1 | 200000 | 200000
# |  | CENTRIFUGE 8-TUBE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | WATER BATH | * | * |  | 1 |  | 1 | 4500 | 4500
# |  | GLUCO METER | ROCHE | ACCU CHEK/S9108106624 |  | 1 |  | 1 | 1500 | 1500
# |  | COLORIMETER(DIG) | BIOCON | * |  | 1 |  | 1 | 1400 | 1400
# |  | MONOCULAR MICROSCOPE | * | * |  |  | 1 | 1 | 18500 | 18500
# |  | MONOCULAR MICROSCOPE | * | * |  |  | 1 | 1 | 18500 | 18500
# |  | MONOCULAR MICROSCOPE | * | * |  |  | 1 | 1 | 18500 | 18500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 26
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1596900
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 111783

## PHC BAMINIA
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BAMINIA(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP APPARATUS(MER) | NAMMAT | 79687 |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT W/M(DIG) | VIRGO | * |  | 1 |  | 1 | 2500 | 2500 | 0
# | LABOUR ROOM | RADIANT WARMER | * | INNOVA/BM/RWO/185/07/1112 |  | 1 |  | 1 | 38000 | 38000
# |  | O2 CONCENTRATOR | BPL | OG 4203/AXTC0B4772 |  | 1 |  | 1 | 45000 | 45000
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | DOPPLER | NEO CARE | * |  | 1 |  | 1 | 80000 | 80000
# |  | BABY W/M | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# | MCH | ILR | VEST FROST | MK-144/20032300356 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VEST FROST | MF-142/65114935 |  |  | 1 | 1 | 250000 | 250000
# | PATHO LAB | MICROSCOPE | JAICO | JM-09 |  | 1 |  | 1 | 30000 | 30000
# |  | BIOCHEMISTRY ANALYZER | ROBONIC | EASYLAB/PELO639114RBK |  | 1 |  | 1 | 200000 | 200000
# |  | CENTRIFUGE 4-TUBE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFREGERETOR | GODREJ | GDN18SD/2013 |  | 1 |  | 1 | 15000 | 15000
# |  | BP APPARATUS(DIG) | EASY CARE | EC-9000/141220003142108 |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT W/M | HEALTHOMETER | * |  | 1 |  | 1 | 2500 | 2500
# |  | AUTOCLAVE(COOKER TYPE) | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | AUTOCLAVE(VERTICAL) | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 18
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1075700
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 75299

## PHC RAIPURIYA
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC RAIPURIYA(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT W/M | STORB | * |  | 1 |  | 1 | 2500 | 2500
# |  | NEBULIZER | SMART CARE | 3990/2013022613 |  | 1 |  | 1 | 6500 | 6500
# | LABOUR ROOM | AUTOCLAVE(COOKER TYPE) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | BABY W/M | INDIAN | * |  | 1 |  | 1 | 3500 | 3500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BP APPARATUS(DIG) | SMART CARE | N/A/201307 |  | 1 |  | 1 | 1100 | 1100
# |  | RADIANT WARMER | NICE NEOTECH | NICE 2000/06-2291 |  | 1 |  | 1 | 38000 | 38000
# |  | SPOT LIGHT | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | FOETAL DOPPLER | CROWN | DX/56112000808 |  | 1 |  | 1 | 80000 | 80000
# |  | FOETAL DOPPLER | SAFE SHIELD | VDP |  | 1 |  | 1 | 80000 | 80000
# |  | PEDAL SUCTION M/C | * | * |  | 1 |  | 1 | 6500 | 6500
# | MCH | ILR | * | MK-142/200130903993 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | * | MK-144/65116204 |  | 1 |  | 1 | 250000 | 250000
# | LAB | DOMESTIC REFREGERETOR | KELVINATOR | NUTRICOOL |  | 1 |  | 1 | 15000 | 15000
# |  | COLORIMETER | BIOCON | * |  | 1 |  | 1 | 1400 | 1400
# |  | BINOCULAR MICROSCOPE | JAICO | JN-09 |  | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | WATERBATH | INDIAN | * |  | 1 |  | 1 | 4500 | 4500
# |  | GLUCO METER | ACCU CHEK | PERFORMA NANO/S9109028205 |  | 1 |  | 1 | 1500 | 1500
# | OPD | O2 CONCENTRATOR | * | * |  |  | 1 | 1 | 45000 | 45000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 22
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 909700
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 63679

## PHC KANJAWANI
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KANJAWANI(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT W/M | SMART CARE | * |  | 1 |  | 1 | 2500 | 2500
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | TRUCHEK | * |  | 1 |  | 1 | 6500 | 6500
# |  | GLUCO METER | * | * |  | 1 |  | 1 | 1500 | 1500
# |  | BP APPARATUS(MER) | TOP | * |  |  | 1 | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | TOP | * |  |  | 1 | 1 | 1100 | 1100
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | O2 CONCENTRATOR | BPL | OG 4203/AXTCIC6145 |  | 1 |  | 1 | 45000 | 45000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/N/A |  |  | 1 | 1 | 38000 | 38000
# |  | SUCTION M/C | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY W/M | MISAHI | * |  | 1 |  | 1 | 3500 | 3500
# |  | NEEDLE CUTTER | AIDS | * |  | 1 |  | 1 | 1200 | 1200
# |  | GLUCO METER | ACCU CHEK | PERFORMA NANO/5910911185 |  | 1 |  | 1 | 1500 | 1500
# | COLD CHAIN ROOM | DEEP FREEZER | * | MF-144/91007734 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | VEST FROST | MK-144/91209712 |  | 1 |  | 1 | 250000 | 250000
# | STORE | AUTOCLAVE(VER) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFREGERETOR | GODREJ | EDGE ZV |  | 1 |  | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 20
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 723000
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 50610

## PHC KHAWASA
Name of Consultant :- | [6 empty] | Date:- |  | 18/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KHAWASA(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | BP APPARATUS(MER) | MCP | 928606 |  | 1 |  | 1 | 1100 | 1100
# |  | NEEDLE CUTTER | * | * |  | 1 |  | 1 | 1200 | 1200
# |  | ADULT W/M | D.V | * |  | 1 |  | 1 | 2500 | 2500
# |  | O2 CONCENTRATOR | BPL | OG 4203/AXTCIC6139 |  | 1 |  | 1 | 45000 | 45000
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | MINI STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | AIDS | * |  | 1 |  | 1 | 1200 | 1200
# |  | FETAL HEART BEATMONITOR | WELCOME | DELUXE |  | 1 |  | 1 | 80000 | 80000
# |  | BABY W/M | DEBEL | BRAUN |  | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/186/07/1112 |  | 1 |  | 1 | 38000 | 38000
# |  | ADULT W/M(DIG) | VIRGO | * |  |  | 1 | 1 | 2500 | 2500
# | PATHO LAB | DOMESTIC REFREGERETOR | HAIER | HRD 1995 |  | 1 |  | 1 | 15000 | 15000
# |  | NEEDLE CUTTER | AIDS | * |  | 1 |  | 1 | 1200 | 1200
# |  | CENTRIFUGE 4-TUBE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BINOCULAR MICROSCOPE | MLW | S.P |  | 1 |  | 1 | 30000 | 30000
# |  | GLUCO METER | ACCU CHEK | PERFORMA/55308397176 |  | 1 |  | 1 | 1500 | 1500
# |  | WATER BATH | UNIVERSAL | * |  | 1 |  | 1 | 4500 | 4500
# | OPD | NEEDLE CUTTER | AIDS | * |  | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | TRUCHEK | KQW-4A |  | 1 |  | 1 | 6500 | 6500
# | MCH | DEEP FREEZER | VEST FROST | MF-142/65113706 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | VEST FROST | MK-144/65115372 |  | 1 |  | 1 | 250000 | 250000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 23
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 769500
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 53865

## PHC JHAKANWADA
Name of Consultant :- | [6 empty] | Date:- |  | 17/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC JHAKANWADA(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LAB | INCUBATOR | BIOCON | * |  | 1 |  | 1 | 375000 | 375000
# |  | BINOCULAR MICROSCOPE | MLW | * |  | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | ADULT W/M | CROWN | * |  | 1 |  | 1 | 2500 | 2500
# |  | NEEDLE CUTTER | SAI LIFE | * |  | 1 |  | 1 | 1200 | 1200
# |  | BIOCHEMISTRY ANALYZER | ROBONIK | EASYLAB/PEL090214RBK |  | 1 |  | 1 | 200000 | 200000
# |  | WATER BATH | * | * |  | 1 |  | 1 | 4500 | 4500
# |  | COLORIMETER | BIOCON | * |  | 1 |  | 1 | 1400 | 1400
# | COLD CHAIN ROOM | DEEP FREEZER | HAIER | HBC-76/BE07F4E0N00B2A960056 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | VEST FROST | MK-144/65116188 |  | 1 |  | 1 | 250000 | 250000
# | DOCTOR ROOM | BP APPARATUS(MER) | TOP | * |  | 1 |  | 1 | 1100 | 1100
# |  | DOMESTIC REFREGERETOR | WHIRLPOOL | * |  | 1 |  | 1 | 15000 | 15000
# | OPD | ADULT W/M(DIG) | SMART CARE | * |  |  | 1 | 1 | 2500 | 2500
# | OT ROOM | BP APPARATUS(STAND TYPE MER) | NAMMAT | 79710 |  | 1 |  | 1 | 1100 | 1100
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTOCLAVE(COOKER TYPE) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# | LABOUR ROOM | BP APPARATUS(STAND TYPE MER) | NAMMAT | 79663 |  | 1 |  | 1 | 1100 | 1100
# |  | SPOT LIGHT | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/79/216/1114 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY W/M (DIG) | INDIAN | * |  | 1 |  | 1 | 3500 | 3500
# |  | PEDAL SUCTION M/C | * | * |  | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 23
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1288400
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 90188

## PHC MORDUMDIYA
Name of Consultant :- | [6 empty] | Date:- |  | 17/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC MORDUMDIYA(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | COLD CHAIN | DEEP FREEZER | * | HBD-116/BE04G4E260B0177 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | VEST FROST | MK-142/50217265 |  | 1 |  | 1 | 250000 | 250000
# | LABOUR TABLE | AUTOCLAVE (VER) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | DOMESTIC REFREGERETOR | GODREJ | EDGE ZX |  | 1 |  | 1 | 15000 | 15000
# |  | NEBULIZER | TRUCHEK | KQW-4A |  | 1 |  | 1 | 6500 | 6500
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | * | * |  |  | 1 | 1 | 14000 | 14000
# |  | BP APPARATUS(MER) | DISHA | JG1300040 |  | 1 |  | 1 | 1100 | 1100
# |  | BABY W/M | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/226/07/1314 |  | 1 |  | 1 | 38000 | 38000
# |  | PEDAL SUCTION M/C | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | FETAL DOPPLER | BIOPLENS | H.S |  | 1 |  | 1 | 80000 | 80000
# |  | ADULT W/M | HEALTHOMETER | * |  | 1 |  | 1 | 2500 | 2500
# |  | NEBULIZER | TRUCHEK | KQW-4A |  | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 745100
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 52157

## DISTRICT HOSPITAL
Name of Consultant :- | [5 empty] | Date:- |  | 17/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | D.H.JHABUWA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | CHILD OPD | BABY W/M(DIG) | VENUS | * | 1 |  | 1 | 3500 | 3500
# |  | ADULT W/M(DIG) | VIRGO | * | 1 |  | 1 | 2500 | 2500
# | GENERAL OPD | BP APPARATUS (MERCURY) | MCP | * | 1 |  | 1 | 1100 | 1100
# | DENTAL OPD | DENTAL CHAIR | TECHNODENT | T-16DLX | 1 |  | 1 | 150000 | 150000
# |  | NEEDLE CUTTER | * | * | 1 |  | 1 | 1200 | 1200
# |  | BOILER | * | * | 1 |  | 1 | 6500 | 6500
# |  | ULTRASONIC SCALER | AOI | * | 1 |  | 1 | 4500 | 4500
# |  | AUTOCLAVE(VER) | * | * | 1 |  | 1 | 65000 | 65000
# | DRESSING ROOM | BOILER | * | * | 1 |  | 1 | 6500 | 6500
# |  | BOILER | * | * |  | 1 | 1 | 6500 | 6500
# | GYNAE OPD | BP APPARATUS (MERCURY) | MCP | * |  | 1 | 1 | 1100 | 1100
# |  | ADULT W/M(DIG) | * | * |  | 1 | 1 | 2500 | 2500
# |  | BP APPARATUS (DIG) | ASPEN | * | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS | MCP | * |  | 1 | 1 | 1100 | 1100
# |  | ADULT W/M | * | * |  | 1 | 1 | 2500 | 2500
# |  | ADULT W/M (DIG) | VIRGO | * | 1 |  | 1 | 2500 | 2500
# | GYANE | BOILER | * | * |  | 1 | 1 | 6500 | 6500
# | COLD CHAIN/PPC | ADULT W/M | * | * |  | 4 | 4 | 2500 | 10000
# |  | ADULT W/M | * | * | 11 |  | 11 | 2500 | 27500
# |  | ILR | VEST FROST | MK-144/91209554 | 1 |  | 1 | 250000 | 250000
# |  | BP APPARATUS(MER) | * | * |  | 5 | 5 | 1100 | 5500
# |  | BP APPARATUS | * | * | 14 |  | 14 | 650 | 9100
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G4E2600B2ABC0 | 1 |  | 1 | 250000 | 250000
# |  | NEEDLE DESTROYER | * | * | 1 |  | 1 | 1200 | 1200
# |  | NEEDLE DESTROYER | * | * | 1 |  | 1 | 1200 | 1200
# |  | NEEDLE DESTROYER | * | * |  | 1 | 1 | 1200 | 1200
# |  | NEEDLE DESTROYER | * | * |  | 1 | 1 | 1200 | 1200
# |  | BP APPARATUS (DIG) | * | * |  | 3 | 3 | 1100 | 3300
# | LABOUR ROOM | O2 CONCENTRATOR | BPL | OG 4203/AXTCOGS337 | 1 |  | 1 | 45000 | 45000
# |  | NEEDLE CUTTER | LCP | * | 1 |  | 1 | 1200 | 1200
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/474/01/1213 | 1` |  | 1 | 38000 | 38000
# |  | ADULT W/M | * | * |  | 1 | 1 | 2500 | 2500
# |  | BABY W/M | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | BP APPARATUS(MER) | TOP | * | 1 |  | 1 | 1100 | 1100
# |  | NEEDLE DESTROYER | * | * |  | 1 | 1 | 1200 | 1200
# |  | FETAL DOPPLER | LCP | MD-03 | 1 |  | 1 | 80000 | 80000
# |  | LABOUR TABLE(FOULDING) | * | * | 1 |  | 1 | 14000 | 14000
# |  | CELLING OT LIGHT(SINGLE DOOM) | * | * | 1 |  | 1 | 150000 | 150000
# |  | FETAL DOPPLER | COMIN | FD-200D/200S2012 |  | 1 | 1 | 80000 | 80000
# |  | BOILER | * | * |  | 1 | 1 | 6500 | 6500
# |  | AUTOCLAVE(VER) | * | * | 1 |  | 1 | 65000 | 65000
# |  | LABOUR TABLE(HYDROULIC) | * | * |  | 1 | 1 | 70000 | 70000
# |  | DEFIBRILATOR | BPL | DF 2509/SYMFOL4642 | 1 |  | 1 | 170000 | 170000
# | EMERGENCY WARD | NEBULIZER | NULIFE | HANDY NEB/NAN251353 | 1 |  | 1 | 6500 | 6500
# |  | SUCTION M/C (FOOT) | * | * | 1 |  | 1 | 6500 | 6500
# |  | PULSE OXIMETER | CONCEPT INTEGRATION | OXYCORN/CI090SA066 | 1 |  | 1 | 55000 | 55000
# |  | BP APPARATUS(MER) | MCP | * | 1 |  | 1 | 1100 | 1100
# |  | MICROSCOPE | AJAY OPTIK | 12-J-11919 | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE | MLW | 22337 | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | HETTICH | EBA | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE DESTROYER | LCP | * |  | 1 | 1 | 1200 | 1200
# | PATHOLOGY | MICROSCOPE | OLYMPUS | * | 1 |  | 1 | 30000 | 30000
# | BIOCHEMISTRY LAB | HOT AIR OVEN | JINDAL | * | 1 |  | 1 | 4500 | 4500
# |  | BIO CHEMISTRY ANALYZER | NOVA | * | 1 |  | 1 | 200000 | 200000
# |  | CELL COUNTER | ERMA | PCE-210 |  | 1 | 1 | 350000 | 350000
# |  | SEMI AUTO NALYZER | MINITECHNO | * | 1 |  | 1 | 200000 | 200000
# |  | PHOTO COLORIMETER | SMITHKLAN | LN-213 | 1 |  | 1 | 1400 | 1400
# |  | CENTRIFUGE 8-TUBE | * | * | 1 |  | 1 | 6500 | 6500
# | BLOOD BANK | ELISA WASHER | ASPEN | LISA WASH/461314003BYE | 1 |  | 1 | 200000 | 200000
# |  | TUBE SEAL | HIT CARE | HTS-101/11021612 |  | 1 | 1 | 4500 | 4500
# |  | MICROSCOPE | MLW | 23335 |  | 1 | 1 | 30000 | 30000
# |  | BB REFRIGERATOR | JEWETT | * | 1 |  | 1 | 250000 | 250000
# |  | BB REFRIGERATOR | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | REFRIGERATOR | ELECTROLUX | ML 150 | 1 |  | 1 | 15000 | 15000
# |  | BLOOD COLLECTION MONITOR | TESONIC | * | 1 |  | 1 | 65000 | 65000
# |  | MECURY B.P MURCURY | NAMATT | 78755 | 1 |  | 1 | 1100 | 1100
# |  | ADULT WEIGHT MACHINE | INDIAN | * | 1 |  | 1 | 2500 | 2500
# | MICROLBIOLOGY LAB. | AUTOCLAVE(COOKER TYPE) | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | AUTOCLAVE(VER) | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | MICROSCOPE | OLYMPUS | * | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE | LABO | 90020 | 1 |  | 1 | 30000 | 30000
# |  | V.D.R.L. ROTATAOR | JINDAL | * | 1 |  | 1 | 4500 | 4500
# |  | INCUBATOR | BTI | 9534 | 1 |  | 1 | 375000 | 375000
# |  | LAMINAR AIR FLOW | INDIAN | * | 1 |  | 1 | 250000 | 250000
# |  | WATER BATH | * | * | 1 |  | 1 | 4500 | 4500
# |  | INCUBATOR | BTI | 9654 | 1 |  | 1 | 375000 | 375000
# |  | WATER BATH | JINDAL | * | 1 |  | 1 | 4500 | 4500
# |  | LOW TEMP FREEZER | CRYO SCIENTIFIC | * | 1 |  | 1 | 250000 | 250000
# | BLOOD BANK | ELISA READER | ASPEN | LISA PLUS |  | 1 | 1 | 200000 | 200000
# | MINOR OT | SPOT LIGHT | * | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | LCP | * | 1 |  | 1 | 1200 | 1200
# | GENERAL OT | OT TABLE HYDROULIC | * | * | 2 |  | 2 | 70000 | 140000
# |  | SPOT LIGHT | * | * | 2 |  | 2 | 6500 | 13000
# |  | HYDROULIC TABLE | * | * | 2 |  | 2 | 70000 | 140000
# |  | SPOT LIGHT | * | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | * | * | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS(MER) | BLUE CROSS | * | 1 |  | 1 | 1100 | 1100
# |  | BOYLES APP | ME | * | 1 |  | 1 | 65000 | 65000
# |  | MULTI PARAMONITOR | BPL | EXCELLO ECO/DATMOL2549 | 1 |  | 1 | 80000 | 80000
# |  | MULTI PARAMONITOR | BPL | CLAREO/ECTA1H1076 | 1 |  | 1 | 80000 | 80000
# |  | NEEDLE CUTTER | * | * | 1 |  | 1 | 1200 | 1200
# |  | SUCTION M/C (FOOT) | * | * | 1 |  | 1 | 6500 | 6500
# |  | BOILER | * | * |  | 1 | 1 | 6500 | 6500
# |  | COAGULATION M/C | L&T | E0SS2122 | 1 |  | 1 |  | 0
# |  | BP APPARATUS(STAND TYPE MER) | SUPREME | GOLD/98119936 | 1 |  | 1 | 1100 | 1100
# |  | SUCTION M/C | * | * | 1 |  | 1 | 6500 | 6500
# |  | COAGULATION M/C | MEDICHEM | MEDILAP 250ANL/11-12-774 | 1 |  | 1 |  | 0
# |  | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# |  | O2 CONCENTRATOR | BPL | OG 4203/10050636 | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE ELECTRIC | * | * | 1 |  | 1 | 45000 | 45000
# |  | CEILLING OT LIGHT (DOUBLE DOOM) | INDO+MEDICA | * | 1 |  | 1 | 150000 | 150000
# |  | C-ARM | THALES | TH9403QXH666VRI3TI/91285063 | 1 |  | 1 | 850000 | 850000
# |  | BOYLES APPARATUS | ALLIED | * | 1 |  | 1 | 65000 | 65000
# |  | MULTI PARA MONITOR | BPL | EXCELLO ECO/DATMOK2487 | 1 |  | 1 | 80000 | 80000
# |  | CEILLING OT LIGHT (SINGLE DOOM) | * | * | 1 |  | 1 | 150000 | 150000
# |  | ORTHOPATIC OT TABLE | * | * | 1 |  | 1 | 45000 | 45000
# |  | DOMESTIC REFRIGERETOR | LG | GL-185/2011 | 1 |  | 1 | 15000 | 15000
# |  | HYDROULIC O.T TABLE | * | * | 1 |  | 1 | 70000 | 70000
# |  | HORIZONTAL AUTOCLAVE | MAC | 66 | 1 |  | 1 | 55000 | 55000
# |  | HORIZONTAL AUTOCLAVE | INSTECH | * | 1 |  | 1 | 55000 | 55000
# |  | HORIZONTAL AUTOCLAVE | MEDIQUIP | * |  | 1 | 1 | 55000 | 55000
# | STERILIZATION ROOM | AUTOCLAVE (VERTICAL) | * | * | 1 |  | 1 | 65000 | 65000
# | ORTHO O.T | X-RAY M/C | PROFESSIONAL IMAGING | PX-60 | 1 |  | 1 | 450000 | 450000
# |  | FUMIGATOR | * | * | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | * | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION M/C | * | * | 1 |  | 1 | 6500 | 6500
# | I.C.U | VENTILATOR | NEUMOVENT | VA/THC.11764 | 1 |  | 1 | 600000 | 600000
# |  | DEFIBRILATOR | SCHILLER | DEFIGARD-400/JI2C139 | 1 |  | 1 | 170000 | 170000
# |  | SUCTION M/C(DOUBLE JAR) | * | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS(MER)STAND TYPE | MCP | 1141923 | 1 |  | 1 | 1100 | 1100
# |  | NEEDLE DESTROYER | SAI+LIFE | * | 1 |  | 1 | 1200 | 1200
# |  | O2 CONCENTRATOR | * | OG-4203/AXMB7C2727 | 1 |  | 1 | 45000 | 45000
# |  | MULTI PARAMONITOR | * | EXCELLO ECO/DATMOK2515 | 1 |  | 1 | 80000 | 80000
# |  | O2 CONCENTRATOR | BPL | OG-4203/AXTCOG5324 | 1 |  | 1 | 45000 | 45000
# |  | ECG M/C | BPL | CARDIAT 8108 VIEW/DOTA2D1463 | 1 |  | 1 | 52000 | 52000
# |  | TMT M/C | SCHILLER | CS-200/030.06343 | 1 |  | 1 | 850000 | 850000
# |  | VENTILATOR | NEUMOVENT | VA/THC.11762 | 1 |  | 1 | 600000 | 600000
# |  | VENTILATOR | NEUMOVENT | VA/THC.11768 | 1 |  | 1 | 600000 | 600000
# |  | VENTILATOR | NEUMOVENT | VA/THC.11761 | 1 |  | 1 | 600000 | 600000
# |  | X-RAY M/C | PROFESSIOAL IMAGING | PX-60 | 1 |  | 1 | 450000 | 450000
# |  | DOMESTIC REFRIGERETOR | KELVINATOR | KWE183/2012 |  | 1 | 1 | 15000 | 15000
# |  | DOMESTIC REFRIGERETOR | SAMSUNG | RT26FAKMASE/TL/2013 | 1 |  | 1 | 15000 | 15000
# | X-RAY ROOM | X-RAY M/C 3KW | ALLENGERS-4R | MARS-50/2K110850109 | 1 |  | 1 | 450000 | 450000
# |  | X-RAY M/C 300MA | RMS | MDX-300 | 1 |  | 1 | 450000 | 450000
# |  | X-RAY M/C 60MA | GENERAL MEDICAL EQUIPMENT | * | 1 |  | 1 | 450000 | 450000
# | ECG | ECG M/C | BPL | CARDIAT 8108 VIEW/DOTA2C1445 | 1 |  | 1 | 52000 | 52000
# |  | ECG M/C | CONCEPT INTEGRATION | * | 1 |  | 1 | 52000 | 52000
# |  | ECG M/C | BPL | CARDIAT 6108T/AVMI6K5127 | 1 |  | 1 | 52000 | 52000
# | SNCU X-RAY ROOM | PHOTOTHERAPY | PHOENIX | PT-104/2835 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PB 100/3193 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | BIRD MEDITECH | BM/CPT/182/10/104 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PT-104/2863 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PT-104/3190 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PT-104/2847 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PT-104/3177 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PT-104/2849 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PT-104/3161 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PT-104/3165 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | BIRD MEDITECH | BM/CPT/183/10/1011 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | BIRD MEDITECH | BM/CPT/184/10/1011 | 1 |  | 1 | 15500 | 15500
# |  | X-RAY M/C | ALLENGERS HF | MARS-3.5/SBM/2K101003709-X/HF |  |  | 0 | 450000 | 0
# |  | O2 CONCENTRATOR | BPL | OG-4203 |  | 5 | 5 | 45000 | 225000
# |  | BABY W/M(DIG) | EQUINOX | * | 1 |  | 1 | 3500 | 3500
# | SNCU | BABY W/M(DIG) | EQUINOX | * | 1 |  | 1 | 3500 | 3500
# |  | CENTRIFUGE | * | RM-12C/LNLC-8270 | 1 |  | 1 | 6500 | 6500
# |  | BILIRUBIN METER | APEL | BR-5100P/S2P0020 | 1 |  | 1 |  | 0
# | SNCU(OUT BORN UNIT) | BABY W/M(DIG) | EQUINOX | * | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/218/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/224/07/1213 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/276/01/1213 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/210/01/1213 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/219/01/1213 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/176/01/1213 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/281/01/1213 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/RWO/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDICAL | NRV2101A/NRV2101A/0313/83 |  | 1 | 1 | 38000 | 38000
# |  | C-PAP | ZEAL MEDICAL | INNO-RES(HHD-01) | 1 |  | 1 | 55000 | 55000
# |  | PULSE OXIMETER | MAESTROS | LOTUS-500/100772-123 | 1 |  | 1 | 55000 | 55000
# |  | PULSE OXIMETER | MAESTROS | LOTUS-500/100774-165 | 1 |  | 1 | 55000 | 55000
# |  | SUCTION M/C(SINGLE JAR) | * | * | 1 |  | 1 | 6500 | 6500
# |  | SYRING PUMP | TECHNOCARE | TM-1509/BY-13810090091 | 1 |  | 1 | 40000 | 40000
# |  | PHOTOTHERAPY | PHOENIX | PT-104/2866 | 1 |  | 1 | 15500 | 15500
# |  | SYRING PUMP | ASPEN | SP-1/1003713Z | 1 |  | 1 | 40000 | 40000
# |  | NEBULIZER | NULIFE | HANDY NEB/PCB73194 | 1 |  | 1 | 6500 | 6500
# |  | SYRING PUMP | ASPEN | SP-1000/1104017 | 1 |  | 1 | 40000 | 40000
# |  | SYRING PUMP | ASPEN | SP-1000/1104018 | 1 |  | 1 | 40000 | 40000
# |  | SYRING PUMP | ASPEN | SP-1000/1104033 |  | 1 | 1 | 40000 | 40000
# |  | SYRING PUMP | TECHNOCARE | TM-1509/BY-13810080044 | 1 |  | 1 | 40000 | 40000
# | SNCU(IN BORN UNIT) | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/280/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/214/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/227/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/232/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/253/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/268/07/1011 |  | 1 | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/266/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDICAL | * | 1 |  | 1 | 38000 | 38000
# |  | C-PAP | ZEAL MEDICAL | INNO-RES | 1 |  | 1 | 55000 | 55000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/240/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | PULSE OXIMETER | MAESTROS | LOTUS-500/100772-173 |  | 1 | 1 | 55000 | 55000
# |  | SUCTION M/C(SINGLE JAR) | SAFEIN | * |  | 1 | 1 | 6500 | 6500
# |  | PULSE OXIMETER | MAESTROS | LOTUS-500/100772-121 | 1 |  | 1 | 55000 | 55000
# |  | BABY W/M (DIG) | EQUINOX | * | 1 |  | 1 | 3500 | 3500
# |  | SYRING PUMP | ASPEN | SP-1/10038072 |  | 1 | 1 | 40000 | 40000
# |  | GLUCO METER | SD | CHEK GOLD/M01C08EAA03301 | 1 |  | 1 | 1500 | 1500
# |  | GLUCO METER | SD | CHEK GOLD/M01C08EAA03591 |  | 1 | 1 | 1500 | 1500
# |  | SYRING PUMP | ASPEN | SP-1/10038182 | 1 |  | 1 | 40000 | 40000
# |  | SYRING PUMP | ASPEN | SP-1/10038042 | 1 |  | 1 | 40000 | 40000
# |  | SYRING PUMP | TECHNOCARE | TM-1509/BY-13810080164 | 1 |  | 1 | 40000 | 40000
# |  | NEEDLE DESTROYER | SAI+LIFE | * |  | 5 | 5 | 1200 | 6000
# | SNCU (STEP DOWN UNIT) | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/212/07/1011 |  | 1 | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/270/07/1011 |  | 1 | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/244/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RWO/283/07/1011 | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | PHOENIX | PT-104/2845 | 1 |  | 1 | 15500 | 15500
# |  | SUCTION M/C(DOUBLE JAR) | * | * |  | 6 | 6 | 6500 | 39000
# |  | BABY W/M(DIG) | EQUINOX | * |  | 2 | 2 | 3500 | 7000
# |  | FUMIGATOR | * | * | 1 |  | 1 | 6500 | 6500
# |  | AUTOCLAVE (VERTICAL) | * | * |  | 1 | 1 | 65000 | 65000
# |  | AUTOCLAVE (VERTICAL) | * | * | 1 |  | 1 | 65000 | 65000
# |  | DOMESTIC REFRIGERETOR | WHILLPOOL | DC193S/2010 | 1 |  | 1 | 15000 | 15000
# |  | NEBULIZER | NULIFE | * |  | 1 | 1 | 6500 | 6500
# | MATERNITY WARD | NEEDLE DESTROYER | SAI+LIFE | * | 1 |  | 1 | 1200 | 1200
# |  | O2 CONCENTRATOR | BPL | OG- 4203/AXDH3K10126 | 1 |  | 1 | 45000 | 45000
# |  | O2 CONCENTRATOR | BPL | OG-4203/AXTCOG5323 |  | 1 | 1 | 45000 | 45000
# | MALE GENERAL WARD | BP APPARATUS(MER) | BLUE CROSS | * | 1 |  | 1 | 1100 | 1100
# |  | NEEDLE DESTROYER | LCP | * | 1 |  | 1 | 1200 | 1200
# |  | ADULT W/M | VICTORIA DX | * | 1 |  | 1 | 2500 | 2500
# |  | NEBULIZER | NULIFE | HANDY NEB/NGM251357 | 1 |  | 1 | 6500 | 6500
# | GERIATRIC WARD | NEEDLE DESTROYER | * | * |  | 1 | 1 | 1200 | 1200
# |  | BP APPARATUS (MER) | TOP | * | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | NULIFE | HANDYNEB/NGM251351 | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE DESTROYER | SAI+LIFE | * |  | 1 | 1 | 1200 | 1200
# |  | BABY W/M | SMART CARE | * | 1 |  | 1 | 3500 | 3500
# |  | O2 CONCENTRATOR | LIFE PLUS | LFY-I-5B-W/06090047A |  | 1 | 1 | 45000 | 45000
# |  | RADIANT WARMER | PHOENIX | OCW-100/S292 | 1 |  | 1 | 38000 | 38000
# |  | NEBULIZER | NULIFE | HANDYNEB/NGM251144 | 1 |  | 1 | 6500 | 6500
# | NRC WARD | BABY W/M(DIG) | * | * | 1 |  | 1 | 3500 | 3500
# |  | NEEDLE DESTROYER | LQ | * | 1 |  | 1 | 1200 | 1200
# |  | WEIGHT M/C(DIG) | UNITECH | * | 1 |  | 1 | 2500 | 2500
# |  | NEBULIZER | NULIFE | HANDYNEB/NGM251354 | 1 |  | 1 | 6500 | 6500
# | FEMALE SURGICAL WARD | NEEDLE DESTROYER | SAI+LIFE | * | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS(MER) | MCP | * |  | 1 | 1 | 1100 | 1100
# |  | NEBULIZER | NULIFE | HANDYNEB/NGM251346 | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS(DIG) | ASPEN | BP-103H/BP130542603467 | 1 |  | 1 | 1100 | 1100
# |  | O2 CONCENTRATOR | BPL | OG-4203/AXTCOG5354 |  | 1 | 1 | 45000 | 45000
# | MALE SURGICAL WARD | NEEDLE DESTROYER | * | * | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS(MER) | LIFE-O-LIVE | 98134568 | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | SMART CARE | 2228 | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS(MER) | TOP | * |  | 1 | 1 | 1100 | 1100
# |  | SUCTION M/C(DOUBLE JAR) | * | * | 1 |  | 1 | 6500 | 6500
# | PRIVATE WARD | BP APPARATUS(MER) | NAMMAT | 78761 | 1 |  | 1 | 1100 | 1100
# |  | NEBULIZER | NULIFE | HANDYNEB/PCB73197 | 1 |  | 1 | 6500 | 6500
# |  | ADULT W/M | SMART CARE | * | 1 |  | 1 | 2500 | 2500
# |  | NEDDLE CUTTER | * | * | 1 |  | 1 | 1200 | 1200
# | EYE OPD | KEROTO METER | * | * | 1 |  | 1 | 40000 | 40000
# |  | A-SCAM | APPASCAM | 2000/AXZ | 1 |  | 1 | 450000 | 450000
# |  | SLIT LAMP | APPASWAMY | AARV-001/20005344 | 1 |  | 1 | 13000 | 13000
# |  | BP APPARATUS(DIG) | SMART CARE | SC-535/1196 | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | BLUE CROSS | * | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS(MER) | NAMMAT | * | 1 |  | 1 | 1100 | 1100
# |  | TONOMETER | * | * | 1 |  | 1 | 170000 | 170000
# |  | DIRECT OPTICAL MICROSCOPE | WELCH | N4 | 1 |  | 1 | 150000 | 150000
# |  | AUTOCLAVE (VERTICAL) | * | * | 1 |  | 1 | 65000 | 65000
# |  | AUTOCLAVE(VER) | * | * | 1 |  | 1 | 65000 | 65000
# |  | DOMESTIC REFRIGERETOR | KELVINATOR | KWE183 | 1 |  | 1 | 15000 | 15000
# |  | VTRATONIC M/C | APPASAMY | JEW-16 | 1 |  | 1 |  | 0
# |  | OT TABLE | * | * | 2 |  | 2 | 45000 | 90000
# |  | MICROSCOPE | TOPCON | OMS90/314566 | 1 |  | 1 | 30000 | 30000
# |  | MIROSCOPE | APPSWAMI | 3223111-12 | 1 |  | 1 | 30000 | 30000
# |  | CAUTRY | APPSWAMI | 2711005004 | 1 |  | 1 | 160000 | 160000
# |  | PULSE OXIMETER | SMART CARE | * | 1 |  | 1 | 55000 | 55000
# |  | GLUCO METER | ACCU-CHEK | PERFORMA NANO/70158441 | 1 |  | 1 | 1500 | 1500
# | COLD CHAIN ROOM | DEEP FREEZER | VEST FROST | MK-144 |  | 1 | 1 | 250000 | 250000
# |  | DEEP FREEZER | VEST FROST | MF-304/64918537 |  | 1 | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G4E2600B2ABC0 |  | 1 | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-286/BE04F26000B2A650142 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-200/BE0591E0100B2 |  | 1 | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-286/BE04E0E0100B293R0042 | 1 |  | 1 | 250000 | 250000
# |  | ILR | VEST FROST | MK-304/20024902752 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VEST FROST | MF-304/911111118 | 1 |  | 1 | 250000 | 250000
# |  | ILR | VEST FROST | MK-304/65000153 | 1 |  | 1 | 250000 | 250000
# | C.S. STORE | FOOT SUCTION M/C | * | * | 3 |  | 3 | 6500 | 19500
# |  | DOMESTIC REFRIGERETOR | SAMUSNG | * | 1 |  | 1 | 15000 | 15000
# |  | DOMESTIC REFRIGERETOR | SAMSUNG | RT26FAKMASE/TL/2013 | 1 |  | 1 | 15000 | 15000
# |  | NEEDLE DESTROYER | * | * | 20 |  | 20 | 1200 | 24000
# |  | NEBULIZER | NULIFR | * |  | 1 | 1 | 6500 | 6500
# |  | BP APPARATUS(MER) | * | * |  | 1 | 1 | 1100 | 1100
# | CMOH STORE | ILR | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | SONOGRAPHY | ULTRASOND M/C | * | 1 |  | 1 | 450000 | 450000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 350
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 20580900
* | Not Available |  |  |  | Total CMC Value |  |  |  | 1440663

## CHC SAMA
Name of Consultant :- | [6 empty] | Date:- |  | 21/09/15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC SAMA(JHABUA)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial no |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | PATHO LAB | NEEDLE CUTTER | SAI LIFE | * |  | 1 |  | 1 | 1200 | 1200
# |  | GLUCCO METER | ACCU CHEK | PERFORMA NANO/S9109033710 |  | 1 |  | 1 | 1500 | 1500
# |  | BINOCULAR MICROSCOPE | MLW | * |  |  | 1 | 1 | 30000 | 30000
# |  | BINOCULAR MICROSCOPE | MLW | * |  |  | 1 | 1 | 30000 | 30000
# |  | BINOCULAR MICROSCOPE | MLW | * |  |  | 1 | 1 | 30000 | 30000
# |  | BINOCULAR MICROSCOPE | MLW | * |  |  | 1 | 1 | 30000 | 30000
# |  | BINOCULAR MICROSCOPE | MLW | * |  |  | 1 | 1 | 30000 | 30000
# |  | MONOCULAR MICROSCOPE | INDIAN | * |  |  | 1 | 1 | 18500 | 18500
# | LAB | REFRIGERATOR | GODREJ | R8C BC |  | 1 |  | 1 | 15000 | 15000
# |  | CENTRIFUGE | REMI | JM 09 |  | 1 |  | 1 | 6500 | 6500
# |  | BINOCULAR MICROSCOPE | * | * |  | 1 |  | 1 | 30000 | 30000
# |  | WATER BATH | INDIAN | * |  | 1 |  | 1 | 4500 | 4500
# |  | CENTRIFUGE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BIO CHEM ANALYSER | ROBONIK | PEL 0120514RBK |  | 1 |  | 1 | 200000 | 200000
# |  | INCUBATOR | * | * |  | 1 |  | 1 | 375000 | 375000
# | X RAY ROOM | X RAY MACHINE | SIEMENS | 12912524 |  | 1 |  | 1 | 450000 | 450000
# | WBSU | Adult weinghing Machine | kohinoor | * |  | 1 |  | 1 | 2500 | 2500
# |  | Spot Light | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | Baby Warmer | phoenix | ocw-100/6001 |  | 1 |  | 1 | 38000 | 38000
# |  | Baby Warmer | phoenix | ocw-100/6015 |  | 1 |  | 1 | 38000 | 38000
# |  | Baby Warmer | phoenix | ocw-100/6022 |  | 1 |  | 1 | 38000 | 38000
# |  | Baby Warmer | phoenix | ocw-100/6011 |  | 1 |  | 1 | 38000 | 38000
# | LABOUR ROOM | labour table | * | * |  | 2 |  | 2 | 14000 | 28000
# |  | ecg m/c | bpl | cardiat 108t/j86-116678 |  |  | 1 | 1 | 52000 | 52000
# |  | FOETAL DOPPLER | CROWN | DX-SD |  |  | 1 | 1 | 80000 | 80000
# |  | BABY W/M | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | BP APPARATUS(MER) | NAMMAT | 79642 |  | 1 |  | 1 | 1100 | 1100
# |  | SUCTION M/C | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | S.S TECHNOMED | DELUXE |  | 1 |  | 1 | 38000 | 38000
# |  | AUTOCLAVE(VER) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | NEBULIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# | OT | NEEDLE CUTTER | AIDS | * |  | 1 |  | 1 | 1200 | 1200
# |  | O2 CONCENTRATOR | BPL | OG-4203/AXTCOB4783 |  |  | 1 | 1 | 45000 | 45000
# |  | PEDAL SUCTION M/C | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTOCLAVE(VER) | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | BP APPARATUS(STAND TYPE) | NAMMAT | 7969 |  | 1 |  | 1 | 1100 | 1100
# |  | FUMIGATOR | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | * | CLAREO/ECTA2F1276 |  | 1 |  | 1 | 1200 | 1200
# |  | NEBULIZER | TRUCHEK | KQW-4A |  |  | 1 | 1 | 6500 | 6500
# | WARD | NEBULIZER | TRUCHEK | KQW-4A |  |  | 1 | 1 | 6500 | 6500
# |  | NEBULIZER | RAXON | RAXNEB/RR0415690 |  | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | RAXON | RAXNEB |  | 1 |  | 1 | 6500 | 6500
# | M.C.H | ILR | HAIER | HBC-70/BE07F4E0N00B2A9A0120 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G0E0100B288 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G4E280OB2A8B0015 |  | 1 |  | 1 | 250000 | 250000
# | N.R.C | WEIGHT M/C | INDIAN | * |  | 1 |  | 1 | 2500 | 2500
# |  | DOMESTIC REFREGERATOR | SAMSUNG | RL-1850 |  | 1 |  | 1 | 15000 | 15000
# |  | WEIGHT M/C | UNITECH | * |  | 1 |  | 1 | 2500 | 2500
# |  | DOMESTIC REFREGERATOR | WHIRLPOOL | * |  |  | 1 | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 51
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 2682800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 187796