## GH JIND
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- GH,Jind Name of the Facility- Gh Jind
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Radiology | X RAY 500MA | 1 | Allengers medical system | MARS40 | 2k13035129xhf | 25-04-13 | 0 | 4/2015' | 1 | 04/2016' | Yes
2 | Radiology | X RAY 150MA | 1 | Allengers medical system | 2015-04-15 | 2k13003524014 | 15-05-2013 | 0 | 4/2015' | 1 | 04/2016' | Yes
3 | Radiology | c r system | 1 | AGFA MEDICAL SYSTEM | cr 30xm digitizer | NA | dec 2013' | 1 | 12/2015' | 1 | 04/2016' | Yes
4 | Radiology | c arm machine | 1 | meditronix | meditronix | na | 22-11-2013 | 0 | -- | 1 | 04/2016' | Yes
5 | Radiology | X-RAY 300ma | 1 | Medford | E7239X | 70912 | 05.03.07 | 0 | -- | 1 | 04/2016' | Yes
6 | Radiology | X-RAY300MA | 1 | seimens | THX1-125180 | E92343 | 1995 | 0 | -- | 0 | -- |  | N.W
7 | Radiology | X-RAY100MA | 1 | seimens |  |  | 1998 | 0 | -- | 0 | -- |  | N.W
8 | Radiology | X-RAY 15 ma | 1 |  | pbm 7020 | NA | 1985 | 0 | -- | 0 | -- |  | N.W
9 | Radiology | Ultrasounds | 1 | erbis biomedicals | TOSHIBA | na | 2007 | 0 | -- | 1 | 04/2016' | Yes
10 | Radiology | Ultrasound | 1 | Seaner | sm0662 | NA | 1992 | 0 | -- | 0 | -- |  | N.W
11 | Radiology | Film drying cabinet | 1 | NA | NA | NA | 1976 | 0 | -- | 0 | -- | Yes
12 | Radiology | X-ray film drying cabinet | 1 | NA | NA | NA | 1978 | 0 | -- | 0 | -- | Yes
13 | Radiology | View box(2) | 1 | NA | NA | NA |  | 0 | -- | 0 | -- | Yes
14 | ECG | ECG 12 CHANNAL | 1 | n.w OVERSEAS | 1203B |  | 2015-02-03 | 1 | 2017-02-03 | 0 |  | Yes
15 | ECG | ECG 12 CHANNAL | 1 | ALLENGERRS |  |  | 2013 | 0 | 2015' | 1 | 2016 | Yes
16 | ECG | ECG12 channal | 1 | Bio net (BPL) | ekg2000 | eg0400031 | 2002 |  |  | 0 |  | Yes
17 | ECG | ECG12 channal | 1 | Bio net (BPL) | ekg2000 | eg0400034 | 2004 |  |  | 0 |  | Yes
18 | ECG | ECG Single channal | 1 | BPL | -- | -- | 1975 | -- | -- | 0 |  |  | N.W
19 | ECG | ECG Single channal | 1 | BPL | -- | -- | 1996 | -- | -- | 0 |  |  | N.W
20 | ECG | ECG Single channal | 1 | BPL | -- | -- | 1996 | -- | -- | 0 |  |  | N.W
21 | ECG | ECG Single channal | 1 | BPL | -- | -- | 1996 | -- | -- | 0 |  |  | N.W
22 | ECG | ECG Single channal | 1 | BPL | -- | -- | 1996 | -- | -- | 0 |  |  | N.W
23 | SNCU | Open care system: radiant warmer, fixed height, with trolley (pheonix) | 8 | pheonix | -- | 1101 | 2013-07-01 | 1 | -- | -- | -- | Yes
24 | SNCU | Radiant warmer, fixed height, with trolley | 6 | pheonix | -- | 1202 | 2013-07-02 | 1 | -- | -- | -- | Yes
25 | SNCU | Open care system | 6 | nice neotech | -- | -- | 31-07-2014 | 1 | -- | -- | -- | Yes
26 | SNCU | Radient warmer | 4 | nice neotech | -- | -- | 31-07-2014 | 1 | -- | -- | -- | Yes
27 | SNCU | Resuscitator, hand-operated, neonate, 250 ml | 1 | undp | -- | -- | 2013 | 1 | -- | -- | -- | Yes
28 | SNCU | Resuscitator, hand-operated, neonate, 500ml | 3 | na | -- | -- | 2013 | 1 | -- | -- | -- | Yes
29 | SNCU | Suction Machine (Foot Operated) | 2 | deepak enterprises | -- | -- | 2013 | 1 | -- | -- | -- | Yes
30 | SNCU | Suction Machine (Electrical) | 2 | deepak enterprises | -- | -- | 2013 | 1 | -- | -- | -- | Yes
31 | SNCU | Digital Weighing Machine | 2 | YORKO | -- | -- | 2013 | 1 | -- | -- | -- | Yes
32 | SNCU | Weighing Machine Ordinary | 2 | YORKO | -- | -- | 2013 | 1 | -- | -- | -- | Yes
33 | SNCU | Laryngoscope set, neonate | 3 | NA | -- | -- | 2013 | 1 | -- | -- | -- | Yes
34 | SNCU | Oxigen Cylinder | 22 | nice neotech | -- | -- | 2013 | 1 | -- | -- | -- | Yes
35 | SNCU | Oxygen Concentrator | 2 | Taurau medical healthcare | -- | -- | 2013 | 1 | -- | -- | -- | Yes
36 | SNCU | Phototherapy Single Head (CFL) | 5 | pheonix | -- | -- | 2013 | 1 | -- | -- | -- | Yes
37 | SNCU | Irradiance meter for phototherapy units | 1 | wipro ge healthcare | -- | -- | 2013 | 1 | -- | -- | -- | Yes
38 | SNCU | Syringe Pump | 8 | schiller healthcare | -- | -- | 2013 | 1 | -- | -- | -- | Yes
39 | SNCU | Monitor, vital sign | 8 | insromedix pvt ltd | -- | -- | 2013 | 1 | -- | -- | -- | Yes
40 | SNCU | Room Heater(Oil) | 8 | na | -- | -- | 2013 | 1 | -- | -- | -- | Yes
41 | SNCU | Glucometer with Strips | 2 | na | -- | -- | 2013 | 1 | -- | -- | -- | Yes
42 | SNCU | Refrigerator | 1 | na | -- | -- | 2013 | 1 | -- | -- | -- | Yes
43 | SNCU | Oxygen Hood | 4 | tauras | -- | -- | 2013 | 1 | -- | -- | -- | Yes
44 | SNCU | Nebulizer | 2 | na | -- | -- | 2013 | 1 | -- | -- | -- | Yes
45 | SNCU | Feotal DOPPLER | 6 | sri sri enterprises | -- | -- | 2013 | 1 | -- | -- | -- | Yes
46 | SNCU | Air conditioner | 10 | whilpool | -- | -- | 2013 | 1 | -- | -- | -- | Yes
47 | Casuality | Oxygen cylinder (2) | 2 | NA | NA | NA | NA | 0 | -- | -- | -- | Yes
48 | Casuality | BP Appratus | 2 | NA | NA | NA | NA | 0 | -- | -- | -- | Yes
49 | Casuality | Sunction machine | 2 | Monarch | MSI-RG02 | 15304 | NA | 0 | -- | -- | -- | Yes
50 | Casuality | Nebulizer | 2 | OMRAN | NE-C25 | 510418 | NA | 0 | -- | -- | -- | Yes
51 | Casuality | Sunction machine | 1 | Anand | NA | NA | 1988 | 0 | -- | -- | -- | Yes
52 | Casuality | Sunction machine | 1 | Anand | NA | NA | 1999 | 0 | -- | -- | -- | Yes
53 | Casuality | Sterilizer | 1 | NA | NA | NA | NA | 0 | -- | -- | -- | Yes
54 | Casuality | Sterilizer | 1 | NA | NA | NA | NA | 0 | -- | -- | -- | Yes
55 | Casuality | Sterilizer | 1 | NA | NA | NA | NA | 0 | -- | -- | -- | Yes
56 | Casuality | Needle destroyer | 1 | Esteem enterprises | NA | NA | 2014 | 0 | -- | -- | -- | Yes
57 | Casuality | Needle destroyer | 1 | Esteem enterprises | NA | NA | 2014 | 0 | -- | -- | -- | Yes
58 | Casuality | Needle destroyer | 1 | Esteem enterprises | NA | NA | 2014 | 0 | -- | -- | -- | Yes
59 | Casuality | Iv stand | 1 | Sri sri enterprises | -- | -- | 2014 | 0 | -- | -- | -- | Yes
60 | Dental | Dental chair with compressor | 1 | confident | -- | -- | 14-06-2014 | 1 | 06/'2016 |  |  | Yes
61 | Dental | Dental chair with compressor | 1 | confident | -- | -- | 14-06-2014 | 1 | 06/'2016 |  |  | Yes
62 | Dental | Syring destroyer | 1 | Microsil | -- | -- | NO | 0 | -- | -- | -- | Yes
63 | Dental | X-ray 8ma | 1 | arsil | -- | -- | 14-06-2014 | 0 | -- | -- | -- | Yes
64 | Dental | X-ray 8ma | 1 | Ardet | -- | -- | NO | 0 | -- | -- | -- | no | nw
65 | Dental | Needle destroyer | 1 | NA | -- | -- | NO | 0 | -- | -- | -- | Yes
66 | Dental | Needle destroyer | 1 | NA | -- | -- | NO | 0 | -- | -- | -- | Yes
67 | Dental | B.P appratus(2) | 1 | NA | -- | -- | NO | 0 | -- | -- | -- | Yes
68 | Dental | Autoclave (table toiop | 1 | NA | -- | -- | NO | 0 | -- | -- | -- | Yes
69 | Gyane | O.T LIGHT | 1 | MULTILUX | -- | -- | -- | 0 | -- | -- | -- | Yes
70 | Gyane | O.T LIGHT | 1 | MEDIQUIP SYSTEM | -- | -- | -- | 0 | -- | -- | -- | Yes
71 | Gyane | B.P APPARATUS WITH STAND | 2 | DIAMOND | -- | -- | -- | 0 | -- | -- | -- | Yes
72 | Gyane | PULSE OXIMETER | 1 | BPL | -- | -- | -- | 0 | -- | -- | -- | Yes
73 | Gyane | O.T TABEL | 1 | COGNATE | -- | -- | -- | 0 | -- | -- | -- | Yes
74 | Gyane | OXYGEN CYILENDER WITH STAND | 2 |  | -- | -- | -- | 0 | -- | -- | -- | Yes
75 | Gyane | SUCTION MACHINE | 1 | MONARCH | -- | -- | -- | 0 | -- | -- | -- | Yes
76 | Gyane | SUCTION MACHINE | 1 |  | -- | -- | -- | 0 | -- | -- | -- | Yes
77 | Gyane | BABY WARMER | 1 |  | -- | -- | -- | 0 | -- | -- | -- | Yes
78 | Gyane | WEIGHING MACHINE | 1 | CROWN | -- | -- | -- | 0 | -- | -- | -- | Yes
79 | Gyane | SYRING DESTROYER | 1 | STRI | -- | -- | -- | 0 | -- | -- | -- | Yes
80 | Gyane | Needle destroyer | 3 | na | -- | -- | -- | 0 | -- | -- | -- | Yes
81 | Gyane | Radient warmer | 1 | Pheonix | -- | -- | -- | 0 | -- | -- | -- | Yes
82 | EYE | Opertating microscope | 1 | Appasamy occular device |  | 610304025 | No | 0 | -- | -- | -- | Yes
83 | EYE | Phacco machine | 1 | optikon | 2000 | 191ax | No | 0 | -- | -- | -- | Yes
84 | EYE | Keratometer | 1 | appasamy | 1997 | 6613510422 | No | 0 | -- | -- | -- | Yes
85 | EYE | Slit lamp | 1 | shinn-nippon | sl-102 | s1021464 | No | 0 | -- | -- | -- | Yes
86 | EYE | Hot air oven | 1 | No | No | No | No | 0 | -- | -- | -- | Yes
87 | EYE | Ultrasonic steri | 1 | sturdy industrial corp | uc-80 | zz8620998 | No | 0 | -- | -- | -- | Yes
88 | EYE | Echo scan | 1 | nidek | us-800 | 88269 | 2009 | 0 | -- | -- | -- | Yes
89 | EYE | Operating microscope | 1 | carl ziess | opmiifrpro |  | 24-03-2014' | 1 | 3'-2016 | -- | -- | Yes
90 | EYE | Direct opthalamoscpe | 1 | national meddical devices | heine |  | 12-03-14' | 1 | 3'-2016 | -- | -- | Yes
91 | Labarotory | Autoclave | 1 | Local | Na | 551846 |  | 0 | -- | -- | -- | Yes
92 | Labarotory | Autoclave | 1 | Local | Na | 660525 |  | 0 | -- | -- | -- | Yes
93 | Labarotory | B.P Apparatus (10) | 10 |  | Na | -- |  | 0 | -- | -- | -- | Yes
94 | Labarotory | Binocular microscope | 1 |  | Na | -- | 10.12.04 | 0 | -- | -- | -- | Yes
95 | Labarotory | Microscope | 1 | Labo | Na | -- | 26.12.90 | 0 | -- | -- | -- | Yes
96 | Labarotory | Bacteriological incubator | 1 |  | Na | -- |  | 0 | -- | -- | -- | Yes
97 | Labarotory | Blood bank refrigerator | 1 | Jewett | Na | -- | 25.07.1995 | 0 | -- | -- | -- | Yes
98 | Labarotory | Blood bank refrigerator | 1 | Remi | dtpm1 | -- | 30.05.08 | 0 | -- | -- | -- | Yes
99 | Labarotory | Blood bank refrigerator | 1 | Eloctrolux | Na | -- | 12.10.99 | 0 | -- | -- | -- | Yes
100 | Labarotory | Elisa washer | 1 | Medelisa | Na | 3181054 | 24.02.98 | 0 | -- | -- | -- | Yes
101 | Labarotory | Semi automatic analyzer | 1 | Photometer mode | Na | 2006mt100546 | 2006 | 0 | -- | -- | -- | Yes
102 | Labarotory | Semi analyzer | 1 | A.K.L Scintific Ambala | Na | -- | 12.06.93 | 0 | -- | -- | -- | Yes
103 | Labarotory | Hot air oven | 1 | Microsil | dtc-201 | -- | -- | 0 | -- | -- | -- | Yes
104 | Labarotory | Elisa washer | 1 |  | Na | -- | -- | 0 | -- | -- | -- | no | NW
105 | Labarotory | Hot plate | 1 | Microsil | Na | -- | -- | 0 | -- | -- | -- | Yes
106 | Labarotory | Incubator | 1 |  | Na | -- | -- | 0 | -- | -- | -- | Yes
107 | Labarotory | Incubator | 1 |  | Na | -- | -- | 0 | -- | -- | -- | Yes
108 | Labarotory | Photo meter | 1 | Minitechno | Na | mt100546 | 2006 | 0 | -- | -- | -- | Yes
109 | Labarotory | Centrifuge machine (3) | 3 |  | Na |  |  | 0 | -- | -- | -- | Yes
110 | Labarotory | Elisa reader | 1 | Medilisa | Na | 3181054 | 2013 | 0 | -- | -- | -- | Yes
111 | Labarotory | Semi automatic analyzer | 2 | Transasia Bio medicals | Erba chem 5x |  | 2010 | 0 | -- | -- | -- | Yes
112 | Labarotory | cell counter | 1 | sri sri enterprises | urit | 39876 | 2014 | 1 | 6/2016' | -- | -- | Yes
113 | Labarotory | Centrifuge machine(2) | 2 | Laboratory and scientifc instrument , ambala | t-8bl |  | 2014 | 1 | 6/2016' | -- | -- | Yes
114 | O.T | O.T Light | 2 | Phillips | 1184 |  | 19.11.74 | 0 | -- | -- | -- | 0 | NW
115 | O.T | Boyals appratus | 2 | superior air | 101000 | S-9/25 | -- | 0 | -- | -- | -- | W
116 | O.T | Deffbrilattor | 1 | Phillips | Smart | us00452737 | -- | 0 | -- | -- | -- | W
117 | O.T | O.T Table | 5 | cognate | -- | -- | -- | 0 | -- | -- | -- | W
118 | O.T | O.T Light | 1 | shah enterprises | -- | -- | -- | 0 | -- | -- | -- | W
119 | O.T | O.T Light | 1 | multilux | dms-zo-u | -- | -- | 0 | -- | -- | -- | W
120 | O.T | O.T Light | 1 | multilux | dms-zo-u | -- | -- | 0 | -- | -- | -- | W
121 | O.T | B.p appratus | 3 | diamond | -- | cm/l-019604 | -- | 0 | -- | -- | -- | W
122 | O.T | O.T Table | 2 | cognate | -- |  | -- | 0 | -- | -- | -- | W
123 | O.T | Deffbrilattor | 1 | schiller | -- | J10b152 | -- | 0 | -- | -- | -- | W
124 | O.T | suction machine | 1 | santoshi |  |  | -- | 0 | -- | -- | -- | W
125 | O.T | suction appartus | 1 | anand | hi-vac | 1dj01004 | -- | 0 | -- | -- | -- | W
126 | O.T | fiber optics system | 1 | -- | -- | Alpha-2716107 | 20.06.07 | 0 | -- | -- | -- | W
127 | O.T | Boyals appratus | 1 | Datex omeda | -- | 0132/az/2001 | -- | 0 | -- | -- | -- | W
128 | O.T | O.T Table | 1 | cognate | cognate | -- | -- | 0 | -- | -- | -- | W
129 | O.T | O.T Table | 1 | cognate | cognate | -- | -- | 0 | -- | -- | -- | W
130 | O.T | O.T Table | 1 | cognate | cognate | -- | -- | 0 | -- | -- | -- | W
131 | O.T | O.T Table | 1 | cognate | cognate | -- | -- | 0 | -- | -- | -- | W
132 | O.T | TURP SET | 1 | karl storz |  | -- | -- | 0 | -- | -- | -- | W
133 | O.T | Semi Auto Analyzer | 1 | Transasia | ERBA-5X | -- | 20.10.10 | 0 | -- | -- | -- | W
134 | O.T | Cardiac monitor with defeb | 1 | SCHILLER |  | -- | 2010 | 0 | -- | -- | -- | W
135 | O.T | Anesthisia workstation | 1 | allied medical |  | -- | 2014 | 1 | 8-2016' |  |  | W
136 | O.T | Radient warmer | 1 | pheonix | ocw100 | tu1172 | 2013 | 0 |  | 1 |  | W
260
|  |  | Contact details : Civil Surgeon mob : 8295937021 | [7 empty] | NW 12, W124
Facility Incharge : Dr Anil Birla , M.S 8295937021
Store Incharge : Prem
Store keeper :Prem
Biomedical Engineer : Er Varun Saini , 8295937036

## SDH NARWANA
MASTER EQUIPMENT BASE
Name of District- JIND Type of facility- SDH Narwana Name of the Facility- SDH Narwana
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
8 | Labarotory | Microscope |  | LABO | VJ-5 |  | NA | 0 | 0 | 0 | 0 | w
9 | Labarotory | Centrifuge Machine | 1 | Hettich | D-78532 | EBA8 | NA | 0 | 0 | 0 | 0 | w
10 | Labarotory | Needle Destroyer | 1 | Microsill |  |  | NA | 0 | 0 | 0 | 0 | w
11 | Labarotory | Deep Freezer | 1 | Haier | Fusion(ec-5t) | BQ49T0026 | NA | 0 | 0 | 0 | 0 | w
12 | Labarotory | Freezer | 1 | Whirlpool |  |  | NA | 0 | 0 | 0 | 0 | w
13 | Labarotory | Semi Auto Analyzer | 1 | Transasia | ERBA-CHEM5T | 10936 | NA | 0 | 0 | 0 | 0 | w
14 | Labarotory | Microscpe (Binoculer) | 1 | Labotron |  |  | NA | 0 | 0 | 0 | 0 | w
15 | Labarotory | Microscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
16 | Labarotory | Centrifugal Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
17 | Labarotory | Refrigerator | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
18 | Labarotory | Photocalorimeter | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
19 | Labarotory | Freezer | 1 | Power Electro System | JA -R03 | R-0611219 | NA | 0 | 0 | 0 | 0 | w
20 | Gyanae | Fetal Dopller | 1 | Capa medica | 0 | 2008 | NA | 0 | 0 | 0 | 0 | w
21 | Gyanae | Phototharpy | 1 |  | 0 | Na | NA | 0 | 0 | 0 | 0 | w
22 | Gyanae | Baby warmer | 1 | Meditrin | 0 | Na | NA | 0 | 0 | 0 | 0 | w
23 | Gyanae | Incubator | 1 | -- | 0 | Na | NA | 0 | 0 | 0 | 0 | w
24 | Gyanae | Cylinder | 1 | -- | 0 | Na | NA | 0 | 0 | 0 | 0 | w
25 | Gyanae | Weight Machine | 1 | Laica | 0 | Na | NA | 0 | 0 | 0 | 0 | w
26 | Gyanae | Suction Machine (2) | 1 | -- | 0 | 2008 | NA | 0 | 0 | 0 | 0 | w
27 | Gyanae | B.P.Appratus (Stand) | 1 | -- | 0 | Na | NA | 0 | 0 | 0 | 0 | w
28 | Gyanae | O.t Light (1) | 1 | -- | 0 | Na | NA | 0 | 0 | 0 | 0 | w
29 | Gyanae | O.T Bed(3) | 1 | -- | 0 | Na | NA | 0 | 0 | 0 | 0 | w
30 | Dental | Dental chair | 1 | Confident | II | 12058 | NA | 2014 | 0 | 0 | 0 | w
31 | Dental | Dental (X-ray) | 1 | orix-65 |  | si31122 | NA | 0 | 0 | 0 | 0 | w
32 | Dental | Dental (X-ray) | 1 | Meditronix | Dentex-1060 |  | NA | 0 | 0 | 0 | 0 | w
33 | Dental | Syring Destroyer | 1 | Microsil |  |  | NA | 0 | 0 | 0 | 0 | w
34 | Radilogy | X-Ray | 1 | Allengers | THX1-125 | E020665 | E020665 | 0 | 0 | 0 | 0 | w
35 | Radilogy | X-Ray | 1 | Escorts | RA59-3-128 | B9746 | B9746 | 0 | 0 | 0 | 0 | w
36 | Radilogy | Ultrasounds | 1 | Toshiba | ercxa |  |  | 0 | 0 | 0 | 0 | w
37 | Radilogy | Ultrasounds | 1 | Phiips | hd3 |  |  | 0 | 0 | 0 | 0 | n.w | N.W
38 | O.T | Horizontal Autoclave | 1 | Yorco | 7b-337 | NA | NA | 0 | 0 | 0 | 0 | w
39 | O.T | Boyel's appratus | 1 | Sterlizer | NA | NA | NA | 0 | 0 | 0 | 0 | w
40 | O.T | O.T Light (4) | 4 | Multilux | NA | NA | NA | 0 | 0 | 0 | 0 | w
41 | O.T | O.T Bed (3) | 3 | Cognate | NA | NA | NA | 0 | 0 | 0 | 0 | w
42 | O.T | Suction Machine | 1 | Anand's | NA | NA | NA | 0 | 0 | 0 | 0 | w
43 | O.T | Suction Appratus | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | w
44 | O.T | Drill Machine | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | w
45 | O.T | B. P Appratus | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | w
46 | O.T | Autoclave Vertical | 1 | Yorco | NA | NA | NA | 0 | 0 | 0 | 0 | w
47 | O.T | Phacco Machine | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | w
48 | O.T | Opthalamoscope | 1 | Karl storz | NA | NA | NA | 0 | 0 | 0 | 0 | w
49 | O.T | Laproscope | 1 | Amb4 | NA | NA | NA | 0 | 0 | 0 | 0 | w
50 | O.T | Defbrillator(2) | 2 |  | NA | NA | NA | 0 | 0 | 0 | 0 | w
51 | O.T | Doctor Case | 1 | Hamburg | NA | NA | NA | 0 | 0 | 0 | 0 | w
52 | O.T | Phacco Machine | 1 | Moller wedel | NA | NA | NA | 0 | 0 | 0 | 0 | w
53 | O.T | Microscope | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | w
54 | O.T | T-Scan | 1 | [8 empty] | w
55
56
Contact details : Civil Surgeon mob : 8295937027
Facility Incharge : Dr Devender Bindlish . S.M.O
Store Incharge : RADAKRISHAN
Store keeper :RADAKRISHAN
Biomedical Engineer : Er Varun Saini , 8295937036

## CHC Safidon
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- chc safidon Name of the Facility-chc safidon
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | O.T | B.P Appratus | 15 | Labo | 2008,09,06 | Na |  | 0
2 | O.T | Needle Destroyer | 2 | Microsil | 2006 |  | -- | 0 | NA | NA | NA | w
3 | O.T | Suction machine | 5 | Supreme enterprises |  | 06b03 | -- | 0 | NA | NA | NA | w
4 | O.T | Sterlizer | 6 | -- | -- | -- | -- | 0 | NA | NA | NA | w
5 | O.T | Autoclave | 1 | -- | -- | -- | -- | 0 | NA | NA | NA | w
6 | O.T | Neubilizer | 3 | Medix | Ac2000 | 1998wt1416 | -- | 0 | NA | NA | NA | w
7 | O.T | O.T Light(portable) | 1 | -- | -- | -- | -- | 0 | NA | NA | NA | w
8 | O.T | O.T Light(Fix) | 1 |  |  |  | -- | 0 | NA | NA | NA | w
9 | O.T | Phototherapy | 2 | Meditrin | CFL | 1502010 | -- | 0 | NA | NA | NA | w
10 | O.T | Autoclave (Portable) | 1 | Sleek | -- | -- | -- | 0 | NA | NA | NA | w
11 | O.T | Oxy Cyilender | 7 |  | -- | -- | -- | 0 | NA | NA | NA | w
12 | O.T | Syring Destroyer | 2 | Microsil | -- | -- | -- | 0 | NA | NA | NA | w
13 | O.T | Baby Warmer | 1 | -- | Nr03c | 1502011 | -- | 1 | 2015' | NA | NA | w
14 | O.T | O.T Bed | 2 | -- |  |  | -- | 0 | NA | NA | NA | w
15 | O.T | Wighing Machine | 1 | -- | Moh & fw |  | -- | 0 | NA | NA | NA | w
16 | O.T | Doppler tone | 1 | -- | -- | -- | -- | 0 | NA | NA | NA | w
17 | O.T | Radient warmer | 2 | pheonix,nice neotech |  |  |  | 0 | NA | NA | NA | w
18 | Dental | Dental Chair | 1 | Confident | Confident 1 |  | 2014 | 1 | 2016 | NA | NA | w
19 | Dental | Dental Chair | 1 | Confident |  |  |  | 0 | NA | NA | NA |  | N.W
20 | Dental | Dental X-ray | 1 | Orix | Orix-65 | 540839 |  | 0 | NA | NA | NA | w
21 | lab | Refrigerator | 1 | LG | -- | -- | 2006 | 0 | NA | NA | NA | w
22 | lab | Syring Destroyer | 1 | Micosill | -- | -- |  | 0 | NA | NA | NA | w
23 | lab | Glass bead strlizer | 1 |  | -- | -- |  | 0 | NA | NA | NA | w
24 | lab | Autoclave (portable) | 1 | Local | -- | -- | 2006 | 0 | NA | NA | NA | w
25 | lab | Centrifuge | 2 | Microsil | T-10 | 545/06-07 | -- | 0 | NA | NA | NA | w
26 | lab | Microscope | 1 | Radical | RXL-4B | 25802 | -- | 0 | NA | NA | NA | w
27 | lab | Syringe Destroyer | 1 | Microsil |  |  | -- | 0 | NA | NA | NA | w
28 | lab | Photocalotimeter | 1 | Microsil | Photic-20 | 232 | -- | 0 | NA | NA | NA | w
29 | lab | Blood storage unit | 1 | Rajas Enterprises |  |  | -- | 0 | NA | NA | NA | n.w | n.w
30 | lab | cell counter | 1 | Urit | u39 |  | -- | 0 | NA | NA | NA | w
31 | Emergancy | O.T light (Fix) | 3 | SURGIDENT | 2006 |  | 2006 | 0 | NA | NA | NA | w
32 | Emergancy | O.T light (Portable) | 2 | multilux | -- |  | 2006 | 0 | NA | NA | NA | w
33 | Emergancy | Suction Machine | 2 | Supreme enterprises | -- | OEB03 | 2006 | 0 | NA | NA | NA | w
34 | Emergancy | WorkStation | 1 | Medical instruments' | -- |  |  | 0 | NA | NA | NA | w
35 | Emergancy | Cardiac Monitor | 1 | Moretti | -- | F081E0009 | 2009 | 0 | NA | NA | NA | w
36 | Emergancy | O.T Bed | 2 | Cognate | -- |  |  | 0 | NA | NA | NA | w
37 | Emergancy | Oxy Cylinder | 4 |  | -- | -- | -- | 0 | NA | NA | NA | w
38 | Emergancy | Baby Warmer | 1 | Meditrin Instruments | -- | -- | -- | 0 | NA | NA | NA |  | N.W
39 | Emergancy | Pulse Oximeter | 1 | BPL |  | sl1102114 | 2006 | 0 | NA | NA | NA | w
40 | Emergancy | Autoclave(Vertical) | 1 | Goley(Fairdeal Traders) | Type11 | 589207 | -- | 0 | NA | NA | NA | w
41 | Emergancy | Autoclave(Vertical) | 1 | Goley(Fairdeal Traders) | Type11 | 589686 | -- | 0 | NA | NA | NA | w
42 | ppc | Deep Freezer | 1 | Vestfrost | MK142 | 25112183 | -- | 0 | NA | NA | NA | w
43 | ppc | Deep Freezer | 1 | Vestfrost | MK142 | 2007 1020561 | -- | 0 | NA | NA | NA |  | N.W
44 | ppc | Deep Freezer | 1 | Haier | HBC-70 | BQ4A50232 | -- | 0 | NA | NA | NA | w
45 | ppc | Syring Destroyer | 1 | Nulif Dots | -- | -- | -- | 0 | NA | NA | NA | w
46 | ppc | Centrifuge Machine | 1 | -- | -- | -- | -- | 0 | NA | NA | NA | w
47 | ppc | Needle Destroyer | 1 | -- | -- | -- | -- | 0 | NA | NA | NA | w
48 | ppc | Refrigerator | 1 | -- | -- | -- | -- | 0 | NA | NA | NA | w
49 | ppc | ILR | 1 | -- | -- | -- | -- | 0 | NA | NA | NA | w
50 | LAB | Microscope | 1 |  |  | Labo |  | 0 | NA | NA | NA | w
51 | LAB | Microscope (Binoculear) | 1 |  |  | Labo |  | 0 | NA | NA | NA | w
52 | radilology | X-Ray 300ma mobile | 1 | Mediford medical system | Statix | 60496 | 2007 | 0 | NA | NA | NA | w
53 | radilology | X RAy100 ma | 1 | Wipro GE | Genius 100 | C280800h | 28-11-99 | 0 | NA | NA | NA | w
54 | ECG | ECG | 1 | Bionet | Cardiocare | 123 | 1905-06-28 | 0 | NA | NA | NA | w
55 | ECG | ECG | 1 | BPL | Cardioart | AGK50038 | 2006 | 0 | NA | NA | NA | w
56 | ECG | ECG | 1 | BPL | Cardioart | c707144 | 1995 | 0 | NA | NA | NA | w
Contact details : Civil Surgeon mob : 8295937033
Facility Incharge : Dr Prabhudayal , S.M.O
Store Incharge : subhash
Store keeper :subhash
Biomedical Engineer : Er Varun Saini , 8295937036

## CHC UCHANA
MASTER EQUIPMENT BASE
Name of District- JIND Type of facility- chc Uchana Name of the Facility- chc uchana
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Radiogy | X-Ray(100ma) | 1 | Allengers | DX01 | 96287 | 19.03.96 | 0 | NA | NA | NA | w
2 | Gyane | Digital Fetal Heart doppler | 1 | Hiqua Surgical equipment |  | 50789050 |  | 0 | NA | NA | NA | w
3 | nbsu | Baby warmer | 1 | Meditrin instruments |  |  |  | 0 | NA | NA | NA |  | N.W
4 | Gyane | Sunction machine | 1 | Supreme enterprises |  | 05L01 |  | 0 | NA | NA | NA | w
5 | Gyane | O.T Tabel | 2 | cognate |  |  |  | 0 | NA | NA | NA | w
6 | Gyane | Syringe Destroyer | 2 |  |  |  |  | 0 | NA | NA | NA | w
7 | Gyane | Oxygen cyilinder | 4 |  |  |  |  | 0 | NA | NA | NA | w
8 | lab | Centrifuge machine | 1 | Local |  |  |  | 0 | NA | NA | NA | w
9 | lab | Centrifuge machine | 1 | Local |  |  |  | 0 | NA | NA | NA |  | N.W
10 | lab | Microscope | 2 | Labo | SL-DL1000-P |  |  | 0 | NA | NA | NA | w
11 | lab | Blood storage unit | 2 | Swastica india |  | DL1000P041 |  | 0 | NA | NA | NA | w
12 | pp center | ILR | 3 | Vestfroast |  |  |  | 0 | NA | NA | NA |  | N.W
13 | pp center | Haier | 1 |  |  | BE04G4E2600B2ABL004B |  | 0 | NA | NA | NA | w
14 | pp center | Haier | 1 |  |  | BE04G4E2600B2ABL004B |  | 0 | NA | NA | NA | w
15 | nbsu | Radient warmer | 1 | Pheonix |  |  | 2013-09-01 | 1 | SEPT2015 | NA | NA | w
16 | nbsu | Open care system | 2 | Nice neotech |  |  | augest 2014 | 1 | AUG'2016 | NA | NA | W
Contact details : Civil Surgeon mob : 8295937026
Facility Incharge : Dr PALERAM . S.M.O
Store Incharge : Ramesh
Store keeper :Ramesh
Biomedical Engineer : Er Varun Saini , 8295937036

## CHC Kharakram ji
MASTER EQUIPMENT BASE
Name of District- Type of facility- Name of the Facility-
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | CHC KAHRAK RAM JI | Oxygen Cyilender | 1 |  | -- | -- | -- | -- | -- | 0 | -- | w | --
2 | CHC KAHRAK RAM JI | Weighing Machine | 1 | Crown | -- | -- | -- | -- | -- | 0 | -- | w
3 | CHC KAHRAK RAM JI | Deleivery Tabel | 1 |  | -- | -- | -- | -- | -- | 0 | -- | w
4 | CHC KAHRAK RAM JI | Autoclave | 1 | Local | -- | -- | -- | -- | -- | 0 | -- | w
5 | CHC KAHRAK RAM JI | B.P.Appratus | 1 |  | -- | -- | -- | -- | -- | 0 | -- | w
6 | CHC KAHRAK RAM JI | Suction Machine | 1 | Local | -- | -- | -- | -- | -- | 0 | -- | w
7 | CHC KAHRAK RAM JI | Dental Chair | 1 | Confident |  |  | 2008 | -- | -- | 0 | -- | w
8 | CHC KAHRAK RAM JI | Deep Frezer | 1 | Vestfrost |  |  |  | -- | -- | 0 | -- | w
9 | CHC KAHRAK RAM JI | ILR | 1 | Haier |  |  | 2010-09-01 | -- | -- | 0 | -- | w
10 | CHC KAHRAK RAM JI | Centrifuge Machine | 1 |  | -- | -- | -- | -- | -- | 0 | -- | w
11 | CHC KAHRAK RAM JI | Microscope | 1 |  | -- | -- | -- | -- | -- | 0 | -- | w
12 | CHC KAHRAK RAM JI | Radient warmer | 1 | Pheonix |  |  | 2013-09-01 | -- | -- | 0 | -- | w
Contact details : Civil Surgeon mob : 8295937025
Facility Incharge : Dr Rajesh gandhi, S.M.O
Store Incharge :
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## CHC Kandela
MASTER EQUIPMENT BASE
Name of District- JIND Type of facility- CHC KANDELA Name of the Facility-CHC KANDELA
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Suzdent (India) |  |  | 2009-06-15 | 0 | -- | 0 | -- | W
2 | pp center | DF (Small) | 1 | Haier | HBD 116 | BE049DE0100 | 2010-05-01 | 0 | -- | 0 | -- | W
3 | pp center | ILR (Small) | 1 | Haier | HBD070 | BE0581E0100 | 2010-05-01 | 0 | -- | 0 | -- | W
4 | lab' | Microscope | 1 | Labu | VJ-5 |  | 1998-09-04 | 0 | -- | 0 | -- | W
5 | lab' | Binocular Microscope | 2 | Scientific India | 05-M 6047 |  | 2008-07-10 | 0 | -- | 0 | -- | W
6 | lab' | Centrifuge Machine | 1 | Microsil (India) | 8P |  | 2007-05-15 | 0 | -- | 0 | -- | 0 | N.W
7 | gyane | Doppler | 1 | Neocare Surgical |  |  | 2011-03-31 | 0 | -- | 0 | -- | W
8 | gyane | Autoclave (Electric) | 2 | Unisef |  |  | 15-5-20007 | 0 | -- | 0 | -- | W
9 | gyane | Suction Machine Electric | 1 | Shiva Surgical Dehli | Single Face | 1440RPM | 2010-09-28 | 0 | -- | 0 | -- | W
10 | gyane | Suction Machine Manual | 1 |  |  |  | 2008-01-24 | 0 | -- | 0 | -- | 0 | N.W
11 | gyane | BP Apparatus | 7 | Namat |  |  | 22-1-2008 & 2010 | 0 | -- | 0 | -- | W
12 | gyane | Needles Syringe Destroyer | 10 | LincoScientific Instrument |  |  | 2010-07-15 | 0 | -- | -- | -- | W
13 |  | Radioent warmer | 2 | pheonix | t1187 |  | 2013-08-13 | 1 | Aug'15
Contact details : Civil Surgeon mob : 8295937024
Facility Incharge : DrPrem, S.M.O
Store Incharge :Devender
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## CHC Kalwa
MASTER EQUIPMENT BASE
Name of District- Type of facility- Name of the Facility-
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental chair | 1 | Goa dent | T-10 | -- | -- | 0 |  | 0 | 0 | W
2 | Dental | Dental chair | 1 | -- | -- | -- | -- | 0 |  | 0 | 0 | W
3 | gyane | Syring destroyer | 1 | -- | -- | -- | -- | 0 |  | 0 | 0 | W
4 | gyane | Stablizer | 1 | -- | -- | -- | -- | 0 |  | 0 | 0 | W
5 | Radiology | X-Ray(100ma) | 1 | Wipro GE |  |  | 2006 | 0 |  | 0 | 0 | W
6 | Radiology | X-Ray (50 ma) | 1 | Wipro GE |  |  | 28.04.04 | 0 |  | 0 | 0 | W
7 | Radiology | Vision card | 1 |  |  |  |  | 0 |  | 0 | 0 | W
8 | lab | Microscope | 2 | Labo |  |  |  | 0 |  | 0 | 0 | W
9 | p p center | ILR | 2 | Haier | HBC-200 | BE07G5E0N00028 |  | 0 |  | 0 | 0 | W
10 | p p center | Deep frezer | 2 | Vestfrost | 85001031 | 43216505 |  | 0 |  | 0 | 0 | W
11 | gyane | Oxygen cyilender | 3 |  | -- | -- | -- | 0 |  | 0 | 0 | W
12 | O.T | Autoclave | 2 | Table top | -- | -- | -- | 0 |  | 0 | 0 | W
13 | gyane | Weighing machine | 1 | crown | -- | -- | -- | 0 |  | 0 | 0 | W
14 | gyane | Suction machine | 1 | Winner | -- | -- | -- | 0 |  | 0 | 0 | W
15 | gyane | O.T TBLE | 1 |  | -- | -- | -- | 0 |  | 0 | 0 | W
16 | LAB' | Centrifuge machine | 1 |  | -- | -- | -- | 0 |  | 0 | 0 | W
17 | NBSU | Radient warmer | 1 | Pheonix |  |  | 2013-09-01 | 1 | 2015-09-15 |  |  | W
Contact details : SMO mob : 9991144460
Facility Incharge : Dr ARUN , S.M.O
Store Incharge : ATAR SINGH
Store keeper : ATAR SINGH
Biomedical Engineer : Er Varun Saini , 8295937036

## CHC UJHANA
MASTER EQUIPMENT BASE
Name of District- Type of facility- Name of the Facility-
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
| CHC UJHANA | Suction Machine | 1 | Local | NA | NA | -- | 0 | 0 | 0 | 0 | W
|  | Oxygen Cyilender | 1 |  | NA | NA | -- | 0 | 0 | 0 | 0 | W
|  | Weighing Machine | 1 | Crown | NA | NA | -- | 0 | 0 | 0 | 0 | W
|  | Deleivery Tabel | 1 |  | NA | NA | -- | 0 | 0 | 0 | 0 | W
|  | Autoclave | 1 | Local | NA | NA | -- | 0 | 0 | 0 | 0 | W
|  | B.P.Appratus | 2 |  | NA | NA | -- | 0 | 0 | 0 | 0 | W
|  | Dental Chair | 1 | Confident | NA | NA | 2010 | 0 | 0 | 0 | 0 | W
|  | Deep Frezer | 2 | Vestfrost | NA | NA |  | 0 | 0 | 0 | 0 | W
|  | ILR | 2 | Haier | NA | NA | 2010-09-01 | 0 | 0 | 0 | 0 | W
|  | Centrifuge Machine | 1 |  | NA | NA |  | 0 | 0 | 0 | 0 | W
|  | Microscope | 2 |  | NA | NA |  | 0 | 0 | 0 | 0 | W
|  | Radient warmer | 1 | Pheonix | NA | NA | 2013-09-01 | 1 | 2015-09-15 |  |  | W
|  | Open care system | 1 | Nice neotech | NA | NA | augest 2014 | 1 | 7/2016 |  |  | W
Contact details : Civil Surgeon mob : 8295937028
Facility Incharge : Dr SHASHI SINGLA, S.M.O
Store Incharge : RAM CHANDER
Store keeper : RAM CHANDER
Biomedical Engineer : Er Varun Saini , 8295937036

## CHC JULANA
MASTER EQUIPMENT BASE
Name of District- JIND Type of facility- CHC JULANA Name of the Facility-CHC JULANA
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Radiology | X-Ray Unit(300ma) | 1 | Wipro GE | DX-300 | G-2714 | 2000 |  |  | 0 | -- | W
2 | lab | Microscope | 3 | Labo |  | -- | -- | -- | -- | 0 | -- | W
3 | lab | Centrifuge machine | 1 | T-10 | 546/06-07 | -- | -- | -- | -- | 0 | -- | W
4 | lab | Blood storage cabinett | 1 | Rajas enterprises |  | -- | -- | -- | -- | 0 | -- | W
5 | pp center | Deep Freezer/ilr | 2 | Haier |  | -- | -- | -- | -- | 0 | -- | W
6 | pp center | Needle Destroyer | 2 | crown |  | -- | -- | -- | -- | 0 | -- | W
7 | dental | Dental Chair | 1 | confident | t-08 | -- | -- | -- | -- | 0 | -- | W
8 | Gyane | Suction machine | 1 | medival |  | -- | -- | -- | -- | 0 | -- | W
9 | Gyane | weighing machine | 1 | crown | -- | -- | -- | -- | -- | 0 | -- | W
10 | Gyane | oxygen cyilender | 3 |  | -- | -- | -- | -- | -- | 0 | -- | W
11 | pp center | Deep Freezer | 2 | vestfrost | -- | HB2-be04f/180 | -- | -- | -- | 0 | -- | W
12 | ot | Autoclave | 1 |  | -- |  | -- | -- | -- | 0 | -- | W
13 | O.T | O.T light | 1 |  | -- |  | -- | -- | -- | 0 | -- | W
14 | O.T | O.T table | 3 |  | -- |  |  | -- | -- | 0 | -- | W
15 | NBSU | Radient warmer | 2 | Pheonix | -- |  | 2013-09-01 | 9'/2015 |  |  |  | W
16 | NBSU' | Open care system | 1 | Nice neotech |  |  | augest 2014 | augest 2016 |  |  |  | W
17
Contact details : SMO mob : 9416259488
Facility Incharge : Dr VERMA, S.M.O
Store Incharge : JAIVEER
Store keeper :JAIVEER
Biomedical Engineer : Er Varun Saini , 8295937036

## Phc Alewa
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Alewa Name of the Facility-PHC Alewa
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[11 empty] | W | N.W
1 | Dental | Dental chair | 1 | CONFIDENT | T-10 | 2007-01-01 | no | no | 0 |  | W
2 | NBCC | Resusctator,hand operated neonate,250ml | 1 | [5 empty] | 0 |  | W
3 | NBCC | Resusctator,hand operated neonate,500ml | 1 |  |  | 2005-10-25 | no | no | 0 |  | W
4 | NBCC | Suction machine (Foot operated) | 1 | winner |  |  | no | no | 0 |  | W
5 | NBCC | oxygen cyilender | 2 |  |  |  | no | no | 0 |  | W
6 | Gyane | weghing machine | 1 |  |  |  | no | no | 0 |  | W
7 | Gyane | O.T Table | 1 |  |  |  | no | no | 0 |  | W
8 | lab | Microscope | 2 | Labo |  |  | no | no | 0 |  | W
Contact details : SMO mob : 9991144460
Facility Incharge : Dr ARUN , S.M.O
Store Incharge :
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## Phc Amerghar
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Amarghar Name of the Facility-PHC Amerghar
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
W
1 | NBCC | weghing machine | [5 empty] | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 | [5 empty] | 0 |  | W
3 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 |  |  |  |  | no | 0 |  | W
4 | NBCC | Suction Machine (Foot Operated) | 1 |  |  |  |  | no | 0 |  | W
5 | Gyane | O.T Table | 1 |  |  |  |  | no | 0 |  | W
6 | Gyane | Microscope |  | Labo |  |  |  | no | 0 |  | W
7 | Dental | Dental chair | 1 | suzident | T-10 |  |  | no | 0 |  | W
8 | lab | Autoclave | [5 empty] | no | 0 |  | W
9 | NBCC | suction machine |  | winner |  |  |  |  | 0 |  | W
10 | NBCC | oxygen cyilender | [6 empty] | 0 |  | W
11 | NBCC | Radient warmer | 1 | Pheonix | tu1176 | 2013-08-01 | yes | 8'/2015 | 0 |  | W
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## PHC CHATTAR
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Chattar Name of the Facility - PHC Chattar
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[11 empty] | W | N.W
1 | Dental | Autoclave |  |  |  | 2004-07-23 | no | no | 0 | no | not working | N.W
2 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | [8 empty] | Working
3 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | [7 empty] | Working
4 | NBCC | Suction Machine (Foot Operated) |  | Deepak enetrprises |  |  | no | no | 0 | no | Working
5 | NBCC | suction machine |  | winner |  |  |  | no | 0 | no | Working
6 | Gyane | Dental chair |  | CONFIDENT | T-10 | 2007-01-01 | no | no | 0 | no | Working
7 | Gyane | weghing machine |  | scintific |  |  | no |  | 0 |  | Working
8 | lab | O.T Table |  |  |  |  | no |  | 0 |  | Working
9 | lab | Microscope | [8 empty] | Working
10 | NBCC | sunction machine | [8 empty] | Working
11 | NBCC | Radient warmer | 1 | pheonix |  | 2014 | Yes | 2016 | 0 |  | Working
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## Phc Dehola
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Dehola Name of the Facility-PHC Dehola
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[11 empty] | W | N.W
1 | Dental | Dental Chair | 1 | Confidate Dental Equipment Limtied CHD |  | 2007-01-27 | no | 0 |  |  | W
2 | PP CENTER | ILR (Small) | 1 | Haeir | HBD 116 | 2010-12-30 |  | 0 |  |  | W
3 | PP CENTER | DF | 1 | Haeir | HBR 116 | 2010-08-09 | no | 0 |  |  | W
4 | PP CENTER | Voltage Stablizer | 1 | CHNT |  |  | no | 0 |  |  | W
Contact details : CMO mob : 8295937021
Facility Incharge : smo chc kandela
Store Incharge : Devender Pharmacist
Store keeper : Devender Pharmacist
Biomedical Engineer : Er Varun Saini , 8295937036

## phc dariyanwala
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Dariyanwala Name of the Facility-PHC Dariyanwala
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[11 empty] | W | N.W
1 | Dental | Dental chair | 1 | suzident |  |  | 2004-06-05 | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  |  |  | no | 0 |  | W
3 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | winner |  |  |  | no | 0 |  | W
4 | NBCC | Suction Machine (Foot Operated) | 1 |  |  |  |  | no | 0 |  | W
5 | NBCC | bp appratus | [5 empty] | no | 0 |  | W
6 | NBCC | suction machine | [5 empty] | no | 0 |  | W
7 | NBCC | oxygen cyilender |  | Labo |  |  |  | no | 0 |  | W
8 | NBCC | weghing machine | [6 empty] | 0 |  | W
9 | NBCC | Radient warmer | 1 | Pheonix | tu1176 |  | 2013-08-01 | Yes | AUG'15
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## Phc Danodankalan
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Danodankalan Name of the Facility-PHC Danodankalan
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
W
1 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 | -- | -- | -- | no | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | -- | -- | -- | no |  | 0 |  | W
3 | NBCC | Suction Machine (Foot Operated) | 1 | winner | -- | -- | no | no | 0 |  | W
4 | NBCC | Autoclave |  |  | -- | -- | no | no | 0 |  | W
5 | Gyane | suction machine |  |  | -- | -- | no | no | 0 |  | W
6 | Gyane | oxygen cyilender | 1 | Labo | -- | -- | no | no | 0 |  | W
7 | lab | weghing machine |  |  |  |  | no | no | 0 |  | W
8 | NBCC | Radient warmer | 1 | Pheonix | tu1180 | 2013-08-01 | aug'15
9 | Dental | Dental chair | 1 | SUZIDENT | SUZI | 2005
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## Phc Dumerkhan
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Dumerkhan Name of the Facility-PHC Dumerkhan
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
W
1 | O.T | vertical autoclave | 1 | local |  |  | 1905-06-26 | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  |  | 2005-10-25 |  | 0 |  | W
3 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | winner |  |  |  | no | 0 |  | W
4 | NBCC | Suction Machine (Foot Operated) | 1 |  |  |  |  | no | 0 |  | W
5 | O.T | Autoclave | 1 |  |  |  |  | no | 0 |  | W
6 | Gyane | suction machine | [5 empty] | no | 0 |  | W
7 | Gyane | oxygen cyilender | 1 | Labo |  |  |  | no | 0 |  | W
8 | Gyane | weghing machine | 1 | CONFIDENT | T-10 |  | ,2004 | no | 0 |  | W
9 | Gyane | O.T Table | 1 | bpl | [6 empty] | W
10 | Gyane | Microscope | 1 | [7 empty] | W
11 | NBCC | Radient warmer | 1 | Pheonix | tu1180 |  | 2013-08-01 |  |  |  | W
12 | DENTAL | Dental chair | 1 | SUZIDENT | SUZI |  | 2005 |  |  |  | W
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc dhanori
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Dhanori Name of the Facility-PHC Alewa
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
W
1 | Gyane | pulse oximeter | 1 |  |  |  | 2007-01-01 | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  |  | 2005-10-25 |  | 0 |  | W
3 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | winner |  |  |  | no | 0 |  | W
4 | NBCC | Suction Machine (Foot Operated) | 1 |  |  |  |  | no | 0 |  | W
5 | gyane | Autoclave | 1 |  |  |  |  | no | 0 |  | W
6 | Gyane | suction machine | 1 |  |  |  |  | no | 0 |  | W
7 | Gyane | b p appratus | 2 | Labo |  |  |  | no | 0 |  | W
8 | lab | weghing machine | 2 |  |  |  |  | no | 0 |  | W
9 | NBCC | Radient warmer | 1 | Pheonix | tu1179 |  | 2013-08-01
10 | Dental | Dental Chair | 1 | suzident | suzi |  | 2006
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc dhathrath
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Dhathrath Name of the Facility-PHC Dhathrath
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
1 | Dental | Dental chair | 1 | CONFIDENT | T-10 | 2007-01-01 | no | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  | 2005-10-25 | no |  | 0 |  | W
3 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | winner |  |  | no | no | 0 |  | W
4 | NBCC | Suction Machine (Foot Operated) | 1 |  |  |  | no | no | 0 |  | W
5 | NBCC | Autoclave |  |  |  |  | no | no | 0 |  | W
6 | Gyane | suction machine |  |  |  |  | no | no | 0 |  | W
7 | Gyane | oxygen cyilender |  | Labo |  |  | no | no | 0 |  | W
8 | lab | weghing machine |  |  |  |  | no | no | 0 |  | W
| NBCC | Radient warmer | 1 | Pheonix | tu1179 | 2013-08-01 | aug'15 |  |  |  | W
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc dhamtansahib
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Dhamtansahib Name of the Facility-PHC Dhamtansahib
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[11 empty] | W | N.W
1 | gyane | b p appratus | 3 | labo | --- | --- | 0 | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 | scintific ambala | --- | --- | 0 |  | 0 |  | W
3 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 |  | --- | --- | 0 | no | 0 |  | W
4 | NBCC | Suction Machine (Foot Operated) | 1 | suzident | --- | --- | 0 | no | 0 |  | W
5 | NBCC | sunction machine |  |  | --- | --- | 0 | no | 0 |  | W
6 | Gyane | autoclave |  |  | --- | --- | 0 | no | 0 |  | W
7 | dental | dental chair |  | Labo | --- | --- | 0 | no | 0 |  | W
8 | lab | weghing machine |  |  | --- | --- | 0 | no | 0 |  | W
9 | Gyane | O.T Table
10 | lab | Microscope
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc durjanpur
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Durjanpur Name of the Facility-PHC Durjanpur
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[11 empty] | W | N.W
1 | nbcc | Resuscitator, hand-operated, neonate, 250 ml | 1 | labo | 1 | 1905-07-01 | 0 | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | tabel top |  |  | 0 |  | 0 |  | W
3 | NBCC | Suction Machine (Foot Operated) | 1 | winner |  |  | 0 | no | 0 |  | W
4 | NBCC | Nuebilizer | 1 |  |  |  | 0 | no | 0 |  | W
5 | NBCC | table top autoclave | 1 |  |  |  | 0 | no | 0 |  | W
6 | Gyane | suction machine | 2 |  |  |  | 0 | no | 0 |  | W
7 | Gyane | oxygen cyilender | 2 | Labo |  | 2007-01-01 | 0 | no | 0 |  | W
8 | Gyane | weghing machine |  | Devine healthcare |  |  | 0 | no | 0 |  | W
9 | Gyane | O.T Table | 1 |  |  |  | 0
10 | Gyane | Microscope | 1 |  |  |  | 0
11 | Gyane | sunction machine foot operated | 1 |  |  |  | 0
12 | NBCC | Resusctator,hand operated neonate,250ml | 1 |  |  |  | 0
13 | NBCC | Resusctator,hand operated neonate,500ml | 1 |  |  |  | 0
14 | NBCC | Suction machine (Foot operated) | 1 |  |  |  | 0
15 | nbcc | Radient warmer | 1 | Pheonix | TU1182 | 2013-08-01 | aug'15
16 | dental | Dental chair | 1 | SUZIDENT | SUZI | 2005 | 0
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc ghogriyan
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Ghogrian Name of the Facility-PHC Ghogrian
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment sr no | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | N.W
1 | Dental | Dental Chair | 1 | Kalol |  |  |  | 0 | no | 0 |  | W
2 | pp center | DF (Small) | 1 | Vest Frost Denmark | MF114 | 20062330175 | 2007-02-07 | 0 | no | 0 |  | W
3 | pp center | ILR (Small) | 1 | Vest Frost Denmark | NMK-142 | N14Z-3670701187 | 2007-02-07 | 0 | no | 0 |  | W
4 | Lab | Micro Scope (Redical) | 1 | Radical | RXL -4B | 25791 | 2005-12-20 | 0 | no | 0 |  | W
5 | Lab | MicroaScope Optic | 1 | Ajay Optic | AJ-12 | 05-A-5149 | 2005-12-20 | 0 | no | 0 |  | W
6 | Lab | Centrifuge Machine | 1 | Bench _Top |  |  | 2007-02-02 | 0 | no | 0 |  | W
7 | Gyane | Doppler | 1 | Neocare | HQ003 |  | 2009-11-20 | 0 | no | 0 |  | W
8 | Gyane | Autoclave | 1 |  |  |  | 2009-11-20 | 0 | no | 0 |  | W
9 | Gyane | Autoclave | 2 | Unicef |  |  | 1992-04-01 | 0 | no
10 | Gyane | Sterlizer Big | 4 | Techno |  | 1378458 | 2002-03-01 | 0 | no
11 | Gyane | Sterlizer Small | 9 |  |  |  | 1991 & 2000 | 0 | no
12 | Gyane | Suction Machine | 1 | Shiva Surgical Dehli |  |  | 2009-11-20 | 0 | no
13 | Gyane | BP Apparatus | 4 | Namat |  |  | 2008-01-01 |  | no
14
Contact details : CMO mob : 8295937021
Facility Incharge : , S.M.O KANDELA
Store Incharge : Devender
Store keeper : Devender
Biomedical Engineer : Er Varun Saini , 8295937036

## phc ramrai
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Ramrai Name of the Facility-PHC Ramrai
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment sr. no | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | N.W
1 | Dental | Dental chair | 1 | CONFIDENT | T-10 |  |  | no | no | 0 |  | W
2 | NBCC | Resusctator,hand operated neonate,250ml | 1 | [6 empty] | 0 |  | W
3 | NBCC | Resusctator,hand operated neonate,500ml | 1 |  |  |  |  | no | no | 0 |  | W
4 | NBCC | Suction machine (Foot operated) | 1 | winner |  |  |  | no | no | 0 |  | W
5 | NBCC | oxygen cyilender | 2 |  |  |  |  | no | no | 0 |  | W
6 | Gyane | weghing machine | 1 |  |  |  |  | no | no | 0 |  | W
7 | Gyane | O.T Table | 1 |  |  |  |  | no | no | 0 |  | W
8 | lab | Microscope | 2 | Labo |  |  |  | no | no | 0 |  | W
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc nidana
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc nidana Name of the Facility-PHC nidana
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment sr no | DOI | Warranty Upto | Under Warranty(Y=1/N=0) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
W
1 | Dental | Dental chair | 1 | CONFIDENT | T-10 |  | 2005-12-01 | no | 0 | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  |  | 20 12 | no | 0 | 0 |  | W
3 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | winner |  |  | 20 12 | no | 0 | 0 |  | W
4 | NBCC | Suction Machine (Foot Operated) | 1 |  |  |  | 20 12 | no | 0 | 0 |  | W
5 | NBCC | Autoclave | 1 |  |  |  |  | no | 0 | 0 |  | W
6 | Gyane | suction machine | 1 |  |  |  |  | no | 0 | 0 |  | W
7 | Gyane | oxygen cyilender | 1 | Labo |  |  | 2005-01-01 | no | 0 | 0 |  | W
8 | lab | weghing machine | 1 |  |  |  |  | no | 0 | 0 |  | W
9 | Gyane | O.T Table | 1 |  |  |  |  | no | 0 |  |  | W
10 | lab | Microscope | 1 |  |  |  |  | no | 0 |  |  | W
11 | NBCC | Radient warmer | 1 | Pheonix | TU1186 |  | 2013-08-01 | no | 0 |  |  | W
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc muwana
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc muwana Name of the Facility-PHC muwana
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment sr no | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
W
1 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  |  |  | 20 12 | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 |  |  |  |  | 20 12 |  | 0 |  | W
3 | NBCC | Suction Machine (Foot Operated) | 1 | Devine healthcare |  |  |  | 20 12 | no | 0 |  | W
4 | Dental | Dental chair | 1 |  |  |  |  | 2005-01-01 | no | 0 |  | W
5 | Gyane | Autoclave | 1 | [5 empty] | no | 0 |  | W
6 | Gyane | suction machine | 1 | [5 empty] | no | 0 |  | W
7 | Gyane | oxygen cyilender |  | Labo |  |  |  | 2005-01-01 | no | 0 |  | W
8 | lab | weghing machine | 1 | [5 empty] | no | 0 |  | W
9 | Gyane | O.T Table | 1 | [8 empty] | W
10 | lab | Microscope | 1 | [8 empty] | W
11 | NBCC | Radient warmer | 1 | Pheonix | TU1186 |  |  | 2013-08-01 | Aug'15 |  |  | W
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc jaijwanti
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Jaijwanti Name of the Facility-PHC Jai Jwanti
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment sr no | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | N.W
1 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  |  | 20 12 | no | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 |  |  |  | 20 12 |  |  | 0 |  | W
3 | NBCC | Suction Machine (Foot Operated) | 1 | winner |  |  | 20 12 | no | no | 0 |  | W
4 | dental | Dental chair | 1 |  |  |  |  | no | no | 0 |  | W
5 | Gyane | Autoclave | 1 |  |  |  |  | no | no | 0 |  | W
6 | Gyane | suction machine | 1 |  |  |  |  | no | no | 0 |  | W
7 | Gyane | oxygen cyilender |  | Labo |  |  |  | no | no | 0 |  | W
8 | lab | weghing machine | 1 |  |  |  | 2005 | no | no | 0 |  | W
9 | Gyane | O.T Table | 1
10 | lab | Microscope | 1
11 | NBCC | Radient warmer | 1 | Pheonix | TU1185 |  | 2013-08-01 | Aug '-15
Contact details : CMO mob : 8295937021
Facility Incharge : ,
Store Incharge : Pharmacist
Store keeper : Pharmacist
Biomedical Engineer : Er Varun Saini , 8295937036

## phc hatt
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Hatt Name of the Facility-PHC Hatt
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment sr no | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | N.W
1 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 3 | na | na | na | na | no | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | crown | na | na | na |  |  | 0 |  | W
3 | NBCC | Suction Machine (Foot Operated) | 1 | na | na | na | na | no | no | 0 |  | W
4 | NBCC | BP appratus | 1 | na | na | na | na | no | no | 0 |  | W
5 | NBCC | weighing machine | 1 | na | na | na | na | no | no | 0 |  | W
6 | Gyane | autoclave | 1 | na | na | na | na | no | no | 0 |  | W
7 | Gyane | oxygen cyilender | 1 | na | na | na | na | no | no | 0 |  | W
8 | lab | neubilizer | 1 | na |  |  |  | no | no | 0 |  | W
9 | NBCC | Radient warmer | 1 | Pheonix | tu1184 |  | 2013-08-01
10 | Dental | Dental chair | 1 | SUZIDENT | SUZI |  | 2005
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc rajankalan
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Rajankalan Name of the Facility-PHC Rajanakalan
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment sr no | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | N.W
1 | Dental | Dental chair | 1 | CONFIDENT | T-10 |  | 2007-01-01 | 0 | no | 0 |  | W
2 | Gyane | Autoclave | 1 |  |  |  | 2005-10-25 | 0 |  | 0 |  | W
3 | NBCC | suction machine | 1 | winner |  |  |  | 0 | no | 0 |  | W
4 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 | -- | -- | -- | -- | 0 | no | 0 |  | W
5 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 | -- | -- | -- | -- | 0 | no | 0 |  | W
6 | Gyane | Suction Machine (Foot Operated) | 1 | -- | -- | -- | -- | 0 | no | 0 |  | W
7 | Gyane | oxygen cyilender | 1 | Labo |  |  |  | 0 | no | 0 |  | W
8 | lab | weghing machine | 1 |  |  |  |  | 0 | no | 0 |  | W
9 | Gyane | O.T Table | 1 |  |  |  |  | 0 | no | 0 |  | W
10 | lab | Microscope | 1 |  |  |  |  | 0 | no | 0 |  | W
11 | NBCC | Radient warmer | 1 | Pheonix | TU1187 |  | 2013-08-01 | aug'15 | no | 0 |  | W
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc shamlonkalan
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc shamlonkalan Name of the Facility-PHC shamlonkalan
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment sr no | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | N.W
1 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  |  |  | no | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 |  |  |  | 2005-10-25 |  |  | 0 |  | W
3 | NBCC | Suction Machine (Foot Operated) | 1 |  |  |  | for condemantaion | no | no | 0 |  |  | N.W
4 | Gyane | Gyane table | 1 |  |  |  |  | no | no | 0 |  | W
5 | Gyane | Autoclave | 1 |  |  |  |  | no | no | 0 |  | W
6 | Gyane | Generator | 1 | suzident | T-10 |  |  | no | no | 0 |  | W
7 | Gyane | oxygen cyilender | 2 | Labo |  |  |  | no | no | 0 |  | W
8 | lab | weghing machine | 1 |  |  |  |  | no | no | 0 |  | W
9 | dental | Dental chair | 1
10 | lab | Microscope | 1
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc siwanmal
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Siwanmal Name of the Facility-PHC Siwanmal
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | Equipment sr no | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
W
1 | Dental | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  |  |  | no | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 |  |  |  | 2005-10-25 |  |  | 0 |  | W
3 | NBCC | Suction Machine (Foot Operated) | 1 |  |  |  |  | no | no | 0 |  | W
4 | NBCC | Gyane table | 1 |  |  |  |  | no | no | 0 |  | W
5 | NBCC | Autoclave | 1 |  |  |  |  | no | no | 0 |  | W
6 | Gyane | Generator | 1 | suzident | T-10 |  |  | no | no | 0 |  | W
7 | Gyane | oxygen cyilender | 2 | Labo |  |  |  | no | no | 0 |  | W
8 | lab | weghing machine | 1 |  |  |  |  | no | no | 0 |  | W
9 | Dental | Dental chair | 1
10 | lab | Microscope | 1
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## phc sinsar
MASTER EQUIPMENT BASE
Name of District- Jind Type of facility- Phc Sinsar Name of the Facility-PHC Sinsar
S.no | Equipment Catagory | Equipment name | Qty | Manufacturer | Model | DOI | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[11 empty] | W | N.W
1 | NBCC | Resuscitator, hand-operated, neonate, 250 ml | 1 |  |  |  |  | no | 0 |  | W
2 | NBCC | Resuscitator, hand-operated, neonate, 500ml | 1 |  |  |  | 2005-10-25 |  | 0 |  | W
3 | NBCC | Suction Machine (Foot Operated) | 1 | devine healthcare |  |  |  | no | 0 |  | W
4 | dental | Dental chair | 1 | CONFIDENT | T-10 |  | 2007-01-01 | no | 0 |  | W
5 | Gyane | Autoclave | 1 |  |  |  |  | no | 0 |  | W
6 | Gyane | suction machine | 1 |  |  |  |  | no | 0 |  | W
7 | Gyane | oxygen cyilender | 1 | Labo |  |  |  | no | 0 |  | W
8 | lab | weghing machine | 1 |  |  |  |  | no | 0 |  | W
9 | Gyane | O.T Table | 1 | [7 empty] | W
10 | lab | Microscope | 1 | [7 empty] | W
11 | NBCC | Radient warmer | 1 | Pheonix | tu1190 |  | 2013-08-01 |  |  |  | W
Contact details : CMO mob : 8295937021
Facility Incharge :
Store Incharge : Pharmacist
Store keeper :
Biomedical Engineer : Er Varun Saini , 8295937036

## consolidate
Equipment name | quantity
X-Ray Unit(300ma) | 1
Neubilizer | 4
O.T Light(portable) | 1
O.T Light(Fix) | 1
Phototherapy | 2
Glass bead strlizer | 1
Autoclave (Portable) | 2
Oxy Cyilender | 7
Dental X-ray | 1
b p appratus | 5
vertical autoclave | 1
Resuscitator, hand-operated, neonate, 250 ml | 19
Resuscitator, hand-operated, neonate, 500ml | 20
sunction machine foot operated | 1
Resusctator,hand operated neonate,250ml | 3
Resusctator,hand operated neonate,500ml | 3
Suction Machine (Foot Operated) | 21
Suction Machine (Electrical) | 2
Digital Weighing Machine | 2
Weighing Machine Ordinary | 2
Laryngoscope set, neonate | 3
Oxigen Cylinder | 22
Oxygen Concentrator | 2
Phototherapy Single Head (CFL) | 5
Irradiance meter for phototherapy units | 1
Syringe Pump | 8
Monitor, vital sign | 8
Room Heater(Oil) | 8
Glucometer with Strips | 2
Centrifugal Machine | 1
Refrigerator | 4
Iv stand | 1
Dental chair with compressor | 2
Dental (X-ray) | 2
Syring destroyer | 8
Stablizer | 1
X-Ray(100ma) | 2
X-Ray (50 ma) | 1
Vision card | 1
DF (Small) | 2
ILR (Small) | 3
Centrifuge | 2
Microscpe (Binoculer) | 1
Microscope | 29
O.T TBLE | 1
B.P Apparatus (10) | 10
Binocular Microscope | 3
Oxygen cyilinder | 4
Micro Scope (Redical) | 1
MicroaScope Optic | 1
Centrifuge machine | 10
Blood storage cabinett | 1
Deep Freezer/ilr | 2
B.P Appratus | 18
Sterilizer | 3
X-ray 8ma | 2
Needle Destroyer | 14
Cylinder | 1
Weight Machine | 1
Suction Machine (2) | 1
B.P.Appratus (Stand) | 1
O.t Light (1) | 1
O.T Bed(3) | 1
Dental Chair | 28
B.P.Appratus | 3
Oxygen Hood | 4
Nebulizer | 4
Feotal DOPPLER | 6
Air conditioner | 10
Oxygen cylinder (2) | 2
BP Appratus | 3
Sunction machine | 5
O.T Tabel | 3
Syringe Destroyer | 3
Photocalotimeter | 1
Blood storage unit | 3
cell counter | 2
O.T light (Fix) | 3
O.T light (Portable) | 2
OXYGEN CYILENDER WITH STAND | 2
Nuebilizer | 1
table top autoclave | 1
Sterlizer Big | 4
Sterlizer Small | 9
Horizontal Autoclave | 1
Boyel's appratus | 1
O.T Light (4) | 4
O.T Bed (3) | 3
Suction machine | 24
weighing machine | 6
ILR | 9
Deep frezer | 5
Generator | 2
oxygen cyilender | 24
B.P appratus(2) | 1
Autoclave (table toiop | 1
O.T LIGHT | 2
B.P APPARATUS WITH STAND | 2
Pulse Oximeter | 3
Autoclave(Vertical) | 2
Deep Freezer | 6
Deleivery Tabel | 2
Sterlizer | 6
Opertating microscope | 1
Suction Appratus | 1
Drill Machine | 1
B. P Appratus | 1
Autoclave Vertical | 1
Opthalamoscope | 1
Laproscope | 1
Defbrillator(2) | 2
Doctor Case | 1
Phacco machine | 3
Keratometer | 1
Slit lamp | 1
Bacteriological incubator | 1
Blood bank refrigerator | 3
Elisa washer | 2
Hot plate | 1
Incubator | 3
Photo meter | 1
Centrifuge machine (3) | 3
Elisa reader | 1
Semi automatic analyzer | 3
Semi analyzer | 1
Hot air oven | 2
Ultrasonic steri | 1
Echo scan | 1
Operating microscope | 1
Direct opthalamoscpe | 1
Gyane table | 2
Autoclave | 21
Centrifuge machine(2) | 2
O.T light | 6
suction appartus | 1
fiber optics system | 1
Boyals appratus | 3
Deffbrilattor | 2
weghing machine | 12
O.T table | 24
Oxy Cylinder | 4
Digital Fetal Heart doppler | 1
Fetal Dopller | 1
Phototharpy | 1
Baby Warmer | 5
WorkStation | 1
Cardiac Monitor | 1
O.T Bed | 4
Wighing Machine | 1
Doppler tone | 1
Haier | 2
TURP SET | 1
Photocalorimeter | 1
Freezer | 2
Semi Auto Analyzer | 2
Cardiac monitor with defeb | 1
Anesthisia workstation | 1
Radient warmer | 28
X RAY 500MA | 1
X RAY 150MA | 1
c r system | 1
c arm machine | 1
X-RAY 300ma | 1
X-RAY300MA | 1
X-RAY100MA | 1
X-RAY 15 ma | 1
X-Ray | 2
Ultrasounds | 3
Ultrasound | 1
Film drying cabinet | 1
X-ray film drying cabinet | 1
View box(2) | 1
ECG 12 CHANNAL | 2
ECG12 channal | 2
ECG Single channal | 5
Open care system: radiant warmer, fixed height, with trolley (pheonix) | 8
Radiant warmer, fixed height, with trolley | 6
Open care system | 10
Doppler | 2
Autoclave (Electric) | 2
Suction Machine Electric | 1
Suction Machine Manual | 1
BP Apparatus | 11
Needles Syringe Destroyer | 10
Radioent warmer | 2
Microscope (Binoculear) | 1
X-Ray 300ma mobile | 1
X RAy100 ma | 1
ECG | 3
DF | 1
Voltage Stablizer | 1
T-Scan | 1