## DH KATNI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-01 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | DH KATNI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | PATHOLOGY LAB | Blood Cell Counter | Erma Inclusive | PCE-210/24340 |  | 1 | 1 | 350000 | 350000 | N | NW
# |  | Blood Cell Counter | Aspen | PE-6800/A680715 | 1 |  | 1 | 350000 | 350000 | Y | W
# |  | Semi Auto Analyzer | Trans Asia | Erba Chem Plus/020712 | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Sodium Potassium Analyzer | Cornley | Accu Life-3P/DJ 05B 14110023 | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Binocular Microscope | MICO Instrument | AC 7B | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Hot Air Oven | Indian | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Centrifuge | Indian | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Needle Cutter | M & K Health Care | Nulife Dots/033581 | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Sterilizer | Indian | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Semi Auto Analyzer | Robonik | PRIET 651 TOUCH/AT0261114BK | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Centrifuge | Indian | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Centrifuge | Indian | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Sterilizer | Indian | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Incubator | Tanco | * | 2 |  | 2 | 375000 | 750000 | N | W
# |  | Water Bath | Yorco | * | 1 |  | 1 | 4500 | 4500 | N | W
# |  | Cooker Type Autoclave | Indian | * | 1 |  | 1 | 65000 | 65000 | N | W
# |  | Binocular Microscope | Olympus | CH20 BIMF 200/ID00182 | 1 |  | 1 | 30000 | 30000 | N | W
# |  | Domestic Refrigerator | Allenger | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Domestic Refrigerator | Godrej | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Glucometer | * | * | 1 |  | 1 | 1500 | 1500 | N | W
# | X-RAY ROOM | X-Ray Machine | Allenger | Mars-35/SBM/2K10100 3713-X/HF | 1 |  | 1 | 450000 | 450000 | N | W
# |  | X-Ray Machine | ELPRO | ST-60/C/58166 | 1 |  | 1 | 450000 | 450000 | N | W
# |  | X-Ray Machine | GME | GME-300 | 1 |  | 1 | 450000 | 450000 | Y | W
# | USG ROOM | Ultrasound Machine | Mobile Ultrasonic Diagnostic System | A8/18002595 |  | 1 | 1 | 450000 | 450000 | N | NW
# | DENTAL OPD | Electric Dental Chair | SUZ-Dent | S4267 |  | 1 | 1 | 150000 | 150000 | N | NW
# |  | Electric Dental Chair | Confident | * |  | 1 | 1 | 150000 | 150000 | N | NW
# |  | Sterilizer | Mediki+ | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | ECG | ECG Machine | Dotiz Tm | GMT2212/1212071 | 1 |  | 1 | 52000 | 52000 | Y | W
# |  | ECG Machine | BPL | Cardiart 6208/AFNG0044 |  | 1 | 1 | 52000 | 52000 | N | NW
# |  | Digital B.P Apparatus | CG-Safe Chok Smart | AG3010 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Stand Mercury B.P Apparatus | Prolix | 156038 | 1 |  | 1 | 1100 | 1100 | Y | W
# | INJECTION ROOM | Domestic Refrigerator | LG | GL-B252 VLGY 2015 | 1 |  | 1 | 15000 | 15000 | Y | W
# | OT | Ceiling OT Light | Indo+Medica | * |  | 1 | 1 | 150000 | 150000 | N | NW
# |  | Spot Light | Meditech | MI-4 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Hydraulic OT Table | Meditech | * | 1 |  | 1 | 70000 | 70000 | Y | W
# |  | Ceiling OT Light | Indo+Medica | * | 1 |  | 1 | 150000 | 150000 | Y | W
# |  | Spot Light | Arco | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Multipara Monitor | Accu Sign | Accu Sign Ersb/C11303B110 | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Multipara Monitor | Accu Sign | Accu Sign/C11303BL02 | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Boyle's Apparatus | Allied | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Boyle's Apparatus | Hospital Devices | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Infusion Pump | Electro Medical | 54271 | 1 |  | 1 | 40000 | 40000 | Y | W
# |  | Oxygen Concentrator | BPL | OG 4203/AXTB6E2052 | 1 |  | 1 | 45000 | 45000 | Y | W
# |  | Suction Machine | Mohit Surgical | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Diathermy | Ease System | EASESMART 4NYB 690 | 1 |  | 1 | 350000 | 350000 | Y | W
# |  | Ventilator | Max | MAX 30/16615-2000 | 1 |  | 1 | 600000 | 600000 | Y | W
# |  | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Radiant Warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction Machine | GI | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Ceiling OT Light | Indo+Medica | * | 1 |  | 1 | 150000 | 150000 | Y | W
# |  | Hydraulic OT Table | * | * |  | 1 | 1 | 70000 | 70000 | N | NW
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | C-Arm | * | * |  | 1 | 1 | 850000 | 850000 | N | NW
# |  | Fumigator | * | * | 1 |  | 1 | 45000 | 45000 | Y | W
# |  | Domestic Refrigerator | Whirlpool | F26 Dlx | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Hydraulic OT Table | * | * |  | 1 | 1 | 70000 | 70000 | N | NW
# |  | Horizontal Autoclave | * | * |  | 1 | 1 | 55000 | 55000 | N | NW
# |  | Vertical Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Nebulizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# | LABOUR ROOM | Mercury B.P Apparatus | Relaxe | 38134512 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Foetal Doppler | BPL | * |  | 1 | 1 | 80000 | 80000 | N | NW
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby Weighing Machine | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant Warmer | Phoenix | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant Warmer | Phoenix | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Domestic Refrigerator | LG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | SNCU | Baby Weighing Machine | Intelligent | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Radiant Warmer | Zeal Medical | NRU21014/0213/60 |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | C-PAP | * | HHD-01 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Phototherapy | Phoenix | PB100/2941 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | Radiant Warmer | Meditech | * | 6 |  | 6 | 38000 | 228000 | Y | W
# |  | Radiant Warmer | Meditech | * |  | 2 | 2 | 38000 | 76000 | N | NW
# |  | Radiant Warmer | Meditech | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Syringe Pump | Simtek | * | 2 |  | 2 | 40000 | 80000 | Y | W
# |  | Syringe Pump | Aspen | * | 2 |  | 2 | 40000 | 80000 | Y | W
# |  | Pulse Oximeter | BPL | DYMA3F1461 | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Baby Weighing Machine | Equinox | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Radiant Warmer | Meditech | * | 7 |  | 7 | 38000 | 266000 | Y | W
# |  | Radiant Warmer | Zeal Medical | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby Weighing Machine | Intelligent | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Phototherapy | * | * | 2 |  | 2 | 15500 | 31000 | Y | W
# |  | Phototherapy | * | * |  | 3 | 3 | 15500 | 46500 | N | NW
# |  | Phototherapy | Phoenix | PT104 | 2 |  | 2 | 15500 | 31000 | Y | W
# |  | Phototherapy | Phoenix | PT104 |  | 3 | 3 | 15500 | 46500 | N | NW
# |  | C-PAP | * | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Domestic Refrigerator | Whirlpool | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Infusion Pump | Simtek | * |  | 4 | 4 | 40000 | 160000 | N | NW
# |  | Syringe Pump | * | * |  | 4 | 4 | 40000 | 160000 | N | NW
# |  | SPO2 | * | * |  | 5 | 5 | 54000 | 270000 | N | NW
# |  | Nebulizer | MRK Health Care | /PCB50316 |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Nebulizer | Nulife Global Medical | Handyneb/NGM6904 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Centrifuge | Remi | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# | MALE MEDICINE WARD+ICU+MSW | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestic Refrigerator | LG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Mercury B.P Apparatus | Diamond | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Nebulizer | Model | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult Weighing Machine | Graws | 30181 | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | ECG Machine | BPL | 6208/A42M0064 | 1 |  | 1 | 52000 | 52000 | Y | W
# |  | ECG Machine | GOTIZ | * | 1 |  | 1 | 52000 | 52000 | Y | W
# | CCU/ICU | Multipara Monitor | * | C11402066 | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Defibrillator | Schiller | DIFIGARD 400 | 1 |  | 1 | 170000 | 170000 | Y | W
# |  | Multipara Monitor | BPL | Excello/EMTA2M 1082 | 1 |  | 1 | 80000 | 80000 | Y | W
# |  | ECG Machine | BPL | 6208/AFNG0100 |  | 1 | 1 | 52000 | 52000 | N | NW
# |  | ECG Machine | Maestros | MR-11/031121-178 |  | 1 | 1 | 52000 | 52000 | N | NW
# |  | ECG Machine | BPL | 8108/VOL1725 |  | 1 | 1 | 52000 | 52000 | N | NW
# | PEDIATRIC WARD | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Adult Weighing Machine | Alfa Supreme | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury B.P Apparatus | Diamond | CM/L-0196043 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Nebulizer | Nulife Global Medical | Handyneb/NGM354648 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Needle Cutter | Max Life | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | ISOLATION+BURN WARD | Adult Weighing Machine | Crown | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# | FSW+FMW | Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | EMERGENCY | Spot Light | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Stand Mercury B.P Apparatus | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# | BLOOD BANK | BBR | Haier | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | BBR | Haier | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Hot Air Oven | Yorco | * |  | 1 | 1 | 4500 | 4500 | N | NW
# |  | Domestic Refrigerator | Electro Lux | MLI50 | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | BBR | JEWETT | DTPMI | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Binocular Microscope | Novex Microscope | * | 2 |  | 2 | 30000 | 60000 | Y | W
# |  | Tube Sealer | Bioline India | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Needle Cutter | OSPI Time | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Centrifuge | Al Micro | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult Weighing Machine | Bioline India | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Elisa Washer | Tulip Group | 591602 017-E3A | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Elisa Reader | Tulip Group | 451602 OSSE | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | BCM | Jove | * | 1 |  | 1 | 65000 | 65000 | Y | W
# | COLD CHAIN | ILR | Haier | HBC-200/BE07G560W00B2A5 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest Frost | MK304/91202611 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | HBC-200/BE07G5E0N0 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest Frost | MK304/90210643 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | HBC70/BE0581E0100B288JO963 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Vest Frost | MF114/20062329441 |  | 1 | 1 | 250000 | 250000 | N | NW
# |  | Deep Freezer | Haier | R144A/BE04F OE010 0B296 H0022 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Vest Frost | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest Frost | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | * |  | 1 | 1 | 250000 | 250000 | N | NW
# | EYE OPD | Slit Lamp | Appasamy Associates | 1502120140 | 1 |  | 1 | 6500 | 6500 | Y | W
# | EYE OT | Vertical Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# | T.B OPD | Adult Weighing Machine | Dr. Trust | * |  | 1 | 1 | 2500 | 2500 | N | NW
# | T.B STORE | Binocular Microscope | MLW | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Binocular Microscope | MLW | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | X-Ray Machine | Siemens | * | 1 |  | 1 | 450000 | 450000 | Y | W
# | NRC | Mercury B.P Apparatus | Diamond | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Samso | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Baby Weighing Machine | Seca | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Domestic Refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Baby Weighing Machine | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Glucometer | Standard Diagnostic | M03810EA A3348 | 1 |  | 1 | 15000 | 15000 | Y | W
# | EYE OT | Keratometer | Appasamy Associates | 610304042 | 1 |  | 1 | 45000 | 45000 | Y | W
# |  | A-Scan | Biomedix | Echoruto/212243 | 1 |  | 1 | 450000 | 450000 | Y | W
# |  | Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Slit Lamp | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Keratometer | * | * |  | 1 | 1 | 45000 | 45000 | N | NW
# |  | Mercury B.P Apparatus | Smart Care | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P Apparatus | Omega | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P Apparatus | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Eye Microscope | * | * |  | 1 | 1 | 150000 | 150000 | N | NW
# |  | Vertical Autoclave | * | * |  | 2 | 2 | 65000 | 130000 | N | NW
# |  | Fumigator | * | * |  | 1 | 1 | 4500 | 4500 | N | NW
# |  | Slit Lamp | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Water Bath | * | * |  | 1 | 1 | 4500 | 4500 | N | NW
# |  | Cautery Machine | * | * | 1 |  | 1 | 160000 | 160000 | Y | W
# |  | Eye Microscope | Topcon | * | 1 |  | 1 | 150000 | 150000 | Y | W
# |  | Eye Microscope | Aravind Eng Industries | * | 1 |  | 1 | 150000 | 150000 | Y | W
# |  | Fumigator | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Eye Microscope | * | * |  | 1 | 1 | 150000 | 150000 | N | NW
# |  | A-Scan | * | * |  | 1 | 1 | 450000 | 450000 | N | NW
# |  | Vertical Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 228
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 17946300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 1256241

## SLEEMNABAD PHC
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-02 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | SLEEMNABAD PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | Radiant Warmer | Meditech | INNOVA/BM/RW/737/47/112 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Mercury B.P Apparatus | Premier | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# | OPD | Adult Weighing Machine | Smart Care | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Dial Type B.P Apparatus | E2 Smart | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.P Apparatus | LG Safe Chek Smart | * | 2 |  | 2 | 1100 | 2200 | Y | W
# | STORE | Vertical Autoclave | * | * |  | 2 | 2 | 65000 | 130000 | N | NW
# |  | Cooker Type Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Mercury B.P Apparatus | Smart Care | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Sterilizer | * | * |  | 3 | 3 | 6500 | 19500 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# | LAB | Incubator | Al Micro | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | Centrifuge | Al Micro | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | Deep Meditech Bios Pvt Ltd | * | 7 |  | 7 | 1500 | 10500 | Y | W
# |  | Monocular Microscope | * | * | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Binocular Microscope | * | * | 1 |  | 1 | 30000 | 30000 | Y | W
# | STORE | Baby Weighing Machine | * | * |  | 1 | 1 | 3500 | 3500 | N | NW
# |  | Fumigator | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Deep Freezer | Haier | HBD-116/BE04G4E26 0082A5 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest Frost | MK-144/65115413 | 1 |  | 1 | 250000 | 250000 | Y | W
# | LAB | Calorimeter | Al Micro | 114/201302034 | 1 |  | 1 | 1400 | 1400 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 34
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 992000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 69440

## PHC GHOGHRA
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-02 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GHOGHRA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Digital B.P Apparatus | CG-Safe Check Smart | AG 3010 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Doctor | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | STORE | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | LABOUR ROOM | Radiant Warmer | Meditech | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Baby Weighing Machine | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Needle Cutter | Medi Quip | * |  | 1 | 1 | 1200 | 1200 | N | NW
# |  | Suction Machine | G.I | Deluxe | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult Weighing Machine | Kohinoor | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury B.P | Smart Care | * |  | 1 | 1 | 1100 | 1100 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 77900
* | Not Available |  |  |  | Total CMC Value |  |  |  | 5453

## PHC KHAMTRA
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-04 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KHAMTRA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Adult Weighing Machine | Dr. Trust | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury B.P Apparatus | Premier | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Stand Mercury B.P Apparatus | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# | LABOUR ROOM | Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Baby Weighing Machine | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Radiant Warmer | Meditek | INNOVA | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Mercury B.P Apparatus | Gold Supreme | * |  | 1 | 1 | 1100 | 1100 | N | NW
# | STORE | Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Adult Weighing Machine | Gold Supreme | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Adult Weighing Machine | Health O Meter | * |  | 1 | 1 | 2500 | 2500 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 216800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 15176

## PHC KACHARGAON
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-04 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KACHARGAON
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | STORE | Domestic Refrigerator | Sansui | SHB 163 | 1 |  | 1 | 15000 | 15000 | Y | W
# | OPD | Stand Mercury B.P Apparatus | Novaphon | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.P Apparatus | LG | AG3010 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Glucometer | Care Sense II | GM505C/C0A064D 00975 | 1 |  | 1 | 1500 | 1500 | Y | W
# | LABOUR ROOM | Adult Weighing Machine | SAMSO | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Radiant Warmer | Meditech | * | 1 |  | 1 | 38000 | 38000 | Y | W
# | STORE | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Autoclave | * | * |  | 2 | 2 | 65000 | 130000 | N | NW
# |  | Adult Weighing Machine | * | * |  | 1 | 1 | 2500 | 2500 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 227700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 15939

## PHC DHEEMARKHEDA
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-04 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DHEEMARKHEDA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | Radiant Warmer | Phoenix | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# | OPD | Mercury B.P Apparatus | Diamond | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | ILR | Haier | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Adult Weighing Machine | Dr Trust | * | 1 |  | 1 | 2500 | 2500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 7
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 366600
* | Not Available |  |  |  | Total CMC Value |  |  |  | 25662

## PHC SILONDI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-04 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SILONDI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# | # | B. P. Apparatus | JSCO Gold | * | 1 |  | 1 | 650 | 650 | Y | W
# | # | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | # | Domestic Refrigerator | Sansui | SHB 163 | 1 |  | 1 | 15000 | 15000 | Y | W
# | # | Radiant Warmer | Meditek | INNOVA/BM/RW/735/02/1112 | 1 |  | 1 | 38000 | 38000 | Y | W
# | # | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | # | Baby Weighing Machine | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# | # | Mercury B.P Apparatus | Elpro | 174765 |  | 1 | 1 | 1100 | 1100 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 132250
* | Not Available |  |  |  | Total CMC Value |  |  |  | 9257.5

## CHC UMARIYAPAN
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-04 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC UMARIYAPAN
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OT | Fumigator | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Cooker Type Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Vertical Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Vertical Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Mercury B.P Apparatus | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# | NBSU | Radiant Warmer | Phoenix | 6127 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant Warmer | Phoenix | 6130 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant Warmer | Phoenix | 6131 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant Warmer | Phoenix | 6132 | 1 |  | 1 | 38000 | 38000 | Y | W
# | LABOUR ROOM | Domestic Refrigerator | Kelvinator | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Foetal Doppler | Lovanni | * |  | 1 | 1 | 80000 | 80000 | N | NW
# |  | Radiant Warmer | Meditrin | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Pulse Oximeter | Bejling Choice Electro | MO300C26 | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | PATHOLOGY LAB | Semi Auto Analyzer | Robonik | * | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Centrifuge | Almicro | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | Water Bath | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Binocular Microscope | * | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Domestic Refrigerator | Videocon | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | OPD | Stand Mercury B.P Apparatus | Prolix | 156013 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P Apparatus | Premier | * | 1 |  | 1 | 1100 | 1100 | Y | W
# | INDOOR | Nebulizer | Nulife Global Medical Pvt Ltd | Minineb/NGMJ7731 | 1 |  | 1 | 6500 | 6500 | Y | W
# | STORE | Sterilizer | * | * |  | 3 | 3 | 6500 | 19500 | N | NW
# |  | Needle Cutter | * | * |  | 1 | 1 | 1200 | 1200 | N | NW
# |  | Suction Machine | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Adult Weighing Machine | * | * |  | 7 | 7 | 2500 | 17500 | N | NW
# |  | Mercury B.P Apparatus | * | * |  | 10 | 10 | 1100 | 11000 | N | NW
# |  | Domestic Refrigerator | * | * |  | 1 | 1 | 15000 | 15000 | N | NW
# |  | Mercury B.P Apparatus | * | * |  | 4 | 4 | 1100 | 4400 | N | NW
# |  | Sterilizer | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Autoclave | * | * |  | 2 | 2 | 65000 | 130000 | N | NW
# |  | Sterilizer | * | * |  | 3 | 3 | 6500 | 19500 | N | NW
# |  | Suction Machine | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Autoclave | * | * |  | 5 | 5 | 65000 | 325000 | N | NW
# |  | Mercury B.P Apparatus | * | * |  | 6 | 6 | 1100 | 6600 | N | NW
# | COLD CHAIN ROOM | ILR | Haier | BE0745EOWD 0B2A890053 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | BE04F 4E2600 B2A840092 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest Frost | MK-144/20013902659 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Vest Frost | MF-144/20013702903 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Vest Frost | MK-142 | 1 |  | 1 | 250000 | 250000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 81
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 3108100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 217567

## CHC PAHADI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-04 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC PAHADI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Radiant Warmer | Meditech | INNOVA/BM/RW/724/02/1112 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | ILR | Haier | HBC-70/BE07F4E0M00B2A8P0032 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | HBD-116/BE04G4E2600B2A7U0216 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Digital B.P Apparatus | LG-Safe Choice Smart | AG 3010 | 1 |  | 1 | 1100 | 1100 | Y | W
# | OPD | Mercury B.P Apparatus | Prolix | 1201 0043 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Smart Care | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Nebulizer | Nulife Global | Minineb/NGM17595 | 1 |  | 1 | 6500 | 6500 | Y | W
# | PATHOLOGY | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Calorimeter | Almicro | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Binocular Microscope | Quasmo | 3166 | 1 |  | 1 | 30000 | 30000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 16
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 687100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 48097

## PHC BADGAON
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-02 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BADGAON
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | Radiant Warmer | Meditech | BM/RW/72/40/7117 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Foot Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Needle Cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Mercury B.P | Gold Supreme | 98119 774 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital B.P Apparatus | Kabuki | 080123 6266 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing machine | Samso | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | OPD | Adult Weighing machine | Samso | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 136400
* | Not Available |  |  |  | Total CMC Value |  |  |  | 9548

## PHC BILHARI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-02 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BILHARI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | Radiant Warmer | Phoenix | 5410 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Foot Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Mercury B.P Apparatus | Diamond | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Dr Trust | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Fumigator | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Baby Weighing Machine | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# | OPD | Digital B.P Apparatus | CG-Safe Check Smart | AG3010 | 3 |  | 3 | 1100 | 3300 | Y | W
# |  | Adult Weighing Machine | Dr Trust | * | 3 |  | 3 | 2500 | 7500 | Y | W
# |  | ILR | Vest Frost | MK-144/20022001102 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | HBD-116/BE0100B287M0448 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# | LAB | Glucometer | Gluco Dot | * | 2 |  | 2 | 1500 | 3000 | Y | W
# |  | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Calorimeter | Almicro | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Water Bath | Lyzer | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Blood Cell Counter | Durga | * | 1 |  | 1 | 350000 | 350000 | Y | W
# |  | Binocular Microscope | * | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Binocular Microscope | * | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Glucometer | Care Sene | Care Sense II/ISP84KD1602 | 1 |  | 1 | 1500 | 1500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 28
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1089300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 76251

## CIVIL HOSPITAL VIJAYRAGHAVGARH
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-03 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CIVIL HOSPITAL VIJAYRAGHAVGARH
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | Foot Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Radiant Warmer | Meditrin | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Spot Light | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Nebulizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Stand Mercury B.P Apparatus | Prolix | 156029 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Labour Table | * | * |  | 1 | 1 | 14000 | 14000 | N | NW
# |  | Stand Mercury B.P Apparatus | Diamond Deluxe | * |  | 4 | 4 | 1100 | 4400 | N | NW
# |  | Labour Table | * | * |  | 1 | 1 | 14000 | 14000 | N | NW
# |  | Suction Machine | * | * |  | 3 | 3 | 6500 | 19500 | N | NW
# |  | Radiant Warmer | Meditrin | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Vertical Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Cooker Type Autoclave | * | * |  | 2 | 2 | 65000 | 130000 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Baby Weighing Machine | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Adult Weighing Machine | * | * | 2 |  | 2 | 2500 | 5000 | Y | W
# |  | Adult Weighing Machine | * | * |  | 1 | 1 | 2500 | 2500 | N | NW
# | NBSU | Radiant Warmer | Phoenix | 6129 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Oxygen Concentrator | BPL | AXTC0B 4740 | 1 |  | 1 | 45000 | 45000 | Y | W
# |  | Radiant Warmer | Phoenix | 5403 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Radiant Warmer | Phoenix | 5402 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Phototherapy | Meditrin | DSPRW01/911 | 1 |  | 1 | 15500 | 15500 | Y | W
# |  | Baby Weighing Machine | Precious Force | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Glucometer | Major Biosystem | B103BA13E2-0981 | 1 |  | 1 | 1500 | 1500 | Y | W
# | OT | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Foot Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | OT Spot Light | * | * | 1 |  | 1 | 45000 | 45000 | Y | W
# |  | Hydraulic OT Table | * | * | 1 |  | 1 | 70000 | 70000 | Y | W
# |  | Boyle's Apparatus | Allied Jupiter | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Oxygen Concentrator | BPL | AXTB6E2069 | 1 |  | 1 | 45000 | 45000 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Ultrasound Machine | * | * | 1 |  | 1 | 450000 | 450000 | Y | W
# |  | OT Ceiling Light | * | * | 1 |  | 1 | 150000 | 150000 | Y | W
# |  | Cooker Type Autoclave | * | * | 2 |  | 2 | 65000 | 130000 | Y | W
# |  | Foetal Doppler | Dipel | DFM-051 |  | 1 | 1 | 80000 | 80000 | N | NW
# |  | Ultrasound Machine | BPL | * | 1 |  | 1 | 450000 | 450000 | Y | W
# | X-RAY ROOM | X-Ray Machine | Vision Medical System Pvt Ltd | 70911817 | 1 |  | 1 | 450000 | 450000 | Y | W
# |  | X-Ray Machine | Siemens | 1659 |  | 1 | 1 | 450000 | 450000 | N | NW
# | PATHOLOGY LAB+BSU | Semi Auto Analyzer | Erba | Chem 5x/120221 |  | 1 | 1 | 200000 | 200000 | N | NW
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Binocular Microscope | Labomed | Vision 2000/2948 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | BBR | Hicare | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Domestic Refrigerator | Samsung | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | BBR | Real Lab Equipment | * | 1 |  | 1 | 250000 | 250000 | Y | W
# | ICTC | Domestic Refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | LAB | Glucometer | Gluco DDT | M14KP 004088 | 1 |  | 1 | 1500 | 1500 | Y | W
# | COLD CHAIN ROOM | Deep Freezer | Vest Frost | MK-142/44713059 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest Frost | MK144/90405846 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Premier | * | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | HBC2ao/BE07G5E0ND0B2A5 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | HBD2E6/BE04F4E 26000B2ABQ0067 | 1 |  | 1 | 250000 | 250000 | Y | W
# | ANC | Stand Mercury B.P Apparatus | Prolix | 156028 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Samso | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | MINOR OT | Cooker Type Autoclave | * | * |  | 2 | 2 | 65000 | 130000 | N | NW
# |  | Hydraulic OT Table | * | * | 1 |  | 1 | 70000 | 70000 | Y | W
# |  | Vertical Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# | STORE ROOM | Adult Weighing Machine | Venus | * | 7 |  | 7 | 2500 | 17500 | Y | W
# |  | Adult Weighing Machine | Samso | * | 2 |  | 2 | 2500 | 5000 | Y | W
# |  | Adult Weighing Machine | Dr Trust | * | 8 |  | 8 | 2500 | 20000 | Y | W
# |  | Digital Adult Weighing Machine | Smart Care | * |  | 3 | 3 | 1100 | 3300 | N | NW
# |  | Digital B.P Apparatus | LG-Safe Check | * | 18 |  | 18 | 1100 | 19800 | Y | W
# |  | Mercury B.P Apparatus | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Dial Type B.P Apparatus | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Foot Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Nebulizer | Silvestron Fabric SRC | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Nebulizer | Smart Care | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | ECG Machine | BPL | 6208/AF1L001 |  | 1 | 1 | 52000 | 52000 | N | NW
# |  | Digital B.P Apparatus | LG-Safe Check | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | ECG Machine | Maestros | Magic R |  | 1 | 1 | 52000 | 52000 | N | NW
# |  | Cooker Type Autoclave | * | * | 3 |  | 3 | 65000 | 195000 | Y | W
# |  | ILR | * | * |  | 1 | 1 | 250000 | 250000 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 120
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 6326600
* | Not Available |  |  |  | Total CMC Value |  |  |  | 442862

## CHC BADWARA
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-03 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC BADWARA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury B.P Apparatus | Premier | 90134709 | 1 |  | 1 | 1100 | 1100 | Y | W
# | DRESSING ROOM | Foot Suction Machine | * | * | 2 |  | 2 | 6500 | 13000 | Y | W
# |  | Suction Machine | Mediguard | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Suction Machine | Mediguard | * |  | 1 | 1 | 6500 | 6500 | N | NW
# | LABOUR ROOM | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Radiant Warmer | Phoenix | 5407 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury B.P Apparatus | Extra Care | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Stand Mercury B.P Apparatus | Prolix | 156036 | 1 |  | 1 | 1100 | 1100 | Y | W
# | OT | Radiant Warmer | Meditrin | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Foot Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Vertical Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Adult Weighing Machine | Crown | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Boyle's Apparatus | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Ceiling OT Light | * | * |  | 1 | 1 | 150000 | 150000 | N | NW
# |  | Foot Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Cooker Type Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# | COLD CHAIN ROOM | Deep Freezer | Haier | HBC 70/BE07F4E0M00B2A8B0101 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest Frost | NMK142/44713602 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Vest Frost | MF 144/91007444 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | HBD116/BED4G4E2600B2A5K0028 | 1 |  | 1 | 250000 | 250000 | Y | W
# | STORE ROOM | Domestic Refrigerator | Samsung | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Glucometer | Accu Sure | * | 21 |  | 21 | 1500 | 31500 | Y | W
# |  | Digital B.P Apparatus | LG-Safe Check Smart | AG3010 | 3 |  | 3 | 1100 | 3300 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | ECG Machine | BPL | * | 1 |  | 1 | 52000 | 52000 | Y | W
# |  | Adult Weighing Machine | Dr Trust | * | 5 |  | 5 | 2500 | 12500 | Y | W
# |  | Mercury B.P Apparatus | Premier | 98134415 |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Autoclave | * | * |  | 2 | 2 | 65000 | 130000 | N | NW
# |  | Adult Weighing Machine | * | * |  | 6 | 6 | 2500 | 15000 | N | NW
# |  | Mercury B.P Apparatus | * | * |  | 10 | 10 | 1100 | 11000 | N | NW
# |  | Foot Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Suction Machine | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Sterilizer | * | * |  | 3 | 3 | 6500 | 19500 | N | NW
# |  | Autoclave | * | * |  | 5 | 5 | 65000 | 325000 | N | NW
# | NRC | Baby Weighing Machine | Seca | * | 1 |  | 1 | 3500 | 3500 | Y | W
# | X-RAY ROOM | X-Ray Machine | Wipro | * | 1 |  | 1 | 450000 | 450000 | Y | W
# | PATHOLOGY | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Semi Auto Analyzer | Rayto | RT1904C/401502005E | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | Water Bath | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Domestic Refrigerator | Videocon | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Glucometer | Gluco Dot | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Binocular Microscope | MLW | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Calorimeter | Almicro | 114/201302038 | 1 |  | 1 | 1400 | 1400 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 101
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 3297200
* | Not Available |  |  |  | Total CMC Value |  |  |  | 230804

## CHC BARHI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-03 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC BARHI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | X-RAY ROOM | X-Ray Machine | Vision Medical | Vision 100/V06121959 | 1 |  | 1 | 450000 | 450000 | Y | W
# |  | X-Ray Machine | Ricks Medical Pvt Ltd | 0502D23 |  | 1 | 1 | 450000 | 450000 | N | NW
# | COLD CHAIN | Deep Freezer | Vest Frost | 200710 20381 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | HBD116/BE040G4E2600B2A5J0115 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | BE0444E26 00B2A59 0232 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Haier | BE07F4E0 N00B2A12 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | ILR | Vest Frost | MK144/65116216 | 1 |  | 1 | 250000 | 250000 | Y | W
# | PATHOLOGY LAB | Domestic Refrigerator | Kelvinator | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Centrifuge | Almicro | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Centrifuge | Almicro | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Binocular Microscope | Labomed | vision 2000/2956 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Binocular Microscope | Almicro | BM6BI | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Monocular Microscope | Olympus | Magnus/9503384 | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | Semi Auto Analyzer | Erba | Chem 5x | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Calorimeter | Almicro | 114/201302031 | 1 |  | 1 | 1400 | 1400 | N | W
# |  | Glucometer | Gluco Dot | * | 1 |  | 1 | 1500 | 1500 | Y | W
# | NRC | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Venus | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Digital Weighing Machine | Mahindra | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | NBSU | Radiant Warmer | Phoenix | * | 4 |  | 4 | 38000 | 152000 | Y | W
# | LABOUR ROOM | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant Warmer | Meditech | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P Apparatus | Smart Care | * |  | 1 | 1 | 1100 | 1100 | N | NW
# | STORE ROOM | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | N | W
# |  | Digital B.P Apparatus | LG-Smart Care | * | 5 |  | 5 | 1100 | 5500 | N | W
# |  | Glucometer | Gluco Dot | * | 6 |  | 6 | 1500 | 9000 | N | W
# | OT | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Fumigator | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Cooker Type Autoclave | * | * | 2 |  | 2 | 65000 | 130000 | Y | W
# |  | Spot Light | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Boyle's Apparatus | Allied | * |  | 1 | 1 | 65000 | 65000 | N | NW
# | CONDEMNABLE STORE | Domestic Refrigerator | * | * |  | 1 | 1 | 15000 | 15000 | N | NW
# |  | Monocular Microscope | * | * |  | 1 | 1 | 18500 | 18500 | N | NW
# |  | Binocular Microscope | * | * |  | 1 | 1 | 30000 | 30000 | N | NW
# |  | Domestic Refrigerator | * | * |  | 1 | 1 | 15000 | 15000 | N | NW
# |  | Radiant Warmer | * | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Suction Machine | * | * |  | 3 | 3 | 6500 | 19500 | N | NW
# |  | Stand Mercury B.P Apparatus | * | * |  | 2 | 2 | 1100 | 2200 | N | NW
# |  | Cooker Type Autoclave | * | * |  | 4 | 4 | 65000 | 260000 | N | NW
# |  | Sterilizer | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Sterilizer | * | * |  | 3 | 3 | 6500 | 19500 | N | NW
# |  | Fumigator | * | * |  | 1 | 1 | 4500 | 4500 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Foot Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Mercury B.P Apparatus | * | * |  | 2 | 2 | 1100 | 2200 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 73
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 3802600
* | Not Available |  |  |  | Total CMC Value |  |  |  | 266182

## CHC BAHORIBAND
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-02 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC BAHORIBAND
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | COLD CHAIN | ILR | Haier | HB-200/BE0745E0N00B2A5H005 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | HBD-286/BE04F4E2600B 2A800069 | 1 |  | 1 | 250000 | 250000 | Y | W
# | X-RAY ROOM | X-Ray Machine | Meditronics | * |  | 1 | 1 | 450000 | 450000 | N | NW
# |  | X-Ray Machine | ELPRO | * | 1 |  | 1 | 450000 | 450000 | Y | W
# | PATH LAB+BSU | BBR | Red Lab Equipment | C-60R | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Domestic Refrigerator | LG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Binocular Microscope | MLW | * | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Calorimeter | Almicro | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Calorimeter | * | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
# |  | Monocular Microscope | * | * | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Semi Auto Analyzer | Kayto | RT-1904C | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Needle Cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# | LABOUR ROOM | Radiant Warmer | Phoenix | /5409 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Baby Weighing Machine | Kohinoor | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Nebulizer | Smart Care | /2508 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# | SNSU | Radiant Warmer | Meditech | * | 4 |  | 4 | 38000 | 152000 | Y | W
# |  | Mercury B.P Apparatus | Premier | 131451 | 1 |  | 1 | 1100 | 1100 | Y | W
# | OT | Ceiling OT Light | * | * | 1 |  | 1 | 150000 | 150000 | N | W
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500 | N | W
# |  | Fumigator | * | * | 1 |  | 1 | 4500 | 4500 | N | W
# |  | Hydraulic OT Table | * | * |  | 1 | 1 | 70000 | 70000 | N | NW
# |  | Cooker Type Autoclave | * | * | 2 |  | 2 | 65000 | 130000 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | STORE ROOM | Glucometer | Accu Sure | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Nebulizer | Nulife Global System | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Foot Suction Machine | * | * |  | 3 | 3 | 6500 | 19500 | N | NW
# |  | Baby Weighing Machine | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Digital B.P Apparatus | L4-Safe Check Smart | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Dr. Trust | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Domestic Refrigerator | Whirlpool | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | EYE OPD | Slit Lamp | Appasamy Groups | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | ANC ROOM | Stand Mercury B.P Apparatus | Prolix | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestic Refrigerator | Videocon | * |  | 1 | 1 | 15000 | 15000 | N | NW
# |  | Adult Weighing Machine | Venus | * | 1 |  | 1 | 2500 | 2500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 42
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2939300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 205751

## PHC BASADI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-03 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BASADI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Adult Weighing Machine | Dr Trust | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Digital B.P Apparatus | Kabuki | 38J614/08012 37147 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P Apparatus | Premier | * | 1 |  | 1 | 1100 | 1100 | Y | W
# | LABOUR ROOM | Radiant Warmer | Meditech | INNOVA | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Foot Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# | STORE | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Glucometer | Care Sense | GM 505C/COAO64D00885 | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Digital B.P Apparatus | LG-Safe Check Smart | AG3010 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury B.P Apparatus | Premier | 9134702 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Nebulizer | Nulife Global Medical | Handyneb/PCBi74596 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Suction Machine | Monarch | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult Weighing Machine | Dr Trust | * | 2 |  | 2 | 2500 | 5000 | Y | W
# |  | Sterilizer | Smart Care | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Adult Weighing Machine | Crown | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Adult Weighing Machine | * | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Sterilizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Baby Weighing Machine | * | * |  | 1 | 1 | 3500 | 3500 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 21
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 182400
* | Not Available |  |  |  | Total CMC Value |  |  |  | 12768

## PHC GHUNOOR
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-03 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GHUNOOR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | LABOUR ROOM | Radiant Warmer | Meditech | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Dial Type B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Adult Weighing Machine | Smart Care | * | 1 |  | 1 | 2500 | 2500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 6
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 66600
* | Not Available |  |  |  | Total CMC Value |  |  |  | 4662

## PHC KYMORE
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-03 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KYMORE
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Stand Mercury B.P Apparatus | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestic Refrigerator | SMSUNG | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Mercury B.P Apparatus | Smart Care | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Mercury B.P Apparatus | Gold Supreme | 98123025 |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | X-Ray Machine | Meditronics | DIAGNOX-100/9K050 | 1 |  | 1 | 450000 | 450000 | N | W
# | INJECTION ROOM | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult Weighing Machine | Dr. Trust | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LABOUR ROOM | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Fumigator | * | * | 1 |  | 1 | 4500 | 4500 | N | W
# |  | Foot Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Radiant Warmer | Zeal Medical Pvt Ltd | * | 1 |  | 1 | 38000 | 38000 | N | W
# |  | Doppler | NEOCARE | * | 1 |  | 1 | 80000 | 80000 | N | W
# |  | Phototherapy | Meditrin | * | 1 |  | 1 | 15500 | 15500 | N | W
# | COLD CHAIN | ILR | Vest Frost | MK-144/65116207 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | HBD-116/BE0444E2600B2A7U0258 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Vest Frost | MF-142/65114896 | 1 |  | 1 | 250000 | 250000 | Y | W
# | STORE | Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Adult Weighing Machine | * | * | 3 |  | 3 | 2500 | 7500 | Y | W
# |  | Nebulizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | N | W
# |  | Cooker Type Autoclave | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Monocular Microscope | * | * | 1 |  | 1 | 18500 | 18500 | Y | W
# |  | Centrifuge | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Adult Weighing Machine | * | * |  | 1 | 1 | 2500 | 2500 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 26
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1553300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 108731

## PHC SINGHODI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-03 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SINGHODI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | Suction Machine | Monarch | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Radiant Warmer | Meditech | INNOVA/BM/RW/714/02/1112 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Mercury B.P Apparatus | Diamond | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# | OPD | Domestic Refrigerator | Samsung | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Adult Weighing Machine | Venus | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LABOUR ROOM | Foot Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | COLD CHAIN | Domestic Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | ILR | Haier | HBC 70/BE07F4E0N00B2A8V001 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Vest Frost | MF144/91010127 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | HBD116/BE04G4E 2600B2A 750043 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Cooker Type Autoclave | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Adult Weighing Machine | Smart Care | * |  | 1 | 1 | 2500 | 2500 | N | NW
# | STORE | Mercury B.P Apparatus | * | * | 2 |  | 2 | 1100 | 2200 | Y | W
# |  | Fumigator | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 18
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 983800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 68866

## PHC BACHIYA
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-02 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BACHIYA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LR | Baby Weight Machin | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Radient Warmer | Phoenix | 5406 | 1 |  | 1 | 38000 | 38000 | Y | W
# | OPD | Adult Weighing Machine | Delux | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Adult Weighing Machine | Venus | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Sterilizer Small | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Digital BP | LG Safe Check Smart | AG3010 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestric Refrigerator | LG | GL-185RP3 | 1 |  | 1 | 15000 | 15000 | Y | W
# | Store | Auto Clave (Cooker Type) | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Sterilizer Medium | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Domestric Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Sterilizer Large | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Baby Weight Machin | Crown | * |  | 1 | 1 | 3500 | 3500 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 12
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 165600
* | Not Available |  |  |  | Total CMC Value |  |  |  | 11592
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  | No. of Bed's | Total Equipment Cost |  |  |  | 296304
* | Not Available |  |  | No. of Staff | Total CMC Value |  |  |  | 20741.28

## PHC BAKAL
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-02 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BAKAL
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Adult Weighing Machine | Venus | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury BP | Smart Care | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Digital BP | LG Safe Check Smart | AG3010 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury BP | Gold Supreme | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Domestric Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# | LR | Radiant Warmer | Medi Tech | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Sterilizer Small | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Baby Weight Machin | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# | CCR | ILR | Haier | HBC-70/BE07F4E0N00B2A800057 | 1 |  | 1 | 250000 | 250000 | Y | W
# |  | Deep Freezer | Haier | HBD160/BE04G4E260-0B2A7UD215 | 1 |  | 1 | 250000 | 250000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 568800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 39816

## PHC TEORI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-02 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TEORI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Sterilizer Large | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Auto Clave (Cooker Type) | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Domestric Refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Mercury BP | Diamond | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Gravis | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | Radiant Warmer | Medi Tech | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Baby Weight Machine | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Sterilizer Small | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Adult Weighing Machine | Gravis | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Nebulizer | Bremed | BD-300/85966 | 1 |  | 1 | 6500 | 6500 | Y | W
# | STORE | Nebulizer | Bremed | BD-300 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Fumigetor | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Calorimeter | * | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Glucometer | * | * | 2 |  | 2 | 1500 | 3000 | Y | W
# |  | Digital BP | * | * | 2 |  | 2 | 1100 | 2200 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 18
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 171200
* | Not Available |  |  |  | Total CMC Value |  |  |  | 11984

## CHC RITHI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-02 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC RITHI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | INDOOR | Stand Mercury BP | Diamond deluxe | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury BP | Premier | 9813444 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Nebulizer | Nulife Global Medical | Mininob/NGMI7610 | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Digital BP | LG Safe Check Smart | AG3010 |  | 1 | 1 | 1100 | 1100 | N | NW
# | OT | Stand Mercury BP | Diamond | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Adult Weighing Machine | Samso | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Baby Weight Machin | Laica | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Sterilizer Small | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Domestric Refrigerator | Sansui | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | OT Celling Light | Indion | * |  | 1 | 1 | 150000 | 150000 | N | NW
# |  | Fumigetor | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Sterilizer | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Auto Clave (Cooker Type) | * | * | 2 |  | 2 | 65000 | 130000 | Y | W
# |  | Sterilizer Small | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Sterilizer Medium | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Hydraullic OT Table | * | * | 2 |  | 2 | 70000 | 140000 | Y | W
# |  | Hydraullic OT Table | * | * | 1 |  | 1 | 70000 | 70000 | Y | W
# | LR | Radiant Warmer | Medi Tech | * | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Pulse Oximeter | Opto System | oxy-500A/125HF5058 | 1 |  | 1 | 55000 | 55000 | Y | W
# |  | Baby Weight Machin | Crown | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Foot Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Sterilizer Small | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | STORE | Suction machine | * | * | 4 |  | 4 | 6500 | 26000 | Y | W
# |  | Fumigetor | Nulife Global Medical | Hondynob | 2 |  | 2 | 4500 | 9000 | Y | W
# |  | Auto Clave (Cooker Type) | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Binoculor microscope | Quasmo | P2B22 |  | 1 | 1 | 30000 | 30000 | N | NW
# |  | Glucometer | Gulco Dot | * | 4 |  | 4 | 1500 | 6000 | Y | W
# |  | Digital BP | LG Safe Check Smart | * | 4 |  | 4 | 1100 | 4400 | Y | W
# |  | Mercury BP | Premier | * | 2 |  | 2 | 1100 | 2200 | Y | W
# |  | Adult Weighing Machine | Smart Care | CS0100 | 7 |  | 7 | 2500 | 17500 | Y | W
# |  | Adult Weighing Machine | Smart Care | * | 6 |  | 6 | 2500 | 15000 | Y | W
# |  | Adult Weighing Machine | Smart Care | * |  | 1 | 1 | 2500 | 2500 | N | NW
# |  | Mercury BP | Smart Care | * |  | 5 | 5 | 1100 | 5500 | N | NW
# |  | Digital BP | Medi Advance | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Adult Weighing Machine | * | * |  | 4 | 4 | 2500 | 10000 | N | NW
# |  | Calorimeter | Almicro | 114/201302045 | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Baby Weight Machine | Crown | * | 2 |  | 2 | 3500 | 7000 | Y | W
# |  | Needle Cutter | Nulife | * | 1 |  | 1 | 1200 | 1200 | Y | W
# | NRC | Weighing Machine | Mahindra | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Nebulizer | Nulife Global | Hondynob/pcb174587 | 1 |  | 1 | 6500 | 6500 | Y | W
# | X Ray | X Ray Machine (60ma) | Wipro | ST-60/C40010 | 1 |  | 1 | 450000 | 450000 | Y | W
# | STORE | Boyles App | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Auto Clave (Cooker Type) | * | * |  | 3 | 3 | 65000 | 195000 | N | NW
# |  | Sterilizer | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Spot Light | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Nebulizer | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Baby Weight Machine | * | * |  | 1 | 1 | 3500 | 3500 | N | NW
# |  | Radiant Warmer | * | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Centrifuge | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Auto Clave (Cooker Type) | * | * |  | 6 | 6 | 65000 | 390000 | N | NW
# |  | Suction machine | * | * |  | 4 | 4 | 6500 | 26000 | N | NW
# |  | Auto Clave vertical | * | * |  | 1 | 1 | 65000 | 65000 | N | NW
# |  | Radiant Warmer | * | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Strelizer large | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Hydraullic OT Table | * | * |  | 2 | 2 | 70000 | 140000 | N | NW
# |  | Fumigetor | * | * |  | 1 | 1 | 4500 | 4500 | N | NW
# |  | ILR | Vost Frost | MK144/20032001018 |  | 1 | 1 | 250000 | 250000 | N | NW
# | PATHOLOGY | Adult Weighing Machine | Samso | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Water Bath | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Semi Auto Analyzer | * | * | 1 |  | 1 | 200000 | 200000 | Y | W
# |  | Calorimeter | * | * | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Centrifuge | Labotech | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Needle Cutter | Life Guard | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Binoculor microscope | Labomed | vision2000/2871 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Monocular Microscope | Almicro | * |  | 2 | 2 | 18500 | 37000 | N | NW
# |  | Binoculor microscope | * | * |  | 1 | 1 | 30000 | 30000 | N | NW
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Glucometer | SD Code Free | M03808EAA14179 | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Glucometer | Care Sense | * | 1 |  | 1 | 1500 | 1500 | Y | W
# | ICTC | Domestric Refrigerator | Videocon | * |  | 1 | 1 | 15000 | 15000 | N | NW
# |  | Domestric Refrigerator | Electrolux | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Adult Weighing Machine | Samso | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | INDOOR | Needle Cutter | * | * | 1 |  | 1 | 1200 | 1200 | Y | W
# |  | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Digital BP | * | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury BP | Premier | 981344 | 1 |  | 1 | 1100 | 1100 | Y | W
[5 empty] | 72 | 53
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 125
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2965700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 207599

## PHC BADERA
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-03 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BADERA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Stand Mercury BP | PROLIX | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Gravis | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Adult Weighing Machine | Dr. Trust | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Digital BP | Nikkei Electro-medical Co. Ltd | RI-999/Safe'In | 1 |  | 1 | 1100 | 1100 | Y | W
# | LR | Radiant Warmer | Phoenix/open Care | 0CW100/5408 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Baby Weight Machine | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Foot Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Sterilizer Medium | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | Store | Domestric Refrigerator | Godrej Cold Gold | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Glucometer | Care sens II | GM505C/C0A064D01388 | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Nebulizer | Smart Care | ME20/0723 | 1 |  | 1 | 6500 | 6500 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 84700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 5929

## PHC DEORIHATIAI
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-04 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DEORIHATIAI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Mercury BP | Premier | * | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Adult Weighing Machine | Smart Care | * | 1 |  | 1 | 2500 | 2500 | Y | W
# | LR | BabyWeighing Machine | * | * | 1 |  | 1 | 3500 | 3500 | Y | W
# |  | Auto Clave (Cooker Type) | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Radiant Warmer | Meditech | Innovo/BM/RW/733/021112 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Glucometer | Gluco Dot | * | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Domestric Refrigerator | Sansui | * |  | 1 | 1 | 15000 | 15000 | N | NW
# | STORE | Domestric Refrigerator | * | * |  | 1 | 1 | 15000 | 15000 | N | NW
# |  | Foot Suction Machin | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Sterilizer Medium | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Sterilizer Small | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Adult Weighing Machine | Dr. Trust | * |  | 1 | 1 | 2500 | 2500 | N | NW
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 179100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 12537

## PHC kanhwara
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-03 |  | Whether Staff Available to run the Equipment (Y/N) | Remarks
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KANHWARA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | Domestric Refrigerator | * | * | 1 |  | 1 | 15000 | 15000 | Y | W
# |  | Stand Mercury BP | Prolix | 156023 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Mercury BP | Smart Care | CH10B | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Auto Clave (Cooker Type) | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Baby Weight Machin | * | * | 4 |  | 4 | 3500 | 14000 | Y | W
# |  | Adult Weighing Machine | * | * | 7 |  | 7 | 2500 | 17500 | Y | W
# |  | Mercury BP | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | ECG Machine | Maestros | Magic R/020321482 | 1 |  | 1 | 52000 | 52000 | Y | W
# | LR | Baby Weight Machine | Crown | * | 2 |  | 2 | 3500 | 7000 | Y | W
# |  | Radiant Warmer | Medi Tech | Innovo/BM/RW/727/02111 | 1 |  | 1 | 38000 | 38000 | Y | W
# |  | Auto Clave (Cooker Type) | * | * | 1 |  | 1 | 65000 | 65000 | Y | W
# |  | Nebulizer | Pari | G4B0000/ANLEL00128 |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Suction Machine | * | * |  | 1 | 1 | 6500 | 6500 | N | NW
# |  | Radiant Warmer | Medi Tech | * |  | 1 | 1 | 38000 | 38000 | N | NW
# |  | Adult Weighing Machine | Samso | * | 1 |  | 1 | 2500 | 2500 | Y | W
# |  | Foot Suction Machine | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# | OPD | Mercury BP | Gold Supreme | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Digital BP | * | * |  | 1 | 1 | 1100 | 1100 | N | NW
# |  | Mercury BP | Diamond | * | 1 |  | 1 | 1100 | 1100 | Y | W
# | PATHOLOGY | Glucometer | Care Sens | CGA064B0I528 | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Digital BP | LG Safe Check Smart | AG3010 | 1 |  | 1 | 1100 | 1100 | Y | W
# |  | Binoculor microscope | MLW | 243234 | 1 |  | 1 | 30000 | 30000 | Y | W
# |  | Calorimeter | Almicro | 144/201602030 | 1 |  | 1 | 1400 | 1400 | Y | W
# |  | Centrifuge | * | * |  | 2 | 2 | 6500 | 13000 | N | NW
# |  | Centrifuge | * | * | 1 |  | 1 | 6500 | 6500 | Y | W
# |  | Monoculor Microscope | * | * |  | 1 | 1 | 18500 | 18500 | N | NW
# |  | Binoculor microscope | Elitescientific | * |  | 1 | 1 | 30000 | 30000 | N | NW
# |  | Monoculor Microscope | Olympus | Magnus/9506441 |  | 1 | 1 | 18500 | 18500 | N | NW
# |  | Fumigetor | * | * |  | 1 | 1 | 4500 | 4500 | N | NW
# |  | Adult Weighing Machine | Krups | * |  | 2 | 2 | 2500 | 5000 | N | NW
# |  | Glucometer | Care Sens | GM505C/CGA064D01612 | 1 |  | 1 | 1500 | 1500 | Y | W
# |  | Water Bath | * | * | 1 |  | 1 | 4500 | 4500 | Y | W
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000 | Y | W
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 45
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 851100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 59577