## PHC HANGO
Name of Consultant :- | [6 empty] | Date:- |  | 14/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC HANGO
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
{No equipment present at hango phc as it was newly formed phc conffirmed it from leo phc on 14/08/2015}

## CHC POOH
Name of Consultant :- | [6 empty] | Date:- |  | 14/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | CHC POOH
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus | Diamond | BPDG034 | 4112 | 1 |  | 1 | 650 | 650
# | # | BP apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | Adult weighing m/c | EMMED | * | * | 1 |  | 1 | 2500 | 2500
# | # | O2 conn. | Airsep | * | 932940 | 1 |  | 1 | 45000 | 45000
# | # | Suction m/c | Vikrant | Santoshi | * | 1 |  | 1 | 6500 | 6500
# | # | BP apparatus | Meditech | * | 14M0227 | 1 |  | 1 | 650 | 650
# | # | ILR | Vestfrost | MF144 | 85001063 | 1 |  | 1 | 250000 | 250000
# | # | Deep freezer | Vestfrost | NMK1212 | 44712401 | 1 |  | 1 | 250000 | 250000
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle cutter | Life care | * | * | 1 |  | 1 | 1200 | 1200
# | # | Domestic refreg. | LG | * | * | 1 |  | 1 | 15000 | 15000
# | # | Chemistry analyser | Transasia | Che-7 | 70707 | 1 |  | 1 | 200000 | 200000
# | # | Centrifuse | Hettich | EB48 | * | 1 |  | 1 | 6500 | 6500
# | # | Rotator | Yarco seles | * | * | 1 |  | 1 | 4500 | 4500
# | # | Incubator | Anupam udyog | * | * | 1 |  | 1 | 375000 | 375000
# | # | Needle cutter | Safefty | * | * | 1 |  | 1 | 1200 | 1200
# | # | Microscope bino. | Radical instrument | * | 620694 | 1 |  | 1 | 30000 | 30000
# | # | Microscope mono | MLU | * | 212092 | 1 |  | 1 | 18500 | 18500
# | # | Needle cutter | Life care | * | * | 1 |  | 1 | 1200 | 1200
# | # | ECG m/c | Mestros | MRX-12 | 1304128044 | 1 |  | 1 | 52000 | 52000
# | # | Nebulizer | Dr.trust | * | 12002326 | 1 |  | 1 | 6500 | 6500
# | # | Nebulizer | Electro medical | * | 31236 |  | 1 | 1 | 6500 | 6500
# | # | X-raye m/c | Elpro | * | * | 1 |  | 1 | 450000 | 450000
# | # | Ultra sound m/c | Medison co.ltd | SA-600 | 6099C1040 | 1 |  | 1 | 450000 | 450000
# | # | Dental x-raye m/c | Gomax | 10DRS | * | 1 |  | 1 | 450000 | 450000
# | # | Deep freezer | Haier | HBD116 | BE04G4E2600B2A560190 | 1 |  | 1 | 250000 | 250000
# | # | Glucometer | Accuchek active | * | GU03537078 | 1 |  | 1 | 1200 | 1200
# | # | Labour table | * | * | * | 1 |  | 1 | 14000 | 14000
# | # | Infant warmer | Zeal medical p.t | * | * | 1 |  | 1 | 38000 | 38000
# | # | Infant weighing m/c | Swisser | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant weighing m/c Braun | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | Suction m/c | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle cutter | Life care | * | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave | Atlas | * | 54776 | 1 |  | 1 | 65000 | 65000
# | # | Spot light | Vrko | * | * | 1 |  | 1 | 6500 | 6500
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle cutter | Sapna | * | * | 1 |  | 1 | 1200 | 1200
# | # | BP apparatus | * | * | * | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 37
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3021650
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 211515.5

## PHC KANAM
Name of Consultant :- | [6 empty] | Date:- |  | 14/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | PHC KANAM
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP aappratus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | Sucation m/c | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Weighing m/c adult | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 5
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 81700
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 5719

## PHC GIABONG
Name of Consultant :- | [6 empty] | Date:- |  | 14/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GIABONG
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP aappratus | Japan | CH-432 | 1045203 | 1 |  | 1 | 650 | 650
# | # | Deep freezer | Vestfrost | DF-SB142 | 14912626 | 1 |  | 1 | 250000 | 250000
# | # | ILR | Vestfrost | MK-142 | 14919547 | 1 |  | 1 | 250000 | 250000
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant weighing m/c | Tanita | * | * |  | 1 | 1 | 2500 | 2500
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Microscope monocular | Magnus | * | 516097 | 1 |  | 1 | 18500 | 18500
# | # | Microscope monocular | Magnus | * | 515905 | 1 |  | 1 | 18500 | 18500
# | # | Incubatar | Anupam udyog | * | * | 1 |  | 1 | 375000 | 375000
# | # | Needle cutter | Anupam udyog | * | * | 1 |  | 1 | 1200 | 1200
# | # | Satiom m/c | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Sterilizer(2) | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Spot light | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | labour table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | Gluco meter | Rennex medical | Romo-check | 303N0001193 | 1 |  | 1 | 1200 | 1200
# | # | BP aapparatus | Ideal | * | 89100076 |  | 1 | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 16
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1019750
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 71382.5

## PHC LEO
Name of Consultant :- | [6 empty] | Date:- |  | 14/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC LEO
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP appratus | OMRON | HEM7200 | 20130400410VGI | 1 |  | 1 | 650 | 650
# | # | BP appratus | Supreme surgico | Heart care | 99119909 |  | 1 | 1 | 650 | 650
# | # | BP appratus | Supreme surgico | Micro lite | 90102069 |  | 1 | 1 | 650 | 650
# | # | Adult weighing m/c | Healthro meter | * | * | 1 |  | 1 | 2500 | 2500
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Domestic refrigerator | LG | * | * | 1 |  | 1 | 15000 | 15000
# | # | Adult weighing m/c | Dragon | * | * | 1 |  | 1 | 2500 | 2500
# | # | ILR+Deep freezer | Dulas salar | * | 1588-060 |  | 1 | 1 | 250000 | 250000
# | # | Glucometer | Rennex medical | Romo chek | 303N00023E6 |  | 1 | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 279000
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 19530

## PHC MORANG
Name of Consultant :- | [6 empty] | Date:- |  | 14/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC MORANG
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | ILR | Vestfrost | * | 1441710 | 1 |  | 1 | 250000 | 250000
# | # | Deep freezer | Vestfrost | * | 1491302 | 1 |  | 1 | 250000 | 250000
# | # | Needle cutter | Dv-sonic | * | * | 1 |  | 1 | 1200 | 1200
# | # | Needle cutter | Life care | * | * | 1 |  | 1 | 1200 | 1200
# | # | BP aappratus | OMRON | HEN 7200 | * | 1 |  | 1 | 650 | 650
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Suction m/c | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Adult weighing m/c | Perstige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant weighing m/c | Tanita | * | * | 1 |  | 1 | 2500 | 2500
# | # | BP aappratus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | Glucometer | Romo-check | * | 303N00001309 | 1 |  | 1 | 1200 | 1200
# | # | Glucometer | Accu check active | * | 55308344048 | 1 |  | 1 | 1200 | 1200
# | # | Glucometer | Smari care | * | 422720950009451 | 1 |  | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 13
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 340300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 23821

## PHC LIPPA
Name of Consultant :- | [6 empty] | Date:- |  | 13/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC LIPPA
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Adult weighing m/c | Healthro meter | * | * | 1 |  | 1 | 2500 | 2500
# | # | BP aappratus | Extra care | * | * | 1 |  | 1 | 650 | 650
# | # | Infant weighing m/c | Tanita | * | * | 1 |  | 1 | 2500 | 2500
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Domestic refre. | whirfoop | * | * | 1 |  | 1 | 15000 | 15000
# | # | Glucometer | Accu check active | * | GN 21506823 | 1 |  | 1 | 1200 | 1200
# | # | Needle cutter(2) | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | O2 conn. | Nidex | * | 132046702 | 1 |  | 1 | 45000 | 45000
# | # | Ecg m/c | Nidex | Ecg 703 | Ecg 7031305349 | 1 |  | 1 | 52000 | 52000
# | # | Suction m/c manual | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Nebulizer | Nidex | 4235CE | 132020971 | 1 |  | 1 | 6500 | 6500
# | # | Deep freezer | New | * | * | 1 |  | 1 | 250000 | 250000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 13
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 392050
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 27443.5

## PHC JANGI
Name of Consultant :- | [6 empty] | Date:- |  | 13/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | PHC JANGI
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Needle cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Manual suction m/c | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Nebulizer | Medimist | * | 2110 | 1 |  | 1 | 6500 | 6500
# | # | BP apparatus | Pagoda | * | 303994 | 1 |  | 1 | 650 | 650
# | # | BP apparatus digital | Omkon | * | 20130400479VGI | 1 |  | 1 | 1100 | 1100
# | # | Glucose metre | Rennex medical | * | 303N000128C | 1 |  | 1 | 1200 | 1200
# | # | Domestic refreg. | Samsung | * | * | 1 |  | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 9
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 41150
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 2880.5

## PHC RARANG
Name of Consultant :- | [6 empty] | Date:- |  | 13/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | PHC RARANG
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus | Elko | * | * | 1 |  | 1 | 650 | 650
# | # | Bp apparatus | Oamroh | * | 20130400484VGI | 1 |  | 1 | 650 | 650
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | BP apparatus | Novaphon | * | 231549 |  | 1 | 1 | 650 | 650
# | # | BP apparatus | Pagoda | * | 247209 |  | 1 | 1 | 650 | 650
# | # | Adult weighing m/c | Healtho meter | * | * | 1 |  | 1 | 2500 | 2500
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Nebulizer | Vats medical health care | Vmo8 | * | 1 |  | 1 | 6500 | 6500
# | # | Domestic refri. | Samsung | * | * | 1 |  | 1 | 15000 | 15000
# | # | Suction m/c | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Glucometer | Accu check | * | Gco1634231 | 1 |  | 1 | 1200 | 1200
# | # | Glucometer | Romo check | * | 303N00012C4 | 1 |  | 1 | 1200 | 1200
# | # | ECG m/c | BPL | * | Cgmjom 12821 | 1 |  | 1 | 52000 | 52000
# | # | Otoscope | Heine | * | * | 1 |  | 1 | 45000 | 45000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 142050
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 9943.5

## PHC SPIHOW
Name of Consultant :- | [6 empty] | Date:- |  | 13/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SPIHOW
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Adult weighing m/c | Kurups | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant weighing m/c | Tanita | * | * | 1 |  | 1 | 2500 | 2500
# | # | ILR | Vest frost | * | * | 1 |  | 1 | 250000 | 250000
# | # | Deep freezer | Vest frost | * | * | 1 |  | 1 | 250000 | 250000
# | # | Needle cutter | Met | * | * | 1 |  | 1 | 1200 | 1200
# | # | BP aapparatus | Pagoda | 492203 | * | 1 |  | 1 | 650 | 650
# | # | Glucometer | * | * | * | 1 |  | 1 | 1200 | 1200
# | # | X-raye m/c | Bharat electronics | * | 97373 | 1 |  | 1 | 450000 | 450000
# | # | Suction m/c | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | needle cutter(2) | Sapna | * | * | 1 |  | 1 | 1200 | 1200
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Dental chair | Confident | * | * | 1 |  | 1 | 150000 | 150000
# | # | Dental x-raye | Medico imaging com. | * | * | 1 |  | 1 | 450000 | 450000
# | # | Labour table | * | * | * | 1 |  | 1 | 14000 | 14000
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Infant weighing m/c | Swisser | * | * | 1 |  | 1 | 2500 | 2500
# | # | Photatherpy bulb type | * | * | * | 1 |  | 1 | 15500 | 15500
# | # | Needle cutter | Life care | * | * | 1 |  | 1 | 1200 | 1200
# | # | BP aapparatus lcd | Shivalik surgicals | BPDG034 | * | 1 |  | 1 | 1100 | 1100
# | # | BP apparatus | Omron | * | 20121207827VG | 1 |  | 1 | 650 | 650
# | # | Glucometer | Rennex medical | * | * | 1 |  | 1 | 1200 | 1200
# | # | Glucometer | Abbott | * | XCGP 194POA95 | 1 |  | 1 | 1200 | 1200
# | # | Needle cutter | Life care | * | * | 1 |  | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 22
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1614800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 113036

## PHC RIBBA
Name of Consultant :- | [6 empty] | Date:- |  | 13/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | PHC RIBBA
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | MCH | BP aapparatus | Pagoda | * | 293484 | 1 |  | 1 | 650 | 650
# |  | Adult weighing m/c | Kurups | * | * | 1 |  | 1 | 2500 | 2500
# |  | Needle cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# |  | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Domestic refri. | Samsung | * | * | 1 |  | 1 | 15000 | 15000
# |  | X-raye machine | Elpro | * | 20880 | 1 |  | 1 | 450000 | 450000
# |  | Dental chair | Gnatus | * | * | 1 |  | 1 | 150000 | 150000
# |  | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | Labour room | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Spot light | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Sucker m/c | Vikrant Industry | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle cutter |  | * | * | 1 |  | 1 | 1200 | 1200
# |  | Infant weighing m/c | Tanita | * | * | 1 |  | 1 | 2500 | 2500
# |  | Deep freezer | Vestfrost | * | 88151232 |  | 1 | 1 | 250000 | 250000
# |  | ILR | Vestfrost | * | 88431291 |  | 1 | 1 | 250000 | 250000
# |  | Deep freezer | Haier | * | B00580E0100BQ49R0127 |  | 1 | 1 | 250000 | 250000
# |  | BP aapparatus | Pagoda | * | 126307 |  | 1 | 1 | 650 | 650
# |  | BP aapparatus | Namatt | * | 17721 |  | 1 | 1 | 650 | 650
# |  | BP aapparatus | Pagoda | * | 89414 |  | 1 | 1 | 650 | 650
# |  | BP aapparatus | Pagoda | * | 136812 |  | 1 | 1 | 650 | 650
# |  | BP aapparatus | Pagoda | * | 189443 |  | 1 | 1 | 650 | 650
# |  | BP aapparatus | Elite | * | 189443 |  | 1 | 1 | 650 | 650
# |  | Glucometer | Accu check active | * | GC10048447 | 1 |  | 1 | 1200 | 1200
# |  | Glucometer | Rennex medical | * | 303N0001F9C | 1 |  | 1 | 1200 | 1200
# |  | Glucometer | Accu check active | * | GN21109997 | 1 |  | 1 | 1200 | 1200
# |  | Centrifuse | Remi | * | * |  | 1 | 1 | 6500 | 6500
# |  | Microscope bino. | Hemoptik | BG-9 | * |  | 1 | 1 | 30000 | 30000
# |  | Microscope mono. | Olympus | * | R5908 |  | 1 | 1 | 18500 | 18500
# |  | Incubator | Anupam udyog | * | * |  | 1 | 1 | 375000 | 375000
# |  | Microscope bino. | Radical | RMH-4B | 35951 | 1 |  | 1 | 30000 | 30000
# |  | Microscope bino. | Quasmo | Fine vision | 3782 | 1 |  | 1 | 30000 | 30000
# |  | Microscope bino. | MLW | * | * | 1 |  | 1 | 30000 | 30000
# |  | BP aapparatus | Pagoda | * | 288843 |  | 1 | 1 | 650 | 650
# |  | BP aapparatus | Microlife | * | 90102073 |  | 1 | 1 | 650 | 650
# |  | BP aapparatus | Defeet unique | * | 7373 |  | 1 | 1 | 650 | 650
# |  | BP aapparatus | Pagoda | * | 247022 |  | 1 | 1 | 650 | 650
# |  | BP aapparatus digital | Omroh | * | * | 1 |  | 1 | 1100 | 1100
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 37
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1944800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 136136

## CHC BHABA NAGAR
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-08
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | CHC BHABA NAGAR
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | MCH | Needle cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Infant weighing m/c | * | * | * | 1 |  | 1 | 2500 | 2500
# |  | BP aapparatus | Omron | Hem 7200 | 20121207823VG | 1 |  | 1 | 650 | 650
# |  | Adult weighing m/c | Healtho meter | * | * | 1 |  | 1 | 2500 | 2500
# | Injecation Room | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle cutter | * | * | * |  | 1 | 1 | 1200 | 1200
# | Lab | Trans asia analyser | * | Chem-7 | N111068 | 1 |  | 1 | 200000 | 200000
# |  | centrifuse | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Microscope bino. | Labomed | Vision2000 | 785 | 1 |  | 1 | 30000 | 30000
# |  | Incubator | * | * | * | 1 |  | 1 | 375000 | 375000
# |  | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | Domestic refrige. | Samsung | * | * | 1 |  | 1 | 15000 | 15000
# | X-Ray Room | X-raye m/c | Elpro | * | 2186 | 1 |  | 1 | 450000 | 450000
# |  | Ecg m/c | RMS | Vesta 301 | V30K1211 | 1 |  | 1 | 52000 | 52000
# | Labour Room | Labour table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Sucker m/c | Anand surgical | Surgix | * | 1 |  | 1 | 6500 | 6500
# |  | O2 conn. | * | * | * |  | 1 | 1 | 45000 | 45000
# |  | INfant warmer | Bird medifed | Innova | BM/RWO/187/061314 | 1 |  | 1 | 38000 | 38000
# |  | Adult weighing m/c | Suvarna | * | * | 1 |  | 1 | 2500 | 2500
# |  | Infant weighing m/c | Swisser | * | * | 1 |  | 1 | 2500 | 2500
# |  | Spot light | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | BP aapparatus | Gold supreme | * | 98123634 | 1 |  | 1 | 650 | 650
# |  | BP aapparatus | Extra care | * | * |  | 1 | 1 | 650 | 650
# | OT-Room | Operation table | * | * | * | 1 |  | 1 | 45000 | 45000
# | Store | BP aapparatus | * | * | * |  | 1 | 1 | 650 | 650
# |  | Spot light | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Nebulizer | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Patient monitor | Nidex | Hori30N | * | 1 |  | 1 | 80000 | 80000
# |  | Manual suction | * | * | * |  |  | 1 | 6500 | 6500
# |  | Nebulizer | Flaem nvova | * | 161766/L5 | 1 |  | 1 | 6500 | 6500
# | Male ward | O2 conn. | BPL | * | AXTE1M7227 | 1 |  | 1 | 45000 | 45000
# | OPD | BP aapparatus | Supreme surgical | Yald supreme | 98122184 | 1 |  | 1 | 650 | 650
# |  | Domestic refrige. | Whirpool | * | * | 1 |  | 1 | 15000 | 15000
# |  | Deep freezer | Unicef | * | 90405470 | 1 |  | 1 | 250000 | 250000
# |  | ILR | Unicef | * | Z41-21360 | 1 |  | 1 | 250000 | 250000
# |  | Domestic refrige. | Allwyn | * | * |  | 1 | 1 | 15000 | 15000
# |  | Deep freezer(2) ILR | Unicef | * | * |  | 1 | 1 | 250000 | 250000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 37
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 2243150
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 157020.5

## PHC KATGAON
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KATGAON
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus digital | Dr.morpen | * | 2111124002210 | 1 |  | 1 | 1100 | 1100
# | # | Adult weighing m/c | Healthro metre | * | * | 1 |  | 1 | 2500 | 2500
# | # | Dental chair | Besto dent | * | * | 1 |  | 1 | 150000 | 150000
# | # | Dental x-raye | Ardent | 700DX | * | 1 |  | 1 | 450000 | 450000
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Centrifuse | Remi | * | * | 1 |  | 1 | 6500 | 6500
# | # | ILR | Unicef | * | 90503366 | 1 |  | 1 | 250000 | 250000
# | # | ILR | Unicef | * | 91006139 | 1 |  | 1 | 250000 | 250000
# | # | Adult weighing m/c | Suvarna | * | * | 1 |  | 1 | 2500 | 2500
# | # | BP apparatus | Pagoda | * | 202763 | 1 |  | 1 | 650 | 650
# | # | Adult weighing m/c | Krups | * | * | 1 |  | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1121150
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 78480.5

## CHC NICHAR
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | CHC NICHAR
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP aapparatus | Pagoda | * | 28573 | 1 |  | 1 | 650 | 650
# | # | Spot light | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Infant weighing m/c | Braun | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant weighing m/c | Swisser | * | * | 1 |  | 1 | 2500 | 2500
# | # | Nebulizer | Mrk health care | NUNEB | PCB31528 | 1 |  | 1 | 6500 | 6500
# | # | Infant warmer | Zed medical | * | * | 1 |  | 1 | 38000 | 38000
# | # | Sucker m/c | Anand medical | * | * | 1 |  | 1 | 6500 | 6500
# | # | Labour table(2) | * | * | * | 1 |  | 1 | 14000 | 14000
# | # | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | ILR | Haiert | * | * | 1 |  | 1 | 250000 | 250000
# | # | Deep freezer | Unicef | * | * | 1 |  | 1 | 250000 | 250000
# | # | Dental chair | * | * | * |  | 1 | 1 | 150000 | 150000
# | # | ILR | Vestfrost | * | * |  | 1 | 1 | 250000 | 250000
# | # | ILR | Vestfrost | * | * |  | 1 | 1 | 250000 | 250000
# | # | Dental chair | Indian | * | * | 1 |  | 1 | 150000 | 150000
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Autoclave manual | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle cutter | * | * | * |  | 1 | 1 | 1200 | 1200
# | # | Needle cutter | * | * | * |  | 1 | 1 | 1200 | 1200
# | # | Bio chemistry analyser | OBA3E | OB100 | JN1409100009 | 1 |  | 1 | 200000 | 200000
# | # | Centrifuse | Remi | * | * | 1 |  | 1 | 6500 | 6500
# | # | Oven | Anupam udyog | * | * |  | 1 | 1 | 4500 | 4500
# | # | Inccubator | Labtronics | LT42 | * | 1 |  | 1 | 375000 | 375000
# | # | Phototherpy | Zed medical | * | * | 1 |  | 1 | 15500 | 15500
# | # | Doppler | Comin | FD-200D | FD2D140202805 | 1 |  | 1 | 80000 | 80000
# | # | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# | # | O2 conn. | BPL | * | AXTIM7224 | 1 |  | 1 | 45000 | 45000
# | # | ECG m/c | Recorders medicare system | Vesta301i | V301C1211688 | 1 |  | 1 | 52000 | 52000
# | # | X-raye m/c | GE Elpro medical system | * | 1673 |  | 1 | 1 | 450000 | 450000
# | # | Dental x-raye | Gomax | 10DRS | * | 1 |  | 1 | 450000 | 450000
# | # | BP aapparatus digital | Citizen system japan co.ltd | * | * | 1 |  | 1 | 1100 | 1100
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 31
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3140200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 219814

## PHC URNI
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC URNI
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | BP aapparatus | Gene | * | * | 1 |  | 1 | 650 | 650
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle cutter |  | * | * | 1 |  | 1 | 1200 | 1200
# | # | Aceu check | Microgene | 4255110230007710 | * | 1 |  | 1 | 1200 | 1200
# | # | Domestic refri. | Samsung | * | * | 1 |  | 1 | 15000 | 15000
# | # | Infant weighing m/c | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | Aceu check | Microgene | 42551102600068GE | * | 1 |  | 1 | 1200 | 1200
# | # | Acecu check | Microgene | 4255110190035220 | * | 1 |  | 1 | 1200 | 1200
# | # | Acecu check | Microgene | 4255110190029460 | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave (2) | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | needle cutter(2) | * | * | * | 1 |  | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 92850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 6499.5

## phc rupi
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC RUPI
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus | Doctor | * | * | 1 |  | 1 | 650 | 650
# | # | BP apparatus | Gold spre | * | 98122174 | 1 |  | 1 | 650 | 650
# | # | Infant weighing m/c | Ranitia | 1380 | * | 1 |  | 1 | 2500 | 2500
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Microscope binocular | Magnus | * | 515976 |  | 1 | 1 | 30000 | 30000
# | # | Domestic refri. | Samsung | * | * |  | 1 | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 5
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 50650
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 3545.5

## PHC TAPRI
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TAPRI
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | ILR | Unicef | * | * | 1 |  | 1 | 250000 | 250000
# | # | Deep freezer | * | * | 44713115 | 1 |  | 1 | 250000 | 250000
# | # | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# | # | Infant weighing m/c | Tanita | * | * | 1 |  | 1 | 2500 | 2500
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Dental chair | Confident | * | * | 1 |  | 1 | 150000 | 150000
# | # | Autoclave cooker type | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Spot light | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | Sterilizer(2) | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | BP instrument | Dr.YES | * | * | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 738850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 51719.5

## PHC KILBA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-11
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KILBA
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus | Pagoda | * | CM/L 0896172 | 1 |  | 1 | 650 | 650
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant weighing m/c | Tanita | * | * | 1 |  | 1 | 2500 | 2500
# | # | ILR | Vestfrost | MK-144 | 91209536 | 1 |  | 1 | 250000 | 250000
# | # | ILR | Vestfrost | MK-144 | 85001075 | 1 |  | 1 | 250000 | 250000
# | # | Sucker m/c | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Maunual suction m/c | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle cutter | Mediguard | * | * | 1 |  | 1 | 1200 | 1200
# | # | Spot light | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle cutter | MCAP | * | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Labour table | * | * | * | 1 |  | 1 | 14000 | 14000
# | # | Adult weighing m/c | Healtho meter | * | * | 1 |  | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 13
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 614900
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 43043

## PHC RAKCHHAM
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-11
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC RAKCHHAM
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus | Accusure | * | 28111307 | 1 |  | 1 | 650 | 650
# | # | Adult weighing m/c | Healthro meter | * | * | 1 |  | 1 | 2500 | 2500
# | # | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | ILR | Dules salar | * | 1525-089 | 1 |  | 1 | 250000 | 250000
# | # | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# | # | Domestic refri. | LG | * | * | 1 |  | 1 | 15000 | 15000
# | # | BP apparatus | Diamond | * | 17957 |  | 1 | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 6
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 275850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 19309.5

## PHC MIRU
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-11
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC MIRU
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus | Alpha 2 | * | * | 1 |  | 1 | 650 | 650
# | # | BP apparatus | Pagoda | * | 896172 |  | 1 | 1 | 650 | 650
# | # | BP apparatus digital | Omron | * | 201302100483VGI | 1 |  | 1 | 1100 | 1100
# | # | Nebulizer | Microgen | * | * | 1 |  | 1 | 6500 | 6500
# | # | ECG | RMS | * | V301C0712160 | 1 |  | 1 | 52000 | 52000
# | # | Needle cutter | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 136750
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 9572.5

## CHC SAPNI
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-11
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SAPNI
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Adult weighing (2) | Healthro meter | * | * | 1 | 1 | 1 | 2500 | 2500
# | # | Infant weighing m/c | Roman industry | * | * | 1 |  | 1 | 2500 | 2500
# | # | bp apparatus digital | Omron | * | * | 1 |  | 1 | 1100 | 1100
# | # | Needle cutter | MCP | * | * | 1 |  | 1 | 1200 | 1200
# | # | Sterilizer(2) | * | * | * | 1 | 1 | 1 | 6500 | 6500
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | ECG m/c | Cardiac | 408 | * | 1 |  | 1 | 52000 | 52000
# | # | Glucometer | Robonic | * | * | 1 |  | 1 | 1200 | 1200
# | # | Sucker machine | Vikrant industry | Santus | 8112556 instation date | 1 |  | 1 | 6500 | 6500
# | # | O2 conn. | SOC | MOX26B | * | 1 |  | 1 | 45000 | 45000
# | # | Labour table | * | * | * | 1 |  | 1 | 14000 | 14000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 195000
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 13650

## CHC SANGLA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-11
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC SANGLA
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP aapparatus st | Meditech | * | 15F0144 | 1 |  | 1 | 1100 | 1100
# | # | Adult weighing m/c | Healthro plus | * | * | 1 |  | 1 | 2500 | 2500
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# | # | Needle cutter | * | * | * |  | 1 | 1 | 1200 | 1200
# | # | Domestic refri. | LG | * | * | 1 |  | 1 | 15000 | 15000
# | # | Oven | Anupam udyog | * | * | 1 |  | 1 | 4500 | 4500
# | # | Incubator | * | * | * |  | 1 | 1 | 375000 | 375000
# | # | Bacterial incubator | * | * | * | 1 |  | 1 | 375000 | 375000
# | # | Centrifuse | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Analyzer | OBA3C | OB100 | JN1409100005 | 1 |  | 1 | 200000 | 200000
# | # | Rotator | Indian | * | * | 1 |  | 1 | 4500 | 4500
# | # | Microscope bino. | MLU | * | 18934 | 1 |  | 1 | 30000 | 30000
# | # | Microscope bino. | AJX/optic | * | 9024463 |  | 1 | 1 | 30000 | 30000
# | # | Microscope mono. | * | * | * |  | 1 | 1 | 18500 | 18500
# | # | Microscope mono. | PZ0 | * | 13602 |  | 1 | 1 | 18500 | 18500
# | # | Microscope bino. | Fine vision | * | * |  | 1 | 1 | 30000 | 30000
# | # | Centrifuse | Remi | R4C | * |  | 1 | 1 | 6500 | 6500
# | # | Water bath | * | * | * | 1 |  | 1 | 4500 | 4500
# | # | Ultra sound m/c | Medison co. ltd | * | * | 1 |  | 1 | 450000 | 450000
# | # | Adult weighing m/c | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant weighing dig. | Swisser | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# | # | BP aapparatus | Vats medical | VM-44 | 13096945 | 1 |  | 1 | 650 | 650
# | # | Spot light | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Autoclave | Sona autoclave | * | * | 1 |  | 1 | 65000 | 65000
# | # | O2 conn. | Respronic | Ever flo 10 | * | 1 |  | 1 | 45000 | 45000
# | # | Infant weighing | Swisser | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant warmer | Zed medical | * | RWPMS1/304/88 | 1 |  | 1 | 38000 | 38000
# | # | Doppler | LCP | * | * | 1 |  | 1 | 80000 | 80000
# | # | Sucker m/c | Vikrant ins. | * | * | 1 |  | 1 | 6500 | 6500
# | # | Manual suction m/c | VACU | * | * | 1 |  | 1 | 6500 | 6500
# | # | Labour table | * | * | * | 1 |  | 1 | 14000 | 14000
# | # | BP apparatus | Meditech | * | 15M0152 | 1 |  | 1 | 650 | 650
# | # | ILR | Vestfrost | MK144 | 90411679 | 1 |  | 1 | 250000 | 250000
# | # | Deep freezer | Vestfrost | * | * | 1 |  | 1 | 250000 | 250000
# | # | Deep freezer | Vestfrost | * | * |  | 1 | 1 | 250000 | 250000
# | # | Deep freezer | Unicef | * | * |  | 1 | 1 | 250000 | 250000
# | # | O2 conn. | BPL | OG4203 | AXTE2G8960 | 1 |  | 1 | 45000 | 45000
# | # | Nebulizer | Philiphs | * | 373062 | 1 |  | 1 | 6500 | 6500
# | # | Nebulizer | OLEX NEB | KYW1002 | 2011.03 | 1 |  | 1 | 6500 | 6500
# | # | ECG m/c | Maestros mediline sys. | MRX12 | 1304128048 | 1 |  | 1 | 52000 | 52000
# | # | ECG m/c | RMS India | RMS Vesta 3012 | V301C0612148 | 1 |  | 1 | 52000 | 52000
# | # | Dental chair (2) | Confident dental equip. | * | * | 1 |  | 1 | 150000 | 150000
# | # | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | X-raye m/c | Bharat elect. | Elpro | E1406 | 1 |  | 1 | 450000 | 450000
# | # | Dental x-raye m/c | Meditronics | * | * | 1 |  | 1 | 450000 | 450000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 47
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 4076400
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 285348

## RH REKONG PEO
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-12
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | RH Rekong peo
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | EYE OPD | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Opthalmic Yag | Nidex | YC-1600 | * | 1 |  | 1 | 15500 | 15500
# | Medical OPD | BP aappartus | Pagoda | * | CM/L 0896172 | 1 |  | 1 | 650 | 650
# | X-Ray | X-raye m/c | Allengers | * | E99029 | 1 |  | 1 | 450000 | 450000
# |  | Dental x-raye m/c | Dentalfast inter | * | * |  | 1 | 1 | 450000 | 450000
# |  | ECG m/c | RMS | VESTA 301I | T301A1502032 | 1 |  | 1 | 52000 | 52000
# |  | ECG m/c | BPL | * | BGTA8B3506 |  | 1 | 1 | 52000 | 52000
# |  | ECG m/c | BPL | * | BGTA6G2455 |  | 1 | 1 | 52000 | 52000
# |  | ECG m/c | Mestros mediline sys. | MRX-12 | 1304128-050 |  | 1 | 1 | 52000 | 52000
# |  | ECG m/c | Mestros mediline sys. | MRX-12 | 1304128-49 |  | 1 | 1 | 52000 | 52000
# |  | ECG m/c | Mestros mediline sys. | MRX-12 | 1304128-041 |  | 1 | 1 | 52000 | 52000
# |  | BP aappartus(15) | Pagoda | * | * |  | 1 | 1 | 650 | 650
# |  | BP aappartus (5) | Prolix | * | * |  | 1 | 1 | 650 | 650
# |  | Bpaappartus(5) | Supreme surgical | * | * |  | 1 | 1 | 650 | 650
# |  | Adult weighing m/c | Supreme surgical | * | * |  | 1 | 1 | 2500 | 2500
# | LAB | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Shhaker | Sentcuin | * | * | 1 |  | 1 | 4500 | 4500
# |  | Centrifuse | Remi | * | * | 1 |  | 1 | 6500 | 6500
# |  | Erba chemistry analyser | Chem-7 | 70708 | * |  | 1 | 1 | 200000 | 200000
# |  | SA chemistry analyser | Ocean mediacal tech. | Pace plus | OMTO71101011 |  | 1 | 1 | 200000 | 200000
# |  | Incubator | Ambassador | * | * | 1 |  | 1 | 375000 | 375000
# |  | Domestic refrigerator | Godrej | * | * | 1 |  | 1 | 15000 | 15000
# |  | Microscope bino. | Labomed | Vision 2000 | 4668 | 1 |  | 1 | 30000 | 30000
# | USG | Ultrasound m/c | Siemens ALUSON 52000 | Helx | * | 1 |  | 1 | 450000 | 450000
# | General OPD | BP aapparatus | Mehak | DXJ-210 | * | 1 |  | 1 | 650 | 650
# |  | BP aapparatus | Extra care | * | * | 1 |  | 1 | 650 | 650
# |  | Adult weighing m/c | * | * | * |  |  | 1 | 2500 | 2500
# |  | Adult weighing m/c | Suvarna | * | * |  | 1 | 1 | 2500 | 2500
# |  | BP aapparatus | * | DXJ-210 | * | 1 |  | 1 | 650 | 650
# | Dressing Injection | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Sucker m/c | Surgical vac | * | * | 1 |  | 1 | 6500 | 6500
# |  | Infant weighing m/c | Tanita | * | * | 1 |  | 1 | 2500 | 2500
# |  | BP aapparatus | Pagoda | * | 896172 | 1 |  | 1 | 650 | 650
# | # | Phisiotherpy aapparatus | * | IMI2677 | 240214 | 1 |  | 1 | 15500 | 15500
# | # | Diathermy | India medico Ins. | * | * | 1 |  | 1 | 650000 | 650000
# | # | Traction m/c | Akay hi trac unit | IMI 2725 | * | 1 |  | 1 | 350000 | 350000
# | # | Phisiotherpy | Physio care | * | PCI 14012895 | 1 |  | 1 | 15500 | 15500
# | OT | Cardiac moniter | Vica medica s.a | * | 1000-04C-0125 |  | 1 | 1 | 80000 | 80000
# |  | Cardiac moniter(ultra veiw) | Space labs medical | 91387 | 1387-108469 | 1 |  | 1 | 80000 | 80000
# |  | Ceiling light(2) | * | * | * | 1 |  | 1 | 150000 | 150000
# |  | Operation table (2) | * | * | * | 1 |  | 1 | 45000 | 45000
# |  | Ventilator | Ohmeda | * | 1502-8000-000 | 1 |  | 1 | 600000 | 600000
# |  | Inafnt warmer | Meditech | Bird | * | 1 |  | 1 | 38000 | 38000
# |  | Lepro m/c | Cabot medical corporation. | * | 7A2635 | 1 |  | 1 | 45000 | 45000
# |  | O2 conn. | Air sep | New life | 932941 | 1 |  | 1 | 45000 | 45000
# |  | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Infant warmer | Meditrin instroments | * | * |  | 1 | 1 | 38000 | 38000
# | OT | ENT microscope | Zeiss medilife | * | 6627104472 | 1 |  | 1 | 150000 | 150000
# |  | EYE microscope | * | * | * | 1 |  | 1 | 150000 | 150000
# |  | EYE microscope | Arvind engg.industry | * | * | 1 |  | 1 | 150000 | 150000
# |  | Slit lamp | * | * | * |  | 1 | 1 | 13000 | 13000
# |  | Operating microscope | Gardian oplineinc | 376p2 | 19329 |  |  | 1 | 150000 | 150000
# |  | Karato meter | kerotometer super | KM56 | * | 1 |  | 1 | 45000 | 45000
# |  | A-scan | Biomediex | * | * | 1 |  | 1 | 450000 | 450000
# |  | Operating microscope | Gardian opline | * | 17641 | 1 |  | 1 | 150000 | 150000
# |  | Sucker m/c | Mass biomedical | * | * | 1 |  | 1 | 6500 | 6500
# |  | Spot light | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | labour atble | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Pulse oxymeter | Ohmeda | * | LR87853 | 1 |  | 1 | 55000 | 55000
# |  | Operation table (2) | * | * | * | 1 |  | 1 | 45000 | 45000
# |  | BP apparatus | Doctor | * | * | 1 |  | 1 | 650 | 650
# |  | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | Autoclave horizental | Yorco scientific udyog | * | * | 1 |  | 1 | 55000 | 55000
# |  | Autoclave vertical | Indfas | * | 493924 |  | 1 | 1 | 65000 | 65000
# |  | Cautry m/c | L&T | Mestro plus 100 | E11B0025 | 1 |  | 1 | 160000 | 160000
# |  | Autoclave vertical | * | * | * | 1 |  | 1 | 65000 | 65000
# |  | Suction m/c | HI-VAC | 766693 | * |  | 1 | 1 | 6500 | 6500
# |  | Sterilizer(6) | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | SPot light((2) | * | * | * |  | 1 | 1 | 6500 | 6500
# | Labour Room | Infant warmer | Meditech | IN Nova | BM/RW/288/08/1314 |  |  | 1 | 38000 | 38000
# |  | Infant warmer | Meditech | IN Nova | BM/RW/287/08/1314 | 1 |  | 1 | 38000 | 38000
# |  | photo therapy | Meditech | CFL | BM/CPT/98/071314 | 1 |  | 1 | 15500 | 15500
# |  | photo therapy | Zeal medical | * | PTPMD1/304/47 | 1 |  | 1 | 15500 | 15500
# |  | photo therapy | Zeal medical | * | PTPMD1/304/47 | 1 |  | 1 | 15500 | 15500
# | Indoor | O2 conn. | Medoxy | Jay-5 | NZJ513686 | 1 |  | 1 | 45000 | 45000
# |  | Incubator | Mkow | * | * |  | 1 | 1 | 375000 | 375000
# |  | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | Prolix bp apparatus | Meditech Industries | * | 14M0253 | 1 |  | 1 | 1100 | 1100
# |  | Suction m/c | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Patient moniter | Nidex | * | 9K0113080277 | 1 |  | 1 | 80000 | 80000
# |  | Ventilator | Hamilton medical | Amadeus | * | 1 |  | 1 | 600000 | 600000
# |  | Defibrilator | HP | Code master | * | 1 |  | 1 | 170000 | 170000
# |  | Patient moniter | Vica medica s.a | Apollon | 10000400124 | 1 |  | 1 | 80000 | 80000
# |  | ECG m/c | RMS | 12 LS | * | 1 |  | 1 | 52000 | 52000
# |  | Infusion pump | Hansraj laxmi industry | FA313 | 201906 | 1 |  | 1 | 40000 | 40000
# |  | Nebulizer(2) | * | * | * | 1 | 1 | 1 | 6500 | 6500
# | Blood bank | Blood bank refrigerator (2) | Haier | HXC-608 | * | 1 |  | 1 | 250000 | 250000
# |  | Blood bank refrigerator (2) | Jewett | BBR25 | * | 1 |  | 1 | 250000 | 250000
# |  | Adult weighing m/c | Healthro meter | * | * | 1 |  | 1 | 2500 | 2500
# |  | Centrifuse | Remi | R-8C | * | 1 |  | 1 | 6500 | 6500
# |  | Water bath | Vikrant scientific wave | * | * | 1 |  | 1 | 4500 | 4500
# |  | Centrifuse | Remi | R-4C | * | 1 |  | 1 | 6500 | 6500
# |  | Water bath | Remi | * | * |  |  | 1 | 4500 | 4500
# |  | Needle cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Microscope bino. | Quasmo | PZB22 | 58866 | 1 |  | 1 | 30000 | 30000
# |  | Hot air oven(IDSD) | * | * | * | 1 |  | 1 | 4500 | 4500
# |  | Deep freezer(6) | Blue star | * | * | 1 |  | 1 | 250000 | 250000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 98
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 9219250
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 645347.5

## PHC KALPA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-12
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KALPA
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | MCH | Needle cutter | Lifecare | * | * | 1 |  | 1 | 1200 | 1200
# |  | ILR Salar | Dulas salar | VCI150FV | 1579-018 | 1 |  | 1 | 250000 | 250000
# |  | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | BP apparatus | Omron | EE0197 | 20110901921VG | 1 |  | 1 | 650 | 650
# |  | Adult weighing m/c | Healthro meter | * | * | 1 |  | 1 | 2500 | 2500
# |  | Infant weighing m/c | Tanta | * | * | 1 |  | 1 | 2500 | 2500
# |  | Needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | Autoclave | * | * | * |  | 1 | 1 | 65000 | 65000
# |  | BP apparatus(2) | Pagoda | * | 291459 |  | 1 | 1 | 650 | 650
# |  | BP apparatus | Deluxe | * | 99100708 |  | 1 | 1 | 650 | 650
# |  | BP apparatus | Deluxe | * | 99100708 |  | 1 | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 330300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 23121

## CH CHANGO
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-17
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CH CHANGO
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Nebulizer | Dr.morpen | CN:06 | 411202 | 1 |  | 1 | 6500 | 6500
# | # | Needle cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | BP apparatus | Him | * | * | 1 |  | 1 | 650 | 650
# | # | Infant weighing m/c | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | Adult weighing m/c | Kohinoor | * | * | 1 |  | 1 | 2500 | 2500
# | # | Deep freezer | Vestfrost | 131 | 88431387 |  | 1 | 1 | 250000 | 250000
# | # | ILR | Vestfrost | MK144 | 90411692 | 1 |  | 1 | 250000 | 250000
# | # | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | X-raye m/c | Allengers | * | * | 1 |  | 1 | 450000 | 450000
# | # | Dental chair | Confident | * | * | 1 |  | 1 | 150000 | 150000
# | # | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | Labour table | * | * | * | 1 |  | 1 | 14000 | 14000
# | # | Suction m/c | Medisearch sys. | * | * | 1 |  | 1 | 6500 | 6500
# | # | Suction m/c | Indian | * | * |  | 1 | 1 | 6500 | 6500
# | # | Infant weighing m/c | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | Autoclave | * | * | * |  | 1 | 1 | 65000 | 65000
# | # | Deep freezer ILR | * | * | * | 1 |  | 1 | 250000 | 250000
# | # | Glucometer | ACCU-Chek | * | 55308339868 |  | 1 | 1 | 1200 | 1200
# | # | Glucometer | Rennex medical | Romo-chek | 303N0001 | 1 |  | 1 | 1200 | 1200
# | # | BP apparatus digital | Dr.morpen | Bp one | 546 | 1 |  | 1 | 1100 | 1100
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 20
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1474350
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 103204.5

## PHC TANGLING
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-18
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TANGLING
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | BP apparatus (4) | * | * | * |  | 1 | 1 | 650 | 650
# | # | Adult weighing m/c | Healtho metre | * | * | 1 |  | 1 | 2500 | 2500
# | # | Adult weighing m/c | MCP | * | * |  | 1 | 1 | 2500 | 2500
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 4
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 70650
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 4945.5

## PHC BARA KHAMBA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-18
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BARA-KHAMBA
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus | Omro | Hem-7200 | 20130400441VGL | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 1
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 650
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 45.5