## GH
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- G.H Name of the Facility-LNJP Hosspital
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | eye dept. | Phaco machine | 1 | OERTLI (TOSHBRO MEDICALS Ltd.) | SWISS TECH (CATHAREX) | 39600027 | 23/4/2010 | 0 | NA | 1 | 2015-05-15 | W
2 |  | Operating Microscope | 3 | MOLLER WEDEL | MICROFLEX-FFS1-12 | 544 | 23/4/2010 | 0 | NA | 1 | 2015-05-15 | W
3 |  |  |  | CARL Zeiss | OPMI 1FR PRO | 101512 | 23/06/2014 | 1 | 22/06/2016 | 0 | NA | W
4 |  |  |  | GUARDIAN | GRA-376 |  | 2003-07-05 | 0 | NA | 0 | NA | W
5 |  | Slit Lamp | 2 | OHIRA | SL102 | SI-021461 | 14/12/2001 | 0 | NA | 0 | NA |  | NW
6 |  |  |  | CSO | SL009-5X | 10070073 | 27/8/2010 | 0 | NA | 1 | 2015-05-15 |  | NW
7 |  | Keratometer | 2 | APPASAMY | KMS-6 | 610304026 | 2004-06-05 | 0 | NA | 0 | NA | W
8 |  |  |  | JAGGI | NA | NA | 14/12/01 | 0 | NA | 0 | NA | W
9 |  | A-Scan | 2 | BIOMEDIX | ECHORULE | 210202 | 25/4/2003 | 0 | NA | 0 | NA | W
10 |  |  |  | DGH Technologies | DGH3000b | 2247 | 27/8/2010 | 0 | NA | 0 | NA | W
11 |  | Autorefarctometer | 1 | RYUSYO | ACCUREF8001 | 46AE1953 | 30/6/2006 | 0 | NA | 0 | NA | W
12 |  | Opthalmic Chair | 1 | DEEPAK ENTERPRISES | DED785 | 1003 | 18/5/2006 | 0 | NA | 0 | NA | W
13 |  | Opthalmoscope (Direct) | 2 | Riester | 650 | NA | NA | 0 | NA | 0 | NA |  | NW
14 |  |  |  | HEINE | B-200 | NA | 2001-09-08 | 0 | NA | 0 | NA | W
15 |  | Opthalmoscope (Indirect) | 1 | ARMSTRONG |  | NA | NA | 0 | NA | 0 | NA |  | NW
16 |  | Retinoscope | 1 | Riester (germany) | RI-SCOPE | NA | 17/9/2003 | 0 | NA | 0 | NA | W
17 |  | Refrigerator | 1 | HAIER | 211EC | NA | 15/1/2010 | 0 | NA | 0 | NA | W
18 | SNCU Dept | Radient Warmer | 7 | Nice neo tech | 2007S | 14150600,67,64,69 | 24/09/2014 | 1 | 23/09./2016 | 0 | NA | 4w
19 |  |  |  | Meditrin | NA | NA | NA | 0 | NA | 0 | NA |  | 3NW
20 |  | Open care system | 16 | 07 ( PHONIX ) | NRC-100 | TU-060,61,62,57,59,58 | 2013-03-01 | 0 | NA | 1 | FEB-16 | W
21 |  |  |  | 09 Nice neo tech | 2010 B | 141506001443,4446,40,47,84,42,48,49 | 24/09/2014 | 1 | 23/09./2016 |  | NA | W
22 |  | Syringe pump | 8 | SCIILER INDIA | SP-300 | 11113110-31117 | 13/2/2012 | 0 | NA | 1 | FEB-16 | W
23 |  | Foot Operated Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 |  | W
24 |  | patient moniter | 8 | MINDERY | MEC--2000 | cv21107564-cv21107571 | 28/05/2012 | 0 | NA | 1 | Nov-15 | W
25 |  | Serium Billirubino mter | 1 | Drager | JM-103 | 3204573 | 17/09/2013 | 0 | NA | 0 | NA | W
26 |  | photo therapy Unit | 2 | MEDICAID |  |  | 14/1/2010 | 0 | NA | 0 | NA | W
27 |  |  | 4 | S.S TECHNOMED | NA | NA | NA | 0 | NA | 0 | NA | W
28 |  | Incubator | 1 | medical system & services | NA | NA | NA | 0 | NA | 0 | NA | W
29 |  | Suction Machine electric | 2 | NA | NA | NA | 14/1/2010 | 0 | NA | 0 | NA | W
30 |  | baby weighing machine | 1 | equinox | BEEQ44 |  | 14/1/2010 | 0 | NA | 0 | NA | W
31 |  | Digital Weighing scale | 1 | Yarco | NA | NA | NA | 0 | NA | 0 | NA | W
32 |  | Weighing Machine | 3 |  | NA | NA | NA | 0 | NA | 0 | NA | W
33 |  | Billiblanket Meter | 1 | Ge Healthcare | Billiblanket Meter | 40003764 | 2012-07-03 | 0 | NA | 0 | NA | W
34 |  | OXYGEN Concentrator | 2 | Taurus Health care Pvt Ltd | NA | NA |  | 0 | NA | 0 | NA | W
35 |  | Oxygen hood | 4 | Yarco | 1506 | 16-19 | NA | 0 | NA | 0 | NA | W
36 |  | 150 ma x-ary machine | 1 | allenger medical system | MARS-15 | 2k130115015 | 2013-01-02 | 0 | NA | 1 | NA | W
37 |  | Nebulizer | 2 | Yarco | 1510 | 10049421-22 | 2013-01-02 | 0 | NA | 0 | NA | W
38 |  | ROOM HEATER | 2 | bajaj | NA | NA | 14/1/10 | 0 | NA | 0 | NA | W
39 |  | ROOM WARMER Oil FILLED | 3 | NA | NA | NA |  | 0 | NA | 0 | NA | W
40 | O.T | Horizontal Steam Sterilizer | 3 | YORCO | NA | NA | NA | 0 | NA | 0 | NA | W
41 |  |  |  | YORCO | NA | NA | 2000-08-03 | 0 | NA | 0 | NA |  | NW
42 |  |  |  | MEDIQUIP | NA | NA | 18/5/1200 | 0 | NA | 0 | NA | W
43 |  | Suction Machine | 4 | ANAND HI-VAC | NA | NA | 29/7/2008 | 0 | NA | 0 | NA | W
44 |  |  |  | ANAND HI-VAC | NA | NA | 1995-09-02 | 0 | NA | 0 | NA | W
45 |  |  |  | ANAND HI-VAC | NA | NA | 1995-09-02 | 0 | NA | 0 | NA | W
46 |  |  |  | ELECTRIC OPTD. | NA | NA | 2009-03-03 | 0 | NA | 0 | NA | W
47 |  | Ceiling Light Major | 1 | PHILIPS | HE5190 | 1137 |  | 0 | NA | 0 | NA |  | NW
48 |  | Shadowless Light | 1 | MEDIQUIP | F195 | NA | 2009-04-03 | 0 | NA | 0 | NA |  | NW
49 |  | Boyle's Apparatus | 3 | DATEX OHMEDA | FLUOTEC 5 | NA | 2002-03-01 | 0 | NA | 0 | NA | W
50 |  |  |  | DATEX OHMEDA | NA | NA | 2009-04-03 | 0 | NA | 0 | NA | W
51 |  |  |  | DRAGER | PEDIUS C | 273 | 2008 | 0 | NA | 0 | NA |  | NW
52 |  | Electrosurgical Unit (Surgical diathermy) | 3 | Healosurg | MAJOR 500UB |  | 22/1/2007 | 0 | NA | 0 | NA |  | NW
53 |  |  |  | Surgitek | TRINITY DIV |  | 29/07/2011 | 0 | NA | 0 | NA | W
54 |  | Flesh Auto Clave | 1 | Bergen Healthcare | SA-260MA | 11110203004 | 9/2/2012 | 0 | NA | 0 | NA | W
55 |  | Foot Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
56 |  | Pulse Oximeter (finger tip) | 1 | ASPEN | NA | J088J3851 | 13/8/2009 | 0 | NA | 0 | NA | W
57 |  | Mobile Shadowless Lamp | 6 | MULTILUX, DELHI | DMS-20 | NA | 17/7/2006 | 0 | NA | 0 | NA | W
58 |  |  |  | SURGICOIN | CBF-4ART | 30/10/2009 | 30/10/2009 | 0 | NA | 0 | NA | W
59 |  | Fumigator | 1 | GOLEY | NA | NA | NA | 0 | NA | 0 | NA | W
60 |  |  |  | SAPNA | NA | NA | NA | 0 | NA | 0 | NA | W
61 |  | Baby weighing Machine | 1 | NA | 1380 | NA | NA | 0 | NA | 0 | NA | W
62 |  | Adult Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
63 |  | OT Table | 4 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
64 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
65 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
66 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W | NW
67 |  | Ortho Electrohydraulic Table | 1 | COGNATE (KHULLAR SURGICALS Ltd.) | SS-2000 |  | 23/7/2007 | 0 | NA | 0 | NA | W
68 |  | Pulse Oximeter | 3 | BIONICS | BPM-200 | 125IJ5034 | 2007-08-02 | 0 | NA | 0 | NA | W
69 |  |  |  | BIONICS | BPM-200 | 125IJ5029 | 2007-08-02 | 0 | NA | 0 | NA | W
70 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
71 |  | BIPHASIC DEFIBRILATOR | 1 | instrometix | bene Heart D6 | 42010597 | 20/03/2014 | 1 | March-16 | 0 | NA | W
72 |  | C-Arm | 1 | MEDITRONICS | SURGICO DHF | G9K117 | 2009-01-12 | 0 | NA | 1 | May-15 | W
73 | Labour Room | Warmer | 1 | NA | NA | NA | 1899-12-31 | 0 | NA | 0 | NA | W
74 |  | Suction Machine | 2 | NA | NA | NA | 22/10/09 | 0 | NA | 0 | NA | W
75 |  | mobile ot light | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
76 |  | Baby Weighing Machine | 1 | MOH & FW | NA | NA | 2009-01-07 | 0 | NA | 0 | NA | W
77 |  | Foetal Doppler | 6 | EVERGREEN | NA | NA |  | 0 | NA | 0 | NA | W
78 | Emergency | BP Apparatus | 1 | PAGODA ( ELITE MEDICAL INDUSTRIES) | CM/L-089162 | NA | NA | 0 | NA | 0 | NA | W
79 |  | CARDIC Moniter with Defibrillator | 1 | SCHILLER | DEFIGARD400 | J10B139 | 2010-07-07 | 0 | NA | 0 | NA | W
80 |  | Boiler | 1 | NA | NA | NA | 24/1/06 | 0 | NA | 0 | NA | W
81 |  | Suction Machine | 3 | NA | NA | NA | 27/7/08 | 0 | NA | 0 | NA | W
82 |  |  |  | NA | NA | NA | 15/10/09 | 0 | NA | 0 | NA | W
83 |  |  |  | NA | NA | NA |  | 0 | NA | 0 | NA | W
84 |  | Nebulizer | 2 | NA | READYMIST | 75002 | 2010-07-07 | 0 | NA | 0 | NA | W
85 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
86 |  | Needle Destoyer | 2 | MICROSIL |  |  |  | 0 | NA | 0 | NA | W
87 | Skin | ND YAG Laser | 1 | CANDELA (USA) | GENTLE YAG | 9914-9950-1874 | 26/7/07 | 0 | NA | 0 | NA |  | NW
88 | Laboratory | MICRO SCOPE MONOCULAR | 2 | RADICAL | RXL-4B | NA | 2006-09-02 | 0 | NA | 0 | NA | W
89 |  |  |  | RADICAL | RXL-4B | NA | NA | 0 | NA | 0 | NA |  | NW
90 |  | Refrigerator | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
91 |  | Microscope Binocular | 4 | RADICAL | 19650 (RMH-4B) | NA | 2006-09-02 | 0 | NA | 0 | NA | W
92 |  |  |  | AJAY OPTICS | CM/L-9010250 | NA | 1995-12-05 | 0 | NA | 0 | NA |  | NW
93 |  |  |  | AJAY OPTICS | CM/L-9010250 | NA | 1995-12-05 | 0 | NA | 0 | NA |  | NW
94 |  |  |  | RADICAL | NA | NA | 2006-09-02 | 0 | NA | 0 | NA |  | NW
95 |  | CENTRIFUSE MACHINE | 6 | NA | NA | NA | NA | 0 | NA | 0 | NA | 1W | 5 NW
96 |  | Water Bath | 1 | NAVYUG | Q5247 | NA | 25/10/95 | 0 | NA | 0 | NA |  | NW
97 |  | HOT PLATE | 1 | MICROSIL | Q5247 | NA | NA | 0 | NA | 0 | NA |  | NW
98 |  | MICROTOME | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
99 |  | CELL COUNTER | 1 | TRANSASIA |  |  | NA | 0 | NA | 0 | NA | W
100 |  | SEMI AUTO ANALYZER | 2 | TRANSASIA | ERBA CHEM-5 | N100321 | NA | 0 | NA | 1 | NOV-15 | W
101 |  | ELECTROLYTE ANALZER | 1 | SRI SRI ENTERPRISES | FT-300 | 300A1409016 | 2014-12-11 | 1 | NOV-16 | 0 | NA | W
102 | Blood Bank | ELISA Reader & Washer | 2 | LABSYSTEMS | MULTISKAN 352 | 35209RS-232C | 2010-02-06 | 0 | NA | 0 | NA | W
103 |  |  |  | AWARENESS TECHNOLOGIES | MEDILISA 318PLUS | 3181050 | 1998-06-03 | 0 | NA | 0 | NA |  | NW
104 |  | Refrigerator | 5 | JEWETT | DTPM1 | NA | 1995-09-08 | 0 | NA | 0 | NA |  | NW
105 |  |  |  | SUNPRO | C-60R ARC | NA | 2010-09-04 | 0 | NA | 0 | NA |  | NW
106 |  |  |  | SUNPRO | NA | NA | 27/04/10 | 0 | NA | 0 | NA |  | NW
107 |  |  |  | HAIR | NA | NA | NA | 0 | NA | 0 | NA | W
108 |  | Microscope Binocular | 4 | RADICAL | 19650 (RMH-4B) | NA | 2006-09-02 | 0 | NA | 0 | NA | W
109 |  |  |  | AJAY OPTICS | CM/L-9010250 | NA | 1995-12-05 | 0 | NA | 0 | NA | W
110 |  |  |  | AJAY OPTICS | CM/L-9010250 | NA | 1995-12-05 | 0 | NA | 0 | NA |  | NW
111 |  |  |  | RADICAL | NA | NA | 2006-09-02 | 0 | NA | 0 | NA |  | NW
112 |  | Water Bath | 1 | VIKRANT SCIENTIFIC | NA | NA | 25/10/95 | 0 | NA | 0 | NA | W
113 |  | Needle Destroyer | 1 | MICROSIL | NA | NA | 29/10/98 | 0 | NA | 0 | NA | W
114 |  | Biomixer | 1 | REMI | BCM-3 | 2M3CXCM-427 | 23/11/04 | 0 | NA | 0 | NA |  | NW
115 |  | Di-electric Sealer | 1 | MICROSIL | NA | NA | 23/11/04 | 0 | NA | 0 | NA |  | NW
116 |  | ELISA Reader with Washer | 1 | TRANSASIA | LISA/WASH/L.SCAN-EM | 130627/130301 | 13/01/15 | 0 | NA | 0 | NA | W
117 |  | CENTRIFUSE MACHINE | 1 | REMI | NA | NA | 20/05/97 | 0 | NA | 0 | NA | W
118 | X-ray & ECG | X-Ray 300 mA | 1 | WIPRO | DXD-300 | C140147 | 29/01/92 | 0 | NA | 1 | FEB-16 | W
119 |  | X-Ray 500 MA | 1 | ALLENGER Medical system | MARS-40 | 2k130340125 | 17/04/2013 | 0 | NA | 1 | April-16 | W
120 |  | ECG Machine computersied | 1 | ALLENGER Medical system | A-103 | 2K1303524019 | 30//04/2013 | 0 | NA | 1 | April-16 | W
121 |  | Lead Apron | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
122 |  | CR System | 1 | AGFA | CR-25/CR35 | 5302 | 24/12/07 | 0 | NA | 1 | 2015-06-16 | W
123 |  | ECG Machines | 13 | BIONET | EKG2000 | EG0400010 | 2006-05-06 | 0 | NA | 0 | NA | W
124 |  |  |  | BIONET | EKG2000 | EG020018 | 2006-05-06 | 0 | NA | 0 | NA | W
125 |  |  |  | BPL | CARDIART408 | C4K4296 | NA | 0 | NA | 0 | NA |  | NW
126 |  |  |  | BPL | CARDIART6108 | T103325 | NA | 0 | NA | 0 | NA |  | NW
127 |  |  |  | BPL | CARDIART408 | C2J252 | NA | 0 | NA | 0 | NA |  | NW
128 |  |  |  | BPL | CARDIART108T | CT1A2803 | NA | 0 | NA | 0 | NA |  | NW
129 |  |  |  | BPL | CARDIART308 | 9H2665 | NA | 0 | NA | 0 | NA |  | NW
130 |  |  |  | BPL | CARDIART308 | NA | NA | 0 | NA | 0 | NA |  | NW
131 |  |  |  | BPL | CARDIART308 | NA | NA | 0 | NA | 0 | NA |  | NW
132 |  |  |  | BPL | CARDIART108T | 91384 | NA | 0 | NA | 0 | NA |  | NW
133 |  |  |  | BPL | NA | T1C3725 | 25/2/02 | 0 | NA | 0 | NA |  | NW
134 |  |  |  | AROHI | NA | 901006 | NA | 0 | NA | 0 | NA |  | NW
135 |  |  |  | AROHI | NA | 90170 | NA | 0 | NA | 0 | NA |  | NW
136 | DENTAL | Ultrasound machine | 2 | philips | HD-3 | B0120230006476 | 2010-09-09 | 0 | NA | 1 | sept-15 | 1
137 |  |  |  | FUKUDA (KODY ELECTRO LTD MAARAS | UF-4500N | 120C1263 | 1996 | 0 | NA | 0 | NA | 1
138 |  | 2D ECHO CARDIOGRAPHY MACHINE | 1 | philips | 11-XE | US21470303 | 18/04/2014 | 1 | april -16 | 0 | NA | 2
139 | DENTAL | Needle Destroyer | 2 | MICROSIL | NA | NA | NA | 0 | NA | 0 | NA | 2
140 |  | Vertical Sterilizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | 1
141 |  | Dental chair with unit | 2 | confident | com | NA | 15/04/2013 | 0 | NA | 0 | NA | 2
142 | physiotherapy | Muscle Stimulator | 1 | HEALOSURG | MS-7-S | NA | 13/05/2002 | 0 | NA | 0 | NA |  | 1
143 |  | TENS | 1 | HEALOSURG | NA | NA | 13/05/2002 | 0 | NA | 0 | NA |  | 1
144 |  | Shock WaveTherapy | 1 | SHENZHEN HUIKANG MEDICAL EQUIPMENT Co. Ltd. CHINA | HK.ESWO-AJII | NA | 17/04/2007 | 0 | NA | 0 | NA | 0 | 1
145 |  | Ultrasonic Therapy Unit | 1 | HEALOSURG | H12 PROBE | NA | 13/05/2002 | 0 | NA | 0 | NA |  | 1
146 |  |  | 1 | NA | NA | NA |  | 0 | NA | 0 | NA | 1
147 |  | Shoulderwheel | 1 | HEALOSURG | NA | NA | 13/05/2002 | 0 | NA | 0 | NA | 1
148 |  | Overhead Pulley | 1 | HEALOSURG | NA | NA | 13/05/2002 | 0 | NA | 0 | NA | 1
149 |  | Ankle Exerciser | 1 | HEALOSURG | NA | NA | 13/05/2002 | 0 | NA | 0 | NA | 1
150 |  | Multi fuctional Therepy UNIT | `1 | NA | NA | NA |  | 0 | NA | 0 | NA | 1
151 |  | Abduction Wall Ladder | 1 | HEALOSURG | NA | NA | 13/05/2002 | 0 | NA | 0 | NA | 1
152 |  | Traction Machine | 1 | HEALOSURG | ELECTRO-TRDC | NA | 2002-02-03 | 0 | NA | 0 | NA | 1
153 |  | multi program tens | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | 1
154 |  | SHOULDER wheel | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | 1
155 |  | Gripper | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | 1
156 |  | WAX BATH | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | 1
157 |  | Short Wave Diathermy | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | 1
158 |  |  | 1 | IRT | SWD500 |  | 1993-03-02 | 0 | NA | 0 | NA | 1
Contact details :( 8295936064)
Facility Incharge :DR MUKESH (M.S)
Store Incharge : DEEPAK
Store keeper :DEEPAK
Biomedical Engineer :PREM CHAND( 8295936078)

## TB Center
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- GH Name of the Facility-T.b. Centre
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | LABORATORY | Binocular Microscope | 2 | NA | CX21FS1 | 3G00081 | 2004-08-01 | 0 | NA | 0 | NA | W
2 |  |  |  | NA | CX21FS2 |  | 2004-08-02 | 0 | NA | 0 | NA | W
3 | LABORATORY | Centrifuge | 1 | MICROSIL | T-10 |  |  | 0 | NA | 0 | NA | W
4 | X-ray room | X-Ray Machine with Odelca Camera | 1 | SIEMENS (bharat electronics) | 5918 | 1185 | 22/11/1980 | 0 | NA | 0 | NA |  | NW
5 |  | X-Ray 50 mA | 1 | ELPRO/WIPRO GE | Stallion 60 |  | 27/03/1978 | 0 | NA | 0 | NA |  | NW
Contact details :01744-291664
Facility Incharge : SALINDER
Store Incharge :smt.ruchi sharma
Store keeper :smt. Ruchi sharma
Biomedical Engineer :prem chand

## CHC Mathana
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- CHC Name of the Facility-Mathana
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | O.T | Horizontal Steam Sterilizer | 1 | STEELS | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Ceiling OT lights (dual dome) | 2 | COGNATE | NA | 7030245 | NA | 0 | NA | 0 | NA | W
3 |  |  |  | NA | NA | 7050267 |  | 0 | NA | 0 | NA | W
4 |  | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Nebulizer | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | LABORATORY | Binocular Microscope | 2 | OLYMPUS | CX21FS1 | 3400376 |  | 0 | NA | 0 | NA | W
8 |  |  |  | FOCUS (india Optics & Stc. Works, Ambala Cantt.) | BIOSUPEREME | NA | NA | 0 | NA | 0 | NA | W
9 |  | Uninocular Microscope | 1 | FOCUS (india Optics & Stc. Works, Ambala Cantt.) | 9852 | NA | NA | 0 | NA | 0 | NA | W
10 |  | SEMI AUTO ANALYZER | 1 | TRANSASIA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Centrifuge | 1 | MICROSIL | T-10 |  |  | 0 | NA | 0 | NA | W
12 |  | Ice-Lined Refrigerator | 1 | HAIER | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | Deep Freezer | 1 | WESTFROST | NA | NA | 2007-06-07 | 0 | NA | 0 | NA | W
14 | Dental | Dental Chair with unit | 2 | CONFIDENT | NA | NA | 2013-10-04 | 0 | NA | 0 | NA | W
15 |  |  |  |  | NA | NA | 14-03-07 | 0 | NA | 0 | NA | W
16 |  | Glass Bead Sterilizer | 1 | DENFORT INTE$RNATIONAL | NA | NA |  | 0 | NA | 0 | NA | W
17 |  | Electric Sterilizer | 1 | NA | NA | NA |  | 0 | NA | 0 | NA | W
18 |  | ECG Machine | 1 | NA | BIONET | Cardiocare |  | 0 | NA | 0 | NA | W
19 |  | FOETAL DOPPLER | 2 | NA | NA | NA | 2014-02-04 | 0 | NA | 0 | NA | W
20 | labour room | Delivery Table | 1 | NA | NA | NA |  | 0 | NA | 0 | NA | W
21 |  | Mobile OT Lights | 1 | SURGICOIN | CBF 4 ART |  |  | 0 | NA | 0 | NA | W
22 |  | Suction Machine | 1 | GOLEY | NA | NA | 26-03-10 | 0 | NA | 0 | NA | W
23 |  | RADIENT WARMER | 1 | PHONIX | OCW 100 | TU1150 | 2013-01-01 | 0 | NA | 1 | NA | W
24 |  | Baby Weighing Machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
25 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
26 |  | Foetal doppler | 1 | DIPEL | MDK-51 |  |  | 0 | NA | 0 | NA | W
27 |  | Foot Operated Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
28 | radiology dept | 300 mA X Ray | 1 | MEDFORD | MXD-300 | C0609702 | 2007-02-04 | 0 | NA | 0 | NA | W
29 |  | Lead Apron | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
30 |  | Lead Protection Screed | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-282190
Facility Incharge : Dr. salinder
Store Incharge :ASHOK
Store keeper :ASHOK
Biomedical Engineer :PREM CHAND

## CHC LADWA
MASTER EQUIPMENT BASE
Name of District- KURUKSHETRA Type of facility- CHC Name of the Facility-LADWA
S.no | Equiment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
| RADIOLOGY | X-Ray 300 mA (Fixed) | 1 | MEDFORD (Bharat Enterprises) | FOCUS | NA | NA | 0 | NA | 0 | NA | W
|  | X-Ray 100 mA (Fixed) | 1 | ELPRO | NA | NA | NA | 0 | NA | 0 | NA |  | NW
|  | X-Ray 50 mA (Fixed) | 1 | IN RAYS | NA | NA | NA | 0 | NA | 0 | NA |  | NW
|  | X-Ray 30 mA (Fixed) | 1 | ESCORT | NA | NA | NA | 0 | NA | 0 | NA |  | NW
|  | ECG | 1 | N .W OVERSEAS | 1203 B | 0B1404100024 | 2014-08-09 | 0 | NA | 0 | NA | W
|  |  | 1 | BPL | CARDIART 408 | NA | NA | 0 | NA | 0 | NA |  | NW
| DENTAL | Dental Chair + Unit |  | CONFIDENT | Mookamibka | NA | 27/4/2013 | 0 | NA | 0 | NA | W
|  | Dental X-ray | 1 | ARDET | ORIX-65 | NA | NA | 0 | NA | 0 | NA | W
|  | Electrical Sterilizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Vertical Autoclave | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
| LABORATORY | Binocular Microscope | 2 | OLYMPUS | CX21FS1 | 3G00027 |  | 0 | NA | 0 | NA | W
|  |  |  | RADICAL | RMH-4B | 19650 |  | 0 | NA | 0 | NA |  | NW
|  | Mononocular Microscope | 2 | Ajay Optiks | NA | NA | NA | 0 | NA | 0 | NA |  | NW
|  |  |  | Ajay Optiks | NA | NA | NA | 0 | NA | 0 | NA |  | NW
|  | Water Bath | 1 | YORCO | NA | NA | NA | 0 | NA | 0 | NA
|  | Centrifuge | 1 | NA | ERBA 8 | NA | NA | 0 | NA | 0 | NA | W
|  | Refrigerator | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | SEMI AUTO ANALYZER | 1 | TRANSASIA | NA | NA | NA | 0 | NA | 1 | NA | W
| O.T | Horizontal Steam Sterilizer | 1 | SIEMENS | NA | NA | NA | 0 | NA | 0 | NA | W
|  | OT Table | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Mobile Shadowless Lamp | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Moblie OT Lights | 1 | NA | NA | NA | 30-12-2008 | 0 | NA | 0 | NA | W
|  | Electrosurgical Unit | 1 | MEDICAL LEVEL UP | EX-250 | 5416 |  | 0 | NA | 0 | NA | W
|  | Boyle's Apparatus | 1 | Hospital Devices | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Finger Tip Pulse Oximeter | 1 | Beijing Choice Electronic Tech Ltd. | MD300C201 | 7261432044 |  | 0 | NA | 0 | NA | W
|  | Suction machine | 1 | MONARCH | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Laryngoscope | 1 |  | NA | NA | NA | 0 | NA | 0 | NA | W
| immunlization | ILR | 2 | WESTFROST | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Deep Freezer | 1 | WESTFROST | NA | NA | NA | 0 | NA | 0 | NA | W
| labour room | Delivery Table | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Suction machine | 2 | MONARCH | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | MONARCH | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Foetal Doppler | 1 | AKASH ENTERPRISES | NA | NA | 08-01-209 | 0 | NA | 0 | NA | W
|  | Foetal Doppler | 1 | EVERGREEN | Sonoline | NA | 2014-06-02 | 0 | NA | 0 | NA | W
|  | Mobile OT Light | 1 |  | NA | NA | 26-12-2008 | 0 | NA | 0 | NA | W
|  | Phototherapy Unit | 1 | MEDICAID (British India Instruments, Ambala Cantt.) | NA | NA | 27-03-2010 | 0 | NA | 0 | NA | W
|  | Radiant Warmer | 1 | MEDITRIN | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  | 1 | phonix | OCW | TU1152 | 2013-01-01 | 0 | NA | 1 | feb-16 | W
|  | Foot Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Baby weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Nebulizer | 2 | NA | NA | NA | 17-03-2010 | 0 | NA | 0 | NA | W
|  | Suction machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-261-330
Facility Incharge :DR VIKASH
Store Incharge :smt. Surekha
Store keeper :smt. Surekha
Biomedical Engineer :

## CHC Shahbad
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- CHC Name of the Facility- Shahbad
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | labour room | Weighing machine | 2 | MOH & FW | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Suction Machine | 2 | HMT Surgical | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Ceiling OT light | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Foetal Doppler | 1 | EVERGREEN | SONOLINE | NA | 2014-06-02 | 0 | NA | 0 | NA | W
6 |  | Radiant warmer | 1 | Meditrin Instruments (Medical Systems & Services) | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  |  | 2 | phonix | OCW | TU1149,50 | 2013-01-01 | 0 | NA | 1 | 2015-02-16 | W
8 |  | OPEN CARE SYSTEM | 3 | NICE NEO TECH MEDICAL SYSTEM | 2010 | 141507001793,1828,1441 | 2014-04-08 | 1 | Aug.-16 | 0 | NA | W
9 | O.T DEPT | Pulse Oximeter | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Portable Sterilizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Weighing machine (Adult) | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | Horizontal Steam Sterilizer (Big) | 1 | SIEMENS | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | Horizontal Steam Sterilizer (Small) | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
14 |  | Suction Machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
16 |  | Electrosurgical Unit | 1 | NA | NA | NA | 2010-01-11 | 0 | NA | 0 | NA | W
17 |  | Foot Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
18 |  | Larungoscope | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
19 |  | Ceiling OT light | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
20 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
21 |  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
22 |  | Ortho Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
23 |  | Weighing Machine (baby) | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
24 |  | Weighing Machine (adult) | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
25 |  | Mobile OT Lights | 1 | SURGICOIN | CBF-4ART | NA | 29/10/2009 | 0 | NA | 0 | NA | W
26 |  | Boyles Apparatus | 1 | HOSPITAL DEVICES | NA | NA | NA | 0 | NA | 0 | NA | W
27 | ECG ROOM | ECG Machine | 1 | N.W .OVERSEAS | 1203 0B | 0B1404100143 | 2014-08-09 | 1 | SEPT.-16 | 0 | NA | W
28 |  |  | 1 | BPL | CARDIART 408 | 92-CC-996 | NA | 0 | NA | 0 | NA |  | NW
29 | LABORATORY | Monocular Microscope | 2 | LABOTRON | NA | NA | NA | 0 | NA | 0 | NA | W
30 |  |  |  | OLYMPUS | CX21FS1 | NA | NA | 0 | NA | 0 | NA | W
31 |  | Binocular Microscope | 2 | LABOTRON | MAGNUS | NA | NA | 0 | NA | 0 | NA | W
32 |  |  |  | OLYMPUS | MLX | NA | NA | 0 | NA | 0 | NA | W
33 |  | Bacteriological Incubator | 1 | ALPINE |  | NA | NA | 0 | NA | 0 | NA | W
34 |  | Centrifuge | 1 | HETTICH | EBA8 | NA | NA | 0 | NA | 0 | NA | W
35 |  | Glucometer | 1 | Dr. MOREPEN | BG03 | NA | NA | 0 | NA | 0 | NA | W
36 |  | Water Bath | 1 | YORCO |  | NA | NA | 0 | NA | 0 | NA | W
37 | IMMUNLIZATION | Deep Freezer | 1 | HAIER | BEO4FOEO100B287N0019 |  | 15/10/2009 | 0 | NA | 0 | NA | W
38 |  | ILR | 1 | NA | NA | NA | 1995-04-08 | 0 | NA | 0 | NA | W
39 | DENTAL | Dental Chair with Unit | 1 | CONFIDENT | NA | NA | 16/04/2013 | 0 | NA | 0 | NA | W
40 |  | Dental X-ray | 1 | ARDET | ORIX 65/10 |  |  | 0 | NA | 0 | NA |  | NW
41 | RADIOLOGY | 300 MA X-RAY MACHINE | 1 | ALLENGER MEDICAL SYSTEM | Mars.30 | 2K14033010 | 19/05/2014 | 1 | 2016-05-01 | 0 | NA | W
42 |  | X-Ray 100 mA | 1 | SIEMENS | 5201 | 16299 | 93-94 | 0 | NA | 0 | NA |  | NW
43 |  | X-Ray 50 mA | 1 | GE (Elpro) | NA | NA | NA | 0 | NA | 0 | NA | W
44 |  | X RAY 30 MA | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA |  | NW
45 | EMERGENCY | Suction Machine | 1 | NA | NA | NA | 20/06/05 | 0 | NA | 0 | NA | W
46 |  | Foot Operated Suction Machine | 1 | NA | NA | NA | 2005-01-04 | 0 | NA | 0 | NA | W
47 |  | Larungoscope | 1 | NA | NA | NA | 2007-11-06 | 0 | NA | 0 | NA | W
48 |  | Nebulizer | 1 | NA | NA | NA | 25/07/2007 | 0 | NA | 0 | NA | W
Contact details :01744-240044
Facility Incharge :DR Ravinder
Store Incharge :SMT.SUNITA DEVI
Store keeper :SMT.SUNITA DEVI
Biomedical Engineer :PREM CHAND

## CHC PEHOWA
MASTER EQUIPMENT BASE
Name of District- KURUKSHETRA Type of facility- CHC Name of the Facility-PEHOWA
S.no | EQUIPMENT catagery | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | x-ray room | X-Ray 100 mA | 1 | SIEMENS | NANOPHOS 100 (5347) | 1578 | 1995 | 0 | NA | 0 | NA | W
2 |  | X-Ray 60 mA | 1 | INRAYS | 60 MA |  | 1985 | 0 | NA | 0 | NA | W
3 |  | Lead Screen | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Lead Apron | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | ECG Machine | 1 | BPL | CARDIART 408 | NA | 19-02-2005 | 0 | NA | 0 | NA |  | 1
6 |  |  | 1 | N.W OVERSEAS | 1203 B | 0B1404100031 | 2014-08-09 | 0 | NA | 0 | NA | W
7 | O.T | Horizontal Steam Sterilizer | 1 | STEELS (New Delhi) | NA | NA | April, 2008 | 0 | NA | 0 | NA | W
8 |  | Hydraulic OT Table | 1 | NA | NA | NA | 2008-08-05 | 0 | NA | 0 | NA | W
9 |  | Boyles Apparatis | 1 | HOSPITAL DEVICES | NA | NA | 2008-08-06 | 0 | NA | 0 | NA | W
10 |  | Ceiling OT Light (Single dome) | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Standing Ot light | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | Vertical Steam Sterilizer | 1 | NA | NA | NA | 17-05-2007 | 0 | NA | 0 | NA | W
13 |  | Radiant warmer | 1 | MEDITRIN | NA | NA | NA | 0 | NA | 0 | NA | W
14 |  |  | 2 | PHONIX | OCW | TU1157,59 | 2013-02-01 | 0 | NA | 1 | Feb-16 | W
15 |  | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
16 | labour room | Baby Weighing Machine | 1 | SWARNA | NA | NA | 29-03-2010 | 0 | NA | 0 | NA | W
17 |  | Delivery Table | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
18 |  | Moblie OT Light | 1 | SURGICOIN | CBF-4ART | 30./10/2009 | NA | 0 | NA | 0 | NA | W
19 |  | OPEN CARE SYSTEM | 2 | NICE NEO TECH MEDICAL SYSTEM | 2010 BC | 141507001834, 1807 | 25/08/2014 | 1 | Aug-16 | 0 | NA | W
20 |  | Ceiling OT Light (Single dome) | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
21 |  | Foetal Doppler | 3 | DIPEL | DFM 051 | NA | NA | 0 | NA | 0 | NA | W
22 |  |  |  | EVERGREEN | sonoline | NA | 6/2/201`4 | 0 | NA | 0 | NA | W
23 | Laboratory | Binocular Microscope | 1 | OLYMOUS | NA | NA | NA | 0 | NA | 0 | NA | W
24 |  | Monocular Microscope | 4 | NA | NA | NA | NA | 0 | NA | 0 | NA |  | 4
25 |  | Water Bath | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
26 |  | Centrifuge | 1 | NA | EBA8 | NA | NA | 0 | NA | 0 | NA | W
27 |  | Glucometer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
28 |  | Digital Photocolorimter | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
29 |  | Refrigerator | 1 | LG | NA | NA | NA | 0 | NA | 0 | NA | W
30 |  | Blood Storage Cabinet | 1 | NA | NA | NA | 30-11-2006 | 0 | NA | 0 | NA | W
31 |  | PH Meter | 1 | NA | NA | NA |  | 0 | NA | 0 | NA | W
32 |  | Hot Plate | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
33 |  | ILR | 2 | WESTFROST | NA | NA | NA | 0 | NA | 0 | NA | W
34 |  |  |  | HAIER | NA | NA | NA | 0 | NA | 0 | NA | W
35 |  | Deep Freezer | 2 | HAIER | NA | NA | NA | 0 | NA | 0 | NA | W
36 |  |  |  | UNICEF | NA | NA | NA | 0 | NA | 0 | NA | W
37 | Denal dept. | Dental Chair | 1 | CON FIDENT | NA | NA | 2013-11-04 | 0 | NA | 0 | NA | W
39 |  | Dental Xray | 1 | ORIX 65 | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01741- 230-189
Facility Incharge :DR Neelam
Store Incharge :Krishan
Store keeper :krishan
Biomedical Engineer :premchand

## CHC JHANSA
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- CHC Name of the Facility-JHANSA
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Denatl CHAIR | 1 | CONFIDENT | MOOKAMIBKA | NA | 2013-09-04 | 0 | NA | 0 | NA | W
2 | WARD | ECG MACHINE | 1 | SHENZHEN Medikee | 1203 b | 0B1404100015 | 2014-08-09 | 1 | Sept.2016 | 0 | MA | W
5 | LABORATORY | GLUCOMETER | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | CENTRIFUSE MACHINE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | BINOCULAR MICROSCOPE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 | LABOUR ROOM | RADIENT WARMER | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | SUCTION MACHINE FOOT OPERATED | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | SUCTION MACHINE ELECTRIC | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
14 |  | DEEP FREEZER | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  | BABY WEIGHING MACHINE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Feotal Doppler | 2 | Evegreen | NA | NA | NA | 0 | NA | 0 | NA | W
|  | DELIVERY TABLE | 2 | NA | NA | NA | NA | 0 | MA | 0 | NA | W
16 |  | ADULT WEIGHING MACHINE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
17 |  | PORTABLE OT LIGHT | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-258324
Facility Incharge :DR RAKESH GOYAL
Store Incharge :RAJKUMAR
Store Incharge :RAJKUMAR
Biomedical Engineer :prem chand ( 8295936078)

## Poly Clinic sec-4
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- URBAN PHC Name of the Facility-Poly Clinic sec-4
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Laboratory | Binocular Microecope | 1 | NA | NA | NA | NA | 0 | NA |  |  | W
2 |  | Centrifuge | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | Glucometer | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Hb Meter (Square tube typr) | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 | LABOUR ROOM | Vertical auto clave machine | 1 | Esteem industery | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | Suction Machine( Electric) | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 | Dental | Dental Chair | 1 | Confident | NA | NA | NA | 0 | NA | 0 | NA | W
10 | X-RAY ROOM | 300 ma-X-RAY Machine | 1 | ALLENGER | MARS -30 | 2K141230520 | 2015-05-06 | 1 | JUNE -17 | 0 | NA | W
Contact details :8295936068
Facility Incharge :DR LALIT KALSON
Store Incharge :MAMTA
Store keeper :MAMTA
Biomedical Engineer :PREMCHAND

## PHC Thol
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- PHC Name of the Facility-Thol
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | laboratory | Monocular Microscope | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Binocular Microecope | 1 | OLYMPUS | NA | NA | 2005 | 0 | NA | 0 | NA | W
3 |  | Centrifuge | 1 | MICROSIL | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Glucometer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Hb Meter (Square tube typr) | 1 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | labour room | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | OT Light | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 | immunization | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 | dental | Dental Chair | 1 | suzdent | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-258-324
Facility Incharge :DR RAJESH GOYAL
Store Incharge :SMT.GURPREET
Store keeper :SMT. GURPREET
Biomedical Engineer :PREM CHAND

## PHC Thaska mirarji
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- PHC Name of the Facility-Thaska mirarji
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | labour room | Autoclave | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Foot operated suction machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | Suction machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | ROOM WARMER | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Foetal doppler | 1 | Evergreen | sonoline | NA | 2014-06-02 | 0 | NA | 0 | NA | W
6 |  | Portable vertical sterilizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | Nebulizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 | laboratory | Microscope | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | Hb meter | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Monocular Microscope | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA
10 |  | Centrifuge | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 | immunization | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 | Dental | Dental Chair | 1 | SUZDENT | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-252569
Facility Incharge :DR SARIKA GARG
Store Incharge :RAHUL SHARM A
Store keeper :RAHUL SHARMA
Biomedical Engineer :PREMCHAND

## PHC Tatka
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- PHC Name of the Facility-Tatka
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | dental | Dental Chair | 1 | SUZDENT | NA |  | 2009 | 0 | NA | 0 | NA | W
2 |  | Boiler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 | LABORATORY | monocular Microscope | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Binocular Microscope | 1 | UNICEF |  |  | 2008 | 0 | NA | 0 | NA | W
5 |  | Centrifuge | 2 |  | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | MICROSIL | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | Glucometer | 1 | ACCUCHEK | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | Hb Meter (Square tube typr) | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 | labour room | Portable Autoclave | 1 | TECHNO INDIA |  |  | 2008 | 0 | NA | 0 | NA | W
10 |  | Foot Operated Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | Delivery Table | 1 | NA | NA | NA | 2009 | 0 | NA | 0 | NA | W
13 |  | B P Apparatus | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
14 |  | Boiler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  | Foetal Doppler | 1 | Crown DX | NA | NA | 2010 | 0 | NA | 0 | NA | W
16 |  | Oxygen Cylinder | 1 | INOX | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Nebulizer | 1 | OMRON | NA | NA | NA | 0 | NA | 0 | NA | W
18 | immunization | ILR | 1 | Westfrost | NA | NA | NA | 0 | NA | 0 | NA | W
19 |  | Deep Freezer | 1 | Haier | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  | 23 | [8 empty] | 23
Contact details : 01744-266089
Facility Incharge :dr sanjay
Store Incharge :smt. Sanjay
Store keeper :smt. Sanjay
Biomedical Engineer :prem chand

## PHC Amin
MASTER EQUIPMENT BASE
Name of District- Amin Type of facility- PHC Name of the Facility-Amin
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | SUZ-DENT | NA | NA | 20/04/2009 | 0 | NA | 0 | NA | W
2 | labour room | Suction machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Foot Operated Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | ROOM Heater | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Ceiling Light single dome | 1 | British India | NA | NA | NA | 0 | NA | 0 | NA | w
7 |  | Delivery Table | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | Nebulizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Radient Warmer | 1 | phonix | OCW | TU1156 | 2013-02-01 | 0 | NA | 1 | feb-16 | W
11 |  | Foetal Doppler | 2 | evergreen | sonoline | NA | 2014-06-02 | 0 | NA | 0 | NA | W
12 | IMMUNIZATION | ILR | 1 | HAIER | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | Deep freezer | 1 | HAIER | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744254555
Facility Incharge :DR SEHGAL
Store Incharge :NARESH
Store keeper :NARESH
Biomedical Engineer :PREMCHAND

## PHC Babain
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- PHC Name of the Facility-Babain
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental Chair | Dental Chair | 1 | Confident | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Boiler | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 | LABORATORY | Monocular Microscope | 2 | LABO OPTIK | 89T908 | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | OLYMPUS | MAGNUS MLX | NA | NA | 0 | NA | 0 | NA | W
4 |  | Centrifuge | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Glucometer | 1 | BAYER HEALTHCARE | ASCENSIA | NA | NA | 0 | NA | 0 | NA | W
6 |  | Hb Meter (Square tube typr) | 1 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 | LABOUR ROOM | Portable Autoclave | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | Suction Machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Delivery Table | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Mobile OT light | 1 | British India | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | Boiler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | Radiant Warmer | 1 | PHONIX | OCW-100 | TU1154 | 2013-03-01 | 0 | NA | 1 | 2015-02-16 | W
14 |  | Room Heater | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  | Portable OT LIGHT | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
16 |  | FEOTAL DOPPLER | 1 | Evergreen | NA | NA | 2014-02-04 | 0 | NA | 0 | NA | W
17 | IMMUNIZATION | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
18 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  | 24 | [8 empty] | 24
Contact details :01744-280320
Facility Incharge :DR STEVEN
Store Incharge :DHARMVIR
Store keeper :DHARMVIR
Biomedical Engineer :PREMCHAND

## PHC Ramgad ror
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- PHC Name of the Facility-Ramgad ror
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | labour room | Delivery table | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | Baby weighing machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Adult weighing machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Foetal Doppler | 1 | Evergreen | sonoline | NA | NA | 0 | NA | 0 | NA | W
6 | immunization | Deep freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | ILR | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 | WARD | Nebulizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 | laboratory | Binoculer Microscope | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Centrifuse machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA
11 |  | Glucometer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | Hb meter | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 | DENTAL | Dental Chair | 1 | Suzdent | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-274639
Facility Incharge :NEERAJ
Store Incharge :ANIL
Store keeper :ANIL
Biomedical Engineer :PREMCHAND

## PHC DHEEG
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- PHC Name of the Facility-DHEEG
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | LABORATORY | Monocular Microscope | 1 | LABO OPTIK | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Centrifuge | 1 | Microsil | NA | NA | 2011 | 0 | NA | 0 | NA | W
3 |  | Glucometer | 1 | BAYER HEALTHCARE | ASCENSIA | 59106000013 | NA | 0 | NA | 0 | NA | W
4 |  | Hb Meter (Square tube typr) | 2 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 | LABOUR ROOM | Portable Autoclave | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Radient warmer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Boiler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | ROOM HEATER | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | OT Light | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
14 | IMMUNITAION | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
16 | dental | Dental Chair | 1 | suzdent | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  | 18 | NA | NA | NA | NA | 0 | NA | 0 | NA | 18 | 0
Contact details :01744-287769
Facility Incharge :BHARTI DUA
Store Incharge :RAJEEV
Store keeper :RAJEEV
Biomedical Engineer :PREMCHAND

## PHC dhurala
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- phc Name of the Facility-dhurala
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | dental | Dental Chair | 1 | SUZDENT | NA | NA | 24/02/2010 | 0 | NA | 0 | NA | W
2 |  | Boiler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 | laboratory | Monocular Microscope | 1 | LABO | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Centrifuge | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Hb Meter | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | labour room | Delivery table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Foetal doppler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Foot operated Suction machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | Adult Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  | Oxygen Cylinder | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
16 | immunization | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
17 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-272512
Facility Incharge :DR SASHI ADITYA
Store Incharge :PAHAL SINGH
Store keeper :PAHAL SINGH
Biomedical Engineer :PREMCHAND

## PHC GUDHA
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility-PHC Name of the Facility-GUDHA
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | LABORATORY | Monocular Microscope | 1 | NA | NA | NA |  | 0 | NA | 0 | NA | W
2 |  | Binocular Microecope | 1 | OLYMPUS | NA | NA | 2005 | 0 | NA | 0 | NA | W
3 |  | Centrifuge | 1 | MICROSIL | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Glucometer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Hb Meter (Square tube typr) | 1 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | LABOUR ROOM | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | RADIENT warmer | 1 | NICE NEO TECH | 2007S | 141506001365 | 8/9/14 | 1 | SEPT.-16 | 0 | NA | W
10 |  | Boiler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | feotal Dopp;er | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 | IMMUNIZATION | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
14 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 | dental | Dental Chair | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-276633
Facility Incharge :DR MANOJ
Store Incharge :SHIVANG
Store keeper :SHIVANG
Biomedical Engineer :PREMCHAND

## PHC ismailabad
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- phc Name of the Facility-ismailabad
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Dental Chair | 2 | CONFIDENT | NA | NA | NA | 0 | NA | 0 | NA |  | 1
|  |  |  | CONFIDENT | NA | NA |  | 0 | NA | 0 | NA | W
2 |  | Boiler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 | LABORATERY | Monocular Microscope | 2 | MEGNUS | MLX | 514732 |  | 0 | NA | 0 | NA | W
|  |  |  | HARGESONS | HLS-21 |  |  | 0 | NA | 0 | NA | W
4 |  | Binocular Microscope | 1 | OLYMPUS | CX21 | 3G00373 | 2005 | 0 | NA | 0 | NA | W
5 |  | Centrifuge | 1 | MICROSIL | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | Glucometer | 1 | ROCHE | ACCUCHEK | 3330460001 |  | 0 | NA | 0 | NA | W
7 |  | Hb Meter (Square tube type) | 4 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | ESR Stand | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 | LABOUR ROOM | Portable Autoclave | 5 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Radient Warmer | 1 | phonix | OCW-100 | 1155 | 2/01/2013 | 0 | NA | 1 | Fen-16 | W
12 |  | Foot Operated Suction Machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | Delivery Table | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
14 |  | B P Apparatus | 5 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  | Boiler | 4 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
16 |  | ROOM Heater | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
17 |  | Portable Ot light | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
18 |  | Foetal doppler | 6 | EVERGREEN | SONOLINE |  | 41792 |  |  |  |  | W
19 | IMMUNIZATION | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
20 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-252224
Facility Incharge :DR SIMRANPREET SINGH
Store Incharge :GEETA DEVI
Store keeper :GEETA DEVI
Biomedical Engineer :PREMCHAND

## PHC khanpur kolian
MASTER EQUIPMENT BASE
Name of District- Khan pur kolian Type of facility- phc Name of the Facility-khanpur kolian
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Confident | 05 | NA | 1997 | 0 | NA | 0 | NA | W
2 |  | Boiler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 | LABORATORY | Monocular Microscope | 2 | LABO OPTIK | 89T908 | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | LABO OPTIK | 88537 | NA | NA | 0 | NA | 0 | NA | W
4 |  | Centrifuge | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Glucometer | 1 | BAYER HEALTHCARE | ASCENSIA | 59106000013 | NA | 0 | NA | 0 | NA | W
6 |  | Hb Meter (Square tube typr) | 1 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 | LABOUR ROOM | Portable Autoclave | 1 |  | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | Suction Machine | 1 | MONARCH | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | RADIENT WARMER | 1 | NICE NEO TECH MEDIACL SYSTEM | 2007 B | 141506001362 | 24/09/2014 | 1 | sept-16 | 0 | NA | W
12 |  | Foetal DOPPLER | 1 | Evergreen | sonoline | NA | 6/02/2014 | NA | NA | NA | NA | W
13 |  | ROOM Heater | 2 | NA | NA | NA | NA | NA | NA | NA | NA | W
14 |  | CEILING LIGHT SINGLE DOME | 1 | British india | NA | NA | NA | NA | NA | NA | NA | W
15 |  | Boiler | 2 | NA | NA | NA | NA | NA | NA | NA | NA | W
16 | IMMUNIZATION | ILR | 1 | NA | NA | NA | NA | NA | NA | NA | NA | W
17 |  | Deep Freezer | 1 | NA | NA | NA | NA | NA | NA | NA | NA | W
Contact details :01744-279-432
Facility Incharge :DR TAJENDER
Store Incharge : RAM SHARN
Store keeper RAM SHARN
Biomedical Engineer :PREMCHAND

## PHC Kirmach
MASTER EQUIPMENT BASE
Name of District-Kurukshetra Type of facility- PHC Name of the Facility-Kirmach
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | labour room | OT Light | 1 | British India | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Radient warmer | 1 | NICE NEO TECH MEDICAL SYSTEM | 2007B | 141506001363 | 12/08/2014 | 1 | Aug-16 | 0 | NA | W
3 |  | Delivery table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Baby Weighing Machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Foot operated Suction machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 | laboratory | Binocular Microscope | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | Centifuge | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Hb Meter | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Portable Autocalve | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 | DENTAL | Dental Chair | 1 | CONFEDENT |  |  |  | 0 | NA | 0 | NA | W
Contact details :01744-273432
Facility Incharge :DR ANJALI
Store Incharge :ASHOK KUMAR
Store keeper :ASHOK
Biomedical Engineer :PREMCHAND

## PHC Pipli
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- PHC Name of the Facility-Pipli
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | laboratory | monocular Microscope | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Binocular Microecope | 1 | OLYMPUS | NA | NA | 2005 | 0 | NA | 0 | NA | W
3 |  | Centrifuge | 1 | MICROSIL | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Glucometer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Hb Meter (Square tube typr) | 1 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | LABOUR ROOM | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | Feotal Doppler | 1 | evergreen | sonoline | NA | 2014-06-02 | 0 | NA | 0 | NA | W
9 |  | Radient warmer | 1 | phonix | ocw | TU1150 | 2013-02-01 | 0 | NA | 1 | 2015-02-16 | W
10 |  | Boiler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | ROOM Heater | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | OT Light | 1 | British India | NA | NA | NA | 0 | NA | 0 | NA | W
14 | IMMUNIZATION | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
16 |  | Dental Chair | 1 | Suzdent | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-232942
Facility Incharge :DR SUNITA
Store Incharge :SMT.KAILASH
Store keeper :SMT. KAILASH
Biomedical Engineer :PREMCHAND

## PHC Kalsana
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- PHC Name of the Facility-Kalsana
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | LABORATORY | Uninocular Microscope | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Binocular Microecope | 1 | OLYMPUS | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | Centrifuge | 1 | MICROSIL | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Glucometer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Hb Meter (Square tube typr) | 1 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | LABOUR ROOM | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | B P Apparatus | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Feotal Doppler | 1 | Evergreen | sonoline |  | 41792 | 0 | NA | 0 | NA | W
11 |  | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | ROOM Heater | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | OT Light | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
14 | IMMUNIZATION | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
16 | Dental | Dental Chair | 1 | SUZDENT | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  | 15 | NA | NA | NA | NA | 0 | NA | 0 | NA | 15
Contact details :01744-289-689
Facility Incharge :DR RITESH
Store Incharge :GURPREET KAUR
Store keeper :GURPREET KAUR
Biomedical Engineer :PREMCHAND

## PHC Ramgad ror 1
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- PHC Name of the Facility- Ramgad ror
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
2 | laboratory | Binocular Microecope | 1 | OLYMPUS | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | Centrifuge | 1 | MICROSIL | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Glucometer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Hb Meter (Square tube typr) | 1 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | labour room | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | B P Apparatus | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Feotal Doppler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
12 | immunization | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
13 |  | Deep Freezer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
14 | dental | Dental Chair | 1 | suzdent | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :01744-274639
Facility Incharge :Anuj Sharma
Store Incharge :sumit singla
Store keeper :sumit singla
Biomedical Engineer :PREMCHAND

## Urban PHC GHANDI NAGAR
MASTER EQUIPMENT BASE
Name of District- Kurukshetra Type of facility- URBAN PHC Name of the Facility- GHANDI NAGAR
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | laboratory | Binocular Microecope | 1 | OLYMPUS | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Centrifuge | 1 | MICROSIL | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | Hb Meter (Square tube typr) | 1 | AMI | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | ESR Stand | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | B P Apparatus | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | Feotal Doppler | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 | dental | Dental Chair | 1 | confident | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :229234
Facility Incharge :Dr URVASI
Store Incharge :MONA
Store keeper :MONA
Biomedical Engineer :PREMCHAND

## consolidate
Equipment Name | Quantity
Denatl CHAIR | 1
Vertical Sterilizer | 1
Dental Chair with unit | 5
Glass Bead Sterilizer | 1
Electric Sterilizer | 1
Boyles Apparatus | 1
ECG MACHINE | 4
GLUCOMETER | 16
Microscope Binocular | 8
CR System | 1
ECG Machines | 13
Ultrasound machine | 2
2D ECHO CARDIOGRAPHY MACHINE | 1
Needle Destroyer | 3
Biomixer | 1
Di-electric Sealer | 1
ELISA Reader with Washer | 1
Binoculer Microscope | 1
CENTRIFUSE MACHINE | 9
X-Ray 300 mA (Fixed) | 1
X-Ray 100 mA (Fixed) | 1
X-Ray 50 mA (Fixed) | 1
X-Ray 30 mA (Fixed) | 1
ECG | 1
Dental Chair + Unit
Dental X-ray | 2
Electrical Sterilizer | 1
Vertical Autoclave | 1
BINOCULAR MICROSCOPE | 14
RADIENT WARMER | 15
SUCTION MACHINE FOOT OPERATED | 2
patient moniter | 8
Serium Billirubino mter | 1
photo therapy Unit | 2
Incubator | 1
SUCTION MACHINE ELECTRIC | 4
ILR | 1
Mononocular Microscope | 2
Monocular Microscope | 19
Water Bath | 5
Bacteriological Incubator | 1
Binocular Microecope | 7
Centrifuge | 20
Digital Photocolorimter | 1
Phaco machine | 1
Operating Microscope | 3
Slit Lamp | 2
Keratometer | 2
A-Scan | 2
Autorefarctometer | 1
Opthalmic Chair | 1
Opthalmoscope (Direct) | 2
Opthalmoscope (Indirect) | 1
Retinoscope | 1
Needle Destoyer | 2
ND YAG Laser | 1
MICRO SCOPE MONOCULAR | 2
ELECTROLYTE ANALZER | 1
ELISA Reader & Washer | 2
Refrigerator | 9
Uninocular Microscope | 2
MICROTOME | 1
CELL COUNTER | 1
SEMI AUTO ANALYZER | 4
ROOM HEATER | 6
ROOM WARMER Oil FILLED | 3
Horizontal Steam Sterilizer | 6
OT Table | 6
Pulse Oximeter (finger tip) | 1
Mobile Shadowless Lamp | 8
Moblie OT Lights | 1
Electrosurgical Unit | 2
Ceiling Light Major | 1
Shadowless Light | 1
Boyle's Apparatus | 4
Finger Tip Pulse Oximeter | 1
Billiblanket Meter | 1
OXYGEN Concentrator | 2
Oxygen hood | 4
150 ma x-ary machine | 1
Portable vertical sterilizer | 1
Nebulizer | 13
Ceiling OT lights (dual dome) | 2
Mobile OT Lights | 2
Digital Weighing scale | 1
Weighing machine | 5
Ortho Electrohydraulic Table | 1
Pulse Oximeter | 4
Portable Sterilizer | 1
Ortho Table | 1
Weighing Machine (baby) | 1
Weighing machine (Adult) | 4
Horizontal Steam Sterilizer (Big) | 1
Horizontal Steam Sterilizer (Small) | 1
X-Ray Machine with Odelca Camera | 1
X-Ray 50 mA | 2
X RAY 30 MA | 1
BIPHASIC DEFIBRILATOR | 1
C-Arm | 1
Warmer | 1
BP Apparatus | 1
CARDIC Moniter with Defibrillator | 1
B P Apparatus | 10
Boiler | 18
Hb Meter (Square tube typr) | 12
Centifuge | 1
Microscope | 2
Hb Meter | 9
Hb Meter (Square tube type) | 4
ESR Stand | 14
Portable Autoclave | 10
Suction machine | 37
Laryngoscope | 1
Blood Storage Cabinet | 1
PH Meter | 1
Hot Plate | 2
ROOM HEATER | 5
OT Light | 5
Oxygen Cylinder | 4
feotal Dopp;er | 1
ILR | 20
Ice-Lined Refrigerator | 1
DEEP FREEZER | 20
Larungoscope | 2
Ceiling OT light | 4
Portable Ot light | 1
ROOM WARMER | 2
Foetal Doppler | 26
Mobile OT Light | 2
Phototherapy Unit | 1
Hydraulic OT Table | 1
Boyles Apparatis | 1
Moblie OT Light | 1
OPEN CARE SYSTEM | 21
Ceiling OT Light (Single dome) | 3
Standing Ot light | 1
Vertical Steam Sterilizer | 1
Radiant Warmer | 4
Electrosurgical Unit (Surgical diathermy) | 3
Flesh Auto Clave | 1
Foot Suction Machine | 3
Fumigator | 1
mobile ot light | 2
BABY WEIGHING MACHINE | 20
Portable OT LIGHT | 1
Feotal Doppler | 7
FOETAL DOPPLER | 2
Ceiling Light single dome | 2
Vertical auto clave machine | 1
Suction Machine( Electric) | 1
DELIVERY TABLE | 27
ADULT WEIGHING MACHINE | 4
PORTABLE OT LIGHT | 1
Syringe pump | 8
Radient Warmer | 1
Autoclave | 1
Foot Operated Suction Machine | 11
300 mA X Ray | 1
300 MA X-RAY MACHINE | 1
X-Ray 100 mA | 2
X-Ray 60 mA | 1
Lead Screen | 2
X-Ray 300 mA | 1
X-Ray 500 MA | 1
ECG Machine computersied | 1
Lead Apron | 3
Lead Protection Screed | 1
Portable Autocalve | 1
Dental Chair | 17
Dental Xray | 1
Muscle Stimulator | 1
TENS | 1
Shock WaveTherapy | 1
Ultrasonic Therapy Unit | 1
Shoulderwheel | 1
Overhead Pulley | 1
Ankle Exerciser | 1
Multi fuctional Therepy UNIT
Abduction Wall Ladder | 1
Traction Machine | 1
multi program tens | 1
SHOULDER wheel | 1
Gripper | 1
WAX BATH | 1
Short Wave Diathermy | 1
Dental Chair | 1
Dental Chair | 1
300 ma-X-RAY Machine | 1