## Thirot PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-24
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | THIROT P.H.C (Lahul & Spiti)
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | B.P.Instrument | Smart Care | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument(Stand Type) | Gold Supreme | * | 98125444 | 1 |  | 1 | 1100 | 1100
# | # | B.P.Instrument(Electronic) | Olex | VM44 | M01715 | 1 |  | 1 | 1100 | 1100
# | # | B.P.Instrument | Paramount | * | * | 1 |  | 1 | 650 | 650
# | # | Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave(Cooker Type) | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Boiller | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Nebulizer | Redimist | * | 012301 | 1 |  | 1 | 6500 | 6500
# | # | Autoclave(Cooker Type) | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | B.P.Instrument | Pagoda | * | * |  | 1 | 1 | 650 | 650
# | # | B.P.Instrument | Pagoda | * | * |  | 1 | 1 | 650 | 650
# | # | Baby Weighing Machine | * | * | * |  | 1 | 1 | 2500 | 2500
# | # | I.L.R | Vest Frost | * | * | 1 |  | 1 | 300000 | 300000
# | # | Deep Freezer | Vest Frost | * | * | 1 |  | 1 | 150000 | 150000
# | # | O.T.Light | * | * | * | 1 |  | 1 | 45000 | 45000
# | # | Foetal Heart Doppler | Hortcare | * | * | 1 |  | 1 | 80000 | 80000
# | # | Suction Machine | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Baby Weighing Machine | crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | labour table | * | * | * | 1 |  | 1 | 14000 | 14000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 21
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 754500
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 52815

## JAHALMAN PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-24
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | THIROT P.H.C (Lahul & Spiti)
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | B.P.Instrument(Stand) | Gold | * | 98125981 | 1 |  | 1 | 1100 | 1100
# | # | I.L.R | Vest Frost | * | * | 1 |  | 1 | 300000 | 300000
# | # | Deep Freezer | Haier | * | * | 1 |  | 1 | 150000 | 150000
# | # | Autoclave(Cooker Type) | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Needle Destroyer | Dunt Tray | * | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave(Vertical) | * | * | * | 1 |  | 1 | 65000 | 65000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 7
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 588800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 41216

## UDAIPUR CHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-24
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | UDAIPUR C.H.C (Lahul & Spiti)
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | B.P.Instrument | Paramount | * | * | 1 |  | 1 | 650 | 650
# |  | Microscope(Binocular) | Labotech | * | 958714 | 1 |  | 1 | 30000 | 30000
# |  | Needle Destroyer | Medigold | * | * | 1 |  | 1 | 1200 | 1200
# |  | Rotary Shaker | Indian | * | * | 1 |  | 1 | 4500 | 4500
# |  | Boiller (Small) | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Chemical Balance | Indian | * | * | 1 |  | 1 | 4500 | 4500
# |  | Analyser | Tras Asia | Erba | * | 1 |  | 1 | 200000 | 200000
# |  | Centrifuge | Remi | R4C | * | 1 |  | 1 | 6500 | 6500
# |  | Domestic Refrigerator | Videocon | * | * |  | 1 | 1 | 15000 | 15000
# |  | Hot Air Oven | Anelpam | * | * |  | 1 | 1 | 4500 | 4500
# |  | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Calorimeter | Biomed | Spectrum20 | 166 | 1 |  | 1 | 4500 | 4500
# |  | Needle Cutter | Medigold | * | * | 1 |  | 1 | 1200 | 1200
# | DENTAL | Boiller | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Dental Chair | Gratus | * | * | 1 |  | 1 | 150000 | 150000
# |  | Scaler | Denta Merica | * | * | 1 |  | 1 | 4500 | 4500
# |  | Needle Cutter | Life Care | * | * | 1 |  | 1 | 1200 | 1200
# |  | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Phototherapy Unit | Indian | * | * | 1 |  | 1 | 15500 | 15500
# |  | B.P.Instrument | * | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | * | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | * | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | * | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | * | * | * | 1 |  | 1 | 650 | 650
# |  | Pulse Oximeter | RMS | * | R12110N021A | 1 |  | 1 | 55000 | 55000
# |  | Nebulizer | Really Mst | * | 012295 |  | 1 | 1 | 6500 | 6500
# |  | Nebulizer | Nur italian | New Controler | 60699 |  | 1 | 1 | 6500 | 6500
# |  | Boiller | Indian | * | * |  | 1 | 1 | 6500 | 6500
# | MALE WARD | O2 Concentrator | * | 72009051195 | * | 1 |  | 1 | 45000 | 45000
# |  | Needle Cutter | Medigold | * | * | 1 |  | 1 | 1200 | 1200
# |  | Nebulizer | Readyneby | * | 201316101 | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | Omron | * | 654507 | 1 |  | 1 | 6500 | 6500
# | MOTHER CHILD WARD | Foetal Doppler | Pioneer | * | * | 1 |  | 1 | 80000 | 80000
# |  | Pulse Oximeter | Oneda GE | True Set | FCC140300255A | 1 |  | 1 | 55000 | 55000
# | O.T | Labour Table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Labour Table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Anesthesia Machine | Omeda | Boyles | * | 1 |  | 1 | 450000 | 450000
# |  | Phototherapy Unit | * | * | * |  | 1 | 1 | 15500 | 15500
# |  | B.P.Instrument | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | Boiller (Medium) | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Boiller (Small) | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Autoclave(Cooker) | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Ventilator | Man Meditech | Max40P | * | 1 |  | 1 | 350000 | 350000
# |  | Autoclave(Cooker) | * | * | * |  | 1 | 1 | 65000 | 65000
# |  | Pedestral Light | * | * | * | 1 |  | 1 | 10000 | 10000
# |  | Labour Table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Baby Warmer | * | * | BM/RW/01/194 | 1 |  | 1 | 38000 | 38000
# |  | Suction Machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Suction Machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Baby Weighing Machine | Swiser | * | * | 1 |  | 1 | 2500 | 2500
# |  | Baby Weighing Machine | Indian | * | * |  | 1 | 1 | 2500 | 2500
# |  | Needle Destroyer | Indian | * | * |  | 1 | 1 | 1200 | 1200
# | DOCTOR DUTY ROOM | Ultrasound Machine | Toshiba | Caperee | * | 1 |  | 1 | 450000 | 450000
# |  | E.C.G Machine | BPL | * | DOTA3K | 1 |  | 1 | 52000 | 52000
# | X-RAY | X-Ray Machine | Siemens | Play Foot | 03628 |  | 1 | 1 | 450000 | 450000
# |  | X-Ray Machine | GK | Simplex | * |  | 1 | 1 | 450000 | 450000
# |  | Dental X Ray | Medica | Medica 100 | 70000000000000000 | 1 |  | 1 | 450000 | 450000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 61
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3998050
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 279863.5

## TINGRET PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-26
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | TINGRET P.H.C
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Needle Destroyer | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# | # | Foetal Monitor | * | * | * | 1 |  | 1 | 80000 | 80000
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Nebulizer | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Nebulizer | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | I.L.R | Vest Frost | * | * | 1 |  | 1 | 300000 | 300000
# | # | Deep Freezer | Vest Frost | * | * |  | 1 | 1 | 150000 | 150000
# | # | Solar Fridger | * | * | * |  | 1 | 1 | 150000 | 150000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 17
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 719900
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 50393

## HANSA PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-26
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | HANSA P.H.C
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Blood Weighing Machine | Braun | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle Destroyer | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Autoclave(Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | # | Domestic Refrigerator | Samsung | * | * | 1 |  | 1 | 15000 | 15000
# | # | Autoclave(Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | B.P.Instrument | Indian | D*J-210 | * | 1 |  | 1 | 650 | 650
# | # | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Centrifuge | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Microscope(Binocular) | Indian | * | * | 1 |  | 1 | 30000 | 30000
# | # | Glucometer | Accu Check | * | GN21893291 | 1 |  | 1 | 1400 | 1400
# | # | Boiller(Indian) | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | I.L.R | Vestfrost | * | * | 1 |  | 1 | 300000 | 300000
# | # | Deep Freezer | Vestfrost | * | * | 1 |  | 1 | 150000 | 150000
# | # | Baby Weighing Machine | Fanita | * | * | 1 |  | 1 | 2500 | 2500
# | # | Weighing Machine | Krups | * | * | 1 |  | 1 | 2500 | 2500
# | # | Weighing Machine | Croun | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle Destroyer | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave(Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | Baby Weighing Machine | * | * | * |  | 1 | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 26
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 738700
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 51709

## CHC SHANSHA
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-24
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC SHANSHA
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | ILR | Vest Frost | * | * | 1 |  | 1 | 250000 | 250000
# | # | Deep Freezer | Vest Frost | * | * | 1 |  | 1 | 250000 | 250000
# | # | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Dental Chair | Confident | * | * | 1 |  | 1 | 150000 | 150000
# | # | Needle Cutter | Mediguard | * | * | 1 |  | 1 | 1200 | 1200
# | # | Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | Binocular Microscope | MLW | * | 980715 |  | 1 | 1 | 30000 | 30000
# | # | Monocular Microscope | Olympus | Magnus | * |  | 1 | 1 | 18500 | 18500
# | # | Centrifuge | Alpine | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Biochemistry Analyzer | RMS | CA201 | 61002375 | 1 |  | 1 | 200000 | 200000
# | # | Baby Weighing Machine | Misaki | * | 3753 | 1 |  | 1 | 3500 | 3500
# | # | Binocular Microscope | Labomed | Vision 2000 | * | 1 |  | 1 | 30000 | 30000
# | # | Ultrasound Machine | L & T | * | N0615162 | 1 |  | 1 | 450000 | 450000
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | OT Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# | # | Suction Machine | Vikrant | * | * | 1 |  | 1 | 65000 | 65000
# | # | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Labour Table | * | * | * | 1 |  | 1 | 14000 | 14000
# | # | ILR | Vest Frost | * | * |  | 1 | 1 | 250000 | 250000
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | BP Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | BP Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | BP Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | Nebulizer | Profix | * | * | 1 |  | 1 | 6500 | 6500
# | # | BP Apparatus | * | * | * | 1 |  | 1 | 650 | 650
# | # | BP Apparatus | Paramount | * | * | 1 |  | 1 | 650 | 650
# | # | Needle Cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# | # | OT Light | * | * | * | 1 |  | 1 | 45000 | 45000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 31
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1986850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 139079.5

## PHC THOLONG
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-24
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC THOLONG
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP Apparatus | Pioneer | * | 365039 | 1 |  | 1 | 650 | 650
# | # | Nebulizer | Profix | PFX-070 | 104006480 | 1 |  | 1 | 6500 | 6500
# | # | BP Apparatus | Heart Care | * | * | 1 |  | 1 | 650 | 650
# | # | Vertical Autoclave | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Ottoscope | Mediguard | * | * | 1 |  | 1 | 45000 | 45000
# | # | OT Light | * | * | * | 1 |  | 1 | 45000 | 45000
# | # | Resuscitation Kit | * | * | * | 1 |  | 1 | 1100 | 1100
# | # | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle Cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# | # | Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | Suction Machine | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | BP Apparatus | Pioneer | * | * | 1 |  | 1 | 650 | 650
# | # | Glucometer | Romson | * | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave | * | * | * |  | 1 | 1 | 65000 | 65000
# | # | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 18
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 273450
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 19141.5

## PHC PHURA
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-24
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC PHURA
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | ILR | Vest Frost | * | * | 1 |  | 1 | 250000 | 250000
# | # | BP Apparatus | Smart Care | * | * | 1 |  | 1 | 650 | 650
# | # | Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | Autoclave | Indian | * | * | 1 |  | 1 | 65000 | 65000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 4
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 318150
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 22270.5

## PHC DARCHA
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-24
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DARCHA
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP Apparatus | Pioneer | * | * | 1 |  | 1 | 650 | 650
# | # | Baby Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Deep Freezer | Ducas Solar | * | * | 1 |  | 1 | 250000 | 250000
# | # | ILR | Unicef | * | * | 1 |  | 1 | 250000 | 250000
# | # | Baby Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | BP Apparatus | Gold Supreme | * | * |  | 1 | 1 | 650 | 650
# | # | BP Apparatus | Gold Supreme | * | * |  | 1 | 1 | 650 | 650
# | # | BP Apparatus | Gold Supreme | * | * |  | 1 | 1 | 650 | 650
# | # | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# | # | Nebulizer | Profix | * | * | 1 |  | 1 | 6500 | 6500
# | # | Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | Glucometer | * | * | * | 1 |  | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 597000
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 41790

## RH KEYLONG
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-23
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | RH Keylong
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | INJECTION ROOM | Needle Cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | BBR | SM Scientific Instrument | * | * |  | 1 | 1 | 250000 | 250000
# |  | BBR | Haier | * | * | 1 |  | 1 | 250000 | 250000
# |  | BBR | Haier | * | * | 1 |  | 1 | 250000 | 250000
# |  | Domestic Refrigerator | Whirlpool | * | * | 1 |  | 1 | 15000 | 15000
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# |  | BP Apparatus | * | * | * |  | 1 | 1 | 650 | 650
# |  | BP Apparatus | * | * | * |  | 1 | 1 | 650 | 650
# |  | BP Apparatus | * | * | * |  | 1 | 1 | 650 | 650
# |  | BP Apparatus | * | * | * |  | 1 | 1 | 650 | 650
# |  | BP Apparatus | * | * | * |  | 1 | 1 | 650 | 650
# |  | BP Apparatus | * | * | * |  | 1 | 1 | 650 | 650
# | OPD | BP Apparatus | Pioneer | * | * | 1 |  | 1 | 650 | 650
# |  | Biochemistry Analyzer | Trenasia | ERGA CHEM 5 Plus | * | 1 |  | 1 | 200000 | 200000
# |  | Incubator | * | * | * | 1 |  | 1 | 375000 | 375000
# |  | Centrifuge | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Rotor Shaker | Eastern Surgical | * | * | 1 |  | 1 | 4500 | 4500
# |  | Binocular Microscope | Labotron | * | 958705 |  | 1 | 1 | 30000 | 30000
# |  | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | INDOOR | X-Ray Machine | Elpro | * | 40290 | 1 |  | 1 | 450000 | 450000
# |  | Dental X-Ray | Medico Imaging Company | * | * |  | 1 | 1 | 450000 | 450000
# |  | X-Ray Machine | Promax | * | * |  | 1 | 1 | 450000 | 450000
# |  | X-Ray Machine | BHEL | * | * |  | 1 | 1 | 450000 | 450000
# |  | X-Ray Machine | Siemens | 5301 | 1138 |  | 1 | 1 | 450000 | 450000
# |  | ECG Machine | RMS | Vesla | * | 1 |  | 1 | 52000 | 52000
# |  | ECG Machine | BPL | Cardiart 8108 | DOTA3K 1804 | 1 |  | 1 | 52000 | 52000
# |  | ECG Machine | TRISMED | * | F4812RH | 1 |  | 1 | 52000 | 52000
# |  | ECG Machine | BPL | Cardiart 8108 | AHIF0022 | 1 |  | 1 | 52000 | 52000
# |  | ECG Machine | BPL | Cardiart 8108 | * |  | 1 | 1 | 52000 | 52000
# |  | ECG Machine | BPL | Cardiart 8108 | C5G5217 |  | 1 | 1 | 52000 | 52000
# | INDOOR | ECG Machine | BPL | Cardiart 8108 | 9241 | 1 |  | 1 | 52000 | 52000
# | IMMUNIZATION DEPTT | ILR | Unicef | * | BAMB6D1 0076 |  | 1 | 1 | 250000 | 250000
# |  | Domestic Refrigerator | Zenith | * | * | 1 |  | 1 | 15000 | 15000
# |  | ILR | Vest Frost | * | * | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Vest Frost | * | * | 1 |  | 1 | 250000 | 250000
# |  | ILR | Dulas | VC15FV | 1588-042 | 1 |  | 1 | 250000 | 250000
# |  | Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# | FEMALE WARD | Nebulizer | Mehar | * | 1276 | 1 |  | 1 | 6500 | 6500
# |  | BP Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | Needle Cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Suction Machine | Vikrant | * | * | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | MCP | * | * | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | MCP | * | * | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | Ready Neby | * | 1275 | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | Ready Neby | * | 1278 | 1 |  | 1 | 6500 | 6500
# |  | Oxygen Concentrator | Medoxy | * | * | 1 |  | 1 | 45000 | 45000
# | OT | Horizontal Autoclave | Yorco | * | * | 1 |  | 1 | 55000 | 55000
# |  | Suction Machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# |  | OT Light | Cognet | * | * | 1 |  | 1 | 45000 | 45000
# |  | Hydraulic OT Table | Cognet | * | * | 1 |  | 1 | 70000 | 70000
# |  | Labour Table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Aneasthesia Machine | * | * | * | 1 |  | 1 | 450000 | 450000
# |  | Ventillator | * | * | * | 1 |  | 1 | 600000 | 600000
# |  | Vertical Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# |  | Pulse Oximeter | Ohmeda | * | FBFA 02938 | 1 |  | 1 | 55000 | 55000
# |  | Radiant Warmer | * | * | * | 1 |  | 1 | 38000 | 38000
# |  | Centrifuge | * | * | 143910 | 1 |  | 1 | 6500 | 6500
# | LABOUR ROOM | Phototherapy | Bird Meditek | * | 1314 | 1 |  | 1 | 15500 | 15500
# |  | Incubator | * | * | * | 1 |  | 1 | 375000 | 375000
# |  | Labour Table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Oxygen Concentrator | Taurus | * | 107A | 1 |  | 1 | 45000 | 45000
# |  | Radiant Warmer | Bird Meditek | * | BM/RW/175/06/1314 | 1 |  | 1 | 38000 | 38000
# |  | Suction Machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Baby Weighing Machine | SWISSER | * | * | 1 |  | 1 | 2500 | 2500
# |  | Fetal Doppler | Pioneer | * | * | 1 |  | 1 | 80000 | 80000
# |  | Spot Light | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Mediguard | * | * | 1 |  | 1 | 1200 | 1200
# |  | BP Apparatus | Ashoka | * | * | 1 |  | 1 | 650 | 650
# | MALE WARD | Oxygen Concentrator | Taurus | * | 8710110 | 1 |  | 1 | 45000 | 45000
# |  | Multipara Monitor | RMS | * | P5121010013 | 1 |  | 1 | 80000 | 80000
# |  | BP Apparatus | * | * | * |  | 1 | 1 | 650 | 650
# | FEMALE WARD | Ventillator | Hamilton | * | * |  | 1 | 1 | 600000 | 600000
# |  | Pulse Oximeter | RMS | * | * |  | 1 | 1 | 55000 | 55000
# |  | Suction Machine | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Suction Machine | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Suction Machine | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | OT Light | * | * | * |  | 1 | 1 | 45000 | 45000
# |  | Nebulizer | Filmnova | * | 249344 | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | Filmnova | * | N249298 | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | Smart Care | * | 60655 | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | Smart Care | * | 49690 | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | Smart Care | * | 4729 |  | 1 | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Phototherapy | * | * | * |  | 1 | 1 | 15500 | 15500
# |  | Autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 106
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 8256000
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 577920

## CHC KAZA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-18
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | CHC KAZA
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | Indoor | BP apparatus | Gene | * | * | 1 |  | 1 | 650 | 650
# |  | Patient moniter | Philips | * | Usc3002727 | 1 |  | 1 | 80000 | 80000
# |  | Needle cutter | Kaimson | * | * | 1 |  | 1 | 1200 | 1200
# |  | Infant warmer | Meditech | Bird innova | 04/1415 | 1 |  | 1 | 38000 | 38000
# |  | Infant weinghing m/c | Swisser | * | * | 1 |  | 1 | 2500 | 2500
# |  | Infant weinghing m/c | Healtho meter | * | * | 1 |  | 1 | 2500 | 2500
# |  | Suction m/c | Anand medical | HIVAC | * |  | 1 | 1 | 6500 | 6500
# |  | Fatal moniter | Surgicoin | FD 55 | * | 1 |  | 1 | 80000 | 80000
# |  | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Labour table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | O2 conn. | Medoxy | Joy-5 | MZJ514007 | 1 |  | 1 | 45000 | 45000
# |  | Nebulizer | Gene | * | * |  |  | 1 | 6500 | 6500
# |  | Nebulizer | Miko | * | 1213 |  | 1 | 1 | 6500 | 6500
# |  | Nebulizer | * | F400 | 08A308A0243 |  | 1 | 1 | 6500 | 6500
# |  | BP apparatus | Perfect | Unique | 5050 |  | 1 | 1 | 650 | 650
# | OT | Oxygen conn. | mediguard | JAY5 | MZ2010052945 | 1 |  | 1 | 45000 | 45000
# |  | Domestic refre. | Videocon | * | * | 1 |  | 1 | 15000 | 15000
# |  | O2 conn. | Airsep | New life | 965295 |  | 1 | 1 | 45000 | 45000
# |  | ECG m/c | BPL | 108T DIGE | CGNJIB13451 |  | 1 | 1 | 52000 | 52000
# |  | Autoclave vertical | * | * | * | 1 |  | 1 | 65000 | 65000
# |  | Suction m/c(2) | Anand surgical | Surgi vac | * |  | 1 | 1 | 6500 | 6500
# |  | Suction m/c | Monarch surgical | MSI-RG-02 | 4651208 |  | 1 | 1 | 6500 | 6500
# |  | O2 conn. | Airsep | New life | * |  | 1 | 1 | 45000 | 45000
# |  | Infant warmer | Infant unit | * | * |  | 1 | 1 | 38000 | 38000
# |  | Ceiling light | * | * | * | 1 |  | 1 | 150000 | 150000
# |  | Spot light | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Autoclave vertical | * | * | * | 1 |  | 1 | 65000 | 65000
# |  | Autoclave cooker type | * | * | * | 1 |  | 1 | 65000 | 65000
# |  | Fumigator | * | * | * | 1 |  | 1 | 4500 | 4500
# |  | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Ceiling light | * | * | * | 1 |  | 1 | 150000 | 150000
# |  | Spot light | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | O2 conn. | Airsep | * | * | 1 |  | 1 | 45000 | 45000
# |  | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | Operation table | * | * | * | 1 |  | 1 | 45000 | 45000
# | Lab | Centrifuse | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# |  | Microscope bino. | Labomed | Vision2000 | 16294 | 1 |  | 1 | 30000 | 30000
# |  | Microscope bino. | Ajay optic | * | 03D5650 | 1 |  | 1 | 30000 | 30000
# |  | Bio chemistry analyser | Transasia | Che 7 | N130851 | 1 |  | 1 | 200000 | 200000
# |  | Bio chemistry analyser | Transasia | CHC 5 Plus | * |  | 1 | 1 | 200000 | 200000
# |  | Incubator | Amabasadar | * | * | 1 |  | 1 | 375000 | 375000
# |  | Domestic refre. | Videocon | S091DLX | * | 1 |  | 1 | 15000 | 15000
# |  | X-raye m/c | Allengers | * | * | 1 |  | 1 | 450000 | 450000
# |  | Incubator | Indian | * | * |  | 1 | 1 | 375000 | 375000
# |  | ECG m/c | Mortora | ELIZ 50 | * | 1 |  | 1 | 52000 | 52000
# |  | Ultrasound m/c | GE medical systems | Logic 100 | 7295WG9 | 1 |  | 1 | 450000 | 450000
# | Dental | Dental chair | DCI | * | * | 1 |  | 1 | 150000 | 150000
# |  | Autoclave vertical | * | * | * | 1 |  | 1 | 65000 | 65000
# |  | Sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle cutter | Kaimson | * | * | 1 |  | 1 | 1200 | 1200
# |  | Suction m/c | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | BP apparatus | Potent | BS-200 | * | 1 |  | 1 | 650 | 650
# |  | BP apparatus (2) | Supreme surgico | Gold supreme | * |  | 1 | 1 | 650 | 650
# |  | BP apparatus | Novaphon | 304159 | * |  | 1 | 1 | 650 | 650
# |  | BP apparatus(7) | Supreme surgico | Heart care | * |  | 1 | 1 | 650 | 650
# |  | Infant weinghing m/c | Tanita | * | * | 1 |  | 1 | 2500 | 2500
# |  | Adult weinghing m/c | * | * | * | 1 |  | 1 | 2500 | 2500
# |  | Glucometre | Rennex medical | Romo chek | * | 1 |  | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 58
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3587550
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 251128.5

## PHC KIBBER
Name of Consultant :- | [6 empty] | Date:- |  | 18/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | PHC KIBBER
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | Doctor room | BP apparatus(diat type) | Diamons gold | * | * | 1 |  | 1 | 650 | 650
# |  | Gluco meter | Rennex medical | Romo check | 303N000207C | 1 |  | 1 | 1200 | 1200
# |  | Adult weighing m/c | Perfect | * | * | 1 |  | 1 | 2500 | 2500
# |  | Domestic ref. | Gogrej | * | * | 1 |  | 1 | 15000 | 15000
# |  | Needle cutter | Life care | * | * | 1 |  | 1 | 1200 | 1200
# |  | BP appratus(lcd) type) | Diamond | BPDG034 | * | 1 |  | 1 | 1100 | 1100
# |  | Sterilizer | Indian | * | * |  | 1 | 1 | 6500 | 6500
# |  | Nebulizer | Romsons | GS9010 | 2014-1 | 1 |  | 1 | 6500 | 6500
# |  | ECG m/c | Allengers | Pisces A-106 | 1405062040213 | 1 |  | 1 | 52000 | 52000
# |  | BP apparatus | Medikits | * | * |  | 1 | 1 | 650 | 650
# |  | Autoclave |  | * | * | 1 |  | 1 | 65000 | 65000
# |  | BP apparatus | Supreme surgico | Heart care | * |  | 1 | 1 | 650 | 650
# |  | Oxygen con. | Air sep | New life | 926789 Ins.date | 1 |  | 1 | 45000 | 45000
# |  | Suction m/c | * | * | * | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 203800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 14266

## PHC LOSSAR
Name of Consultant :- | [6 empty] | Date:- |  | 18/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  | PHC LOSSAR
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP apparatus | * | * | * | 1 |  | 1 | 650 | 650
# | # | Adult weighing m/c | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | Infant weighing m/c | * | * | * | 1 |  | 1 | 2500 | 2500
# | # | ECG m/c | * | * | * | 1 |  | 1 | 52000 | 52000
# | # | O2 conn. | * | * | * |  | 1 | 1 | 45000 | 45000
# | # | Glucometer | Renner medical | Romo-check | * | 1 |  | 1 | 1200 | 1200
# | # | Bp apparatus LCD | * | * | * | 1 |  | 1 | 1100 | 1100
# | # | Suction m/c | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Deep freezer | Vestfrost | * | * | 1 |  | 1 | 250000 | 250000
# | # | Nebulizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Pulse oxymetre | * | * | * | 1 |  | 1 | 55000 | 55000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 422950
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 29606.5

## PHC SAGNAM
Name of Consultant :- | [6 empty] | Date:- |  | 14/8/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SAGNAM
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Needle cutter | Life care | * | * | 1 |  | 1 | 1200 | 1200
# | # | Glucometer | Rennex medical | Romo check | * | 1 |  | 1 | 1200 | 1200
# | # | BP aapparatus | Perfect | * | 7529 |  | 1 | 1 | 650 | 650
# | # | Deep freezer | * | SB-142 | 89140778 | 1 |  | 1 | 250000 | 250000
# | # | ILR | * | MK-144 | 91208805 | 1 |  | 1 | 250000 | 250000
# | # | Adult weighing m/c | Samso | * | * | 1 |  | 1 | 2500 | 2500
# | # | Adult weighing m/c | Samso | * | * | 1 |  | 1 | 2500 | 2500
# | # | BP aapparatus | Diamond | * | * | 1 |  | 1 | 650 | 650
# | # | BP aapparatus | * | * | * |  | 1 | 1 | 650 | 650
# | # | BP aapparatus | Doctor | * | * |  | 1 | 1 | 650 | 650
# | # | BP aapparatus | Pagoda | * | * |  | 1 | 1 | 650 | 650
# | # | O2 conn. | Airsep | * | * | 1 |  | 1 | 45000 | 45000
# | # | Microscope binoculars | Olympus | * | 514788 | 1 |  | 1 | 30000 | 30000
# | # | BP aapparatus | Smart care | * | * | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 13
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 585100
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 40957

## PHC TABO
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-17
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TABO
Equipment ID | Department | EQUIMENT DES. | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | O2 conn. | Airsep | New life | 926790 | 1 |  | 1 | 45000 | 45000
# | # | BP apparatus | Heine | Gamas.s | * | 1 |  | 1 | 650 | 650
# | # | Nebulizer | * | FA400 | * | 1 |  | 1 | 6500 | 6500
# | # | Adult weighing m/c | Healthro meter | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle cutter | Medigard | * | * | 1 |  | 1 | 1200 | 1200
# | # | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | Sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | BP apparatus ST | Supreme surgico | Heart care | * | 1 |  | 1 | 650 | 650
# | # | Adult weighing m/c | Libra | * | * | 1 |  | 1 | 2500 | 2500
# | # | Deep freezer | Vestfrost | ME144 | 85001519 | 1 |  | 1 | 250000 | 250000
# | # | ILR | Vestfrost | MK142 | 81153977 | 1 |  | 1 | 250000 | 250000
# | # | Needle cutter | life care | * | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave | Alert | * | * |  | 1 | 1 | 65000 | 65000
# | # | Dental chair | confident | * | * | 1 |  | 1 | 150000 | 150000
# | # | Microscope bino. | MLU | * | 16295 | 1 |  | 1 | 30000 | 30000
# | # | Microscope mono. | * | * | * |  | 1 | 1 | 18500 | 18500
# | # | Centrifuse | Remi | * | * |  | 1 | 1 | 6500 | 6500
# | # | Glucometer | Rennex medical | Romo chek | 303N0002006 | 1 |  | 1 | 1200 | 1200
# | # | X-raye m/c | Elpro | Stallion 50 | c/90577 | 1 |  | 1 | 450000 | 450000
# | # | Incubator | Wetber | * | * | 1 |  | 1 | 375000 | 375000
# | # | Bio-chemistry ana. | Robonik | Prietest touch | AT0620714RBK | 1 |  | 1 | 200000 | 200000
# | # | BP apparatus | Diamond | lcd deluxe | * | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 21
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1825050
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 127753.5

## SISU PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-22
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | SISU P.H.C
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Microscope(Binocular) | Olympus | MLW | 320008980715 | 1 |  | 1 | 30000 | 30000
# | # | Needle Destroyer | Eleconcer | * | * | 1 |  | 1 | 1200 | 1200
# | # | Baby Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | # | Autoclave(Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | I.L.R (140 L) | Vest Frost | * | * |  | 1 | 1 | 300000 | 300000
# | # | Deep Freezer(140L) | Vest Frost | * | * | 1 |  | 1 | 150000 | 150000
# | # | Baby Weighing Machine | Misaki | * | * | 1 |  | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 7
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 551200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 38584

## GONDLA PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-22
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | GONDHLA P.H.C
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Baby Weighing Machine | Masak | * | * | 1 |  | 1 | 2500 | 2500
# | # | Deep Freezer | Haier | * | * | 1 |  | 1 | 150000 | 150000
# | # | I.L.R | Unicef | * | * | 1 |  | 1 | 300000 | 300000
# | # | O2 Concentrator | Medoxy | * | MZZ009051382 | 1 |  | 1 | 45000 | 45000
# | # | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | # | B.P.Instrument | Pionear | * | * | 1 |  | 1 | 650 | 650
# | # | Glucometer | Accucheck | * | * | 1 |  | 1 | 1400 | 1400
# | # | Needle Destroyer | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Nebulizer | * | * | 80131610 | 1 |  | 1 | 6500 | 6500
# | # | B.P.Instrument | * | * | * | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 500000
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 35000

## GEMUR PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-24
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | GEMUR P.H.C
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Needle Cutter | Microsd | * | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave(Vertical) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | Spot Light | * | * | * | 1 |  | 1 | 6500 | 6500
# | # | Deep Freezer | Vestfrost | * | * | 1 |  | 1 | 150000 | 150000
# | # | I.L.R | Vestfrost | * | * | 1 |  | 1 | 300000 | 300000
# | # | Glucometer | Ramson | * | * | 1 |  | 1 | 1400 | 1400
# | # | B.P.Instrument | Heratcare | * | * | 1 |  | 1 | 650 | 650
# | # | B.P.Instrument(Stand Type) | Novaphone | * | 185600 | 1 |  | 1 | 1100 | 1100
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 525850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 36809.5