## GENERAL HOSPITAL ZIRO
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-17
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | GENERAL HOSPITAL ZIRO
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | X-RAY ROOM | Dental X-Ray Machine | New Life Radilogy | * | 11869 | 1 |  | 1
# |  | X-Ray Machine | Siemens | i-3400 | 1740 |  | 1 | 1
# | ULTRA SOUND ROOM | USG Machine | Surabi | R-8 | A52593 | 1 |  | 1
# |  | Elisa Reader | * | * | * | 1 |  | 1
# |  | Elisa Washer | * | * | * | 1 |  | 1
# |  | X-Ray Machine | GE | * | * | 1 |  | 1
# | PATH LAB | Binocular Microscope | Labotron | Bi-2000 | 958649 | 1 |  | 1
# |  | Centrifuge | Remi | * | DNLC/2516 | 1 |  | 1
# |  | Monocular Microscope | Poland | * | * |  | 1 | 1
# |  | Centrifuge | * | * | * |  | 1 | 1
# |  | Incubator | * | * | * | 1 |  | 1
# |  | Oven | * | * | * | 1 |  | 1
# |  | Domestic Refrigerator | LG | * | * | 1 |  | 1
# |  | Analyzer | * | * | * | 1 |  | 1
# | EPI | ILR | Vest Frost | MK-144 | 85008240 | 1 |  | 1
# |  | Deep Freezer | Vest Frost | MF-144 | 91400857 | 1 |  | 1
# |  | ILR | Vest Frost | MK-144 | * | 1 |  | 1
# | DENTAL ROOM | Standing B. P. Instrument | Novaphon | * | 106433 |  | 1 | 1
# |  | Dental Chair | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | 204044 |  | 1 | 1
# | INJECTION ROOM | Needle Cutter (Electric) | Poineer | * | * |  | 1 | 1
# | DRESSING ROOM | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Heltho Meter | 1752 | * | 1 |  | 1
# |  | Baby Weighing Machine | Misicay | * | * | 1 |  | 1
# |  | B. P. Instrument | Diamond | * | 12020061 20668 | 1 |  | 1
# | OPD | Adult Weighing Machine | Heltho Meter | 1752 | * | 1 |  | 1
# |  | B. P. Instrument | Medigold | * | 98134438 | 1 |  | 1
# |  | B. P. Instrument | Novaphon | * | 59931 | 1 |  | 1
# |  | B. P. Instrument | Gold Supreme | * | 98110607 | 1 |  | 1
# |  | Adult Weighing Machine | Heltho Meter | 1752 | * | 1 |  | 1
# |  | Adult Weighing Machine | Heltho Meter | 1752 | * | 1 |  | 1
# |  | Adult Weighing Machine | Heltho Meter | 1752 | * | 1 |  | 1
# |  | B. P. Instrument | Novaphon | * | 246473 | 1 |  | 1
# |  | Binocular Microscope | Olympus | CH-20i | i10E031 | 1 |  | 1
# | NVBDCP | Binocular Microscope | Olympus | Magnus | 1000260 |  | 1 | 1
# |  | Monocular Microscope | * | * | * |  | 1 | 1
# |  | Binocular Microscope | Unilab | * | 23826 |  | 1 | 1
# |  | Elisa Reader | Robonik | Read Well Touch | RT0260314RBK | 1 |  | 1
# |  | Elisa Washer | Robonik | Wash Well Plate | AW00304114RBK | 1 |  | 1
# | BLOOD BANK | BBR | Haier | HXC-608A | BE06PNEit00B2 | 1 |  | 1
# |  | BBR | Haier | HXC-608A | B2BA0006 | 1 |  | 1
# |  | BBR | Terumo Penpol | BBR AG10166 | 505072 | 1 |  | 1
# |  | BBR | Labtab | LBR-100 | 12072774 | 1 |  | 1
# |  | BCM | Remi | BCM-10 Ultra | EFCM-738 | 1 |  | 1
# |  | Tube Sealer | Labtab | * | 12062A35 | 1 |  | 1
# |  | B. P. Instrument | Diamond | * | * | 1 |  | 1
# |  | Elisa Reader | Robonik | Read Well Touch | RT0030414RBK | 1 |  | 1
# |  | Elisa Reader | Alere | AM2100 | 451303120 | 1 |  | 1
# |  | Centrifuge | * | * | * | 1 |  | 1
# |  | Monocular Microscope | Olympus | * | * | 1 |  | 1
# |  | Water Bath | Micro | * | * | 1 |  | 1
# |  | Water Bath | * | * | * |  | 1 | 1
# |  | Oven | * | * | * | 1 |  | 1
# |  | VDR | Remi | RS-12R | FFCN-930 | 1 |  | 1
# |  | VDR | Ke | * | * |  | 1 | 1
# |  | Binocular Microscope | Coslab | * | * |  | 1 | 1
# |  | Binocular Microscope | Alere | * | * |  | 1 | 1
# |  | Adult Weighing Machine | Dr. Diaz | * | * | 1 |  | 1
# |  | Domestic Refrigerator | Godrej | GD-22 | * | 1 |  | 1
# |  | B. P. Instrument | Diamond | * | 67196 | 1 |  | 1
# |  | Domestic Refrigerator | Haier | * | * | 1 |  | 1
# | CASUALTY ROOM | Suction Machine | Surgi-VAC | C-190 | 12 | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Spot Light | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Adult Weighing Machine | * | * | * | 1 |  | 1
# |  | B. P. Instrument | Diamond | * | 1390 | 1 |  | 1
# | SISTER ROOM | B. P. Instrument | Diamond | * | * | 1 |  | 1
# |  | Nebulizer | OMRON | NE-C25 | 549450 | 1 |  | 1
# |  | B. P. Instrument | Medigold | * | * | 1 |  | 1
# | OT | Adult Weighing Machine | krups | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Misaki | * | * | 1 |  | 1
# |  | OT Table | Indian | * | * | 1 |  | 1
# |  | Ceiling Light | * | * | * |  | 1 | 1
# |  | Mobile OT | Surgix | * | * | 1 |  | 1
# |  | Electro Surgical Unit | OM Surgical | 400W | 73260 804 | 1 |  | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# |  | B. P. Instrument | Novaphon | * | 70221 | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Boyle's Apparatus | * | * | * | 1 |  | 1
# |  | Multipara Monitor | Meditronics | EVA MP-12 | 707045 | 1 |  | 1
# |  | Fumigator | Biostar | * | * | 1 |  | 1
# |  | Electro Surgical Unit | Indian | * | * | 1 |  | 1
# |  | Oven | * | * | * | 1 |  | 1
# |  | Electro Costic Unit | Docfriend | * | * |  | 1 | 1
# |  | Traction Machine | Indian Iteaiosug Ltd | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * |  | 1 | 1
# |  | Ceiling Light | * | * | * |  | 1 | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Domestic Refrigerator | Tropicana | * | * | 1 |  | 1
# |  | Vertical Autoclave | * | * | * |  | 1 | 1
# | STORE | Boyle's Apparatus | Anand | * | * | 1 |  | 1
# |  | ECG Machine | Mek | MP-2005 | 2006-02 L-0145 |  | 1 | 1
# |  | Suction Machine | * | * | * |  | 1 | 1
# |  | Suction Machine | * | * | * |  | 1 | 1
# |  | Suction Machine | * | * | * |  | 1 | 1
# |  | Spot Light | * | * | * |  | 1 | 1
# |  | Spot Light | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# | EYE OT | OT Microscope | Shin Nippon | OP-2 | * | 1 |  | 1
# |  | OT Table | * | * | * | 1 |  | 1
# | SNCU | Infant Warmer | AV1 Health Care | D-20 1W 5200 | NTD202 K1406 003/02 | 1 |  | 1
# |  | Phototherapy | * | * | * | 1 |  | 1
# |  | Phototherapy | * | * | * | 1 |  | 1
# |  | Phototherapy | * | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1
# |  | Examination Light | * | * | * | 1 |  | 1
# |  | Oxygen Concentrator | Mediwave | JAY-5 | MZ20 100548 55 | 1 |  | 1
# |  | Incubator | AV1 Health Care | * | * | 1 |  | 1
# |  | Infant Warmer | AV1 Health Care | D-20 1W 5200 | NTD202 K1406 003/01 | 1 |  | 1
# |  | Infant Warmer | United | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Examination Light | * | * | * | 1 |  | 1
# |  | Examination Light | * | * | * | 1 |  | 1
# |  | X-Ray Machine | Vision | Vision-100 | * | 1 |  | 1
# |  | Oxygen Concentrator | Medi Wave | JAY-5 | MZISD 01645 | 1 |  | 1
# |  | Vertical Autoclave | OMRON | * | * | 1 |  | 1
# |  | Vital Sign Monitor | * | * | * | 1 |  | 1
# |  | Vital Sign Monitor | * | * | * | 1 |  | 1
# |  | Vital Sign Monitor | * | * | * | 1 |  | 1
# |  | Multipara Monitor | Medi Wave | * | * | 1 |  | 1
# |  | Automatic B. P. Instrument | OMRON | HEM-7113 | 20130 701972 VGI | 1 |  | 1
# |  | Automatic B. P. Instrument | OMRON | HEM-7113 | 78VGI | 1 |  | 1
# |  | Automatic B. P. Instrument | OMRON | HEM-7113 | 74VGI | 1 |  | 1
# |  | Automatic B. P. Instrument | OMRON | HEM-7113 | 73VGI | 1 |  | 1
# |  | ECG Machine | Medi Wave | 1003 | 130 | 1 |  | 1
# |  | ECG Machine | Medi Wave | 1003 | 129 | 1 |  | 1
# |  | Syringe Infusion Pump | Guangzho | * | B322 0007 | 1 |  | 1
# |  | Syringe Infusion Pump | Guangzho | * | B240008 | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# | LABOUR ROOM | Spot Light | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | Infant Warmer | AV1 Health Care | D-20 1W 5200 | 105 | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Suction Machine | Easy Care | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Misaki | * | * | 1 |  | 1
# |  | Oxygen Concentrator | * | * | 0021 341 | 1 |  | 1
# |  | B. P. Instrument | Diamond | * | * | 1 |  | 1
# |  | Ultrasound Machine | Xuzhou KAIXIN | AX2000 G | 0709 070 | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 147
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
10142500

## OLD ZIRO CHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-20
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | OLD ZIRO CHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | # | B. P. Instrument | Diamond | * | * | 1 |  | 1
# | # | Adult Weighing Machine | Heltho Meter | * | * | 1 |  | 1
# | LABOUR ROOM | Baby Weighing Machine | Crown | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Labour Table | * | * | * | 1 |  | 1
# |  | Suction Machine | Surgi- VAC | C-190 | 14 |  | 1 | 1
# |  | Suction Machine | * | * | * |  | 1 | 1
# | OT | Hydraulic OT Table | * | * | * |  | 1 | 1
# |  | Spot Light | * | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * | 1 |  | 1
# | STORE | Baby Weighing Machine | Crown | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Mobile OT Light | * | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Crown | * | * |  | 1 | 1
# |  | Adult Weighing Machine | * | * | * |  | 1 | 1
# |  | B. P. Instrument | Smart Care | * | * | 1 |  | 1
# | LAB | Binocular Microscope | Olympus | CH20i | i100219 | 1 |  | 1
# |  | Monocular Microscope | * | * | * |  | 1 | 1
# | EPI | Deep Freezer | Haier | * | BE04G 4E260 0132A5 |  | 1 | 1
# |  | ILR | Vest Frost | MK-144 | 85008180 | 1 |  | 1
# |  | Deep Freezer | Anand | * | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 25
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost
* | Not Available
0
1405800

## YAZALI CHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-19
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | YAZALI CHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | MO ROOM | B. P. Instrument | Diamond | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Crown | Victoral-DX | * | 1 |  | 1
# | SISTER ROOM | Needle Cutter | Mediguard | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | B. P. Instrument | Diamond | * | * | 1 |  | 1
# | PATH LAB | Binocular Microscope | MLW | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Crown | Victoral-DX | * | 1 |  | 1
# |  | Monocular Microscope | Unilab | * | * |  | 1 | 1
# | LABOUR ROOM | Spot Light | Medigold | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Infant Warmer | Indian Surgical | * | * |  | 1 | 1
# |  | Baby Weighing Machine | * | * | * | 1 |  | 1
# |  | B. P. Instrument | Medigold | * | 98134510 | 1 |  | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# | DENTAL ROOM | Dental Chair | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# | X-RAY ROOM | X-Ray Machine | * | * | * |  | 1 | 1
# | STORE | Suction Machine | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Needle Cutter | * | * | * |  | 1 | 1
# |  | Needle Cutter | * | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | * | * | * |  | 1 | 1
# | EPI | Deep Freezer | Vest Frost | MF-144 | 2001380 6678 | 1 |  | 1
# |  | ILR | Vest Frost | MK-144 | 8500 8160 | 1 |  | 1
# |  | Adult Weighing Machine | Heltho Meter | * | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 26
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
1358550

## YACHULI PHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-19
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | YACHULI PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | # | B. P. Instrument | Diamond | * | * | 1 |  | 1
# | # | B. P. Instrument | Medi Line | * | * | 1 |  | 1
# | # | B. P. Instrument | Medi Line | * | * |  | 1 | 1
# | # | B. P. Instrument | Medi Line | * | * | 1 |  | 1
# | # | Adult Weighing Machine | Crown | Vectral-DX | * | 1 |  | 1
# | LABOUR ROOM | Baby Weighing Machine | * | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Suction Machine | Dynamic | * | * | 1 |  | 1
# |  | Spot Light | * | * | * | 1 |  | 1
# |  | Infant Warmer | Indian Surgical | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Labour Table | * | * | * | 1 |  | 1
# | LAB | Monocular Microscope | Olympus | Magnus | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | ILR | Vest Frost | MK-144 | 2001390 2376 | 1 |  | 1
# |  | Deep Freezer | Haier | HBD-116 | BE04G 4E2B0 0B2A540163 | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 19
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
669600

## RAGA CHC
Name of Consultant :- | [7 empty] | DATE:- | 2015-07-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | RAGA CHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | B.P Apparatus | Diamond | * | 1 |  | 1
# |  | Adult weighing m/c | Dr.gene | * | 1 |  | 1
# | Labour Room | Centrifuge | Remi | * | 1 |  | 1
# |  | Microscope | Olympus | CH20I/I10E017 | 1 |  | 1
# |  | Sterilizer | Indian | * | 1 |  | 1
# | Injection Room | Adult weighing m/c | Victoria | * | 1 |  | 1
# |  | ILR | Vestfrost | MK144/85008268 | 1 |  | 1
# | MCH | Deepfreezer | Haier | HBD-116 | 1 |  | 1
# |  | Cooker type Autoclave | Indian | * | 1 |  | 1
# |  | Sterilizer | Indian | * | 1 |  | 1
# | Labour Room | Suction m/c | Surgivac | * | 1 |  | 1
# |  | Adult weighing m/c | Indian | * | 1 |  | 1
# |  | Labour table | Indian | * | 1 |  | 1
# |  | Spot light | indian | * | 1 |  | 1
# |  | Baby weighing m/c | Indian | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
653150

## PHC PORU
Name of Consultant :- | [7 empty] | DATE:- | 2015-12-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PORU PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | B.P Apparatus | Disha | * | 1 |  | 1
# |  | Adult weighing m/c | Crown | * | 1 |  | 1
# |  | Adult weighing m/c | Victoria DX | * |  | 1 | 1
# |  | B.P Apparatus | Indian | * | 1 |  | 1
# |  | Hub cuttter | Indian | * | 1 |  | 1
# |  | Sterilizer | Indian | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 6
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
14000

## deepneelam
Name of Consultant :- | [7 empty] | DATE:- | 2015-07-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DEEPNEELAM
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | B.P Apparatus | Diamond | * | 1 |  | 1
# |  | Hub cutter | Indian | * | 1 |  | 1
# |  | ILR | vestfrost | MK-144 | 1 |  | 1
# |  | Deep freezer | vestfrost | MK-142 | 1 |  | 1
# |  | Adult weighing m/c | Dr.daiz | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 5
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
504350

## dolungmukh phc
Name of Consultant :- | [7 empty] | DATE:- | 2015-07-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | DOLUNG MUKH PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | B.P Apparatus | Mamtas | * | 1 |  | 1
# |  | B.P Apparatus | Mamtas | * |  | 1 | 1
# |  | Hub cutter | Indian | * | 1 |  | 1
# |  | Foot suction m/c | Indian | * | 1 |  | 1
# |  | Adult weighing m/c | Indian | * |  | 1 | 1
# |  | Adult weighing m/c | Krups | * | 1 |  | 1
# |  | B.P Apparatus | Diamond | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 7
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
14650

## PISTAN PHC
Name of Consultant :- | [7 empty] | DATE:- | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PISTANA PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | B.P Apparatus | Mamtas | * | 1 |  | 1
# |  | Adult weighing m/c | Dr.diaz | * | 1 |  | 1
# |  | B.P Apparatus | Novaphon | * |  | 1 | 1
# |  | Baby weighing m/c | * | * |  | 1 | 1
# |  | Strerilizer | Indian | * | 1 |  | 1
# |  | Hub cutter | Indian | * | 1 |  | 1
# |  | B.P Apparatus | Novaphon | * |  | 1 | 1
# |  | B.P Apparatus | Novaphon | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
16300