## dental
MASTER EQUIPMENT BASE
Department: Dental General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | Dental X-RAY | 1 | _ | MOBILE X-RAY 50mA | _ | _ | _ | _ | N/A | Required | Working | 1
2 | Dental Chair with unit | 1 | Confident | MOOKAMBIKA | _ | 4,20,000/- | 865/HR/G-1/2012-2013/54Dated-30.01.13 | 03.05.13 | 2 Years | Warranty | Working | 1
|  | 1 | Confident | MOOKAMBIKA | _ | 4,20,000/- | 865/HR/G-1/2012-2013/Dated-30.01.13 | 03.05.13 | 2 Years | Warranty | Working | 1
T0TAL |  | 3 | [9 empty] | 3 | 0

## Emergency
MASTER EQUIPMENT BASE
Department:Emergency General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT AT TIME OF PURCHASE | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | OT-Light | 2 | _ | _ | _ | _ | _ | _ | _ | Not Required | Not Working | 1 | 1
2 | Suction Mchine | 1 | _ | _ | _ | _ | _ | _ | _ | Not Required | Working | 1
| Suction Machine (electrical) | 1 | Astha medical device | _ | _ | 7800/- | 06.9.11 | 31.5.11 | _ | Under warranty | Working | 1
3 | Autoclave | 1 | _ | _ | _ | _ | _ | _ | _ | Not Required | Working | 1
4 | ECG Machine | 1 | BPL Limited | CARDIART-6108(12 LEAD) | T1A 3574 | _ | _ | 29.03.2001 | _ | Required | Working | 1
|  | 1 | Allenger | PISCES-A-103 | 2K1303524013-P | 41089 | 854/HR/G-1/2012-13/56 DT- 01/03/13 | 09.04.13 | 1 YEAR | warranty | Working | 1
5 | Resuscitator, hand-operated, neonate, 250 ml | 1 | Systum Plus | _ | _ | _ | 247137/14.04.11 | 26.5.11 | 1 YEAR | Under warranty | Working | 1
6 | Resuscitator, hand-operated, neonate, 500ml | 2 | Systum Plus | _ | _ | _ | 247137/14.04.11 | 27.5.11 | 1 YEAR | Under warranty | Working | 2
7 | Suction Machine (Foot Operated) | 3 | Systum Plus | _ | _ | _ | 247139/14.04.11 | 29.5.11 | 1 YEAR | Under warranty | Working | 3
8 | Weighing Machine Ordinary | 1 | Systum Plus | _ | _ | _ | 247139/14.04.11 | 29.5.11 | 1 YEAR | Under warranty | Working | 1
9 | Truma Ambulance | 1 | Critical care | _ | _ | _ |  | 2008-04-01 | _ |  | Working | 1
10 | Nebulizer | 2 | Yarco Sales india pvt.ltd | _ | _ | _ | 247143/14.04.11 | 05.05.11 | 1 YEAR | Under warranty | Working | 2
11 | Advance life support Ambulance | 2 | Furnished by MGM Associates | Force traveller | engine no.- D 37031685, D 37031818 | 18.12.13 | IND10-0000019489/01.11.13 | 713115.62+74483.20/-each | 2 YEARS | Under warranty | Working | 2
12 | Ambulance | 1 | Gulzar motor pvt. Ltd. | Maruti | engine no.- GI2BN295614 | 425322 | IND10-0000019490 DT. 31.07.13 | 22.10.13 | 1 YEAR | Under warranty | Working | 1
13 | Weighting machine | 1 | System plus | ordinary |  | 1075 | IND10-0000019441,dt-13.08.14 | 07.02.14 | 1 YEAR | warranty |  | 1
TOTAL |  | 16 | [8 empty] | 14 |  | 2
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## gyne
MASTER EQUIPMENT BASE
Department:Gyne General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Contact details |  | Remarks
[12 empty] | Working | Non-Working | Name | Mobile no
1 | Suction Machine | 1 | _ | _ | _ | _ | _ | _ | _ | _ | Working | 1
| Suction Machine(electrical) | 1 | Astha medical device | _ | _ | 7800/- | 06.9.11 | 28.5.11 | _ | _ | Working | 1 |  |  |  | Need to be Repair
2 | Warmer | 2 | Medi Wave | INFANT CARE | _ |  |  |  | _ | _ | Working | 2
3 | OT-Light | 1 | LOCAL | _ | _ | _ | _ | _ | _ | _ | Not Working |  | 1 |  |  | Need to be Repair
|  | 1 | Universal | _ | _ | 1,28,000/- | 20.05.08 | 10.6..08 | _ | _ | Working | 1
|  | 1 | Cognate | Vision6 M |  | 59660 | 641 dt: 01.08.14 | 02.10.14 |  |  | Working | 1
4 | Suction Machine (Foot Operated) | 2 | Systum Plus | _ | _ | _ | 247139/14.04.11 | 29.5.11 | _ | _ | Working | 2 |  | Mr Arvind 09899384128
5 | Weighing Machine Ordinary | 2 | Systum Plus | _ | _ | _ | 247139/14.04.11 | 29.5.11 | _ | _ | Working | 2
6 | Autoclave Sterilizer (Vertical) | 1 |  | _ | _ | _ | 1.04.11 | 31.05.11 | _ | _ | Working | 1
7 | glucometer | 1 | biomedicare laboratories | carrycare | _ | 8656/- | 18.05.11 | 19.5.11 | _ | yes | Working | 1
|  | 25 | Mds, karnal | optium | _ |  | 4.7.11 | 5.7.11 | _ | yes | Working | 25
8 | Nebulizer | 2 | Yarco Sales india pvt.ltd | _ | _ | _ | 247143/14.04.11 | 05.05.11 | _ |  | Working | 2
9 | Room heater | 1 | Systum Plus | _ | _ | 6190 | IND10-0000019659 DT-19.08.13 | 15.01.14 | _ | yes | Working | 1
10 | Foetal doppler | 2 | Contech Medical(Evergreen Enterprises) | Sonoline B | _ | 3790 | NRHM/Foetal Doppler/2013-14/72853 Dt:-30.12.13 | 16.05.14,30.10.14 | 2 years | Warranty | Working | 2
11 | Open Care Warmer | 1 | Phoenix medical system Pvt. Ltd | OCW-100 | TU-1082 | 1,47,760+tax/- | 06.04.11 | 26.04.11 | 2 Year |  | Working | 1
| TOTAL | 45 | [9 empty] | 44 | 1
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## LAB
MASTER EQUIPMENT BASE
Department:LAB General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT | PO Date | DOI | Warranty Upto | AMC/ CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | Sami Auto Analyser | 1 | Transasia Bio-medicals | ERBA-CHEM-5X | SL.NO-438401 | 75,294/- | 26.03.10 | 02.02.11 | _ | _ | Working | 1
|  | 2 | Transasia Bio-medicals | ERBA-CHEM-5X | 10335 ,10338 | _ | _ | 19/2/02 | _ | _ | Not Working |  | 2 | Need to be Repair
2 | Hot Air Ovan | 1 | Surological | _ | _ | _ | _ | _ | _ | _ | Working | 1
3 | Incubator | 1 | Surological | _ | _ | _ | _ | _ | _ | _ | Working | 1
4 | Centifuse machine | 1 | Biomed Instruments | _ | _ | 18,000/- | 31.7.06 | 4.10.06 | _ | _ |  | 1 | 0
|  | 2 | Microsil | _ | _ | _ | _ | _ | _ | _ | Working | 2
5 | Cell Counter | 1 | Nihon Kohden | MEK-6318K | 00640 | _ | _ | 2002-02-16 | _ | _ | Not Working |  | 1 | Need to be condom
6 | Electrode | 1 | Erba | Transesia | 428401 | _ | _ | _ | _ | _ | Not Working |  | 1 | Need to be Repair
7 | Analyser | 1 | Erba | Instylte | _ | _ | _ | _ | _ | _ | Not Working |  | 1 | Need to be Repair
8 | Microscope Binuclear | 1 | Radical | _ | _ | _ | _ | _ | _ | _ | Not Working |  | 1 | Need to be Repair
|  | 1 | Labomed | vision-2000 |  | 17,900/- | 12.02.08 | 13.2.08 | _ | _ | Working | 1
|  | 4 | Nikon | _ |  |  |  |  | _ | _ | Working | 4
9 | Sepctro Photo meter(colourimeter) | 1 | Microsil | _ |  |  | 16.6.07 | 24.7.07 | _ | _ | Working | 1
10 | Dry Chemistry Analyser Reflector | 1 | _ | _ | _ | _ | _ | _ | _ | _ | Working | 1
11 | Distil water m/c | 1 | _ | _ | _ | _ | _ | _ | _ | _ | Working | 1
12 | Mobile Shadowless operating lamp with four Reflectors | 3 | Evergreen Enterprises | CBF-4 | _ | 35,906/- | 24.11.09 | 24.11.09 | _ | _ | Working | 3
13 | ion meter table top(Floride Meter) | 1 | Thermo Scientific(USA), Dealer-chiron insrument | Orion Dual Star | E-04924 | 331875/- | 32/3-4PH-012/31,12.01.12 | 14.3.12 | 1 YEARS | _ | Working | 1
14 | Cell Counter | 1 | URIT Medical Electronics | URIT 2900 Plus | 2900pluse1402 | 250355 | 7/4-2-ipd-2014/810 dt-10.02.14 | 28.03.14 | 2 years | _ | Working | 1
15 | Blood gas analyzer | 1 | Transasia Bio-medicals | Erba Instyte calcium | 1234A |  |  | 2.02 |  |  | Not Working |  | 1 | To be condem
16 | Elecrolyte Analyzer | 1 | Dhona Instruments pvt.ltd. | Dhona 200D | 88587 |  |  | 05.06.2001 |  |  | Not Working |  | 1 | To be condem
| TOTAL | 27 | [9 empty] | 19 | 8
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## NICU
MASTER EQUIPMENT BASE
Department:NICU General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT | PO Date | DOI | Warranty Upto | AMC/ CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | Bed Side Paitent Monitoring System | 4 | schillar Healthcare India Pvt.ltd | Truscope-2,12.1", nellcor | B-06731139, B-0673108, B-0673092, B-0663111 | 4,71,280/- | 21.03.11 | 26.03.11 | I Year | _ | Working | 4
2 | SPO2 PROBE | 4 | schillar Healthcare India Pvt.ltd | NELLCORE with extention |  |  | 21.03.12 | 26.03.12 | 3 Year | _ | Working | 4
3 | Oxygen Concentrators | 2 | Moditech International Chandigarh | Medoxy(Jay-5A) | MZ-2010052676,MZ-2010052672 | 70,720/- | 31.03.11 | 31.03.11 | 2 Year | _ | Working | 2
5 | Neo Natal Resuscitation Care system | 3 | Phoenix medical system Pvt. Ltd | NRC-100 | TU-1032 to TU-1034 | 20,7,786+tax/- | 16.04.11 | 26.04.11 | 2 Year | _ | Working | 3
|  | 5 | Phoenix medical system Pvt. Ltd | OCW-100 | TU-1195,1191,1193,1190,1194 | 68200 | #347693 DT. 26.11.2012 | 01.08.13 | 3 Year | _ | Working | 5
6 | Syringe Pump | 3 | South India Surgical co.ltd, Chennai | SP-500, EURO PLUG | 70071, 0070061, 0070081 | 1,58,028/- | 19.04.11 | 19.04.11 | 2 Year | _ | Working | 3
7 | Phototherapy Unit | 2 | Carevel Medical Equipment PVT.LTD | _ | _ | 43,500/- | 10.06.08 | 10.06.08 | _ | _ | Working | 2
8 | Ventilator | 1 | Hamilton Medical | Galileo | _ | _ | _ | _ | _ | _ | Working | 1
9 | Transport Incubator | 1 | Adrame | _ | SL.NO-593 | 48.500/- | 12.03.10 | 08.04.10 | I Year | _ | Working | 1
10 | Radiant Warmer | 1 | Advance Diagnistic | _ | SL.NO-581 | 48,500/- | 11.03.10 | 01.04.10 | I Year | _ | Working | 1
11 | CFL Phototherapy Unit | 1 | Phoenix medical system Pvt. Ltd | CFL101 | TU-1040 to TU-1044 | 14,4,776+tax/- | 06.04.11 | 26.04.11 | 2 Year | _ | Working | 1
|  | 4 |  |  |  |  | 16.04.11 | 26.04.11 to 29.04.11 | 2 Year | _ | Working | 4
12 | Resuscitator, hand-operated, neonate, 250 ml | 3 | Systum Plus | _ | _ | _ | 247137/14.04.11 | 26.5.11 | _ | _ | Working | 3
13 | Resuscitator, hand-operated, neonate, 500ml | 6 | Systum Plus | _ | _ | _ | 247137/14.04.11 | 27.5.11 | _ | _ | Working | 6
14 | Suction Machine (Foot Operated) | 2 | Systum Plus | _ | _ | _ | 247139/14.04.11 | _ | _ | _ | Working | 2
15 | Suction Machine (Electrical) | 2 | Systum Plus | _ | _ | _ |  |  | _ | _ | Working | 2
16 | Digital Weighing Machine | 2 | Yarco Sales india pvt.ltd | _ | _ | _ | 247140/14.04.11 |  | _ | _ | Working | 2
17 | Weighing Machine Ordinary | 1 | Systum Plus | _ | _ | _ | 247139/14.04.11 |  | _ | _ | Working | 1
|  | 2 | pankaj medical agency | _ | _ | 4060/- | 27.06.08 | 30.06.08 | _ | _ | Working | 2
18 | Irradiance meter for phototherapy units | 1 | Wipro health caare delhi | Bilibanket Meter | 40003663 | 86100 | UNOPS-0000247415/Dated-04.05.11 | 14.12.11 | 2 years | No | Working | 1
19 | Glucometer with Strips | 3 | Biomedicare laboratories delhi | _ | _ | _ | 247147/14.04.11 |  | _ | _ | Working | 3
20 | Oxygen Hood | 2 | Surgicoin mediquipment Sonipet | _ | _ | _ | 247144/14.04.11 | 21.10.11 | _ | _ | Working | 2
21 | X-Ray Machine | 1 | Allenger | MARS15 | 2K130115022-X/HF | 4,60000/- | 11.01.13 | 08.02.13 | 2 YEARS | _ | Working | 1
22 | Infant Warmer | 1 | Wipro GE healthcare | Embrace Nest Starter | FD09040412100144 | 13125/- | UNOPS-0000347223 | 04.04.13 | 1 YEARS | _ | Working | 1
23 | ROOM HEATER (oil filled) | 2 | Systum Plus | _ | _ | 6120+vat/- | 8.11.11 | 27.12.11 | _ | _ | Working | 2
24 | Serum Billirubinometer | 1 | Drager(Cardiocare) | JM-103(Non-Invasive) | 3204885 | 201495/- | IND10-0000019491 | 03.10.13 | 2 YEAR+5 YEAR CMC | Warranty | Working | 1
25 | Infanto Meter | 2 | Collatral medical(System Plus) | Pedia Medica 909 | _ | 1857 | IND10-0000020636/Dt-24.12.13 | 24.12.13 | 1 years | Warranty | Working | 2
|  | 62 | [8 empty] | 62

## RADIOLOGY
MASTER EQUIPMENT BASE
Department:RADIOLOGY General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT | Supply Order | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[13 empty] | Working | Non-Working
1 | X-Ray(300mA) | 1 | IR-Rays India(MDS Laboratories) | _ | _ | 5,85,000 | RCH/CSM/08/901/DT:-10.07.08 | 24/07/2008 | 24/07/2008 | _ | _ | Working | 1
| X-Ray(500mA) | 1 | GE-Healthcare | DX-525,Regent | SI-0126-5006 | _ | _ | _ | 2001-02-11 | _ | _ | Working | 1
2 | X-Ray(150 mA) | 1 | Allenger | Mars-15 | 2K130115022-X/HF | 4,60,000 | UNOPS/SNCU//150-X-RAY/2012-13/7233 DATED: 11.01.13 | 11.01.13 | .08.02.13 | 2 YEARS+5 YEAR CMC | _ | Working | 1
3 | X-Ray 100 mA Portable | 1 | Rays India(MDS Laboratories) | 100D | R 150460708 | 1,82,000/- | RCH/CSM/08/901/DT:-10.07.08 | 24.7.08 | 24.7.08 | _ | _ | Working | 1
4 | Ultasound system | 1 | Philips | HD-3 | B01202300006435 | 85,0720/- | HLL/PCD/NRHM-01/09-10/5682 DT:-26.03.10 | 26.03.10 | 11.06.10 | _ | _ | Working | 1
|  | 1 | Surbhi | _ | _ | 4,85,000/- | _ | 30.6.08 | 30.6.08 | _ | _ | Working | 1
| TOTAL | 6 | [10 empty] | 6
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## O.T.
MASTER EQUIPMENT BASE
Department:O.T General Hospital Mewat |  | General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT |  | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[7 empty] | Supply order | [5 empty] | Working | Non-Working
1 | OT-light | 3 | Surgicon | Mobile | _ | _ | _ | _ | _ | _ | _ | _ | 3
|  | 3 | Sukrash India Pvt.ltd | _ | _ | _ | _ | _ | _ | _ | _ | _ | 2 | 1
2 | C-ARM Image Intensifier | 1 | Meditronics Health Care ltd. | Surgico-60-DHF | SL.NO-G9K122 | 7,80,000/- | 763/HR/G-1/2007-08/52/DT:-21.08.09 | 21.08.09 | 31.10.09 | _ | _ | Working | 1
|  | 1 | Technix | TCA-4R-PLUS | 26-01-17-83 |  |  |  |  | _ | _ | Not Working |  | 1
3 | Cardic Monitor | 1 | BPL | BM-5519 | W1F-1211 |  |  |  |  | _ | _ | Working | 1
4 | Pulse Oxymeter | 1 | Criticare | 504 PLUS | 126-DC 5029 |  |  |  |  | _ | _ | Working | 1
|  | 1 | Criticare | 504 Plus | 126-DC5043 |  |  |  |  | _ | _ | Not Working |  | 1
5 | Coutary | 1 | Surgicon | DX-400 | [5 empty] | _ | _ | Working | 1
|  | 1 | Surgicon | DX-401 | _ | _ | _ | _ | _ | _ | _ | Working | 1
6 | Suction Machine | 1 | Astha medical device | _ | _ | 2100/- | 06.9.11 | 27.9.11 | _ | _ | _ | Working | 1
8 | Anesthesia m/c | 4 | Datex Ohmeda | Boyal Basic | _ | _ | _ | _ | _ | _ | _ |  | 2 | 2
7 | Nebulizer | 1 | OB Concept |  | 001210 | _ | _ | _ | _ | _ | _ | Not Working |  | 1
8 | Microscope | 1 | International | Mollar-HS-Wedel | SN-855 | _ | _ | _ | _ | _ | _ | Working | 1
|  | 1 | NK | WD-200 | 24232 | _ | _ | _ | _ | _ | _ | Working | 1
|  | 1 | Vesine | VIOM-05Z | _ | _ | _ | _ | _ | _ | _ | Not Working |  | 1
9 | Warmer | 2 |  | _ | _ | _ | _ | _ | _ | _ | _ | Working | 2
10 | ECG Machine 12 Chanel Computer with Software | 1 | Universal | 2K | _ | 1,33,120/- | RCH/CSM/08/167/DT:- 20.5.08 | 10.6..08 | 10.06.08 | 2 Year | _ | Working | 1
11 | Slit Lamp | 1 | Nidek | SL-250 | 22283 | _ | _ | _ | _ | _ | _ | Working | 1
12 | Ultrasonics A- Scan | 1 | DGH Technologies Pvt. Ltd | DGH-3000B | 2242 | _ | _ | _ | _ | _ | _ | Working | 1
13 | Eye Operating Microscope | 1 | Mollar Wedal | Microflx-F | SN-855 | 3,92,725/- | _ | 31.03.10 | 20.04.10 | _ | _ | Working | 1
|  | 1 | Carl zess | OPMI1FR PRO | 10148 OPMI | 979000 | 877/HR/G-1/2014-15/64 dt: 04.03.14 | 04.03.14 | 24.06.14 | 2 years |  | working | 1
14 | Oertli Phaco emulsification system | 1 | Toshbro Medical pvt.ltd | Catarhex Swisstech | SL.NO-39600026 | 11,91,062/- | _ | 15.02.10 | 20.04.11 | _ | _ | Working | 1
15 | Cardiac Monitor With Defibrilator | 1 | Schillar India Pvt. Ltd. | DG-400 | _ | 3,66,181/- | _ | 17.06.10 | 02.07.10 | 5 Year | _ | Working | 1
16 | Emergency Rescusion Kit | 3 | Surgical Mediquipment pvt.ltd | _ | _ | 2,27,340/- | _ | 15.02.10 | 03.08.10 |  | _ | Working | 3
17 | Autoclave Bench Top Microprocessor(32 lt.) | 1 | Evergreen Enterprises(surgicoin pvt.ltd.) | CMP-32 | _ | 2,50,000/- | 7/9-2/MDS-2009/3174/DT:-1.8.09 | 24.11.09 | 25.11.09 | _ | _ | Working | 1
18 | Slit lamp | 1 | Toshbro Medical pvt.ltd | SL900 | 22283 | 3,61,920/- | _ | 25.05.10 | 17.09.10 | _ | _ | Working | 1
19 | OT Table | 4 | Quality Instrument | _ | _ | _ | _ | _ | _ | _ | _ | Working | 2 | 2
20 | Open Care Warmer | 1 | Phoenix medical system Pvt. Ltd | OCW-100 | TU-1081 | 1,47,760+tax/- | _ | 06.04.11 | 26.04.11 | 2 Year | _ | Working | 1
21 | Karatrometer | 1 | Ascon medical instruments | ASK970A | 910248 | [6 empty] | working | 1
22 | Eye Coutery | 1 | Ascon medical instruments | WBC-980D | 901305 | [6 empty] | working
TOTAL |  | 43 | [9 empty] | 34 |  | 9

## Eye OPD
MASTER EQUIPMENT BASE
Department: EYE OPD General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT | PO Date | DOI | Warranty Upto | AMC/ CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | Streak ratino Scope | 1 | Heine Germany | Beta200 | [6 empty] | Working | 1
2 | Eco Scan | 1 | Nidek | Us-800 | 83310 | _ | _ | _ | _ | _ | Working | 1
3 | Direct Opthalmoscope | 1 | Heine Germany | Beta200 | _ | 30525 | 877/HR/G-1/2013-14/41 DT-31.01.14 | 12.03.14 | 2 YEARS | _ | Working | 1
4 | Indirect Opthalmoscope | 1 | Heine Germany | Omega 500 LED | 1121010584 | 180952+vat | IND10-0000022102 DT: 06.11.14 | 24.02.15 | 3 YEARS | Warranty | Working | 1
| TOTAL | 4 | [9 empty] | 4
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## ENT Room
MASTER EQUIPMENT BASE
Department: ENT General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT AT TIME OF PURCHASE | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | Audio Meter | 1 | ALPS International Pvt. Ltd. | AD-2100 | A1114L058R | 157500 | IND10-0000022100 Dt:06.11.14 | 28.01.15 | 2 YEARS | Warranty | Working | yes
2 | Interacostics Impedance Audio meter | 1 | ALPS International Pvt. Ltd. | AT-235-H | 917622 | 393750 | IND10-0000022100 Dt:06.11.14 | 28.01.15 | 2 YEARS | Warranty | Working | yes
3 | Brain Stem Evoked Response (BSER) Audiometer | 1 | Neurosoft, Russia | Neuroaudio ABR with ASSR | 0677UX | 595000 | IND10-0000022101 Dt:06.11.14 | Pending | 2 years | Warranty | Working | yes |  | Room not ready for installation
4 | Otoacoustics Emission (OAE) Screening Unit | 1 | Neurosoft, Russia | Neuroaudio Screen | 0292UX | 270476.19 | IND10-0000022101 Dt:06.11.14 | pending | 2 YEARS | Warranty | Working | yes |  | Room not ready for installation
| Total | 4 | [8 empty] | 4 |  | 0
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## BLOOD BANK
MASTER EQUIPMENT BASE
Department: Blood Bank General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT |  | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[7 empty] | Supply Order | [5 empty] | Working | Non-Working
1 | Blood Collaction Monitor With Shaker | 1 | Asia Pacific Medical device | OCW408 | 106 | 1,05,000/- | _ | 20.05.08 | 08.07.08 | _ | _ | Working | 1
2 | Autoclave vertical | 1 | Surgicoin | 22"*14" 5.5 for two drum | _ | 75,000+tax/- | 943dt:-4.05.11 | 04.05.11 | 20.06.11 | 1 year | _ | Working | 1
3 | Bloodbag tube Sealer | 1 | Asia Pacific Medical device | TS108 | AP1114 | 1,10,000/- |  | 27.6.08 | 08.07.08 | _ | _ | Working | 1
4 | Eliza Reader | 1 | TV-Tron | KC100 | 7234 | 1,75,000/- | RCH/CSM/08/164/DT:-20.05.08 | 27.6.08 | 30.6.08 | _ | _ | Working | 1
5 | Eliza Washer | 1 | TV-Tron | KWP100 | 7107 | 1,60,000/- | RCH/CSM/08/164/DT:-20.05.08 | 27.6.08 | 30.6.08 | _ | _ | Working | 1
6 | Bloodbag Weighing Scale | 2 | TV-Tron | OCM 408 | 106 | 9,500/- | CSM/RCH/08/64/DT:-20.05.08 | 27.6.08 | 30.6.08 | _ | _ | Working | 2
7 | Binuclear Microscope with coaxial Focusing Pathological | 1 | Scientific india pvt.ltd. | AJAY OPTICS(Microscan-20) | _ | 39,391/- | 946DT:-4/5/11 | 4.5.11 | 20.6.11 | I Year | _ | Working | 1
|  | 1 | labomed | vision2000 | 80116015 | _ | CSM/09/EX/956-57DT:-17.11.09 | _ | _ | _ | _ | Working | 1
8 | blood storage refrigrator(300 begsof 450ml) | 1 | Remi(astha medical device) | 415LAG | BDI-1978 | 293647/- |  | 20.6.11 | 20.6.11 | _ | _ | Working | 1
|  | 2 | Haier appliances(india) | HXC608A | BE06PME1T00B2B9P0010,BE06PME1T00B2B9N004 | 1,44,000/- |  | 16.2.12 | 16.2.12 | _ | _ | Working | 2
9 | Water Bath With Stirrer | 1 | Surological Astha Medical Device | MAC | OS11-7165 | 21,900+VAT/- | 943dt:-4.05.11 | 04.5.11 | 20.06.11 | _ | _ | Working | 1
10 | Incubator with line voltage corrector(355*355*355mm) | 1 | yorco sales pvt.ltd. | ysi.438.0 | _ | 32,000+vat/- | 943dt:-4.05.11 | 20.06.11 | 20.06.11 | _ | _ | Working | 1
11 | Electonic Balance(weighing machine for lab use) | 1 | citizen | _ | _ | _ | _ | _ | _ | _ | _ | Working | 1
12 | refrigrator(samsung 250lt.) | 3 | tera india new delhi | RJ-09 | 1228, 1231 | 59079/- | unops-000311891dt:-22/3/12 | 17.4.12 | 26.7.12 | _ | _ | Working | 3
13 | Hot air oven | 1 | Microsil india | universal(Linco sr. inc. chemical pvt.ltd.) | _ | _ | _ | _ | _ | _ | _ | Working | 1
14 | Laboratorty Centifuge | 1 | Microsil india | T-10 | 510/07 | _ | _ | _ | _ | _ | _ | Working | 1
15 | Laboratorty Hot Plate | 1 | Microsil india | _ | _ | _ | _ | _ | _ | _ | _ | Working | 1
16 | PH-Meter | 1 | Toshniwal Instrument MFG.Pvt.ltd. | TMP-85(a) | 08H405 | _ | _ | _ | _ | _ | _ | Working | 1
17 | RH View box | 1 | Insignia International | RVB-8L | _ | _ | _ | _ | _ | _ | _ | Working | 1
18 | Eliza Wash& Scan | 1 | Transasia | EM-6 ERBA LISA | 130620 | 316000/- | PROC.Service to state health society nrhm hr.#00072133 dt. 18.01.13 | 18.01.13 | 17.06.13 | 1 years | warranty | Working | 1
|  | 24 | [9 empty] | 24 |  | 0
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## Opthamological dept. (hidden)
MASTER EQUIPMENT BASE
Department: Opthamological dept. General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Contact details |  | Remarks
[12 empty] | Working | Non-Working | Name | Mobile no
1 | Dental Chair Unit | 5 | Suzident India pvt.ltd | Suz-dent |  | 1,55,739/- | 3.12.08 | 21.08.09 |  |  | Working | ok
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## Injection OPD
MASTER EQUIPMENT BASE
Department: inection OPD General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | ECG Machine | 1 | bionet | cardicare 2000 | _ | _ | 2006-05-17 | 8.8.06 | _ |  | Working | 1
2 | Room heater | 1 | Systum Plus | _ | _ | 6190 | IND10-0000019659 DT-19.08.13 | 15.01.14 | _ | yes | Working | 1
3 | ECG Machine | 1 | Allenger | PISCES-A-103 | 2K1303524013-P | 41089 | 854/HR/G-1/2012-13/56 DT- 01/03/13 | 09.04.13 | _ | warranty | Working | 1
| TOTAL | 3 | [8 empty] | 3
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## POST MARTAM
MASTER EQUIPMENT BASE
Department: POST MARTAM General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | DEEP FRIZER ( two body) | 1 | Sri Radhe print pack | _ | _ | _ | 17/11/09 | 18.11.09 | _ | _ | Working | 1
| TOTAL | 1 | [8 empty] | 1
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## GERNAL WARD
MASTER EQUIPMENT BASE
Department: Gernal ward General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT AT TIME OF PURCHASE | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | Nebulizer | 2 | Yarco Sales india pvt.ltd | _ | _ | _ | 247143/14.04.11 | 05.05.11 | _ | _ | Working | 2
Total |  | 2 | [8 empty] | 2 |  | 0
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## Physiotherapy
MASTER EQUIPMENT BASE
Department: Physiotherapy General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT AT TIME OF PURCHASE | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | Cervical Traction (Manual) | 2 | Superime Surgical | _ | _ | 870/- | 28/2/12 | 28/2/12 | _ | _ | Working | 2
2 | Cervical Traction (Intermittent) | 1 | Superime Surgical | _ | _ | 19500/- | 28/2/12 | 28/2/12 | _ | _ | Working | 1
3 | Exercise Bicycle | 1 | Superime Surgical | _ | _ | 5800/- | 28/2/12 | 2012-06-03 | _ | _ | Working | 1
4 | Walking Sticks | 5 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 5
5 | Gonio Calipers | 2 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 2
6 | Shoulder Wheel | 2 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 2
7 | Pulley | 2 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 2
8 | Walker (Ordenary) | 4 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 4
9 | Walker (Adjustable) | 2 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 2
10 | Lumber Traction | 1 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 1
11 | Gait Training Apparatus&Walking For Gait Training | 1 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 1
12 | Tran electric Nerve Stimulator (TENS) | 1 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 1
13 | Infrared Lamp | 2 | Superime Surgical | _ | _ | _ | 28/2/12 | _ | _ | _ | Working | 2
14 | Short Wave Diatheramy | 2 | Superime Surgical | _ | _ | 38500/- | 28/2/12 | 2012-05-03 | _ | _ | Working | 2
15 | Ultrasound Therapy | 1 | Superime Surgical | _ | _ | 9700/- | 28/2/12 | 2012-05-03 | _ | _ | Non Working | 0 | 1
Total |  | 29 | [8 empty] | 28 |  | 1
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## CCU
MASTER EQUIPMENT BASE
Department: CCU General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT AT TIME OF PURCHASE | PO Date | DOI | Warranty Upto | AMC/CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | ECG Machine | 1 | A-Span (Superime Surgical) | ECG-ultra | E11110019 | 21500/- | 16.02.12 | 05.03.12 | __ | __ | Working | 1
2 | ECG Machine (Compuerized) | 1 | A-Span (Superime Surgical) | ECG-ultra-3 | 2412060448 | 44300/- | 16.02.12 | 17/03/12 | __ | __ | Working | 1
3 | ECG Machine (Ordanary) | 2 | A-Span (Superime Surgical) | ECG-ultra-6 | 1911070165 | 56000/- | 16.02.12 | 17/03/12 | __ | __ | Working | 2
4 | Pulse Oximeter (Hand) | 3 | A-Span (Superime Surgical) | _ | _ | 13500/- | 28/02/12 | 2012-06-03 | __ | __ | Working | 3
5 | Pulse Oximeter (Table Top) | 2 | A-Span (Superime Surgical) | P-ULTRA | P-1041, P-1003 | 31500/- | 28/02/12 | 2012-06-03 | __ | __ | Working | 2
6 | Pulse Oximeter (Finger) | 10 | A-Span (Superime Surgical) | _ | _ | 2800/- | 28/02/12 | 2012-06-03 | __ | __ | Working | 10
7 | Cardiac Monitor With Defibrilator | 3 | Schillar India Pvt. Ltd. | DG-400 | J10B140, A-11D118, A-11D117 | 3,66,181/- | 17.06.10 | 02.07.10 | 5 Year | _ | Working | 3
8 | Multi Channel Monitor | 3 | A-Span (Superime Surgical) | S-12 ULTRA | 258007754, 258007762, 258007752 | 77900/- | 16.02.12 | 2012-05-03 | _ | _ | Working | 3
9 | Nebulizer | 1 | A-Span (Superime Surgical) | A-420 | _ | 1285/-+vat | 16.02.12 | 2012-05-03 | _ | _ | Working | 1
10 | Room Heater Oil Filled | 2 | System Plus | OREA | _ | 6120/- | 2012-12-01 | 18/1/12 | _ | _ | Working | 2
11 | ECOCARDIOGRAPHY Machine | 1 | Philips | HD11XE | US31470712 | 2650000/- | 870/HR/G-1/2013-14/40 DT:-31.01.14 | 09.05.14 | 2 YEARS |  | WORKING | 1
| Total | 29 | [8 empty] | 29
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## Training Center
MASTER EQUIPMENT BASE
Department: Training Center General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT AT TIME OF PURCHASE | PO Date | DOI | Warranty Upto | AMC/ CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | Maniqiuin Gynoclogical Simulator | 1 | Jolly technocarts | S504.100zoe Gynoclogical Simulator | 01-14-011944 | 1417000 | IND10-0000020479 DT-13.12.13 | 27/01/14 | 2 YEAR | Under warranty |  | yes
2 | Maniquin (Portable Birthing Simulator | 1 | Mama Natalie | _ | _ | 25465 | IND10-0000020481 DT-13.12.13 | 15.01.14 | 1 YEAR | Under warranty |  | yes
3 | Maniquin (New born resuseitation kit) | 1 | Neo Natile | _ | _ | 14500 | IND10-0000020482 DT-13.12.14 | 13.01.14 | 1 YEAR | Under warranty |  | yes
| Total | 3 | [8 empty] | 3
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat

## Genset
MASTER EQUIPMENT BASE
Department: Genrator Room General Hospital Mewat
S.no | Equipment name | Qty | Manufacturer | Model | Sr no. of Equipment | COST OF EQUIPMENT AT TIME OF PURCHASE | PO Date | DOI | Warranty Upto | AMC/ CMC | Status | Working status |  | Remarks
[12 empty] | Working | Non-Working
1 | Gen Set125 KVA | 1 | Karloskar | _ | _ | _ | _ | _ | _ | _ | _ | 1
2 | Genset 75 KVA | 1 | Mahindra (Sanjay Diesels | 41035GM | V4H135F3694 | 587000/- | 18.09.2013 | 01.10.2013 | 1 year | Warranty | Working | 1
| Total | 2
This list was prepared according to Central Store, store and concerned department of General hospital, Mewat