## Table 1
Created by Online2PDF.com
Govt. of Odisha
Odisha State Medical Corporation
Odisha State Medical Corporation, ,SDMU Campus,In Front of Ram Mandir,Convent Square, Unit-3 Bhubaneswar Odisha-751001 Phone-0674-2380-606/660/950
Equipment Inventory Report
Sl No. | State | District | Facility | Equipment Name | Serial No. | Equipment Category | Manufacturer | Model | Price | Date of Installation | Under Warranty | Warranty Expiry Date | Under AMC | AMC_CMC Upto | Functional/ Non-functional | Price
Name of Institution : Balasore-DHH Institution Type : DHH
1 | Odisha | Balasore | Balasore DHH | 300mA X-Ray Machine | 33742 | Radiology(Balasore) | M/s Siemens Limited | Siemens - Pleophos D (300mA) | 496666 | 2005-04-04 | No |  | No |  | Functional | 450000 | 300mA X-Ray Machine | 450000
2 | Odisha | Balasore | Balasore DHH | 300mA X-Ray Machine | 35325 | Radiology(Balasore) | M/s Elpro (IGE) International Ltd | GE Elpro - DX-300 | 493428 | 1993-04-07 | No |  | No |  | Non-functional non repairable | 450000 | AIR EATHER MACHINE | 20000
3 | Odisha | Balasore | Balasore DHH | AIR EATHER MACHINE | DHHBLSOT059 | OT(Balasore) | HOSPITECH | MINI COMPACT | 20200 | 2005-07-15 | No |  | No |  | Non-functional | 20000 | Autoclave | 10000
4 | Odisha | Balasore | Balasore DHH | Autoclave | DHHBLSEYE060 | OT(Balasore) | Others | Auto Clave00 | 0 | 2001-07-04 | No |  | No |  | Non-functional | 10000 | Autoclave Portable | 10000
5 | Odisha | Balasore | Balasore DHH | Autoclave. | DHHBLSSNCU005 | SNCU(Balasore) | Variety Byapar pvt ltd | Autoclave(Portable) | 0 | 2006-07-06 | No |  | No |  | Functional | 10000 | Auto Refractometer | 120000
6 | Odisha | Balasore | Balasore DHH | Autoclave. | DHHBLSSNCU004 | SNCU(Balasore) | Variety Byapar pvt ltd | Autoclave(Portable) | 0 | 2006-07-06 | No |  | No |  | Non-functional | 10000 | Baby Suction | 5000
7 | Odisha | Balasore | Balasore DHH | Autoclave. | DHHBLSICU015 | ICU(Balasore) | Yorco | YSI-401 | 12500 | 2013-06-14 | No |  | No |  | Functional | 10000 | Billirubino Meter | 5000
8 | Odisha | Balasore | Balasore DHH | Autoclave. | 851 | OT(Balasore) | Yorco | YSI-401 | 0 | 2005-07-02 | No |  | No |  | Functional | 10000 | Binocular Microscope | 25000
9 | Odisha | Balasore | Balasore DHH | Autoclave Portable | DHHBLSOT035 | OT(Balasore) | Yorco | ysI-403 | 0 | 2014-07-02 | No |  | No |  | Functional | 10000 | BLOOD BANK REFRIGRATOR | 200000
10 | Odisha | Balasore | Balasore DHH | Auto Refractometer | K7LCC8F | Eye(Balasore) | BIOMEDIX OPTOTECHNIK AND DEVICES PVT LTD | URK-700 | 0 | 2013-07-04 | No |  | No |  | Non-functional | 120000 | Blood Collection Monitor | 60000
11 | Odisha | Balasore | Balasore DHH | Auto Refractometer | DHHBLSEYE062 | Eye(Balasore) | BIOMEDIX OPTOTECHNIK AND DEVICES PVT LTD | URK-700 | 0 | 2011-07-04 | No |  | No |  | Non-functional | 120000 | Blood gas analyzer | 300000
12 | Odisha | Balasore | Balasore DHH | Baby Suction | DHHBLSSNCU002 | SNCU(Balasore) | Fazzenis | F-18 | 0 | 2010-07-06 | No |  | No |  | Non-functional | 5000 | Blood Storage Unit | 200000
13 | Odisha | Balasore | Balasore DHH | Baby Suction | DHHBLSSNCU001 | SNCU(Balasore) | Fazzenis | F-18 | 0 | 2010-07-06 | No |  | No |  | Functional | 5000 | Boyles Apparatus | 85000
14 | Odisha | Balasore | Balasore DHH | Billirubino Meter | DHHBLSSNCU012 | SNCU(Balasore) | AIPEL | BR5100 | 0 | 2010-07-06 | No |  | No |  | Functional | 5000 | Caurtery Machine | 200000
15 | Odisha | Balasore | Balasore DHH | Binocular Microscope | 4B524089 | Patho Lab(Balasore) | Olympus | MAGNUS MLX-DX | 0 | 2005-07-04 | No |  | No |  | Functional | 25000 | CBC Hematology Analyser-Pathology | 250000
16 | Odisha | Balasore | Balasore DHH | BLOOD BANK REFRIGRATOR | BBR-224104 | Blood Bank(Balasore) | Hindustan Latex | BBR-224 | 0 | 2004-04-07 | No |  | No |  | Functional | 200000 | Centrifuse M/C | 45000
17 | Odisha | Balasore | Balasore DHH | BLOOD BANK REFRIGRATOR | 55745285 | Blood Bank(Balasore) | Jewett | BBR-25. | 0 | 2000-04-05 | No |  | No |  | Functional | 200000 | Cold Body Mortuary | 100000
18 | Odisha | Balasore | Balasore DHH | BLOOD BANK REFRIGRATOR | 1008147 | Blood Bank(Balasore) | Terumo Penpol | BBR-01 | 376480 | 2010-04-07 | No |  | No |  | Functional | 200000 | Cystoscope | 450000
19 | Odisha | Balasore | Balasore DHH | Blood Collection Monitor | CGCM-327 | Blood Bank(Balasore) | Remi Motors | BCM-10 | 0 | 2010-04-07 | No |  | No |  | Functional | 60000 | Defibrillator | 200000
20 | Odisha | Balasore | Balasore DHH | Blood Collection Monitor | CGCM-326 | Blood Bank(Balasore) | Remi Motors | BCM-10 | 0 | 2010-04-07 | No |  | No |  | Functional | 60000 | Dental Chair | 120000
21 | Odisha | Balasore | Balasore DHH | BLOOD COLLECTION MONITOR(B- BANK) | 508678 | Blood Bank(Balasore) | Terumo Penpol | B250 | 0 | 2005-04-07 | No |  | No |  | Non-functional repairable | 40000 | Dental X-ray | 25000
22 | Odisha | Balasore | Balasore DHH | Blood gas analyzer | DHHBLSICU018 | ICU(Balasore) | EPOCOL INC | EPOC blood analyser system | 374512 | 2015-05-22 | No |  | No |  | Functional | 300000 | Diathermy | 200000
23 | Odisha | Balasore | Balasore DHH | Blood Storage Unit | BDIT-1566 | Blood Bank(Balasore) | Remi Elektrotechnik Limited | BR-300 | 0 | 2010-04-01 | No |  | No |  | Functional | 200000 | ECG 12 Channel | 80000
24 | Odisha | Balasore | Balasore DHH | Blood Storage Unit | BDIT-1567 | Blood Bank(Balasore) | Remi Elektrotechnik Limited | BR-300 | 0 | 2010-04-01 | No |  | No |  | Non-functional | 200000 | ECG Machine | 60000
25 | Odisha | Balasore | Balasore DHH | Boyles Apparatus | DHHBLSICU016 | ICU(Balasore) | Allied | Jupiter 200 | 121874 | 2014-03-11 | Yes | 2016-03-12 | No |  | Functional | 85000 | Elisa Reader | 90000
26 | Odisha | Balasore | Balasore DHH | Boyles Apparatus | 2002726 | OT(Balasore) | Allied | Jupiter 200 | 243748 | 2012-07-15 | No |  | No |  | Functional | 85000 | Elisha Washer | 90000
27 | Odisha | Balasore | Balasore DHH | Boyles Apparatus | 2002603 | OT(Balasore) | Allied | JUPITER200 | 121847 | 2012-07-13 | No |  | No |  | Functional | 85000 | ELISHA WASHER MICROPLATE | 90000
28 | Odisha | Balasore | Balasore DHH | Caurtery Machine | ME4000900047774 | OT(Balasore) | Martin Surgicals | ME-400 | 0 | 2005-07-15 | No |  | No |  | Functional | 200000 | ETO Steriliser | 700000
29 | Odisha | Balasore | Balasore DHH | CBC Hematology Analyser-Pathology | 66592 | ICU(Balasore) | Sysmex Erba | Xs 800i | 699999 | 2013-07-15 | No |  | No |  | Functional | 250000 | Incubator | 20000
30 | Odisha | Balasore | Balasore DHH | Centrifuse M/C | HE2C-8431 | Patho Lab(Balasore) | Remi Elektrotechnik Limited | RM12CBL | 6254 | 2004-07-05 | No |  | No |  | Functional | 45000 | Infusion Pump | 30000
31 | Odisha | Balasore | Balasore DHH | Cold Body Mortuary | DHHBLSCBM002 | BWM(Balasore) | Spectrum Scientific | Cold Body Mortuary | 105040 | 2005-07-11 | No |  | No |  | Non-functional | 100000 | Keratometer-Opthalmology | 200000
32 | Odisha | Balasore | Balasore DHH | Cystoscope | DHHBLSOT057 | OT(Balasore) | Karl Storz | CYSTOSCOPE | 965711 | 2005-07-15 | No |  | No |  | Functional | 450000 | Labour Table | 7500
33 | Odisha | Balasore | Balasore DHH | Defibrillator | DHHBLSICU034 | ICU(Balasore) | Physio Control | LP20e | 280000 | 2013-12-10 | Yes | 2015-12-10 | No |  | Functional | 200000 | Mobile X-ray units | 225000
34 | Odisha | Balasore | Balasore DHH | Dental Chair | DHHBLSDEN001 | Dental Unit(Balasore) | Confident | ECONOMY DELUX | 164700 | 2004-04-07 | No |  | No |  | Functional | 120000 | Motorised OT Stool | 40000
35 | Odisha | Balasore | Balasore DHH | Dental Chair | DHHBLSDEN002 | Dental Unit(Balasore) | Confident | ECONOMY DELUX | 164700 | 2004-04-05 | No |  | No |  | Installation pending | 120000 | Multipara Monitor | 65000
36 | Odisha | Balasore | Balasore DHH | Dental X-ray | 0502A32 | Radiology(Balasore) | Picks | PDX 1070 D | 25500 | 2005-04-01 | No |  | No |  | Functional | 25000 | ICU Bed | 80000
37 | Odisha | Balasore | Balasore DHH | Diathermy | DHHBLSOT058 | OT(Balasore) | Delta Co. | 1000P | 78300 | 2004-07-16 | No |  | No |  | Functional | 200000 | Operating microscope | 800000
38 | Odisha | Balasore | Balasore DHH | ECG 12 Channel | DHHBLSICU021 | ICU(Balasore) | Mortara | ELI250C | 114200 | 2013-08-16 | Yes | 2015-08-15 | No |  | Functional | 80000 | Operating tables | 200000
39 | Odisha | Balasore | Balasore DHH | ECG Machine | DHHBLSECG065 | Radiology(Balasore) | Maestros | magicR | 23400 | 2004-07-05 | No |  | No |  | Non-functional | 60000 | OT Light | 130000
40 | Odisha | Balasore | Balasore DHH | Elisa Reader | 11523 | Blood Bank(Balasore) | BioRad | Imark | 490880 | 2010-04-07 | No |  | No |  | Functional | 90000 | OT Table | 200000
41 | Odisha | Balasore | Balasore DHH | Elisa Reader | 12328 | Blood Bank(Balasore) | BioRad | Imark | 490880 | 2010-04-07 | No |  | No |  | Functional | 90000 | Oxygen Concentrator | 36000
42 | Odisha | Balasore | Balasore DHH | Elisa Reader | 35209000452 | Blood Bank(Balasore) | Multiscan Thermo Fisher | 352 | 0 | 1996-04-09 | No |  | No |  | Functional | 90000 | Phaco Machine-Opthalomology | 800000
43 | Odisha | Balasore | Balasore DHH | Elisha Washer | 006-9-1250 | Blood Bank(Balasore) | Thermo Fisher | 5160770 | 0 | 1996-04-04 | No |  | No |  | Functional | 90000 | Phototherapy | 35000
44 | Odisha | Balasore | Balasore DHH | ELISHA WASHER MICROPLATE | ECOD377242 | Blood Bank(Balasore) | BioRad | PW-40 | 0 | 2010-04-07 | No |  | No |  | Functional | 90000 | Portable Ventiliator | 450000
45 | Odisha | Balasore | Balasore DHH | ELISHA WASHER MICROPLATE | ECOC373907 | Blood Bank(Balasore) | BioRad | PW-40 | 0 | 2010-04-07 | No |  | No |  | Functional | 90000 | Pulse Oximeter | 40000
46 | Odisha | Balasore | Balasore DHH | ETO Steriliser | DHHBLSICU001 | ICU(Balasore) | Anderson Products | AN 306 | 1398900 | 2013-09-16 | No |  | No |  | Functional | 700000 | Radiant Warmer | 60000
47 | Odisha | Balasore | Balasore DHH | ICU Bed | DHHBLSICU026 | ICU(Balasore) | Godrej Boyce Mfg Co LTD | Vitalite | 145987 | 2007-06-15 | No |  | No |  | Functional | 80000 | Semi Auto Analyser | 100000
48 | Odisha | Balasore | Balasore DHH | ICU Bed | DHHBLSICU022 | ICU(Balasore) | Godrej Boyce Mfg Co LTD | Vitalite | 42500 | 2013-12-10 | Yes | 2015-12-09 | No |  | Functional | 80000 | Slit Lamp | 100000
49 | Odisha | Balasore | Balasore DHH | ICU Bed | DHHBLSICU023 | ICU(Balasore) | Godrej Boyce Mfg Co LTD | Vitalite | 42500 | 2013-12-10 | Yes | 2015-12-09 | No |  | Functional | 80000 | Suction apparatus | 10000
50 | Odisha | Balasore | Balasore DHH | ICU Bed | DHHBLSICU025 | ICU(Balasore) | Godrej Boyce Mfg Co LTD | Vitalite | 145987 | 2007-06-15 | No |  | No |  | Functional | 80000 | Suction machine | 10000
51 | Odisha | Balasore | Balasore DHH | ICU Bed | DHHBLSICU024 | ICU(Balasore) | Godrej Boyce Mfg Co LTD | Vitalite | 42500 | 2013-12-10 | Yes | 2015-12-09 | No |  | Functional | 80000 | Suction M/C (Elect) | 10000
52 | Odisha | Balasore | Balasore DHH | ICU Bed | DHHBLSICU027 | ICU(Balasore) | Godrej Boyce Mfg Co LTD | Vitalite | 145987 | 2007-06-17 | No |  | No |  | Functional | 80000 | Suction M/C(Foot Op.) | 5000
53 | Odisha | Balasore | Balasore DHH | Incubator | 048-2710 | Blood Bank(Balasore) | M/s York Scientific Industries Pvt Ltd | Yorco - YSI 438D | 0 | 2005-05-07 | No |  | No |  | Functional | 20000 | Syringe Infusion pump | 35000
54 | Odisha | Balasore | Balasore DHH | Incubator | 04H2715 | Patho Lab(Balasore) | M/s York Scientific Industries Pvt Ltd | Yorco - YSI 438D | 0 | 2005-07-04 | No |  | No |  | Functional | 20000 | Syringe Pump | 35000
55 | Odisha | Balasore | Balasore DHH | Opthalomology | DHHBLS021 | Eye(Balasore) | ARMSTRONG CHINTAMANI CORP | 1 | 0 | 1994-07-10 | No |  | No |  | Non-functional | 0 | Tube Sealer | 120000
56 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU037 | ICU(Balasore) | Mindray | SK-600II | 33600 | 2014-09-20 | No |  | No |  | Functional | 30000 | Ultrasound Digital | 1100000
57 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU038 | ICU(Balasore) | Mindray | SK-600II | 33600 | 2014-09-20 | No |  | No |  | Functional | 30000 | Ultrasound Machine | 350000
58 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU002 | ICU(Balasore) | Simtek | Infutek500 | 29500 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 30000 | ultrasound Scanner | 350000
59 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU003 | ICU(Balasore) | Simtek | Infutek500 | 29500 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 30000 | Ventillator | 1100000
60 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU034 | ICU(Balasore) | Mindray | SK-600II | 33600 | 2014-09-20 | No |  | No |  | Functional | 30000 | Waste Autoclave | 300000
61 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU004 | ICU(Balasore) | Simtek | Infutek500 | 29500 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 30000 | Yag Laser | 700000
62 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU005 | ICU(Balasore) | Simtek | Infutek500 | 29500 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 30000 | Fetal Monitor | 60000
63 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU006 | ICU(Balasore) | Simtek | Infutek500 | 29500 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 30000 | OT light (Mobile) | 25000
64 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU007 | ICU(Balasore) | Simtek | Infutek500 | 29500 | 2013-09-20 | No |  | No |  | Functional | 30000 | X-RAY M/C (50MA) | 150000
65 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU039 | ICU(Balasore) | Mindray | SK-600II | 33600 | 2014-09-20 | No |  | No |  | Functional | 30000 | 100 MA X-RAY | 200000
66 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU035 | ICU(Balasore) | Mindray | SK-600II | 33600 | 2014-09-20 | No |  | No |  | Functional | 30000 | Centrifuse | 45000
67 | Odisha | Balasore | Balasore DHH | Infusion Pump | DHHBLSICU036 | ICU(Balasore) | Mindray | SK-600II | 33600 | 2014-09-20 | No |  | No |  | Functional | 30000 | Microscope | 20000
68 | Odisha | Balasore | Balasore DHH | Keratometer-Opthalmology | 2038-10-12H | Eye(Balasore) | Appasamy | SCAN PLUS | 0 | 2000-07-04 | No |  | No |  | Functional | 200000 | OT Light Celling | 200000
69 | Odisha | Balasore | Balasore DHH | Labour Table | DHHBLSLR063 | Labour Room(Balasore) | Royale safe | Labour Table | 0 | 2012-07-04 | No |  | No |  | Functional | 7500 | Water Bath | 20000
70 | Odisha | Balasore | Balasore DHH | Labour Table | DHHBLSLR064 | Labour Room(Balasore) | Royale safe | Labour Table | 0 | 2012-07-04 | No |  | No |  | Functional | 7500 | X-RAY M/C (50MA) | 150000
71 | Odisha | Balasore | Balasore DHH | Mobile X-ray units | 33032 | ICU(Balasore) | Siemens | MULTI MOBIL 10 | 514444 | 2013-08-26 | Yes | 2015-08-25 | No |  | Functional | 225000 | OT Stand light | 25000
72 | Odisha | Balasore | Balasore DHH | Motorised OT Stool | DHHBLSEYE061 | Eye(Balasore) | Appasamy | NOXID9014 | 60900 | 2014-07-11 | No |  | No |  | Functional | 40000 | 100 MA X-RAY | 200000
73 | Odisha | Balasore | Balasore DHH | Multipara Monitor | DHHBLSICU028 | ICU(Balasore) | Philips | MP40 | 421440 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 65000 | Delivery Table | 7500
74 | Odisha | Balasore | Balasore DHH | Multipara Monitor | DHHBLSICU031 | ICU(Balasore) | Philips | MP40 | 421440 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 65000 | OT table Hydrolic | 200000
75 | Odisha | Balasore | Balasore DHH | Multipara Monitor | DHHBLSICU032 | ICU(Balasore) | Philips | MP40 | 421440 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 65000 | Photoelectric Calorimeter | 6000
76 | Odisha | Balasore | Balasore DHH | Multipara Monitor | AO9190271 | OT(Balasore) | L and T Medical Equipment and systems | STAR 50 | 0 | 2004-07-12 | No |  | No |  | Functional | 65000 | Portable Autoclave | 25000
77 | Odisha | Balasore | Balasore DHH | Multipara Monitor | AO9190270271 | OT(Balasore) | L and T Medical Equipment and systems | STAR 50 | 0 |  | No |  | No |  | Functional | 65000 | QBC Capillary Centrifuse | 60000
78 | Odisha | Balasore | Balasore DHH | Multipara Monitor | A09190270 | OT(Balasore) | L and T Medical Equipment and systems | STAR 50 | 0 | 2004-07-09 | No |  | No |  | Functional | 65000 | QBC Microscope. | 120000
79 | Odisha | Balasore | Balasore DHH | Multipara Monitor | DE82030435 | OT(Balasore) | Philips | MP40 | 421440 | 2013-07-12 | No |  | No |  | Functional | 65000 | Spot Lamp | 10000
80 | Odisha | Balasore | Balasore DHH | Multipara Monitor | DHHBLSICU030 | ICU(Balasore) | Philips | MP40 | 421440 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 65000 | Suction apparatus | 5000
81 | Odisha | Balasore | Balasore DHH | Multipara Monitor | DHHBLSICU029 | ICU(Balasore) | Philips | MP40 | 421440 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 65000 | Suction machine | 5000
82 | Odisha | Balasore | Balasore DHH | Multipara Monitor | DHHBLSICU033 | ICU(Balasore) | Philips | MP40 | 421440 | 2013-09-20 | No |  | No |  | Functional | 65000 | Baby Weighing Machine | 5000
83 | Odisha | Balasore | Balasore DHH | Operating microscope | 3310130001 | Eye(Balasore) | Appasamy | AAOM-2000 | 819000 | 2013-07-04 | No |  | No |  | Functional | 800000 | Deep Freezer | 150000
84 | Odisha | Balasore | Balasore DHH | Operating microscope | 120696010 | Eye(Balasore) | Leica | 445069 | 0 | 2001-07-04 | No |  | No |  | Non-functional | 800000 | Examination Table | 7000
85 | Odisha | Balasore | Balasore DHH | Operating microscope | DHHBLS020 | Eye(Balasore) | GUARDIAN | GRA 376 PL | 60000 | 2004-07-10 | No |  | No |  | Non-functional | 800000 | Instrument Sterilizer | 5000
86 | Odisha | Balasore | Balasore DHH | Operating tables | 3101130253 | Eye(Balasore) | Appasamy | AAOT-1 | 123900 | 2014-07-04 | No |  | No |  | Functional | 200000 | Ice Lined Refrigerator | 45000
87 | Odisha | Balasore | Balasore DHH | Operating tables | 31011400144 | Eye(Balasore) | Appasamy | AAOT-1 | 123900 |  | No |  | No |  | Functional | 200000 | Distilled Water Plant | 25000
88 | Odisha | Balasore | Balasore DHH | Operation microscope | 313201 | Eye(Balasore) | Mehera Eyetech Pvt Lmt (TOPCON) | OMS-90 | 459000 | 2009-07-10 | No |  | No |  | Functional | 800000 | Electric Light Cautrey | 200000
89 | Odisha | Balasore | Balasore DHH | OT Light | DHHBLSOT | OT(Balasore) | Surgicion | OT Light | 0 | 2000-07-14 | No |  | No |  | Functional | 130000 | X-RAY 60mA | 120000
90 | Odisha | Balasore | Balasore DHH | OT Light | DHHBLSOT054 | OT(Balasore) | Surgicion | OT Light | 0 | 2000-07-14 | No |  | No |  | Functional | 130000 | Nebulizer | 2500
91 | Odisha | Balasore | Balasore DHH | OT Light | DHHBLSOT055 | OT(Balasore) | Surgicion | OT Light | 0 | 2000-07-14 | No |  | No |  | Functional | 130000 | Needle Cutter | 2000
92 | Odisha | Balasore | Balasore DHH | OT Light | DHHBLSOT051 | OT(Balasore) | Surgicion | OT Light | 0 | 2000-07-14 | No |  | No |  | Functional | 130000 | Neonatal Suction | 5000
93 | Odisha | Balasore | Balasore DHH | OT Light | DHHBLSOT052 | OT(Balasore) | Surgicion | OT Light | 0 | 2000-07-14 | No |  | No |  | Functional | 130000 | OT LIGHT Celling (LED) | 600000
94 | Odisha | Balasore | Balasore DHH | OT Light | DHHBLSOT053 | OT(Balasore) | Surgicion | OT Light | 0 | 2000-07-14 | No |  | No |  | Functional | 130000 | OT light (Mobile) | 25000
95 | Odisha | Balasore | Balasore DHH | OT Table | DHHBLSOT050 | OT(Balasore) | Minor | OT table | 0 | 2004-07-09 | No |  | No |  | Functional | 200000 | OT Stand light.. | 25000
96 | Odisha | Balasore | Balasore DHH | OT Table | DHHBLSOT049 | OT(Balasore) | Minor | OT table | 0 | 2004-07-09 | No |  | No |  | Functional | 200000 | Infusion Pump | 30000
97 | Odisha | Balasore | Balasore DHH | OT Table | DHHBLSOT047 | OT(Balasore) | Minor | OT table | 0 | 2004-07-09 | No |  | No |  | Functional | 200000 | Instrument Sterilizer | 5000
98 | Odisha | Balasore | Balasore DHH | OT Table | DHHBLSOT048 | OT(Balasore) | Minor | OT table | 0 | 2004-07-09 | No |  | No |  | Functional | 200000 | Instrument sterilizer(Elect) | 10000
99 | Odisha | Balasore | Balasore DHH | Oxygen Concentrator | N5100338 | SNCU(Balasore) | AIRSEP | Newlife Elite | 31185 | 2010-07-06 | No |  | No |  | Functional | 36000 | Irradiance Meter | 40000
100 | Odisha | Balasore | Balasore DHH | Oxygen Concentrator | N5100336 | SNCU(Balasore) | AIRSEP | Newlife Elite | 31185 |  | No |  | No |  | Non-functional | 36000 | MORTUARY | 100000
101 | Odisha | Balasore | Balasore DHH | Oxygen Concentrator | N5100033 | SNCU(Balasore) | AIRSEP | Newlife Elite | 31185 | 2010-07-06 | No |  | No |  | Non-functional | 36000 | Fetal Monitor | 60000
102 | Odisha | Balasore | Balasore DHH | Oxygen Concentrator | N5100052 | SNCU(Balasore) | AIRSEP | Newlife Elite | 31185 | 2010-07-06 | No |  | No |  | Non-functional | 36000 | Hematology Analyser patho | 1000000
103 | Odisha | Balasore | Balasore DHH | Oxygen Concentrator | N5100056 | SNCU(Balasore) | AIRSEP | Newlife Elite | 31185 | 2010-07-06 | No |  | No |  | Functional | 36000 | HORIZONTAL AUTOCLAVE | 350000
104 | Odisha | Balasore | Balasore DHH | Oxygen Concentrator | N5100064 | SNCU(Balasore) | AIRSEP | Newlife Elite | 31185 | 2010-07-06 | No |  | No |  | Non-functional | 36000 | Fetal Doppler | 3000
105 | Odisha | Balasore | Balasore DHH | Oxygen Concentrator | N5100045 | SNCU(Balasore) | AIRSEP | Newlife Elite | 31185 | 2010-07-06 | No |  | No |  | Functional | 36000 | Blood Storage Unit | 120000
106 | Odisha | Balasore | Balasore DHH | Phaco Machine-Opthalomology | 03-12-0394 | Eye(Balasore) | Appasamy | galaxy CV-I | 1417500 | 2012-07-13 | No |  | No |  | Functional | 800000 | Deep Freezer | 150000
107 | Odisha | Balasore | Balasore DHH | Phototherapy | 1891 | SNCU(Balasore) | Phoenix Medical Systems Pvt Ltd | Brilliance | 0 | 2014-07-06 | No |  | No |  | Functional | 35000 | Digital Weighing M/C | 5000
108 | Odisha | Balasore | Balasore DHH | Phototherapy | DHHBLSNCU007 | SNCU(Balasore) | Bird Meditech | Bird CFL | 29990 | 2010-07-06 | No |  | No |  | Functional | 35000 | ABG | 300000
109 | Odisha | Balasore | Balasore DHH | Phototherapy | 1888 | Labour Room(Balasore) | Phoenix Medical Systems Pvt Ltd | Brilliance | 0 | 2015-04-29 | Yes | 2017-04-29 | No |  | Functional | 35000 | Billirubino Meter handheld | 175000
110 | Odisha | Balasore | Balasore DHH | Phototherapy | 1887 | Labour Room(Balasore) | Phoenix Medical Systems Pvt Ltd | Brilliance | 0 | 2015-04-29 | Yes | 2017-04-29 | No |  | Functional | 35000 | Amplified Audiometer | 180000
111 | Odisha | Balasore | Balasore DHH | Phototherapy | DHHBLSSNCU010 | SNCU(Balasore) | Bird Meditech | Bird CFL | 29990 | 2010-07-06 | No |  | No |  | Functional | 35000 | Bacterilogical Incubator | 30000
112 | Odisha | Balasore | Balasore DHH | Phototherapy | DHHBLSSNCU006 | SNCU(Balasore) | Bird Meditech | Bird CFL | 29990 | 2010-07-06 | No |  | No |  | Functional | 35000 | BLOOD COLLECTION MONITOR(B-BANK) | 60000
113 | Odisha | Balasore | Balasore DHH | Phototherapy | DHHBLSSNCU011 | SNCU(Balasore) | Bird Meditech | Bird CFL | 29990 | 2010-07-06 | No |  | No |  | Functional | 35000 | B.P Apparatus Stand type | 5000
114 | Odisha | Balasore | Balasore DHH | Phototherapy | DHHBLSSNCU008 | SNCU(Balasore) | Bird Meditech | Bird CFL | 29990 | 2010-07-06 | No |  | No |  | Functional | 35000 | BP Instrument | 2500
115 | Odisha | Balasore | Balasore DHH | Phototherapy | DHHBLSSNCU009 | SNCU(Balasore) | Bird Meditech | Bird CFL | 29990 | 2010-07-06 | No |  | No |  | Functional | 35000 | Centrifuge Machine ( 8 Tube) | 15000
116 | Odisha | Balasore | Balasore DHH | Phototherapy | 1890 | SNCU(Balasore) | Phoenix Medical Systems Pvt Ltd | Brilliance | 0 | 2014-07-06 | No |  | No |  | Functional | 35000 | Cold Body Mortuary | 100000
117 | Odisha | Balasore | Balasore DHH | Phototherapy | 1889 | SNCU(Balasore) | Phoenix Medical Systems Pvt Ltd | Brilliance | 0 | 2014-07-06 | No |  | No |  | Functional | 35000 | Colorimeter | 5000
118 | Odisha | Balasore | Balasore DHH | Portable Ventiliator | DHHBLSICU020 | ICU(Balasore) | Newport GB | HT70 | 408700 | 2014-12-10 | Yes | 2015-12-09 | No |  | Functional | 450000 | Dental X-ray(RAD) | 50000
119 | Odisha | Balasore | Balasore DHH | Pulse Oximeter | 509711 | SNCU(Balasore) | Meditech Electronic | EMCO OXI-SAT 2060 | 0 | 2010-07-06 | No |  | No |  | Functional | 40000 | Digital Colorimeter | 10000
120 | Odisha | Balasore | Balasore DHH | Pulse Oximeter | 509714 | SNCU(Balasore) | EMCO | OxiSat 2060 | 0 | 2010-07-06 | No |  | No |  | Non-functional | 40000 | Donour Couch | 50000
121 | Odisha | Balasore | Balasore DHH | Pulse Oximeter | 509700 | SNCU(Balasore) | EMCO | OxiSat 2060 | 0 | 2010-07-06 | No |  | No |  | Non-functional | 40000 | ELISA Washer | 75000
122 | Odisha | Balasore | Balasore DHH | Pulse Oximeter | 509702 | SNCU(Balasore) | EMCO | OxiSat 2060 | 0 | 2010-07-06 | No |  | No |  | Non-functional | 40000 | Elisha Reader with Printer | 75000
123 | Odisha | Balasore | Balasore DHH | Pulse Oximeter | 509713 | SNCU(Balasore) | Meditech Electronic | EMCO OXI-SAT 2060 | 0 | 2010-07-06 | No |  | No |  | Functional | 40000 | Examinaton Light | 10000
124 | Odisha | Balasore | Balasore DHH | Pulse Oximeter | 509699 | SNCU(Balasore) | EMCO | OxiSat 2060 | 0 | 2010-07-06 | No |  | No |  | Non-functional | 40000 | Flem Cell Photometer | 100000
125 | Odisha | Balasore | Balasore DHH | Pulse Oximeter | 509712 | SNCU(Balasore) | Meditech Electronic | EMCO OXI-SAT 2060 | 0 | 2010-07-06 | No |  | No |  | Functional | 40000 | HP Autoclave | 350000
126 | Odisha | Balasore | Balasore DHH | Pulse Oximeter | 509701 | SNCU(Balasore) | Meditech Electronic | EMCO OXI-SAT 2060 | 0 | 2010-07-06 | No |  | No |  | Functional | 40000 | Irradiance Meter | 40000
127 | Odisha | Balasore | Balasore DHH | QBC Centrifuse. | 4150027 | Patho Lab(Balasore) | Becton Dicknson | 424740 | 605040 | 2006-07-04 | No |  | No |  | Functional | 45000 | Labour Table | 7500
128 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 141508002142 | OT(Balasore) | Nice Neotech | NICE 2000 | 36500 | 2012-06-15 | No |  | No |  | Functional | 60000 | Labour Table(OT) | 30000
129 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60975 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-09 | No |  | Non-functional | 60000 | Microscope (Binacular) | 25000
130 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60062 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-10 | No |  | Non-functional | 60000 | OT table Hydrolic | 200000
131 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60125 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-09 | No |  | Non-functional | 60000 | QBC M/C | 60000
132 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60096 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-10 | No |  | Non-functional | 60000 | Radiant Warmer | 60000
133 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60050 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-10 | No |  | Non-functional | 60000 | Radiant Warmer(OT) | 60000
134 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60043 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-10 | No |  | Non-functional | 60000 | Remi Voketionary Centrifuge | 45000
135 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60113 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-09 | No |  | Non-functional | 60000 | Septro Photometer | 40000
136 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60011 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-10 | No |  | Non-functional | 60000 | Shaken M/C | 10000
137 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60123 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-09 | No |  | Non-functional | 60000 | Sucction Apparatus.. | 3500
138 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60110 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-09 | No |  | Non-functional | 60000 | Suction Evaluation machine | 3500
139 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 141508002151 | Labour Room(Balasore) | Nice Neotech | NICE 2000 | 36500 | 2014-03-04 | Yes | 2016-03-10 | No |  | Functional | 60000 | Ultrasonography M/C | 350000
140 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 141508002141 | Labour Room(Balasore) | Nice Neotech | NICE 2000 | 36500 | 2014-03-04 | Yes | 2016-03-10 | No |  | Functional | 60000 | Vertical Autoclave | 10000
141 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 60116 | SNCU(Balasore) | Zeal Medical Pvt Ltd | RWSUNI | 25815 | 2010-07-06 | No | 2015-11-09 | No |  | Non-functional | 60000 | X-RAY | 350000
142 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 141507001982 | OT(Balasore) | Nice Neotech | NICE 2000 | 36500 | 2012-06-15 | No |  | No |  | Functional | 60000 | X-Ray 300mA | 450000
143 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 101103002316 | OT(Balasore) | Nice Neotech | NICE2010BC | 37500 | 2013-07-12 | No |  | No |  | Functional | 60000 | X-RAY 60mA | 100000
144 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 111201001735 | Labour Room(Balasore) | Nice Neotech | NICE2010BC | 36500 | 2014-05-04 | Yes | 2016-03-03 | No |  | Functional | 60000 | Digital B.P Machine | 1000
145 | Odisha | Balasore | Balasore DHH | Radiant Warmer | 141508002134 | OT(Balasore) | Nice Neotech | NICE 2000 | 36500 | 2012-06-15 | No |  | No |  | Functional | 60000 | Examination Table | 7000
146 | Odisha | [15 empty] | Bi-Pap Non-Invasive Ventillator | 200000
147 | Odisha | Balasore | Balasore DHH | Semi Auto Analyser | AT2530513RBK | Patho Lab(Balasore) | M/s Robonik India Pvt Ltd | Prietest | 110000 | 2013-07-04 | No |  | No |  | Functional | 100000 | Brainstem evoked response audiometer | 200000
148 | Odisha | Balasore | Balasore DHH | Semi Auto Analyser | AT2930713RBK | ICU(Balasore) | M/s Robonik India Pvt Ltd | Prietest | 133602 | 2013-07-22 | Yes | 2015-07-22 | No |  | Functional | 100000 | B-Scan-Opthalmology | 300000
149 | Odisha | Balasore | Balasore DHH | Slit Lamp | DHHBLSEYE061 | Eye(Balasore) | Appasamy | SLIT LAMP 01 | 0 | 2000-07-10 | No |  | No |  | Functional | 100000 | Cardiac Cathl Lab | 16000000
150 | Odisha | Balasore | Balasore DHH | Suction apparatus | DHHBLSICU014 | ICU(Balasore) | Anand Surgical Industries | instavac | 11500 | 2013-12-10 | No |  | No |  | Functional | 10000 | Caurtery Machine | 200000
151 | Odisha | Balasore | Balasore DHH | Suction machine | DHHBLSLR062 | Eye(Balasore) | Vikrant Industries | Santoshi | 0 | 2004-07-05 | No |  | No |  | Non-functional | 10000 | CBC Machine | 250000
152 | Odisha | Balasore | Balasore DHH | Suction machine | DHHBLSICU034 | OT(Balasore) | Anand Surgical Industries | OP-108 | 0 | 2004-07-09 | No |  | No |  | Non-functional | 10000 | Centrifuge Machine ( 8 Tube) | 15000
153 | Odisha | Balasore | Balasore DHH | Suction machine | DHHBLSLR063 | Labour Room(Balasore) | Vikrant Industries | Santoshi | 0 | 2004-07-05 | No |  | No |  | Functional | 10000 | CT Scan | 30000000
154 | Odisha | Balasore | Balasore DHH | Suction M/C (Elect) | CHCHAT001 | Labour Room(Balasore) | Supreme | Instavac. | 0 | 2013-03-06 | No |  | No |  | Non-functional | 10000 | Defibrillator. | 200000
155 | Odisha | Balasore | Balasore DHH | Suction M/C(Foot Op.) | DHHBLSSNCU003 | SNCU(Balasore) | Anand Surgical Industries | Suction Machine(Foot Op.) | 0 | 2010-07-06 | No |  | No |  | Functional | 5000 | Dental Chair | 100000
156 | Odisha | Balasore | Balasore DHH | Syringe Infusion pump | 509540 | SNCU(Balasore) | EMCO Meditech | Infusor-950 | 0 | 2010-07-06 | No |  | No |  | Functional | 35000 | Dental Chair Compressor | 150000
157 | Odisha | Balasore | Balasore DHH | Syringe Infusion pump | 509538 | SNCU(Balasore) | EMCO Meditech | Infusor-950 | 0 | 2010-07-06 | No |  | No |  | Functional | 35000 | Dental X-ray | 25000
158 | Odisha | Balasore | Balasore DHH | Syringe Infusion pump | 509541 | SNCU(Balasore) | EMCO Meditech | Infusor-950 | 0 | 2010-07-06 | No |  | No |  | Non-functional | 35000 | Dental X-ray(RAD) | 25000
159 | Odisha | Balasore | Balasore DHH | Syringe Infusion pump | 509539 | SNCU(Balasore) | EMCO Meditech | Infusor-950 | 0 | 2010-07-06 | No |  | No |  | Functional | 35000 | Difibrillator with Monitor | 200000
160 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU009 | ICU(Balasore) | Simtek | Infutek 405 | 24400 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 35000 | Digital Spectophoto Meter | 40000
161 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU010 | ICU(Balasore) | Simtek | Infutek 405 | 24400 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 35000 | Direct Opthalmoscope-Opthalmology | 12000
162 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU008 | ICU(Balasore) | Simtek | Infutek 405 | 24400 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 35000 | Double Headed Photo Therapy | 70000
163 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU041 | ICU(Balasore) | Plenumtek | zion plus | 25800 | 2015-04-29 | No |  | No |  | Functional | 35000 | ECG 12 Channel | 80000
164 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU042 | ICU(Balasore) | Plenumtek | zion plus | 25800 | 2015-04-29 | No |  | No |  | Functional | 35000 | ECG 6 | 70000
165 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU045 | ICU(Balasore) | Plenumtek | zion plus | 25800 | 2015-04-29 | No |  | No |  | Functional | 35000 | ECG 6 Channel | 70000
166 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU044 | ICU(Balasore) | Plenumtek | zion plus | 25800 | 2015-04-29 | No |  | No |  | Functional | 35000 | Ecolyte analyser | 150000
167 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU040 | ICU(Balasore) | Plenumtek | zion plus | 25800 | 2015-04-29 | No |  | No |  | Functional | 35000 | F UNDER CAMERA | 1500000
168 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU043 | ICU(Balasore) | Plenumtek | zion plus | 25800 | 2015-04-29 | No |  | No |  | Functional | 35000 | GREEN LASER | 1500000
169 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU012 | ICU(Balasore) | Simtek | Infutek 405 | 24400 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 35000 | Hematology Analyser | 250000
170 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU011 | ICU(Balasore) | Simtek | Infutek 405 | 24400 | 2013-09-20 | Yes | 2015-09-19 | No |  | Functional | 35000 | Keratometer-Opthalmology | 250000
171 | Odisha | Balasore | Balasore DHH | Syringe Pump | DHHBLSICU013 | ICU(Balasore) | Simtek | Infutek 405 | 24400 | 2013-09-20 | No |  | No |  | Functional | 35000 | Indirect Opthalmoscope-Opthalomology | 50000
172 | Odisha | Balasore | Balasore DHH | Tube Sealer | 507920 | Blood Bank(Balasore) | Terumo Penpol | XS1000 | 152880 | 2005-04-07 | No |  | No |  | Functional | 120000 | Mobile Examination Light | 10000
173 | Odisha | Balasore | Balasore DHH | Ultrasound Digital | DHHBLSICU017 | ICU(Balasore) | Esaote | my lab 20plus | 1500300 | 2013-01-24 | No |  | No |  | Functional | 1100000 | Momography | 3000000
174 | Odisha | Balasore | Balasore DHH | Ultrasound Machine | 499K3161 | Radiology(Balasore) | L and T Medical Equipment and systems | Symphony | 0 | 1999-06-15 | No |  | No |  | Non-functional | 350000 | Multipara Monitor. | 65000
175 | Odisha | Balasore | Balasore DHH | ultrasound Scanner | Y0417010 | Ultrasound(Balasore) | L and T Medical Equipment and systems | SONALISA-15 | 348000 | 2005-07-01 | No |  | No |  | Functional | 350000 | Multipara Monitor-Obst and Gynaecology | 200000
176 | Odisha | Balasore | Balasore DHH | Ventillator | DHHBLSICU019 | ICU(Balasore) | Techmo S.A | Neumovent | 1100218 | 2013-08-16 | Yes | 2015-08-15 | No |  | Functional | 1100000 | OPG | 30000
177 | Odisha | Balasore | Balasore DHH | VICTECTOMY MACHINE | DHHBLS019 | Eye(Balasore) | Others | VICTECTOMY01 | 0 | 2000-02-10 | No |  | No |  | Non-functional | 1200000 | OT Stand light.. | 25000
178 | Odisha | Balasore | Balasore DHH | Waste Autoclave | DHHBLSWA001 | BWM(Balasore) | Yorco | 5B-256 | 371000 | 2004-07-09 | No |  | No |  | Functional | 300000 | OverheadOT Light. | 130000
179 | Odisha | [15 empty] | Oxygen Concentrator | 36000
180 | Odisha | Balasore | Balasore DHH | Yag Laser | 61811 | Eye(Balasore) | Nidek | YC-1600 | 0 | 2004-07-08 | No |  | No |  | Non-functional | 700000 | Photocytometer | 300000
[13 empty] | Total Functional : 139 Total Non-Functional : 36 Total Installation Pending : 1 Total Non-functional non repairable : 1 Total Non-functional repairable : 1 |  |  |  | Photo Slit Lamp-Opthalmology | 150000 | 22722000
Name of Institution : Nilagiri SDH(Balasore) Institution Type : SDH | [16 empty] | Printer Dry | 250000
1 | Odisha | Balasore | Nilagiri SDH(Balasore) | Autoclave | SDHNILOT008 | OT(Nilgiri) | Narayan Industries | Vertical | 163000 | 2014-02-10 | No |  | No |  | Functional | 10000 | Pulse Oxymeter-Obst and Gynaecology | 45000
2 | Odisha | Balasore | Nilagiri SDH(Balasore) | Autoclave | SDHNILOT009 | OT(Nilgiri) | Narayan Industries | Vertical | 0 | 2014-02-10 | No |  | No |  | Functional | 10000 | QBC Capillary Centrifuse | 60000
3 | Odisha | Balasore | Nilagiri SDH(Balasore) | Autoclave. | SDHNILPPC020 | PPC(Nilgiri) | Yorco | YSI-401 | 0 | 2004-07-10 | No |  | No |  | Non-functional | 10000 | QBC Dignostic Centrifuse | 60000
4 | Odisha | Balasore | Nilagiri SDH(Balasore) | Blood Storage Unit | BE06PME1T00B28AS003 | Blood Bank(Nilgiri) | Haier | HXC-68A | 0 | 2011-07-10 | No |  | No |  | Functional | 200000 | QBC Microscope. | 120000
5 | Odisha | Balasore | Nilagiri SDH(Balasore) | Blood Storage Unit | BE06PMEIT00B2BQ0021 | Blood Bank(Nilgiri) | Haier | HXC-68A | 0 | 2011-07-10 | No |  | No |  | Functional | 200000 | Radiant Warmer-Obst and Gynaecology | 30000
6 | Odisha | Balasore | Nilagiri SDH(Balasore) | Boyles Apparatus | SDHNIL002 | OT(Nilgiri) | Allied | JUPITER200 | 0 | 2013-05-10 | No |  | No |  | Functional | 85000 | Radiant Warmer(OT) | 60000
7 | Odisha | Balasore | Nilagiri SDH(Balasore) | Caurtery Machine | SDHNILOT007 | OT(Nilgiri) | Deepak Enterprises | DEE 590 | 127968 | 2004-09-10 | No |  | No |  | Non-functional | 200000 | Steriliser-Obst and Gynocology | 45000
8 | Odisha | Balasore | Nilagiri SDH(Balasore) | Cold Body Mortuary | SDHNILMO023 | Mortuary(Nilgiri) | Spectrum Scientific | Cold Body Mortuary | 78300 |  | No |  | No |  | Installation pending | 100000 | Sterilizer-Dental | 45000
9 | Odisha | Balasore | Nilagiri SDH(Balasore) | Colorimeter | SDHNIL014 | Pathology(Nilgiri) | Systronics | COLORIMETER01 | 105040 | 2011-06-10 | No |  | No |  | Non-functional | 5000 | Suction machine | 5000
10 | Odisha | Balasore | Nilagiri SDH(Balasore) | Fetal Monitor | SDHNILPPC021 | PPC(Nilgiri) | Maestros | Fetal Monitor | 12000 | 2004-07-10 | No |  | No |  | Non-functional | 60000 | Syringe Pump | 35000
11 | Odisha | Balasore | Nilagiri SDH(Balasore) | Labour Table | SDHNILLR012 | Labour Room(Nilgiri) | JUPITER MANUFACTURING WORKS | TELESCOPIC | 0 | 2011-07-10 | No |  | No |  | Functional | 7500 | TMT | 350000
12 | Odisha | Balasore | Nilagiri SDH(Balasore) | OT Light | SDHNIL003 | OT(Nilgiri) | Surgicion | OT Light Ceilling | 44928 | 2004-10-15 | No |  | No |  | Non-functional | 130000 | Ultrasonic Scalar | 20000
13 | Odisha | Balasore | Nilagiri SDH(Balasore) | OT light (Mobile) | SDHNILLR011 | Labour Room(Nilgiri) | Others | HALOGEN | 36800 | 2012-07-10 | No |  | No |  | Functional | 25000 | Ultrasound Digital | 1100000
14 | Odisha | Balasore | Nilagiri SDH(Balasore) | OT light (Mobile) | SDHNILPPC016 | PPC(Nilgiri) | Surgident | OT light-01 | 7500 | 2004-06-10 | No |  | No |  | Functional | 25000 | Ultrasound machine-Obst and Gynocology | 350000
15 | Odisha | Balasore | Nilagiri SDH(Balasore) | OT Table | SDHNILOT006 | OT(Nilgiri) | Cognet | IS5291 | 0 | 2004-10-12 | No |  | No |  | Functional | 200000 | Urine Analyser | 75000
16 | Odisha | Balasore | Nilagiri SDH(Balasore) | OT Table | SDHNILOT005 | OT(Nilgiri) | Cognet | IS5291 | 0 | 2004-10-28 | No |  | No |  | Non-functional | 200000 | Ventilator | 1100000
17 | Odisha | Balasore | Nilagiri SDH(Balasore) | Oxygen Concentrator | SDHNIL010 | NBSU(Nilgiri) | LONGFEI | LFY-I-5B-W | 0 | 2011-07-15 | No |  | No |  | Functional | 36000 | Vertical Autoclave-Obst and Gynocology | 45000
18 | Odisha | Balasore | Nilagiri SDH(Balasore) | Phototherapy | SDHNILNBSU017 | NBSU(Nilgiri) | Delta Co. | Phototherapy Tube | 47950 | 2004-07-10 | No |  | No |  | Functional | 35000 | Vertical Autoclave-Opthalmplogy | 45000
19 | Odisha | Balasore | Nilagiri SDH(Balasore) | Phototherapy | SDHNILNBSU016 | NBSU(Nilgiri) | Delta Co. | Phototherapy Tube | 16830 | 2004-07-10 | No |  | No |  | Functional | 35000 | Warmer with Phototherapy-Obst and Gynaecology | 95000
20 | Odisha | Balasore | Nilagiri SDH(Balasore) | Pulse Oximeter | SDHNIL013 | Labour Room(Nilgiri) | RIRANSA | OH10 | 16830 | 2013-03-14 | No |  | No |  | Functional | 40000 | Weighing Scale Digital. | 5000
21 | Odisha | Balasore | Nilagiri SDH(Balasore) | Pulse Oximeter | 204225 | OT(Nilgiri) | Masimo | Radical7 | 19950 | 2013-03-10 | No |  | No |  | Functional | 40000 | x-ray 100ma | 200000
22 | Odisha | Balasore | Nilagiri SDH(Balasore) | Radiant Warmer | SDHNILLR022 | Labour Room(Nilgiri) | Nice Neotech | NICE2010BC | 62100 | 2011-07-11 | No |  | No |  | Functional | 60000 | X-Ray 300mA | 450000
23 | Odisha | Balasore | Nilagiri SDH(Balasore) | Radiant Warmer | 101103002315 | NBSU(Nilgiri) | Nice Neotech | NICE2010BC | 46500 | 2013-05-10 | No |  | No |  | Functional | 60000 | X-RAY 60mA | 150000
24 | Odisha | Balasore | Nilagiri SDH(Balasore) | Radiant Warmer | 101103002330 | NBSU(Nilgiri) | Nice Neotech | NICE2010BC | 46500 | 2013-05-10 | No |  | No |  | Functional | 60000 | X-ray view box | 3000
25 | Odisha | Balasore | Nilagiri SDH(Balasore) | Radiant Warmer | SDHNIL001 | OT(Nilgiri) | SHREEYASH | SERVO PORTABLE | 46500 | 2013-03-10 | No |  | No |  | Functional | 60000 | Yag Laser | 900000
26 | Odisha | Balasore | Nilagiri SDH(Balasore) | Single puncture Laparoscope | SDHNILPPC017 | PPC(Nilgiri) | Karl Storz | single puncture | 38000 | 2004-07-10 | No |  | No |  | Functional | 80000 | 500mA X-Ray | 650000
27 | Odisha | Balasore | Nilagiri SDH(Balasore) | Suction machine | SDHNILOT004 | OT(Nilgiri) | Others | SS055 | 0 | 2013-05-10 | No |  | No |  | Functional | 10000 | Air Bed | 9000
28 | Odisha | Balasore | Nilagiri SDH(Balasore) | Suction machine | SDHNILPPC018 | PPC(Nilgiri) | M/S Medical Equipments and Instrument | SUCTION MICO | 10920 | 2004-07-10 | No |  | No |  | Functional | 10000 | Applanation Tonometer | 45000
29 | Odisha | Balasore | Nilagiri SDH(Balasore) | Suction machine | SDHNILPPC019 | PPC(Nilgiri) | Anand Surgical Industries | Suction M/C | 0 | 2012-06-10 | No |  | No |  | Functional | 10000 | A-Scan | 160000
30 | Odisha | Balasore | Nilagiri SDH(Balasore) | X-RAY M/C (50MA) | 0/35349 | Radiology(Nilgiri) | ELPRO | STALLION 50 | 0 | 2004-06-12 | No |  | No |  | Functional | 150000 | Baby Suction Unit | 5000
[13 empty] | Total Functional : 23 Total Non-Functional : 6 Total Installation Pending : 1 |  |  |  | Bacterilogical Incubator | 30000 | 2153500
Name of Institution : Balipal CHC(Balasore) Institution Type : CHC | [16 empty] | Bed Side Monitor | 65000
1 | Odisha | Balasore | Balipal CHC(Balasore) | 100 MA X-RAY | OE041 | X-ray(Baliapal) | MEDITRONICS Healthcare and Imaging | DIAGNOX 100 | 0 | 2002-07-07 | No |  | No |  | Non-functional | 200000
2 | Odisha | Balasore | Balipal CHC(Balasore) | Autoclave | CHCBAL001 | OT(Baliapal) | Surgicion | Autoclave | 30700 | 2006-07-07 | No |  | No |  | Non-functional | 10000
3 | Odisha | Balasore | Balipal CHC(Balasore) | Autoclave Portable | CHCBAL014 | OT(Baliapal) | Yorco | Auto Clave Portable | 4200 | 2013-07-08 | No |  | No |  | Functional | 10000
4 | Odisha | Balasore | Balipal CHC(Balasore) | Autoclave Portable | CHCBAL013 | OT(Baliapal) | Yorco | Auto Clave Portable | 4200 | 2013-07-08 | No |  | No |  | Functional | 10000
5 | Odisha | Balasore | Balipal CHC(Balasore) | Blood Storage Unit | CHCBAL007 | BSU(Baliapal) | Remi Elektrotechnik Limited | BR-60 | 0 | 2014-07-10 | No |  | No |  | Not in use | 200000
6 | Odisha | Balasore | Balipal CHC(Balasore) | Caurtery Machine | CHCBAL012 | OT(Baliapal) | Deepak Enterprises | DEE 590 | 12250 | 2006-06-08 | No |  | No |  | Functional | 200000
7 | Odisha | Balasore | Balipal CHC(Balasore) | OT Light | CHCBAL008 | OT(Baliapal) | Multilux | Coolexcs28 | 32084 | 2007-07-10 | No |  | No |  | Functional | 130000
8 | Odisha | Balasore | Balipal CHC(Balasore) | OT Light | CHCBAL006 | OT(Baliapal) | Deepak Enterprises | OT LIGHT MINOR | 23500 | 2006-07-10 | No |  | No |  | Installation pending | 130000
9 | Odisha | Balasore | Balipal CHC(Balasore) | OT light (Mobile) | CHCBAL010 | Labour Room(Baliapal) | Arco | MOBILE | 8363 | 2012-06-11 | No |  | No |  | Functional | 25000
10 | Odisha | Balasore | Balipal CHC(Balasore) | OT light (Mobile) | CHCBAL005 | OT(Baliapal) | Surgident | OT light-01 | 12500 | 1999-07-12 | No |  | No |  | Non-functional | 25000
11 | Odisha | Balasore | Balipal CHC(Balasore) | Pulse Oximeter | CHCBAL011 | Labour Room(Baliapal) | Masimo | Radical7 | 62100 | 2013-06-08 | No |  | No |  | Functional | 40000
12 | Odisha | Balasore | Balipal CHC(Balasore) | Radiant Warmer | 111201001747 | Labour Room(Baliapal) | Nice Neotech | NICE2010BC | 46500 | 2012-07-10 | No |  | No |  | Functional | 60000
13 | Odisha | Balasore | Balipal CHC(Balasore) | Radiant Warmer | 101103002322 | OT(Baliapal) | Nice Neotech | NICE2010BC | 48360 | 2012-07-13 | No |  | No |  | Functional | 60000
14 | Odisha | Balasore | Balipal CHC(Balasore) | Radiant Warmer | CHCBAL002 | OT(Baliapal) | Meditrin | Warmer Radiant. | 0 | 2002-07-08 | No |  | No |  | Functional | 60000
15 | Odisha | Balasore | Balipal CHC(Balasore) | Radiant Warmer | 111201001748 | Labour Room(Baliapal) | Nice Neotech | NICE2010BC | 46500 | 2012-07-10 | No |  | No |  | Functional | 60000
16 | Odisha | Balasore | Balipal CHC(Balasore) | Suction apparatus | CHCBAL009 | OT(Baliapal) | Anand Surgical Industries | instavac | 0 | 2013-05-10 | No |  | No |  | Non-functional | 10000
17 | Odisha | Balasore | Balipal CHC(Balasore) | Suction machine | CHCBAL003 | OT(Baliapal) | Deepak Enterprises | DEO804 | 6200 | 2006-07-10 | No |  | No |  | Functional | 10000
18 | Odisha | Balasore | Balipal CHC(Balasore) | Suction machine | CHCBAL004 | OT(Baliapal) | Deepak Enterprises | DEO804 | 6200 | 2006-07-10 | No |  | No |  | Functional | 10000
[13 empty] | Total Functional : 12 Total Non-Functional : 4 Total Installation Pending : 1 Not In Use : 1 | [5 empty] | 1250000
Name of Institution : Basta CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Basta CHC(Balasore) | 100 MA X-RAY | AH-180 | Xray(Basta) | MEDITRONICS Healthcare and Imaging | DIAGNOX 100 | 163000 | 2004-07-12 | No |  | No |  | Non-functional | 200000
2 | Odisha | Balasore | Basta CHC(Balasore) | AIR EATHER MACHINE | CHCBAS003 | OT(Basta) | HOSPITECH | MINI COMPACT | 20200 | 2005-07-08 | No |  | No |  | Functional | 20000
3 | Odisha | Balasore | Basta CHC(Balasore) | Baby Incubator | MCBI200408 | NBSU(Basta) | Delta Co. | Baby Incubator | 46800 | 2004-06-09 | No |  | No |  | Non-functional | 100000
4 | Odisha | Balasore | Basta CHC(Balasore) | Baby Incubator | MCBI200026 | NBSU(Basta) | Delta Co. | Baby Incubator | 46800 | 2004-06-09 | No |  | No |  | Non-functional | 100000
5 | Odisha | Balasore | Basta CHC(Balasore) | Baby Incubator | MCBI200035 | NBSU(Basta) | Delta Co. | Baby Incubator | 46800 | 2004-06-09 | No |  | No |  | Non-functional | 100000
6 | Odisha | Balasore | Basta CHC(Balasore) | Blood Storage Unit | 63360-199 | Pathology(Basta)) | Jewett | BBR-25SS-2A-0Z | 0 | 2000-06-16 | No |  | No |  | Functional | 200000
7 | Odisha | Balasore | Basta CHC(Balasore) | Boyles Apparatus | 200609 | OT(Basta) | Allied | JUPITER200 | 121874 | 2013-05-17 | No |  | No |  | Functional | 85000
8 | Odisha | Balasore | Basta CHC(Balasore) | Centrifuse | CHCBAS018 | Pathology(Basta)) | Unilab | CENTRIFUGE01 | 0 | 2010-10-10 | No |  | No |  | Functional | 45000
9 | Odisha | Balasore | Basta CHC(Balasore) | Colorimeter | CHCBAS017 | Pathology(Basta)) | Lablife | CL-1001 | 0 | 2004-06-10 | No |  | No |  | Non-functional | 5000
10 | Odisha | Balasore | Basta CHC(Balasore) | Colorimeter | CHCBAS016 | Pathology(Basta)) | Lablife | CL-1001 | 0 | 2004-06-10 | No |  | No |  | Non-functional | 5000
11 | Odisha | Balasore | Basta CHC(Balasore) | Diathermy | CC2000501/009 | OT(Basta) | Delta Co. | 1000P | 0 | 2005-06-16 | No |  | No |  | Functional | 200000
12 | Odisha | Balasore | Basta CHC(Balasore) | Distilled Water Plant | CHCBAS009 | Pathology(Basta)) | Yorco | Steri | 24500 | 2005-06-09 | No |  | No |  | Non-functional | 25000
13 | Odisha | Balasore | Basta CHC(Balasore) | Fetal Monitor | 80864029 | NBSU(Basta) | Maestros | Fetal Monitor | 0 | 2004-06-09 | No |  | No |  | Non-functional | 60000
14 | Odisha | Balasore | Basta CHC(Balasore) | Fetal Monitor | 80864010 | NBSU(Basta) | Maestros | Fetal Monitor | 0 | 2004-06-09 | No |  | No |  | Non-functional | 60000
15 | Odisha | Balasore | Basta CHC(Balasore) | Incubator | CHCBAS019 | Pathology(Basta)) | DECIBEL | DB-3153 | 0 | 2002-07-10 | No |  | No |  | Non-functional | 20000
16 | Odisha | Balasore | Basta CHC(Balasore) | Microscope | CHCBAS010 | Pathology(Basta)) | Nikon | MICROSCOPE01 | 0 | 2010-03-10 | No |  | No |  | Functional | 20000
17 | Odisha | Balasore | Basta CHC(Balasore) | Microscope | CHCBAS012 | Pathology(Basta)) | LAFCO | MICROSCOPE02 | 0 | 2002-05-10 | No |  | No |  | Non-functional | 20000
18 | Odisha | Balasore | Basta CHC(Balasore) | Microscope | CHCBAS014 | Pathology(Basta)) | KAMINENI | MICROSCOPE003 | 0 | 2000-06-10 | No |  | No |  | Non-functional | 20000
19 | Odisha | Balasore | Basta CHC(Balasore) | Microscope | CHCBAS013 | Pathology(Basta)) | KAMINENI | MICROSCOPE003 | 0 | 2000-06-10 | No |  | No |  | Non-functional | 20000
20 | Odisha | Balasore | Basta CHC(Balasore) | Microscope | CHCBAS011 | Pathology(Basta)) | LAFCO | MICROSCOPE02 | 0 | 2002-05-10 | No |  | No |  | Non-functional | 20000
21 | Odisha | Balasore | Basta CHC(Balasore) | OT Light Celling | CHCBAS007 | OT(Basta) | Surgident | OT CEILING LIGHT01 | 0 | 2004-05-18 | No |  | No |  | Non-functional | 200000
22 | Odisha | Balasore | Basta CHC(Balasore) | OT light (Mobile) | CHCBAS008 | OT(Basta) | Surgident | OT light-01 | 0 | 2004-05-17 | No |  | No |  | Functional | 25000
23 | Odisha | Balasore | Basta CHC(Balasore) | OT Table | CHCBAS004 | OT(Basta) | Cognet | IS5291 | 44800 | 2004-06-08 | No |  | No |  | Functional | 200000
24 | Odisha | Balasore | Basta CHC(Balasore) | Phototherapy unit | PH20040818 | Labour Room(Basta) | Delta Co. | TUBE TYPE | 16830 | 2004-07-08 | No |  | No |  | Non-functional | 35000
25 | Odisha | Balasore | Basta CHC(Balasore) | Phototherapy unit | PH20040864 | Labour Room(Basta) | Delta Co. | TUBE TYPE | 16830 | 2004-07-08 | No |  | No |  | Functional | 35000
26 | Odisha | Balasore | Basta CHC(Balasore) | Pulse Oximeter | 203503 | OT(Basta) | Masimo | Radical 7 | 62100 | 2013-06-13 | No |  | No |  | Functional | 40000
27 | Odisha | Balasore | Basta CHC(Balasore) | Radiant Warmer | 101103002326 | NBSU(Basta) | Nice Neotech | NICE2010BC | 46500 | 2011-07-11 | No |  | No |  | Non-functional | 60000
28 | Odisha | Balasore | Basta CHC(Balasore) | Radiant Warmer | 101103002325 | NBSU(Basta) | Nice Neotech | NICE2010BC | 46500 | 2011-07-11 | No |  | No |  | Functional | 60000
29 | Odisha | Balasore | Basta CHC(Balasore) | Radiant Warmer | 111201001729 | Labour Room(Basta) | Nice Neotech | NICE2010B | 46500 | 2011-07-11 | No |  | No |  | Non-functional | 60000
30 | Odisha | Balasore | Basta CHC(Balasore) | Radiant Warmer | 101103002324 | Labour Room(Basta) | Nice Neotech | NICE2010BC | 46500 | 2011-07-11 | No |  | No |  | Functional | 60000
31 | Odisha | Balasore | Basta CHC(Balasore) | Radiant Warmer | MRHW200408/15 | OT(Basta) | Delta Co. | SR50 | 0 | 2004-06-17 | No |  | No |  | Functional | 60000
32 | Odisha | Balasore | Basta CHC(Balasore) | Suction machine | CHCBAS001 | Labour Room(Basta) | Instavac | premium | 0 | 2004-07-08 | No |  | No |  | Non-functional | 10000
33 | Odisha | Balasore | Basta CHC(Balasore) | Suction machine | CHCBAS005 | OT(Basta) | M/S Medical Equipments and Instrument | SUCTION MICO | 0 | 2004-07-08 | No |  | No |  | Functional | 10000
34 | Odisha | Balasore | Basta CHC(Balasore) | Suction machine | CHCBAS006 | OT(Basta) | ANAND SURGICAL INDUSTRIES (INDIA) | HI-VAC JR | 0 | 2005-05-09 | No |  | No |  | Non-functional | 10000
35 | Odisha | Balasore | Basta CHC(Balasore) | Water Bath | CHCBAS015 | Pathology(Basta)) | Vikrant Industries | water bath | 0 | 2004-06-10 | No |  | No |  | Non-functional | 20000
36 | Odisha | Balasore | Basta CHC(Balasore) | X-RAY M/C (50MA) | CHCBAS002 | Xray(Basta) | RADON | 50 MA | 0 | 1982-09-08 | No |  | No |  | Non-functional | 150000
[13 empty] | Total Functional : 14 Total Non-Functional : 22 | [5 empty] | 2360000
Name of Institution : Berhampur CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Berhampur CHC(Balasore) | Autoclave Portable | CHCBER004 | Labour Room(Berhampur CHC) | Premier Surgicals | YSI 401 | 0 | 2014-02-17 | No |  | No |  | Functional | 10000
2 | Odisha | Balasore | Berhampur CHC(Balasore) | OT Light Celling | CHCBER006 | Labour Room(Berhampur CHC) | Deepak Enterprises | DEO885 | 23500 | 2006-07-14 | No |  | No |  | Functional | 200000
3 | Odisha | Balasore | Berhampur CHC(Balasore) | OT Stand light | CHCBER001 | Labour Room(Berhampur CHC) | Arco | OT Stand Light | 0 | 2014-03-22 | No |  | No |  | Functional | 25000
4 | Odisha | Balasore | Berhampur CHC(Balasore) | Phototherapy | CHCBER006 | Labour Room(Berhampur CHC) | Others | phototherapy 001 | 0 | 2014-01-17 | No |  | No |  | Functional | 35000
5 | Odisha | Balasore | Berhampur CHC(Balasore) | Radiant Warmer | 111201001722 | Labour Room(Berhampur CHC) | Nice Neotech | NICE2010B | 46500 | 2012-03-16 | No |  | No |  | Functional | 60000
6 | Odisha | Balasore | Berhampur CHC(Balasore) | Suction machine | CHCBER003 | Labour Room(Berhampur CHC) | Anand Surgical Industries | Suction Apparatus | 0 | 2013-03-25 | No |  | No |  | Functional | 10000
7 | Odisha | Balasore | Berhampur CHC(Balasore) | Suction machine | CHCBER002 | Labour Room(Berhampur CHC) | Anand Surgical Industries | Suction Apparatus | 0 | 2013-03-18 | No |  | No |  | Non-functional | 10000
[13 empty] | Total Functional : 6 Total Non-Functional : 1 | [5 empty] | 350000
Name of Institution : GKB Hospital Jaleswar(Balasore) Institution Type : CHC
1 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | 100 MA X-RAY | CG0076 | X-ray(GKB Hospital) | M/s Elpro (IGE) International Ltd | GENIOUS 100 | 0 | 1996-07-18 | No |  | No |  | Non-functional | 200000
2 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Autoclave | CHCGKB004 | OT(GKB Hospital) | Others | Auto Clave00 | 0 | 2013-03-16 | No |  | No |  | Functional | 10000
3 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Autoclave. | CHCGKB005 | OT(GKB Hospital) | Surgicion | Autoclave | 30700 | 2007-02-23 | No |  | No |  | Non-functional | 10000
4 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Blood Storage Unit | BDI-3203 | BSU(GKB Hospital) | Remi Elektrotechnik Limited | BR-40 | 0 | 2004-03-18 | No |  | No |  | Non-functional | 200000
5 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Blood Storage Unit | BDI-2880 | BSU(GKB Hospital) | Remi Elektrotechnik Limited | BR-60 | 0 | 2013-02-16 | No |  | No |  | Functional | 200000
6 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Boyles Apparatus | 2002607 | OT(GKB Hospital) | Allied | JUPITER200 | 121874 | 2013-03-22 | No |  | No |  | Functional | 85000
7 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Cautery Machine | CHCGKB010 | OT(GKB Hospital) | Deepak Enterprises | DEE-590 | 23500 | 2006-06-16 | No |  | No |  | Functional | 200000
8 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Delivery Table | CHCGKB008 | Labour Room(GKB Hospital) | Deepak Enterprises | DEO865 | 17500 | 2006-03-17 | No |  | No |  | Functional | 7500
9 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | OT Light Celling | CHCGKB003 | OT(GKB Hospital) | Multilux | Coolex-CS28 | 30850 | 2006-03-17 | No |  | No |  | Functional | 200000
10 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | OT light (Mobile) | CHCGKB009 | OT(GKB Hospital) | Deepak Enterprises | DEO885M | 23500 |  | No |  | No |  | Installation pending | 25000
11 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | OT Table | CHCGKB006 | OT(GKB Hospital) | Surgicion | OT Table Hydrolic | 54300 | 2007-07-18 | No |  | No |  | Non-functional | 200000
12 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | OT Table | CHCGKB007 | OT(GKB Hospital) | Surgicion | MINOR | 31450 | 2007-07-16 | No |  | No |  | Functional | 200000
13 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Pulse Oximeter | 204293 | OT(GKB Hospital) | Masimo | Radical7 | 62100 | 2013-01-17 | No |  | No |  | Non-functional | 40000
14 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Radiant Warmer | 101103002331 | Labour Room(GKB Hospital) | Nice Neotech | NICE2010BC | 46500 | 2011-07-15 | No |  | No |  | Functional | 60000
15 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Radiant Warmer | 101103002327 | Labour Room(GKB Hospital) | Nice Neotech | NICE2010BC | 46500 | 2011-07-15 | No |  | No |  | Functional | 60000
16 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Radiant Warmer | 111201001741 | NBSU(GKB Hospital) | Nice Neotech | NICE2010BC | 46500 | 2012-07-16 | No |  | No |  | Functional | 60000
17 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Suction machine | CHCGKB001 | Labour Room(GKB Hospital) | Deepak Enterprises | DEO804 | 6200 | 2006-02-17 | No |  | No |  | Functional | 10000
18 | Odisha | Balasore | GKB Hospital Jaleswar(Balasore) | Suction machine | CHCGKB002 | Labour Room(GKB Hospital) | Deepak Enterprises | DEO804 | 6200 | 2006-02-17 | No |  | No |  | Functional | 10000
[13 empty] | Total Functional : 12 Total Non-Functional : 5 Total Installation Pending : 1 | [5 empty] | 1777500
Name of Institution : Gopalpur CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Gopalpur CHC(Balasore) | Autoclave | CHCGOP004 | OT(Gopalpur CHC) | Others | Auto Clave01 | 15000 | 2014-03-13 | No |  | No |  | Functional | 10000
2 | Odisha | Balasore | Gopalpur CHC(Balasore) | OT Light Celling | CHCGOP002 | OT(Gopalpur CHC) | Deepak Enterprises | DEO885 | 23500 | 2006-07-13 | No |  | No |  | Functional | 200000
3 | Odisha | Balasore | Gopalpur CHC(Balasore) | Radiant Warmer | CHCGOP001 | Labour Room(Gopalpur CHC) | Meditrin | Warmer Radiant. | 0 | 2001-07-13 | No |  | No |  | Non-functional | 60000
4 | Odisha | Balasore | Gopalpur CHC(Balasore) | Radiant Warmer | 111201001733 | Labour Room(Gopalpur CHC) | Nice Neotech | NICE2010B | 46500 | 2012-07-16 | No |  | No |  | Functional | 60000
5 | Odisha | Balasore | Gopalpur CHC(Balasore) | Suction machine | 3 | Labour Room(Gopalpur CHC) | Fazzenis | 7E-B F18 | 9500 | 2015-02-13 | No |  | No |  | Functional | 10000
6 | Odisha | Balasore | Gopalpur CHC(Balasore) | Suction machine | CHCGOP003 | OT(Gopalpur CHC) | Instavac | premium | 0 | 2005-07-13 | No |  | No |  | Functional | 10000
7 | Odisha | Balasore | Gopalpur CHC(Balasore) | Suction M/C(Foot Op.) | CHCGOP005 | Labour Room(Gopalpur CHC) | Anand Surgical Industries | Suction Machine(Foot Op.) | 3365 | 2012-07-13 | No |  | No |  | Non-functional | 5000
[13 empty] | Total Functional : 5 Total Non-Functional : 2 | [5 empty] | 355000
Name of Institution : Hatigarh CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Hatigarh CHC(Balasore) | Autoclave Portable | CHCHAT003 | Labour Room(Hatigarh) | Yorco | Auto Clave Portable | 0 | 2013-05-08 | No |  | No |  | Functional | 10000
2 | Odisha | Balasore | Hatigarh CHC(Balasore) | Delivery Table | CHCHAT005 | Labour Room(Hatigarh) | Deepak Enterprises | DEO865 | 17500 | 2006-07-08 | No |  | No |  | Functional | 7500
3 | Odisha | Balasore | Hatigarh CHC(Balasore) | OT Light Celling | CHCHAT006 | OT(Hatigarh) | Deepak Enterprises | DEO885 | 23500 | 2006-07-08 | No |  | No |  | Non-functional | 200000
4 | Odisha | Balasore | Hatigarh CHC(Balasore) | OT Table | CHCHAT004 | OT(Hatigarh) | Surgicion | MINOR | 31450 | 2006-07-08 | No |  | No |  | Functional | 200000
5 | Odisha | Balasore | Hatigarh CHC(Balasore) | Radiant Warmer | 111201001740 | Labour Room(Hatigarh) | Nice Neotech | NICE2010B | 46500 | 2012-01-13 | No |  | No |  | Functional | 60000
6 | Odisha | Balasore | Hatigarh CHC(Balasore) | Suction M/C (Elect) | CHCHAT002 | Labour Room(Hatigarh) | Supreme | Instavac | 0 | 2013-03-08 | No |  | No |  | Non-functional | 10000
[13 empty] | Total Functional : 4 Total Non-Functional : 2 | [5 empty] | 487500
Name of Institution : Iswarpur CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Iswarpur CHC(Balasore) | Autoclave. | CHCISW011 | OT(Iswarpur CHC) | Others | Auto Clave01 | 7500 | 2013-03-14 | No |  | No |  | Functional | 10000
2 | Odisha | Balasore | Iswarpur CHC(Balasore) | Autoclave. | CHCISW010 | OT(Iswarpur CHC) | Others | Auto Clave01 | 7500 | 2013-03-14 | No |  | No |  | Functional | 10000
3 | Odisha | Balasore | Iswarpur CHC(Balasore) | Labour Table | CHCISW004 | Labour Room(Iswarpur CHC) | Royale safe | RS/ET1 | 0 | 2008-03-15 | No |  | No |  | Functional | 7500
4 | Odisha | Balasore | Iswarpur CHC(Balasore) | Labour Table | CHCISW003 | Labour Room(Iswarpur CHC) | Royale safe | RS/ET1 | 0 | 2008-03-15 | No |  | No |  | Functional | 7500
5 | Odisha | Balasore | Iswarpur CHC(Balasore) | OT light (Mobile) | CHCISW007 | OT(Iswarpur CHC) | Surgident | OT light-01 | 25480 | 2008-10-17 | No |  | No |  | Functional | 25000
6 | Odisha | Balasore | Iswarpur CHC(Balasore) | OT light (Mobile) | CHCISW008 | OT(Iswarpur CHC) | Surgident | OT light-01 | 25480 | 2008-10-17 | No |  | No |  | Functional | 25000
7 | Odisha | Balasore | Iswarpur CHC(Balasore) | OT Table | CHCISW012 | OT(Iswarpur CHC) | Surgicion | OT Table Hydrolic | 0 | 2008-03-17 | No |  | No |  | Functional | 200000
8 | Odisha | Balasore | Iswarpur CHC(Balasore) | Phototherapy | CHCISW002 | Labour Room(Iswarpur CHC) | Others | phototherapy 001 | 14560 | 2010-02-19 | No |  | No |  | Functional | 35000
9 | Odisha | Balasore | Iswarpur CHC(Balasore) | Pulse Oximeter | CHCISW005 | Labour Room(Iswarpur CHC) | Life Line care | Fingertip | 2100 | 2013-02-15 | No |  | No |  | Functional | 40000
10 | Odisha | Balasore | Iswarpur CHC(Balasore) | Radiant Warmer | CHCISW001 | Labour Room(Iswarpur CHC) | Meditrin | MRHW200408/1 | 0 | 2010-07-16 | No |  | No |  | Functional | 60000
11 | Odisha | Balasore | Iswarpur CHC(Balasore) | Suction machine | CHCISW009 | Labour Room(Iswarpur CHC) | Anand Surgical Industries | Suction M/C | 11440 | 2011-03-16 | No |  | No |  | Functional | 10000
12 | Odisha | Balasore | Iswarpur CHC(Balasore) | Suction machine | 1414 | OT(Iswarpur CHC) | Anand Surgical Industries | Suction M/C | 0 | 2004-03-18 | No |  | No |  | Functional | 10000
[13 empty] | Total Functional : 12 | [5 empty] | 440000
Name of Institution : Jaleswarpur CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | 100 MA X-RAY | OE040 | X-ray(Jaleswarpur) | MEDITRONICS Healthcare and Imaging | DIAGNOX 100 | 0 | 2002-07-15 | No |  | No |  | Functional | 200000
2 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | Blood Storage Unit | BDI-2879 | OT(Jaleswarpur) | Remi Elektrotechnik Limited | BR-60 | 0 | 2013-05-16 | No |  | No |  | Not in use | 200000
3 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | Caurtery Machine | CHCJAL008 | OT(Jaleswarpur) | Deepak Enterprises | DEE 590 | 12250 | 2006-07-15 | No |  | No |  | Functional | 200000
4 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | OT Light | CHCJAL003 | LR(Jaleswarpur) | Multilux | Coolexcs28 | 32084 | 2007-07-17 | No |  | No |  | Functional | 130000
5 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | OT Table | CHCBAL005 | OT(Jaleswarpur) | Surgicion | MINOR | 31450 | 2007-07-10 | No |  | No |  | Functional | 200000
6 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | OT table Hydrolic | CHCJAL005 | OT(Jaleswarpur) | Surgicion | OT Table Hydrolic. | 54300 | 2007-07-13 | No |  | No |  | Functional | 200000
7 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | Pulse Oximeter | CHCJAL007 | OT(Jaleswarpur) | Masimo | Radical7 | 62100 | 2013-06-08 | No |  | No |  | Functional | 40000
8 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | Radiant Warmer | 131401004403 | NBSU(Jaleswarpur) | Nice Neotech | NICE 2000 | 46500 | 2013-06-18 | No |  | No |  | Functional | 60000
9 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | Radiant Warmer | CHCJAL006 | NBSU(Jaleswarpur) | Meditrin | Warmer Radiant. | 0 | 2004-07-08 | No |  | No |  | Non-functional | 60000
10 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | Radiant Warmer | 111201001724 | LR(Jaleswarpur) | Nice Neotech | NICE2010B | 46500 | 2013-07-18 | No |  | No |  | Functional | 60000
11 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | Suction apparatus | CHCJAL001 | LR(Jaleswarpur) | ANAND SURGICAL INDUSTRIES (INDIA) | Surgi-Vac | 6200 | 2006-06-15 | No |  | No |  | Functional | 10000
12 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | Suction apparatus | CHCJAL002 | LR(Jaleswarpur) | ANAND SURGICAL INDUSTRIES (INDIA) | Surgi-Vac | 6200 | 2006-06-15 | No |  | No |  | Functional | 10000
13 | Odisha | Balasore | Jaleswarpur CHC(Balasore) | Suction machine | CHCJAL009 | OT(Jaleswarpur) | M/S Medical Equipments and Instrument | SUCTION MICO | 3200 | 2005-07-08 | No |  | No |  | Non-functional | 10000
[13 empty] | Total Functional : 10 Total Non-Functional : 2 Not in use : 1 | [5 empty] | 1380000
Name of Institution : Khaira CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Khaira CHC(Balasore) | Autoclave. | CHCKHA003 | OT(Khaira CHC) | Surgicion | Autoclave | 30700 | 2007-05-18 | No |  | No |  | Non-functional | 10000
2 | Odisha | Balasore | Khaira CHC(Balasore) | OT Light Celling | CHCKHA007 | OT(Khaira CHC) | Multilux | Coolex-CS28 | 30850 | 2007-07-17 | No |  | No |  | Functional | 200000
3 | Odisha | Balasore | Khaira CHC(Balasore) | OT Table | CHCKHA004 | OT(Khaira CHC) | Surgicion | OT Table Hydrolic | 54300 | 2007-02-16 | No |  | No |  | Non-functional | 200000
4 | Odisha | Balasore | Khaira CHC(Balasore) | OT Table | CHCKHA005 | OT(Khaira CHC) | Surgicion | MINOR | 31450 | 2007-05-14 | No |  | No |  | Non-functional | 200000
5 | Odisha | Balasore | Khaira CHC(Balasore) | Radiant Warmer | CHCKHA001 | Labour Room(Khaira CHC) | Meditrin | Warmer Radiant. | 0 | 2002-05-13 | No |  | No |  | Functional | 60000
6 | Odisha | Balasore | Khaira CHC(Balasore) | Suction machine | CHCKHA002 | Labour Room(Khaira CHC) | Instavac | premium | 0 | 2013-03-15 | No |  | No |  | Functional | 10000
7 | Odisha | Balasore | Khaira CHC(Balasore) | X-RAY | CHCKHA008 | X-ray(Khaira CHC) | M/s Elpro (IGE) International Ltd | Stallion 100 | 0 | 1996-07-19 | No |  | No |  | Non-functional | 350000
8 | Odisha | Balasore | Khaira CHC(Balasore) | X-RAY | CHCKHA009 | X-ray(Khaira CHC) | Picks | PDX-6010 | 0 | 2006-05-26 | No |  | No |  | Functional | 350000
[13 empty] | Total Functional : 4 Total Non-Functional : 4 | [5 empty] | 1380000
Name of Institution : Remuna CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Remuna CHC(Balasore) | Autoclave Portable | CHCREM004 | OT(Remuna CHC) | Yorco | Auto Clave Portable | 0 | 2006-07-14 | No |  | No |  | Functional | 10000
2 | Odisha | Balasore | Remuna CHC(Balasore) | OT Table | CHCREM003 | OT(Remuna CHC) | Surgicion | OT Table Hydrolic | 0 | 2006-07-14 | No |  | No |  | Functional | 200000
3 | Odisha | Balasore | Remuna CHC(Balasore) | Radiant Warmer | CHCREM001 | Labour Room(Remuna CHC) | Meditrin | Warmer Radiant. | 0 | 2001-07-18 | No |  | No |  | Functional | 60000
4 | Odisha | Balasore | Remuna CHC(Balasore) | Suction apparatus | CHCREM002 | Labour Room(Remuna CHC) | Anand Surgical Industries | instavac | 0 | 2005-07-15 | No |  | No |  | Functional | 10000
5 | Odisha | Balasore | Remuna CHC(Balasore) | Suction apparatus | CHCREM005 | Labour Room(Remuna CHC) | ANAND SURGICAL INDUSTRIES (INDIA) | Surgi-Vac | 0 | 2004-07-15 | No |  | No |  | Functional | 10000
[13 empty] | Total Functional : 5 | [5 empty] | 290000
Name of Institution : Rupsa CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Rupsa CHC(Balasore) | AIR EATHER MACHINE | CHCRUPOT009 | OT (Rupsa CHC) | HOSPITECH | MINI COMPACT | 20200 | 2004-09-12 | No |  | No |  | Non-functional | 20000
2 | Odisha | Balasore | Rupsa CHC(Balasore) | Autoclave | N143 | Labour Room(Rupsa CHC) | Narayan Industries | Vertical | 0 | 2004-07-12 | No |  | No |  | Functional | 10000
3 | Odisha | Balasore | Rupsa CHC(Balasore) | Baby Incubator | 0408/033 | Labour Room(Rupsa CHC) | Delta Co. | Baby Incubator | 48600 | 2004-07-12 | No |  | No |  | Not in use | 100000
4 | Odisha | Balasore | Rupsa CHC(Balasore) | Centrifuse M/C | HMLC6555 | Pathology(Rupsa CHC) | Remi Elektrotechnik Limited | RM12CBL | 9200 | 2004-07-10 | No |  | No |  | Functional | 45000
5 | Odisha | Balasore | Rupsa CHC(Balasore) | Distilled Water Plant | CHCRUP002 | Labour Room(Rupsa CHC) | Yorco | Steri | 25480 | 2004-07-15 | No |  | No |  | Functional | 25000
6 | Odisha | Balasore | Rupsa CHC(Balasore) | Fetal Monitor | 80864043 | Labour Room(Rupsa CHC) | Maestros | Fetal Monitor | 102700 | 2004-06-15 | No |  | No |  | Non-functional | 60000
7 | Odisha | Balasore | Rupsa CHC(Balasore) | OT Light | CHCRUPOT007 | OT (Rupsa CHC) | Surgicion | OT Light Ceilling | 0 | 2004-09-18 | No |  | No |  | Non-functional | 130000
8 | Odisha | Balasore | Rupsa CHC(Balasore) | OT light (Mobile) | CHCRUPOT008 | OT (Rupsa CHC) | Surgident | OT light-01 | 0 | 2004-10-15 | No |  | No |  | Non-functional | 25000
9 | Odisha | Balasore | Rupsa CHC(Balasore) | OT light (Mobile) | CHCRUPLR004 | Labour Room(Rupsa CHC) | Surgident | OT light-01 | 0 | 2004-07-12 | No |  | No |  | Functional | 25000
10 | Odisha | Balasore | Rupsa CHC(Balasore) | Phototherapy | PH200408/74 | Labour Room(Rupsa CHC) | Delta Co. | Phototherapy Tube | 16830 | 2004-07-12 | No |  | No |  | Functional | 35000
11 | Odisha | Balasore | Rupsa CHC(Balasore) | Radiant Warmer | 1.11201E+11 | Labour Room(Rupsa CHC) | Nice Neotech | NICE2010B | 46500 | 2012-10-12 | No |  | No |  | Functional | 60000
12 | Odisha | Balasore | Rupsa CHC(Balasore) | Radiant Warmer | CHCRUPOT005 | OT (Rupsa CHC) | Meditrin | MRHW200408/1 | 46500 | 2002-07-12 | No |  | No |  | Non-functional | 60000
13 | Odisha | Balasore | Rupsa CHC(Balasore) | Resuscitation kit | ERT200501/35 | OT (Rupsa CHC) | Delta Co. | CPAP-I | 0 | 2004-10-12 | No |  | No |  | Non-functional | 10000
14 | Odisha | Balasore | Rupsa CHC(Balasore) | ShortWave Diathermy | CC2005011002 | Labour Room(Rupsa CHC) | Delta Co. | ShortWave Diathermy | 0 | 2004-07-12 | No |  | No |  | Functional
15 | Odisha | Balasore | Rupsa CHC(Balasore) | Suction machine | CHCRUPOT006 | OT (Rupsa CHC) | Anand Surgical Industries | OP-108 | 0 | 2004-07-12 | No |  | No |  | Functional | 10000
16 | Odisha | Balasore | Rupsa CHC(Balasore) | Suction machine | CHCRUPLR001 | Labour Room(Rupsa CHC) | Anand Surgical Industries | OP-108 | 0 | 2004-07-12 | No |  | No |  | Functional | 10000
17 | Odisha | Balasore | Rupsa CHC(Balasore) | Suction machine | CHCRUPLR003 | Labour Room(Rupsa CHC) | M/S Medical Equipments and Instrument | SUCTION MICO | 0 | 2004-06-14 | No |  | No |  | Functional | 10000
18 | Odisha | Balasore | Rupsa CHC(Balasore) | Suction M/C(Foot Op.) | CHCRUPOT011 | OT (Rupsa CHC) | Anand Surgical Industries | Suction Machine(Foot Op.) | 1585 | 1995-07-11 | No |  | No |  | Non-functional | 5000
19 | Odisha | Balasore | Rupsa CHC(Balasore) | Suction M/C(Foot Op.) | CHCRUPOT010 | OT (Rupsa CHC) | Anand Surgical Industries | Suction Machine(Foot Op.) | 1585 | 1995-07-11 | No |  | No |  | Non-functional | 5000
[13 empty] | Total Functional : 9 Total Non-Functional : 8 Not in use : 1 | [5 empty] | 645000
Name of Institution : Simulia CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Simulia CHC(Balasore) | AIR EATHER MACHINE | CHCSIM006 | OT(Simulia CHC) | HOSPITECH | MINI COMPACT | 0 | 2004-07-16 | No |  | No |  | Functional | 20000
2 | Odisha | Balasore | Simulia CHC(Balasore) | Autoclave. | CHCSIM005 | OT(Simulia CHC) | Others | Auto Clave01 | 0 | 2010-05-15 | No |  | No |  | Functional | 10000
3 | Odisha | Balasore | Simulia CHC(Balasore) | Autoclave. | CHCSIM004 | OT(Simulia CHC) | Others | Auto Clave01 | 0 | 2010-05-15 | No |  | No |  | Functional | 10000
4 | Odisha | Balasore | Simulia CHC(Balasore) | OT Light | CHCSIM003 | OT(Simulia CHC) | Surgicion | OT Light Ceilling | 0 | 2007-08-24 | No |  | No |  | Functional | 130000
5 | Odisha | Balasore | Simulia CHC(Balasore) | Phototherapy | CHCSIM001 | Labour Room(Simulia CHC) | Delta Co. | Phototherapy Tube | 16830 | 2005-07-15 | No |  | No |  | Functional | 35000
6 | Odisha | Balasore | Simulia CHC(Balasore) | Radiant Warmer | 1.31401E+11 | Labour Room(Simulia CHC) | Nice Neotech | NICE 2000 | 46500 | 2013-04-16 | No |  | No |  | Functional | 60000
7 | Odisha | Balasore | Simulia CHC(Balasore) | Suction machine | CHCSIM002 | Labour Room(Simulia CHC) | Anand Surgical Industries | Suction M/C | 0 | 2010-07-16 | No |  | No |  | Functional | 10000
[13 empty] | Total Functional : 7 | [5 empty] | 275000
Name of Institution : Soro CHC(Balasore) Institution Type : CHC
1 | Odisha | Balasore | Soro CHC(Balasore) | 100 MA X-RAY | CHCSOR018 | X-ray(Soro CHC) | MEDITRONICS Healthcare and Imaging | DIAGNOX 100 | 0 | 2006-07-17 | No |  | No |  | Functional | 200000
2 | Odisha | Balasore | Soro CHC(Balasore) | AIR EATHER MACHINE | CHCSOR002 | OT(Soro CHC) | HOSPITECH | MINI COMPACT | 20200 | 2004-04-16 | No |  | No |  | Functional | 20000
3 | Odisha | Balasore | Soro CHC(Balasore) | Autoclave. | CHCSOR016 | OT(Soro CHC) | Others | Auto Clave01 | 23000 | 2014-04-16 | No |  | No |  | Functional | 10000
4 | Odisha | Balasore | Soro CHC(Balasore) | Baby Incubator | MRHW200408/18 | OT(Soro CHC) | Delta Co. | Baby Incubator | 32200 | 2004-02-16 | No |  | No |  | Not in use | 100000
5 | Odisha | Balasore | Soro CHC(Balasore) | Blood Storage Unit | CHCSOR013 | BSU(Soro CHC) | Remi Elektrotechnik Limited | BBR25 | 0 | 2004-07-13 | No |  | No |  | Functional | 200000
6 | Odisha | Balasore | Soro CHC(Balasore) | Boyles Apparatus | 2001604 | OT(Soro CHC) | Allied | JUPITER200 | 127968 | 2014-03-19 | No |  | No |  | Functional | 85000
7 | Odisha | Balasore | Soro CHC(Balasore) | Cautery Machine | CHCSOR005 | OT(Soro CHC) | ALPHA CUT | COMBO | 0 | 2003-07-14 | No |  | No |  | Functional | 200000
8 | Odisha | Balasore | Soro CHC(Balasore) | Centrifuse M/C | CHCSOR015 | BSU(Soro CHC) | Remi Elektrotechnik Limited | R8C | 7800 | 2014-03-13 | No |  | No |  | Functional | 45000
9 | Odisha | Balasore | Soro CHC(Balasore) | Distilled Water Plant | CHCSOR012 | Pathology(Soro CHC) | Yorco | Steri | 24500 | 2004-07-17 | No |  | No |  | Non-functional | 25000
10 | Odisha | Balasore | Soro CHC(Balasore) | Incubator | CHCSOR014 | BSU(Soro CHC) | DIGILAB | BACTERIAL INCUBATOR | 9240 | 2014-02-13 | No |  | No |  | Functional | 20000
11 | Odisha | Balasore | Soro CHC(Balasore) | Multipara Monitor. | CHCSOR004 | OT(Soro CHC) | Nasan Medical Electronics Pvt. Ltd. | MULTIPARA MONITOR | 0 | 2002-06-13 | No |  | No |  | Functional | 65000
12 | Odisha | Balasore | Soro CHC(Balasore) | OT Light | CHCSOR001 | OT(Soro CHC) | Surgicion | OT Light Ceilling | 0 | 2004-07-15 | No |  | No |  | Non-functional | 130000
13 | Odisha | Balasore | Soro CHC(Balasore) | OT light (Mobile) | CHCSOR006 | OT(Soro CHC) | Surgident | OT light-01 | 0 | 2004-07-16 | No |  | No |  | Functional | 25000
14 | Odisha | Balasore | Soro CHC(Balasore) | OT light (Mobile) | CHCSOR007 | OT(Soro CHC) | Surgident | OT light-01 | 0 | 2004-07-16 | No |  | No |  | Functional | 25000
15 | Odisha | Balasore | Soro CHC(Balasore) | OT Table | CHCSOR017 | OT(Soro CHC) | Surgicion | OT Table Hydrolic | 0 | 2004-07-16 | No |  | No |  | Functional | 200000
16 | Odisha | Balasore | Soro CHC(Balasore) | Phototherapy | CHCSOR010 | NBSU(Soro CHC) | Delta Co. | Phototherapy Tube | 0 | 2004-09-13 | No |  | No |  | Non-functional | 35000
17 | Odisha | Balasore | Soro CHC(Balasore) | Phototherapy | CHCSOR011 | NBSU(Soro CHC) | Delta Co. | Phototherapy Tube | 0 | 2004-09-13 | No |  | No |  | Non-functional | 35000
18 | Odisha | Balasore | Soro CHC(Balasore) | Pulse Oximeter | 204271 | OT(Soro CHC) | Masimo | Radical 7 | 62100 | 2013-01-15 | No |  | No |  | Functional | 40000
19 | Odisha | Balasore | Soro CHC(Balasore) | Radiant Warmer | CHCSOR008 | NBSU(Soro CHC) | SHREEYASH | SERVO PORTABLE | 0 | 2010-07-15 | No |  | No |  | Functional | 60000
20 | Odisha | Balasore | Soro CHC(Balasore) | Radiant Warmer | 1.01103E+11 | NBSU(Soro CHC) | Nice Neotech | NICE2010BC | 46500 | 2013-03-15 | No |  | No |  | Functional | 60000
21 | Odisha | Balasore | Soro CHC(Balasore) | Radiant Warmer | 1.01103E+11 | Labour Room(Soro CHC) | Nice Neotech | NICE2010BC | 46500 | 2013-03-15 | No |  | No |  | Functional | 60000
22 | Odisha | Balasore | Soro CHC(Balasore) | Suction machine | CHCSOR003 | OT(Soro CHC) | Instavac | premium | 0 | 2004-03-13 | No |  | No |  | Non-functional | 10000
23 | Odisha | Balasore | Soro CHC(Balasore) | Suction machine | CHCSOR009 | Labour Room(Soro CHC) | M/S Medical Equipments and Instrument | SUCTION MICO | 0 | 2004-06-13 | No |  | No |  | Non-functional | 10000
[13 empty] | Total Functional : 16 Total Non Functional : 6 Total Not in Use : 1 | [5 empty] | 1660000