## TARASO PHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-08
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | TARASO PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | # | B. P. Instrument | * | * | * | 1 |  | 1
# | # | Binocular Microscope | Olympus | CH-20i | * | 1 |  | 1
# | # | Electric Sterilizer | * | * | * |  | 1 | 1
# | # | Baby Weighing Machine | Crown | * | * | 1 |  | 1
# | # | Domestic Refrigerator | Samsung | * | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 5
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
55650

## SAGALEE CHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-11
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | SAGALEE CHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | LABOUR ROOM | Suction Machine | Anand | * | * | 1 |  | 1
# |  | Spot Light | * | * | * | 1 |  | 1
# |  | Infant Warmer | Carevel | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Detect | * | * | 1 |  | 1
# |  | Standing B. P. Instrument | * | * | * | 1 |  | 1
# |  | Hydraulic Labour Table | Import | * | * | 1 |  | 1
# |  | Labour Table | Indian | * | * | 1 |  | 1
# | X-RAY ROOM | X-Ray Machine | Medi Lux | RX-100 | * |  | 1 | 1
# | PATH LAB | Centrifuge | Remi | SN-JGLC-12486 | * | 1 |  | 1
# |  | Binocular Microscope | Olympus | CH-205 | 14B0136 12A762 | 1 |  | 1
# |  | Binocular Microscope | SUS WAX | * | 3506 | 1 |  | 1
# |  | Binocular Microscope | Olympus | * | * | 1 |  | 1
# |  | Monocular Microscope | Unilab | * | * |  | 1 | 1
# |  | Incubator | * | * | * | 1 |  | 1
# |  | Incubator | * | * | * |  | 1 | 1
# |  | Monocular Microscope | Kowa | * | * |  | 1 | 1
# |  | Binocular Microscope | * | * | 3517 |  | 1 | 1
# | DENTAL OPD | Dental Chair | Chesa | Cnyx-Dlx | * | 1 |  | 1
# |  | Dental X-Ray | Techno Made | * | * | 1 |  | 1
# |  | Glass Bead Sterilizer | 1SH1-DENT | * | * | 1 |  | 1
# |  | Ultrasound Machine | Guilin | UDSA | A9040 342C | 1 |  | 1
# |  | Dental Chair | * | * | * |  | 1 | 1
# | DRESSING ROOM | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Spot Light | * | * | * | 1 |  | 1
# |  | Hydraulic Labour Table | * | * | * |  | 1 | 1
# |  | Spot Light | * | * | * | 1 |  | 1
# | STORE | B. P. Instrument | * | * | * |  | 1 | 1
# |  | B. P. Instrument | * | * | * |  | 1 | 1
# |  | B. P. Instrument | * | * | * |  | 1 | 1
# |  | B. P. Instrument | * | * | * |  | 1 | 1
# |  | B. P. Instrument | * | * | * |  | 1 | 1
# |  | B. P. Instrument | * | * | * |  | 1 | 1
# |  | B. P. Instrument | * | * | * |  | 1 | 1
# |  | B. P. Instrument | * | * | * |  | 1 | 1
# |  | B. P. Instrument | * | * | * |  | 1 | 1
# |  | B. P. Instrument | * | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | * | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | * | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | * | * | * |  | 1 | 1
# |  | Vertical Autoclave | * | * | * |  | 1 | 1
# | EPI | ILR | Haier | HBC-70 | BE058 1E0100B 29790186 | 1 |  | 1
# |  | ILR | Haier | HBD-116 | BE04G 0E010 0B296H0207 | 1 |  | 1
# |  | Deep Freezer | Vest Frost | MF-304 | 91111 2114 |  | 1 | 1
# |  | Deep Freezer | Vest Frost | MF-144 | 9140 1170 | 1 |  | 1
# |  | Needle Cutter | Pioneer | * | * | 1 |  | 1
# |  | Soler Freezer | DULAS | BC150F | 104820 100 |  | 1 | 1
# |  | Centriuge | * | * | * |  | 1 | 1
# |  | Domestic Refrigerator | * | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Crown | Victoral-DX | * | 1 |  | 1
# |  | Adult Weighing Machine | Eagle | * | * |  | 1 | 1
# |  | B. P. Instrument | Medigold | * | 981297 58 | 1 |  | 1
# |  | B. P. Instrument | Novaphon | * | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 52
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
4433600

## PARAG PHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-11
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PARAG PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | # | Adult Weighing Machine | * | * | * | 1 |  | 1
# | # | B. P. Instrument | * | * | * | 1 |  | 1
# | # | Binocular Microscope | Suwax | SKC-400 | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 3
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
33150

## TORU PHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-08
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | TORU PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | # | Adult Weighing Machine | Krups | * | * | 1 |  | 1
# | # | Adult Weighing Machine | Crown | Victorial-DX | * | 1 |  | 1
# | # | B. P. Instrument | Diamond | * | * | 1 |  | 1
# | # | Binocular Microscope | Suswax | SKC-400 | 3535 | 1 |  | 1
# | # | Electric Sterilizer | * | * | * | 1 |  | 1
# | # | Suction Machine | Dynamic | * | * | 1 |  | 1
# | # | Electric Sterilizer | * | * | * | 1 |  | 1
# | # | Adult Weighing Machine | * | * | * |  | 1 | 1
# | # | Baby Weighing Machine | Crown | * | * |  | 1 | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 9
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
61150

## DOIMUKH CHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-07
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | DOIMUKH CHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | LABOUR ROOM | Infant Warmer | AVI Health Care | * | DRHW2K 11005010 102 | 1 |  | 1
# |  | Oxygen Concentrator | Everflow | * | 22557 | 1 |  | 1
# |  | Oxygen Concentrator | Everflow | * | * | 1 |  | 1
# |  | Oxygen Concentrator | * | * |  | 1 |  | 1
# |  | Spot Light | Anand | * | * | 1 |  | 1
# |  | Spot Light | * | * | * | 1 |  | 1
# |  | Spot Light | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Labour Table | * | * | * | 1 |  | 1
# |  | Hydraulic Labour Table | * | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Braun | * | * | 1 |  | 1
# |  | Foetal Doppler | * | * | * |  | 1 | 1
# |  | Suction Machine | Dynamic | * | * | 1 |  | 1
# | DRESSING ROOM | Sterilizer | * | * | * | 1 |  | 1
# |  | Sterilizer | * | * | * | 1 |  | 1
# |  | Dental Chair | * | * | * |  | 1 | 1
# |  | Dental Chair | * | * | * |  | 1 | 1
# |  | ILR | Vest Frost | MK-144 | 850084 75 | 1 |  | 1
# |  | Deep Freezer | Vest Frost | MF-144 | 914015 91 | 1 |  | 1
# |  | Deep Freezer | Haier | HBD-16 | BE04G4E 2600B2A5 40055 | 1 |  | 1
# | EPI | Adult Weighing Machine | Deluxe | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1
# |  | Electric Sterilizer | Bhagwat Industries | * | * | 1 |  | 1
# | LAB | Domestic Refrigerator | LG | GL-185 | 008NLFD0732 99 | 1 |  | 1
# |  | Binocular Microscope | CosLab | HL-10 | * | 1 |  | 1
# |  | Digital Calorimeter | CL-1001 Life Lab | CL-1001 | * | 1 |  | 1
# |  | Centrifuge | Remi | * | BGSG-1712 | 1 |  | 1
# | STORE | Centrifuge | Remi | * | CBLC-2038 |  | 1 | 1
# |  | Digital Calorimeter | Life Lab | CL-1001 | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | * | * | * |  | 1 | 1
# | MALARIA LAB | Binocular Microscope | Olympus | CH-20i | i10D125 | 1 |  | 1
# |  | Binocular Microscope | Suswox | SKC-400 | * | 1 |  | 1
# |  | Monocular Microscope | Olympus | * | 611023 |  | 1 | 1
# |  | Monocular Microscope | Spameer | * | * |  | 1 | 1
# | ICTC | Domestic Refrigerator | LG | GL-185 | 809NL CP0228 59 | 1 |  | 1
# |  | Centrifuge | Unilab | * | * | 1 |  | 1
# |  | Incubator | Unilab | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Crown | Victoral-DX | * | 1 |  | 1
# | LABOUR ROOM | Cooker Type Autoclave | * | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | * | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | * | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | * | * | * |  | 1 | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Sterilizer | * | * | * |  | 1 | 1
# |  | Sterilizer | * | * | * |  | 1 | 1
# |  | Sterilizer | * | * | * |  | 1 | 1
# |  | Hydraulic Labour Table | * | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Libra | * | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 58
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
2536500

## BALIJAN CHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-08
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | BALIJAN CHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | LABOUR ROOM | Suction Machine | Anand Surgical | * | C-191-005 |  | 1 | 1
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1
# |  | OT Table | * | * | * | 1 |  | 1
# |  | Labour Table | * | * | * | 1 |  | 1
# |  | Mobile OT Light | * | * | * | 1 |  | 1
# | MINOR OT | Spot Light | * | * | * | 1 |  | 1
# |  | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# | LAB | Binocular Microscope | Olympus | CH-20i | i10E013 | 1 |  | 1
# |  | Adult Weighing Machine | Crown | Vitoria-DX | * | 1 |  | 1
# | COLD CHAIN | ILR | Vest Frost | * | * | 1 |  | 1
# |  | Deep Freezer | Haier | HBD-116 | BE04G4E 2800B2A5 40235 | 1 |  | 1
# |  | Deep Freezer | Vest Frost | * | * |  | 1 | 1
# |  | Solar Refrigerator | DULAS | * | * |  | 1 | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
1094500

## BASAR NELLOR PHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-06
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | BASAR NELLOR PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | LAB | Binocular Microscope | Suswax | SKC-400 | 3483 | 1 |  | 1
# |  | Monocular Microscope | Olympus | * | 610063 |  | 1 | 1
# |  | ILR | Haier | HBD-116 | BE04G 0E010 0B296H0233 | 1 |  | 1
# |  | ILR | Haier | HBC-70 | BE0581E0 0100B297 10157 |  | 1 | 1
# |  | B. P. Instrument | Diamond | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Krups | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Krups | * | * |  | 1 | 1
# |  | Solar ILR | * | * | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 9
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
857650

## JOTE PHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-06
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | JOTE PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | # | Cooker Type Autoclave | * | * | * | 1 |  | 1
# | # | Adult Weighing Machine | Krups | * | * | 1 |  | 1
# | # | Domestic Refrigerator | Godrej | GDN-180 | 90810647 | 1 |  | 1
# | # | ILR | Haier | HBC-70 | BE0581ED 100B297 60063 | 1 |  | 1
# | # | Adult Weighing Machine | Crown | Victoria-DX | * |  | 1 | 1
# | # | Suction Machine | Dynamic | D-009 | * | 1 |  | 1
# | # | Baby Weighing Machine | * | * | * |  | 1 | 1
# | # | Electric Sterilizer | * | * | * | 1 |  | 1
# | # | Electric Sterilizer | * | * | * | 1 |  | 1
# | # | Binocular Microscope | Olympus | CH-20i | 14B0138 | 1 |  | 1
# | # | B. P. Instrument | Gold Supreme | * | 98119607 | 1 |  | 1
# | # | Examination Table | * | * | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 12
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
392150

## LEPORIANG PHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-12
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | LEPORIANG PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | MEDICINE ROOM | B. P. Instrument | Diamond | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Crown | Victoria-DX | * | 1 |  | 1
# | LABOUR ROOM | Cooker Type Autoclave | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Electric Sterilizer | * | * | * | 1 |  | 1
# |  | Infant Warmer | Indian Surgical | * | * | 1 |  | 1
# |  | Suction Machine | * | * | * | 1 |  | 1
# |  | Spot Light | * | * | * | 1 |  | 1
# |  | Hydraulic OT Table | * | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Krups | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Crown | CH-20i | i14E015 |  | 1 | 1
# | LAB | Binocular Microscope | Olympus | * | * | 1 |  | 1
# | EPI | ILR | Haier | HBC-70 | BE07F4E 0N00B2A6 00024 |  | 1 | 1
# |  | ILR | Haier | HBD-116 | BE04G0E 0100B296 H0218 | 1 |  | 1
# |  | Needle Cutter | Pioneer | * | * |  | 1 | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 17
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
733350

## KIMIN CHC
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-13
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | KIMIN CHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | LABOUR ROOM | Examination Light | Sparx Medical | * | * |  | 1 | 1
# |  | Hydraulic Labour Table | * | * | * | 1 |  | 1
# |  | Labour Table | * | * | * | 1 |  | 1
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1 |  |  | .
# |  | Needle Cutter | Amkay | * | * |  | 1 | 1
# |  | Electric Sterilizer | * | * | * |  | 1 | 1
# |  | Adult Weighing Machine | Kohinoor | * | * | 1 |  | 1
# | EMERGENCY | Standing B. P. Instrument | Diamond | * | * | 1 |  | 1
# |  | B. P. Instrument | Diamond | * | * | 1 |  | 1
# | MICRO CLINIC | Binocular Microscope | Labo Vision | * | 23401 | 1 |  | 1
# |  | Monocular Microscope | Zeiss | * | 95268 | 1 |  | 1
# | ICTC | Domestic Refrigerator | * | * | * | 1 |  | 1
# | EPI | ILR | Vest Frost | MK-144 | 850084 73 | 1 |  | 1
# |  | Deep Freezer | Vest Frost | MF-144 | 914015 73 | 1 |  | 1
# |  | Needle Cutter | * | * | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
672150

## GH NAHARLAGUN
Name of Consultant :- | [6 empty] | Date:- |  | 2015-10-06
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | GENERAL HOSPITAL NAHARLAGUN
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty.
[6 empty] | W | NW
# | O.T | Sterilizer | Indian | * | * | 1 |  | 1
# |  | Horizontal Autoclave | ITERI | * | * | 1 |  | 1
# |  | Horizontal Autoclave | Indian | * | * |  | 1 | 1
# |  | Horizontal Autoclave | Medical Equipment co. | * | * |  | 1 | 1
# |  | Suction Machine | Surgix | * | * | 1 |  | 1
# |  | Suction Machine | Surgix | * | * | 1 |  | 1
# |  | Suction Machine | Surgix | * | * | 1 |  | 1
# |  | Insufflator | Indian | * | * |  | 1 | 1
# |  | Adult Weighing Machine | Indian | * | * |  | 1 | 1
# |  | Adult Weighing Machine | Indian | * | * |  | 1 | 1
# |  | Ultracision Harmonic Scalpel | Indian | * | * |  | 1 | 1
# |  | Suction Machine | Indian | * | * |  | 1 | 1
# |  | Stand B. P. Apparatus | Indian | * | * |  | 1 | 1
# |  | Vertical Autoclave | Indian | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | Indian | * | * |  | 1 | 1
# |  | Spot Light | Indian | * | * |  | 1 | 1
# |  | C-Arm | Allscan M P6 | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | Indian | * | * | 1 |  | 1
# |  | X-Ray Machine | * | 60CBM | 2K709831x | 1 |  | 1
# |  | B. P. Apparatus | Diamond | * | * | 1 |  | 1
# |  | Adult Weighing Machine | SHARK | * | * | 1 |  | 1
# |  | Aneasthesia unit | Asteros | * | * | 1 |  | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# |  | Ceiling O.T Light | United | * | * | 1 |  | 1
# |  | Ceiling O.T Light | Phililux | * | * |  | 1 | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# |  | Domestic Refrigerator | Godrej | * | * | 1 |  | 1
# |  | Hydraulic O.T Table | Indian | * | * |  | 1 | 1
# |  | Infusion Pump | Indian | * | * | 1 |  | 1
# |  | Infusion Pump | B. Braun | * | * | 1 |  | 1
# |  | Cardiac Monitor | Truscope schiller | * | M003E001772 | 1 |  | 1
# |  | Cardiac Monitor | L & T | * | A08P61222 | 1 |  | 1
# |  | Hydraulic O.T Table | Indian | * | * | 1 |  | 1
# | LAB | Incubator | Indian | * | * | 1 |  | 1
# |  | Centrifuge | Remi | R-8C | * | 1 |  | 1
# |  | Semi Auto Analyzer | Bene Sphere | * | * | 1 |  | 1
# |  | Semi Auto Analyzer | Lab Life | * | * | 1 |  | 1
# |  | Centrifuge | Indian | * | * | 1 |  | 1
# |  | Centrifuge | Indian | * | * |  | 1 | 1
# |  | Cooker Type Autoclave | Indian | * | * | 1 |  | 1
# |  | Domestic Refrigerator | Haier | * | * | 1 |  | 1
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Krups | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Krups | * | * | 1 |  | 1
# | BLOOD BANK | Oven | Indian | * | * | 1 |  | 1
# |  | Oven | Indian | * | * | 1 |  | 1
# |  | Incubator | * | * | * | 1 |  | 1
# |  | Centrifuge | Remi | R-8C | * | 1 |  | 1
# |  | Tube Sealer | Lab Top | LTS 4 | 1306 3575 | 1 |  | 1
# |  | Water Bath | Indian | * | * | 1 |  | 1
# |  | Centrifuge | Indian | * | * | 1 |  | 1
# |  | Binocular Microscope | Olympus | * | 15D0033 | 1 |  | 1
# |  | Domestic Refrigerator | Indian | * | * | 1 |  | 1
# |  | Blood Donor Couch | Teruma Penpol | * | * | 1 |  | 1
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1
# |  | BBR | Haier | * | * | 1 |  | 1
# |  | BBR | Haier | * | * | 1 |  | 1
# |  | Domestic Refrigerator | LG | * | * | 1 |  | 1
# |  | Domestic Refrigerator | Electrolux | * | * | 1 |  | 1
# | LABOUR ROOM | Infant Warmer | Meditrin | * | * |  | 1 | 1
# |  | Infant Warmer | Carevel | * | * |  | 1 | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# |  | B. P. Apparatus | Novaphon | * | * | 1 |  | 1
# |  | Infant Warmer | Neotech | * | 14150 3003752 | 1 |  | 1
# |  | Suction Machine | PHLEGM | 7E-B | * | 1 |  | 1
# |  | Baby Weighing Machine | Indian | * | * | 1 |  | 1
# |  | Sterilizer | Indian | * | * | 1 |  | 1
# |  | Sterilizer | Indian | * | * | 1 |  | 1
# |  | Spot Light | Indian | * | * | 1 |  | 1
# |  | Spot Light | Indian | * | * | 1 |  | 1
# |  | Labour Table | Indian | * | * | 1 |  | 1
# |  | Labour Table | Indian | * | * | 1 |  | 1
# |  | Labour Table | Indian | * | * | 1 |  | 1
# |  | Suction Machine | Indian | * | * | 1 |  | 1
# | ULTRASOUND | Spot Light | Indian | * | * |  | 1 | 1
# |  | Spot Light | Indian | * | * |  | 1 | 1
# |  | Spot Light | Indian | * | * |  | 1 | 1
# |  | Ultrasound Machine | Sonoscope | * | * | 1 |  | 1
# |  | Suction Machine | Supreme | * | * |  | 1 | 1
# |  | Stand B. P. Apparatus | Indian | * | * |  | 1 | 1
# | STORE | Suction Machine | Indian | * | * |  | 1 | 1
# |  | Suction Machine | Indian | * | * |  | 1 | 1
# | SNCU | Spot Light | Indian | * | * |  | 1 | 1
# |  | Spot Light | Indian | * | * |  | 1 | 1
# |  | Spot Light | Indian | * | * |  | 1 | 1
# |  | Suction Machine | Indian | * | * | 1 |  | 1
# |  | Suction Machine | Indian | * | * | 1 |  | 1
# |  | Suction Machine | Indian | * | * | 1 |  | 1
# |  | Suction Machine | Indian | * | * | 1 |  | 1
# |  | Infant Warmer | Medichem Electronics | * | * | 1 |  | 1
# |  | Pulse Oxymeter | Unicare | * | * | 1 |  | 1
# |  | Phototherapy | Sunshine | * | * | 1 |  | 1
# |  | Fumigator | Biostar | * | * | 1 |  | 1
# |  | Nebulizer | Indian | * | * | 1 |  | 1
# |  | Hub Cutter | Indian | * | * | 1 |  | 1
# |  | Needle Cutter | Indian | * | * | 1 |  | 1
# |  | Adult Weighing Machine | Krups | * | * | 1 |  | 1
# |  | Nebulizer | Sofa Neb | * | * | 1 |  | 1
# |  | Nebulizer | Home Health | * | * |  | 1 | 1
# | CASUALTY WARD | Cooker Type Autoclave | Indian | * | * | 1 |  | 1
# |  | Oxygen Concentrator | Philips | * | 23010 | 1 |  | 1
# |  | Domestic Refrigerator | Leonarel | * | * |  | 1 | 1
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1
# |  | Suction Machine | Indian | * | * | 1 |  | 1
# |  | Sterilizer | Indian | * | * | 1 |  | 1
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1
# |  | Nebulizer | Sofa Neb | * | 2013062266 | 1 |  | 1
# |  | Needle Cutter | Indian | * | * | 1 |  | 1
# | MALE WARD | Nebulizer | Handy Neb | * | * | 1 |  | 1
# | OPD 1 | B. P. Apparatus | ADV | * | * | 1 |  | 1
# |  | Ortho Table | * | * | * | 1 |  | 1
# | SURGICAL WARD | Nebulizer | Philips | * | 12M 0443 | 1 |  | 1
# |  | B. P. Apparatus | Mediguard | * | * | 1 |  | 1
# |  | Suction Machine | Anand | * | * | 1 |  | 1
# | DENTAL OPD | Dental Chair Set | Indian | * | * | 1 |  | 1
# |  | Dental Chair Set | Indian | * | * | 1 |  | 1
# |  | Dental Chair Set | Indian | * | * | 1 |  | 1
# |  | Dental Chair Set | Indian | * | * | 1 |  | 1
# |  | Dental Chair Set | Indian | * | * |  | 1 | 1
# | X-RAY MACHINE | X-Ray Machine | Indian | * | * | 1 |  | 1
# |  | X-Ray Machine | Indian | * | * | 1 |  | 1
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 125
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
8145000